## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3234-15_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3234-15_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3234-15_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3234-15_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3234-15_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3234-15_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3234-15_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_3234-15_0_5_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_3234-15_0_5_node_12 | 0.4 | n |  | TRUE
9 | bus_LV_3234-15_0_5_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_3234-15_0_5_node_66 | 0.4 | n |  | TRUE
11 | bus_LV_3234-15_0_5_node_68 | 0.4 | n |  | TRUE
12 | bus_LV_3234-15_0_5_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_3234-15_0_5_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_3234-15_0_5_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_3234-15_0_5_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_3234-15_0_5_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_3234-15_0_5_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_3234-15_0_5_node_27 | 0.4 | n |  | TRUE
19 | bus_LV_3234-15_0_5_node_65 | 0.4 | n |  | TRUE
20 | bus_LV_3234-15_0_5_node_67 | 0.4 | n |  | TRUE
21 | bus_LV_3234-15_0_5_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_3234-15_0_5_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_3234-15_0_5_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_3234-15_0_5_node_52 | 0.4 | n |  | TRUE
25 | bus_LV_3234-15_0_5_node_53 | 0.4 | n |  | TRUE
26 | bus_LV_3234-15_0_5_node_70 | 0.4 | n |  | TRUE
27 | bus_LV_3234-15_0_5_node_51 | 0.4 | n |  | TRUE
28 | bus_LV_3234-15_0_5_node_54 | 0.4 | n |  | TRUE
29 | bus_LV_3234-15_0_5_node_44 | 0.4 | n |  | TRUE
30 | bus_LV_3234-15_0_5_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_3234-15_0_5_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_3234-15_0_5_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_3234-15_0_5_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_3234-15_0_5_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_3234-15_0_5_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_3234-15_0_5_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_3234-15_0_5_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_3234-15_0_5_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_3234-15_0_5_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_3234-15_0_5_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_3234-15_0_5_node_76 | 0.4 | n |  | TRUE
42 | bus_LV_3234-15_0_5_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_3234-15_0_5_node_61 | 0.4 | n |  | TRUE
44 | bus_LV_3234-15_0_5_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_3234-15_0_5_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_3234-15_0_5_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_3234-15_0_5_node_63 | 0.4 | n |  | TRUE
48 | bus_LV_3234-15_0_5_node_59 | 0.4 | n |  | TRUE
49 | bus_LV_3234-15_0_5_node_72 | 0.4 | n |  | TRUE
50 | bus_LV_3234-15_0_5_node_73 | 0.4 | n |  | TRUE
51 | bus_LV_3234-15_0_5_node_74 | 0.4 | n |  | TRUE
52 | bus_LV_3234-15_0_5_node_75 | 0.4 | n |  | TRUE
53 | bus_LV_3234-15_0_5_node_80 | 0.4 | n |  | TRUE
54 | bus_LV_3234-15_0_5_node_36 | 0.4 | n |  | TRUE
55 | bus_LV_3234-15_0_5_node_37 | 0.4 | n |  | TRUE
56 | bus_LV_3234-15_0_5_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_3234-15_0_5_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_3234-15_0_5_node_38 | 0.4 | n |  | TRUE
59 | bus_LV_3234-15_0_5_node_39 | 0.4 | n |  | TRUE
60 | bus_LV_3234-15_0_5_node_40 | 0.4 | n |  | TRUE
61 | bus_LV_3234-15_0_5_node_41 | 0.4 | n |  | TRUE
62 | bus_LV_3234-15_0_5_node_42 | 0.4 | n |  | TRUE
63 | bus_LV_3234-15_0_5_node_43 | 0.4 | n |  | TRUE
64 | bus_LV_3234-15_0_5_node_45 | 0.4 | n |  | TRUE
65 | bus_LV_3234-15_0_5_node_46 | 0.4 | n |  | TRUE
66 | bus_LV_3234-15_0_5_node_47 | 0.4 | n |  | TRUE
67 | bus_LV_3234-15_0_5_node_49 | 0.4 | n |  | TRUE
68 | bus_LV_3234-15_0_5_node_58 | 0.4 | n |  | TRUE
69 | bus_LV_3234-15_0_5_node_60 | 0.4 | n |  | TRUE
70 | bus_LV_3234-15_0_5_node_62 | 0.4 | n |  | TRUE
71 | bus_LV_3234-15_0_5_node_64 | 0.4 | n |  | TRUE
72 | bus_LV_3234-15_0_5_node_55 | 0.4 | n |  | TRUE
73 | bus_LV_3234-15_0_5_node_56 | 0.4 | n |  | TRUE
74 | bus_LV_3234-15_0_5_node_79 | 0.4 | n |  | TRUE
75 | bus_LV_3234-15_0_5_node_77 | 0.4 | n |  | TRUE
76 | bus_LV_3234-15_0_5_node_78 | 0.4 | n |  | TRUE
77 | bus_MV_46_1_node_42 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3234-15_0_5_load_0 | 0 | 0.0085923 | 0.0021534 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3234-15_0_5_load_1 | 1 | 0.01579 | 0.0039574 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3234-15_0_5_load_2 | 2 | 0.00029467 | 7.3852e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3234-15_0_5_load_3 | 3 | 0.0043036 | 0.0010786 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3234-15_0_5_load_4 | 4 | 0.00073395 | 0.00018395 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3234-15_0_5_load_6 | 6 | 0.0005972 | 0.00014967 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3234-15_0_5_load_12 | 8 | 0.0028983 | 0.00072639 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3234-15_0_5_load_7 | 9 | 0.00044471 | 0.00011145 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3234-15_0_5_load_68 | 11 | 0.0010995 | 0.00027555 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3234-15_0_5_load_13 | 12 | 0.014536 | 0.0036432 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3234-15_0_5_load_8 | 13 | 0.00054816 | 0.00013738 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3234-15_0_5_load_9 | 14 | 0.001882 | 0.00047168 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3234-15_0_5_load_10 | 15 | 0.0023913 | 0.00059932 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3234-15_0_5_load_17 | 16 | 0.0013621 | 0.00034137 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3234-15_0_5_load_18 | 17 | 0.0025172 | 0.00063088 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3234-15_0_5_load_27 | 18 | 0.0089208 | 0.0022358 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3234-15_0_5_load_65 | 19 | 0.0006313 | 0.00015822 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3234-15_0_5_load_67 | 20 | 0.0094342 | 0.0023644 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3234-15_0_5_load_15 | 22 | 0.011157 | 0.0027962 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3234-15_0_5_load_16 | 23 | 0.0075698 | 0.0018972 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3234-15_0_5_load_52 | 24 | 0.0011475 | 0.0002876 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3234-15_0_5_load_53 | 25 | 0.033328 | 0.0083527 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3234-15_0_5_load_70 | 26 | 0.0080804 | 0.0020251 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3234-15_0_5_load_51 | 27 | 0.0010475 | 0.00026252 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3234-15_0_5_load_54 | 28 | 0.0058789 | 0.0014734 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3234-15_0_5_load_19 | 30 | 0.0029794 | 0.00074671 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3234-15_0_5_load_20 | 31 | 0.0075507 | 0.0018924 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3234-15_0_5_load_23 | 33 | 0.00038265 | 9.5901e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3234-15_0_5_load_24 | 34 | 0.0014748 | 0.00036961 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3234-15_0_5_load_25 | 35 | 0.0025204 | 0.00063167 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3234-15_0_5_load_28 | 37 | 0.0035021 | 0.0008777 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3234-15_0_5_load_29 | 38 | 0.010155 | 0.0025452 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3234-15_0_5_load_30 | 39 | 0.0020552 | 0.00051509 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3234-15_0_5_load_76 | 41 | 0.0029693 | 0.00074417 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3234-15_0_5_load_32 | 42 | 0.00048538 | 0.00012165 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3234-15_0_5_load_35 | 44 | 0.00059558 | 0.00014927 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3234-15_0_5_load_33 | 45 | 0.0016156 | 0.00040491 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3234-15_0_5_load_34 | 46 | 0.015575 | 0.0039034 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3234-15_0_5_load_63 | 47 | 0.0010738 | 0.00026912 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3234-15_0_5_load_59 | 48 | 0.00090909 | 0.00022784 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3234-15_0_5_load_72 | 49 | 0.00079534 | 0.00019933 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3234-15_0_5_load_74 | 51 | 0.00075444 | 0.00018908 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3234-15_0_5_load_80 | 53 | 0.001753 | 0.00043935 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3234-15_0_5_load_37 | 55 | 0.016066 | 0.0040265 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3234-15_0_5_load_50 | 56 | 0.020725 | 0.0051942 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3234-15_0_5_load_48 | 57 | 0.0040822 | 0.0010231 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3234-15_0_5_load_38 | 58 | 0.02138 | 0.0053583 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3234-15_0_5_load_39 | 59 | 0.03683 | 0.0092305 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3234-15_0_5_load_40 | 60 | 0.0039923 | 0.0010006 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3234-15_0_5_load_41 | 61 | 0.0016073 | 0.00040284 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3234-15_0_5_load_45 | 64 | 0.00028319 | 7.0974e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3234-15_0_5_load_46 | 65 | 0.001028 | 0.00025765 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3234-15_0_5_load_47 | 66 | 0.00035408 | 8.874e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3234-15_0_5_load_49 | 67 | 0.0040823 | 0.0010231 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3234-15_0_5_load_58 | 68 | 0.00053471 | 0.00013401 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3234-15_0_5_load_60 | 69 | 0.0004167 | 0.00010444 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3234-15_0_5_load_62 | 70 | 0.0013917 | 0.0003488 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3234-15_0_5_load_64 | 71 | 0.003956 | 0.00099148 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3234-15_0_5_load_79 | 74 | 0.01042 | 0.0026115 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3234-15_0_5_load_77 | 75 | 0.052514 | 0.013161 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3234-15_0_5_load_78 | 76 | 0.056059 | 0.01405 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 57 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3234-15_0_5_line_0 |  | 0 | 1 | 0.023239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3234-15_0_5_line_1 |  | 0 | 2 | 0.01153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3234-15_0_5_line_2 |  | 1 | 3 | 0.0023132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3234-15_0_5_line_3 |  | 2 | 4 | 0.019127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3234-15_0_5_line_4 |  | 3 | 5 | 0.017494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3234-15_0_5_line_5 |  | 4 | 6 | 0.0078704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3234-15_0_5_line_6 |  | 5 | 7 | 0.025546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3234-15_0_5_line_7 |  | 5 | 8 | 0.014099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3234-15_0_5_line_8 |  | 6 | 9 | 0.0026257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3234-15_0_5_line_9 |  | 7 | 10 | 0.077056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3234-15_0_5_line_10 |  | 7 | 11 | 0.018949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3234-15_0_5_line_11 |  | 8 | 12 | 0.029925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3234-15_0_5_line_12 |  | 9 | 13 | 0.02972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3234-15_0_5_line_13 |  | 10 | 18 | 0.052987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3234-15_0_5_line_14 |  | 10 | 19 | 0.21959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3234-15_0_5_line_15 |  | 11 | 20 | 0.0058979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3234-15_0_5_line_16 |  | 12 | 21 | 0.029866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3234-15_0_5_line_17 |  | 13 | 14 | 0.050251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3234-15_0_5_line_18 |  | 14 | 15 | 0.062422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3234-15_0_5_line_19 |  | 15 | 16 | 0.025213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3234-15_0_5_line_20 |  | 16 | 17 | 0.031816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3234-15_0_5_line_21 |  | 17 | 30 | 0.022602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3234-15_0_5_line_22 |  | 18 | 36 | 0.066842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3234-15_0_5_line_23 |  | 21 | 22 | 0.080094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3234-15_0_5_line_24 |  | 21 | 23 | 0.057685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3234-15_0_5_line_25 |  | 22 | 24 | 0.010642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_3234-15_0_5_line_26 |  | 22 | 25 | 0.016251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_3234-15_0_5_line_27 |  | 22 | 26 | 0.099576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_3234-15_0_5_line_28 |  | 24 | 27 | 0.0036594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_3234-15_0_5_line_29 |  | 25 | 28 | 0.013552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3234-15_0_5_line_30 |  | 26 | 29 | 0.020527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_3234-15_0_5_line_31 |  | 27 | 67 | 0.011191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_3234-15_0_5_line_32 |  | 28 | 72 | 0.026596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3234-15_0_5_line_33 |  | 29 | 62 | 0.10038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_3234-15_0_5_line_34 |  | 30 | 31 | 0.019991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3234-15_0_5_line_35 |  | 31 | 32 | 0.066668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3234-15_0_5_line_36 |  | 32 | 33 | 0.042701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3234-15_0_5_line_37 |  | 34 | 35 | 0.020441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3234-15_0_5_line_38 |  | 34 | 36 | 0.0016345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3234-15_0_5_line_39 |  | 37 | 38 | 0.01435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_3234-15_0_5_line_40 |  | 37 | 39 | 0.00058496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_3234-15_0_5_line_41 |  | 38 | 40 | 0.056032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_3234-15_0_5_line_42 |  | 38 | 41 | 0.059557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3234-15_0_5_line_43 |  | 39 | 42 | 0.017582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_3234-15_0_5_line_44 |  | 40 | 43 | 0.10824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_3234-15_0_5_line_45 |  | 41 | 51 | 0.005121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3234-15_0_5_line_46 |  | 42 | 44 | 0.059216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_3234-15_0_5_line_47 |  | 43 | 47 | 0.04728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_3234-15_0_5_line_48 |  | 43 | 48 | 0.017242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3234-15_0_5_line_49 |  | 44 | 45 | 0.021705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_3234-15_0_5_line_50 |  | 45 | 46 | 0.020057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_3234-15_0_5_line_51 |  | 46 | 54 | 0.013401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_3234-15_0_5_line_52 |  | 47 | 66 | 0.016169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_3234-15_0_5_line_53 |  | 48 | 68 | 0.0071395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3234-15_0_5_line_54 |  | 49 | 50 | 0.0043266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3234-15_0_5_line_55 |  | 50 | 51 | 0.0022243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3234-15_0_5_line_56 |  | 50 | 52 | 0.026487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3234-15_0_5_line_57 |  | 52 | 53 | 0.007977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3234-15_0_5_line_58 |  | 54 | 55 | 0.015594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_3234-15_0_5_line_59 |  | 55 | 58 | 0.029667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_3234-15_0_5_line_60 |  | 56 | 57 | 0.0090428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3234-15_0_5_line_61 |  | 57 | 67 | 0.027846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_3234-15_0_5_line_62 |  | 58 | 59 | 0.021017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3234-15_0_5_line_63 |  | 60 | 61 | 0.057704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_3234-15_0_5_line_64 |  | 60 | 62 | 0.039411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_3234-15_0_5_line_65 |  | 61 | 63 | 0.043444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_3234-15_0_5_line_66 |  | 63 | 64 | 0.018931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_3234-15_0_5_line_67 |  | 64 | 65 | 0.010416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_3234-15_0_5_line_68 |  | 65 | 66 | 0.0070644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_3234-15_0_5_line_69 |  | 68 | 69 | 0.018445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3234-15_0_5_line_70 |  | 69 | 70 | 0.017895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3234-15_0_5_line_71 |  | 70 | 71 | 0.018085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3234-15_0_5_line_72 |  | 72 | 73 | 0.0132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3234-15_0_5_line_73 |  | 73 | 74 | 0.017952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3234-15_0_5_line_74 |  | 74 | 75 | 0.04777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3234-15_0_5_line_75 |  | 75 | 76 | 0.0020888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3234-15_0_5_trafo_48 | 0.63 MVA 20/0.4 kV | 77 | 57 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2767205.9478 | 1251614.2169 | 2767208.796 | 1251606.1152 | 2767209.3773 | 1251597.5671 | 2767208.0364 | 1251591.633
1 | 2767205.9478 | 1251614.2169 | 2767205.8805 | 1251614.4082 | 2767200.4753 | 1251624.363
2 | 2767208.0364 | 1251591.633 | 2767207.5266 | 1251589.3767
3 | 2767191.3485 | 1251641.1717 | 2767200.4753 | 1251624.363
4 | 2767203.6707 | 1251572.313 | 2767207.5266 | 1251589.3767
5 | 2767187.593 | 1251648.0883 | 2767191.3485 | 1251641.1717
6 | 2767197.5663 | 1251547.5038 | 2767203.6707 | 1251572.313
7 | 2767203.6707 | 1251572.313 | 2767189.9742 | 1251575.6595
8 | 2767187.593 | 1251648.0883 | 2767186.3401 | 1251650.3958
9 | 2767273.0487 | 1251530.9721 | 2767197.5663 | 1251547.5038
10 | 2767197.5663 | 1251547.5038 | 2767193.0375 | 1251529.1036
11 | 2767189.9742 | 1251575.6595 | 2767160.9045 | 1251582.7622
12 | 2767172.1777 | 1251676.5244 | 2767184.0983 | 1251654.5245 | 2767186.3401 | 1251650.3958
13 | 2767273.0487 | 1251530.9721 | 2767260.025 | 1251479.611
14 | 2767273.0487 | 1251530.9721 | 2767428.6259 | 1251685.9391
15 | 2767191.6279 | 1251523.3766 | 2767193.0375 | 1251529.1036
16 | 2767131.8917 | 1251589.851 | 2767160.9045 | 1251582.7622
17 | 2767172.1777 | 1251676.5244 | 2767166.0826 | 1251687.7732 | 2767148.2687 | 1251720.7226
18 | 2767134.2941 | 1251780.3927 | 2767134.6432 | 1251757.2368 | 2767137.3699 | 1251743.8553 | 2767142.5266 | 1251731.3432 | 2767148.2687 | 1251720.7226
19 | 2767134.2941 | 1251780.3927 | 2767134.2884 | 1251780.7736 | 2767133.0068 | 1251797.2769 | 2767130.5259 | 1251805.1752
20 | 2767130.5259 | 1251805.1752 | 2767127.5215 | 1251814.7405 | 2767117.9436 | 1251834.313
21 | 2767101.2351 | 1251848.579 | 2767107.2847 | 1251846.1693 | 2767112.3456 | 1251842.13 | 2767117.9436 | 1251834.313
22 | 2767243.5957 | 1251414.8196 | 2767260.025 | 1251479.611
23 | 2767053.8696 | 1251608.9044 | 2767131.8917 | 1251589.851
24 | 2767131.8917 | 1251589.851 | 2767122.5921 | 1251548.4567 | 2767137.3377 | 1251544.5327
25 | 2767053.8696 | 1251608.9044 | 2767057.3235 | 1251598.838
26 | 2767053.8696 | 1251608.9044 | 2767051.8223 | 1251618.2898 | 2767051.8803 | 1251619.4482 | 2767052.1732 | 1251624.9254
27 | 2767053.8696 | 1251608.9044 | 2766957.9304 | 1251582.2386
28 | 2767057.3235 | 1251598.838 | 2767058.5111 | 1251595.3766
29 | 2767052.1732 | 1251624.9254 | 2767052.3104 | 1251627.4909 | 2767055.1271 | 1251638.1066
30 | 2766951.41 | 1251562.78 | 2766957.4265 | 1251580.3011 | 2766957.9304 | 1251582.2386
31 | 2767062.782 | 1251585.0329 | 2767058.5111 | 1251595.3766 | 2767058.5111 | 1251595.3766
32 | 2767061.7141 | 1251663.8718 | 2767059.7174 | 1251655.4067 | 2767055.1271 | 1251638.1066
33 | 2766951.41 | 1251562.78 | 2766947.6509 | 1251537.2586 | 2766929.5704 | 1251464.896
34 | 2767082.2293 | 1251844.2199 | 2767087.6488 | 1251846.9497 | 2767095.2904 | 1251849.1453 | 2767101.2351 | 1251848.579 | 2767101.2351 | 1251848.579
35 | 2767022.8195 | 1251813.9766 | 2767032.8414 | 1251819.3425 | 2767082.2293 | 1251844.2199
36 | 2767022.8195 | 1251813.9766 | 2767016.8933 | 1251822.1848 | 2767015.2096 | 1251828.0546 | 2767019.4499 | 1251849.3519 | 2767020.8438 | 1251853.8981
37 | 2767236.8936 | 1251393.7862 | 2767243.0994 | 1251413.2622
38 | 2767243.5957 | 1251414.8196 | 2767243.0994 | 1251413.2622
39 | 2767089.0322 | 1251296.8077 | 2767087.2009 | 1251288.81 | 2767085.8074 | 1251282.8248
40 | 2767089.0322 | 1251296.8077 | 2767089.1628 | 1251297.378
41 | 2767077.8278 | 1251227.7709 | 2767076.8803 | 1251235.1186 | 2767077.3192 | 1251242.8501 | 2767079.959 | 1251257.7067 | 2767085.8074 | 1251282.8248
42 | 2767085.8074 | 1251282.8248 | 2767141.2493 | 1251261.0717
43 | 2767089.1628 | 1251297.378 | 2767092.9301 | 1251313.8309 | 2767093.025 | 1251314.5274
44 | 2767077.8278 | 1251227.7709 | 2766982.0291 | 1251278.6685
45 | 2767141.2493 | 1251261.0717 | 2767140.0894 | 1251256.0838
46 | 2767093.6384 | 1251373.4453 | 2767093.9439 | 1251372.1092 | 2767095.7944 | 1251351.5066 | 2767095.6834 | 1251334.0296 | 2767093.025 | 1251314.5274
47 | 2766982.0291 | 1251278.6685 | 2766941.0638 | 1251302.275
48 | 2766982.0291 | 1251278.6685 | 2766986.3922 | 1251295.3492
49 | 2767088.8193 | 1251394.6085 | 2767089.3168 | 1251392.3443 | 2767093.6384 | 1251373.4453
50 | 2767088.8193 | 1251394.6085 | 2767084.5147 | 1251414.1977
51 | 2767081.6386 | 1251427.2865 | 2767084.5147 | 1251414.1977
52 | 2766941.0638 | 1251302.275 | 2766927.0547 | 1251310.3478
53 | 2766988.1989 | 1251302.2563 | 2766986.3922 | 1251295.3492
54 | 2767139.5856 | 1251253.9174 | 2767138.2758 | 1251249.7938
55 | 2767139.5856 | 1251253.9174 | 2767140.0894 | 1251256.0838
56 | 2767165.2552 | 1251247.1009 | 2767139.5856 | 1251253.9174
57 | 2767165.2552 | 1251247.1009 | 2767167.2274 | 1251254.8313
58 | 2767081.6386 | 1251427.2865 | 2767066.4909 | 1251430.9913
59 | 2767066.4909 | 1251430.9913 | 2767037.6733 | 1251438.0395
60 | 2767070.4887 | 1251558.3728 | 2767071.6625 | 1251549.4065
61 | 2767070.4887 | 1251558.3728 | 2767069.9921 | 1251562.1656 | 2767065.8155 | 1251577.6863 | 2767062.782 | 1251585.0329
62 | 2767017.258 | 1251443.0327 | 2767037.6733 | 1251438.0395
63 | 2766920.0193 | 1251426.6601 | 2766906.0348 | 1251370.6763
64 | 2766929.5704 | 1251464.896 | 2766920.0193 | 1251426.6601
65 | 2766895.5064 | 1251328.5277 | 2766906.0348 | 1251370.6763
66 | 2766895.5064 | 1251328.5277 | 2766911.909 | 1251319.0756
67 | 2766911.909 | 1251319.0756 | 2766920.9339 | 1251313.875
68 | 2766927.0547 | 1251310.3478 | 2766920.9339 | 1251313.875
69 | 2766988.1989 | 1251302.2563 | 2766992.8664 | 1251320.1005
70 | 2766992.8664 | 1251320.1005 | 2766997.395 | 1251337.4133
71 | 2767001.9716 | 1251354.91 | 2766997.395 | 1251337.4133
72 | 2767061.7141 | 1251663.8718 | 2767065.1991 | 1251676.6055
73 | 2767069.9368 | 1251693.9239 | 2767065.1991 | 1251676.6055
74 | 2767069.9368 | 1251693.9239 | 2767070.4544 | 1251698.8658 | 2767070.0775 | 1251700.9796 | 2767069.574 | 1251703.8351 | 2767067.348 | 1251707.7765 | 2767063.2027 | 1251711.2187 | 2767036.1185 | 1251717.6613
75 | 2767036.1185 | 1251717.6613 | 2767034.0863 | 1251718.1447

## bus_geodata
| x | y | coords
0 | 2767205.9478 | 1251614.2169
1 | 2767208.0364 | 1251591.633
2 | 2767200.4753 | 1251624.363
3 | 2767207.5266 | 1251589.3767
4 | 2767191.3485 | 1251641.1717
5 | 2767203.6707 | 1251572.313
6 | 2767187.593 | 1251648.0883
7 | 2767197.5663 | 1251547.5038
8 | 2767189.9742 | 1251575.6595
9 | 2767186.3401 | 1251650.3958
10 | 2767273.0487 | 1251530.9721
11 | 2767193.0375 | 1251529.1036
12 | 2767160.9045 | 1251582.7622
13 | 2767172.1777 | 1251676.5244
14 | 2767148.2687 | 1251720.7226
15 | 2767134.2941 | 1251780.3927
16 | 2767130.5259 | 1251805.1752
17 | 2767117.9436 | 1251834.313
18 | 2767260.025 | 1251479.611
19 | 2767428.6259 | 1251685.9391
20 | 2767191.6279 | 1251523.3766
21 | 2767131.8917 | 1251589.851
22 | 2767053.8696 | 1251608.9044
23 | 2767137.3377 | 1251544.5327
24 | 2767057.3235 | 1251598.838
25 | 2767052.1732 | 1251624.9254
26 | 2766957.9304 | 1251582.2386
27 | 2767058.5111 | 1251595.3766
28 | 2767055.1271 | 1251638.1066
29 | 2766951.41 | 1251562.78
30 | 2767101.2351 | 1251848.579
31 | 2767082.2293 | 1251844.2199
32 | 2767022.8195 | 1251813.9766
33 | 2767020.8438 | 1251853.8981
34 | 2767243.0994 | 1251413.2622
35 | 2767236.8936 | 1251393.7862
36 | 2767243.5957 | 1251414.8196
37 | 2767089.0322 | 1251296.8077
38 | 2767085.8074 | 1251282.8248
39 | 2767089.1628 | 1251297.378
40 | 2767077.8278 | 1251227.7709
41 | 2767141.2493 | 1251261.0717
42 | 2767093.025 | 1251314.5274
43 | 2766982.0291 | 1251278.6685
44 | 2767093.6384 | 1251373.4453
45 | 2767088.8193 | 1251394.6085
46 | 2767084.5147 | 1251414.1977
47 | 2766941.0638 | 1251302.275
48 | 2766986.3922 | 1251295.3492
49 | 2767138.2758 | 1251249.7938
50 | 2767139.5856 | 1251253.9174
51 | 2767140.0894 | 1251256.0838
52 | 2767165.2552 | 1251247.1009
53 | 2767167.2274 | 1251254.8313
54 | 2767081.6386 | 1251427.2865
55 | 2767066.4909 | 1251430.9913
56 | 2767071.6625 | 1251549.4065
57 | 2767070.4887 | 1251558.3728
58 | 2767037.6733 | 1251438.0395
59 | 2767017.258 | 1251443.0327
60 | 2766920.0193 | 1251426.6601
61 | 2766906.0348 | 1251370.6763
62 | 2766929.5704 | 1251464.896
63 | 2766895.5064 | 1251328.5277
64 | 2766911.909 | 1251319.0756
65 | 2766920.9339 | 1251313.875
66 | 2766927.0547 | 1251310.3478
67 | 2767062.782 | 1251585.0329
68 | 2766988.1989 | 1251302.2563
69 | 2766992.8664 | 1251320.1005
70 | 2766997.395 | 1251337.4133
71 | 2767001.9716 | 1251354.91
72 | 2767061.7141 | 1251663.8718
73 | 2767065.1991 | 1251676.6055
74 | 2767069.9368 | 1251693.9239
75 | 2767036.1185 | 1251717.6613
76 | 2767034.0863 | 1251718.1447
77 | 2767053.8696 | 1251608.9044

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1