## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3234-20_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3234-20_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3234-20_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3234-20_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3234-20_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3234-20_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3234-20_0_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_3234-20_0_2_node_49 | 0.4 | n |  | TRUE
8 | bus_LV_3234-20_0_2_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_3234-20_0_2_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_3234-20_0_2_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_3234-20_0_2_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_3234-20_0_2_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_3234-20_0_2_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_3234-20_0_2_node_47 | 0.4 | n |  | TRUE
15 | bus_LV_3234-20_0_2_node_17 | 0.4 | n |  | TRUE
16 | bus_LV_3234-20_0_2_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_3234-20_0_2_node_46 | 0.4 | n |  | TRUE
18 | bus_LV_3234-20_0_2_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_3234-20_0_2_node_86 | 0.4 | n |  | TRUE
20 | bus_LV_3234-20_0_2_node_23 | 0.4 | n |  | TRUE
21 | bus_LV_3234-20_0_2_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_3234-20_0_2_node_85 | 0.4 | n |  | TRUE
23 | bus_LV_3234-20_0_2_node_87 | 0.4 | n |  | TRUE
24 | bus_LV_3234-20_0_2_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_3234-20_0_2_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_3234-20_0_2_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_3234-20_0_2_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_3234-20_0_2_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_3234-20_0_2_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_3234-20_0_2_node_44 | 0.4 | n |  | TRUE
31 | bus_LV_3234-20_0_2_node_43 | 0.4 | n |  | TRUE
32 | bus_LV_3234-20_0_2_node_91 | 0.4 | n |  | TRUE
33 | bus_LV_3234-20_0_2_node_45 | 0.4 | n |  | TRUE
34 | bus_LV_3234-20_0_2_node_36 | 0.4 | n |  | TRUE
35 | bus_LV_3234-20_0_2_node_40 | 0.4 | n |  | TRUE
36 | bus_LV_3234-20_0_2_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_3234-20_0_2_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_3234-20_0_2_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_3234-20_0_2_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_3234-20_0_2_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_3234-20_0_2_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_3234-20_0_2_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_3234-20_0_2_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_3234-20_0_2_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_3234-20_0_2_node_88 | 0.4 | n |  | TRUE
46 | bus_LV_3234-20_0_2_node_54 | 0.4 | n |  | TRUE
47 | bus_LV_3234-20_0_2_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_3234-20_0_2_node_51 | 0.4 | n |  | TRUE
49 | bus_LV_3234-20_0_2_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_3234-20_0_2_node_55 | 0.4 | n |  | TRUE
51 | bus_LV_3234-20_0_2_node_35 | 0.4 | n |  | TRUE
52 | bus_LV_3234-20_0_2_node_50 | 0.4 | n |  | TRUE
53 | bus_LV_3234-20_0_2_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_3234-20_0_2_node_38 | 0.4 | n |  | TRUE
55 | bus_LV_3234-20_0_2_node_39 | 0.4 | n |  | TRUE
56 | bus_LV_3234-20_0_2_node_41 | 0.4 | n |  | TRUE
57 | bus_LV_3234-20_0_2_node_42 | 0.4 | n |  | TRUE
58 | bus_LV_3234-20_0_2_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_3234-20_0_2_node_52 | 0.4 | n |  | TRUE
60 | bus_LV_3234-20_0_2_node_53 | 0.4 | n |  | TRUE
61 | bus_LV_3234-20_0_2_node_56 | 0.4 | n |  | TRUE
62 | bus_LV_3234-20_0_2_node_57 | 0.4 | n |  | TRUE
63 | bus_LV_3234-20_0_2_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_3234-20_0_2_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_3234-20_0_2_node_60 | 0.4 | n |  | TRUE
66 | bus_LV_3234-20_0_2_node_80 | 0.4 | n |  | TRUE
67 | bus_LV_3234-20_0_2_node_68 | 0.4 | n |  | TRUE
68 | bus_LV_3234-20_0_2_node_67 | 0.4 | n |  | TRUE
69 | bus_LV_3234-20_0_2_node_78 | 0.4 | n |  | TRUE
70 | bus_LV_3234-20_0_2_node_79 | 0.4 | n |  | TRUE
71 | bus_LV_3234-20_0_2_node_81 | 0.4 | n |  | TRUE
72 | bus_LV_3234-20_0_2_node_82 | 0.4 | n |  | TRUE
73 | bus_LV_3234-20_0_2_node_69 | 0.4 | n |  | TRUE
74 | bus_LV_3234-20_0_2_node_83 | 0.4 | n |  | TRUE
75 | bus_LV_3234-20_0_2_node_64 | 0.4 | n |  | TRUE
76 | bus_LV_3234-20_0_2_node_61 | 0.4 | n |  | TRUE
77 | bus_LV_3234-20_0_2_node_62 | 0.4 | n |  | TRUE
78 | bus_LV_3234-20_0_2_node_63 | 0.4 | n |  | TRUE
79 | bus_LV_3234-20_0_2_node_65 | 0.4 | n |  | TRUE
80 | bus_LV_3234-20_0_2_node_66 | 0.4 | n |  | TRUE
81 | bus_LV_3234-20_0_2_node_89 | 0.4 | n |  | TRUE
82 | bus_LV_3234-20_0_2_node_90 | 0.4 | n |  | TRUE
83 | bus_LV_3234-20_0_2_node_70 | 0.4 | n |  | TRUE
84 | bus_LV_3234-20_0_2_node_84 | 0.4 | n |  | TRUE
85 | bus_LV_3234-20_0_2_node_77 | 0.4 | n |  | TRUE
86 | bus_LV_3234-20_0_2_node_76 | 0.4 | n |  | TRUE
87 | bus_LV_3234-20_0_2_node_71 | 0.4 | n |  | TRUE
88 | bus_LV_3234-20_0_2_node_72 | 0.4 | n |  | TRUE
89 | bus_LV_3234-20_0_2_node_73 | 0.4 | n |  | TRUE
90 | bus_LV_3234-20_0_2_node_74 | 0.4 | n |  | TRUE
91 | bus_LV_3234-20_0_2_node_75 | 0.4 | n |  | TRUE
92 | bus_MV_236_0_node_32 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3234-20_0_2_load_0 | 0 | 0.0025159 | 0.00063054 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3234-20_0_2_load_1 | 1 | 0.0012831 | 0.00032158 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3234-20_0_2_load_3 | 3 | 0.0012217 | 0.00030619 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3234-20_0_2_load_4 | 4 | 0.0011466 | 0.00028737 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3234-20_0_2_load_5 | 5 | 0.0031692 | 0.00079427 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3234-20_0_2_load_6 | 6 | 0.0016931 | 0.00042432 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3234-20_0_2_load_49 | 7 | 0.0018823 | 0.00047176 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3234-20_0_2_load_9 | 8 | 0.0008468 | 0.00021223 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3234-20_0_2_load_10 | 9 | 0.00074466 | 0.00018663 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3234-20_0_2_load_7 | 10 | 0.0010589 | 0.00026539 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3234-20_0_2_load_11 | 11 | 0.00090726 | 0.00022738 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3234-20_0_2_load_47 | 14 | 0.00067055 | 0.00016806 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3234-20_0_2_load_17 | 15 | 0.00094708 | 0.00023736 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3234-20_0_2_load_13 | 16 | 0.00068647 | 0.00017205 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3234-20_0_2_load_46 | 17 | 0.0010151 | 0.00025442 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3234-20_0_2_load_12 | 18 | 0.000719 | 0.0001802 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3234-20_0_2_load_86 | 19 | 0.0034646 | 0.00086832 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3234-20_0_2_load_23 | 20 | 0.00079344 | 0.00019886 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3234-20_0_2_load_16 | 21 | 0.00074003 | 0.00018547 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3234-20_0_2_load_85 | 22 | 0.0054765 | 0.0013725 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3234-20_0_2_load_87 | 23 | 0.0037426 | 0.00093799 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3234-20_0_2_load_14 | 24 | 0.00081555 | 0.0002044 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3234-20_0_2_load_18 | 25 | 0.00042754 | 0.00010715 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3234-20_0_2_load_19 | 26 | 0.00054293 | 0.00013607 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3234-20_0_2_load_21 | 28 | 0.0013367 | 0.00033501 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3234-20_0_2_load_44 | 30 | 0.0046059 | 0.0011543 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3234-20_0_2_load_91 | 32 | 0.0020802 | 0.00052136 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3234-20_0_2_load_45 | 33 | 0.0012374 | 0.00031013 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3234-20_0_2_load_40 | 35 | 0.0013005 | 0.00032595 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3234-20_0_2_load_24 | 36 | 0.0038591 | 0.00096719 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3234-20_0_2_load_25 | 37 | 0.0032995 | 0.00082693 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3234-20_0_2_load_29 | 41 | 0.0018471 | 0.00046292 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3234-20_0_2_load_32 | 42 | 0.00137 | 0.00034334 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3234-20_0_2_load_30 | 43 | 0.0015305 | 0.00038359 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3234-20_0_2_load_34 | 44 | 0.0016168 | 0.00040521 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3234-20_0_2_load_88 | 45 | 0.0015443 | 0.00038703 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3234-20_0_2_load_54 | 46 | 0.0006553 | 0.00016423 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3234-20_0_2_load_31 | 47 | 0.0022058 | 0.00055283 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3234-20_0_2_load_51 | 48 | 0.0018472 | 0.00046295 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3234-20_0_2_load_33 | 49 | 0.0010764 | 0.00026977 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3234-20_0_2_load_55 | 50 | 0.0015894 | 0.00039833 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3234-20_0_2_load_35 | 51 | 0.001382 | 0.00034637 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3234-20_0_2_load_50 | 52 | 0.0021665 | 0.00054298 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3234-20_0_2_load_37 | 53 | 0.0010479 | 0.00026264 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3234-20_0_2_load_38 | 54 | 0.0017877 | 0.00044805 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3234-20_0_2_load_39 | 55 | 0.0020281 | 0.00050829 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3234-20_0_2_load_41 | 56 | 0.0011075 | 0.00027758 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3234-20_0_2_load_42 | 57 | 0.0017967 | 0.0004503 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3234-20_0_2_load_48 | 58 | 0.003846 | 0.00096389 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3234-20_0_2_load_52 | 59 | 0.0015438 | 0.00038692 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3234-20_0_2_load_53 | 60 | 0.0031231 | 0.00078273 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3234-20_0_2_load_57 | 62 | 0.0018409 | 0.00046137 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3234-20_0_2_load_58 | 63 | 0.0018978 | 0.00047563 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3234-20_0_2_load_59 | 64 | 0.0004412 | 0.00011058 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3234-20_0_2_load_68 | 67 | 0.00090492 | 0.00022679 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3234-20_0_2_load_67 | 68 | 0.00099648 | 0.00024974 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3234-20_0_2_load_78 | 69 | 0.00058165 | 0.00014578 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3234-20_0_2_load_81 | 71 | 0.0010109 | 0.00025335 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3234-20_0_2_load_82 | 72 | 0.0011383 | 0.00028529 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3234-20_0_2_load_69 | 73 | 0.00031152 | 7.8074e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3234-20_0_2_load_83 | 74 | 0.0043718 | 0.0010957 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3234-20_0_2_load_64 | 75 | 0.001098 | 0.00027519 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3234-20_0_2_load_61 | 76 | 0.0024363 | 0.00061061 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3234-20_0_2_load_62 | 77 | 0.0014329 | 0.00035911 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3234-20_0_2_load_65 | 79 | 0.0016858 | 0.0004225 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3234-20_0_2_load_66 | 80 | 0.0010869 | 0.0002724 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3234-20_0_2_load_89 | 81 | 0.0010855 | 0.00027206 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3234-20_0_2_load_90 | 82 | 0.00090876 | 0.00022776 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3234-20_0_2_load_70 | 83 | 0.00031175 | 7.8131e-05 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3234-20_0_2_load_84 | 84 | 0.001678 | 0.00042056 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3234-20_0_2_load_77 | 85 | 0.00031124 | 7.8003e-05 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3234-20_0_2_load_76 | 86 | 0.00031174 | 7.8131e-05 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3234-20_0_2_load_71 | 87 | 0.0023938 | 0.00059995 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3234-20_0_2_load_73 | 89 | 0.0030285 | 0.00075902 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3234-20_0_2_load_75 | 91 | 0.0010201 | 0.00025567 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 54 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3234-20_0_2_line_0 |  | 0 | 1 | 0.01606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3234-20_0_2_line_1 |  | 0 | 2 | 0.0051386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3234-20_0_2_line_2 |  | 1 | 3 | 0.0078596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3234-20_0_2_line_3 |  | 2 | 4 | 0.019859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3234-20_0_2_line_4 |  | 2 | 5 | 0.027926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3234-20_0_2_line_5 |  | 4 | 6 | 0.0013509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3234-20_0_2_line_6 |  | 5 | 7 | 0.018132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3234-20_0_2_line_7 |  | 6 | 10 | 0.02633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3234-20_0_2_line_8 |  | 8 | 9 | 0.016974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3234-20_0_2_line_9 |  | 9 | 11 | 0.020464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3234-20_0_2_line_10 |  | 10 | 12 | 0.021568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3234-20_0_2_line_11 |  | 11 | 18 | 0.034373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3234-20_0_2_line_12 |  | 12 | 13 | 0.017542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3234-20_0_2_line_13 |  | 12 | 14 | 0.017836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3234-20_0_2_line_14 |  | 13 | 15 | 0.014082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3234-20_0_2_line_15 |  | 13 | 16 | 0.037371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3234-20_0_2_line_16 |  | 14 | 17 | 0.0060711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3234-20_0_2_line_17 |  | 15 | 25 | 0.0064968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3234-20_0_2_line_18 |  | 16 | 24 | 0.0099918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3234-20_0_2_line_19 |  | 17 | 58 | 0.022183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3234-20_0_2_line_20 |  | 18 | 19 | 0.61327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3234-20_0_2_line_21 |  | 18 | 20 | 0.052354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3234-20_0_2_line_22 |  | 19 | 22 | 0.012553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3234-20_0_2_line_23 |  | 20 | 21 | 0.0023437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3234-20_0_2_line_24 |  | 21 | 24 | 0.015003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3234-20_0_2_line_25 |  | 22 | 23 | 0.049136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3234-20_0_2_line_26 |  | 25 | 26 | 0.014916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3234-20_0_2_line_27 |  | 26 | 27 | 0.018757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3234-20_0_2_line_28 |  | 27 | 28 | 0.017635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3234-20_0_2_line_29 |  | 27 | 29 | 0.002735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3234-20_0_2_line_30 |  | 28 | 30 | 0.041009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3234-20_0_2_line_31 |  | 29 | 31 | 0.036944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3234-20_0_2_line_32 |  | 29 | 32 | 0.020375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3234-20_0_2_line_33 |  | 30 | 33 | 0.016805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3234-20_0_2_line_34 |  | 31 | 34 | 0.004922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3234-20_0_2_line_35 |  | 31 | 35 | 0.012536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3234-20_0_2_line_36 |  | 34 | 48 | 0.013927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3234-20_0_2_line_37 |  | 34 | 40 | 0.016145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3234-20_0_2_line_38 |  | 35 | 54 | 0.022657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3234-20_0_2_line_39 |  | 36 | 37 | 0.015947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3234-20_0_2_line_40 |  | 36 | 38 | 0.0059366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3234-20_0_2_line_41 |  | 37 | 39 | 0.0043364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3234-20_0_2_line_42 |  | 38 | 40 | 0.013498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3234-20_0_2_line_43 |  | 38 | 41 | 0.01343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3234-20_0_2_line_44 |  | 39 | 42 | 0.065222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3234-20_0_2_line_45 |  | 39 | 43 | 0.03602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3234-20_0_2_line_46 |  | 40 | 44 | 0.013598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3234-20_0_2_line_47 |  | 41 | 45 | 0.014304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3234-20_0_2_line_48 |  | 42 | 46 | 0.029189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3234-20_0_2_line_49 |  | 43 | 47 | 0.05049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3234-20_0_2_line_50 |  | 44 | 49 | 0.024264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3234-20_0_2_line_51 |  | 46 | 50 | 0.028971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3234-20_0_2_line_52 |  | 48 | 52 | 0.0087822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3234-20_0_2_line_53 |  | 49 | 51 | 0.02166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3234-20_0_2_line_54 |  | 50 | 61 | 0.029194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3234-20_0_2_line_55 |  | 52 | 59 | 0.0055195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3234-20_0_2_line_56 |  | 53 | 54 | 0.0029448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3234-20_0_2_line_57 |  | 53 | 55 | 0.021619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3234-20_0_2_line_58 |  | 55 | 56 | 0.0048019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3234-20_0_2_line_59 |  | 56 | 57 | 0.012778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3234-20_0_2_line_60 |  | 59 | 60 | 0.032799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3234-20_0_2_line_61 |  | 61 | 62 | 0.016901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3234-20_0_2_line_62 |  | 61 | 63 | 0.062489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3234-20_0_2_line_63 |  | 62 | 64 | 0.028975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3234-20_0_2_line_64 |  | 64 | 65 | 0.026793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3234-20_0_2_line_65 |  | 64 | 66 | 0.035377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3234-20_0_2_line_66 |  | 65 | 67 | 0.024481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3234-20_0_2_line_67 |  | 65 | 68 | 0.013399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3234-20_0_2_line_68 |  | 66 | 72 | 0.018278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3234-20_0_2_line_69 |  | 66 | 69 | 0.049484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3234-20_0_2_line_70 |  | 67 | 73 | 0.014928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3234-20_0_2_line_71 |  | 67 | 74 | 0.034513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3234-20_0_2_line_72 |  | 68 | 75 | 0.0192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3234-20_0_2_line_73 |  | 69 | 70 | 0.012248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3234-20_0_2_line_74 |  | 70 | 71 | 0.012301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3234-20_0_2_line_75 |  | 73 | 83 | 0.00037474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3234-20_0_2_line_76 |  | 74 | 84 | 0.0051842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3234-20_0_2_line_77 |  | 75 | 77 | 0.025293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3234-20_0_2_line_78 |  | 76 | 77 | 0.022937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3234-20_0_2_line_79 |  | 76 | 78 | 0.018625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3234-20_0_2_line_80 |  | 78 | 79 | 0.005602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3234-20_0_2_line_81 |  | 78 | 80 | 0.011864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3234-20_0_2_line_82 |  | 80 | 81 | 0.0085911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3234-20_0_2_line_83 |  | 81 | 82 | 0.0026714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3234-20_0_2_line_84 |  | 83 | 85 | 0.011616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3234-20_0_2_line_85 |  | 85 | 86 | 2.5519e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3234-20_0_2_line_86 |  | 86 | 91 | 0.031995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3234-20_0_2_line_87 |  | 87 | 88 | 0.026929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3234-20_0_2_line_88 |  | 87 | 89 | 0.004793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3234-20_0_2_line_89 |  | 88 | 90 | 0.038974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3234-20_0_2_line_90 |  | 90 | 91 | 0.016537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3234-20_0_2_trafo_38 | 0.63 MVA 20/0.4 kV | 92 | 54 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2765644.0703 | 1251908.4811 | 2765659.807 | 1251911.6865
1 | 2765639.0351 | 1251907.4555 | 2765644.0703 | 1251908.4811
2 | 2765659.807 | 1251911.6865 | 2765665.5587 | 1251912.8581 | 2765667.4795 | 1251913.3778
3 | 2765639.0351 | 1251907.4555 | 2765619.4368 | 1251904.2512
4 | 2765639.0351 | 1251907.4555 | 2765634.7352 | 1251930.4925 | 2765632.675 | 1251934.4835
5 | 2765618.1036 | 1251904.0332 | 2765619.4368 | 1251904.2512
6 | 2765626.5724 | 1251950.7377 | 2765628.2561 | 1251939.6431 | 2765629.7987 | 1251936.8723 | 2765632.675 | 1251934.4835
7 | 2765618.1036 | 1251904.0332 | 2765592.1182 | 1251899.7847
8 | 2765643.1219 | 1251851.6832 | 2765632.7635 | 1251838.2362
9 | 2765632.7635 | 1251838.2362 | 2765620.2752 | 1251822.0243
10 | 2765570.8324 | 1251896.3045 | 2765592.1182 | 1251899.7847
11 | 2765599.3379 | 1251794.7637 | 2765617.5749 | 1251818.5189 | 2765620.2752 | 1251822.0243
12 | 2765553.4284 | 1251893.7267 | 2765570.8324 | 1251896.3045
13 | 2765570.8324 | 1251896.3045 | 2765568.3277 | 1251913.9635
14 | 2765553.4284 | 1251893.7267 | 2765539.4343 | 1251892.1546
15 | 2765553.4284 | 1251893.7267 | 2765557.2464 | 1251856.5514
16 | 2765567.4752 | 1251919.9744 | 2765568.3277 | 1251913.9635
17 | 2765532.9781 | 1251891.4293 | 2765539.4343 | 1251892.1546
18 | 2765557.2464 | 1251856.5514 | 2765558.2672 | 1251846.6119
19 | 2765564.3601 | 1251941.9377 | 2765567.4752 | 1251919.9744
20 | 2765599.3379 | 1251794.7637 | 2765606.8375 | 1251181.5406
21 | 2765560.0395 | 1251829.3557 | 2765599.3379 | 1251794.7637
22 | 2765602.1749 | 1251169.8857 | 2765606.8375 | 1251181.5406
23 | 2765560.0395 | 1251829.3557 | 2765559.8 | 1251831.6872
24 | 2765559.8 | 1251831.6872 | 2765558.2672 | 1251846.6119
25 | 2765602.1749 | 1251169.8857 | 2765583.9242 | 1251124.2649
26 | 2765532.9781 | 1251891.4293 | 2765518.1555 | 1251889.7641
27 | 2765499.5155 | 1251887.6701 | 2765518.1555 | 1251889.7641
28 | 2765499.5155 | 1251887.6701 | 2765501.2876 | 1251870.1247
29 | 2765496.7902 | 1251887.3603 | 2765499.5155 | 1251887.6701
30 | 2765505.4085 | 1251829.3234 | 2765501.2876 | 1251870.1247
31 | 2765496.7902 | 1251887.3603 | 2765459.9769 | 1251883.1501
32 | 2765496.7902 | 1251887.3603 | 2765494.6601 | 1251907.6236
33 | 2765507.0972 | 1251812.6039 | 2765505.4085 | 1251829.3234
34 | 2765459.9769 | 1251883.1501 | 2765455.0773 | 1251882.546
35 | 2765459.9769 | 1251883.1501 | 2765461.2217 | 1251870.6761
36 | 2765455.0773 | 1251882.546 | 2765453.5987 | 1251896.3943
37 | 2765438.9994 | 1251880.6174 | 2765455.0773 | 1251882.546
38 | 2765461.2217 | 1251870.6761 | 2765463.4715 | 1251848.1309
39 | 2765419.5885 | 1251879.0873 | 2765403.7344 | 1251877.3658
40 | 2765425.4904 | 1251879.7282 | 2765419.5885 | 1251879.0873
41 | 2765399.4233 | 1251876.8976 | 2765403.7344 | 1251877.3658
42 | 2765438.9994 | 1251880.6174 | 2765425.4904 | 1251879.7282
43 | 2765425.4904 | 1251879.7282 | 2765424.4948 | 1251893.1213
44 | 2765399.4233 | 1251876.8976 | 2765396.4574 | 1251877.3598 | 2765387.7592 | 1251878.0956 | 2765373.0559 | 1251884.5475 | 2765364.3121 | 1251894.2135 | 2765357.0091 | 1251911.5165 | 2765357.0834 | 1251913.7209 | 2765356.4393 | 1251917.0732
45 | 2765399.4233 | 1251876.8976 | 2765400.5343 | 1251845.7853 | 2765400.7083 | 1251840.901
46 | 2765438.9994 | 1251880.6174 | 2765440.4779 | 1251867.0998
47 | 2765423.4343 | 1251907.386 | 2765424.4948 | 1251893.1213
48 | 2765356.4393 | 1251917.0732 | 2765353.7077 | 1251931.2893 | 2765351.3532 | 1251945.8124
49 | 2765400.7083 | 1251840.901 | 2765402.5062 | 1251790.4428
50 | 2765443.1163 | 1251842.9792 | 2765440.4779 | 1251867.0998
51 | 2765351.3532 | 1251945.8124 | 2765346.717 | 1251974.4105
52 | 2765452.6664 | 1251905.1269 | 2765453.5987 | 1251896.3943
53 | 2765445.4714 | 1251821.4478 | 2765443.1163 | 1251842.9792
54 | 2765335.9622 | 1251999.8876 | 2765340.6488 | 1251996.7595 | 2765343.8719 | 1251991.9556 | 2765344.5834 | 1251987.5709 | 2765346.717 | 1251974.4105
55 | 2765452.6664 | 1251905.1269 | 2765452.0804 | 1251910.6152
56 | 2765463.7639 | 1251845.2007 | 2765463.4715 | 1251848.1309
57 | 2765463.7639 | 1251845.2007 | 2765465.9106 | 1251823.6887
58 | 2765466.3874 | 1251818.9106 | 2765465.9106 | 1251823.6887
59 | 2765467.6563 | 1251806.1959 | 2765466.3874 | 1251818.9106
60 | 2765448.5983 | 1251943.2291 | 2765452.0804 | 1251910.6152
61 | 2765335.9622 | 1251999.8876 | 2765341.2313 | 1252007.5425 | 2765345.4675 | 1252013.8616
62 | 2765335.9622 | 1251999.8876 | 2765300.22 | 1251948.6294
63 | 2765345.4675 | 1252013.8616 | 2765360.1829 | 1252035.8118 | 2765361.6064 | 1252037.9258
64 | 2765376.5708 | 1252060.1499 | 2765361.6064 | 1252037.9258
65 | 2765361.6064 | 1252037.9258 | 2765330.5522 | 1252054.8714
66 | 2765376.5708 | 1252060.1499 | 2765389.9928 | 1252080.6233
67 | 2765376.5708 | 1252060.1499 | 2765387.3781 | 1252052.2293
68 | 2765330.5522 | 1252054.8714 | 2765340.8786 | 1252069.9529
69 | 2765330.5522 | 1252054.8714 | 2765296.4257 | 1252090.7052
70 | 2765389.9928 | 1252080.6233 | 2765398.1772 | 1252093.1074
71 | 2765389.9928 | 1252080.6233 | 2765362.1332 | 1252100.9949
72 | 2765387.3781 | 1252052.2293 | 2765402.8644 | 1252040.8795
73 | 2765287.9789 | 1252099.5746 | 2765296.4257 | 1252090.7052
74 | 2765287.9789 | 1252099.5746 | 2765278.5812 | 1252091.6373
75 | 2765398.3827 | 1252093.4208 | 2765398.1772 | 1252093.1074
76 | 2765362.1332 | 1252100.9949 | 2765365.0621 | 1252105.2725
77 | 2765419.9815 | 1252022.8117 | 2765413.016 | 1252033.4394 | 2765402.8644 | 1252040.8795
78 | 2765421.5546 | 1251999.929 | 2765419.9815 | 1252022.8117 | 2765419.9815 | 1252022.8117
79 | 2765422.8319 | 1251981.3483 | 2765421.5546 | 1251999.929
80 | 2765422.8319 | 1251981.3483 | 2765428.442 | 1251981.6608
81 | 2765422.8319 | 1251981.3483 | 2765411.0013 | 1251980.4528
82 | 2765411.0013 | 1251980.4528 | 2765402.4347 | 1251979.8044
83 | 2765399.7709 | 1251979.6028 | 2765402.4347 | 1251979.8044
84 | 2765398.3827 | 1252093.4208 | 2765404.7514 | 1252103.1354
85 | 2765404.7654 | 1252103.1567 | 2765404.7514 | 1252103.1354
86 | 2765422.3072 | 1252129.9143 | 2765404.7654 | 1252103.1567
87 | 2765464.8293 | 1252124.5584 | 2765463.8499 | 1252114.2092 | 2765452.9564 | 1252101.7723
88 | 2765449.7983 | 1252098.1668 | 2765452.9564 | 1252101.7723
89 | 2765431.3739 | 1252143.7442 | 2765458.5862 | 1252125.5517 | 2765464.8293 | 1252124.5584
90 | 2765431.3739 | 1252143.7442 | 2765422.3072 | 1252129.9143

## bus_geodata
| x | y | coords
0 | 2765644.0703 | 1251908.4811
1 | 2765659.807 | 1251911.6865
2 | 2765639.0351 | 1251907.4555
3 | 2765667.4795 | 1251913.3778
4 | 2765619.4368 | 1251904.2512
5 | 2765632.675 | 1251934.4835
6 | 2765618.1036 | 1251904.0332
7 | 2765626.5724 | 1251950.7377
8 | 2765643.1219 | 1251851.6832
9 | 2765632.7635 | 1251838.2362
10 | 2765592.1182 | 1251899.7847
11 | 2765620.2752 | 1251822.0243
12 | 2765570.8324 | 1251896.3045
13 | 2765553.4284 | 1251893.7267
14 | 2765568.3277 | 1251913.9635
15 | 2765539.4343 | 1251892.1546
16 | 2765557.2464 | 1251856.5514
17 | 2765567.4752 | 1251919.9744
18 | 2765599.3379 | 1251794.7637
19 | 2765606.8375 | 1251181.5406
20 | 2765560.0395 | 1251829.3557
21 | 2765559.8 | 1251831.6872
22 | 2765602.1749 | 1251169.8857
23 | 2765583.9242 | 1251124.2649
24 | 2765558.2672 | 1251846.6119
25 | 2765532.9781 | 1251891.4293
26 | 2765518.1555 | 1251889.7641
27 | 2765499.5155 | 1251887.6701
28 | 2765501.2876 | 1251870.1247
29 | 2765496.7902 | 1251887.3603
30 | 2765505.4085 | 1251829.3234
31 | 2765459.9769 | 1251883.1501
32 | 2765494.6601 | 1251907.6236
33 | 2765507.0972 | 1251812.6039
34 | 2765455.0773 | 1251882.546
35 | 2765461.2217 | 1251870.6761
36 | 2765419.5885 | 1251879.0873
37 | 2765403.7344 | 1251877.3658
38 | 2765425.4904 | 1251879.7282
39 | 2765399.4233 | 1251876.8977
40 | 2765438.9994 | 1251880.6174
41 | 2765424.4948 | 1251893.1213
42 | 2765356.4393 | 1251917.0732
43 | 2765400.7083 | 1251840.901
44 | 2765440.4779 | 1251867.0998
45 | 2765423.4343 | 1251907.386
46 | 2765351.3532 | 1251945.8124
47 | 2765402.5062 | 1251790.4428
48 | 2765453.5987 | 1251896.3943
49 | 2765443.1163 | 1251842.9792
50 | 2765346.717 | 1251974.4105
51 | 2765445.4714 | 1251821.4478
52 | 2765452.6664 | 1251905.1269
53 | 2765463.7639 | 1251845.2007
54 | 2765463.4715 | 1251848.1309
55 | 2765465.9106 | 1251823.6887
56 | 2765466.3874 | 1251818.9106
57 | 2765467.6563 | 1251806.1959
58 | 2765564.3601 | 1251941.9377
59 | 2765452.0804 | 1251910.6152
60 | 2765448.5983 | 1251943.2291
61 | 2765335.9622 | 1251999.8876
62 | 2765345.4675 | 1252013.8616
63 | 2765300.22 | 1251948.6294
64 | 2765361.6064 | 1252037.9258
65 | 2765376.5708 | 1252060.1499
66 | 2765330.5522 | 1252054.8714
67 | 2765389.9928 | 1252080.6233
68 | 2765387.3781 | 1252052.2293
69 | 2765296.4257 | 1252090.7052
70 | 2765287.9789 | 1252099.5746
71 | 2765278.5812 | 1252091.6373
72 | 2765340.8786 | 1252069.9529
73 | 2765398.1772 | 1252093.1074
74 | 2765362.1332 | 1252100.9949
75 | 2765402.8644 | 1252040.8795
76 | 2765421.5546 | 1251999.929
77 | 2765419.9815 | 1252022.8117
78 | 2765422.8319 | 1251981.3483
79 | 2765428.442 | 1251981.6608
80 | 2765411.0013 | 1251980.4528
81 | 2765402.4347 | 1251979.8044
82 | 2765399.7709 | 1251979.6028
83 | 2765398.3827 | 1252093.4208
84 | 2765365.0621 | 1252105.2725
85 | 2765404.7514 | 1252103.1354
86 | 2765404.7654 | 1252103.1567
87 | 2765452.9564 | 1252101.7723
88 | 2765464.8293 | 1252124.5584
89 | 2765449.7983 | 1252098.1668
90 | 2765431.3739 | 1252143.7442
91 | 2765422.3072 | 1252129.9143
92 | 2765459.9769 | 1251883.1501

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1