## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3236-2_0_10_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3236-2_0_10_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_3236-2_0_10_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_3236-2_0_10_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_3236-2_0_10_node_58 | 0.4 | n |  | TRUE
5 | bus_LV_3236-2_0_10_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_3236-2_0_10_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_3236-2_0_10_node_59 | 0.4 | n |  | TRUE
8 | bus_LV_3236-2_0_10_node_20 | 0.4 | n |  | TRUE
9 | bus_LV_3236-2_0_10_node_51 | 0.4 | n |  | TRUE
10 | bus_LV_3236-2_0_10_node_50 | 0.4 | n |  | TRUE
11 | bus_LV_3236-2_0_10_node_18 | 0.4 | n |  | TRUE
12 | bus_LV_3236-2_0_10_node_23 | 0.4 | n |  | TRUE
13 | bus_LV_3236-2_0_10_node_24 | 0.4 | n |  | TRUE
14 | bus_LV_3236-2_0_10_node_16 | 0.4 | n |  | TRUE
15 | bus_LV_3236-2_0_10_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_3236-2_0_10_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_3236-2_0_10_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_3236-2_0_10_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_3236-2_0_10_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_3236-2_0_10_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_3236-2_0_10_node_37 | 0.4 | n |  | TRUE
22 | bus_LV_3236-2_0_10_node_27 | 0.4 | n |  | TRUE
23 | bus_LV_3236-2_0_10_node_36 | 0.4 | n |  | TRUE
24 | bus_LV_3236-2_0_10_node_35 | 0.4 | n |  | TRUE
25 | bus_LV_3236-2_0_10_node_60 | 0.4 | n |  | TRUE
26 | bus_LV_3236-2_0_10_node_46 | 0.4 | n |  | TRUE
27 | bus_LV_3236-2_0_10_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_3236-2_0_10_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_3236-2_0_10_node_49 | 0.4 | n |  | TRUE
30 | bus_LV_3236-2_0_10_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_3236-2_0_10_node_15 | 0.4 | n |  | TRUE
32 | bus_LV_3236-2_0_10_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_3236-2_0_10_node_61 | 0.4 | n |  | TRUE
34 | bus_LV_3236-2_0_10_node_53 | 0.4 | n |  | TRUE
35 | bus_LV_3236-2_0_10_node_52 | 0.4 | n |  | TRUE
36 | bus_LV_3236-2_0_10_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_3236-2_0_10_node_55 | 0.4 | n |  | TRUE
38 | bus_LV_3236-2_0_10_node_57 | 0.4 | n |  | TRUE
39 | bus_LV_3236-2_0_10_node_42 | 0.4 | n |  | TRUE
40 | bus_LV_3236-2_0_10_node_54 | 0.4 | n |  | TRUE
41 | bus_LV_3236-2_0_10_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_3236-2_0_10_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_3236-2_0_10_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_3236-2_0_10_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_3236-2_0_10_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_3236-2_0_10_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_3236-2_0_10_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_3236-2_0_10_node_45 | 0.4 | n |  | TRUE
49 | bus_LV_3236-2_0_10_node_47 | 0.4 | n |  | TRUE
50 | bus_LV_3236-2_0_10_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_3236-2_0_10_node_33 | 0.4 | n |  | TRUE
52 | bus_LV_3236-2_0_10_node_40 | 0.4 | n |  | TRUE
53 | bus_LV_3236-2_0_10_node_34 | 0.4 | n |  | TRUE
54 | bus_LV_3236-2_0_10_node_63 | 0.4 | n |  | TRUE
55 | bus_LV_3236-2_0_10_node_56 | 0.4 | n |  | TRUE
56 | bus_LV_3236-2_0_10_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_3236-2_0_10_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_3236-2_0_10_node_62 | 0.4 | n |  | TRUE
59 | bus_MV_46_0_node_84 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3236-2_0_10_load_0 | 0 | 0.0033419 | 0.00083755 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3236-2_0_10_load_58 | 4 | 0.0035952 | 0.00090104 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3236-2_0_10_load_4 | 6 | 0.0078515 | 0.0019678 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3236-2_0_10_load_59 | 7 | 0.00059416 | 0.00014891 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3236-2_0_10_load_50 | 10 | 0.071138 | 0.017829 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3236-2_0_10_load_8 | 15 | 0.0058737 | 0.0014721 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3236-2_0_10_load_12 | 19 | 0.002108 | 0.00052833 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3236-2_0_10_load_13 | 20 | 0.0065288 | 0.0016363 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3236-2_0_10_load_37 | 21 | 0.0074398 | 0.0018646 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3236-2_0_10_load_36 | 23 | 0.024847 | 0.0062272 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3236-2_0_10_load_35 | 24 | 0.0032334 | 0.00081035 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3236-2_0_10_load_60 | 25 | 0.0072354 | 0.0018134 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3236-2_0_10_load_46 | 26 | 0.0003337 | 8.3634e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3236-2_0_10_load_49 | 29 | 0.011424 | 0.0028632 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3236-2_0_10_load_15 | 31 | 0.038214 | 0.0095772 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3236-2_0_10_load_61 | 33 | 0.0019037 | 0.00047711 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3236-2_0_10_load_53 | 34 | 0.0017084 | 0.00042817 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3236-2_0_10_load_55 | 37 | 0.050066 | 0.012548 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3236-2_0_10_load_57 | 38 | 0.039418 | 0.009879 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3236-2_0_10_load_42 | 39 | 0.048854 | 0.012244 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3236-2_0_10_load_54 | 40 | 0.046548 | 0.011666 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3236-2_0_10_load_39 | 43 | 0.026248 | 0.0065784 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3236-2_0_10_load_32 | 44 | 0.0032537 | 0.00081545 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3236-2_0_10_load_38 | 46 | 0.023008 | 0.0057663 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3236-2_0_10_load_41 | 47 | 0.09838 | 0.024656 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3236-2_0_10_load_45 | 48 | 0.0012899 | 0.00032328 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3236-2_0_10_load_48 | 50 | 0.013314 | 0.0033369 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3236-2_0_10_load_63 | 54 | 0.0034075 | 0.000854 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3236-2_0_10_load_56 | 55 | 0.0095267 | 0.0023876 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3236-2_0_10_load_43 | 56 | 0.0018542 | 0.00046472 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3236-2_0_10_load_44 | 57 | 0.0016813 | 0.00042138 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3236-2_0_10_load_62 | 58 | 0.0038061 | 0.0009539 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3236-2_0_10_line_0 |  | 0 | 1 | 0.0099536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3236-2_0_10_line_1 |  | 1 | 2 | 0.022347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3236-2_0_10_line_2 |  | 2 | 3 | 0.1752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3236-2_0_10_line_3 |  | 2 | 4 | 0.044135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3236-2_0_10_line_4 |  | 3 | 5 | 0.15724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3236-2_0_10_line_5 |  | 3 | 6 | 0.27625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3236-2_0_10_line_6 |  | 5 | 7 | 0.014885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3236-2_0_10_line_7 |  | 7 | 8 | 0.1641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3236-2_0_10_line_8 |  | 8 | 9 | 0.030929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_3236-2_0_10_line_9 |  | 8 | 10 | 0.058134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3236-2_0_10_line_10 |  | 8 | 11 | 0.12219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_3236-2_0_10_line_11 |  | 9 | 36 | 0.1459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3236-2_0_10_line_12 |  | 11 | 12 | 0.083558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3236-2_0_10_line_13 |  | 11 | 13 | 0.090386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_3236-2_0_10_line_14 |  | 11 | 14 | 0.040012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_3236-2_0_10_line_15 |  | 12 | 38 | 0.035615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3236-2_0_10_line_16 |  | 13 | 39 | 0.22081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_3236-2_0_10_line_17 |  | 13 | 40 | 0.048943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3236-2_0_10_line_18 |  | 14 | 31 | 0.19844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_3236-2_0_10_line_19 |  | 15 | 16 | 0.050726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3236-2_0_10_line_20 |  | 15 | 17 | 0.043727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3236-2_0_10_line_21 |  | 16 | 18 | 0.01025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3236-2_0_10_line_22 |  | 16 | 19 | 0.04878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3236-2_0_10_line_23 |  | 17 | 20 | 0.014272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3236-2_0_10_line_24 |  | 18 | 21 | 0.050564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3236-2_0_10_line_25 |  | 18 | 22 | 0.03371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3236-2_0_10_line_26 |  | 18 | 23 | 0.030338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3236-2_0_10_line_27 |  | 19 | 24 | 0.041636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3236-2_0_10_line_28 |  | 20 | 25 | 0.009622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3236-2_0_10_line_29 |  | 22 | 26 | 0.0068008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3236-2_0_10_line_30 |  | 23 | 28 | 0.04037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3236-2_0_10_line_31 |  | 25 | 33 | 0.00737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3236-2_0_10_line_32 |  | 26 | 48 | 0.024747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3236-2_0_10_line_33 |  | 27 | 28 | 0.017285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3236-2_0_10_line_34 |  | 27 | 29 | 0.050927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3236-2_0_10_line_35 |  | 28 | 32 | 0.081167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3236-2_0_10_line_36 |  | 28 | 30 | 0.022163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_3236-2_0_10_line_37 |  | 30 | 31 | 0.061285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_3236-2_0_10_line_38 |  | 32 | 46 | 0.033451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3236-2_0_10_line_39 |  | 32 | 45 | 0.05802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3236-2_0_10_line_40 |  | 33 | 58 | 0.0050042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3236-2_0_10_line_41 |  | 34 | 35 | 0.042246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3236-2_0_10_line_42 |  | 35 | 50 | 0.022737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3236-2_0_10_line_43 |  | 36 | 37 | 0.020438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3236-2_0_10_line_44 |  | 39 | 47 | 0.044675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_3236-2_0_10_line_45 |  | 41 | 42 | 0.079775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3236-2_0_10_line_46 |  | 41 | 43 | 0.023835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3236-2_0_10_line_47 |  | 42 | 44 | 0.0013312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3236-2_0_10_line_48 |  | 43 | 51 | 0.035627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3236-2_0_10_line_49 |  | 44 | 45 | 0.033743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3236-2_0_10_line_50 |  | 47 | 56 | 0.031006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3236-2_0_10_line_51 |  | 48 | 49 | 0.030278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3236-2_0_10_line_52 |  | 49 | 50 | 0.040042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3236-2_0_10_line_53 |  | 51 | 52 | 0.006603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3236-2_0_10_line_54 |  | 51 | 53 | 0.019373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3236-2_0_10_line_55 |  | 52 | 55 | 0.020735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3236-2_0_10_line_56 |  | 53 | 54 | 0.072338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3236-2_0_10_line_57 |  | 56 | 57 | 0.0095885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3236-2_0_10_trafo_15 | 0.63 MVA 20/0.4 kV | 59 | 31 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2767247.7834 | 1257953.7644 | 2767256.8977 | 1257957.7647
1 | 2767226.9679 | 1257945.4786 | 2767245.0874 | 1257952.7872 | 2767247.7834 | 1257953.7644
2 | 2767154.3355 | 1257834.9431 | 2767167.204 | 1257832.6485 | 2767196.8704 | 1257827.3139 | 2767205.4296 | 1257826.1322 | 2767215.8833 | 1257842.2668 | 2767219.4452 | 1257852.3782 | 2767226.9679 | 1257945.4786
3 | 2767226.9679 | 1257945.4786 | 2767224.2273 | 1257964.7551 | 2767216.2754 | 1257988.1031
4 | 2767154.3355 | 1257834.9431 | 2767138.7634 | 1257784.472 | 2767135.5367 | 1257769.6985 | 2767126.9965 | 1257712.0072 | 2767123.8932 | 1257707.2812 | 2767116.8272 | 1257703.144 | 2767110.4596 | 1257702.864 | 2767105.7823 | 1257703.6439 | 2767100.4374 | 1257706.4182
5 | 2767154.3355 | 1257834.9431 | 2767159.0784 | 1257843.8532 | 2767162.522 | 1257858.6884 | 2767166.9836 | 1257887.9566 | 2767166.1626 | 1257926.3409 | 2767159.9207 | 1257962.9926 | 2767153.4672 | 1257988.7155 | 2767140.1171 | 1258019.538 | 2767110.5838 | 1258081.8705 | 2767103.374 | 1258096.8966
6 | 2767100.4374 | 1257706.4182 | 2767087.58 | 1257713.9188
7 | 2766924.0623 | 1257700.0913 | 2767087.58 | 1257713.9188
8 | 2766893.911 | 1257707.3601 | 2766924.0623 | 1257700.0913
9 | 2766924.0623 | 1257700.0913 | 2766912.2039 | 1257686.9097 | 2766873.2145 | 1257676.3149
10 | 2766924.0623 | 1257700.0913 | 2766925.141 | 1257699.8326 | 2766933.3073 | 1257697.338 | 2766936.2072 | 1257695.1063 | 2766938.6133 | 1257692.1932 | 2766949.3705 | 1257662.3315 | 2766964.2557 | 1257609.9958 | 2766968.2269 | 1257591.4659
11 | 2766893.911 | 1257707.3601 | 2766887.0892 | 1257709.0029 | 2766861.7418 | 1257715.5509 | 2766823.3393 | 1257725.3902 | 2766825.5704 | 1257734.0289 | 2766837.8355 | 1257730.9268 | 2766854.8046 | 1257726.6338 | 2766870.3831 | 1257722.6909 | 2766887.7474 | 1257718.298
12 | 2766925.2986 | 1257572.8911 | 2766921.1804 | 1257583.5308 | 2766921.4624 | 1257588.2437 | 2766924.0117 | 1257591.2188 | 2766953.8038 | 1257606.8532 | 2766964.2557 | 1257609.9958 | 2766968.2269 | 1257591.4659
13 | 2766961.5013 | 1257551.4782 | 2766975.5248 | 1257560.1384 | 2766980.3641 | 1257561.6432 | 2766987.6947 | 1257562.2951 | 2766988.4808 | 1257567.0556 | 2766988.9792 | 1257573.4543 | 2766987.8563 | 1257575.547 | 2766983.3106 | 1257581.0135 | 2766991.7705 | 1257590.8403 | 2766981.9684 | 1257594.3454 | 2766976.8133 | 1257597.8815 | 2766975.3764 | 1257596.128 | 2766971.0786 | 1257592.0135 | 2766968.2269 | 1257591.4659
14 | 2766949.8016 | 1257557.5213 | 2766967.4036 | 1257580.0082 | 2766968.2269 | 1257591.4659
15 | 2766925.2986 | 1257572.8911 | 2766928.058 | 1257565.7503 | 2766927.9925 | 1257563.2569 | 2766926.1171 | 1257561.0016 | 2766905.6556 | 1257551.567
16 | 2766961.5013 | 1257551.4782 | 2766938.2226 | 1257537.1065 | 2766902.158 | 1257520.205 | 2766870.4001 | 1257505.4942 | 2766865.7531 | 1257500.9139 | 2766864.4433 | 1257495.994 | 2766861.3699 | 1257423.8753 | 2766857.4486 | 1257389.274
17 | 2766961.5013 | 1257551.4782 | 2766965.9691 | 1257545.2976 | 2766971.3658 | 1257543.3589 | 2766988.6098 | 1257541.3765 | 2766990.5656 | 1257539.7187 | 2766991.6175 | 1257536.1335 | 2766990.4121 | 1257524.2696
18 | 2766949.8016 | 1257557.5213 | 2766926.5618 | 1257543.3732 | 2766902.3638 | 1257529.4873 | 2766824.0232 | 1257493.0518 | 2766771.9355 | 1257470.0763
19 | 2766682.6186 | 1257534.2237 | 2766672.2905 | 1257564.9655 | 2766665.5227 | 1257581.9632
20 | 2766646.9074 | 1257621.4998 | 2766661.4423 | 1257592.2112 | 2766665.5227 | 1257581.9632
21 | 2766682.6186 | 1257534.2237 | 2766685.4466 | 1257524.3707
22 | 2766682.6186 | 1257534.2237 | 2766680.6483 | 1257529.9748 | 2766676.4085 | 1257527.2748 | 2766667.4147 | 1257524.8635 | 2766648.6764 | 1257523.9128 | 2766637.7975 | 1257525.5129
23 | 2766646.9074 | 1257621.4998 | 2766634.7752 | 1257613.9826
24 | 2766685.4466 | 1257524.3707 | 2766676.2793 | 1257521.4205 | 2766658.4742 | 1257518.6831 | 2766644.8222 | 1257518.7766 | 2766635.7323 | 1257520.5809
25 | 2766685.4466 | 1257524.3707 | 2766690.5385 | 1257526.0158 | 2766694.2042 | 1257514.5513 | 2766709.1553 | 1257521.1014
26 | 2766685.4466 | 1257524.3707 | 2766687.4549 | 1257517.3642 | 2766690.9038 | 1257505.293 | 2766694.1099 | 1257495.2996
27 | 2766599.2527 | 1257539.7812 | 2766609.5964 | 1257533.1338 | 2766626.5906 | 1257527.1613 | 2766637.7975 | 1257525.5129
28 | 2766634.7752 | 1257613.9826 | 2766626.596 | 1257608.9148 | 2766626.596 | 1257608.9148
29 | 2766709.1553 | 1257521.1014 | 2766715.3846 | 1257523.8305
30 | 2766703.985 | 1257456.3872 | 2766704.0938 | 1257461.3622 | 2766701.0039 | 1257473.8106 | 2766694.1099 | 1257495.2996
31 | 2766626.596 | 1257608.9148 | 2766630.4686 | 1257602.6442
32 | 2766738.0514 | 1257533.7612 | 2766715.3846 | 1257523.8305
33 | 2766703.985 | 1257456.3872 | 2766711.5355 | 1257458.8803 | 2766720.3938 | 1257461.8217
34 | 2766720.3938 | 1257461.8217 | 2766724.1715 | 1257460.3043 | 2766731.2757 | 1257459.8928 | 2766736.5973 | 1257461.1551 | 2766767.9544 | 1257474.9833
35 | 2766703.985 | 1257456.3872 | 2766702.6636 | 1257450.2657 | 2766698.5493 | 1257446.0566 | 2766694.048 | 1257442.4593 | 2766680.2867 | 1257435.9872 | 2766656.8405 | 1257424.0368 | 2766644.0297 | 1257415.6895 | 2766638.4874 | 1257412.0853
36 | 2766703.985 | 1257456.3872 | 2766711.5355 | 1257458.8803 | 2766715.8633 | 1257445.3433
37 | 2766715.8633 | 1257445.3433 | 2766771.9355 | 1257470.0763
38 | 2766638.4874 | 1257412.0853 | 2766621.6132 | 1257440.9684
39 | 2766604.8565 | 1257369.5381 | 2766606.9899 | 1257373.6247 | 2766607.2562 | 1257376.2239 | 2766607.5131 | 1257382.3709 | 2766607.2 | 1257386.2551 | 2766611.8913 | 1257389.0012 | 2766617.246 | 1257393.3787 | 2766626.4421 | 1257402.8142 | 2766629.6867 | 1257405.4861 | 2766634.7159 | 1257409.6321 | 2766638.4874 | 1257412.0853
40 | 2766633.0981 | 1257598.3866 | 2766630.4686 | 1257602.6442
41 | 2766743.7848 | 1257604.7098 | 2766705.7031 | 1257586.421
42 | 2766743.7848 | 1257604.7098 | 2766751.7526 | 1257583.4144
43 | 2766887.7474 | 1257718.298 | 2766889.054 | 1257723.596 | 2766892.6971 | 1257738.128
44 | 2766848.3701 | 1257345.6296 | 2766851.9227 | 1257357.8279 | 2766855.9689 | 1257376.217 | 2766857.4486 | 1257389.274
45 | 2766637.0454 | 1257355.6071 | 2766641.6883 | 1257360.8766 | 2766647.9609 | 1257357.85 | 2766655.6107 | 1257351.7366 | 2766663.8256 | 1257345.6503 | 2766676.7999 | 1257335.3491 | 2766693.4501 | 1257319.3787 | 2766697.5183 | 1257314.7884
46 | 2766697.5183 | 1257314.7884 | 2766720.6747 | 1257320.4353
47 | 2766637.0454 | 1257355.6071 | 2766635.8237 | 1257356.1358
48 | 2766735.2408 | 1257287.9333 | 2766726.4174 | 1257308.6401 | 2766720.6747 | 1257320.4353
49 | 2766604.8565 | 1257369.5381 | 2766635.8237 | 1257356.1358
50 | 2766848.3701 | 1257345.6296 | 2766845.3119 | 1257335.1286 | 2766842.6861 | 1257322.0185 | 2766842.4734 | 1257315.324
51 | 2766765.7845 | 1257545.9115 | 2766738.0514 | 1257533.7612
52 | 2766765.7845 | 1257545.9115 | 2766751.7526 | 1257583.4144
53 | 2766737.8268 | 1257281.8552 | 2766735.2408 | 1257287.9333
54 | 2766720.8825 | 1257280.4099 | 2766719.5026 | 1257282.7846 | 2766724.82 | 1257285.2703 | 2766730.4896 | 1257286.776 | 2766735.2408 | 1257287.9333
55 | 2766737.8268 | 1257281.8552 | 2766742.4569 | 1257261.6442
56 | 2766720.8825 | 1257280.4099 | 2766727.6079 | 1257266.1397 | 2766732.1791 | 1257253.3437 | 2766735.528 | 1257241.0806 | 2766738.3797 | 1257222.6303 | 2766738.7287 | 1257211.0425
57 | 2766843.4905 | 1257305.8314 | 2766842.3784 | 1257312.3329 | 2766842.4734 | 1257315.324

## bus_geodata
| x | y | coords
0 | 2767256.8977 | 1257957.7647
1 | 2767247.7834 | 1257953.7644
2 | 2767226.9679 | 1257945.4786
3 | 2767154.3355 | 1257834.9431
4 | 2767216.2754 | 1257988.1031
5 | 2767100.4374 | 1257706.4182
6 | 2767103.374 | 1258096.8966
7 | 2767087.58 | 1257713.9188
8 | 2766924.0623 | 1257700.0913
9 | 2766893.911 | 1257707.3601
10 | 2766873.2145 | 1257676.3149
11 | 2766968.2269 | 1257591.4659
12 | 2766925.2986 | 1257572.8911
13 | 2766961.5013 | 1257551.4782
14 | 2766949.8016 | 1257557.5213
15 | 2766665.5227 | 1257581.9632
16 | 2766682.6186 | 1257534.2237
17 | 2766646.9074 | 1257621.4998
18 | 2766685.4466 | 1257524.3707
19 | 2766637.7975 | 1257525.5129
20 | 2766634.7752 | 1257613.9826
21 | 2766635.7323 | 1257520.5809
22 | 2766709.1553 | 1257521.1014
23 | 2766694.1099 | 1257495.2996
24 | 2766599.2527 | 1257539.7812
25 | 2766626.596 | 1257608.9148
26 | 2766715.3846 | 1257523.8305
27 | 2766720.3938 | 1257461.8217
28 | 2766703.985 | 1257456.3872
29 | 2766767.9544 | 1257474.9833
30 | 2766715.8633 | 1257445.3433
31 | 2766771.9355 | 1257470.0763
32 | 2766638.4874 | 1257412.0853
33 | 2766630.4686 | 1257602.6442
34 | 2766705.7031 | 1257586.421
35 | 2766743.7848 | 1257604.7098
36 | 2766887.7474 | 1257718.298
37 | 2766892.6971 | 1257738.128
38 | 2766905.6556 | 1257551.567
39 | 2766857.4486 | 1257389.274
40 | 2766990.4121 | 1257524.2696
41 | 2766697.5183 | 1257314.7884
42 | 2766637.0454 | 1257355.6071
43 | 2766720.6747 | 1257320.4353
44 | 2766635.8237 | 1257356.1358
45 | 2766604.8565 | 1257369.5381
46 | 2766621.6132 | 1257440.9684
47 | 2766848.3701 | 1257345.6296
48 | 2766738.0514 | 1257533.7612
49 | 2766765.7845 | 1257545.9115
50 | 2766751.7526 | 1257583.4144
51 | 2766735.2408 | 1257287.9333
52 | 2766737.8268 | 1257281.8552
53 | 2766720.8825 | 1257280.4099
54 | 2766738.7287 | 1257211.0425
55 | 2766742.4569 | 1257261.6442
56 | 2766842.4734 | 1257315.324
57 | 2766843.4905 | 1257305.8314
58 | 2766633.0981 | 1257598.3866
59 | 2766771.9355 | 1257470.0763

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1