## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3237-24_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3237-24_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3237-24_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3237-24_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3237-24_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3237-24_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3237-24_0_5_node_59 | 0.4 | n |  | TRUE
7 | bus_LV_3237-24_0_5_node_88 | 0.4 | n |  | TRUE
8 | bus_LV_3237-24_0_5_node_56 | 0.4 | n |  | TRUE
9 | bus_LV_3237-24_0_5_node_57 | 0.4 | n |  | TRUE
10 | bus_LV_3237-24_0_5_node_55 | 0.4 | n |  | TRUE
11 | bus_LV_3237-24_0_5_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_3237-24_0_5_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_3237-24_0_5_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_3237-24_0_5_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_3237-24_0_5_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_3237-24_0_5_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_3237-24_0_5_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_3237-24_0_5_node_46 | 0.4 | n |  | TRUE
19 | bus_LV_3237-24_0_5_node_29 | 0.4 | n |  | TRUE
20 | bus_LV_3237-24_0_5_node_27 | 0.4 | n |  | TRUE
21 | bus_LV_3237-24_0_5_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_3237-24_0_5_node_30 | 0.4 | n |  | TRUE
23 | bus_LV_3237-24_0_5_node_26 | 0.4 | n |  | TRUE
24 | bus_LV_3237-24_0_5_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_3237-24_0_5_node_33 | 0.4 | n |  | TRUE
26 | bus_LV_3237-24_0_5_node_34 | 0.4 | n |  | TRUE
27 | bus_LV_3237-24_0_5_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_3237-24_0_5_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_3237-24_0_5_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_3237-24_0_5_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_3237-24_0_5_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_3237-24_0_5_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_3237-24_0_5_node_39 | 0.4 | n |  | TRUE
34 | bus_LV_3237-24_0_5_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_3237-24_0_5_node_42 | 0.4 | n |  | TRUE
36 | bus_LV_3237-24_0_5_node_87 | 0.4 | n |  | TRUE
37 | bus_LV_3237-24_0_5_node_38 | 0.4 | n |  | TRUE
38 | bus_LV_3237-24_0_5_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_3237-24_0_5_node_40 | 0.4 | n |  | TRUE
40 | bus_LV_3237-24_0_5_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_3237-24_0_5_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_3237-24_0_5_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_3237-24_0_5_node_83 | 0.4 | n |  | TRUE
44 | bus_LV_3237-24_0_5_node_81 | 0.4 | n |  | TRUE
45 | bus_LV_3237-24_0_5_node_76 | 0.4 | n |  | TRUE
46 | bus_LV_3237-24_0_5_node_74 | 0.4 | n |  | TRUE
47 | bus_LV_3237-24_0_5_node_75 | 0.4 | n |  | TRUE
48 | bus_LV_3237-24_0_5_node_77 | 0.4 | n |  | TRUE
49 | bus_LV_3237-24_0_5_node_82 | 0.4 | n |  | TRUE
50 | bus_LV_3237-24_0_5_node_80 | 0.4 | n |  | TRUE
51 | bus_LV_3237-24_0_5_node_84 | 0.4 | n |  | TRUE
52 | bus_LV_3237-24_0_5_node_85 | 0.4 | n |  | TRUE
53 | bus_LV_3237-24_0_5_node_28 | 0.4 | n |  | TRUE
54 | bus_LV_3237-24_0_5_node_31 | 0.4 | n |  | TRUE
55 | bus_LV_3237-24_0_5_node_32 | 0.4 | n |  | TRUE
56 | bus_LV_3237-24_0_5_node_35 | 0.4 | n |  | TRUE
57 | bus_LV_3237-24_0_5_node_36 | 0.4 | n |  | TRUE
58 | bus_LV_3237-24_0_5_node_37 | 0.4 | n |  | TRUE
59 | bus_LV_3237-24_0_5_node_48 | 0.4 | n |  | TRUE
60 | bus_LV_3237-24_0_5_node_72 | 0.4 | n |  | TRUE
61 | bus_LV_3237-24_0_5_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_3237-24_0_5_node_41 | 0.4 | n |  | TRUE
63 | bus_LV_3237-24_0_5_node_43 | 0.4 | n |  | TRUE
64 | bus_LV_3237-24_0_5_node_44 | 0.4 | n |  | TRUE
65 | bus_LV_3237-24_0_5_node_45 | 0.4 | n |  | TRUE
66 | bus_LV_3237-24_0_5_node_49 | 0.4 | n |  | TRUE
67 | bus_LV_3237-24_0_5_node_66 | 0.4 | n |  | TRUE
68 | bus_LV_3237-24_0_5_node_68 | 0.4 | n |  | TRUE
69 | bus_LV_3237-24_0_5_node_50 | 0.4 | n |  | TRUE
70 | bus_LV_3237-24_0_5_node_64 | 0.4 | n |  | TRUE
71 | bus_LV_3237-24_0_5_node_61 | 0.4 | n |  | TRUE
72 | bus_LV_3237-24_0_5_node_65 | 0.4 | n |  | TRUE
73 | bus_LV_3237-24_0_5_node_62 | 0.4 | n |  | TRUE
74 | bus_LV_3237-24_0_5_node_53 | 0.4 | n |  | TRUE
75 | bus_LV_3237-24_0_5_node_52 | 0.4 | n |  | TRUE
76 | bus_LV_3237-24_0_5_node_54 | 0.4 | n |  | TRUE
77 | bus_LV_3237-24_0_5_node_58 | 0.4 | n |  | TRUE
78 | bus_LV_3237-24_0_5_node_60 | 0.4 | n |  | TRUE
79 | bus_LV_3237-24_0_5_node_70 | 0.4 | n |  | TRUE
80 | bus_LV_3237-24_0_5_node_69 | 0.4 | n |  | TRUE
81 | bus_LV_3237-24_0_5_node_63 | 0.4 | n |  | TRUE
82 | bus_LV_3237-24_0_5_node_71 | 0.4 | n |  | TRUE
83 | bus_LV_3237-24_0_5_node_67 | 0.4 | n |  | TRUE
84 | bus_MV_45_0_node_90 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3237-24_0_5_load_0 | 0 | 0.034855 | 0.0087355 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3237-24_0_5_load_3 | 3 | 0.0065459 | 0.0016406 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3237-24_0_5_load_5 | 5 | 0.018127 | 0.0045429 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3237-24_0_5_load_59 | 6 | 0.0057752 | 0.0014474 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3237-24_0_5_load_88 | 7 | 0.0030439 | 0.00076287 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3237-24_0_5_load_56 | 8 | 0.018238 | 0.0045708 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3237-24_0_5_load_57 | 9 | 0.017321 | 0.0043411 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3237-24_0_5_load_55 | 10 | 0.0014226 | 0.00035653 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3237-24_0_5_load_6 | 11 | 0.0058933 | 0.001477 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3237-24_0_5_load_7 | 12 | 0.0055936 | 0.0014019 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3237-24_0_5_load_9 | 14 | 0.0084269 | 0.002112 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3237-24_0_5_load_12 | 17 | 0.0035932 | 0.00090055 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3237-24_0_5_load_46 | 18 | 0.0064711 | 0.0016218 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3237-24_0_5_load_27 | 20 | 0.0020443 | 0.00051236 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3237-24_0_5_load_13 | 21 | 0.0039127 | 0.0009806 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3237-24_0_5_load_30 | 22 | 0.0037825 | 0.00094799 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3237-24_0_5_load_26 | 23 | 0.001704 | 0.00042707 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3237-24_0_5_load_14 | 24 | 0.0049107 | 0.0012307 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3237-24_0_5_load_33 | 25 | 0.0038313 | 0.00096021 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3237-24_0_5_load_34 | 26 | 0.0037151 | 0.00093109 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3237-24_0_5_load_15 | 27 | 0.0026255 | 0.00065801 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3237-24_0_5_load_16 | 28 | 0.0012027 | 0.00030143 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3237-24_0_5_load_18 | 30 | 0.00082084 | 0.00020572 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3237-24_0_5_load_19 | 31 | 0.0025105 | 0.00062918 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3237-24_0_5_load_20 | 32 | 0.010186 | 0.0025528 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3237-24_0_5_load_39 | 33 | 0.0042963 | 0.0010768 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3237-24_0_5_load_21 | 34 | 0.0034007 | 0.00085229 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3237-24_0_5_load_42 | 35 | 0.011238 | 0.0028164 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3237-24_0_5_load_87 | 36 | 0.0040466 | 0.0010142 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3237-24_0_5_load_38 | 37 | 0.0038175 | 0.00095675 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3237-24_0_5_load_22 | 38 | 0.0022357 | 0.00056032 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3237-24_0_5_load_40 | 39 | 0.0021442 | 0.00053738 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3237-24_0_5_load_23 | 40 | 0.0029474 | 0.00073868 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3237-24_0_5_load_24 | 41 | 0.0029482 | 0.00073889 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3237-24_0_5_load_25 | 42 | 0.0024053 | 0.00060282 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3237-24_0_5_load_83 | 43 | 0.0051877 | 0.0013001 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3237-24_0_5_load_81 | 44 | 0.0050849 | 0.0012744 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3237-24_0_5_load_76 | 45 | 0.0044006 | 0.0011029 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3237-24_0_5_load_74 | 46 | 0.0034845 | 0.00087329 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3237-24_0_5_load_75 | 47 | 0.0032592 | 0.00081684 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3237-24_0_5_load_77 | 48 | 0.00076473 | 0.00019166 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3237-24_0_5_load_80 | 50 | 0.0023348 | 0.00058515 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3237-24_0_5_load_85 | 52 | 0.0098841 | 0.0024772 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3237-24_0_5_load_28 | 53 | 0.0051624 | 0.0012938 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3237-24_0_5_load_31 | 54 | 0.0030899 | 0.00077441 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3237-24_0_5_load_32 | 55 | 0.0023857 | 0.00059791 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3237-24_0_5_load_36 | 57 | 0.0054527 | 0.0013666 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3237-24_0_5_load_37 | 58 | 0.028475 | 0.0071366 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3237-24_0_5_load_72 | 60 | 0.014505 | 0.0036353 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3237-24_0_5_load_41 | 62 | 0.0055234 | 0.0013843 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3237-24_0_5_load_43 | 63 | 0.0034583 | 0.00086672 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3237-24_0_5_load_44 | 64 | 0.0046849 | 0.0011741 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3237-24_0_5_load_45 | 65 | 0.0043031 | 0.0010784 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3237-24_0_5_load_66 | 67 | 0.0010964 | 0.00027478 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3237-24_0_5_load_68 | 68 | 0.0092171 | 0.00231 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3237-24_0_5_load_64 | 70 | 0.00077403 | 0.00019399 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3237-24_0_5_load_61 | 71 | 0.0016191 | 0.00040578 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3237-24_0_5_load_62 | 73 | 0.0025835 | 0.00064749 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3237-24_0_5_load_53 | 74 | 0.0028383 | 0.00071135 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3237-24_0_5_load_52 | 75 | 0.0015982 | 0.00040054 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3237-24_0_5_load_54 | 76 | 0.0058299 | 0.0014611 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3237-24_0_5_load_58 | 77 | 0.0065124 | 0.0016322 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3237-24_0_5_load_60 | 78 | 0.0037308 | 0.00093503 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3237-24_0_5_load_70 | 79 | 0.002301 | 0.00057668 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3237-24_0_5_load_69 | 80 | 0.0023037 | 0.00057737 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3237-24_0_5_load_63 | 81 | 0.0026041 | 0.00065265 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3237-24_0_5_load_71 | 82 | 0.0034819 | 0.00087266 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3237-24_0_5_load_67 | 83 | 0.002673 | 0.0006699 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3237-24_0_5_line_0 |  | 0 | 1 | 0.016348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3237-24_0_5_line_1 |  | 0 | 2 | 0.024777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3237-24_0_5_line_2 |  | 1 | 3 | 0.014108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3237-24_0_5_line_3 |  | 2 | 4 | 0.016753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3237-24_0_5_line_4 |  | 2 | 5 | 0.018422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3237-24_0_5_line_5 |  | 3 | 6 | 0.0076626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3237-24_0_5_line_6 |  | 4 | 7 | 0.035726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3237-24_0_5_line_7 |  | 5 | 8 | 0.026332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3237-24_0_5_line_8 |  | 6 | 9 | 0.021858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_3237-24_0_5_line_9 |  | 8 | 10 | 0.017365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3237-24_0_5_line_10 |  | 9 | 77 | 0.0066524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_3237-24_0_5_line_11 |  | 10 | 76 | 0.012153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3237-24_0_5_line_12 |  | 11 | 12 | 0.03938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3237-24_0_5_line_13 |  | 11 | 13 | 0.056738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3237-24_0_5_line_14 |  | 12 | 14 | 0.039053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3237-24_0_5_line_15 |  | 13 | 15 | 0.005552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3237-24_0_5_line_16 |  | 13 | 16 | 0.058536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3237-24_0_5_line_17 |  | 14 | 17 | 0.025031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3237-24_0_5_line_18 |  | 15 | 18 | 0.060392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3237-24_0_5_line_19 |  | 16 | 19 | 0.063079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3237-24_0_5_line_20 |  | 16 | 20 | 0.047434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3237-24_0_5_line_21 |  | 17 | 21 | 0.078108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3237-24_0_5_line_22 |  | 19 | 22 | 0.020194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3237-24_0_5_line_23 |  | 20 | 23 | 0.018632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3237-24_0_5_line_24 |  | 21 | 24 | 0.0040342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_3237-24_0_5_line_25 |  | 22 | 54 | 0.016786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3237-24_0_5_line_26 |  | 23 | 53 | 0.01583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3237-24_0_5_line_27 |  | 24 | 25 | 0.036341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_3237-24_0_5_line_28 |  | 25 | 26 | 0.057612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_3237-24_0_5_line_29 |  | 26 | 56 | 0.083094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_3237-24_0_5_line_30 |  | 27 | 28 | 0.017802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3237-24_0_5_line_31 |  | 27 | 29 | 0.003818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3237-24_0_5_line_32 |  | 28 | 30 | 0.030625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_3237-24_0_5_line_33 |  | 29 | 31 | 0.013689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3237-24_0_5_line_34 |  | 29 | 32 | 0.041257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3237-24_0_5_line_35 |  | 30 | 33 | 0.061221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_3237-24_0_5_line_36 |  | 31 | 34 | 0.01344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3237-24_0_5_line_37 |  | 32 | 35 | 0.040694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3237-24_0_5_line_38 |  | 32 | 36 | 0.082575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3237-24_0_5_line_39 |  | 33 | 37 | 0.03331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_3237-24_0_5_line_40 |  | 34 | 38 | 0.0056706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3237-24_0_5_line_41 |  | 35 | 39 | 0.0079705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3237-24_0_5_line_42 |  | 37 | 57 | 0.045628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_3237-24_0_5_line_43 |  | 38 | 40 | 0.01665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3237-24_0_5_line_44 |  | 39 | 62 | 0.029926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3237-24_0_5_line_45 |  | 40 | 41 | 0.0015271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3237-24_0_5_line_46 |  | 41 | 42 | 0.020611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3237-24_0_5_line_47 |  | 42 | 44 | 0.055455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3237-24_0_5_line_48 |  | 43 | 44 | 0.016012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3237-24_0_5_line_49 |  | 44 | 50 | 0.03216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3237-24_0_5_line_50 |  | 45 | 46 | 0.013775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3237-24_0_5_line_51 |  | 46 | 47 | 0.015595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3237-24_0_5_line_52 |  | 47 | 48 | 0.0084698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3237-24_0_5_line_53 |  | 48 | 49 | 0.0088403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3237-24_0_5_line_54 |  | 49 | 51 | 0.022223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3237-24_0_5_line_55 |  | 49 | 50 | 0.019525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3237-24_0_5_line_56 |  | 51 | 52 | 0.034555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3237-24_0_5_line_57 |  | 54 | 55 | 0.021391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3237-24_0_5_line_58 |  | 56 | 57 | 0.028132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_3237-24_0_5_line_59 |  | 56 | 58 | 0.0030751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_3237-24_0_5_line_60 |  | 58 | 59 | 0.022564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_3237-24_0_5_line_61 |  | 59 | 60 | 0.063535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3237-24_0_5_line_62 |  | 59 | 61 | 0.004407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_3237-24_0_5_line_63 |  | 61 | 66 | 0.068631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_3237-24_0_5_line_64 |  | 62 | 63 | 0.011446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3237-24_0_5_line_65 |  | 63 | 64 | 0.026987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3237-24_0_5_line_66 |  | 64 | 65 | 0.018945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3237-24_0_5_line_67 |  | 66 | 67 | 0.015449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_3237-24_0_5_line_68 |  | 66 | 68 | 0.014553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3237-24_0_5_line_69 |  | 67 | 72 | 0.018106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
70 | LV_3237-24_0_5_line_70 |  | 69 | 70 | 0.036417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_3237-24_0_5_line_71 |  | 69 | 71 | 0.018045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_3237-24_0_5_line_72 |  | 70 | 72 | 0.015796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
73 | LV_3237-24_0_5_line_73 |  | 71 | 73 | 0.0075543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
74 | LV_3237-24_0_5_line_74 |  | 72 | 83 | 0.099565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3237-24_0_5_line_75 |  | 73 | 81 | 0.00099605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
76 | LV_3237-24_0_5_line_76 |  | 74 | 75 | 0.018307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3237-24_0_5_line_77 |  | 75 | 76 | 0.0021587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3237-24_0_5_line_78 |  | 77 | 78 | 0.012357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
79 | LV_3237-24_0_5_line_79 |  | 78 | 79 | 0.015957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_3237-24_0_5_line_80 |  | 79 | 80 | 0.0087827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_3237-24_0_5_line_81 |  | 80 | 82 | 0.0070063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
82 | LV_3237-24_0_5_line_82 |  | 81 | 82 | 0.024353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3237-24_0_5_trafo_13 | 0.63 MVA 20/0.4 kV | 84 | 21 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2758332.6865 | 1261127.513 | 2758343.8918 | 1261132.5514 | 2758347.4281 | 1261134.5496
1 | 2758367.2686 | 1261149.3389 | 2758355.994 | 1261140.4168 | 2758350.1533 | 1261136.0893 | 2758347.4281 | 1261134.5496
2 | 2758332.6865 | 1261127.513 | 2758323.6543 | 1261124.6684 | 2758319.1673 | 1261123.4917
3 | 2758367.2686 | 1261149.3389 | 2758377.9671 | 1261136.4231
4 | 2758367.2686 | 1261149.3389 | 2758381.1411 | 1261161.4593
5 | 2758311.7251 | 1261121.6794 | 2758313.8757 | 1261122.1041 | 2758319.1673 | 1261123.4917
6 | 2758377.9671 | 1261136.4231 | 2758405.587 | 1261159.186
7 | 2758401.1257 | 1261178.6017 | 2758394.5726 | 1261173.1945 | 2758381.1411 | 1261161.4593
8 | 2758290.2966 | 1261117.3759 | 2758292.1771 | 1261117.8191 | 2758311.7251 | 1261121.6794
9 | 2758414.52 | 1261189.6537 | 2758401.1257 | 1261178.6017
10 | 2758290.2966 | 1261117.3759 | 2758283.8216 | 1261115.8497
11 | 2758414.52 | 1261189.6537 | 2758422.103 | 1261195.9106 | 2758423.924 | 1261197.3514
12 | 2758470.5948 | 1261132.1628 | 2758462.4519 | 1261129.1666 | 2758434.5954 | 1261118.6097 | 2758433.7339 | 1261118.3046
13 | 2758522.2955 | 1261154.5404 | 2758518.142 | 1261150.8475 | 2758513.0218 | 1261147.7738 | 2758470.5948 | 1261132.1628
14 | 2758433.7339 | 1261118.3046 | 2758396.9213 | 1261105.2682
15 | 2758522.2955 | 1261154.5404 | 2758518.1692 | 1261158.267
16 | 2758522.2955 | 1261154.5404 | 2758536.8804 | 1261141.5177 | 2758541.879 | 1261135.9125 | 2758546.3024 | 1261129.5467 | 2758553.1047 | 1261115.1696 | 2758555.0645 | 1261107.6032
17 | 2758396.9213 | 1261105.2682 | 2758394.7024 | 1261104.4825 | 2758390.7138 | 1261103.0743 | 2758387.7114 | 1261101.1586 | 2758385.0324 | 1261098.4285 | 2758383.596 | 1261095.7539 | 2758382.7127 | 1261092.983 | 2758382.7723 | 1261090.7601 | 2758383.4279 | 1261088.2417 | 2758383.5256 | 1261087.9686
18 | 2758518.1692 | 1261158.267 | 2758514.319 | 1261157.0403 | 2758494.0443 | 1261150.8352 | 2758474.7825 | 1261143.4116 | 2758461.0582 | 1261138.7164
19 | 2758576.1141 | 1261048.6731 | 2758566.8344 | 1261068.823 | 2758560.6087 | 1261082.5036 | 2758557.1952 | 1261091.6994 | 2758555.8379 | 1261098.4478 | 2758555.0645 | 1261107.6032
20 | 2758555.0645 | 1261107.6032 | 2758508.7991 | 1261097.1371
21 | 2758331.4367 | 1261051.1901 | 2758377.0773 | 1261066.3602 | 2758385.4215 | 1261069.2754 | 2758387.4065 | 1261070.3297 | 2758388.5287 | 1261071.7834 | 2758388.6929 | 1261073.5341 | 2758383.5256 | 1261087.9686
22 | 2758576.1141 | 1261048.6731 | 2758555.9296 | 1261048.0701
23 | 2758490.6263 | 1261093.0261 | 2758508.7991 | 1261097.1371
24 | 2758327.6085 | 1261049.9176 | 2758331.4367 | 1261051.1901
25 | 2758555.9296 | 1261048.0701 | 2758539.1509 | 1261047.5688
26 | 2758475.1866 | 1261089.5334 | 2758490.6263 | 1261093.0261
27 | 2758327.6085 | 1261049.9176 | 2758314.329 | 1261045.5037 | 2758308.6957 | 1261045.5308 | 2758305.4418 | 1261048.7805 | 2758300.8726 | 1261060.0008
28 | 2758300.8726 | 1261060.0008 | 2758298.1699 | 1261066.6377 | 2758297.1506 | 1261068.3789 | 2758295.762 | 1261069.8321 | 2758294.1607 | 1261070.7791 | 2758292.0327 | 1261071.1225 | 2758289.4764 | 1261071.1319 | 2758286.9331 | 1261070.6523 | 2758251.9964 | 1261057.7082
29 | 2758190.1974 | 1261013.8732 | 2758193.4925 | 1261031.0568 | 2758195.1984 | 1261034.6506 | 2758197.7394 | 1261037.1878 | 2758200.9238 | 1261038.7857 | 2758251.9964 | 1261057.7082
30 | 2758387.5862 | 1261029.2515 | 2758405.3786 | 1261028.6536
31 | 2758409.1944 | 1261028.5253 | 2758405.3786 | 1261028.6536
32 | 2758357.0519 | 1261027.7262 | 2758361.1003 | 1261028.3488 | 2758379.1801 | 1261029.534 | 2758387.5862 | 1261029.2515
33 | 2758409.1944 | 1261028.5253 | 2758422.8768 | 1261028.0857
34 | 2758409.1944 | 1261028.5253 | 2758406.7349 | 1261011.6976 | 2758400.461 | 1261004.3999 | 2758387.5513 | 1260997.5229
35 | 2758296.5921 | 1261018.1095 | 2758324.32 | 1261022.692 | 2758357.0519 | 1261027.7262
36 | 2758436.311 | 1261027.7066 | 2758434.8607 | 1261027.7006 | 2758422.8768 | 1261028.0857
37 | 2758348.6928 | 1260985.6884 | 2758362.0552 | 1260988.7668 | 2758386.0165 | 1260996.7053 | 2758387.5513 | 1260997.5229
38 | 2758387.5513 | 1260997.5229 | 2758425.3246 | 1260924.0938
39 | 2758263.671 | 1261013.0744 | 2758272.8372 | 1261014.1836 | 2758296.5921 | 1261018.1095
40 | 2758436.311 | 1261027.7066 | 2758441.9816 | 1261027.73
41 | 2758340.9257 | 1260983.899 | 2758348.6928 | 1260985.6884
42 | 2758263.671 | 1261013.0744 | 2758249.2299 | 1261011.3269 | 2758228.5592 | 1261010.5956 | 2758218.1745 | 1261011.1219
43 | 2758441.9816 | 1261027.73 | 2758458.6319 | 1261027.7987
44 | 2758340.9257 | 1260983.899 | 2758311.7636 | 1260977.1808
45 | 2758460.1589 | 1261027.805 | 2758458.6319 | 1261027.7987
46 | 2758460.1589 | 1261027.805 | 2758480.7696 | 1261027.8901
47 | 2758480.7696 | 1261027.8901 | 2758474.2046 | 1260972.8247
48 | 2758458.4483 | 1260969.9726 | 2758474.2046 | 1260972.8247
49 | 2758502.5811 | 1260972.7514 | 2758500.7175 | 1260977.6238 | 2758474.2046 | 1260972.8247
50 | 2758463.7745 | 1260945.401 | 2758477.2845 | 1260948.0903
51 | 2758477.2845 | 1260948.0903 | 2758492.5792 | 1260951.135
52 | 2758492.5792 | 1260951.135 | 2758500.886 | 1260952.7886
53 | 2758509.5561 | 1260954.5145 | 2758500.886 | 1260952.7886
54 | 2758528.5526 | 1260947.3938 | 2758519.1569 | 1260947.1307 | 2758512.6339 | 1260949.4028 | 2758509.5561 | 1260954.5145
55 | 2758509.5561 | 1260954.5145 | 2758502.5811 | 1260972.7514
56 | 2758528.5526 | 1260947.3938 | 2758562.6801 | 1260952.8109
57 | 2758517.7697 | 1261046.9301 | 2758539.1509 | 1261047.5688
58 | 2758190.1974 | 1261013.8732 | 2758207.3047 | 1261011.6728 | 2758218.1745 | 1261011.1219
59 | 2758190.1974 | 1261013.8732 | 2758187.2372 | 1261014.7059
60 | 2758167.5196 | 1261024.7448 | 2758169.947 | 1261022.2293 | 2758172.7263 | 1261020.0903 | 2758177.958 | 1261017.3162 | 2758187.2372 | 1261014.7059
61 | 2758167.5196 | 1261024.7448 | 2758163.4293 | 1261022.6221 | 2758159.1627 | 1261021.1733 | 2758154.4845 | 1261020.1694 | 2758147.0147 | 1261018.9462 | 2758143.0697 | 1261017.873 | 2758107.2848 | 1261005.1528
62 | 2758167.5196 | 1261024.7448 | 2758165.3212 | 1261028.5677
63 | 2758112.5875 | 1261058.0776 | 2758115.3165 | 1261053.8684 | 2758119.8107 | 1261052.7318 | 2758144.0505 | 1261052.2347 | 2758151.0192 | 1261050.7639 | 2758156.1015 | 1261048.2193 | 2758159.0553 | 1261044.6279 | 2758161.3139 | 1261040.2505 | 2758162.7268 | 1261036.1952 | 2758163.7718 | 1261032.9308 | 2758165.3212 | 1261028.5677
64 | 2758300.6096 | 1260974.6111 | 2758311.7636 | 1260977.1808
65 | 2758300.6096 | 1260974.6111 | 2758274.3118 | 1260968.5527
66 | 2758274.3118 | 1260968.5527 | 2758270.3286 | 1260967.6351 | 2758256.9484 | 1260961.1762
67 | 2758112.5875 | 1261058.0776 | 2758127.093 | 1261063.3927
68 | 2758112.5875 | 1261058.0776 | 2758098.8294 | 1261053.3345
69 | 2758144.0414 | 1261069.7637 | 2758127.8798 | 1261063.681 | 2758127.093 | 1261063.3927
70 | 2758193.3545 | 1261086.9219 | 2758175.9257 | 1261080.8608 | 2758163.7934 | 1261076.6432 | 2758158.9589 | 1261074.9594
71 | 2758193.3545 | 1261086.9219 | 2758210.4035 | 1261092.8344
72 | 2758144.0414 | 1261069.7637 | 2758158.9589 | 1261074.9594
73 | 2758210.4035 | 1261092.8344 | 2758217.5408 | 1261095.3096
74 | 2758144.0414 | 1261069.7637 | 2758130.4485 | 1261111.1208 | 2758124.7651 | 1261128.8094 | 2758123.6504 | 1261132.4278 | 2758092.0234 | 1261120.8907
75 | 2758218.4818 | 1261095.6359 | 2758217.5408 | 1261095.3096
76 | 2758425.6169 | 1261198.6909 | 2758439.9733 | 1261210.0505
77 | 2758425.6169 | 1261198.6909 | 2758423.924 | 1261197.3514
78 | 2758271.7946 | 1261113.0149 | 2758283.8216 | 1261115.8497
79 | 2758271.7946 | 1261113.0149 | 2758265.8774 | 1261111.6202 | 2758256.51 | 1261108.4875
80 | 2758248.1806 | 1261105.702 | 2758256.51 | 1261108.4875
81 | 2758248.1806 | 1261105.702 | 2758241.5361 | 1261103.4799
82 | 2758241.5361 | 1261103.4799 | 2758229.3261 | 1261099.3967 | 2758218.4818 | 1261095.6359

## bus_geodata
| x | y | coords
0 | 2758347.4281 | 1261134.5496
1 | 2758332.6865 | 1261127.513
2 | 2758367.2686 | 1261149.3389
3 | 2758319.1673 | 1261123.4917
4 | 2758377.9671 | 1261136.4231
5 | 2758381.1411 | 1261161.4593
6 | 2758311.7251 | 1261121.6794
7 | 2758405.587 | 1261159.186
8 | 2758401.1257 | 1261178.6017
9 | 2758290.2966 | 1261117.3759
10 | 2758414.52 | 1261189.6537
11 | 2758470.5948 | 1261132.1628
12 | 2758433.7339 | 1261118.3046
13 | 2758522.2955 | 1261154.5404
14 | 2758396.9213 | 1261105.2682
15 | 2758518.1692 | 1261158.267
16 | 2758555.0645 | 1261107.6032
17 | 2758383.5256 | 1261087.9686
18 | 2758461.0582 | 1261138.7164
19 | 2758576.1141 | 1261048.6731
20 | 2758508.7991 | 1261097.1371
21 | 2758331.4367 | 1261051.1901
22 | 2758555.9296 | 1261048.0701
23 | 2758490.6263 | 1261093.0261
24 | 2758327.6085 | 1261049.9176
25 | 2758300.8726 | 1261060.0008
26 | 2758251.9964 | 1261057.7082
27 | 2758405.3786 | 1261028.6536
28 | 2758387.5862 | 1261029.2515
29 | 2758409.1944 | 1261028.5253
30 | 2758357.0519 | 1261027.7262
31 | 2758422.8768 | 1261028.0857
32 | 2758387.5513 | 1260997.5229
33 | 2758296.5921 | 1261018.1095
34 | 2758436.311 | 1261027.7066
35 | 2758348.6928 | 1260985.6884
36 | 2758425.3246 | 1260924.0938
37 | 2758263.671 | 1261013.0744
38 | 2758441.9816 | 1261027.73
39 | 2758340.9257 | 1260983.899
40 | 2758458.6319 | 1261027.7987
41 | 2758460.1589 | 1261027.805
42 | 2758480.7696 | 1261027.8901
43 | 2758458.4483 | 1260969.9726
44 | 2758474.2046 | 1260972.8247
45 | 2758463.7745 | 1260945.401
46 | 2758477.2845 | 1260948.0903
47 | 2758492.5792 | 1260951.135
48 | 2758500.886 | 1260952.7886
49 | 2758509.5561 | 1260954.5145
50 | 2758502.5811 | 1260972.7514
51 | 2758528.5526 | 1260947.3938
52 | 2758562.6801 | 1260952.8109
53 | 2758475.1866 | 1261089.5334
54 | 2758539.1509 | 1261047.5688
55 | 2758517.7697 | 1261046.9301
56 | 2758190.1974 | 1261013.8732
57 | 2758218.1745 | 1261011.1219
58 | 2758187.2372 | 1261014.7059
59 | 2758167.5196 | 1261024.7448
60 | 2758107.2848 | 1261005.1528
61 | 2758165.3212 | 1261028.5677
62 | 2758311.7636 | 1260977.1808
63 | 2758300.6096 | 1260974.6111
64 | 2758274.3118 | 1260968.5527
65 | 2758256.9484 | 1260961.1762
66 | 2758112.5875 | 1261058.0776
67 | 2758127.093 | 1261063.3927
68 | 2758098.8294 | 1261053.3345
69 | 2758193.3545 | 1261086.9219
70 | 2758158.9589 | 1261074.9594
71 | 2758210.4035 | 1261092.8344
72 | 2758144.0414 | 1261069.7637
73 | 2758217.5408 | 1261095.3096
74 | 2758439.9733 | 1261210.0505
75 | 2758425.6169 | 1261198.6909
76 | 2758423.924 | 1261197.3514
77 | 2758283.8216 | 1261115.8497
78 | 2758271.7946 | 1261113.0149
79 | 2758256.51 | 1261108.4875
80 | 2758248.1806 | 1261105.702
81 | 2758218.4818 | 1261095.6359
82 | 2758241.5361 | 1261103.4799
83 | 2758092.0234 | 1261120.8907
84 | 2758190.1974 | 1261013.8732

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1