## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3238-24_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3238-24_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3238-24_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3238-24_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3238-24_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3238-24_0_3_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_3238-24_0_3_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_3238-24_0_3_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_3238-24_0_3_node_25 | 0.4 | n |  | TRUE
9 | bus_LV_3238-24_0_3_node_21 | 0.4 | n |  | TRUE
10 | bus_LV_3238-24_0_3_node_88 | 0.4 | n |  | TRUE
11 | bus_LV_3238-24_0_3_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_3238-24_0_3_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_3238-24_0_3_node_20 | 0.4 | n |  | TRUE
14 | bus_LV_3238-24_0_3_node_87 | 0.4 | n |  | TRUE
15 | bus_LV_3238-24_0_3_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_3238-24_0_3_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_3238-24_0_3_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_3238-24_0_3_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_3238-24_0_3_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_3238-24_0_3_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_3238-24_0_3_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_3238-24_0_3_node_89 | 0.4 | n |  | TRUE
23 | bus_LV_3238-24_0_3_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_3238-24_0_3_node_66 | 0.4 | n |  | TRUE
25 | bus_LV_3238-24_0_3_node_67 | 0.4 | n |  | TRUE
26 | bus_LV_3238-24_0_3_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_3238-24_0_3_node_29 | 0.4 | n |  | TRUE
28 | bus_LV_3238-24_0_3_node_30 | 0.4 | n |  | TRUE
29 | bus_LV_3238-24_0_3_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_3238-24_0_3_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_3238-24_0_3_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_3238-24_0_3_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_3238-24_0_3_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_3238-24_0_3_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_3238-24_0_3_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_3238-24_0_3_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_3238-24_0_3_node_38 | 0.4 | n |  | TRUE
38 | bus_LV_3238-24_0_3_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_3238-24_0_3_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_3238-24_0_3_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_3238-24_0_3_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_3238-24_0_3_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_3238-24_0_3_node_78 | 0.4 | n |  | TRUE
44 | bus_LV_3238-24_0_3_node_58 | 0.4 | n |  | TRUE
45 | bus_LV_3238-24_0_3_node_79 | 0.4 | n |  | TRUE
46 | bus_LV_3238-24_0_3_node_60 | 0.4 | n |  | TRUE
47 | bus_LV_3238-24_0_3_node_56 | 0.4 | n |  | TRUE
48 | bus_LV_3238-24_0_3_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_3238-24_0_3_node_73 | 0.4 | n |  | TRUE
50 | bus_LV_3238-24_0_3_node_71 | 0.4 | n |  | TRUE
51 | bus_LV_3238-24_0_3_node_86 | 0.4 | n |  | TRUE
52 | bus_LV_3238-24_0_3_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_3238-24_0_3_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_3238-24_0_3_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_3238-24_0_3_node_44 | 0.4 | n |  | TRUE
56 | bus_LV_3238-24_0_3_node_45 | 0.4 | n |  | TRUE
57 | bus_LV_3238-24_0_3_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_3238-24_0_3_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_3238-24_0_3_node_64 | 0.4 | n |  | TRUE
60 | bus_LV_3238-24_0_3_node_59 | 0.4 | n |  | TRUE
61 | bus_LV_3238-24_0_3_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_3238-24_0_3_node_63 | 0.4 | n |  | TRUE
63 | bus_LV_3238-24_0_3_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_3238-24_0_3_node_47 | 0.4 | n |  | TRUE
65 | bus_LV_3238-24_0_3_node_48 | 0.4 | n |  | TRUE
66 | bus_LV_3238-24_0_3_node_49 | 0.4 | n |  | TRUE
67 | bus_LV_3238-24_0_3_node_51 | 0.4 | n |  | TRUE
68 | bus_LV_3238-24_0_3_node_52 | 0.4 | n |  | TRUE
69 | bus_LV_3238-24_0_3_node_54 | 0.4 | n |  | TRUE
70 | bus_LV_3238-24_0_3_node_55 | 0.4 | n |  | TRUE
71 | bus_LV_3238-24_0_3_node_70 | 0.4 | n |  | TRUE
72 | bus_LV_3238-24_0_3_node_68 | 0.4 | n |  | TRUE
73 | bus_LV_3238-24_0_3_node_65 | 0.4 | n |  | TRUE
74 | bus_LV_3238-24_0_3_node_69 | 0.4 | n |  | TRUE
75 | bus_LV_3238-24_0_3_node_61 | 0.4 | n |  | TRUE
76 | bus_LV_3238-24_0_3_node_62 | 0.4 | n |  | TRUE
77 | bus_LV_3238-24_0_3_node_80 | 0.4 | n |  | TRUE
78 | bus_LV_3238-24_0_3_node_81 | 0.4 | n |  | TRUE
79 | bus_LV_3238-24_0_3_node_84 | 0.4 | n |  | TRUE
80 | bus_LV_3238-24_0_3_node_74 | 0.4 | n |  | TRUE
81 | bus_LV_3238-24_0_3_node_75 | 0.4 | n |  | TRUE
82 | bus_LV_3238-24_0_3_node_77 | 0.4 | n |  | TRUE
83 | bus_LV_3238-24_0_3_node_85 | 0.4 | n |  | TRUE
84 | bus_LV_3238-24_0_3_node_82 | 0.4 | n |  | TRUE
85 | bus_LV_3238-24_0_3_node_83 | 0.4 | n |  | TRUE
86 | bus_MV_236_0_node_67 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3238-24_0_3_load_0 | 0 | 0.012194 | 0.0030561 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3238-24_0_3_load_1 | 1 | 0.012775 | 0.0032017 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3238-24_0_3_load_4 | 4 | 0.0037298 | 0.00093478 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3238-24_0_3_load_25 | 8 | 0.0086025 | 0.002156 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3238-24_0_3_load_21 | 9 | 0.0047384 | 0.0011876 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3238-24_0_3_load_88 | 10 | 0.0086077 | 0.0021573 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3238-24_0_3_load_20 | 13 | 0.027841 | 0.0069777 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3238-24_0_3_load_6 | 15 | 0.012777 | 0.0032023 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3238-24_0_3_load_9 | 17 | 0.012197 | 0.0030568 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3238-24_0_3_load_17 | 19 | 0.0088802 | 0.0022256 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3238-24_0_3_load_18 | 20 | 0.0019365 | 0.00048534 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3238-24_0_3_load_89 | 22 | 0.0085387 | 0.00214 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3238-24_0_3_load_16 | 23 | 0.0048593 | 0.0012179 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3238-24_0_3_load_66 | 24 | 0.0023413 | 0.00058679 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3238-24_0_3_load_19 | 26 | 0.0037927 | 0.00095055 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3238-24_0_3_load_29 | 27 | 0.0061812 | 0.0015492 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3238-24_0_3_load_30 | 28 | 0.0022717 | 0.00056935 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3238-24_0_3_load_23 | 29 | 0.0061947 | 0.0015525 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3238-24_0_3_load_24 | 30 | 0.0085386 | 0.00214 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3238-24_0_3_load_26 | 31 | 0.010488 | 0.0026286 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3238-24_0_3_load_27 | 32 | 0.0066255 | 0.0016605 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3238-24_0_3_load_32 | 34 | 0.0035045 | 0.00087831 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3238-24_0_3_load_33 | 35 | 0.01085 | 0.0027192 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3238-24_0_3_load_35 | 36 | 0.0044878 | 0.0011247 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3238-24_0_3_load_38 | 37 | 0.01715 | 0.0042982 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3238-24_0_3_load_31 | 38 | 0.0027714 | 0.00069458 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3238-24_0_3_load_36 | 40 | 0.0026128 | 0.00065484 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3238-24_0_3_load_37 | 41 | 0.0047024 | 0.0011785 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3238-24_0_3_load_78 | 43 | 0.002395 | 0.00060023 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3238-24_0_3_load_79 | 45 | 0.003483 | 0.00087293 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3238-24_0_3_load_60 | 46 | 0.0047218 | 0.0011834 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3238-24_0_3_load_56 | 47 | 0.0068067 | 0.0017059 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3238-24_0_3_load_73 | 49 | 0.0074893 | 0.001877 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3238-24_0_3_load_71 | 50 | 0.0023382 | 0.00058601 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3238-24_0_3_load_86 | 51 | 0.0035307 | 0.00088489 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3238-24_0_3_load_41 | 52 | 0.004094 | 0.001026 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3238-24_0_3_load_42 | 53 | 0.003786 | 0.00094886 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3238-24_0_3_load_45 | 56 | 0.0023774 | 0.00059582 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3238-24_0_3_load_46 | 57 | 0.00085158 | 0.00021343 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3238-24_0_3_load_53 | 58 | 0.0040899 | 0.001025 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3238-24_0_3_load_64 | 59 | 0.0021836 | 0.00054727 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3238-24_0_3_load_59 | 60 | 0.0020567 | 0.00051545 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3238-24_0_3_load_57 | 63 | 0.0016028 | 0.0004017 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3238-24_0_3_load_47 | 64 | 0.005202 | 0.0013037 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3238-24_0_3_load_48 | 65 | 0.0058825 | 0.0014743 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3238-24_0_3_load_51 | 67 | 0.0040733 | 0.0010209 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3238-24_0_3_load_52 | 68 | 0.0037268 | 0.00093403 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3238-24_0_3_load_54 | 69 | 0.0027874 | 0.00069858 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3238-24_0_3_load_55 | 70 | 0.0032107 | 0.00080468 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3238-24_0_3_load_70 | 71 | 0.0020323 | 0.00050934 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3238-24_0_3_load_68 | 72 | 0.0031378 | 0.00078641 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3238-24_0_3_load_61 | 75 | 0.0024245 | 0.00060763 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3238-24_0_3_load_62 | 76 | 0.011416 | 0.002861 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3238-24_0_3_load_80 | 77 | 0.0023824 | 0.00059708 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3238-24_0_3_load_81 | 78 | 0.0051508 | 0.0012909 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3238-24_0_3_load_84 | 79 | 0.0013247 | 0.000332 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3238-24_0_3_load_74 | 80 | 0.0025688 | 0.0006438 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3238-24_0_3_load_85 | 83 | 0.0021018 | 0.00052675 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3238-24_0_3_load_82 | 84 | 0.0014319 | 0.00035886 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3238-24_0_3_line_0 |  | 0 | 1 | 0.027886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3238-24_0_3_line_1 |  | 0 | 2 | 0.033357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3238-24_0_3_line_2 |  | 1 | 3 | 0.00071396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3238-24_0_3_line_3 |  | 2 | 4 | 0.029012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3238-24_0_3_line_4 |  | 3 | 5 | 0.024457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3238-24_0_3_line_5 |  | 3 | 6 | 0.012424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3238-24_0_3_line_6 |  | 5 | 10 | 0.000886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3238-24_0_3_line_7 |  | 5 | 11 | 0.037613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3238-24_0_3_line_8 |  | 6 | 15 | 0.021743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3238-24_0_3_line_9 |  | 6 | 12 | 0.050883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3238-24_0_3_line_10 |  | 7 | 8 | 0.008491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3238-24_0_3_line_11 |  | 7 | 9 | 0.009707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3238-24_0_3_line_12 |  | 9 | 21 | 0.0046576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3238-24_0_3_line_13 |  | 11 | 14 | 0.020987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3238-24_0_3_line_14 |  | 12 | 13 | 0.0043511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3238-24_0_3_line_15 |  | 13 | 18 | 0.030339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3238-24_0_3_line_16 |  | 14 | 22 | 0.00134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3238-24_0_3_line_17 |  | 15 | 16 | 0.035558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3238-24_0_3_line_18 |  | 16 | 17 | 0.028779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3238-24_0_3_line_19 |  | 18 | 19 | 0.015152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3238-24_0_3_line_20 |  | 19 | 20 | 0.049667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3238-24_0_3_line_21 |  | 20 | 26 | 0.017954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3238-24_0_3_line_22 |  | 21 | 29 | 0.015633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3238-24_0_3_line_23 |  | 21 | 30 | 0.041882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3238-24_0_3_line_24 |  | 23 | 24 | 0.021562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3238-24_0_3_line_25 |  | 24 | 25 | 0.034646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3238-24_0_3_line_26 |  | 25 | 71 | 0.016266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3238-24_0_3_line_27 |  | 26 | 27 | 0.018056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_3238-24_0_3_line_28 |  | 27 | 28 | 0.018934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_3238-24_0_3_line_29 |  | 28 | 38 | 0.032674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_3238-24_0_3_line_30 |  | 29 | 31 | 0.018858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3238-24_0_3_line_31 |  | 31 | 32 | 0.01043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3238-24_0_3_line_32 |  | 32 | 33 | 0.049865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3238-24_0_3_line_33 |  | 33 | 34 | 0.013618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3238-24_0_3_line_34 |  | 33 | 35 | 0.016885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3238-24_0_3_line_35 |  | 34 | 36 | 0.0070259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3238-24_0_3_line_36 |  | 35 | 37 | 0.017133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3238-24_0_3_line_37 |  | 36 | 39 | 0.032843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3238-24_0_3_line_38 |  | 37 | 42 | 0.020918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3238-24_0_3_line_39 |  | 38 | 39 | 0.013215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_3238-24_0_3_line_40 |  | 39 | 40 | 0.018502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3238-24_0_3_line_41 |  | 39 | 41 | 0.03285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3238-24_0_3_line_42 |  | 40 | 43 | 0.029306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3238-24_0_3_line_43 |  | 41 | 44 | 0.0052419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3238-24_0_3_line_44 |  | 42 | 48 | 0.032561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3238-24_0_3_line_45 |  | 43 | 45 | 0.0085049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3238-24_0_3_line_46 |  | 44 | 46 | 0.019539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3238-24_0_3_line_47 |  | 44 | 47 | 0.025314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3238-24_0_3_line_48 |  | 46 | 73 | 0.011138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3238-24_0_3_line_49 |  | 47 | 63 | 0.020345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3238-24_0_3_line_50 |  | 48 | 49 | 0.033695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3238-24_0_3_line_51 |  | 48 | 50 | 0.079602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3238-24_0_3_line_52 |  | 49 | 51 | 0.027436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3238-24_0_3_line_53 |  | 51 | 79 | 0.032303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3238-24_0_3_line_54 |  | 52 | 53 | 0.0092046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3238-24_0_3_line_55 |  | 52 | 54 | 0.0069841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3238-24_0_3_line_56 |  | 53 | 55 | 0.0090403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3238-24_0_3_line_57 |  | 54 | 56 | 0.049329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3238-24_0_3_line_58 |  | 54 | 57 | 0.012424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3238-24_0_3_line_59 |  | 55 | 58 | 0.016456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3238-24_0_3_line_60 |  | 56 | 59 | 0.0059339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3238-24_0_3_line_61 |  | 57 | 60 | 0.0084639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3238-24_0_3_line_62 |  | 58 | 61 | 0.011019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3238-24_0_3_line_63 |  | 59 | 62 | 0.013213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3238-24_0_3_line_64 |  | 60 | 63 | 0.0092509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3238-24_0_3_line_65 |  | 61 | 69 | 0.01901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3238-24_0_3_line_66 |  | 61 | 65 | 0.0079053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3238-24_0_3_line_67 |  | 62 | 75 | 0.030512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3238-24_0_3_line_68 |  | 64 | 65 | 0.0213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3238-24_0_3_line_69 |  | 64 | 66 | 0.0028397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3238-24_0_3_line_70 |  | 66 | 67 | 0.02052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3238-24_0_3_line_71 |  | 66 | 68 | 0.014914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3238-24_0_3_line_72 |  | 67 | 70 | 0.0094205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3238-24_0_3_line_73 |  | 68 | 71 | 0.0020284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3238-24_0_3_line_74 |  | 69 | 72 | 0.014042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3238-24_0_3_line_75 |  | 73 | 74 | 0.030613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3238-24_0_3_line_76 |  | 74 | 77 | 0.0036066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3238-24_0_3_line_77 |  | 75 | 76 | 0.0076592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3238-24_0_3_line_78 |  | 77 | 78 | 0.035258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3238-24_0_3_line_79 |  | 79 | 85 | 0.01694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3238-24_0_3_line_80 |  | 80 | 81 | 0.018627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3238-24_0_3_line_81 |  | 81 | 82 | 0.020326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3238-24_0_3_line_82 |  | 82 | 83 | 0.013498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3238-24_0_3_line_83 |  | 82 | 84 | 0.013469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3238-24_0_3_line_84 |  | 84 | 85 | 0.022538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3238-24_0_3_trafo_19 | 0.63 MVA 20/0.4 kV | 86 | 26 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2765511.4056 | 1253507.5138 | 2765495.0001 | 1253530.0635
1 | 2765531.0296 | 1253480.5403 | 2765511.4056 | 1253507.5138
2 | 2765495.0001 | 1253530.0635 | 2765494.58 | 1253530.6408
3 | 2765531.0296 | 1253480.5403 | 2765542.3298 | 1253488.7312 | 2765533.4585 | 1253500.8952
4 | 2765494.58 | 1253530.6408 | 2765499.1092 | 1253532.8363 | 2765499.4737 | 1253534.3814 | 2765500.2981 | 1253535.1386 | 2765501.3247 | 1253535.6901 | 2765515.6729 | 1253538.5606 | 2765515.8791 | 1253537.6654
5 | 2765494.58 | 1253530.6408 | 2765487.3213 | 1253540.7375
6 | 2765515.8791 | 1253537.6654 | 2765516.0844 | 1253536.8036
7 | 2765515.8791 | 1253537.6654 | 2765518.1539 | 1253538.1294 | 2765525.7627 | 1253543.5922 | 2765528.5824 | 1253544.8167 | 2765534.3832 | 1253546.3581 | 2765543.6039 | 1253532.2566
8 | 2765487.3213 | 1253540.7375 | 2765481.539 | 1253547.9835 | 2765473.9664 | 1253557.8937
9 | 2765499.6805 | 1253580.7133 | 2765499.1545 | 1253579.2749 | 2765499.8689 | 1253560.2083 | 2765498.6478 | 1253559.8627 | 2765499.1043 | 1253548.9418 | 2765499.1408 | 1253548.1754 | 2765499.1849 | 1253547.4092 | 2765499.3423 | 1253543.1313 | 2765487.3213 | 1253540.7375
10 | 2765561.9593 | 1253555.4382 | 2765563.7318 | 1253547.1346
11 | 2765561.9593 | 1253555.4382 | 2765571.4835 | 1253557.3131
12 | 2765576.0534 | 1253558.2128 | 2765571.4835 | 1253557.3131
13 | 2765554.5844 | 1253514.3559 | 2765545.0001 | 1253530.1157 | 2765543.6039 | 1253532.2566
14 | 2765499.6805 | 1253580.7133 | 2765499.3357 | 1253585.0507
15 | 2765496.9316 | 1253615.2948 | 2765499.3357 | 1253585.0507
16 | 2765554.5844 | 1253514.3559 | 2765553.4965 | 1253513.5692
17 | 2765450.1738 | 1253583.6891 | 2765454.2257 | 1253581.6223 | 2765458.1144 | 1253578.639 | 2765473.9664 | 1253557.8937
18 | 2765450.1738 | 1253583.6891 | 2765443.6509 | 1253584.4856 | 2765431.9134 | 1253582.756 | 2765422.793 | 1253577.8763
19 | 2765496.9316 | 1253615.2948 | 2765511.3123 | 1253620.0666
20 | 2765560.3526 | 1253627.0089 | 2765539.4726 | 1253625.6942 | 2765514.429 | 1253621.1008 | 2765511.3123 | 1253620.0666
21 | 2765560.3526 | 1253627.0089 | 2765566.4922 | 1253627.3955 | 2765578.292 | 1253627.6365
22 | 2765576.0534 | 1253558.2128 | 2765591.3923 | 1253561.2286
23 | 2765576.0534 | 1253558.2128 | 2765597.0293 | 1253521.9625
24 | 2765443.7558 | 1253637.4537 | 2765455.4763 | 1253655.5527
25 | 2765474.3053 | 1253684.635 | 2765472.9304 | 1253682.5055 | 2765455.4763 | 1253655.5527
26 | 2765474.3053 | 1253684.635 | 2765477.8642 | 1253688.316 | 2765483.9068 | 1253690.6539 | 2765488.5641 | 1253690.9472
27 | 2765596.3443 | 1253628.0053 | 2765578.292 | 1253627.6365
28 | 2765596.3443 | 1253628.0053 | 2765615.2745 | 1253628.3919
29 | 2765615.2745 | 1253628.3919 | 2765619.494 | 1253628.4781 | 2765647.9418 | 1253629.0541
30 | 2765591.3923 | 1253561.2286 | 2765609.8962 | 1253564.8667
31 | 2765620.1303 | 1253566.8788 | 2765609.8962 | 1253564.8667
32 | 2765669.0585 | 1253576.4987 | 2765620.1303 | 1253566.8788
33 | 2765669.0585 | 1253576.4987 | 2765666.3292 | 1253589.84
34 | 2765669.0585 | 1253576.4987 | 2765674.4822 | 1253560.5087
35 | 2765664.9211 | 1253596.7234 | 2765666.3292 | 1253589.84
36 | 2765679.9856 | 1253544.2838 | 2765674.4822 | 1253560.5087
37 | 2765661.1546 | 1253629.3216 | 2765663.6965 | 1253602.7094 | 2765664.9211 | 1253596.7234
38 | 2765687.1064 | 1253524.6159 | 2765680.6291 | 1253542.3866 | 2765679.9856 | 1253544.2838
39 | 2765661.1546 | 1253629.3216 | 2765647.9418 | 1253629.0541
40 | 2765661.1546 | 1253629.3216 | 2765679.5984 | 1253630.7934
41 | 2765661.1546 | 1253629.3216 | 2765660.7621 | 1253634.1713 | 2765661.8107 | 1253662.1358
42 | 2765708.6902 | 1253634.2265 | 2765690.5721 | 1253631.669 | 2765679.5984 | 1253630.7934
43 | 2765662.0071 | 1253667.3741 | 2765661.8107 | 1253662.1358
44 | 2765687.1064 | 1253524.6159 | 2765715.3628 | 1253540.9455
45 | 2765717.1116 | 1253635.4153 | 2765708.6902 | 1253634.2265
46 | 2765662.0071 | 1253667.3741 | 2765663.5055 | 1253686.8556
47 | 2765662.0071 | 1253667.3741 | 2765636.8268 | 1253664.7798
48 | 2765664.3597 | 1253697.9607 | 2765663.5055 | 1253686.8556
49 | 2765636.8268 | 1253664.7798 | 2765636.6591 | 1253664.7626 | 2765616.5393 | 1253666.2674
50 | 2765715.3628 | 1253540.9455 | 2765713.0579 | 1253546.142 | 2765711.9157 | 1253555.6533 | 2765719.0037 | 1253561.9137 | 2765726.7058 | 1253566.5181
51 | 2765715.3628 | 1253540.9455 | 2765731.3975 | 1253550.1815 | 2765755.6171 | 1253562.6388 | 2765787.744 | 1253573.3403
52 | 2765750.7892 | 1253579.5055 | 2765743.9696 | 1253576.8388 | 2765726.7058 | 1253566.5181
53 | 2765780.9084 | 1253591.1795 | 2765769.3696 | 1253586.771 | 2765750.7892 | 1253579.5055
54 | 2765581.6271 | 1253678.3337 | 2765572.7649 | 1253680.8208
55 | 2765588.3514 | 1253676.4465 | 2765581.6271 | 1253678.3337
56 | 2765564.0609 | 1253683.2636 | 2765572.7649 | 1253680.8208
57 | 2765588.3514 | 1253676.4465 | 2765593.5304 | 1253697.2352 | 2765610.3191 | 1253691.9323 | 2765613.091 | 1253700.7968 | 2765613.1551 | 1253701.8055
58 | 2765588.3514 | 1253676.4465 | 2765596.4789 | 1253674.1602 | 2765600.1186 | 1253672.5467
59 | 2765564.0609 | 1253683.2636 | 2765548.2167 | 1253687.7105
60 | 2765613.1551 | 1253701.8055 | 2765613.5313 | 1253707.7275
61 | 2765600.1186 | 1253672.5467 | 2765607.8562 | 1253669.1165
62 | 2765537.3559 | 1253689.4905 | 2765546.4747 | 1253688.1995 | 2765548.2167 | 1253687.7105
63 | 2765623.4493 | 1253716.4583 | 2765613.5313 | 1253707.7275
64 | 2765607.8562 | 1253669.1165 | 2765613.8252 | 1253666.4704 | 2765616.5393 | 1253666.2674
65 | 2765537.3559 | 1253689.4905 | 2765539.3437 | 1253670.5847
66 | 2765537.3559 | 1253689.4905 | 2765529.5294 | 1253690.6044
67 | 2765623.4493 | 1253716.4583 | 2765620.2527 | 1253720.3396 | 2765616.7649 | 1253722.7558 | 2765595.6522 | 1253725.0834
68 | 2765508.3261 | 1253691.7115 | 2765520.1791 | 1253691.9353 | 2765529.5294 | 1253690.6044
69 | 2765505.4869 | 1253691.6579 | 2765508.3261 | 1253691.7115
70 | 2765505.4869 | 1253691.6579 | 2765509.568 | 1253671.5482
71 | 2765505.4869 | 1253691.6579 | 2765497.5709 | 1253691.5143 | 2765490.5885 | 1253691.0747
72 | 2765511.4416 | 1253662.3158 | 2765509.568 | 1253671.5482
73 | 2765490.5885 | 1253691.0747 | 2765488.5641 | 1253690.9472
74 | 2765540.8122 | 1253656.6194 | 2765539.3437 | 1253670.5847
75 | 2765664.3597 | 1253697.9607 | 2765695.0643 | 1253698.0083
76 | 2765695.0643 | 1253698.0083 | 2765698.6533 | 1253697.6526
77 | 2765588.0391 | 1253725.9227 | 2765595.6522 | 1253725.0834
78 | 2765712.7806 | 1253673.0667 | 2765710.2897 | 1253696.4993 | 2765698.6533 | 1253697.6526
79 | 2765796.733 | 1253597.2254 | 2765780.9084 | 1253591.1795
80 | 2765803.0054 | 1253640.9466 | 2765794.0826 | 1253657.2975
81 | 2765803.0054 | 1253640.9466 | 2765785.0651 | 1253631.29
82 | 2765771.7438 | 1253633.0079 | 2765778.4737 | 1253631.2944 | 2765785.0651 | 1253631.29
83 | 2765785.0651 | 1253631.29 | 2765789.4297 | 1253618.5474
84 | 2765796.733 | 1253597.2254 | 2765789.4297 | 1253618.5474

## bus_geodata
| x | y | coords
0 | 2765511.4056 | 1253507.5138
1 | 2765495.0001 | 1253530.0635
2 | 2765531.0296 | 1253480.5403
3 | 2765494.58 | 1253530.6408
4 | 2765533.4585 | 1253500.8952
5 | 2765515.8791 | 1253537.6654
6 | 2765487.3213 | 1253540.7375
7 | 2765561.9593 | 1253555.4382
8 | 2765563.7318 | 1253547.1346
9 | 2765571.4835 | 1253557.3131
10 | 2765516.0844 | 1253536.8036
11 | 2765543.6039 | 1253532.2566
12 | 2765499.6805 | 1253580.7133
13 | 2765499.3357 | 1253585.0507
14 | 2765554.5844 | 1253514.3559
15 | 2765473.9664 | 1253557.8937
16 | 2765450.1739 | 1253583.6891
17 | 2765422.793 | 1253577.8763
18 | 2765496.9316 | 1253615.2948
19 | 2765511.3123 | 1253620.0666
20 | 2765560.3526 | 1253627.0089
21 | 2765576.0534 | 1253558.2128
22 | 2765553.4965 | 1253513.5692
23 | 2765443.7558 | 1253637.4537
24 | 2765455.4763 | 1253655.5527
25 | 2765474.3053 | 1253684.635
26 | 2765578.292 | 1253627.6365
27 | 2765596.3443 | 1253628.0053
28 | 2765615.2745 | 1253628.3919
29 | 2765591.3923 | 1253561.2286
30 | 2765597.0293 | 1253521.9625
31 | 2765609.8962 | 1253564.8667
32 | 2765620.1303 | 1253566.8788
33 | 2765669.0585 | 1253576.4987
34 | 2765666.3292 | 1253589.84
35 | 2765674.4822 | 1253560.5087
36 | 2765664.9211 | 1253596.7234
37 | 2765679.9856 | 1253544.2838
38 | 2765647.9418 | 1253629.0541
39 | 2765661.1546 | 1253629.3216
40 | 2765679.5984 | 1253630.7934
41 | 2765661.8107 | 1253662.1358
42 | 2765687.1064 | 1253524.6159
43 | 2765708.6902 | 1253634.2265
44 | 2765662.0071 | 1253667.3741
45 | 2765717.1116 | 1253635.4153
46 | 2765663.5055 | 1253686.8556
47 | 2765636.8268 | 1253664.7798
48 | 2765715.3628 | 1253540.9455
49 | 2765726.7058 | 1253566.5181
50 | 2765787.744 | 1253573.3403
51 | 2765750.7892 | 1253579.5055
52 | 2765581.6271 | 1253678.3337
53 | 2765572.7649 | 1253680.8208
54 | 2765588.3514 | 1253676.4465
55 | 2765564.0609 | 1253683.2636
56 | 2765613.1551 | 1253701.8055
57 | 2765600.1186 | 1253672.5467
58 | 2765548.2167 | 1253687.7105
59 | 2765613.5313 | 1253707.7275
60 | 2765607.8562 | 1253669.1165
61 | 2765537.3559 | 1253689.4905
62 | 2765623.4493 | 1253716.4583
63 | 2765616.5393 | 1253666.2674
64 | 2765508.3261 | 1253691.7115
65 | 2765529.5294 | 1253690.6044
66 | 2765505.4869 | 1253691.6579
67 | 2765509.568 | 1253671.5482
68 | 2765490.5885 | 1253691.0747
69 | 2765539.3437 | 1253670.5847
70 | 2765511.4416 | 1253662.3158
71 | 2765488.5641 | 1253690.9472
72 | 2765540.8122 | 1253656.6194
73 | 2765664.3597 | 1253697.9607
74 | 2765695.0643 | 1253698.0083
75 | 2765595.6522 | 1253725.0834
76 | 2765588.0391 | 1253725.9227
77 | 2765698.6533 | 1253697.6526
78 | 2765712.7806 | 1253673.0667
79 | 2765780.9085 | 1253591.1795
80 | 2765794.0826 | 1253657.2975
81 | 2765803.0054 | 1253640.9466
82 | 2765785.0651 | 1253631.29
83 | 2765771.7438 | 1253633.0079
84 | 2765789.4297 | 1253618.5474
85 | 2765796.733 | 1253597.2254
86 | 2765496.9316 | 1253615.2948

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1