## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3238-2_1_3_node_5 | 0.4 | n |  | TRUE
1 | bus_LV_3238-2_1_3_node_6 | 0.4 | n |  | TRUE
2 | bus_LV_3238-2_1_3_node_128 | 0.4 | n |  | TRUE
3 | bus_LV_3238-2_1_3_node_16 | 0.4 | n |  | TRUE
4 | bus_LV_3238-2_1_3_node_127 | 0.4 | n |  | TRUE
5 | bus_LV_3238-2_1_3_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_3238-2_1_3_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_3238-2_1_3_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_3238-2_1_3_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_3238-2_1_3_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_3238-2_1_3_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_3238-2_1_3_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_3238-2_1_3_node_45 | 0.4 | n |  | TRUE
13 | bus_LV_3238-2_1_3_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_3238-2_1_3_node_44 | 0.4 | n |  | TRUE
15 | bus_LV_3238-2_1_3_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_3238-2_1_3_node_35 | 0.4 | n |  | TRUE
17 | bus_LV_3238-2_1_3_node_124 | 0.4 | n |  | TRUE
18 | bus_LV_3238-2_1_3_node_49 | 0.4 | n |  | TRUE
19 | bus_LV_3238-2_1_3_node_37 | 0.4 | n |  | TRUE
20 | bus_LV_3238-2_1_3_node_38 | 0.4 | n |  | TRUE
21 | bus_LV_3238-2_1_3_node_39 | 0.4 | n |  | TRUE
22 | bus_LV_3238-2_1_3_node_40 | 0.4 | n |  | TRUE
23 | bus_LV_3238-2_1_3_node_48 | 0.4 | n |  | TRUE
24 | bus_LV_3238-2_1_3_node_46 | 0.4 | n |  | TRUE
25 | bus_LV_3238-2_1_3_node_41 | 0.4 | n |  | TRUE
26 | bus_LV_3238-2_1_3_node_51 | 0.4 | n |  | TRUE
27 | bus_LV_3238-2_1_3_node_47 | 0.4 | n |  | TRUE
28 | bus_LV_3238-2_1_3_node_42 | 0.4 | n |  | TRUE
29 | bus_LV_3238-2_1_3_node_43 | 0.4 | n |  | TRUE
30 | bus_LV_3238-2_1_3_node_50 | 0.4 | n |  | TRUE
31 | bus_LV_3238-2_1_3_node_125 | 0.4 | n |  | TRUE
32 | bus_LV_3238-2_1_3_node_131 | 0.4 | n |  | TRUE
33 | bus_LV_3238-2_1_3_node_54 | 0.4 | n |  | TRUE
34 | bus_LV_3238-2_1_3_node_52 | 0.4 | n |  | TRUE
35 | bus_LV_3238-2_1_3_node_130 | 0.4 | n |  | TRUE
36 | bus_LV_3238-2_1_3_node_56 | 0.4 | n |  | TRUE
37 | bus_LV_3238-2_1_3_node_53 | 0.4 | n |  | TRUE
38 | bus_LV_3238-2_1_3_node_55 | 0.4 | n |  | TRUE
39 | bus_LV_3238-2_1_3_node_59 | 0.4 | n |  | TRUE
40 | bus_LV_3238-2_1_3_node_61 | 0.4 | n |  | TRUE
41 | bus_LV_3238-2_1_3_node_57 | 0.4 | n |  | TRUE
42 | bus_LV_3238-2_1_3_node_58 | 0.4 | n |  | TRUE
43 | bus_LV_3238-2_1_3_node_60 | 0.4 | n |  | TRUE
44 | bus_LV_3238-2_1_3_node_67 | 0.4 | n |  | TRUE
45 | bus_LV_3238-2_1_3_node_66 | 0.4 | n |  | TRUE
46 | bus_LV_3238-2_1_3_node_68 | 0.4 | n |  | TRUE
47 | bus_LV_3238-2_1_3_node_64 | 0.4 | n |  | TRUE
48 | bus_LV_3238-2_1_3_node_62 | 0.4 | n |  | TRUE
49 | bus_LV_3238-2_1_3_node_63 | 0.4 | n |  | TRUE
50 | bus_LV_3238-2_1_3_node_65 | 0.4 | n |  | TRUE
51 | bus_LV_3238-2_1_3_node_69 | 0.4 | n |  | TRUE
52 | bus_LV_3238-2_1_3_node_111 | 0.4 | n |  | TRUE
53 | bus_LV_3238-2_1_3_node_108 | 0.4 | n |  | TRUE
54 | bus_LV_3238-2_1_3_node_119 | 0.4 | n |  | TRUE
55 | bus_LV_3238-2_1_3_node_106 | 0.4 | n |  | TRUE
56 | bus_LV_3238-2_1_3_node_112 | 0.4 | n |  | TRUE
57 | bus_LV_3238-2_1_3_node_70 | 0.4 | n |  | TRUE
58 | bus_LV_3238-2_1_3_node_71 | 0.4 | n |  | TRUE
59 | bus_LV_3238-2_1_3_node_72 | 0.4 | n |  | TRUE
60 | bus_LV_3238-2_1_3_node_118 | 0.4 | n |  | TRUE
61 | bus_LV_3238-2_1_3_node_94 | 0.4 | n |  | TRUE
62 | bus_LV_3238-2_1_3_node_120 | 0.4 | n |  | TRUE
63 | bus_LV_3238-2_1_3_node_109 | 0.4 | n |  | TRUE
64 | bus_LV_3238-2_1_3_node_100 | 0.4 | n |  | TRUE
65 | bus_LV_3238-2_1_3_node_101 | 0.4 | n |  | TRUE
66 | bus_LV_3238-2_1_3_node_102 | 0.4 | n |  | TRUE
67 | bus_LV_3238-2_1_3_node_103 | 0.4 | n |  | TRUE
68 | bus_LV_3238-2_1_3_node_104 | 0.4 | n |  | TRUE
69 | bus_LV_3238-2_1_3_node_105 | 0.4 | n |  | TRUE
70 | bus_LV_3238-2_1_3_node_107 | 0.4 | n |  | TRUE
71 | bus_LV_3238-2_1_3_node_110 | 0.4 | n |  | TRUE
72 | bus_LV_3238-2_1_3_node_116 | 0.4 | n |  | TRUE
73 | bus_LV_3238-2_1_3_node_114 | 0.4 | n |  | TRUE
74 | bus_LV_3238-2_1_3_node_113 | 0.4 | n |  | TRUE
75 | bus_LV_3238-2_1_3_node_117 | 0.4 | n |  | TRUE
76 | bus_LV_3238-2_1_3_node_115 | 0.4 | n |  | TRUE
77 | bus_LV_3238-2_1_3_node_123 | 0.4 | n |  | TRUE
78 | bus_MV_236_0_node_79 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3238-2_1_3_load_5 | 0 | 0.0051343 | 0.0012868 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3238-2_1_3_load_6 | 1 | 0.0023291 | 0.00058372 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3238-2_1_3_load_128 | 2 | 0.0052732 | 0.0013216 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3238-2_1_3_load_16 | 3 | 0.0034133 | 0.00085546 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3238-2_1_3_load_127 | 4 | 0.0010776 | 0.00027006 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3238-2_1_3_load_7 | 5 | 0.0054229 | 0.0013591 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3238-2_1_3_load_8 | 6 | 0.0021525 | 0.00053946 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3238-2_1_3_load_11 | 9 | 0.0089207 | 0.0022357 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3238-2_1_3_load_12 | 10 | 0.0083484 | 0.0020923 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3238-2_1_3_load_15 | 13 | 0.0022936 | 0.00057484 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3238-2_1_3_load_44 | 14 | 0.0037118 | 0.00093028 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3238-2_1_3_load_14 | 15 | 0.0019443 | 0.00048728 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3238-2_1_3_load_35 | 16 | 0.0047801 | 0.001198 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3238-2_1_3_load_124 | 17 | 0.0067519 | 0.0016922 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3238-2_1_3_load_39 | 21 | 0.010785 | 0.0027031 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3238-2_1_3_load_40 | 22 | 0.0028362 | 0.00071082 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3238-2_1_3_load_48 | 23 | 0.0022659 | 0.00056789 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3238-2_1_3_load_46 | 24 | 0.00506 | 0.0012682 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3238-2_1_3_load_51 | 26 | 0.0022568 | 0.00056562 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3238-2_1_3_load_42 | 28 | 0.0021768 | 0.00054555 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3238-2_1_3_load_43 | 29 | 0.004302 | 0.0010782 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3238-2_1_3_load_50 | 30 | 0.0029409 | 0.00073706 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3238-2_1_3_load_125 | 31 | 0.0053539 | 0.0013418 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3238-2_1_3_load_131 | 32 | 0.0055284 | 0.0013855 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3238-2_1_3_load_52 | 34 | 0.0059679 | 0.0014957 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3238-2_1_3_load_130 | 35 | 0.00075907 | 0.00019024 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3238-2_1_3_load_56 | 36 | 0.0040738 | 0.001021 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3238-2_1_3_load_53 | 37 | 0.0037682 | 0.00094439 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3238-2_1_3_load_55 | 38 | 0.0045027 | 0.0011285 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3238-2_1_3_load_61 | 40 | 0.0043918 | 0.0011007 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3238-2_1_3_load_57 | 41 | 0.002221 | 0.00055664 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3238-2_1_3_load_58 | 42 | 0.0015045 | 0.00037707 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3238-2_1_3_load_60 | 43 | 0.0048701 | 0.0012206 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3238-2_1_3_load_67 | 44 | 0.0049191 | 0.0012328 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3238-2_1_3_load_64 | 47 | 0.0056516 | 0.0014164 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3238-2_1_3_load_62 | 48 | 0.0042191 | 0.0010574 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3238-2_1_3_load_63 | 49 | 0.0055164 | 0.0013825 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3238-2_1_3_load_65 | 50 | 0.00439 | 0.0011002 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3238-2_1_3_load_69 | 51 | 0.0037657 | 0.00094377 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3238-2_1_3_load_111 | 52 | 0.0017631 | 0.00044186 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3238-2_1_3_load_119 | 54 | 0.016346 | 0.0040967 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3238-2_1_3_load_106 | 55 | 0.0069914 | 0.0017522 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3238-2_1_3_load_71 | 58 | 0.009243 | 0.0023165 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3238-2_1_3_load_72 | 59 | 0.01605 | 0.0040224 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3238-2_1_3_load_118 | 60 | 0.0017328 | 0.00043429 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3238-2_1_3_load_94 | 61 | 0.0035051 | 0.00087847 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3238-2_1_3_load_109 | 63 | 0.0065155 | 0.0016329 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3238-2_1_3_load_100 | 64 | 0.0013962 | 0.00034992 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3238-2_1_3_load_101 | 65 | 0.0024331 | 0.00060979 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3238-2_1_3_load_102 | 66 | 0.0019457 | 0.00048764 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3238-2_1_3_load_103 | 67 | 0.01018 | 0.0025514 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3238-2_1_3_load_104 | 68 | 0.0011765 | 0.00029485 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3238-2_1_3_load_105 | 69 | 0.0031632 | 0.00079278 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3238-2_1_3_load_110 | 71 | 0.0018617 | 0.00046658 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3238-2_1_3_load_116 | 72 | 0.016496 | 0.0041342 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3238-2_1_3_load_114 | 73 | 0.0027568 | 0.00069093 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3238-2_1_3_load_113 | 74 | 0.0043119 | 0.0010807 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3238-2_1_3_load_117 | 75 | 0.012911 | 0.0032359 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3238-2_1_3_load_115 | 76 | 0.0025752 | 0.0006454 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3238-2_1_3_load_123 | 77 | 0.0023257 | 0.00058288 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 36 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3238-2_1_3_line_0 |  | 0 | 1 | 0.072558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3238-2_1_3_line_1 |  | 1 | 2 | 0.096798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3238-2_1_3_line_2 |  | 2 | 3 | 0.030956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3238-2_1_3_line_3 |  | 2 | 4 | 0.039177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3238-2_1_3_line_4 |  | 3 | 15 | 0.0019877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3238-2_1_3_line_5 |  | 5 | 6 | 0.025533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3238-2_1_3_line_6 |  | 5 | 7 | 0.019715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3238-2_1_3_line_7 |  | 6 | 8 | 0.010522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3238-2_1_3_line_8 |  | 7 | 9 | 0.027155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3238-2_1_3_line_9 |  | 8 | 10 | 0.039354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3238-2_1_3_line_10 |  | 8 | 11 | 0.004134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3238-2_1_3_line_11 |  | 9 | 12 | 0.0091844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3238-2_1_3_line_12 |  | 11 | 13 | 0.017469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3238-2_1_3_line_13 |  | 12 | 14 | 0.015068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3238-2_1_3_line_14 |  | 13 | 15 | 0.019208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3238-2_1_3_line_15 |  | 14 | 28 | 0.023994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3238-2_1_3_line_16 |  | 16 | 17 | 0.035736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3238-2_1_3_line_17 |  | 17 | 18 | 0.025768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3238-2_1_3_line_18 |  | 18 | 31 | 0.024301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3238-2_1_3_line_19 |  | 18 | 27 | 0.015653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3238-2_1_3_line_20 |  | 19 | 20 | 0.039561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3238-2_1_3_line_21 |  | 19 | 21 | 0.027243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3238-2_1_3_line_22 |  | 19 | 22 | 0.0238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3238-2_1_3_line_23 |  | 20 | 23 | 0.028974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3238-2_1_3_line_24 |  | 20 | 24 | 0.022828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3238-2_1_3_line_25 |  | 21 | 25 | 0.0047947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3238-2_1_3_line_26 |  | 23 | 26 | 0.012588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3238-2_1_3_line_27 |  | 24 | 27 | 0.01689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3238-2_1_3_line_28 |  | 25 | 28 | 0.028611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3238-2_1_3_line_29 |  | 25 | 29 | 0.02029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3238-2_1_3_line_30 |  | 26 | 34 | 0.0258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3238-2_1_3_line_31 |  | 27 | 30 | 0.042462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3238-2_1_3_line_32 |  | 30 | 32 | 0.032237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3238-2_1_3_line_33 |  | 30 | 33 | 0.014298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3238-2_1_3_line_34 |  | 31 | 35 | 0.01252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3238-2_1_3_line_35 |  | 33 | 36 | 0.015342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3238-2_1_3_line_36 |  | 33 | 37 | 0.021115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3238-2_1_3_line_37 |  | 35 | 68 | 0.0096267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3238-2_1_3_line_38 |  | 36 | 39 | 0.031398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_3238-2_1_3_line_39 |  | 37 | 38 | 0.038484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3238-2_1_3_line_40 |  | 39 | 40 | 0.0025286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3238-2_1_3_line_41 |  | 39 | 41 | 0.016584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3238-2_1_3_line_42 |  | 40 | 45 | 0.020926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3238-2_1_3_line_43 |  | 41 | 42 | 0.014244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3238-2_1_3_line_44 |  | 42 | 43 | 0.013707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3238-2_1_3_line_45 |  | 43 | 44 | 0.018566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3238-2_1_3_line_46 |  | 45 | 46 | 0.007115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3238-2_1_3_line_47 |  | 45 | 47 | 0.01892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3238-2_1_3_line_48 |  | 46 | 52 | 0.015563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3238-2_1_3_line_49 |  | 47 | 48 | 0.00024537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3238-2_1_3_line_50 |  | 48 | 49 | 0.027571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3238-2_1_3_line_51 |  | 49 | 50 | 0.016217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3238-2_1_3_line_52 |  | 49 | 51 | 0.032356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3238-2_1_3_line_53 |  | 51 | 57 | 0.020044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3238-2_1_3_line_54 |  | 52 | 56 | 0.0067939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3238-2_1_3_line_55 |  | 53 | 54 | 0.00239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3238-2_1_3_line_56 |  | 53 | 55 | 0.020731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3238-2_1_3_line_57 |  | 54 | 60 | 0.036867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3238-2_1_3_line_58 |  | 55 | 69 | 0.0072757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3238-2_1_3_line_59 |  | 56 | 74 | 0.021367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3238-2_1_3_line_60 |  | 57 | 58 | 0.014332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3238-2_1_3_line_61 |  | 57 | 59 | 0.020843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3238-2_1_3_line_62 |  | 61 | 62 | 0.1495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3238-2_1_3_line_63 |  | 62 | 63 | 0.022998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3238-2_1_3_line_64 |  | 63 | 70 | 0.0062649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3238-2_1_3_line_65 |  | 64 | 65 | 0.0089753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3238-2_1_3_line_66 |  | 64 | 66 | 0.011473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3238-2_1_3_line_67 |  | 65 | 67 | 0.0062641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3238-2_1_3_line_68 |  | 66 | 68 | 0.00039757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3238-2_1_3_line_69 |  | 69 | 70 | 0.029545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3238-2_1_3_line_70 |  | 70 | 71 | 0.0171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3238-2_1_3_line_71 |  | 71 | 72 | 0.016477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3238-2_1_3_line_72 |  | 72 | 73 | 0.029958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3238-2_1_3_line_73 |  | 73 | 76 | 0.015326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3238-2_1_3_line_74 |  | 73 | 77 | 0.047974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3238-2_1_3_line_75 |  | 74 | 75 | 0.015427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3238-2_1_3_line_76 |  | 75 | 76 | 0.014228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3238-2_1_3_trafo_56 | 0.63 MVA 20/0.4 kV | 78 | 36 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2765960.5934 | 1251919.264 | 2765993.8589 | 1251983.7474
1 | 2766084.6523 | 1252017.3091 | 2765993.8589 | 1251983.7474
2 | 2766070.8632 | 1252045.0245 | 2766084.6523 | 1252017.3091
3 | 2766084.6523 | 1252017.3091 | 2766091.2062 | 1252009.5514 | 2766115.0063 | 1252026.1591
4 | 2766069.6245 | 1252046.5791 | 2766070.8632 | 1252045.0245
5 | 2766078.7983 | 1252099.5508 | 2766058.4512 | 1252084.1258
6 | 2766094.5094 | 1252111.4611 | 2766078.7983 | 1252099.5508
7 | 2766050.0664 | 1252077.7694 | 2766058.4512 | 1252084.1258
8 | 2766094.5094 | 1252111.4611 | 2766089.3197 | 1252118.7788 | 2766078.7685 | 1252133.588
9 | 2766024.9577 | 1252108.1196 | 2766035.4423 | 1252095.9229 | 2766050.0664 | 1252077.7694
10 | 2766046.7684 | 1252075.2633 | 2766050.0664 | 1252077.7694
11 | 2766073.4391 | 1252141.068 | 2766078.7685 | 1252133.588
12 | 2766046.7684 | 1252075.2633 | 2766057.6548 | 1252061.601
13 | 2766073.4391 | 1252141.068 | 2766064.6307 | 1252153.2938
14 | 2766069.6245 | 1252046.5791 | 2766057.6548 | 1252061.601
15 | 2766050.5083 | 1252172.6903 | 2766053.2519 | 1252169.087 | 2766064.6307 | 1252153.2938
16 | 2765935.9284 | 1252232.132 | 2765963.7623 | 1252254.5456
17 | 2765945.0321 | 1252208.1293 | 2765940.7384 | 1252222.5574 | 2765935.9284 | 1252232.132
18 | 2765945.0321 | 1252208.1293 | 2765929.5725 | 1252208.9639 | 2765920.7996 | 1252208.0625
19 | 2765945.0321 | 1252208.1293 | 2765946.0826 | 1252204.5995 | 2765947.2473 | 1252192.6864
20 | 2766010.6968 | 1252218.3459 | 2765987.8946 | 1252196.0951 | 2765984.6714 | 1252189.0419
21 | 2766010.6968 | 1252218.3459 | 2766029.5317 | 1252198.6622
22 | 2766010.6968 | 1252218.3459 | 2766014.3496 | 1252221.6628 | 2766020.7247 | 1252225.6567 | 2766031.2741 | 1252229.8253
23 | 2765984.6714 | 1252189.0419 | 2766003.2937 | 1252166.8454
24 | 2765984.6714 | 1252189.0419 | 2765980.2793 | 1252194.0463 | 2765964.1234 | 1252193.3812
25 | 2766032.8465 | 1252195.198 | 2766029.5317 | 1252198.6622
26 | 2766011.3846 | 1252157.2016 | 2766003.2937 | 1252166.8454
27 | 2765947.2473 | 1252192.6864 | 2765964.1234 | 1252193.3812
28 | 2766032.8465 | 1252195.198 | 2766045.756 | 1252178.9317 | 2766050.5083 | 1252172.6903
29 | 2766032.8465 | 1252195.198 | 2766051.5419 | 1252203.0835
30 | 2766011.3846 | 1252157.2016 | 2766000.4759 | 1252133.8214
31 | 2765933.6087 | 1252153.0744 | 2765939.7912 | 1252163.1357 | 2765945.6209 | 1252179.3158 | 2765947.2473 | 1252192.6864
32 | 2765905.5281 | 1252169.0492 | 2765933.6087 | 1252153.0744
33 | 2765933.6087 | 1252153.0744 | 2765923.2294 | 1252143.2068
34 | 2765908.3455 | 1252206.7828 | 2765920.7996 | 1252208.0625
35 | 2765923.2294 | 1252143.2068 | 2765910.4145 | 1252134.7718
36 | 2765923.2294 | 1252143.2068 | 2765935.7095 | 1252126.1747
37 | 2765908.3455 | 1252206.7828 | 2765898.7692 | 1252205.7988
38 | 2765884.188 | 1252117.5092 | 2765910.4145 | 1252134.7718
39 | 2765958.4556 | 1252095.1321 | 2765935.7095 | 1252126.1747
40 | 2765884.188 | 1252117.5092 | 2765882.0759 | 1252116.119
41 | 2765884.188 | 1252117.5092 | 2765894.057 | 1252104.1811
42 | 2765864.5968 | 1252104.6141 | 2765882.0759 | 1252116.119
43 | 2765894.057 | 1252104.1811 | 2765902.5334 | 1252092.7336
44 | 2765910.6905 | 1252081.7173 | 2765902.5334 | 1252092.7336
45 | 2765921.7386 | 1252066.7967 | 2765910.6905 | 1252081.7173
46 | 2765858.6739 | 1252100.6441 | 2765864.5968 | 1252104.6141
47 | 2765864.5968 | 1252104.6141 | 2765875.9629 | 1252089.4888
48 | 2765858.6739 | 1252100.6441 | 2765850.021 | 1252113.5797
49 | 2765876.1103 | 1252089.2927 | 2765875.9629 | 1252089.4888
50 | 2765876.1103 | 1252089.2927 | 2765892.6734 | 1252067.2517
51 | 2765902.4159 | 1252054.2871 | 2765892.6734 | 1252067.2517
52 | 2765892.6734 | 1252067.2517 | 2765869.946 | 1252044.2219
53 | 2765855.5633 | 1252030.2617 | 2765869.946 | 1252044.2219
54 | 2765846.2436 | 1252119.2267 | 2765850.021 | 1252113.5797
55 | 2765829.7481 | 1252081.2811 | 2765827.9869 | 1252079.6655
56 | 2765829.7481 | 1252081.2811 | 2765812.1267 | 1252092.2024
57 | 2765802.0085 | 1252053.6292 | 2765808.7491 | 1252062.0179 | 2765827.9869 | 1252079.6655
58 | 2765805.9424 | 1252096.0353 | 2765812.1267 | 1252092.2024
59 | 2765846.2436 | 1252119.2267 | 2765836.5382 | 1252135.7055 | 2765835.3259 | 1252137.5919
60 | 2765855.5633 | 1252030.2617 | 2765866.1292 | 1252020.5473
61 | 2765855.5633 | 1252030.2617 | 2765840.6113 | 1252015.7405
62 | 2765755.9595 | 1252127.0197 | 2765621.559 | 1252192.4963
63 | 2765755.9595 | 1252127.0197 | 2765775.5053 | 1252114.9008
64 | 2765780.8298 | 1252111.5994 | 2765775.5053 | 1252114.9008
65 | 2765887.1534 | 1252203.4455 | 2765878.4202 | 1252201.3748
66 | 2765898.3737 | 1252205.7581 | 2765895.7842 | 1252205.492 | 2765887.1534 | 1252203.4455
67 | 2765872.3251 | 1252199.9295 | 2765878.4202 | 1252201.3748
68 | 2765898.3737 | 1252205.7581 | 2765898.7692 | 1252205.7988
69 | 2765780.8298 | 1252111.5994 | 2765805.9424 | 1252096.0353
70 | 2765780.8298 | 1252111.5994 | 2765789.5027 | 1252126.3367
71 | 2765789.5027 | 1252126.3367 | 2765792.703 | 1252131.7748 | 2765792.1167 | 1252141.9245
72 | 2765803.9943 | 1252163.4479 | 2765800.8353 | 1252163.6355 | 2765794.4399 | 1252161.977 | 2765792.1167 | 1252141.9245 | 2765792.1167 | 1252141.9245
73 | 2765803.9943 | 1252163.4479 | 2765819.2929 | 1252162.5397
74 | 2765803.9943 | 1252163.4479 | 2765786.16 | 1252207.9834
75 | 2765835.3259 | 1252137.5919 | 2765826.9854 | 1252150.57
76 | 2765819.2929 | 1252162.5397 | 2765819.2929 | 1252162.5397 | 2765826.9854 | 1252150.57

## bus_geodata
| x | y | coords
0 | 2765960.5934 | 1251919.264
1 | 2765993.8589 | 1251983.7474
2 | 2766084.6523 | 1252017.3091
3 | 2766070.8632 | 1252045.0245
4 | 2766115.0063 | 1252026.1591
5 | 2766078.7983 | 1252099.5508
6 | 2766058.4512 | 1252084.1258
7 | 2766094.5094 | 1252111.4611
8 | 2766050.0664 | 1252077.7694
9 | 2766078.7685 | 1252133.588
10 | 2766024.9577 | 1252108.1196
11 | 2766046.7684 | 1252075.2633
12 | 2766073.4391 | 1252141.0681
13 | 2766057.6548 | 1252061.601
14 | 2766064.6307 | 1252153.2938
15 | 2766069.6245 | 1252046.5791
16 | 2765963.7623 | 1252254.5456
17 | 2765935.9284 | 1252232.132
18 | 2765945.0321 | 1252208.1293
19 | 2766010.6968 | 1252218.3459
20 | 2765984.6714 | 1252189.0419
21 | 2766029.5317 | 1252198.6622
22 | 2766031.2741 | 1252229.8253
23 | 2766003.2937 | 1252166.8454
24 | 2765964.1234 | 1252193.3812
25 | 2766032.8465 | 1252195.198
26 | 2766011.3846 | 1252157.2016
27 | 2765947.2473 | 1252192.6864
28 | 2766050.5083 | 1252172.6903
29 | 2766051.5419 | 1252203.0835
30 | 2765933.6087 | 1252153.0744
31 | 2765920.7996 | 1252208.0625
32 | 2765905.5281 | 1252169.0492
33 | 2765923.2294 | 1252143.2068
34 | 2766000.4759 | 1252133.8214
35 | 2765908.3455 | 1252206.7828
36 | 2765910.4145 | 1252134.7718
37 | 2765935.7095 | 1252126.1747
38 | 2765958.4556 | 1252095.1321
39 | 2765884.188 | 1252117.5092
40 | 2765882.0759 | 1252116.119
41 | 2765894.057 | 1252104.1811
42 | 2765902.5334 | 1252092.7336
43 | 2765910.6905 | 1252081.7173
44 | 2765921.7386 | 1252066.7967
45 | 2765864.5968 | 1252104.6141
46 | 2765858.6739 | 1252100.6441
47 | 2765875.9629 | 1252089.4888
48 | 2765876.1103 | 1252089.2927
49 | 2765892.6734 | 1252067.2517
50 | 2765902.4159 | 1252054.2871
51 | 2765869.946 | 1252044.2219
52 | 2765850.021 | 1252113.5797
53 | 2765829.7481 | 1252081.2811
54 | 2765827.9869 | 1252079.6655
55 | 2765812.1267 | 1252092.2024
56 | 2765846.2436 | 1252119.2267
57 | 2765855.5633 | 1252030.2617
58 | 2765866.1292 | 1252020.5473
59 | 2765840.6113 | 1252015.7405
60 | 2765802.0085 | 1252053.6292
61 | 2765621.559 | 1252192.4963
62 | 2765755.9595 | 1252127.0197
63 | 2765775.5053 | 1252114.9008
64 | 2765887.1534 | 1252203.4455
65 | 2765878.4202 | 1252201.3748
66 | 2765898.3737 | 1252205.7581
67 | 2765872.3251 | 1252199.9295
68 | 2765898.7692 | 1252205.7988
69 | 2765805.9424 | 1252096.0353
70 | 2765780.8298 | 1252111.5994
71 | 2765789.5027 | 1252126.3367
72 | 2765792.1167 | 1252141.9245
73 | 2765803.9943 | 1252163.4479
74 | 2765835.3259 | 1252137.5919
75 | 2765826.9854 | 1252150.57
76 | 2765819.2929 | 1252162.5397
77 | 2765786.16 | 1252207.9834
78 | 2765923.2294 | 1252143.2068

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1