## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3238-7_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3238-7_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_3238-7_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_3238-7_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_3238-7_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_3238-7_0_4_node_58 | 0.4 | n |  | TRUE
6 | bus_LV_3238-7_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_3238-7_0_4_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_3238-7_0_4_node_59 | 0.4 | n |  | TRUE
9 | bus_LV_3238-7_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_3238-7_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_3238-7_0_4_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_3238-7_0_4_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_3238-7_0_4_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_3238-7_0_4_node_38 | 0.4 | n |  | TRUE
15 | bus_LV_3238-7_0_4_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_3238-7_0_4_node_37 | 0.4 | n |  | TRUE
17 | bus_LV_3238-7_0_4_node_39 | 0.4 | n |  | TRUE
18 | bus_LV_3238-7_0_4_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_3238-7_0_4_node_32 | 0.4 | n |  | TRUE
20 | bus_LV_3238-7_0_4_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_3238-7_0_4_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_3238-7_0_4_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_3238-7_0_4_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_3238-7_0_4_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_3238-7_0_4_node_110 | 0.4 | n |  | TRUE
26 | bus_LV_3238-7_0_4_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_3238-7_0_4_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_3238-7_0_4_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_3238-7_0_4_node_95 | 0.4 | n |  | TRUE
30 | bus_LV_3238-7_0_4_node_98 | 0.4 | n |  | TRUE
31 | bus_LV_3238-7_0_4_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_3238-7_0_4_node_93 | 0.4 | n |  | TRUE
33 | bus_LV_3238-7_0_4_node_99 | 0.4 | n |  | TRUE
34 | bus_LV_3238-7_0_4_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_3238-7_0_4_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_3238-7_0_4_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_3238-7_0_4_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_3238-7_0_4_node_45 | 0.4 | n |  | TRUE
39 | bus_LV_3238-7_0_4_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_3238-7_0_4_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_3238-7_0_4_node_46 | 0.4 | n |  | TRUE
42 | bus_LV_3238-7_0_4_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_3238-7_0_4_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_3238-7_0_4_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_3238-7_0_4_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_3238-7_0_4_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_3238-7_0_4_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_3238-7_0_4_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_3238-7_0_4_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_3238-7_0_4_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_3238-7_0_4_node_55 | 0.4 | n |  | TRUE
52 | bus_LV_3238-7_0_4_node_52 | 0.4 | n |  | TRUE
53 | bus_LV_3238-7_0_4_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_3238-7_0_4_node_61 | 0.4 | n |  | TRUE
55 | bus_LV_3238-7_0_4_node_51 | 0.4 | n |  | TRUE
56 | bus_LV_3238-7_0_4_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_3238-7_0_4_node_49 | 0.4 | n |  | TRUE
58 | bus_LV_3238-7_0_4_node_50 | 0.4 | n |  | TRUE
59 | bus_LV_3238-7_0_4_node_60 | 0.4 | n |  | TRUE
60 | bus_LV_3238-7_0_4_node_62 | 0.4 | n |  | TRUE
61 | bus_LV_3238-7_0_4_node_64 | 0.4 | n |  | TRUE
62 | bus_LV_3238-7_0_4_node_65 | 0.4 | n |  | TRUE
63 | bus_LV_3238-7_0_4_node_53 | 0.4 | n |  | TRUE
64 | bus_LV_3238-7_0_4_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_3238-7_0_4_node_56 | 0.4 | n |  | TRUE
66 | bus_LV_3238-7_0_4_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_3238-7_0_4_node_68 | 0.4 | n |  | TRUE
68 | bus_LV_3238-7_0_4_node_67 | 0.4 | n |  | TRUE
69 | bus_LV_3238-7_0_4_node_63 | 0.4 | n |  | TRUE
70 | bus_LV_3238-7_0_4_node_66 | 0.4 | n |  | TRUE
71 | bus_LV_3238-7_0_4_node_82 | 0.4 | n |  | TRUE
72 | bus_LV_3238-7_0_4_node_77 | 0.4 | n |  | TRUE
73 | bus_LV_3238-7_0_4_node_78 | 0.4 | n |  | TRUE
74 | bus_LV_3238-7_0_4_node_103 | 0.4 | n |  | TRUE
75 | bus_LV_3238-7_0_4_node_102 | 0.4 | n |  | TRUE
76 | bus_LV_3238-7_0_4_node_79 | 0.4 | n |  | TRUE
77 | bus_LV_3238-7_0_4_node_89 | 0.4 | n |  | TRUE
78 | bus_LV_3238-7_0_4_node_69 | 0.4 | n |  | TRUE
79 | bus_LV_3238-7_0_4_node_70 | 0.4 | n |  | TRUE
80 | bus_LV_3238-7_0_4_node_71 | 0.4 | n |  | TRUE
81 | bus_LV_3238-7_0_4_node_72 | 0.4 | n |  | TRUE
82 | bus_LV_3238-7_0_4_node_76 | 0.4 | n |  | TRUE
83 | bus_LV_3238-7_0_4_node_74 | 0.4 | n |  | TRUE
84 | bus_LV_3238-7_0_4_node_73 | 0.4 | n |  | TRUE
85 | bus_LV_3238-7_0_4_node_75 | 0.4 | n |  | TRUE
86 | bus_LV_3238-7_0_4_node_101 | 0.4 | n |  | TRUE
87 | bus_LV_3238-7_0_4_node_80 | 0.4 | n |  | TRUE
88 | bus_LV_3238-7_0_4_node_81 | 0.4 | n |  | TRUE
89 | bus_LV_3238-7_0_4_node_83 | 0.4 | n |  | TRUE
90 | bus_LV_3238-7_0_4_node_84 | 0.4 | n |  | TRUE
91 | bus_LV_3238-7_0_4_node_88 | 0.4 | n |  | TRUE
92 | bus_LV_3238-7_0_4_node_87 | 0.4 | n |  | TRUE
93 | bus_LV_3238-7_0_4_node_85 | 0.4 | n |  | TRUE
94 | bus_LV_3238-7_0_4_node_108 | 0.4 | n |  | TRUE
95 | bus_LV_3238-7_0_4_node_86 | 0.4 | n |  | TRUE
96 | bus_LV_3238-7_0_4_node_109 | 0.4 | n |  | TRUE
97 | bus_LV_3238-7_0_4_node_107 | 0.4 | n |  | TRUE
98 | bus_LV_3238-7_0_4_node_90 | 0.4 | n |  | TRUE
99 | bus_LV_3238-7_0_4_node_91 | 0.4 | n |  | TRUE
100 | bus_LV_3238-7_0_4_node_94 | 0.4 | n |  | TRUE
101 | bus_LV_3238-7_0_4_node_96 | 0.4 | n |  | TRUE
102 | bus_LV_3238-7_0_4_node_97 | 0.4 | n |  | TRUE
103 | bus_LV_3238-7_0_4_node_100 | 0.4 | n |  | TRUE
104 | bus_LV_3238-7_0_4_node_104 | 0.4 | n |  | TRUE
105 | bus_LV_3238-7_0_4_node_105 | 0.4 | n |  | TRUE
106 | bus_LV_3238-7_0_4_node_106 | 0.4 | n |  | TRUE
107 | bus_LV_3238-7_0_4_node_112 | 0.4 | n |  | TRUE
108 | bus_MV_236_0_node_86 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3238-7_0_4_load_0 | 0 | 0.001563 | 0.00039173 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3238-7_0_4_load_3 | 2 | 0.0042325 | 0.0010608 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3238-7_0_4_load_4 | 3 | 0.00201 | 0.00050376 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3238-7_0_4_load_5 | 4 | 0.0047161 | 0.001182 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3238-7_0_4_load_58 | 5 | 0.0041239 | 0.0010336 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3238-7_0_4_load_6 | 6 | 0.0029749 | 0.00074559 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3238-7_0_4_load_9 | 7 | 0.0032924 | 0.00082515 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3238-7_0_4_load_59 | 8 | 0.002519 | 0.00063132 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3238-7_0_4_load_7 | 9 | 0.0012665 | 0.00031743 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3238-7_0_4_load_8 | 10 | 0.0025133 | 0.0006299 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3238-7_0_4_load_12 | 11 | 0.0025646 | 0.00064276 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3238-7_0_4_load_13 | 12 | 0.0026358 | 0.00066059 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3238-7_0_4_load_38 | 14 | 0.0017134 | 0.00042943 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3238-7_0_4_load_15 | 15 | 0.0061599 | 0.0015438 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3238-7_0_4_load_37 | 16 | 0.0018601 | 0.0004662 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3238-7_0_4_load_14 | 18 | 0.0017226 | 0.00043172 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3238-7_0_4_load_32 | 19 | 0.0022517 | 0.00056434 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3238-7_0_4_load_16 | 20 | 0.0013289 | 0.00033304 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3238-7_0_4_load_18 | 22 | 0.0031124 | 0.00078004 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3238-7_0_4_load_19 | 23 | 0.0073454 | 0.0018409 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3238-7_0_4_load_20 | 24 | 0.01094 | 0.0027418 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3238-7_0_4_load_110 | 25 | 0.0031194 | 0.0007818 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3238-7_0_4_load_23 | 28 | 0.0016753 | 0.00041986 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3238-7_0_4_load_95 | 29 | 0.054602 | 0.013685 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3238-7_0_4_load_98 | 30 | 0.002456 | 0.00061554 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3238-7_0_4_load_99 | 33 | 0.0025335 | 0.00063496 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3238-7_0_4_load_26 | 35 | 0.0042576 | 0.0010671 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3238-7_0_4_load_30 | 36 | 0.0020696 | 0.0005187 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3238-7_0_4_load_27 | 37 | 0.0029985 | 0.00075149 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3238-7_0_4_load_45 | 38 | 0.0036466 | 0.00091393 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3238-7_0_4_load_35 | 39 | 0.0016687 | 0.00041822 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3238-7_0_4_load_28 | 40 | 0.0023748 | 0.00059518 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3238-7_0_4_load_46 | 41 | 0.0019722 | 0.00049427 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3238-7_0_4_load_29 | 42 | 0.0010529 | 0.00026389 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3238-7_0_4_load_33 | 43 | 0.0026283 | 0.0006587 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3238-7_0_4_load_34 | 44 | 0.0017013 | 0.00042639 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3238-7_0_4_load_36 | 45 | 0.0018951 | 0.00047496 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3238-7_0_4_load_40 | 46 | 0.0032869 | 0.00082378 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3238-7_0_4_load_41 | 47 | 0.0076463 | 0.0019163 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3238-7_0_4_load_44 | 50 | 0.0039524 | 0.00099057 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3238-7_0_4_load_55 | 51 | 0.0024751 | 0.00062032 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3238-7_0_4_load_52 | 52 | 0.0038821 | 0.00097295 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3238-7_0_4_load_47 | 53 | 0.0018108 | 0.00045383 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3238-7_0_4_load_61 | 54 | 0.0024826 | 0.0006222 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3238-7_0_4_load_51 | 55 | 0.0035578 | 0.00089167 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3238-7_0_4_load_48 | 56 | 0.0026513 | 0.00066449 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3238-7_0_4_load_49 | 57 | 0.001872 | 0.00046916 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3238-7_0_4_load_50 | 58 | 0.0016764 | 0.00042014 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3238-7_0_4_load_60 | 59 | 0.0029016 | 0.00072721 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3238-7_0_4_load_62 | 60 | 0.0021401 | 0.00053636 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3238-7_0_4_load_64 | 61 | 0.0033004 | 0.00082717 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3238-7_0_4_load_53 | 63 | 0.0022275 | 0.00055827 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3238-7_0_4_load_54 | 64 | 0.0021898 | 0.0005488 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3238-7_0_4_load_56 | 65 | 0.0018551 | 0.00046492 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3238-7_0_4_load_57 | 66 | 0.0019846 | 0.00049739 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3238-7_0_4_load_67 | 68 | 0.0028776 | 0.0007212 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3238-7_0_4_load_63 | 69 | 0.0015676 | 0.00039288 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3238-7_0_4_load_66 | 70 | 0.0015523 | 0.00038903 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3238-7_0_4_load_82 | 71 | 0.0023095 | 0.00057882 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3238-7_0_4_load_78 | 73 | 0.0021158 | 0.00053027 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3238-7_0_4_load_103 | 74 | 0.0012768 | 0.00031999 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3238-7_0_4_load_102 | 75 | 0.0033847 | 0.00084828 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3238-7_0_4_load_79 | 76 | 0.0017212 | 0.00043137 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3238-7_0_4_load_89 | 77 | 0.0032603 | 0.0008171 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3238-7_0_4_load_69 | 78 | 0.0021516 | 0.00053925 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3238-7_0_4_load_70 | 79 | 0.0020335 | 0.00050964 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3238-7_0_4_load_76 | 82 | 0.0024979 | 0.00062602 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3238-7_0_4_load_74 | 83 | 0.0035989 | 0.00090198 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3238-7_0_4_load_73 | 84 | 0.0032289 | 0.00080923 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3238-7_0_4_load_75 | 85 | 0.0029724 | 0.00074495 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3238-7_0_4_load_101 | 86 | 0.0056812 | 0.0014238 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3238-7_0_4_load_80 | 87 | 0.0022618 | 0.00056686 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3238-7_0_4_load_81 | 88 | 0.0033785 | 0.00084673 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3238-7_0_4_load_83 | 89 | 0.0028446 | 0.00071294 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3238-7_0_4_load_88 | 91 | 0.0029894 | 0.00074922 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3238-7_0_4_load_87 | 92 | 0.0027889 | 0.00069896 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3238-7_0_4_load_85 | 93 | 0.0023085 | 0.00057857 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3238-7_0_4_load_107 | 97 | 0.0033702 | 0.00084466 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3238-7_0_4_load_90 | 98 | 0.0086616 | 0.0021708 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3238-7_0_4_load_91 | 99 | 0.010827 | 0.0027135 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3238-7_0_4_load_94 | 100 | 0.072114 | 0.018073 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_3238-7_0_4_load_96 | 101 | 0.0072066 | 0.0018061 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_3238-7_0_4_load_100 | 103 | 0.0035279 | 0.00088417 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_3238-7_0_4_load_104 | 104 | 0.0037112 | 0.00093012 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_3238-7_0_4_load_105 | 105 | 0.0039599 | 0.00099245 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_3238-7_0_4_load_106 | 106 | 0.012368 | 0.0030997 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_3238-7_0_4_load_112 | 107 | 0.0039991 | 0.0010023 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 58 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3238-7_0_4_line_0 |  | 0 | 1 | 0.011507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3238-7_0_4_line_1 |  | 1 | 2 | 0.010647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_3238-7_0_4_line_2 |  | 1 | 3 | 0.023183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_3238-7_0_4_line_3 |  | 2 | 4 | 0.026445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_3238-7_0_4_line_4 |  | 3 | 5 | 0.031058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3238-7_0_4_line_5 |  | 4 | 6 | 0.0030602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_3238-7_0_4_line_6 |  | 4 | 7 | 0.059536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3238-7_0_4_line_7 |  | 5 | 8 | 0.0051126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3238-7_0_4_line_8 |  | 6 | 9 | 0.024187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_3238-7_0_4_line_9 |  | 8 | 67 | 0.043351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3238-7_0_4_line_10 |  | 9 | 10 | 0.0016545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_3238-7_0_4_line_11 |  | 10 | 11 | 0.0098154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_3238-7_0_4_line_12 |  | 11 | 12 | 0.010283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_3238-7_0_4_line_13 |  | 12 | 18 | 0.018081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_3238-7_0_4_line_14 |  | 13 | 14 | 0.022809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_3238-7_0_4_line_15 |  | 13 | 15 | 0.027484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_3238-7_0_4_line_16 |  | 13 | 16 | 0.033697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3238-7_0_4_line_17 |  | 14 | 17 | 0.016424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_3238-7_0_4_line_18 |  | 15 | 18 | 0.01118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_3238-7_0_4_line_19 |  | 16 | 19 | 0.024159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3238-7_0_4_line_20 |  | 17 | 46 | 0.017303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_3238-7_0_4_line_21 |  | 20 | 21 | 0.0032299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3238-7_0_4_line_22 |  | 21 | 22 | 0.02174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3238-7_0_4_line_23 |  | 21 | 23 | 0.017421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3238-7_0_4_line_24 |  | 22 | 24 | 0.027919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3238-7_0_4_line_25 |  | 23 | 25 | 0.011746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3238-7_0_4_line_26 |  | 24 | 26 | 0.019477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3238-7_0_4_line_27 |  | 26 | 27 | 0.027492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_3238-7_0_4_line_28 |  | 26 | 28 | 0.024447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_3238-7_0_4_line_29 |  | 27 | 29 | 0.031727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_3238-7_0_4_line_30 |  | 27 | 30 | 0.023386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3238-7_0_4_line_31 |  | 28 | 31 | 0.010892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_3238-7_0_4_line_32 |  | 29 | 32 | 0.022697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3238-7_0_4_line_33 |  | 30 | 33 | 0.024918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3238-7_0_4_line_34 |  | 31 | 34 | 0.015842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3238-7_0_4_line_35 |  | 31 | 35 | 0.007971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_3238-7_0_4_line_36 |  | 32 | 100 | 0.046186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3238-7_0_4_line_37 |  | 32 | 99 | 0.026983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3238-7_0_4_line_38 |  | 33 | 103 | 0.006621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3238-7_0_4_line_39 |  | 34 | 36 | 0.034423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3238-7_0_4_line_40 |  | 34 | 37 | 0.013887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3238-7_0_4_line_41 |  | 35 | 38 | 0.022913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_3238-7_0_4_line_42 |  | 36 | 39 | 0.0038221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3238-7_0_4_line_43 |  | 37 | 40 | 0.011033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3238-7_0_4_line_44 |  | 38 | 41 | 0.00598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_3238-7_0_4_line_45 |  | 39 | 43 | 0.0028637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3238-7_0_4_line_46 |  | 40 | 42 | 0.0037263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3238-7_0_4_line_47 |  | 41 | 57 | 0.0071004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_3238-7_0_4_line_48 |  | 43 | 44 | 0.023753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3238-7_0_4_line_49 |  | 44 | 45 | 0.00092808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3238-7_0_4_line_50 |  | 46 | 47 | 0.0023463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_3238-7_0_4_line_51 |  | 47 | 48 | 0.021687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_3238-7_0_4_line_52 |  | 48 | 49 | 0.02765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3238-7_0_4_line_53 |  | 48 | 50 | 0.0081919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_3238-7_0_4_line_54 |  | 49 | 51 | 0.0062435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3238-7_0_4_line_55 |  | 49 | 52 | 0.042635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3238-7_0_4_line_56 |  | 50 | 53 | 0.010789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_3238-7_0_4_line_57 |  | 51 | 54 | 0.030227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3238-7_0_4_line_58 |  | 52 | 55 | 0.003412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3238-7_0_4_line_59 |  | 53 | 56 | 0.011478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_3238-7_0_4_line_60 |  | 55 | 63 | 0.019482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3238-7_0_4_line_61 |  | 56 | 59 | 0.010116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_3238-7_0_4_line_62 |  | 57 | 58 | 0.01769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_3238-7_0_4_line_63 |  | 58 | 61 | 0.02787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_3238-7_0_4_line_64 |  | 59 | 60 | 0.0094043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_3238-7_0_4_line_65 |  | 60 | 69 | 0.022595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_3238-7_0_4_line_66 |  | 61 | 62 | 0.025999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_3238-7_0_4_line_67 |  | 62 | 72 | 0.014105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3238-7_0_4_line_68 |  | 62 | 73 | 0.0022726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_3238-7_0_4_line_69 |  | 63 | 64 | 0.0010868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3238-7_0_4_line_70 |  | 64 | 65 | 0.016085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3238-7_0_4_line_71 |  | 65 | 66 | 0.0012455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3238-7_0_4_line_72 |  | 67 | 68 | 0.037942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3238-7_0_4_line_73 |  | 68 | 78 | 0.021382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3238-7_0_4_line_74 |  | 68 | 79 | 0.02798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3238-7_0_4_line_75 |  | 69 | 70 | 0.009774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
76 | LV_3238-7_0_4_line_76 |  | 70 | 71 | 0.011936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
77 | LV_3238-7_0_4_line_77 |  | 71 | 77 | 0.017067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
78 | LV_3238-7_0_4_line_78 |  | 72 | 74 | 0.0053744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3238-7_0_4_line_79 |  | 72 | 75 | 0.022669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3238-7_0_4_line_80 |  | 73 | 76 | 0.011385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
81 | LV_3238-7_0_4_line_81 |  | 74 | 86 | 0.010008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3238-7_0_4_line_82 |  | 76 | 87 | 0.0090779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
83 | LV_3238-7_0_4_line_83 |  | 77 | 91 | 0.0081613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
84 | LV_3238-7_0_4_line_84 |  | 79 | 80 | 0.014531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3238-7_0_4_line_85 |  | 80 | 81 | 0.020929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3238-7_0_4_line_86 |  | 81 | 82 | 0.038018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3238-7_0_4_line_87 |  | 82 | 83 | 0.0088592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3238-7_0_4_line_88 |  | 83 | 84 | 0.018395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3238-7_0_4_line_89 |  | 84 | 85 | 0.014037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3238-7_0_4_line_90 |  | 86 | 102 | 0.0047456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_3238-7_0_4_line_91 |  | 87 | 88 | 0.025678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
92 | LV_3238-7_0_4_line_92 |  | 88 | 89 | 0.0022194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
93 | LV_3238-7_0_4_line_93 |  | 89 | 90 | 0.014847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
94 | LV_3238-7_0_4_line_94 |  | 90 | 92 | 0.054073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_3238-7_0_4_line_95 |  | 90 | 93 | 0.0078255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
96 | LV_3238-7_0_4_line_96 |  | 91 | 95 | 0.036697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
97 | LV_3238-7_0_4_line_97 |  | 92 | 94 | 0.0020844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_3238-7_0_4_line_98 |  | 93 | 95 | 0.026748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
99 | LV_3238-7_0_4_line_99 |  | 94 | 96 | 0.0621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_3238-7_0_4_line_100 |  | 94 | 97 | 0.024024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_3238-7_0_4_line_101 |  | 96 | 107 | 0.076002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_3238-7_0_4_line_102 |  | 97 | 105 | 0.012969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_3238-7_0_4_line_103 |  | 98 | 99 | 0.014754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_3238-7_0_4_line_104 |  | 101 | 102 | 0.011581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_3238-7_0_4_line_105 |  | 104 | 105 | 0.0093146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_3238-7_0_4_line_106 |  | 104 | 106 | 0.0035885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3238-7_0_4_trafo_50 | 0.63 MVA 20/0.4 kV | 108 | 58 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2766401.7592 | 1252437.588 | 2766413.2618 | 1252437.2799
1 | 2766401.7592 | 1252437.588 | 2766391.1154 | 1252437.8452
2 | 2766401.7592 | 1252437.588 | 2766402.9083 | 1252460.7423
3 | 2766391.1154 | 1252437.8452 | 2766364.6784 | 1252438.4841
4 | 2766404.4478 | 1252491.7619 | 2766402.9083 | 1252460.7423
5 | 2766361.619 | 1252438.558 | 2766364.6784 | 1252438.4841
6 | 2766364.6784 | 1252438.4841 | 2766370.263 | 1252379.2105
7 | 2766404.4478 | 1252491.7619 | 2766404.7012 | 1252496.8681
8 | 2766361.619 | 1252438.558 | 2766337.4395 | 1252439.1424
9 | 2766404.7012 | 1252496.8681 | 2766424.8551 | 1252535.2497
10 | 2766337.4395 | 1252439.1424 | 2766335.7855 | 1252439.1823
11 | 2766325.9729 | 1252439.4195 | 2766335.7855 | 1252439.1823
12 | 2766325.9729 | 1252439.4195 | 2766315.6934 | 1252439.6679
13 | 2766315.6934 | 1252439.6679 | 2766297.6177 | 1252440.1047
14 | 2766258.9654 | 1252441.0388 | 2766265.0077 | 1252463.0325
15 | 2766258.9654 | 1252441.0388 | 2766286.4412 | 1252440.3748
16 | 2766258.9654 | 1252441.0388 | 2766225.3134 | 1252442.7838
17 | 2766269.3586 | 1252478.8699 | 2766265.0077 | 1252463.0325
18 | 2766286.4412 | 1252440.3748 | 2766297.6177 | 1252440.1047
19 | 2766201.1865 | 1252444.035 | 2766225.3134 | 1252442.7838
20 | 2766269.3586 | 1252478.8699 | 2766273.849 | 1252495.5805
21 | 2766074.729 | 1252508.7983 | 2766072.3556 | 1252506.6075
22 | 2766074.729 | 1252508.7983 | 2766094.8273 | 1252517.087
23 | 2766074.729 | 1252508.7983 | 2766065.6013 | 1252523.6367
24 | 2766094.8273 | 1252517.087 | 2766104.9705 | 1252521.2701 | 2766121.0069 | 1252526.7503
25 | 2766065.6013 | 1252523.6367 | 2766059.4469 | 1252533.6416
26 | 2766139.4375 | 1252533.0487 | 2766121.0069 | 1252526.7503
27 | 2766127.2371 | 1252557.699 | 2766139.4375 | 1252533.0487
28 | 2766139.4375 | 1252533.0487 | 2766156.1943 | 1252525.5219 | 2766161.6693 | 1252522.8831
29 | 2766127.2371 | 1252557.699 | 2766111.639 | 1252585.3266
30 | 2766127.2371 | 1252557.699 | 2766134.9457 | 1252562.865 | 2766139.1268 | 1252568.3323 | 2766142.2055 | 1252574.8672
31 | 2766171.4816 | 1252518.154 | 2766161.6693 | 1252522.8831
32 | 2766099.9612 | 1252604.7834 | 2766107.4185 | 1252592.8022 | 2766111.639 | 1252585.3266
33 | 2766142.2055 | 1252574.8672 | 2766145.9187 | 1252582.7489 | 2766148.1688 | 1252583.8354 | 2766158.9228 | 1252583.0027 | 2766160.8128 | 1252580.7756
34 | 2766171.4816 | 1252518.154 | 2766168.8011 | 1252502.5403
35 | 2766171.4816 | 1252518.154 | 2766175.2848 | 1252525.1592
36 | 2766099.9612 | 1252604.7834 | 2766115.0761 | 1252612.1593 | 2766143.8001 | 1252618.2755
37 | 2766099.9612 | 1252604.7834 | 2766085.7105 | 1252627.6967 | 2766085.7105 | 1252627.6967
38 | 2766159.8394 | 1252574.831 | 2766161.6015 | 1252577.1607 | 2766160.8128 | 1252580.7756
39 | 2766168.8011 | 1252502.5403 | 2766202.3079 | 1252494.6531
40 | 2766168.8011 | 1252502.5403 | 2766167.6595 | 1252488.7
41 | 2766175.2848 | 1252525.1592 | 2766186.2176 | 1252545.2962
42 | 2766206.0283 | 1252493.7773 | 2766202.3079 | 1252494.6531
43 | 2766167.6595 | 1252488.7 | 2766166.7526 | 1252477.7045
44 | 2766189.3956 | 1252550.3591 | 2766186.6894 | 1252546.1653 | 2766186.2176 | 1252545.2962
45 | 2766208.8158 | 1252493.1212 | 2766206.0283 | 1252493.7773
46 | 2766166.4462 | 1252473.9908 | 2766166.7526 | 1252477.7045
47 | 2766189.3956 | 1252550.3591 | 2766193.2454 | 1252556.3252
48 | 2766208.8158 | 1252493.1212 | 2766231.9371 | 1252487.6786
49 | 2766231.9371 | 1252487.6786 | 2766232.8405 | 1252487.466
50 | 2766274.4579 | 1252497.8464 | 2766273.849 | 1252495.5805
51 | 2766280.0857 | 1252518.7903 | 2766274.4579 | 1252497.8464
52 | 2766280.0857 | 1252518.7903 | 2766307.3854 | 1252513.9292
53 | 2766280.0857 | 1252518.7903 | 2766282.2362 | 1252526.6949
54 | 2766307.3854 | 1252513.9292 | 2766313.6286 | 1252513.8722
55 | 2766307.3854 | 1252513.9292 | 2766307.4795 | 1252494.9899 | 2766311.8986 | 1252491.1766 | 2766329.6988 | 1252489.7377
56 | 2766282.2362 | 1252526.6949 | 2766285.0686 | 1252537.106
57 | 2766330.5961 | 1252529.8862 | 2766327.4022 | 1252513.7464 | 2766313.6286 | 1252513.8722
58 | 2766333.0997 | 1252489.4628 | 2766329.6988 | 1252489.7377
59 | 2766285.0686 | 1252537.106 | 2766288.0818 | 1252548.1815
60 | 2766333.0997 | 1252489.4628 | 2766352.5185 | 1252487.8931
61 | 2766290.7375 | 1252557.943 | 2766288.0818 | 1252548.1815
62 | 2766202.837 | 1252571.1893 | 2766193.2454 | 1252556.3252
63 | 2766202.837 | 1252571.1893 | 2766210.5558 | 1252583.1511 | 2766218.5638 | 1252594.1849
64 | 2766290.7375 | 1252557.943 | 2766293.2063 | 1252567.0175
65 | 2766293.2063 | 1252567.0175 | 2766299.1379 | 1252588.8199
66 | 2766233.8349 | 1252615.2265 | 2766218.5638 | 1252594.1849
67 | 2766233.8349 | 1252615.2265 | 2766220.4885 | 1252619.9014
68 | 2766233.8349 | 1252615.2265 | 2766235.284 | 1252616.9771
69 | 2766352.5185 | 1252487.8931 | 2766353.6018 | 1252487.8055
70 | 2766369.6346 | 1252486.5095 | 2766353.6018 | 1252487.8055
71 | 2766369.6346 | 1252486.5095 | 2766370.876 | 1252486.4092
72 | 2766424.8551 | 1252535.2497 | 2766402.5419 | 1252529.8173 | 2766387.6231 | 1252531.139
73 | 2766366.325 | 1252533.0259 | 2766387.6231 | 1252531.139
74 | 2766380.1205 | 1252558.0946 | 2766387.6231 | 1252531.139
75 | 2766299.1379 | 1252588.8199 | 2766301.7037 | 1252598.2511
76 | 2766304.837 | 1252609.7682 | 2766301.7037 | 1252598.2511
77 | 2766304.837 | 1252609.7682 | 2766306.9443 | 1252617.5138 | 2766308.6074 | 1252626.399
78 | 2766220.4885 | 1252619.9014 | 2766215.4666 | 1252621.8155
79 | 2766220.4885 | 1252619.9014 | 2766226.9281 | 1252641.6364
80 | 2766242.544 | 1252625.7475 | 2766235.284 | 1252616.9771
81 | 2766215.4666 | 1252621.8155 | 2766206.1149 | 1252625.3799
82 | 2766242.544 | 1252625.7475 | 2766248.3326 | 1252632.7404
83 | 2766310.1089 | 1252634.421 | 2766308.6074 | 1252626.399
84 | 2766381.6691 | 1252572.5425 | 2766380.1205 | 1252558.0946
85 | 2766380.5535 | 1252593.4218 | 2766381.569 | 1252582.5501 | 2766381.6691 | 1252572.5425
86 | 2766380.5535 | 1252593.4218 | 2766342.5974 | 1252591.2594
87 | 2766333.7526 | 1252590.7555 | 2766342.5974 | 1252591.2594
88 | 2766329.2351 | 1252575.1899 | 2766330.8461 | 1252590.5899 | 2766333.7526 | 1252590.7555
89 | 2766327.7746 | 1252561.2286 | 2766329.2351 | 1252575.1899
90 | 2766201.6805 | 1252627.0701 | 2766206.1149 | 1252625.3799
91 | 2766269.14 | 1252647.6476 | 2766262.1728 | 1252643.8181 | 2766248.3326 | 1252632.7404 | 2766248.3326 | 1252632.7404
92 | 2766269.14 | 1252647.6476 | 2766271.085 | 1252648.7166
93 | 2766284.0959 | 1252655.8681 | 2766271.085 | 1252648.7166
94 | 2766284.0959 | 1252655.8681 | 2766271.5486 | 1252686.6703 | 2766266.2248 | 1252691.7818 | 2766259.5654 | 1252693.8972 | 2766253.1608 | 1252693.1709
95 | 2766284.0959 | 1252655.8681 | 2766291.1666 | 1252659.2212
96 | 2766315.3352 | 1252670.6826 | 2766314.5081 | 1252657.9238 | 2766310.1089 | 1252634.421
97 | 2766251.0896 | 1252692.9361 | 2766253.1608 | 1252693.1709
98 | 2766315.3352 | 1252670.6826 | 2766291.1666 | 1252659.2212
99 | 2766251.0896 | 1252692.9361 | 2766252.7739 | 1252750.4545 | 2766251.9911 | 1252754.9372
100 | 2766251.0896 | 1252692.9361 | 2766227.7345 | 1252687.305
101 | 2766251.9911 | 1252754.9372 | 2766182.5945 | 1252723.4798
102 | 2766227.7345 | 1252687.305 | 2766215.127 | 1252684.2652
103 | 2766075.2399 | 1252638.0909 | 2766085.7105 | 1252627.6967
104 | 2766201.6805 | 1252627.0701 | 2766190.1136 | 1252626.5068
105 | 2766206.0719 | 1252682.082 | 2766215.127 | 1252684.2652
106 | 2766202.5834 | 1252681.2408 | 2766206.0719 | 1252682.082

## bus_geodata
| x | y | coords
0 | 2766413.2618 | 1252437.2799
1 | 2766401.7592 | 1252437.588
2 | 2766391.1154 | 1252437.8452
3 | 2766402.9083 | 1252460.7423
4 | 2766364.6784 | 1252438.4841
5 | 2766404.4478 | 1252491.7619
6 | 2766361.619 | 1252438.558
7 | 2766370.263 | 1252379.2105
8 | 2766404.7012 | 1252496.8681
9 | 2766337.4395 | 1252439.1424
10 | 2766335.7855 | 1252439.1823
11 | 2766325.9729 | 1252439.4195
12 | 2766315.6934 | 1252439.6679
13 | 2766258.9654 | 1252441.0388
14 | 2766265.0077 | 1252463.0325
15 | 2766286.4412 | 1252440.3748
16 | 2766225.3134 | 1252442.7838
17 | 2766269.3586 | 1252478.8699
18 | 2766297.6177 | 1252440.1047
19 | 2766201.1865 | 1252444.035
20 | 2766072.3556 | 1252506.6075
21 | 2766074.729 | 1252508.7983
22 | 2766094.8273 | 1252517.087
23 | 2766065.6013 | 1252523.6367
24 | 2766121.0069 | 1252526.7503
25 | 2766059.4469 | 1252533.6416
26 | 2766139.4375 | 1252533.0487
27 | 2766127.2371 | 1252557.699
28 | 2766161.6693 | 1252522.8831
29 | 2766111.639 | 1252585.3266
30 | 2766142.2055 | 1252574.8672
31 | 2766171.4816 | 1252518.154
32 | 2766099.9612 | 1252604.7834
33 | 2766160.8128 | 1252580.7756
34 | 2766168.8011 | 1252502.5403
35 | 2766175.2848 | 1252525.1592
36 | 2766202.3079 | 1252494.6531
37 | 2766167.6595 | 1252488.7
38 | 2766186.2176 | 1252545.2962
39 | 2766206.0283 | 1252493.7773
40 | 2766166.7526 | 1252477.7045
41 | 2766189.3956 | 1252550.3591
42 | 2766166.4462 | 1252473.9908
43 | 2766208.8158 | 1252493.1212
44 | 2766231.9371 | 1252487.6786
45 | 2766232.8405 | 1252487.466
46 | 2766273.849 | 1252495.5805
47 | 2766274.4579 | 1252497.8464
48 | 2766280.0857 | 1252518.7903
49 | 2766307.3854 | 1252513.9292
50 | 2766282.2362 | 1252526.6949
51 | 2766313.6286 | 1252513.8722
52 | 2766329.6988 | 1252489.7377
53 | 2766285.0686 | 1252537.106
54 | 2766330.5961 | 1252529.8862
55 | 2766333.0997 | 1252489.4628
56 | 2766288.0818 | 1252548.1815
57 | 2766193.2454 | 1252556.3252
58 | 2766202.837 | 1252571.1893
59 | 2766290.7375 | 1252557.943
60 | 2766293.2063 | 1252567.0175
61 | 2766218.5638 | 1252594.1849
62 | 2766233.8349 | 1252615.2265
63 | 2766352.5185 | 1252487.8931
64 | 2766353.6018 | 1252487.8055
65 | 2766369.6346 | 1252486.5095
66 | 2766370.876 | 1252486.4092
67 | 2766424.8551 | 1252535.2497
68 | 2766387.6231 | 1252531.139
69 | 2766299.1379 | 1252588.8199
70 | 2766301.7037 | 1252598.2511
71 | 2766304.837 | 1252609.7682
72 | 2766220.4885 | 1252619.9014
73 | 2766235.284 | 1252616.9771
74 | 2766215.4666 | 1252621.8155
75 | 2766226.9281 | 1252641.6364
76 | 2766242.544 | 1252625.7475
77 | 2766308.6074 | 1252626.399
78 | 2766366.325 | 1252533.0259
79 | 2766380.1205 | 1252558.0946
80 | 2766381.6691 | 1252572.5425
81 | 2766380.5535 | 1252593.4218
82 | 2766342.5974 | 1252591.2594
83 | 2766333.7526 | 1252590.7555
84 | 2766329.2351 | 1252575.1899
85 | 2766327.7746 | 1252561.2286
86 | 2766206.1149 | 1252625.3799
87 | 2766248.3326 | 1252632.7404
88 | 2766269.14 | 1252647.6476
89 | 2766271.085 | 1252648.7166
90 | 2766284.0959 | 1252655.8681
91 | 2766310.1089 | 1252634.421
92 | 2766253.1608 | 1252693.1709
93 | 2766291.1666 | 1252659.2212
94 | 2766251.0896 | 1252692.9361
95 | 2766315.3352 | 1252670.6826
96 | 2766251.9911 | 1252754.9372
97 | 2766227.7345 | 1252687.305
98 | 2766075.2399 | 1252638.0909
99 | 2766085.7105 | 1252627.6967
100 | 2766143.8001 | 1252618.2755
101 | 2766190.1136 | 1252626.5068
102 | 2766201.6805 | 1252627.0701
103 | 2766159.8394 | 1252574.831
104 | 2766206.0719 | 1252682.082
105 | 2766215.127 | 1252684.2652
106 | 2766202.5834 | 1252681.2408
107 | 2766182.5945 | 1252723.4798
108 | 2766233.8349 | 1252615.2265

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1