## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3251-17_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3251-17_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3251-17_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3251-17_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3251-17_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3251-17_0_4_node_12 | 0.4 | n |  | TRUE
6 | bus_LV_3251-17_0_4_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_3251-17_0_4_node_13 | 0.4 | n |  | TRUE
8 | bus_LV_3251-17_0_4_node_18 | 0.4 | n |  | TRUE
9 | bus_LV_3251-17_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_3251-17_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_3251-17_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_3251-17_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_3251-17_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_3251-17_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_3251-17_0_4_node_26 | 0.4 | n |  | TRUE
16 | bus_LV_3251-17_0_4_node_56 | 0.4 | n |  | TRUE
17 | bus_LV_3251-17_0_4_node_64 | 0.4 | n |  | TRUE
18 | bus_LV_3251-17_0_4_node_55 | 0.4 | n |  | TRUE
19 | bus_LV_3251-17_0_4_node_24 | 0.4 | n |  | TRUE
20 | bus_LV_3251-17_0_4_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_3251-17_0_4_node_57 | 0.4 | n |  | TRUE
22 | bus_LV_3251-17_0_4_node_97 | 0.4 | n |  | TRUE
23 | bus_LV_3251-17_0_4_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_3251-17_0_4_node_25 | 0.4 | n |  | TRUE
25 | bus_LV_3251-17_0_4_node_59 | 0.4 | n |  | TRUE
26 | bus_LV_3251-17_0_4_node_60 | 0.4 | n |  | TRUE
27 | bus_LV_3251-17_0_4_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_3251-17_0_4_node_47 | 0.4 | n |  | TRUE
29 | bus_LV_3251-17_0_4_node_48 | 0.4 | n |  | TRUE
30 | bus_LV_3251-17_0_4_node_43 | 0.4 | n |  | TRUE
31 | bus_LV_3251-17_0_4_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_3251-17_0_4_node_53 | 0.4 | n |  | TRUE
33 | bus_LV_3251-17_0_4_node_52 | 0.4 | n |  | TRUE
34 | bus_LV_3251-17_0_4_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_3251-17_0_4_node_70 | 0.4 | n |  | TRUE
36 | bus_LV_3251-17_0_4_node_67 | 0.4 | n |  | TRUE
37 | bus_LV_3251-17_0_4_node_15 | 0.4 | n |  | TRUE
38 | bus_LV_3251-17_0_4_node_61 | 0.4 | n |  | TRUE
39 | bus_LV_3251-17_0_4_node_44 | 0.4 | n |  | TRUE
40 | bus_LV_3251-17_0_4_node_68 | 0.4 | n |  | TRUE
41 | bus_LV_3251-17_0_4_node_69 | 0.4 | n |  | TRUE
42 | bus_LV_3251-17_0_4_node_54 | 0.4 | n |  | TRUE
43 | bus_LV_3251-17_0_4_node_93 | 0.4 | n |  | TRUE
44 | bus_LV_3251-17_0_4_node_49 | 0.4 | n |  | TRUE
45 | bus_LV_3251-17_0_4_node_50 | 0.4 | n |  | TRUE
46 | bus_LV_3251-17_0_4_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_3251-17_0_4_node_29 | 0.4 | n |  | TRUE
48 | bus_LV_3251-17_0_4_node_30 | 0.4 | n |  | TRUE
49 | bus_LV_3251-17_0_4_node_31 | 0.4 | n |  | TRUE
50 | bus_LV_3251-17_0_4_node_32 | 0.4 | n |  | TRUE
51 | bus_LV_3251-17_0_4_node_33 | 0.4 | n |  | TRUE
52 | bus_LV_3251-17_0_4_node_34 | 0.4 | n |  | TRUE
53 | bus_LV_3251-17_0_4_node_35 | 0.4 | n |  | TRUE
54 | bus_LV_3251-17_0_4_node_42 | 0.4 | n |  | TRUE
55 | bus_LV_3251-17_0_4_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_3251-17_0_4_node_79 | 0.4 | n |  | TRUE
57 | bus_LV_3251-17_0_4_node_36 | 0.4 | n |  | TRUE
58 | bus_LV_3251-17_0_4_node_37 | 0.4 | n |  | TRUE
59 | bus_LV_3251-17_0_4_node_38 | 0.4 | n |  | TRUE
60 | bus_LV_3251-17_0_4_node_39 | 0.4 | n |  | TRUE
61 | bus_LV_3251-17_0_4_node_40 | 0.4 | n |  | TRUE
62 | bus_LV_3251-17_0_4_node_41 | 0.4 | n |  | TRUE
63 | bus_LV_3251-17_0_4_node_62 | 0.4 | n |  | TRUE
64 | bus_LV_3251-17_0_4_node_51 | 0.4 | n |  | TRUE
65 | bus_LV_3251-17_0_4_node_96 | 0.4 | n |  | TRUE
66 | bus_LV_3251-17_0_4_node_63 | 0.4 | n |  | TRUE
67 | bus_LV_3251-17_0_4_node_95 | 0.4 | n |  | TRUE
68 | bus_LV_3251-17_0_4_node_46 | 0.4 | n |  | TRUE
69 | bus_LV_3251-17_0_4_node_92 | 0.4 | n |  | TRUE
70 | bus_LV_3251-17_0_4_node_82 | 0.4 | n |  | TRUE
71 | bus_LV_3251-17_0_4_node_77 | 0.4 | n |  | TRUE
72 | bus_LV_3251-17_0_4_node_91 | 0.4 | n |  | TRUE
73 | bus_LV_3251-17_0_4_node_58 | 0.4 | n |  | TRUE
74 | bus_LV_3251-17_0_4_node_65 | 0.4 | n |  | TRUE
75 | bus_LV_3251-17_0_4_node_66 | 0.4 | n |  | TRUE
76 | bus_LV_3251-17_0_4_node_87 | 0.4 | n |  | TRUE
77 | bus_LV_3251-17_0_4_node_85 | 0.4 | n |  | TRUE
78 | bus_LV_3251-17_0_4_node_94 | 0.4 | n |  | TRUE
79 | bus_LV_3251-17_0_4_node_78 | 0.4 | n |  | TRUE
80 | bus_LV_3251-17_0_4_node_80 | 0.4 | n |  | TRUE
81 | bus_LV_3251-17_0_4_node_76 | 0.4 | n |  | TRUE
82 | bus_LV_3251-17_0_4_node_72 | 0.4 | n |  | TRUE
83 | bus_LV_3251-17_0_4_node_73 | 0.4 | n |  | TRUE
84 | bus_LV_3251-17_0_4_node_74 | 0.4 | n |  | TRUE
85 | bus_LV_3251-17_0_4_node_75 | 0.4 | n |  | TRUE
86 | bus_LV_3251-17_0_4_node_84 | 0.4 | n |  | TRUE
87 | bus_LV_3251-17_0_4_node_83 | 0.4 | n |  | TRUE
88 | bus_LV_3251-17_0_4_node_81 | 0.4 | n |  | TRUE
89 | bus_LV_3251-17_0_4_node_86 | 0.4 | n |  | TRUE
90 | bus_LV_3251-17_0_4_node_88 | 0.4 | n |  | TRUE
91 | bus_LV_3251-17_0_4_node_89 | 0.4 | n |  | TRUE
92 | bus_LV_3251-17_0_4_node_90 | 0.4 | n |  | TRUE
93 | bus_MV_50_0_node_22 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3251-17_0_4_load_0 | 0 | 0.0028152 | 0.00070555 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3251-17_0_4_load_1 | 1 | 0.0020543 | 0.00051487 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3251-17_0_4_load_3 | 3 | 0.003086 | 0.00077341 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3251-17_0_4_load_4 | 4 | 0.003812 | 0.00095539 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3251-17_0_4_load_12 | 5 | 0.0028194 | 0.00070662 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3251-17_0_4_load_13 | 7 | 0.0011242 | 0.00028175 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3251-17_0_4_load_5 | 9 | 0.0042603 | 0.0010677 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3251-17_0_4_load_6 | 10 | 0.010944 | 0.0027429 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3251-17_0_4_load_26 | 15 | 0.016131 | 0.0040429 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3251-17_0_4_load_56 | 16 | 0.0026358 | 0.0006606 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3251-17_0_4_load_64 | 17 | 0.0028935 | 0.00072517 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3251-17_0_4_load_24 | 19 | 0.0042193 | 0.0010575 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3251-17_0_4_load_57 | 21 | 0.0027742 | 0.00069528 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3251-17_0_4_load_97 | 22 | 0.0027874 | 0.0006986 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3251-17_0_4_load_59 | 25 | 0.020079 | 0.0050324 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3251-17_0_4_load_60 | 26 | 0.0020811 | 0.00052158 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3251-17_0_4_load_47 | 28 | 0.02329 | 0.0058371 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3251-17_0_4_load_48 | 29 | 0.0031718 | 0.00079493 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3251-17_0_4_load_43 | 30 | 0.019112 | 0.00479 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3251-17_0_4_load_52 | 33 | 0.0060129 | 0.001507 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3251-17_0_4_load_70 | 35 | 0.0015688 | 0.00039319 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3251-17_0_4_load_67 | 36 | 0.0026913 | 0.00067451 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3251-17_0_4_load_15 | 37 | 0.0029032 | 0.00072761 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3251-17_0_4_load_61 | 38 | 0.0038205 | 0.0009575 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3251-17_0_4_load_69 | 41 | 0.0023946 | 0.00060014 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3251-17_0_4_load_93 | 43 | 0.0018251 | 0.00045741 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3251-17_0_4_load_49 | 44 | 0.0013331 | 0.00033409 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3251-17_0_4_load_50 | 45 | 0.0012149 | 0.00030448 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3251-17_0_4_load_28 | 46 | 0.022854 | 0.0057278 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3251-17_0_4_load_29 | 47 | 0.023152 | 0.0058025 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3251-17_0_4_load_30 | 48 | 0.021877 | 0.0054829 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3251-17_0_4_load_32 | 50 | 0.017332 | 0.0043438 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3251-17_0_4_load_33 | 51 | 0.023174 | 0.0058079 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3251-17_0_4_load_34 | 52 | 0.013178 | 0.0033026 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3251-17_0_4_load_35 | 53 | 0.0088659 | 0.002222 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3251-17_0_4_load_42 | 54 | 0.0096051 | 0.0024073 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3251-17_0_4_load_36 | 57 | 0.026923 | 0.0067475 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3251-17_0_4_load_37 | 58 | 0.0017859 | 0.0004476 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3251-17_0_4_load_39 | 60 | 0.0036299 | 0.00090974 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3251-17_0_4_load_40 | 61 | 0.0013919 | 0.00034885 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3251-17_0_4_load_41 | 62 | 0.0011851 | 0.00029701 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3251-17_0_4_load_62 | 63 | 0.0016049 | 0.00040221 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3251-17_0_4_load_51 | 64 | 0.00090951 | 0.00022794 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3251-17_0_4_load_96 | 65 | 0.00087519 | 0.00021934 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3251-17_0_4_load_63 | 66 | 0.0099575 | 0.0024956 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3251-17_0_4_load_46 | 68 | 0.0015969 | 0.00040022 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3251-17_0_4_load_92 | 69 | 0.0014375 | 0.00036028 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3251-17_0_4_load_82 | 70 | 0.0028365 | 0.00071089 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3251-17_0_4_load_91 | 72 | 0.0014877 | 0.00037286 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3251-17_0_4_load_58 | 73 | 0.0023458 | 0.00058792 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3251-17_0_4_load_65 | 74 | 0.0030535 | 0.00076529 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3251-17_0_4_load_66 | 75 | 0.010427 | 0.0026134 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3251-17_0_4_load_87 | 76 | 0.0025697 | 0.00064404 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3251-17_0_4_load_85 | 77 | 0.001856 | 0.00046517 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3251-17_0_4_load_94 | 78 | 0.00458 | 0.0011479 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3251-17_0_4_load_80 | 80 | 0.013769 | 0.0034508 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3251-17_0_4_load_76 | 81 | 0.001811 | 0.00045388 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3251-17_0_4_load_72 | 82 | 0.0029066 | 0.00072847 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3251-17_0_4_load_73 | 83 | 0.0028539 | 0.00071525 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3251-17_0_4_load_74 | 84 | 0.0028894 | 0.00072414 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3251-17_0_4_load_75 | 85 | 0.0027188 | 0.00068139 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3251-17_0_4_load_84 | 86 | 0.0025296 | 0.00063399 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3251-17_0_4_load_83 | 87 | 0.0014743 | 0.00036948 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3251-17_0_4_load_81 | 88 | 0.0031158 | 0.0007809 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3251-17_0_4_load_86 | 89 | 0.0015961 | 0.00040003 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3251-17_0_4_load_88 | 90 | 0.0016498 | 0.00041348 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3251-17_0_4_load_89 | 91 | 0.0022698 | 0.00056888 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3251-17_0_4_load_90 | 92 | 0.001374 | 0.00034437 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 46 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3251-17_0_4_line_0 |  | 0 | 1 | 0.0034699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3251-17_0_4_line_1 |  | 0 | 2 | 0.016662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3251-17_0_4_line_2 |  | 2 | 3 | 0.033422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3251-17_0_4_line_3 |  | 2 | 4 | 0.002584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3251-17_0_4_line_4 |  | 3 | 5 | 0.023388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3251-17_0_4_line_5 |  | 4 | 6 | 0.017823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3251-17_0_4_line_6 |  | 5 | 7 | 0.0077256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3251-17_0_4_line_7 |  | 6 | 8 | 0.025946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3251-17_0_4_line_8 |  | 7 | 20 | 0.014894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3251-17_0_4_line_9 |  | 8 | 22 | 0.048171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3251-17_0_4_line_10 |  | 8 | 23 | 0.030239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3251-17_0_4_line_11 |  | 9 | 10 | 0.032108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3251-17_0_4_line_12 |  | 9 | 11 | 0.058784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3251-17_0_4_line_13 |  | 10 | 12 | 0.013988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3251-17_0_4_line_14 |  | 11 | 13 | 0.004048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3251-17_0_4_line_15 |  | 11 | 14 | 0.062865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3251-17_0_4_line_16 |  | 12 | 15 | 0.029562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3251-17_0_4_line_17 |  | 13 | 16 | 0.015561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3251-17_0_4_line_18 |  | 14 | 17 | 0.01387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3251-17_0_4_line_19 |  | 15 | 18 | 0.019978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3251-17_0_4_line_20 |  | 16 | 21 | 0.0046993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3251-17_0_4_line_21 |  | 18 | 42 | 0.01098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3251-17_0_4_line_22 |  | 18 | 25 | 0.0097707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3251-17_0_4_line_23 |  | 19 | 20 | 0.022905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3251-17_0_4_line_24 |  | 20 | 24 | 0.022173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3251-17_0_4_line_25 |  | 21 | 73 | 0.012347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3251-17_0_4_line_26 |  | 23 | 37 | 0.017244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3251-17_0_4_line_27 |  | 24 | 25 | 0.02076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3251-17_0_4_line_28 |  | 24 | 26 | 0.01622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3251-17_0_4_line_29 |  | 26 | 38 | 0.023725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3251-17_0_4_line_30 |  | 27 | 28 | 0.03173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_3251-17_0_4_line_31 |  | 27 | 29 | 0.01514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3251-17_0_4_line_32 |  | 27 | 30 | 0.015155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3251-17_0_4_line_33 |  | 28 | 32 | 0.022097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_3251-17_0_4_line_34 |  | 30 | 39 | 0.038197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3251-17_0_4_line_35 |  | 31 | 32 | 0.035601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3251-17_0_4_line_36 |  | 31 | 33 | 0.020897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3251-17_0_4_line_37 |  | 32 | 42 | 0.004407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_3251-17_0_4_line_38 |  | 34 | 35 | 0.016277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3251-17_0_4_line_39 |  | 34 | 36 | 0.0095804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3251-17_0_4_line_40 |  | 35 | 43 | 0.012836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3251-17_0_4_line_41 |  | 36 | 40 | 0.011834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3251-17_0_4_line_42 |  | 39 | 68 | 0.013383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3251-17_0_4_line_43 |  | 39 | 55 | 0.019967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3251-17_0_4_line_44 |  | 40 | 41 | 0.0014256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3251-17_0_4_line_45 |  | 41 | 76 | 0.011979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3251-17_0_4_line_46 |  | 42 | 53 | 0.014178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_3251-17_0_4_line_47 |  | 43 | 78 | 0.0027116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3251-17_0_4_line_48 |  | 44 | 45 | 0.012073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3251-17_0_4_line_49 |  | 45 | 64 | 0.0032587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3251-17_0_4_line_50 |  | 46 | 47 | 0.02561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3251-17_0_4_line_51 |  | 46 | 48 | 0.023556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_3251-17_0_4_line_52 |  | 47 | 49 | 0.019891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3251-17_0_4_line_53 |  | 48 | 50 | 0.0087772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_3251-17_0_4_line_54 |  | 49 | 51 | 0.023578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3251-17_0_4_line_55 |  | 49 | 52 | 0.008746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3251-17_0_4_line_56 |  | 50 | 53 | 0.0045912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_3251-17_0_4_line_57 |  | 51 | 54 | 0.012369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3251-17_0_4_line_58 |  | 55 | 56 | 0.019044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3251-17_0_4_line_59 |  | 56 | 70 | 0.010814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3251-17_0_4_line_60 |  | 56 | 71 | 0.014764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3251-17_0_4_line_61 |  | 57 | 58 | 0.0057643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3251-17_0_4_line_62 |  | 57 | 59 | 0.017613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3251-17_0_4_line_63 |  | 58 | 60 | 0.017779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3251-17_0_4_line_64 |  | 59 | 61 | 0.01058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3251-17_0_4_line_65 |  | 59 | 62 | 0.02933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3251-17_0_4_line_66 |  | 60 | 63 | 0.018067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3251-17_0_4_line_67 |  | 61 | 64 | 0.037055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3251-17_0_4_line_68 |  | 62 | 65 | 0.031591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3251-17_0_4_line_69 |  | 63 | 66 | 0.0012096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3251-17_0_4_line_70 |  | 65 | 67 | 0.028026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3251-17_0_4_line_71 |  | 67 | 79 | 0.015759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3251-17_0_4_line_72 |  | 68 | 69 | 0.0017842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3251-17_0_4_line_73 |  | 69 | 72 | 0.0028885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3251-17_0_4_line_74 |  | 70 | 88 | 0.012468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3251-17_0_4_line_75 |  | 71 | 80 | 0.039507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3251-17_0_4_line_76 |  | 71 | 81 | 0.019626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3251-17_0_4_line_77 |  | 72 | 92 | 0.0029899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3251-17_0_4_line_78 |  | 73 | 74 | 0.0079703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3251-17_0_4_line_79 |  | 74 | 75 | 0.0080883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3251-17_0_4_line_80 |  | 76 | 77 | 0.0069708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3251-17_0_4_line_81 |  | 77 | 89 | 0.0011656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3251-17_0_4_line_82 |  | 79 | 80 | 0.030695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3251-17_0_4_line_83 |  | 82 | 83 | 0.050811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3251-17_0_4_line_84 |  | 82 | 84 | 0.027937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3251-17_0_4_line_85 |  | 83 | 85 | 0.0038529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3251-17_0_4_line_86 |  | 85 | 86 | 0.018652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3251-17_0_4_line_87 |  | 86 | 87 | 0.0032151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3251-17_0_4_line_88 |  | 87 | 88 | 0.021918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3251-17_0_4_line_89 |  | 89 | 90 | 0.007789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3251-17_0_4_line_90 |  | 90 | 91 | 0.0008279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_3251-17_0_4_line_91 |  | 91 | 92 | 0.0047151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3251-17_0_4_trafo_28 | 0.63 MVA 20/0.4 kV | 93 | 46 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2758399.5919 | 1249555.5128 | 2758397.7839 | 1249558.4745
1 | 2758408.2735 | 1249541.2913 | 2758399.5919 | 1249555.5128
2 | 2758408.2735 | 1249541.2913 | 2758437.3779 | 1249557.7228
3 | 2758408.2735 | 1249541.2913 | 2758406.0808 | 1249539.9242
4 | 2758457.7446 | 1249569.2213 | 2758437.3779 | 1249557.7228
5 | 2758391.2353 | 1249530.0693 | 2758400.3893 | 1249536.3758 | 2758406.0808 | 1249539.9242
6 | 2758457.7446 | 1249569.2213 | 2758457.8027 | 1249569.2541 | 2758464.2229 | 1249573.4303
7 | 2758407.2026 | 1249509.5866 | 2758391.2353 | 1249530.0693
8 | 2758471.9384 | 1249584.7585 | 2758470.5524 | 1249577.5476 | 2758464.2229 | 1249573.4303
9 | 2758407.2026 | 1249509.5866 | 2758449.2529 | 1249533.3119
10 | 2758423.3645 | 1249484.0931 | 2758422.2616 | 1249486.6328 | 2758420.4019 | 1249490.0643 | 2758418.572 | 1249492.9516 | 2758407.2026 | 1249509.5866
11 | 2758394.0498 | 1249602.9288 | 2758422.7601 | 1249617.303
12 | 2758354.5523 | 1249624.5947 | 2758363.8626 | 1249601.8875 | 2758366.7498 | 1249598.4501 | 2758369.7229 | 1249596.3162 | 2758373.056 | 1249595.4155 | 2758376.924 | 1249595.4188 | 2758381.4697 | 1249596.6304 | 2758394.0498 | 1249602.9288
13 | 2758435.5051 | 1249623.034 | 2758429.4868 | 1249620.6708 | 2758422.7601 | 1249617.303
14 | 2758354.5523 | 1249624.5947 | 2758353.0018 | 1249628.3348
15 | 2758319.7655 | 1249637.7787 | 2758321.6759 | 1249634.1372 | 2758321.0134 | 1249627.8355 | 2758317.5446 | 1249615.1635 | 2758337.7574 | 1249615.5816 | 2758354.5523 | 1249624.5947
16 | 2758435.5051 | 1249623.034 | 2758437.454 | 1249623.6089 | 2758446.831 | 1249626.3734 | 2758453.6983 | 1249627.7806 | 2758464.312 | 1249629.45
17 | 2758353.0018 | 1249628.3348 | 2758365.6917 | 1249637.3409
18 | 2758319.7655 | 1249637.7787 | 2758321.5657 | 1249647.303 | 2758318.9612 | 1249650.5684
19 | 2758483.3294 | 1249635.3469 | 2758469.1206 | 1249630.2064 | 2758464.312 | 1249629.45
20 | 2758365.6917 | 1249637.3409 | 2758369.524 | 1249640.0607
21 | 2758483.3294 | 1249635.3469 | 2758485.9115 | 1249639.6425 | 2758489.2464 | 1249644.6033
22 | 2758483.3294 | 1249635.3469 | 2758482.9531 | 1249628.5189 | 2758482.701 | 1249625.5974
23 | 2758471.9384 | 1249584.7585 | 2758458.3429 | 1249599.0427 | 2758456.1462 | 1249601.3496
24 | 2758471.9384 | 1249584.7585 | 2758472.141 | 1249589.3241 | 2758475.5659 | 1249594.8767 | 2758479.9317 | 1249605.0703
25 | 2758379.5932 | 1249647.2069 | 2758369.524 | 1249640.0607
26 | 2758423.3645 | 1249484.0931 | 2758429.7185 | 1249490.0132 | 2758432.3805 | 1249491.6082 | 2758437.5133 | 1249493.46
27 | 2758479.9317 | 1249605.0703 | 2758481.1306 | 1249609.6736 | 2758481.8287 | 1249615.487 | 2758482.701 | 1249625.5974
28 | 2758479.9317 | 1249605.0703 | 2758485.485 | 1249603.6396 | 2758492.5613 | 1249595.9023
29 | 2758492.5613 | 1249595.9023 | 2758497.9759 | 1249589.9821 | 2758506.0769 | 1249576.531
30 | 2758525.1481 | 1249689.9752 | 2758520.7497 | 1249687.2104 | 2758518.3195 | 1249684.8653 | 2758504.6867 | 1249666.1452
31 | 2758525.1481 | 1249689.9752 | 2758535.669 | 1249693.4601 | 2758538.5477 | 1249694.2935 | 2758539.6008 | 1249694.4146
32 | 2758525.1481 | 1249689.9752 | 2758517.749 | 1249703.2011
33 | 2758491.6787 | 1249648.2831 | 2758504.6867 | 1249666.1452
34 | 2758499.1 | 1249736.5363 | 2758517.749 | 1249703.2011
35 | 2758491.6787 | 1249648.2831 | 2758499.0119 | 1249642.7291 | 2758503.8219 | 1249638.865 | 2758519.588 | 1249626.185
36 | 2758519.588 | 1249626.185 | 2758509.3618 | 1249608.8609 | 2758509.57 | 1249608.1095
37 | 2758491.6787 | 1249648.2831 | 2758489.2464 | 1249644.6033
38 | 2758560.6742 | 1249740.8874 | 2758556.4034 | 1249745.2108 | 2758554.1311 | 1249750.5109 | 2758554.097 | 1249754.9444
39 | 2758560.6742 | 1249740.8874 | 2758555.8704 | 1249732.5984
40 | 2758554.2808 | 1249767.7766 | 2758554.0487 | 1249761.2082 | 2758554.097 | 1249754.9444
41 | 2758549.9366 | 1249722.3594 | 2758555.8704 | 1249732.5984
42 | 2758499.1 | 1249736.5363 | 2758509.341 | 1249740.0359 | 2758511.8785 | 1249740.3791
43 | 2758489.5795 | 1249754.0993 | 2758499.1 | 1249736.5363
44 | 2758549.9366 | 1249722.3594 | 2758548.685 | 1249723.0419
45 | 2758538.1676 | 1249728.7768 | 2758548.685 | 1249723.0419
46 | 2758489.2464 | 1249644.6033 | 2758482.5481 | 1249646.7597 | 2758476.9354 | 1249651.1748
47 | 2758555.4313 | 1249770.232 | 2758554.2808 | 1249767.7766
48 | 2758311.0601 | 1249725.9009 | 2758317.1408 | 1249726.0634 | 2758323.1084 | 1249726.5793
49 | 2758326.355 | 1249726.8599 | 2758323.1084 | 1249726.5793
50 | 2758443.4205 | 1249702.7363 | 2758451.9169 | 1249685.891 | 2758454.9521 | 1249679.8697
51 | 2758466.4503 | 1249659.4642 | 2758463.8602 | 1249662.1977 | 2758454.9521 | 1249679.8697
52 | 2758452.7212 | 1249719.3571 | 2758446.8449 | 1249712.5376 | 2758443.691 | 1249707.8709 | 2758443.0014 | 1249705.1275 | 2758443.4205 | 1249702.7363
53 | 2758466.4503 | 1249659.4642 | 2758466.6045 | 1249659.3015 | 2758473.3268 | 1249654.0134
54 | 2758452.7212 | 1249719.3571 | 2758469.7137 | 1249703.0111
55 | 2758452.7212 | 1249719.3571 | 2758458.4993 | 1249725.9226
56 | 2758476.9354 | 1249651.1748 | 2758473.3268 | 1249654.0134
57 | 2758478.6281 | 1249694.4358 | 2758469.7137 | 1249703.0111
58 | 2758489.5795 | 1249754.0993 | 2758483.7479 | 1249765.655 | 2758480.9956 | 1249771.1091
59 | 2758480.9956 | 1249771.1091 | 2758486.9883 | 1249774.7062 | 2758489.9753 | 1249777.0949
60 | 2758473.7314 | 1249783.9721 | 2758480.9956 | 1249771.1091
61 | 2758370.1288 | 1249726.3504 | 2758370.7198 | 1249720.6164
62 | 2758368.3229 | 1249743.8706 | 2758370.1288 | 1249726.3504
63 | 2758363.7482 | 1249706.4357 | 2758371.4955 | 1249713.0913 | 2758370.7198 | 1249720.6164
64 | 2758368.3229 | 1249743.8706 | 2758364.2568 | 1249738.5678 | 2758361.3147 | 1249736.0115
65 | 2758368.3229 | 1249743.8706 | 2758370.3833 | 1249748.4636 | 2758372.6851 | 1249756.7444 | 2758372.1154 | 1249765.6159 | 2758370.7527 | 1249772.2893
66 | 2758363.7482 | 1249706.4357 | 2758350.0439 | 1249694.6627
67 | 2758361.3147 | 1249736.0115 | 2758356.6892 | 1249731.9924 | 2758348.0192 | 1249729.069 | 2758334.0919 | 1249727.5288 | 2758326.355 | 1249726.8599
68 | 2758370.7527 | 1249772.2893 | 2758369.5945 | 1249777.9608 | 2758370.7635 | 1249784.532 | 2758374.9415 | 1249791.862 | 2758378.0169 | 1249796.6379 | 2758381.607 | 1249800.1329
69 | 2758349.1264 | 1249693.8745 | 2758350.0439 | 1249694.6627
70 | 2758401.6882 | 1249819.6823 | 2758381.607 | 1249800.1329
71 | 2758401.6882 | 1249819.6823 | 2758417.4372 | 1249818.3462
72 | 2758511.8785 | 1249740.3791 | 2758513.6466 | 1249740.6183 | 2758513.6466 | 1249740.6183
73 | 2758516.4501 | 1249739.9273 | 2758516.1783 | 1249740.0187 | 2758513.6466 | 1249740.6183
74 | 2758499.3046 | 1249785.3585 | 2758492.2692 | 1249778.9294 | 2758489.9753 | 1249777.0949
75 | 2758473.7314 | 1249783.9721 | 2758466.8798 | 1249782.8323 | 2758459.0385 | 1249783.1007 | 2758455.2556 | 1249783.8781 | 2758451.4356 | 1249785.7557 | 2758439.0047 | 1249796.7528
76 | 2758473.7314 | 1249783.9721 | 2758466.2302 | 1249802.1076
77 | 2758516.4501 | 1249739.9273 | 2758519.2839 | 1249738.9739
78 | 2758386.0929 | 1249651.8198 | 2758379.5932 | 1249647.2069
79 | 2758392.6888 | 1249656.501 | 2758386.0929 | 1249651.8198
80 | 2758532.0475 | 1249732.1139 | 2758538.1676 | 1249728.7768
81 | 2758532.0475 | 1249732.1139 | 2758531.0242 | 1249732.6719
82 | 2758417.4372 | 1249818.3462 | 2758421.7695 | 1249812.0001 | 2758439.0047 | 1249796.7528
83 | 2758568.3049 | 1249845.3918 | 2758566.2693 | 1249846.2312 | 2758560.9252 | 1249847.7565 | 2758554.8089 | 1249848.2156 | 2758547.3656 | 1249844.3459 | 2758530.2594 | 1249821.5139
84 | 2758568.3049 | 1249845.3918 | 2758594.1322 | 1249834.7408
85 | 2758527.9492 | 1249818.4304 | 2758530.2594 | 1249821.5139
86 | 2758527.9492 | 1249818.4304 | 2758524.6015 | 1249813.9623 | 2758516.2076 | 1249803.945
87 | 2758514.1427 | 1249801.4806 | 2758516.2076 | 1249803.945
88 | 2758499.3046 | 1249785.3585 | 2758500.0932 | 1249786.0791 | 2758512.5225 | 1249799.5471 | 2758514.1427 | 1249801.4806
89 | 2758531.0242 | 1249732.6719 | 2758524.1857 | 1249736.4008
90 | 2758523.4588 | 1249736.7971 | 2758524.1857 | 1249736.4008
91 | 2758523.4588 | 1249736.7971 | 2758519.7612 | 1249738.8133 | 2758519.2839 | 1249738.9739

## bus_geodata
| x | y | coords
0 | 2758399.5919 | 1249555.5128
1 | 2758397.7839 | 1249558.4745
2 | 2758408.2735 | 1249541.2913
3 | 2758437.3779 | 1249557.7228
4 | 2758406.0808 | 1249539.9242
5 | 2758457.7446 | 1249569.2213
6 | 2758391.2353 | 1249530.0693
7 | 2758464.2229 | 1249573.4303
8 | 2758407.2026 | 1249509.5866
9 | 2758394.0498 | 1249602.9288
10 | 2758422.7601 | 1249617.303
11 | 2758354.5523 | 1249624.5947
12 | 2758435.5051 | 1249623.034
13 | 2758353.0018 | 1249628.3348
14 | 2758319.7655 | 1249637.7787
15 | 2758464.312 | 1249629.45
16 | 2758365.6917 | 1249637.3409
17 | 2758318.9612 | 1249650.5684
18 | 2758483.3294 | 1249635.3469
19 | 2758456.1462 | 1249601.3496
20 | 2758471.9384 | 1249584.7585
21 | 2758369.524 | 1249640.0607
22 | 2758449.2529 | 1249533.3119
23 | 2758423.3645 | 1249484.0931
24 | 2758479.9317 | 1249605.0703
25 | 2758482.701 | 1249625.5974
26 | 2758492.5613 | 1249595.9023
27 | 2758525.1481 | 1249689.9752
28 | 2758504.6867 | 1249666.1452
29 | 2758539.6008 | 1249694.4146
30 | 2758517.749 | 1249703.2011
31 | 2758519.588 | 1249626.185
32 | 2758491.6787 | 1249648.2831
33 | 2758509.57 | 1249608.1095
34 | 2758560.6742 | 1249740.8874
35 | 2758554.097 | 1249754.9444
36 | 2758555.8704 | 1249732.5984
37 | 2758437.5133 | 1249493.46
38 | 2758506.0769 | 1249576.531
39 | 2758499.1 | 1249736.5363
40 | 2758549.9366 | 1249722.3594
41 | 2758548.685 | 1249723.0419
42 | 2758489.2464 | 1249644.6033
43 | 2758554.2808 | 1249767.7766
44 | 2758311.0601 | 1249725.9009
45 | 2758323.1084 | 1249726.5793
46 | 2758454.9521 | 1249679.8697
47 | 2758443.4205 | 1249702.7363
48 | 2758466.4503 | 1249659.4642
49 | 2758452.7212 | 1249719.3571
50 | 2758473.3268 | 1249654.0134
51 | 2758469.7137 | 1249703.0111
52 | 2758458.4993 | 1249725.9226
53 | 2758476.9354 | 1249651.1748
54 | 2758478.6281 | 1249694.4358
55 | 2758489.5795 | 1249754.0993
56 | 2758480.9956 | 1249771.1091
57 | 2758370.1288 | 1249726.3504
58 | 2758370.7198 | 1249720.6164
59 | 2758368.3229 | 1249743.8706
60 | 2758363.7482 | 1249706.4357
61 | 2758361.3147 | 1249736.0115
62 | 2758370.7527 | 1249772.2893
63 | 2758350.0439 | 1249694.6627
64 | 2758326.355 | 1249726.8599
65 | 2758381.607 | 1249800.1329
66 | 2758349.1264 | 1249693.8745
67 | 2758401.6882 | 1249819.6823
68 | 2758511.8785 | 1249740.3791
69 | 2758513.6466 | 1249740.6183
70 | 2758489.9753 | 1249777.0949
71 | 2758473.7314 | 1249783.9721
72 | 2758516.4501 | 1249739.9273
73 | 2758379.5932 | 1249647.2069
74 | 2758386.0929 | 1249651.8198
75 | 2758392.6888 | 1249656.501
76 | 2758538.1676 | 1249728.7768
77 | 2758532.0475 | 1249732.1139
78 | 2758555.4313 | 1249770.232
79 | 2758417.4372 | 1249818.3462
80 | 2758439.0047 | 1249796.7528
81 | 2758466.2302 | 1249802.1076
82 | 2758568.3049 | 1249845.3918
83 | 2758530.2594 | 1249821.5139
84 | 2758594.1322 | 1249834.7408
85 | 2758527.9492 | 1249818.4304
86 | 2758516.2076 | 1249803.945
87 | 2758514.1427 | 1249801.4806
88 | 2758499.3046 | 1249785.3585
89 | 2758531.0242 | 1249732.6719
90 | 2758524.1857 | 1249736.4008
91 | 2758523.4588 | 1249736.7971
92 | 2758519.2839 | 1249738.9739
93 | 2758452.7212 | 1249719.3571

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1