## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3253-1_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3253-1_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3253-1_0_2_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_3253-1_0_2_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_3253-1_0_2_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_3253-1_0_2_node_103 | 0.4 | n |  | TRUE
6 | bus_LV_3253-1_0_2_node_115 | 0.4 | n |  | TRUE
7 | bus_LV_3253-1_0_2_node_132 | 0.4 | n |  | TRUE
8 | bus_LV_3253-1_0_2_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_3253-1_0_2_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_3253-1_0_2_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_3253-1_0_2_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_3253-1_0_2_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_3253-1_0_2_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_3253-1_0_2_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_3253-1_0_2_node_22 | 0.4 | n |  | TRUE
16 | bus_LV_3253-1_0_2_node_143 | 0.4 | n |  | TRUE
17 | bus_LV_3253-1_0_2_node_191 | 0.4 | n |  | TRUE
18 | bus_LV_3253-1_0_2_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_3253-1_0_2_node_131 | 0.4 | n |  | TRUE
20 | bus_LV_3253-1_0_2_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_3253-1_0_2_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_3253-1_0_2_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_3253-1_0_2_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_3253-1_0_2_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_3253-1_0_2_node_189 | 0.4 | n |  | TRUE
26 | bus_LV_3253-1_0_2_node_181 | 0.4 | n |  | TRUE
27 | bus_LV_3253-1_0_2_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_3253-1_0_2_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_3253-1_0_2_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_3253-1_0_2_node_94 | 0.4 | n |  | TRUE
31 | bus_LV_3253-1_0_2_node_95 | 0.4 | n |  | TRUE
32 | bus_LV_3253-1_0_2_node_96 | 0.4 | n |  | TRUE
33 | bus_LV_3253-1_0_2_node_97 | 0.4 | n |  | TRUE
34 | bus_LV_3253-1_0_2_node_98 | 0.4 | n |  | TRUE
35 | bus_LV_3253-1_0_2_node_148 | 0.4 | n |  | TRUE
36 | bus_LV_3253-1_0_2_node_104 | 0.4 | n |  | TRUE
37 | bus_LV_3253-1_0_2_node_127 | 0.4 | n |  | TRUE
38 | bus_LV_3253-1_0_2_node_116 | 0.4 | n |  | TRUE
39 | bus_LV_3253-1_0_2_node_99 | 0.4 | n |  | TRUE
40 | bus_LV_3253-1_0_2_node_100 | 0.4 | n |  | TRUE
41 | bus_LV_3253-1_0_2_node_101 | 0.4 | n |  | TRUE
42 | bus_LV_3253-1_0_2_node_102 | 0.4 | n |  | TRUE
43 | bus_LV_3253-1_0_2_node_123 | 0.4 | n |  | TRUE
44 | bus_LV_3253-1_0_2_node_197 | 0.4 | n |  | TRUE
45 | bus_LV_3253-1_0_2_node_106 | 0.4 | n |  | TRUE
46 | bus_LV_3253-1_0_2_node_108 | 0.4 | n |  | TRUE
47 | bus_LV_3253-1_0_2_node_179 | 0.4 | n |  | TRUE
48 | bus_LV_3253-1_0_2_node_180 | 0.4 | n |  | TRUE
49 | bus_LV_3253-1_0_2_node_111 | 0.4 | n |  | TRUE
50 | bus_LV_3253-1_0_2_node_112 | 0.4 | n |  | TRUE
51 | bus_LV_3253-1_0_2_node_113 | 0.4 | n |  | TRUE
52 | bus_LV_3253-1_0_2_node_114 | 0.4 | n |  | TRUE
53 | bus_LV_3253-1_0_2_node_117 | 0.4 | n |  | TRUE
54 | bus_LV_3253-1_0_2_node_140 | 0.4 | n |  | TRUE
55 | bus_LV_3253-1_0_2_node_124 | 0.4 | n |  | TRUE
56 | bus_LV_3253-1_0_2_node_125 | 0.4 | n |  | TRUE
57 | bus_LV_3253-1_0_2_node_126 | 0.4 | n |  | TRUE
58 | bus_LV_3253-1_0_2_node_133 | 0.4 | n |  | TRUE
59 | bus_LV_3253-1_0_2_node_134 | 0.4 | n |  | TRUE
60 | bus_LV_3253-1_0_2_node_136 | 0.4 | n |  | TRUE
61 | bus_LV_3253-1_0_2_node_138 | 0.4 | n |  | TRUE
62 | bus_LV_3253-1_0_2_node_139 | 0.4 | n |  | TRUE
63 | bus_LV_3253-1_0_2_node_141 | 0.4 | n |  | TRUE
64 | bus_LV_3253-1_0_2_node_142 | 0.4 | n |  | TRUE
65 | bus_LV_3253-1_0_2_node_150 | 0.4 | n |  | TRUE
66 | bus_LV_3253-1_0_2_node_151 | 0.4 | n |  | TRUE
67 | bus_LV_3253-1_0_2_node_144 | 0.4 | n |  | TRUE
68 | bus_LV_3253-1_0_2_node_145 | 0.4 | n |  | TRUE
69 | bus_LV_3253-1_0_2_node_146 | 0.4 | n |  | TRUE
70 | bus_LV_3253-1_0_2_node_147 | 0.4 | n |  | TRUE
71 | bus_LV_3253-1_0_2_node_187 | 0.4 | n |  | TRUE
72 | bus_LV_3253-1_0_2_node_152 | 0.4 | n |  | TRUE
73 | bus_LV_3253-1_0_2_node_153 | 0.4 | n |  | TRUE
74 | bus_LV_3253-1_0_2_node_154 | 0.4 | n |  | TRUE
75 | bus_LV_3253-1_0_2_node_155 | 0.4 | n |  | TRUE
76 | bus_LV_3253-1_0_2_node_156 | 0.4 | n |  | TRUE
77 | bus_LV_3253-1_0_2_node_157 | 0.4 | n |  | TRUE
78 | bus_LV_3253-1_0_2_node_171 | 0.4 | n |  | TRUE
79 | bus_LV_3253-1_0_2_node_186 | 0.4 | n |  | TRUE
80 | bus_LV_3253-1_0_2_node_163 | 0.4 | n |  | TRUE
81 | bus_LV_3253-1_0_2_node_164 | 0.4 | n |  | TRUE
82 | bus_LV_3253-1_0_2_node_165 | 0.4 | n |  | TRUE
83 | bus_LV_3253-1_0_2_node_166 | 0.4 | n |  | TRUE
84 | bus_LV_3253-1_0_2_node_167 | 0.4 | n |  | TRUE
85 | bus_LV_3253-1_0_2_node_178 | 0.4 | n |  | TRUE
86 | bus_LV_3253-1_0_2_node_185 | 0.4 | n |  | TRUE
87 | bus_LV_3253-1_0_2_node_172 | 0.4 | n |  | TRUE
88 | bus_LV_3253-1_0_2_node_173 | 0.4 | n |  | TRUE
89 | bus_LV_3253-1_0_2_node_177 | 0.4 | n |  | TRUE
90 | bus_LV_3253-1_0_2_node_182 | 0.4 | n |  | TRUE
91 | bus_LV_3253-1_0_2_node_183 | 0.4 | n |  | TRUE
92 | bus_LV_3253-1_0_2_node_184 | 0.4 | n |  | TRUE
93 | bus_LV_3253-1_0_2_node_188 | 0.4 | n |  | TRUE
94 | bus_LV_3253-1_0_2_node_192 | 0.4 | n |  | TRUE
95 | bus_MV_51_0_node_88 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3253-1_0_2_load_0 | 0 | 0.00057197 | 0.00014335 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3253-1_0_2_load_3 | 2 | 0.00070432 | 0.00017652 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3253-1_0_2_load_4 | 3 | 0.0007114 | 0.00017829 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3253-1_0_2_load_5 | 4 | 0.00085413 | 0.00021407 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3253-1_0_2_load_103 | 5 | 0.00081612 | 0.00020454 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3253-1_0_2_load_115 | 6 | 0.0017547 | 0.00043977 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3253-1_0_2_load_132 | 7 | 0.0010924 | 0.00027378 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3253-1_0_2_load_6 | 8 | 0.00082062 | 0.00020567 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3253-1_0_2_load_9 | 11 | 0.0019996 | 0.00050114 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3253-1_0_2_load_10 | 12 | 0.00068793 | 0.00017241 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3253-1_0_2_load_12 | 14 | 0.00071575 | 0.00017938 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3253-1_0_2_load_22 | 15 | 0.010866 | 0.0027232 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3253-1_0_2_load_143 | 16 | 0.0018849 | 0.00047239 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3253-1_0_2_load_191 | 17 | 0.0015304 | 0.00038357 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3253-1_0_2_load_131 | 19 | 0.00075736 | 0.00018981 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3253-1_0_2_load_13 | 20 | 0.0057472 | 0.0014404 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3253-1_0_2_load_17 | 22 | 0.015281 | 0.0038297 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3253-1_0_2_load_15 | 23 | 0.001909 | 0.00047844 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3253-1_0_2_load_189 | 25 | 0.0029534 | 0.0007402 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3253-1_0_2_load_21 | 27 | 0.0015876 | 0.00039789 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3253-1_0_2_load_18 | 28 | 0.0003766 | 9.4385e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3253-1_0_2_load_19 | 29 | 0.0017232 | 0.00043188 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3253-1_0_2_load_94 | 30 | 0.0016768 | 0.00042024 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3253-1_0_2_load_95 | 31 | 0.0015609 | 0.00039121 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3253-1_0_2_load_96 | 32 | 0.0016057 | 0.00040242 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3253-1_0_2_load_98 | 34 | 0.0017278 | 0.00043303 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3253-1_0_2_load_148 | 35 | 0.0016044 | 0.0004021 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3253-1_0_2_load_104 | 36 | 0.0026154 | 0.00065547 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3253-1_0_2_load_127 | 37 | 0.002576 | 0.0006456 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3253-1_0_2_load_116 | 38 | 0.0015597 | 0.0003909 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3253-1_0_2_load_99 | 39 | 0.0018472 | 0.00046295 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3253-1_0_2_load_100 | 40 | 0.0013005 | 0.00032592 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3253-1_0_2_load_101 | 41 | 0.0012029 | 0.00030148 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3253-1_0_2_load_102 | 42 | 0.0012542 | 0.00031434 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3253-1_0_2_load_123 | 43 | 0.0011477 | 0.00028765 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3253-1_0_2_load_197 | 44 | 0.0025198 | 0.00063152 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3253-1_0_2_load_106 | 45 | 0.0019289 | 0.00048343 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3253-1_0_2_load_179 | 47 | 0.0019069 | 0.00047791 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3253-1_0_2_load_180 | 48 | 0.0022747 | 0.00057008 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3253-1_0_2_load_111 | 49 | 0.00068486 | 0.00017164 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3253-1_0_2_load_112 | 50 | 0.00071159 | 0.00017834 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3253-1_0_2_load_113 | 51 | 0.0019129 | 0.00047943 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3253-1_0_2_load_114 | 52 | 0.00072501 | 0.00018171 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3253-1_0_2_load_117 | 53 | 0.0017149 | 0.0004298 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3253-1_0_2_load_124 | 55 | 0.0014115 | 0.00035374 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3253-1_0_2_load_125 | 56 | 0.0010243 | 0.00025672 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3253-1_0_2_load_126 | 57 | 0.00064618 | 0.00016195 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3253-1_0_2_load_133 | 58 | 0.00057932 | 0.00014519 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3253-1_0_2_load_134 | 59 | 0.00063884 | 0.00016011 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3253-1_0_2_load_136 | 60 | 0.00099814 | 0.00025016 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3253-1_0_2_load_138 | 61 | 0.0012653 | 0.0003171 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3253-1_0_2_load_141 | 63 | 0.0013047 | 0.00032699 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3253-1_0_2_load_142 | 64 | 0.0013044 | 0.00032691 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3253-1_0_2_load_150 | 65 | 0.0013044 | 0.00032691 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3253-1_0_2_load_151 | 66 | 0.001305 | 0.00032708 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3253-1_0_2_load_144 | 67 | 0.002213 | 0.00055463 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3253-1_0_2_load_145 | 68 | 0.0022735 | 0.00056979 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3253-1_0_2_load_187 | 71 | 0.0022398 | 0.00056134 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3253-1_0_2_load_152 | 72 | 0.0026097 | 0.00065405 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3253-1_0_2_load_153 | 73 | 0.0019389 | 0.00048593 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3253-1_0_2_load_154 | 74 | 0.0019388 | 0.00048592 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3253-1_0_2_load_155 | 75 | 0.001909 | 0.00047845 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3253-1_0_2_load_156 | 76 | 0.0019093 | 0.00047851 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3253-1_0_2_load_157 | 77 | 0.0019363 | 0.00048528 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3253-1_0_2_load_171 | 78 | 0.0019382 | 0.00048575 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3253-1_0_2_load_186 | 79 | 0.002274 | 0.00056992 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3253-1_0_2_load_163 | 80 | 0.0019754 | 0.00049509 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3253-1_0_2_load_164 | 81 | 0.0019732 | 0.00049454 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3253-1_0_2_load_165 | 82 | 0.0019769 | 0.00049546 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3253-1_0_2_load_166 | 83 | 0.0019728 | 0.00049442 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3253-1_0_2_load_178 | 85 | 0.0017552 | 0.0004399 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3253-1_0_2_load_185 | 86 | 0.0019058 | 0.00047763 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3253-1_0_2_load_172 | 87 | 0.0019379 | 0.00048568 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3253-1_0_2_load_173 | 88 | 0.001908 | 0.00047819 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3253-1_0_2_load_177 | 89 | 0.0019086 | 0.00047835 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3253-1_0_2_load_182 | 90 | 0.0022493 | 0.00056373 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3253-1_0_2_load_184 | 92 | 0.0019768 | 0.00049544 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3253-1_0_2_load_188 | 93 | 0.0019723 | 0.00049431 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3253-1_0_2_load_192 | 94 | 0.00065596 | 0.0001644 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 67 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3253-1_0_2_line_0 |  | 0 | 1 | 0.012238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3253-1_0_2_line_1 |  | 1 | 2 | 0.0136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3253-1_0_2_line_2 |  | 1 | 3 | 0.040274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3253-1_0_2_line_3 |  | 1 | 4 | 0.01886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3253-1_0_2_line_4 |  | 2 | 5 | 0.024569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3253-1_0_2_line_5 |  | 3 | 6 | 0.003521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3253-1_0_2_line_6 |  | 4 | 7 | 0.0069707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3253-1_0_2_line_7 |  | 5 | 36 | 0.0070241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3253-1_0_2_line_8 |  | 6 | 51 | 0.02832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3253-1_0_2_line_9 |  | 7 | 58 | 0.016184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3253-1_0_2_line_10 |  | 8 | 9 | 0.0063513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3253-1_0_2_line_11 |  | 9 | 13 | 0.054218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3253-1_0_2_line_12 |  | 9 | 14 | 0.015856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3253-1_0_2_line_13 |  | 10 | 11 | 0.013422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3253-1_0_2_line_14 |  | 10 | 12 | 0.018768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3253-1_0_2_line_15 |  | 11 | 15 | 0.041622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3253-1_0_2_line_16 |  | 12 | 16 | 0.022629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3253-1_0_2_line_17 |  | 13 | 17 | 0.018982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3253-1_0_2_line_18 |  | 13 | 18 | 0.13837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3253-1_0_2_line_19 |  | 14 | 19 | 0.0030485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3253-1_0_2_line_20 |  | 15 | 27 | 0.037805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3253-1_0_2_line_21 |  | 16 | 54 | 0.0054662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3253-1_0_2_line_22 |  | 17 | 94 | 0.021436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3253-1_0_2_line_23 |  | 18 | 28 | 0.060275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3253-1_0_2_line_24 |  | 19 | 52 | 0.018336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3253-1_0_2_line_25 |  | 20 | 21 | 0.053903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3253-1_0_2_line_26 |  | 21 | 22 | 0.064036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3253-1_0_2_line_27 |  | 22 | 27 | 0.10587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3253-1_0_2_line_28 |  | 23 | 24 | 0.049147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3253-1_0_2_line_29 |  | 24 | 25 | 0.018944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3253-1_0_2_line_30 |  | 24 | 26 | 0.030937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3253-1_0_2_line_31 |  | 26 | 89 | 0.0083769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3253-1_0_2_line_32 |  | 28 | 29 | 0.024921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3253-1_0_2_line_33 |  | 30 | 31 | 0.0036953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3253-1_0_2_line_34 |  | 30 | 32 | 0.014831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3253-1_0_2_line_35 |  | 31 | 33 | 0.026056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3253-1_0_2_line_36 |  | 32 | 34 | 0.0038981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3253-1_0_2_line_37 |  | 33 | 35 | 0.015426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3253-1_0_2_line_38 |  | 33 | 36 | 0.015167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3253-1_0_2_line_39 |  | 33 | 37 | 0.025736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3253-1_0_2_line_40 |  | 34 | 38 | 0.010124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3253-1_0_2_line_41 |  | 35 | 69 | 0.031321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3253-1_0_2_line_42 |  | 37 | 57 | 0.014609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3253-1_0_2_line_43 |  | 38 | 53 | 0.0080815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3253-1_0_2_line_44 |  | 39 | 40 | 0.0060035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3253-1_0_2_line_45 |  | 39 | 41 | 0.016272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3253-1_0_2_line_46 |  | 41 | 42 | 0.0039512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3253-1_0_2_line_47 |  | 42 | 43 | 0.016579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3253-1_0_2_line_48 |  | 42 | 44 | 0.048018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3253-1_0_2_line_49 |  | 43 | 55 | 0.0093861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3253-1_0_2_line_50 |  | 45 | 46 | 0.033372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3253-1_0_2_line_51 |  | 46 | 47 | 0.017352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3253-1_0_2_line_52 |  | 46 | 48 | 0.014053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3253-1_0_2_line_53 |  | 47 | 90 | 1.4973e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3253-1_0_2_line_54 |  | 48 | 70 | 0.01305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3253-1_0_2_line_55 |  | 49 | 50 | 0.020088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3253-1_0_2_line_56 |  | 49 | 51 | 0.00073622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3253-1_0_2_line_57 |  | 50 | 52 | 0.0015448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3253-1_0_2_line_58 |  | 53 | 54 | 0.01834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3253-1_0_2_line_59 |  | 54 | 61 | 0.01334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3253-1_0_2_line_60 |  | 55 | 56 | 0.0088438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3253-1_0_2_line_61 |  | 56 | 57 | 0.003139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3253-1_0_2_line_62 |  | 58 | 59 | 0.021484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3253-1_0_2_line_63 |  | 59 | 60 | 0.023573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3253-1_0_2_line_64 |  | 61 | 62 | 0.0094247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3253-1_0_2_line_65 |  | 62 | 63 | 0.0094934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3253-1_0_2_line_66 |  | 62 | 64 | 0.01038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3253-1_0_2_line_67 |  | 63 | 65 | 0.0081198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3253-1_0_2_line_68 |  | 64 | 66 | 0.0081189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3253-1_0_2_line_69 |  | 66 | 72 | 0.007231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3253-1_0_2_line_70 |  | 67 | 68 | 0.03997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3253-1_0_2_line_71 |  | 67 | 69 | 0.013446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3253-1_0_2_line_72 |  | 68 | 70 | 0.019455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3253-1_0_2_line_73 |  | 70 | 71 | 0.01892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3253-1_0_2_line_74 |  | 71 | 79 | 0.017765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3253-1_0_2_line_75 |  | 73 | 74 | 0.0098049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3253-1_0_2_line_76 |  | 73 | 75 | 0.021283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3253-1_0_2_line_77 |  | 74 | 76 | 0.0028764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3253-1_0_2_line_78 |  | 75 | 77 | 0.00077969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3253-1_0_2_line_79 |  | 76 | 78 | 0.012733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3253-1_0_2_line_80 |  | 77 | 79 | 0.0119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3253-1_0_2_line_81 |  | 78 | 87 | 0.01155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3253-1_0_2_line_82 |  | 80 | 81 | 0.013626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3253-1_0_2_line_83 |  | 80 | 82 | 0.00094458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3253-1_0_2_line_84 |  | 81 | 83 | 0.00094496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3253-1_0_2_line_85 |  | 82 | 84 | 0.011724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3253-1_0_2_line_86 |  | 83 | 85 | 0.0048077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3253-1_0_2_line_87 |  | 84 | 86 | 0.020817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3253-1_0_2_line_88 |  | 86 | 91 | 0.019622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3253-1_0_2_line_89 |  | 87 | 88 | 0.0059822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3253-1_0_2_line_90 |  | 88 | 89 | 0.0063238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_3253-1_0_2_line_91 |  | 90 | 91 | 0.012283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_3253-1_0_2_line_92 |  | 91 | 92 | 0.012701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_3253-1_0_2_line_93 |  | 92 | 93 | 0.014568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3253-1_0_2_trafo_144 | 0.63 MVA 20/0.4 kV | 95 | 67 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2760753.8323 | 1250925.0092 | 2760762.0472 | 1250934.0803
1 | 2760753.8323 | 1250925.0092 | 2760744.4939 | 1250915.1227
2 | 2760753.8323 | 1250925.0092 | 2760780.072 | 1250894.4569
3 | 2760753.8323 | 1250925.0092 | 2760742.3719 | 1250939.9873
4 | 2760744.4939 | 1250915.1227 | 2760727.6234 | 1250897.262
5 | 2760780.072 | 1250894.4569 | 2760782.366 | 1250891.7858
6 | 2760742.3719 | 1250939.9873 | 2760738.136 | 1250945.5234
7 | 2760722.8001 | 1250892.1556 | 2760727.6234 | 1250897.262
8 | 2760800.8172 | 1250870.302 | 2760782.366 | 1250891.7858
9 | 2760738.136 | 1250945.5234 | 2760728.3013 | 1250958.377
10 | 2760839.655 | 1250825.0809 | 2760835.3502 | 1250820.411
11 | 2760876.1483 | 1250865.2787 | 2760847.8314 | 1250834.123 | 2760839.655 | 1250825.0809
12 | 2760839.655 | 1250825.0809 | 2760829.3243 | 1250837.1096
13 | 2760803.9927 | 1250786.2517 | 2760797.4441 | 1250774.5359
14 | 2760803.9927 | 1250786.2517 | 2760790.9631 | 1250799.7598
15 | 2760777.3379 | 1250738.0931 | 2760784.5459 | 1250751.3665 | 2760788.8295 | 1250759.1239 | 2760797.4441 | 1250774.5359
16 | 2760775.2531 | 1250816.0468 | 2760790.9631 | 1250799.7598
17 | 2760876.1483 | 1250865.2787 | 2760863.2513 | 1250879.2064
18 | 2760876.1483 | 1250865.2787 | 2761003.2472 | 1250810.5857
19 | 2760829.3243 | 1250837.1096 | 2760827.3381 | 1250839.4222
20 | 2760777.3379 | 1250738.0931 | 2760759.2969 | 1250704.8705
21 | 2760771.4583 | 1250819.981 | 2760775.2531 | 1250816.0468
22 | 2760863.2513 | 1250879.2064 | 2760848.6867 | 1250894.9348
23 | 2761003.2472 | 1250810.5857 | 2761001.5677 | 1250797.0708 | 2761002.1408 | 1250775.9984 | 2761003.6818 | 1250750.4692
24 | 2760815.3916 | 1250853.3322 | 2760827.3381 | 1250839.4222
25 | 2760707.3051 | 1250609.1277 | 2760683.0689 | 1250619.5812 | 2760671.3986 | 1250627.6508 | 2760661.0928 | 1250636.0895
26 | 2760707.3051 | 1250609.1277 | 2760717.3899 | 1250605.7644 | 2760732.5255 | 1250603.0499 | 2760770.3949 | 1250599.5822
27 | 2760759.2969 | 1250704.8705 | 2760770.3949 | 1250599.5822
28 | 2760504.4754 | 1250764.3329 | 2760542.5012 | 1250733.1962
29 | 2760504.4754 | 1250764.3329 | 2760491.2172 | 1250777.8644
30 | 2760529.0482 | 1250781.8272 | 2760526.5918 | 1250781.883 | 2760523.3453 | 1250780.9942 | 2760504.4754 | 1250764.3329
31 | 2760529.0482 | 1250781.8272 | 2760535.4805 | 1250776.4608
32 | 2761004.9862 | 1250725.583 | 2761004.5766 | 1250733.6439 | 2761004.0376 | 1250744.5736 | 2761003.6818 | 1250750.4692
33 | 2760732.944 | 1250859.6287 | 2760730.3691 | 1250862.2793
34 | 2760732.944 | 1250859.6287 | 2760743.2777 | 1250848.9909
35 | 2760712.3854 | 1250881.1296 | 2760716.9716 | 1250876.0711 | 2760730.3691 | 1250862.2793
36 | 2760745.9938 | 1250846.1949 | 2760743.2777 | 1250848.9909
37 | 2760712.3854 | 1250881.1296 | 2760701.8004 | 1250869.9089
38 | 2760712.3854 | 1250881.1296 | 2760722.8001 | 1250892.1556
39 | 2760712.3854 | 1250881.1296 | 2760695.6977 | 1250900.7224
40 | 2760745.9938 | 1250846.1949 | 2760753.0483 | 1250838.9327
41 | 2760680.308 | 1250847.1255 | 2760701.8004 | 1250869.9089
42 | 2760695.6977 | 1250900.7224 | 2760686.2252 | 1250911.8439
43 | 2760758.6794 | 1250833.136 | 2760753.0483 | 1250838.9327
44 | 2760648.5063 | 1250956.129 | 2760644.6135 | 1250960.6994
45 | 2760648.5063 | 1250956.129 | 2760659.0574 | 1250943.7411
46 | 2760659.0574 | 1250943.7411 | 2760661.6194 | 1250940.7331
47 | 2760672.3693 | 1250928.1118 | 2760661.6194 | 1250940.7331
48 | 2760661.6194 | 1250940.7331 | 2760626.9171 | 1250907.5448
49 | 2760678.4553 | 1250920.9663 | 2760672.3693 | 1250928.1118
50 | 2760598.9763 | 1250845.0857 | 2760595.5902 | 1250849.3427 | 2760571.1661 | 1250862.8951
51 | 2760598.9763 | 1250845.0857 | 2760593.4645 | 1250841.9443 | 2760585.2801 | 1250834.5828
52 | 2760598.9763 | 1250845.0857 | 2760604.5987 | 1250844.1482 | 2760611.8536 | 1250840.0086
53 | 2760585.2801 | 1250834.5828 | 2760585.269 | 1250834.5728
54 | 2760623.1882 | 1250833.5412 | 2760611.8536 | 1250840.0086
55 | 2760801.2969 | 1250869.7434 | 2760814.3851 | 1250854.5041
56 | 2760800.8172 | 1250870.302 | 2760801.2969 | 1250869.7434
57 | 2760814.3851 | 1250854.5041 | 2760815.3916 | 1250853.3322
58 | 2760771.4583 | 1250819.981 | 2760758.6794 | 1250833.136
59 | 2760771.4583 | 1250819.981 | 2760762.6248 | 1250809.984
60 | 2760678.4553 | 1250920.9663 | 2760684.1898 | 1250914.2336
61 | 2760686.2252 | 1250911.8439 | 2760684.1898 | 1250914.2336
62 | 2760715.246 | 1250975.4395 | 2760728.3013 | 1250958.377
63 | 2760700.9216 | 1250994.1608 | 2760715.246 | 1250975.4395
64 | 2760756.3842 | 1250802.9215 | 2760762.6248 | 1250809.984
65 | 2760756.3842 | 1250802.9215 | 2760764.9713 | 1250798.8733
66 | 2760756.3842 | 1250802.9215 | 2760746.9943 | 1250807.3466
67 | 2760764.9713 | 1250798.8733 | 2760772.3159 | 1250795.4109
68 | 2760739.6501 | 1250810.8077 | 2760746.9943 | 1250807.3466
69 | 2760733.1091 | 1250813.8902 | 2760739.6501 | 1250810.8077
70 | 2760641.0114 | 1250826.2507 | 2760650.8419 | 1250820.1438 | 2760655.3699 | 1250819.4548 | 2760661.4799 | 1250825.6044 | 2760671.4541 | 1250837.0053
71 | 2760680.308 | 1250847.1255 | 2760671.4541 | 1250837.0053
72 | 2760623.1882 | 1250833.5412 | 2760634.0472 | 1250830.577 | 2760641.0114 | 1250826.2507
73 | 2760623.1882 | 1250833.5412 | 2760623.0759 | 1250827.0983 | 2760614.0468 | 1250818.489
74 | 2760601.0633 | 1250806.3642 | 2760610.3013 | 1250814.9176 | 2760614.0468 | 1250818.489
75 | 2760576.1428 | 1250783.2903 | 2760568.9483 | 1250776.6289
76 | 2760576.1428 | 1250783.2903 | 2760591.7595 | 1250797.7498
77 | 2760568.9483 | 1250776.6289 | 2760566.8376 | 1250774.6746
78 | 2760592.3316 | 1250798.2795 | 2760591.7595 | 1250797.7498
79 | 2760556.1216 | 1250767.8242 | 2760566.2091 | 1250774.0927 | 2760566.8376 | 1250774.6746
80 | 2760601.0633 | 1250806.3642 | 2760592.3316 | 1250798.2795
81 | 2760556.1216 | 1250767.8242 | 2760556.1216 | 1250767.8242 | 2760551.0132 | 1250766.7959 | 2760544.9297 | 1250768.5774 | 2760544.9297 | 1250768.5774
82 | 2760537.3165 | 1250808.4953 | 2760527.912 | 1250818.3561
83 | 2760537.3165 | 1250808.4953 | 2760537.9684 | 1250807.8118
84 | 2760527.2598 | 1250819.0399 | 2760527.912 | 1250818.3561
85 | 2760546.0598 | 1250799.328 | 2760537.9684 | 1250807.8118
86 | 2760523.9417 | 1250822.519 | 2760527.2598 | 1250819.0399
87 | 2760546.0598 | 1250799.328 | 2760561.5425 | 1250813.2427
88 | 2760576.1369 | 1250826.359 | 2760561.5425 | 1250813.2427
89 | 2760544.9297 | 1250768.5774 | 2760540.3362 | 1250772.4097
90 | 2760540.3362 | 1250772.4097 | 2760535.4805 | 1250776.4608
91 | 2760576.1369 | 1250826.359 | 2760585.269 | 1250834.5728
92 | 2760576.1369 | 1250826.359 | 2760567.3293 | 1250835.5107
93 | 2760557.2275 | 1250846.0073 | 2760567.3293 | 1250835.5107

## bus_geodata
| x | y | coords
0 | 2760762.0472 | 1250934.0803
1 | 2760753.8323 | 1250925.0092
2 | 2760744.4939 | 1250915.1227
3 | 2760780.072 | 1250894.4569
4 | 2760742.3719 | 1250939.9873
5 | 2760727.6234 | 1250897.262
6 | 2760782.366 | 1250891.7858
7 | 2760738.136 | 1250945.5234
8 | 2760835.3502 | 1250820.411
9 | 2760839.655 | 1250825.0809
10 | 2760803.9927 | 1250786.2517
11 | 2760797.4441 | 1250774.5359
12 | 2760790.9631 | 1250799.7598
13 | 2760876.1483 | 1250865.2787
14 | 2760829.3243 | 1250837.1096
15 | 2760777.3379 | 1250738.0931
16 | 2760775.2531 | 1250816.0468
17 | 2760863.2513 | 1250879.2064
18 | 2761003.2472 | 1250810.5857
19 | 2760827.3381 | 1250839.4222
20 | 2760661.0928 | 1250636.0895
21 | 2760707.3051 | 1250609.1277
22 | 2760770.3949 | 1250599.5822
23 | 2760542.5012 | 1250733.1962
24 | 2760504.4754 | 1250764.3329
25 | 2760491.2172 | 1250777.8644
26 | 2760529.0482 | 1250781.8272
27 | 2760759.2969 | 1250704.8705
28 | 2761003.6818 | 1250750.4692
29 | 2761004.9862 | 1250725.583
30 | 2760732.944 | 1250859.6287
31 | 2760730.3691 | 1250862.2793
32 | 2760743.2777 | 1250848.9909
33 | 2760712.3854 | 1250881.1296
34 | 2760745.9938 | 1250846.1949
35 | 2760701.8004 | 1250869.9089
36 | 2760722.8001 | 1250892.1556
37 | 2760695.6977 | 1250900.7224
38 | 2760753.0483 | 1250838.9327
39 | 2760648.5063 | 1250956.129
40 | 2760644.6135 | 1250960.6994
41 | 2760659.0574 | 1250943.7411
42 | 2760661.6194 | 1250940.7331
43 | 2760672.3693 | 1250928.1118
44 | 2760626.9171 | 1250907.5448
45 | 2760571.1661 | 1250862.8951
46 | 2760598.9763 | 1250845.0857
47 | 2760585.2801 | 1250834.5828
48 | 2760611.8536 | 1250840.0086
49 | 2760801.2969 | 1250869.7434
50 | 2760814.3851 | 1250854.5041
51 | 2760800.8172 | 1250870.302
52 | 2760815.3916 | 1250853.3322
53 | 2760758.6794 | 1250833.136
54 | 2760771.4583 | 1250819.981
55 | 2760678.4553 | 1250920.9663
56 | 2760684.1898 | 1250914.2336
57 | 2760686.2252 | 1250911.8439
58 | 2760728.3013 | 1250958.377
59 | 2760715.246 | 1250975.4395
60 | 2760700.9216 | 1250994.1608
61 | 2760762.6248 | 1250809.984
62 | 2760756.3842 | 1250802.9215
63 | 2760764.9713 | 1250798.8733
64 | 2760746.9943 | 1250807.3466
65 | 2760772.3159 | 1250795.4109
66 | 2760739.6501 | 1250810.8077
67 | 2760671.4541 | 1250837.0053
68 | 2760641.0114 | 1250826.2507
69 | 2760680.308 | 1250847.1255
70 | 2760623.1882 | 1250833.5412
71 | 2760614.0468 | 1250818.489
72 | 2760733.1091 | 1250813.8902
73 | 2760576.1428 | 1250783.2903
74 | 2760568.9483 | 1250776.6289
75 | 2760591.7595 | 1250797.7498
76 | 2760566.8376 | 1250774.6746
77 | 2760592.3316 | 1250798.2795
78 | 2760556.1216 | 1250767.8242
79 | 2760601.0633 | 1250806.3642
80 | 2760537.3165 | 1250808.4953
81 | 2760527.912 | 1250818.3561
82 | 2760537.9684 | 1250807.8118
83 | 2760527.2598 | 1250819.0399
84 | 2760546.0598 | 1250799.328
85 | 2760523.9417 | 1250822.519
86 | 2760561.5425 | 1250813.2427
87 | 2760544.9297 | 1250768.5774
88 | 2760540.3362 | 1250772.4097
89 | 2760535.4805 | 1250776.4608
90 | 2760585.269 | 1250834.5728
91 | 2760576.1369 | 1250826.359
92 | 2760567.3293 | 1250835.5107
93 | 2760557.2275 | 1250846.0073
94 | 2760848.6867 | 1250894.9348
95 | 2760680.308 | 1250847.1255

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1