## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3271-30_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3271-30_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3271-30_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3271-30_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3271-30_0_3_node_10 | 0.4 | n |  | TRUE
5 | bus_LV_3271-30_0_3_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_3271-30_0_3_node_66 | 0.4 | n |  | TRUE
7 | bus_LV_3271-30_0_3_node_26 | 0.4 | n |  | TRUE
8 | bus_LV_3271-30_0_3_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_3271-30_0_3_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_3271-30_0_3_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_3271-30_0_3_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_3271-30_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_3271-30_0_3_node_39 | 0.4 | n |  | TRUE
14 | bus_LV_3271-30_0_3_node_28 | 0.4 | n |  | TRUE
15 | bus_LV_3271-30_0_3_node_24 | 0.4 | n |  | TRUE
16 | bus_LV_3271-30_0_3_node_48 | 0.4 | n |  | TRUE
17 | bus_LV_3271-30_0_3_node_44 | 0.4 | n |  | TRUE
18 | bus_LV_3271-30_0_3_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_3271-30_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_3271-30_0_3_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_3271-30_0_3_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_3271-30_0_3_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_3271-30_0_3_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_3271-30_0_3_node_38 | 0.4 | n |  | TRUE
25 | bus_LV_3271-30_0_3_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_3271-30_0_3_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_3271-30_0_3_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_3271-30_0_3_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_3271-30_0_3_node_36 | 0.4 | n |  | TRUE
30 | bus_LV_3271-30_0_3_node_37 | 0.4 | n |  | TRUE
31 | bus_LV_3271-30_0_3_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_3271-30_0_3_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_3271-30_0_3_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_3271-30_0_3_node_55 | 0.4 | n |  | TRUE
35 | bus_LV_3271-30_0_3_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_3271-30_0_3_node_56 | 0.4 | n |  | TRUE
37 | bus_LV_3271-30_0_3_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_3271-30_0_3_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_3271-30_0_3_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_3271-30_0_3_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_3271-30_0_3_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_3271-30_0_3_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_3271-30_0_3_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_3271-30_0_3_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_3271-30_0_3_node_63 | 0.4 | n |  | TRUE
46 | bus_LV_3271-30_0_3_node_86 | 0.4 | n |  | TRUE
47 | bus_LV_3271-30_0_3_node_81 | 0.4 | n |  | TRUE
48 | bus_LV_3271-30_0_3_node_71 | 0.4 | n |  | TRUE
49 | bus_LV_3271-30_0_3_node_64 | 0.4 | n |  | TRUE
50 | bus_LV_3271-30_0_3_node_62 | 0.4 | n |  | TRUE
51 | bus_LV_3271-30_0_3_node_87 | 0.4 | n |  | TRUE
52 | bus_LV_3271-30_0_3_node_78 | 0.4 | n |  | TRUE
53 | bus_LV_3271-30_0_3_node_69 | 0.4 | n |  | TRUE
54 | bus_LV_3271-30_0_3_node_75 | 0.4 | n |  | TRUE
55 | bus_LV_3271-30_0_3_node_74 | 0.4 | n |  | TRUE
56 | bus_LV_3271-30_0_3_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_3271-30_0_3_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_3271-30_0_3_node_46 | 0.4 | n |  | TRUE
59 | bus_LV_3271-30_0_3_node_40 | 0.4 | n |  | TRUE
60 | bus_LV_3271-30_0_3_node_41 | 0.4 | n |  | TRUE
61 | bus_LV_3271-30_0_3_node_42 | 0.4 | n |  | TRUE
62 | bus_LV_3271-30_0_3_node_43 | 0.4 | n |  | TRUE
63 | bus_LV_3271-30_0_3_node_49 | 0.4 | n |  | TRUE
64 | bus_LV_3271-30_0_3_node_45 | 0.4 | n |  | TRUE
65 | bus_LV_3271-30_0_3_node_51 | 0.4 | n |  | TRUE
66 | bus_LV_3271-30_0_3_node_52 | 0.4 | n |  | TRUE
67 | bus_LV_3271-30_0_3_node_53 | 0.4 | n |  | TRUE
68 | bus_LV_3271-30_0_3_node_54 | 0.4 | n |  | TRUE
69 | bus_LV_3271-30_0_3_node_57 | 0.4 | n |  | TRUE
70 | bus_LV_3271-30_0_3_node_58 | 0.4 | n |  | TRUE
71 | bus_LV_3271-30_0_3_node_59 | 0.4 | n |  | TRUE
72 | bus_LV_3271-30_0_3_node_60 | 0.4 | n |  | TRUE
73 | bus_LV_3271-30_0_3_node_65 | 0.4 | n |  | TRUE
74 | bus_LV_3271-30_0_3_node_67 | 0.4 | n |  | TRUE
75 | bus_LV_3271-30_0_3_node_68 | 0.4 | n |  | TRUE
76 | bus_LV_3271-30_0_3_node_70 | 0.4 | n |  | TRUE
77 | bus_LV_3271-30_0_3_node_72 | 0.4 | n |  | TRUE
78 | bus_LV_3271-30_0_3_node_73 | 0.4 | n |  | TRUE
79 | bus_LV_3271-30_0_3_node_76 | 0.4 | n |  | TRUE
80 | bus_LV_3271-30_0_3_node_77 | 0.4 | n |  | TRUE
81 | bus_LV_3271-30_0_3_node_80 | 0.4 | n |  | TRUE
82 | bus_LV_3271-30_0_3_node_85 | 0.4 | n |  | TRUE
83 | bus_LV_3271-30_0_3_node_84 | 0.4 | n |  | TRUE
84 | bus_LV_3271-30_0_3_node_82 | 0.4 | n |  | TRUE
85 | bus_LV_3271-30_0_3_node_83 | 0.4 | n |  | TRUE
86 | bus_LV_3271-30_0_3_node_88 | 0.4 | n |  | TRUE
87 | bus_LV_3271-30_0_3_node_89 | 0.4 | n |  | TRUE
88 | bus_LV_3271-30_0_3_node_90 | 0.4 | n |  | TRUE
89 | bus_MV_53_0_node_103 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3271-30_0_3_load_0 | 0 | 0.0047844 | 0.0011991 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3271-30_0_3_load_1 | 1 | 0.0029837 | 0.00074779 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3271-30_0_3_load_2 | 2 | 0.0075179 | 0.0018842 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3271-30_0_3_load_9 | 5 | 0.0054025 | 0.001354 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3271-30_0_3_load_66 | 6 | 0.0079733 | 0.0019983 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3271-30_0_3_load_7 | 8 | 0.0061953 | 0.0015527 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3271-30_0_3_load_4 | 9 | 0.0076983 | 0.0019294 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3271-30_0_3_load_5 | 10 | 0.0046044 | 0.001154 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3271-30_0_3_load_6 | 11 | 0.012501 | 0.003133 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3271-30_0_3_load_8 | 12 | 0.018379 | 0.0046063 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3271-30_0_3_load_28 | 14 | 0.0036963 | 0.00092637 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3271-30_0_3_load_24 | 15 | 0.0022399 | 0.00056137 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3271-30_0_3_load_48 | 16 | 0.0026598 | 0.00066662 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3271-30_0_3_load_11 | 18 | 0.003823 | 0.00095814 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3271-30_0_3_load_12 | 19 | 0.0027244 | 0.00068279 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3271-30_0_3_load_13 | 20 | 0.0031828 | 0.00079767 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3271-30_0_3_load_14 | 21 | 0.0033923 | 0.0008502 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3271-30_0_3_load_15 | 22 | 0.008685 | 0.0021767 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3271-30_0_3_load_23 | 23 | 0.00175 | 0.0004386 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3271-30_0_3_load_38 | 24 | 0.0051192 | 0.001283 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3271-30_0_3_load_21 | 25 | 0.0046112 | 0.0011557 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3271-30_0_3_load_16 | 26 | 0.0025954 | 0.00065046 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3271-30_0_3_load_17 | 27 | 0.0014866 | 0.00037258 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3271-30_0_3_load_18 | 28 | 0.0029962 | 0.00075093 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3271-30_0_3_load_19 | 31 | 0.0029107 | 0.0007295 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3271-30_0_3_load_20 | 32 | 0.0014326 | 0.00035905 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3271-30_0_3_load_55 | 34 | 0.0014925 | 0.00037406 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3271-30_0_3_load_32 | 35 | 0.0036194 | 0.00090711 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3271-30_0_3_load_56 | 36 | 0.0028816 | 0.00072219 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3271-30_0_3_load_25 | 37 | 0.002556 | 0.0006406 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3271-30_0_3_load_27 | 38 | 0.007232 | 0.0018125 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3271-30_0_3_load_29 | 39 | 0.0027283 | 0.00068378 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3271-30_0_3_load_33 | 42 | 0.0031348 | 0.00078565 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3271-30_0_3_load_34 | 43 | 0.002464 | 0.00061754 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3271-30_0_3_load_86 | 46 | 0.0033828 | 0.0008478 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3271-30_0_3_load_81 | 47 | 0.0023676 | 0.00059337 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3271-30_0_3_load_71 | 48 | 0.0012831 | 0.00032158 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3271-30_0_3_load_64 | 49 | 0.0042349 | 0.0010614 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3271-30_0_3_load_62 | 50 | 0.0032787 | 0.00082171 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3271-30_0_3_load_87 | 51 | 0.0019988 | 0.00050095 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3271-30_0_3_load_69 | 53 | 0.0015594 | 0.00039082 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3271-30_0_3_load_75 | 54 | 0.0031967 | 0.00080116 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3271-30_0_3_load_74 | 55 | 0.0015234 | 0.00038179 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3271-30_0_3_load_46 | 58 | 0.0067014 | 0.0016795 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3271-30_0_3_load_40 | 59 | 0.0020306 | 0.00050892 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3271-30_0_3_load_41 | 60 | 0.0023298 | 0.00058389 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3271-30_0_3_load_43 | 62 | 0.0045278 | 0.0011348 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3271-30_0_3_load_49 | 63 | 0.0085505 | 0.002143 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3271-30_0_3_load_45 | 64 | 0.0071739 | 0.0017979 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3271-30_0_3_load_52 | 66 | 0.011451 | 0.0028698 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3271-30_0_3_load_53 | 67 | 0.0095605 | 0.0023961 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3271-30_0_3_load_54 | 68 | 0.011941 | 0.0029928 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3271-30_0_3_load_57 | 69 | 0.0025775 | 0.00064599 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3271-30_0_3_load_58 | 70 | 0.0064385 | 0.0016137 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3271-30_0_3_load_59 | 71 | 0.0045572 | 0.0011421 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3271-30_0_3_load_60 | 72 | 0.0030253 | 0.00075821 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3271-30_0_3_load_65 | 73 | 0.0011787 | 0.0002954 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3271-30_0_3_load_67 | 74 | 0.0015542 | 0.00038953 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3271-30_0_3_load_68 | 75 | 0.0017449 | 0.00043731 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3271-30_0_3_load_70 | 76 | 0.0016024 | 0.0004016 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3271-30_0_3_load_72 | 77 | 0.0014756 | 0.00036982 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3271-30_0_3_load_73 | 78 | 0.0016533 | 0.00041436 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3271-30_0_3_load_76 | 79 | 0.0019949 | 0.00049998 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3271-30_0_3_load_77 | 80 | 0.0013411 | 0.00033611 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3271-30_0_3_load_80 | 81 | 0.0030775 | 0.00077129 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3271-30_0_3_load_85 | 82 | 0.0023618 | 0.00059193 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3271-30_0_3_load_84 | 83 | 0.0018544 | 0.00046477 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3271-30_0_3_load_82 | 84 | 0.0016628 | 0.00041674 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3271-30_0_3_load_83 | 85 | 0.0014349 | 0.00035963 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3271-30_0_3_load_88 | 86 | 0.0027684 | 0.00069383 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3271-30_0_3_load_89 | 87 | 0.0032316 | 0.00080991 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3271-30_0_3_load_90 | 88 | 0.0027141 | 0.00068022 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3271-30_0_3_line_0 |  | 0 | 1 | 0.016848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3271-30_0_3_line_1 |  | 1 | 2 | 0.013151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3271-30_0_3_line_2 |  | 2 | 3 | 0.019972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3271-30_0_3_line_3 |  | 3 | 4 | 0.029735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3271-30_0_3_line_4 |  | 3 | 5 | 0.052208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3271-30_0_3_line_5 |  | 4 | 6 | 0.031199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_3271-30_0_3_line_6 |  | 4 | 7 | 0.023328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3271-30_0_3_line_7 |  | 5 | 8 | 0.034152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3271-30_0_3_line_8 |  | 6 | 13 | 0.016747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_3271-30_0_3_line_9 |  | 7 | 14 | 0.015127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3271-30_0_3_line_10 |  | 7 | 15 | 0.018827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3271-30_0_3_line_11 |  | 8 | 10 | 0.005403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3271-30_0_3_line_12 |  | 9 | 10 | 0.04939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3271-30_0_3_line_13 |  | 9 | 11 | 0.024383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3271-30_0_3_line_14 |  | 11 | 12 | 0.035182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3271-30_0_3_line_15 |  | 13 | 56 | 0.031512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3271-30_0_3_line_16 |  | 13 | 24 | 0.026723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_3271-30_0_3_line_17 |  | 14 | 29 | 0.03304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3271-30_0_3_line_18 |  | 15 | 37 | 0.015375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3271-30_0_3_line_19 |  | 16 | 17 | 0.030813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3271-30_0_3_line_20 |  | 17 | 64 | 0.024538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3271-30_0_3_line_21 |  | 17 | 61 | 0.026103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3271-30_0_3_line_22 |  | 18 | 19 | 0.017447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3271-30_0_3_line_23 |  | 18 | 20 | 0.0029953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3271-30_0_3_line_24 |  | 19 | 21 | 0.0010495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3271-30_0_3_line_25 |  | 20 | 22 | 0.024352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3271-30_0_3_line_26 |  | 21 | 23 | 0.020324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3271-30_0_3_line_27 |  | 22 | 24 | 0.031057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3271-30_0_3_line_28 |  | 23 | 25 | 0.0011387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3271-30_0_3_line_29 |  | 25 | 31 | 0.015811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3271-30_0_3_line_30 |  | 26 | 27 | 0.040735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3271-30_0_3_line_31 |  | 27 | 28 | 0.021205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3271-30_0_3_line_32 |  | 28 | 29 | 0.017393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3271-30_0_3_line_33 |  | 29 | 30 | 0.042133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3271-30_0_3_line_34 |  | 30 | 54 | 0.019187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3271-30_0_3_line_35 |  | 31 | 32 | 0.0082823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3271-30_0_3_line_36 |  | 32 | 33 | 0.012346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3271-30_0_3_line_37 |  | 33 | 34 | 0.0079602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3271-30_0_3_line_38 |  | 33 | 35 | 0.013244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3271-30_0_3_line_39 |  | 34 | 36 | 0.019259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3271-30_0_3_line_40 |  | 36 | 69 | 0.0099225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3271-30_0_3_line_41 |  | 37 | 38 | 0.0037657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3271-30_0_3_line_42 |  | 39 | 40 | 0.023276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3271-30_0_3_line_43 |  | 39 | 41 | 0.0071838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3271-30_0_3_line_44 |  | 40 | 42 | 0.026259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3271-30_0_3_line_45 |  | 41 | 43 | 0.016742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3271-30_0_3_line_46 |  | 41 | 44 | 0.005863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3271-30_0_3_line_47 |  | 42 | 45 | 0.0076741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3271-30_0_3_line_48 |  | 43 | 46 | 0.0049069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3271-30_0_3_line_49 |  | 44 | 47 | 0.024862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3271-30_0_3_line_50 |  | 44 | 48 | 0.039073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3271-30_0_3_line_51 |  | 45 | 49 | 0.037574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3271-30_0_3_line_52 |  | 45 | 50 | 0.028336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3271-30_0_3_line_53 |  | 46 | 51 | 0.017917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3271-30_0_3_line_54 |  | 47 | 52 | 0.019588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3271-30_0_3_line_55 |  | 48 | 53 | 0.013758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3271-30_0_3_line_56 |  | 49 | 73 | 0.054667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3271-30_0_3_line_57 |  | 51 | 86 | 0.002634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3271-30_0_3_line_58 |  | 52 | 81 | 0.016971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3271-30_0_3_line_59 |  | 52 | 79 | 0.011672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3271-30_0_3_line_60 |  | 53 | 74 | 0.0080121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3271-30_0_3_line_61 |  | 54 | 55 | 0.020531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3271-30_0_3_line_62 |  | 55 | 78 | 0.016029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3271-30_0_3_line_63 |  | 56 | 57 | 0.026421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3271-30_0_3_line_64 |  | 56 | 58 | 0.027135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3271-30_0_3_line_65 |  | 57 | 65 | 0.01348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3271-30_0_3_line_66 |  | 57 | 63 | 0.015374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3271-30_0_3_line_67 |  | 59 | 60 | 0.035311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3271-30_0_3_line_68 |  | 59 | 61 | 0.0096161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3271-30_0_3_line_69 |  | 60 | 62 | 0.02056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3271-30_0_3_line_70 |  | 62 | 63 | 0.038477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3271-30_0_3_line_71 |  | 65 | 66 | 0.025977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3271-30_0_3_line_72 |  | 66 | 67 | 0.0031548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3271-30_0_3_line_73 |  | 67 | 68 | 0.035765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3271-30_0_3_line_74 |  | 69 | 70 | 0.005779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3271-30_0_3_line_75 |  | 70 | 71 | 0.013464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3271-30_0_3_line_76 |  | 71 | 72 | 0.0028897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3271-30_0_3_line_77 |  | 74 | 75 | 0.015678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3271-30_0_3_line_78 |  | 75 | 76 | 0.0025402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3271-30_0_3_line_79 |  | 76 | 77 | 0.017528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3271-30_0_3_line_80 |  | 77 | 78 | 0.0020125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3271-30_0_3_line_81 |  | 79 | 80 | 0.0084544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3271-30_0_3_line_82 |  | 81 | 82 | 0.027601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3271-30_0_3_line_83 |  | 82 | 83 | 0.0095622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3271-30_0_3_line_84 |  | 83 | 85 | 0.0092227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3271-30_0_3_line_85 |  | 84 | 85 | 0.003813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3271-30_0_3_line_86 |  | 86 | 87 | 0.017243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3271-30_0_3_line_87 |  | 87 | 88 | 0.0013063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3271-30_0_3_trafo_38 | 0.63 MVA 20/0.4 kV | 89 | 24 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2754826.63 | 1224476.6028 | 2754826.5621 | 1224464.1975 | 2754827.1098 | 1224459.7884
1 | 2754827.1098 | 1224459.7884 | 2754828.7312 | 1224446.7379
2 | 2754834.6898 | 1224427.6754 | 2754828.7312 | 1224446.7379
3 | 2754834.6898 | 1224427.6754 | 2754838.4433 | 1224419.877 | 2754839.36 | 1224418.1771 | 2754846.7742 | 1224404.4017 | 2754848.6124 | 1224401.4024
4 | 2754834.6898 | 1224427.6754 | 2754783.4843 | 1224417.4925
5 | 2754848.6124 | 1224401.4024 | 2754856.0882 | 1224391.966 | 2754870.1546 | 1224378.9561
6 | 2754848.6124 | 1224401.4024 | 2754857.1432 | 1224423.122
7 | 2754750.0018 | 1224410.7614 | 2754766.3545 | 1224414.086 | 2754783.4843 | 1224417.4925
8 | 2754882.4494 | 1224367.5849 | 2754870.1546 | 1224378.9561
9 | 2754857.1432 | 1224423.122 | 2754862.5291 | 1224436.8413 | 2754862.6509 | 1224437.2098
10 | 2754857.1432 | 1224423.122 | 2754874.1754 | 1224415.1005
11 | 2754744.7071 | 1224409.685 | 2754750.0018 | 1224410.7614
12 | 2754696.3061 | 1224399.8498 | 2754734.2358 | 1224407.5561 | 2754744.7071 | 1224409.685
13 | 2754696.3061 | 1224399.8498 | 2754672.4112 | 1224394.9951
14 | 2754672.4112 | 1224394.9951 | 2754637.9331 | 1224387.9901
15 | 2754882.4494 | 1224367.5849 | 2754898.3454 | 1224352.6515 | 2754905.2094 | 1224345.7349
16 | 2754882.4494 | 1224367.5849 | 2754892.0584 | 1224373.8296 | 2754906.4378 | 1224378.947
17 | 2754873.0294 | 1224468.577 | 2754862.6509 | 1224437.2098
18 | 2754874.1754 | 1224415.1005 | 2754888.085 | 1224408.5497
19 | 2754811.6269 | 1224323.9027 | 2754823.4924 | 1224352.3396
20 | 2754811.6269 | 1224323.9027 | 2754835.6158 | 1224329.0639
21 | 2754811.6269 | 1224323.9027 | 2754808.508 | 1224313.145 | 2754805.2907 | 1224298.5925
22 | 2754980.5097 | 1224374.1805 | 2754963.6296 | 1224378.5926
23 | 2754960.7317 | 1224379.3501 | 2754963.6296 | 1224378.5926
24 | 2754981.5252 | 1224373.9151 | 2754980.5097 | 1224374.1805
25 | 2754936.8101 | 1224383.6874 | 2754952.1243 | 1224381.5999 | 2754960.7317 | 1224379.3501
26 | 2754981.5252 | 1224373.9151 | 2755001.1888 | 1224368.7754
27 | 2754936.8101 | 1224383.6874 | 2754932.8084 | 1224384.2329 | 2754914.2109 | 1224381.7133 | 2754906.4378 | 1224378.947
28 | 2755001.1888 | 1224368.7754 | 2755002.2905 | 1224368.4874
29 | 2755017.1951 | 1224363.3122 | 2755016.2249 | 1224363.808 | 2755007.9555 | 1224367.0067 | 2755002.2905 | 1224368.4874
30 | 2754945.319 | 1224435.8993 | 2754908.1684 | 1224452.6074
31 | 2754888.8636 | 1224461.3806 | 2754908.0461 | 1224452.6624 | 2754908.1684 | 1224452.6074
32 | 2754873.0294 | 1224468.577 | 2754888.8636 | 1224461.3806
33 | 2754873.0294 | 1224468.577 | 2754873.9669 | 1224471.6153 | 2754876.3863 | 1224479.5077 | 2754884.2545 | 1224509.1841
34 | 2754884.2545 | 1224509.1841 | 2754901.6215 | 1224501.0268
35 | 2755017.1951 | 1224363.3122 | 2755024.57 | 1224359.543
36 | 2755035.5631 | 1224353.9247 | 2755024.57 | 1224359.543
37 | 2755035.5631 | 1224353.9247 | 2755042.4077 | 1224349.8609
38 | 2755035.5631 | 1224353.9247 | 2755040.8378 | 1224366.0733
39 | 2755042.4077 | 1224349.8609 | 2755058.9682 | 1224340.0283
40 | 2755058.9682 | 1224340.0283 | 2755067.5002 | 1224334.9626
41 | 2754891.4918 | 1224406.9452 | 2754888.085 | 1224408.5497
42 | 2755035.9819 | 1224414.6914 | 2755029.4227 | 1224437.0243
43 | 2755027.3983 | 1224443.9169 | 2755029.4227 | 1224437.0243
44 | 2755035.9819 | 1224414.6914 | 2755061.5457 | 1224420.6937
45 | 2755027.3983 | 1224443.9169 | 2755043.6683 | 1224447.8627
46 | 2755025.757 | 1224449.546 | 2755027.3983 | 1224443.9169
47 | 2755069.0166 | 1224422.4479 | 2755061.5457 | 1224420.6937
48 | 2755043.6683 | 1224447.8627 | 2755048.437 | 1224449.0192
49 | 2755025.757 | 1224449.546 | 2755018.8628 | 1224473.4328
50 | 2755025.757 | 1224449.546 | 2755017.8363 | 1224449.8512 | 2755001.8047 | 1224453.9708 | 2754988.5951 | 1224460.1753
51 | 2755069.0166 | 1224422.4479 | 2755095.774 | 1224395.9984
52 | 2755069.0166 | 1224422.4479 | 2755096.7464 | 1224428.2756
53 | 2755048.437 | 1224449.0192 | 2755065.849 | 1224453.2419
54 | 2755013.4309 | 1224492.2531 | 2755018.8628 | 1224473.4328
55 | 2754976.1421 | 1224466.0245 | 2754988.5951 | 1224460.1753
56 | 2755095.774 | 1224395.9984 | 2755150.4147 | 1224394.3111
57 | 2755068.4089 | 1224453.8628 | 2755065.849 | 1224453.2419
58 | 2755013.4309 | 1224492.2531 | 2755029.8408 | 1224496.5809
59 | 2755013.4309 | 1224492.2531 | 2755009.969 | 1224503.4004
60 | 2754968.8901 | 1224469.4308 | 2754976.1421 | 1224466.0245
61 | 2754901.6215 | 1224501.0268 | 2754920.205 | 1224492.2981
62 | 2754920.205 | 1224492.2981 | 2754934.7135 | 1224485.4835
63 | 2754905.2094 | 1224345.7349 | 2754917.3532 | 1224331.271 | 2754921.6574 | 1224325.0551
64 | 2754905.2094 | 1224345.7349 | 2754897.0149 | 1224342.274 | 2754879.1838 | 1224338.4377
65 | 2754929.0823 | 1224313.7935 | 2754921.6574 | 1224325.0551
66 | 2754921.6574 | 1224325.0551 | 2754906.6664 | 1224321.646
67 | 2754814.6674 | 1224300.7248 | 2754849.0992 | 1224308.5548
68 | 2754805.2907 | 1224298.5925 | 2754814.6674 | 1224300.7248
69 | 2754849.0992 | 1224308.5548 | 2754869.1474 | 1224313.1139
70 | 2754906.6664 | 1224321.646 | 2754869.1474 | 1224313.1139
71 | 2754929.0823 | 1224313.7935 | 2754949.2777 | 1224330.132
72 | 2754949.2777 | 1224330.132 | 2754951.7304 | 1224332.1163
73 | 2754981.6335 | 1224338.0392 | 2754974.5774 | 1224342.4262 | 2754972.9487 | 1224343.4959 | 2754970.279 | 1224344.3383 | 2754967.7392 | 1224344.2721 | 2754965.4304 | 1224343.1999 | 2754951.7304 | 1224332.1163
74 | 2755072.4693 | 1224332.0122 | 2755067.5002 | 1224334.9626
75 | 2755072.4693 | 1224332.0122 | 2755084.0468 | 1224325.1383
76 | 2755084.0468 | 1224325.1383 | 2755086.5316 | 1224323.663
77 | 2754968.8901 | 1224469.4308 | 2754954.6996 | 1224476.096
78 | 2754952.4004 | 1224477.176 | 2754954.6996 | 1224476.096
79 | 2754952.4004 | 1224477.176 | 2754936.5352 | 1224484.6279
80 | 2754936.5352 | 1224484.6279 | 2754934.7135 | 1224485.4835
81 | 2755009.969 | 1224503.4004 | 2755007.4615 | 1224511.4744
82 | 2755056.5295 | 1224503.6194 | 2755056.5295 | 1224503.6194 | 2755029.8408 | 1224496.5809
83 | 2755062.1405 | 1224510.7165 | 2755060.9555 | 1224506.9933 | 2755059.6766 | 1224505.4141 | 2755056.5295 | 1224503.6194
84 | 2755060.9057 | 1224519.7661 | 2755062.1474 | 1224515.3988 | 2755062.1405 | 1224510.7165 | 2755062.1405 | 1224510.7165
85 | 2755059.863 | 1224523.4338 | 2755060.9057 | 1224519.7661
86 | 2755068.4089 | 1224453.8628 | 2755085.166 | 1224457.9267
87 | 2755086.4355 | 1224458.2345 | 2755085.166 | 1224457.9267

## bus_geodata
| x | y | coords
0 | 2754826.63 | 1224476.6028
1 | 2754827.1098 | 1224459.7884
2 | 2754828.7312 | 1224446.7379
3 | 2754834.6898 | 1224427.6754
4 | 2754848.6124 | 1224401.4024
5 | 2754783.4843 | 1224417.4925
6 | 2754870.1546 | 1224378.9561
7 | 2754857.1432 | 1224423.122
8 | 2754750.0018 | 1224410.7614
9 | 2754696.3061 | 1224399.8498
10 | 2754744.7071 | 1224409.685
11 | 2754672.4112 | 1224394.9951
12 | 2754637.9332 | 1224387.9901
13 | 2754882.4494 | 1224367.5849
14 | 2754862.6509 | 1224437.2098
15 | 2754874.1754 | 1224415.1005
16 | 2754823.4924 | 1224352.3396
17 | 2754811.6269 | 1224323.9027
18 | 2754963.6296 | 1224378.5926
19 | 2754980.5097 | 1224374.1805
20 | 2754960.7317 | 1224379.3501
21 | 2754981.5252 | 1224373.9151
22 | 2754936.8101 | 1224383.6874
23 | 2755001.1888 | 1224368.7754
24 | 2754906.4378 | 1224378.947
25 | 2755002.2905 | 1224368.4874
26 | 2754945.319 | 1224435.8993
27 | 2754908.1684 | 1224452.6074
28 | 2754888.8636 | 1224461.3806
29 | 2754873.0294 | 1224468.577
30 | 2754884.2545 | 1224509.1841
31 | 2755017.1951 | 1224363.3122
32 | 2755024.57 | 1224359.543
33 | 2755035.5631 | 1224353.9247
34 | 2755042.4077 | 1224349.8608
35 | 2755040.8378 | 1224366.0733
36 | 2755058.9682 | 1224340.0283
37 | 2754888.085 | 1224408.5497
38 | 2754891.4918 | 1224406.9452
39 | 2755029.4227 | 1224437.0243
40 | 2755035.9819 | 1224414.6914
41 | 2755027.3983 | 1224443.9169
42 | 2755061.5457 | 1224420.6937
43 | 2755043.6683 | 1224447.8627
44 | 2755025.757 | 1224449.546
45 | 2755069.0166 | 1224422.4479
46 | 2755048.437 | 1224449.0192
47 | 2755018.8628 | 1224473.4328
48 | 2754988.5951 | 1224460.1753
49 | 2755095.774 | 1224395.9984
50 | 2755096.7464 | 1224428.2756
51 | 2755065.849 | 1224453.2419
52 | 2755013.4309 | 1224492.2531
53 | 2754976.1421 | 1224466.0245
54 | 2754901.6215 | 1224501.0268
55 | 2754920.205 | 1224492.2981
56 | 2754905.2095 | 1224345.7349
57 | 2754921.6574 | 1224325.0551
58 | 2754879.1838 | 1224338.4377
59 | 2754814.6674 | 1224300.7248
60 | 2754849.0992 | 1224308.5548
61 | 2754805.2907 | 1224298.5925
62 | 2754869.1474 | 1224313.1139
63 | 2754906.6664 | 1224321.646
64 | 2754835.6158 | 1224329.0639
65 | 2754929.0823 | 1224313.7935
66 | 2754949.2777 | 1224330.132
67 | 2754951.7304 | 1224332.1163
68 | 2754981.6335 | 1224338.0392
69 | 2755067.5002 | 1224334.9626
70 | 2755072.4693 | 1224332.0122
71 | 2755084.0468 | 1224325.1383
72 | 2755086.5316 | 1224323.663
73 | 2755150.4147 | 1224394.3111
74 | 2754968.8901 | 1224469.4308
75 | 2754954.6996 | 1224476.096
76 | 2754952.4004 | 1224477.176
77 | 2754936.5352 | 1224484.6279
78 | 2754934.7135 | 1224485.4835
79 | 2755009.969 | 1224503.4004
80 | 2755007.4615 | 1224511.4744
81 | 2755029.8408 | 1224496.5809
82 | 2755056.5295 | 1224503.6194
83 | 2755062.1405 | 1224510.7165
84 | 2755059.863 | 1224523.4338
85 | 2755060.9057 | 1224519.7661
86 | 2755068.4089 | 1224453.8628
87 | 2755085.166 | 1224457.9267
88 | 2755086.4354 | 1224458.2345
89 | 2754882.4494 | 1224367.5849

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1