## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3271-34_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3271-34_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_3271-34_0_4_node_5 | 0.4 | n |  | TRUE
3 | bus_LV_3271-34_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3271-34_0_4_node_60 | 0.4 | n |  | TRUE
5 | bus_LV_3271-34_0_4_node_58 | 0.4 | n |  | TRUE
6 | bus_LV_3271-34_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_3271-34_0_4_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_3271-34_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_3271-34_0_4_node_61 | 0.4 | n |  | TRUE
10 | bus_LV_3271-34_0_4_node_57 | 0.4 | n |  | TRUE
11 | bus_LV_3271-34_0_4_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_3271-34_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_3271-34_0_4_node_43 | 0.4 | n |  | TRUE
14 | bus_LV_3271-34_0_4_node_37 | 0.4 | n |  | TRUE
15 | bus_LV_3271-34_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_3271-34_0_4_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_3271-34_0_4_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_3271-34_0_4_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_3271-34_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_3271-34_0_4_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_3271-34_0_4_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_3271-34_0_4_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_3271-34_0_4_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_3271-34_0_4_node_44 | 0.4 | n |  | TRUE
25 | bus_LV_3271-34_0_4_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_3271-34_0_4_node_45 | 0.4 | n |  | TRUE
27 | bus_LV_3271-34_0_4_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_3271-34_0_4_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_3271-34_0_4_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_3271-34_0_4_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_3271-34_0_4_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_3271-34_0_4_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_3271-34_0_4_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_3271-34_0_4_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_3271-34_0_4_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_3271-34_0_4_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_3271-34_0_4_node_48 | 0.4 | n |  | TRUE
38 | bus_LV_3271-34_0_4_node_52 | 0.4 | n |  | TRUE
39 | bus_LV_3271-34_0_4_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_3271-34_0_4_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_3271-34_0_4_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_3271-34_0_4_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_3271-34_0_4_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_3271-34_0_4_node_47 | 0.4 | n |  | TRUE
45 | bus_LV_3271-34_0_4_node_50 | 0.4 | n |  | TRUE
46 | bus_LV_3271-34_0_4_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_3271-34_0_4_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_3271-34_0_4_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_3271-34_0_4_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_3271-34_0_4_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_3271-34_0_4_node_56 | 0.4 | n |  | TRUE
52 | bus_LV_3271-34_0_4_node_55 | 0.4 | n |  | TRUE
53 | bus_LV_3271-34_0_4_node_68 | 0.4 | n |  | TRUE
54 | bus_LV_3271-34_0_4_node_64 | 0.4 | n |  | TRUE
55 | bus_LV_3271-34_0_4_node_54 | 0.4 | n |  | TRUE
56 | bus_LV_3271-34_0_4_node_71 | 0.4 | n |  | TRUE
57 | bus_LV_3271-34_0_4_node_67 | 0.4 | n |  | TRUE
58 | bus_LV_3271-34_0_4_node_75 | 0.4 | n |  | TRUE
59 | bus_LV_3271-34_0_4_node_73 | 0.4 | n |  | TRUE
60 | bus_LV_3271-34_0_4_node_74 | 0.4 | n |  | TRUE
61 | bus_LV_3271-34_0_4_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_3271-34_0_4_node_53 | 0.4 | n |  | TRUE
63 | bus_LV_3271-34_0_4_node_65 | 0.4 | n |  | TRUE
64 | bus_LV_3271-34_0_4_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_3271-34_0_4_node_62 | 0.4 | n |  | TRUE
66 | bus_LV_3271-34_0_4_node_63 | 0.4 | n |  | TRUE
67 | bus_LV_3271-34_0_4_node_82 | 0.4 | n |  | TRUE
68 | bus_LV_3271-34_0_4_node_83 | 0.4 | n |  | TRUE
69 | bus_LV_3271-34_0_4_node_80 | 0.4 | n |  | TRUE
70 | bus_LV_3271-34_0_4_node_84 | 0.4 | n |  | TRUE
71 | bus_LV_3271-34_0_4_node_66 | 0.4 | n |  | TRUE
72 | bus_LV_3271-34_0_4_node_69 | 0.4 | n |  | TRUE
73 | bus_LV_3271-34_0_4_node_70 | 0.4 | n |  | TRUE
74 | bus_LV_3271-34_0_4_node_72 | 0.4 | n |  | TRUE
75 | bus_LV_3271-34_0_4_node_89 | 0.4 | n |  | TRUE
76 | bus_LV_3271-34_0_4_node_76 | 0.4 | n |  | TRUE
77 | bus_LV_3271-34_0_4_node_77 | 0.4 | n |  | TRUE
78 | bus_LV_3271-34_0_4_node_78 | 0.4 | n |  | TRUE
79 | bus_LV_3271-34_0_4_node_86 | 0.4 | n |  | TRUE
80 | bus_LV_3271-34_0_4_node_85 | 0.4 | n |  | TRUE
81 | bus_LV_3271-34_0_4_node_79 | 0.4 | n |  | TRUE
82 | bus_LV_3271-34_0_4_node_81 | 0.4 | n |  | TRUE
83 | bus_LV_3271-34_0_4_node_87 | 0.4 | n |  | TRUE
84 | bus_LV_3271-34_0_4_node_88 | 0.4 | n |  | TRUE
85 | bus_MV_237_0_node_56 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3271-34_0_4_load_0 | 0 | 0.01513 | 0.0037919 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3271-34_0_4_load_5 | 2 | 0.0022356 | 0.0005603 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3271-34_0_4_load_58 | 5 | 0.017073 | 0.0042788 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3271-34_0_4_load_4 | 6 | 0.014536 | 0.003643 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3271-34_0_4_load_10 | 7 | 0.018787 | 0.0047084 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3271-34_0_4_load_7 | 8 | 0.0027987 | 0.00070142 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3271-34_0_4_load_61 | 9 | 0.0066939 | 0.0016776 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3271-34_0_4_load_57 | 10 | 0.014599 | 0.003659 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3271-34_0_4_load_11 | 11 | 0.023124 | 0.0057954 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3271-34_0_4_load_8 | 12 | 0.0034928 | 0.00087537 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3271-34_0_4_load_43 | 13 | 0.0032725 | 0.00082017 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3271-34_0_4_load_37 | 14 | 0.0019757 | 0.00049516 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3271-34_0_4_load_9 | 15 | 0.0032048 | 0.0008032 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3271-34_0_4_load_17 | 16 | 0.0016561 | 0.00041505 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3271-34_0_4_load_18 | 17 | 0.0020117 | 0.00050418 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3271-34_0_4_load_12 | 18 | 0.012754 | 0.0031965 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3271-34_0_4_load_13 | 19 | 0.019708 | 0.0049394 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3271-34_0_4_load_15 | 21 | 0.0020625 | 0.00051691 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3271-34_0_4_load_16 | 22 | 0.003038 | 0.0007614 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3271-34_0_4_load_20 | 23 | 0.0025202 | 0.00063163 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3271-34_0_4_load_44 | 24 | 0.0023181 | 0.00058096 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3271-34_0_4_load_21 | 25 | 0.0034864 | 0.00087378 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3271-34_0_4_load_19 | 27 | 0.0024778 | 0.000621 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3271-34_0_4_load_26 | 28 | 0.0029589 | 0.00074156 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3271-34_0_4_load_27 | 29 | 0.0036543 | 0.00091585 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3271-34_0_4_load_22 | 30 | 0.002315 | 0.00058021 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3271-34_0_4_load_23 | 31 | 0.0022192 | 0.00055618 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3271-34_0_4_load_24 | 32 | 0.0019992 | 0.00050105 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3271-34_0_4_load_33 | 34 | 0.004913 | 0.0012313 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3271-34_0_4_load_31 | 35 | 0.0019461 | 0.00048774 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3271-34_0_4_load_52 | 38 | 0.0021001 | 0.00052633 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3271-34_0_4_load_29 | 39 | 0.0063593 | 0.0015938 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3271-34_0_4_load_30 | 41 | 0.0019464 | 0.00048781 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3271-34_0_4_load_39 | 42 | 0.0032588 | 0.00081674 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3271-34_0_4_load_47 | 44 | 0.021737 | 0.0054477 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3271-34_0_4_load_50 | 45 | 0.0024085 | 0.00060362 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3271-34_0_4_load_34 | 46 | 0.00080831 | 0.00020258 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3271-34_0_4_load_35 | 47 | 0.0024339 | 0.00061 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3271-34_0_4_load_38 | 48 | 0.00087598 | 0.00021954 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3271-34_0_4_load_40 | 50 | 0.0011554 | 0.00028957 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3271-34_0_4_load_55 | 52 | 0.0046687 | 0.0011701 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3271-34_0_4_load_68 | 53 | 0.0019906 | 0.00049888 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3271-34_0_4_load_64 | 54 | 0.0071958 | 0.0018034 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3271-34_0_4_load_54 | 55 | 0.0024457 | 0.00061294 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3271-34_0_4_load_71 | 56 | 0.0051499 | 0.0012907 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3271-34_0_4_load_74 | 60 | 0.00679 | 0.0017017 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3271-34_0_4_load_51 | 61 | 0.0026002 | 0.00065168 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3271-34_0_4_load_53 | 62 | 0.0028842 | 0.00072285 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3271-34_0_4_load_59 | 64 | 0.0052007 | 0.0013034 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3271-34_0_4_load_82 | 67 | 0.0027996 | 0.00070165 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3271-34_0_4_load_83 | 68 | 0.003198 | 0.0008015 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3271-34_0_4_load_80 | 69 | 0.0025963 | 0.0006507 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3271-34_0_4_load_66 | 71 | 0.004661 | 0.0011682 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3271-34_0_4_load_69 | 72 | 0.0066412 | 0.0016644 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3271-34_0_4_load_72 | 74 | 0.0055108 | 0.0013811 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3271-34_0_4_load_89 | 75 | 0.0049729 | 0.0012463 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3271-34_0_4_load_77 | 77 | 0.0041207 | 0.0010328 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3271-34_0_4_load_86 | 79 | 0.0058326 | 0.0014618 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3271-34_0_4_load_79 | 81 | 0.0024372 | 0.00061082 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3271-34_0_4_load_81 | 82 | 0.0052351 | 0.0013121 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3271-34_0_4_load_87 | 83 | 0.004206 | 0.0010541 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3271-34_0_4_load_88 | 84 | 0.0062504 | 0.0015665 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3271-34_0_4_line_0 |  | 0 | 1 | 0.010388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3271-34_0_4_line_1 |  | 1 | 2 | 0.023211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3271-34_0_4_line_2 |  | 2 | 8 | 0.0035416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3271-34_0_4_line_3 |  | 3 | 4 | 0.004287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3271-34_0_4_line_4 |  | 3 | 5 | 0.016261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3271-34_0_4_line_5 |  | 4 | 9 | 0.010517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3271-34_0_4_line_6 |  | 5 | 10 | 0.016006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3271-34_0_4_line_7 |  | 6 | 7 | 0.014615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3271-34_0_4_line_8 |  | 7 | 11 | 0.014148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3271-34_0_4_line_9 |  | 8 | 12 | 0.02658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3271-34_0_4_line_10 |  | 9 | 65 | 0.0218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3271-34_0_4_line_11 |  | 10 | 64 | 0.0029673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3271-34_0_4_line_12 |  | 11 | 18 | 0.0034651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3271-34_0_4_line_13 |  | 12 | 15 | 0.0030981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3271-34_0_4_line_14 |  | 13 | 14 | 0.0077822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3271-34_0_4_line_15 |  | 14 | 47 | 0.022072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3271-34_0_4_line_16 |  | 15 | 16 | 0.016252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3271-34_0_4_line_17 |  | 16 | 17 | 0.0028596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3271-34_0_4_line_18 |  | 17 | 27 | 0.017674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3271-34_0_4_line_19 |  | 18 | 19 | 0.016344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3271-34_0_4_line_20 |  | 19 | 20 | 0.010365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3271-34_0_4_line_21 |  | 20 | 21 | 0.014618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3271-34_0_4_line_22 |  | 20 | 22 | 0.018696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_3271-34_0_4_line_23 |  | 21 | 23 | 0.0046472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3271-34_0_4_line_24 |  | 22 | 24 | 0.0195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_3271-34_0_4_line_25 |  | 23 | 25 | 0.015294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3271-34_0_4_line_26 |  | 24 | 26 | 0.018983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_3271-34_0_4_line_27 |  | 25 | 30 | 0.0036389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3271-34_0_4_line_28 |  | 26 | 51 | 0.002805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_3271-34_0_4_line_29 |  | 26 | 52 | 0.016321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3271-34_0_4_line_30 |  | 27 | 28 | 0.0033586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3271-34_0_4_line_31 |  | 28 | 29 | 0.014081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3271-34_0_4_line_32 |  | 29 | 40 | 0.01433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3271-34_0_4_line_33 |  | 30 | 31 | 0.016432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3271-34_0_4_line_34 |  | 31 | 32 | 0.016111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3271-34_0_4_line_35 |  | 32 | 33 | 0.015886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3271-34_0_4_line_36 |  | 33 | 34 | 0.015251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3271-34_0_4_line_37 |  | 33 | 35 | 0.013449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3271-34_0_4_line_38 |  | 35 | 39 | 0.0079669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3271-34_0_4_line_39 |  | 36 | 37 | 0.015062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3271-34_0_4_line_40 |  | 36 | 38 | 0.015329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3271-34_0_4_line_41 |  | 37 | 44 | 0.033113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3271-34_0_4_line_42 |  | 38 | 45 | 0.0014999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3271-34_0_4_line_43 |  | 39 | 40 | 0.035049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3271-34_0_4_line_44 |  | 40 | 41 | 0.016728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3271-34_0_4_line_45 |  | 41 | 42 | 0.026715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3271-34_0_4_line_46 |  | 42 | 43 | 0.014552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3271-34_0_4_line_47 |  | 43 | 48 | 0.027443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3271-34_0_4_line_48 |  | 43 | 46 | 0.042156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3271-34_0_4_line_49 |  | 45 | 61 | 0.021301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3271-34_0_4_line_50 |  | 46 | 47 | 0.00015885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3271-34_0_4_line_51 |  | 48 | 49 | 0.02999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3271-34_0_4_line_52 |  | 49 | 50 | 0.046331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3271-34_0_4_line_53 |  | 51 | 53 | 0.022667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3271-34_0_4_line_54 |  | 51 | 54 | 0.017992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_3271-34_0_4_line_55 |  | 52 | 55 | 0.0031985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3271-34_0_4_line_56 |  | 54 | 63 | 0.020571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3271-34_0_4_line_57 |  | 55 | 62 | 0.024026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3271-34_0_4_line_58 |  | 56 | 57 | 0.021586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3271-34_0_4_line_59 |  | 57 | 72 | 0.0060329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3271-34_0_4_line_60 |  | 57 | 63 | 0.011448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3271-34_0_4_line_61 |  | 58 | 59 | 0.026614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3271-34_0_4_line_62 |  | 58 | 60 | 0.050491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3271-34_0_4_line_63 |  | 59 | 75 | 0.015949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3271-34_0_4_line_64 |  | 59 | 73 | 0.002771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3271-34_0_4_line_65 |  | 60 | 76 | 0.023636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3271-34_0_4_line_66 |  | 61 | 62 | 0.004564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3271-34_0_4_line_67 |  | 63 | 71 | 0.024646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3271-34_0_4_line_68 |  | 65 | 66 | 0.028856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3271-34_0_4_line_69 |  | 66 | 67 | 0.019412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3271-34_0_4_line_70 |  | 66 | 68 | 0.017165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3271-34_0_4_line_71 |  | 67 | 69 | 0.0035055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3271-34_0_4_line_72 |  | 68 | 70 | 0.02442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3271-34_0_4_line_73 |  | 69 | 81 | 0.015142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3271-34_0_4_line_74 |  | 70 | 80 | 0.051009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3271-34_0_4_line_75 |  | 72 | 73 | 0.019863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3271-34_0_4_line_76 |  | 73 | 74 | 0.016128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3271-34_0_4_line_77 |  | 76 | 77 | 0.013463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3271-34_0_4_line_78 |  | 76 | 78 | 0.00808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3271-34_0_4_line_79 |  | 78 | 79 | 0.030255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3271-34_0_4_line_80 |  | 79 | 80 | 0.026367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3271-34_0_4_line_81 |  | 80 | 83 | 0.011351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3271-34_0_4_line_82 |  | 81 | 82 | 0.021303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3271-34_0_4_line_83 |  | 83 | 84 | 0.0049021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3271-34_0_4_trafo_44 | 0.63 MVA 20/0.4 kV | 85 | 24 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2754357.2903 | 1226306.323 | 2754354.5598 | 1226296.3006
1 | 2754357.2903 | 1226306.323 | 2754370.7342 | 1226309.0631 | 2754379.9129 | 1226311.475
2 | 2754383.3382 | 1226312.375 | 2754379.9129 | 1226311.475
3 | 2754325.537 | 1226189.9703 | 2754326.7117 | 1226194.0934
4 | 2754326.7117 | 1226194.0934 | 2754342.9711 | 1226194.3307
5 | 2754325.537 | 1226189.9703 | 2754323.0156 | 1226179.7605
6 | 2754358.9757 | 1226194.5643 | 2754342.9711 | 1226194.3307
7 | 2754364.8284 | 1226254.811 | 2754350.6521 | 1226251.2589
8 | 2754364.8284 | 1226254.811 | 2754370.5432 | 1226256.243 | 2754378.59 | 1226258.091
9 | 2754383.3382 | 1226312.375 | 2754397.1289 | 1226315.9987 | 2754402.7103 | 1226320.4031 | 2754407.7912 | 1226321.5613
10 | 2754317.7886 | 1226158.5961 | 2754323.0156 | 1226179.7605
11 | 2754361.9426 | 1226194.6076 | 2754358.9757 | 1226194.5643
12 | 2754378.59 | 1226258.091 | 2754381.9672 | 1226258.8665
13 | 2754407.7912 | 1226321.5613 | 2754410.8118 | 1226322.2498
14 | 2754399.5567 | 1226379.2632 | 2754391.9652 | 1226377.551
15 | 2754399.5567 | 1226379.2632 | 2754421.0879 | 1226384.1195
16 | 2754410.8118 | 1226322.2498 | 2754426.6575 | 1226325.8618
17 | 2754429.4456 | 1226326.4973 | 2754426.6575 | 1226325.8618
18 | 2754429.4456 | 1226326.4973 | 2754446.6779 | 1226330.4254
19 | 2754381.9672 | 1226258.8665 | 2754397.8963 | 1226262.5248
20 | 2754407.9983 | 1226264.8448 | 2754397.8963 | 1226262.5248
21 | 2754407.9983 | 1226264.8448 | 2754422.289 | 1226267.9184
22 | 2754407.9983 | 1226264.8448 | 2754413.1792 | 1226246.8806
23 | 2754426.8324 | 1226268.8956 | 2754422.289 | 1226267.9184
24 | 2754413.1792 | 1226246.8806 | 2754418.5826 | 1226228.1447
25 | 2754426.8324 | 1226268.8956 | 2754441.7843 | 1226272.1114
26 | 2754423.8428 | 1226209.9054 | 2754418.5826 | 1226228.1447
27 | 2754445.3419 | 1226272.8765 | 2754441.7843 | 1226272.1114
28 | 2754423.8428 | 1226209.9054 | 2754424.5353 | 1226207.1875
29 | 2754423.8428 | 1226209.9054 | 2754439.3082 | 1226215.1208
30 | 2754449.9525 | 1226331.1718 | 2754446.6779 | 1226330.4254
31 | 2754449.9525 | 1226331.1718 | 2754463.6809 | 1226334.3011
32 | 2754477.6528 | 1226337.486 | 2754463.6809 | 1226334.3011
33 | 2754445.3419 | 1226272.8765 | 2754461.4064 | 1226276.3316
34 | 2754477.1573 | 1226279.7192 | 2754461.4064 | 1226276.3316
35 | 2754492.6882 | 1226283.0596 | 2754477.1573 | 1226279.7192
36 | 2754492.6882 | 1226283.0596 | 2754507.5597 | 1226286.4386
37 | 2754492.6882 | 1226283.0596 | 2754489.107 | 1226296.0231
38 | 2754489.107 | 1226296.0231 | 2754486.9856 | 1226303.7023
39 | 2754509.6533 | 1226222.9669 | 2754505.5603 | 1226237.4629
40 | 2754505.5603 | 1226237.4629 | 2754491.0354 | 1226232.5647
41 | 2754509.6533 | 1226222.9669 | 2754534.6738 | 1226229.3892 | 2754533.2218 | 1226236.5247
42 | 2754489.6141 | 1226232.0854 | 2754491.0354 | 1226232.5647
43 | 2754477.6528 | 1226337.486 | 2754486.9856 | 1226303.7023
44 | 2754477.6528 | 1226337.486 | 2754473.2436 | 1226353.6221
45 | 2754466.2018 | 1226379.3921 | 2754473.2436 | 1226353.6221
46 | 2754462.366 | 1226393.4295 | 2754466.2018 | 1226379.3921
47 | 2754462.366 | 1226393.4295 | 2754455.1336 | 1226419.9023
48 | 2754462.366 | 1226393.4295 | 2754421.2429 | 1226384.1544
49 | 2754489.6141 | 1226232.0854 | 2754469.4297 | 1226225.2786
50 | 2754421.2429 | 1226384.1544 | 2754421.0879 | 1226384.1195
51 | 2754447.2299 | 1226448.8321 | 2754455.1336 | 1226419.9023
52 | 2754447.2299 | 1226448.8321 | 2754402.1768 | 1226438.0248
53 | 2754424.5353 | 1226207.1875 | 2754402.7878 | 1226200.7968
54 | 2754424.5353 | 1226207.1875 | 2754428.9867 | 1226189.7544
55 | 2754442.339 | 1226216.1428 | 2754439.3082 | 1226215.1208
56 | 2754434.0761 | 1226169.823 | 2754428.9867 | 1226189.7544
57 | 2754442.339 | 1226216.1428 | 2754465.105 | 1226223.8202
58 | 2754436.905 | 1226158.7306 | 2754457.3296 | 1226165.7156
59 | 2754436.905 | 1226158.7306 | 2754438.3979 | 1226152.8854
60 | 2754436.905 | 1226158.7306 | 2754434.0761 | 1226169.823
61 | 2754450.5829 | 1226105.1697 | 2754443.9973 | 1226130.9558
62 | 2754450.5829 | 1226105.1697 | 2754402.7907 | 1226088.8841
63 | 2754443.9973 | 1226130.9558 | 2754459.4512 | 1226134.9006
64 | 2754443.3132 | 1226133.6405 | 2754443.9973 | 1226130.9558
65 | 2754380.4183 | 1226081.2605 | 2754402.7907 | 1226088.8841
66 | 2754469.4297 | 1226225.2786 | 2754465.105 | 1226223.8202
67 | 2754434.0761 | 1226169.823 | 2754409.8932 | 1226165.0682
68 | 2754317.7886 | 1226158.5961 | 2754310.4355 | 1226130.6909
69 | 2754310.4355 | 1226130.6909 | 2754319.9024 | 1226131.2146 | 2754329.8331 | 1226131.2863
70 | 2754310.4355 | 1226130.6909 | 2754306.0609 | 1226114.093
71 | 2754333.3385 | 1226131.3116 | 2754329.8331 | 1226131.2863
72 | 2754299.8371 | 1226090.4791 | 2754306.0609 | 1226114.093
73 | 2754348.4736 | 1226131.7672 | 2754334.7423 | 1226131.3218 | 2754333.3385 | 1226131.3116
74 | 2754299.8371 | 1226090.4791 | 2754294.1699 | 1226070.0801 | 2754292.8244 | 1226065.2297 | 2754317.5527 | 1226067.1615
75 | 2754443.3132 | 1226133.6405 | 2754438.3979 | 1226152.8854
76 | 2754443.3132 | 1226133.6405 | 2754427.4507 | 1226130.7285
77 | 2754380.4183 | 1226081.2605 | 2754376.8365 | 1226094.2386
78 | 2754372.75 | 1226078.648 | 2754380.4183 | 1226081.2605
79 | 2754372.75 | 1226078.648 | 2754352.0707 | 1226071.7943 | 2754343.6877 | 1226070.5854
80 | 2754317.5527 | 1226067.1615 | 2754322.8208 | 1226067.5763 | 2754343.6877 | 1226070.5854
81 | 2754317.5527 | 1226067.1615 | 2754316.9772 | 1226078.4984
82 | 2754360.3389 | 1226144.7869 | 2754360.108 | 1226136.1508 | 2754353.9143 | 1226132.5424 | 2754348.4736 | 1226131.7672
83 | 2754316.7287 | 1226083.3942 | 2754316.9772 | 1226078.4984

## bus_geodata
| x | y | coords
0 | 2754354.5598 | 1226296.3006
1 | 2754357.2903 | 1226306.323
2 | 2754379.9129 | 1226311.475
3 | 2754326.7117 | 1226194.0934
4 | 2754325.537 | 1226189.9703
5 | 2754342.9711 | 1226194.3307
6 | 2754350.6521 | 1226251.2589
7 | 2754364.8284 | 1226254.811
8 | 2754383.3382 | 1226312.375
9 | 2754323.0156 | 1226179.7605
10 | 2754358.9757 | 1226194.5643
11 | 2754378.59 | 1226258.091
12 | 2754407.7912 | 1226321.5613
13 | 2754391.9652 | 1226377.551
14 | 2754399.5567 | 1226379.2632
15 | 2754410.8118 | 1226322.2498
16 | 2754426.6575 | 1226325.8618
17 | 2754429.4456 | 1226326.4973
18 | 2754381.9672 | 1226258.8665
19 | 2754397.8963 | 1226262.5248
20 | 2754407.9983 | 1226264.8448
21 | 2754422.289 | 1226267.9184
22 | 2754413.1792 | 1226246.8806
23 | 2754426.8324 | 1226268.8956
24 | 2754418.5826 | 1226228.1447
25 | 2754441.7843 | 1226272.1114
26 | 2754423.8428 | 1226209.9054
27 | 2754446.6779 | 1226330.4254
28 | 2754449.9525 | 1226331.1718
29 | 2754463.6809 | 1226334.3011
30 | 2754445.3419 | 1226272.8765
31 | 2754461.4064 | 1226276.3316
32 | 2754477.1573 | 1226279.7192
33 | 2754492.6882 | 1226283.0596
34 | 2754507.5597 | 1226286.4386
35 | 2754489.107 | 1226296.0231
36 | 2754505.5603 | 1226237.4629
37 | 2754509.6533 | 1226222.9669
38 | 2754491.0354 | 1226232.5647
39 | 2754486.9856 | 1226303.7023
40 | 2754477.6528 | 1226337.486
41 | 2754473.2436 | 1226353.6221
42 | 2754466.2018 | 1226379.3921
43 | 2754462.366 | 1226393.4295
44 | 2754533.2218 | 1226236.5247
45 | 2754489.6141 | 1226232.0854
46 | 2754421.2429 | 1226384.1544
47 | 2754421.0879 | 1226384.1195
48 | 2754455.1336 | 1226419.9023
49 | 2754447.2299 | 1226448.8321
50 | 2754402.1768 | 1226438.0248
51 | 2754424.5353 | 1226207.1875
52 | 2754439.3082 | 1226215.1208
53 | 2754402.7878 | 1226200.7968
54 | 2754428.9867 | 1226189.7544
55 | 2754442.339 | 1226216.1428
56 | 2754457.3296 | 1226165.7156
57 | 2754436.905 | 1226158.7306
58 | 2754450.5829 | 1226105.1697
59 | 2754443.9973 | 1226130.9558
60 | 2754402.7907 | 1226088.8841
61 | 2754469.4297 | 1226225.2786
62 | 2754465.105 | 1226223.8202
63 | 2754434.0761 | 1226169.823
64 | 2754361.9426 | 1226194.6076
65 | 2754317.7886 | 1226158.5961
66 | 2754310.4355 | 1226130.6909
67 | 2754329.8331 | 1226131.2863
68 | 2754306.0609 | 1226114.093
69 | 2754333.3385 | 1226131.3116
70 | 2754299.8371 | 1226090.4791
71 | 2754409.8932 | 1226165.0682
72 | 2754438.3979 | 1226152.8854
73 | 2754443.3132 | 1226133.6405
74 | 2754427.4507 | 1226130.7285
75 | 2754459.4512 | 1226134.9006
76 | 2754380.4183 | 1226081.2605
77 | 2754376.8365 | 1226094.2386
78 | 2754372.75 | 1226078.648
79 | 2754343.6877 | 1226070.5854
80 | 2754317.5527 | 1226067.1615
81 | 2754348.4736 | 1226131.7672
82 | 2754360.3389 | 1226144.7869
83 | 2754316.9772 | 1226078.4984
84 | 2754316.7287 | 1226083.3942
85 | 2754423.8428 | 1226209.9054

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1