## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3271-36_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3271-36_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_3271-36_0_4_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_3271-36_0_4_node_11 | 0.4 | n |  | TRUE
4 | bus_LV_3271-36_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_3271-36_0_4_node_18 | 0.4 | n |  | TRUE
6 | bus_LV_3271-36_0_4_node_48 | 0.4 | n |  | TRUE
7 | bus_LV_3271-36_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_3271-36_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_3271-36_0_4_node_25 | 0.4 | n |  | TRUE
10 | bus_LV_3271-36_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_3271-36_0_4_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_3271-36_0_4_node_47 | 0.4 | n |  | TRUE
13 | bus_LV_3271-36_0_4_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_3271-36_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_3271-36_0_4_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_3271-36_0_4_node_55 | 0.4 | n |  | TRUE
17 | bus_LV_3271-36_0_4_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_3271-36_0_4_node_56 | 0.4 | n |  | TRUE
19 | bus_LV_3271-36_0_4_node_26 | 0.4 | n |  | TRUE
20 | bus_LV_3271-36_0_4_node_79 | 0.4 | n |  | TRUE
21 | bus_LV_3271-36_0_4_node_80 | 0.4 | n |  | TRUE
22 | bus_LV_3271-36_0_4_node_78 | 0.4 | n |  | TRUE
23 | bus_LV_3271-36_0_4_node_77 | 0.4 | n |  | TRUE
24 | bus_LV_3271-36_0_4_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_3271-36_0_4_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_3271-36_0_4_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_3271-36_0_4_node_50 | 0.4 | n |  | TRUE
28 | bus_LV_3271-36_0_4_node_49 | 0.4 | n |  | TRUE
29 | bus_LV_3271-36_0_4_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_3271-36_0_4_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_3271-36_0_4_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_3271-36_0_4_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_3271-36_0_4_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_3271-36_0_4_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_3271-36_0_4_node_51 | 0.4 | n |  | TRUE
36 | bus_LV_3271-36_0_4_node_39 | 0.4 | n |  | TRUE
37 | bus_LV_3271-36_0_4_node_60 | 0.4 | n |  | TRUE
38 | bus_LV_3271-36_0_4_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_3271-36_0_4_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_3271-36_0_4_node_61 | 0.4 | n |  | TRUE
41 | bus_LV_3271-36_0_4_node_62 | 0.4 | n |  | TRUE
42 | bus_LV_3271-36_0_4_node_59 | 0.4 | n |  | TRUE
43 | bus_LV_3271-36_0_4_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_3271-36_0_4_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_3271-36_0_4_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_3271-36_0_4_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_3271-36_0_4_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_3271-36_0_4_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_3271-36_0_4_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_3271-36_0_4_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_3271-36_0_4_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_3271-36_0_4_node_35 | 0.4 | n |  | TRUE
53 | bus_LV_3271-36_0_4_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_3271-36_0_4_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_3271-36_0_4_node_41 | 0.4 | n |  | TRUE
56 | bus_LV_3271-36_0_4_node_45 | 0.4 | n |  | TRUE
57 | bus_LV_3271-36_0_4_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_3271-36_0_4_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_3271-36_0_4_node_65 | 0.4 | n |  | TRUE
60 | bus_LV_3271-36_0_4_node_64 | 0.4 | n |  | TRUE
61 | bus_LV_3271-36_0_4_node_69 | 0.4 | n |  | TRUE
62 | bus_LV_3271-36_0_4_node_70 | 0.4 | n |  | TRUE
63 | bus_LV_3271-36_0_4_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_3271-36_0_4_node_58 | 0.4 | n |  | TRUE
65 | bus_LV_3271-36_0_4_node_63 | 0.4 | n |  | TRUE
66 | bus_LV_3271-36_0_4_node_66 | 0.4 | n |  | TRUE
67 | bus_LV_3271-36_0_4_node_67 | 0.4 | n |  | TRUE
68 | bus_LV_3271-36_0_4_node_68 | 0.4 | n |  | TRUE
69 | bus_LV_3271-36_0_4_node_73 | 0.4 | n |  | TRUE
70 | bus_LV_3271-36_0_4_node_72 | 0.4 | n |  | TRUE
71 | bus_LV_3271-36_0_4_node_74 | 0.4 | n |  | TRUE
72 | bus_LV_3271-36_0_4_node_71 | 0.4 | n |  | TRUE
73 | bus_LV_3271-36_0_4_node_87 | 0.4 | n |  | TRUE
74 | bus_LV_3271-36_0_4_node_86 | 0.4 | n |  | TRUE
75 | bus_LV_3271-36_0_4_node_75 | 0.4 | n |  | TRUE
76 | bus_LV_3271-36_0_4_node_76 | 0.4 | n |  | TRUE
77 | bus_LV_3271-36_0_4_node_81 | 0.4 | n |  | TRUE
78 | bus_LV_3271-36_0_4_node_82 | 0.4 | n |  | TRUE
79 | bus_LV_3271-36_0_4_node_88 | 0.4 | n |  | TRUE
80 | bus_LV_3271-36_0_4_node_83 | 0.4 | n |  | TRUE
81 | bus_LV_3271-36_0_4_node_84 | 0.4 | n |  | TRUE
82 | bus_LV_3271-36_0_4_node_89 | 0.4 | n |  | TRUE
83 | bus_LV_3271-36_0_4_node_85 | 0.4 | n |  | TRUE
84 | bus_LV_3271-36_0_4_node_95 | 0.4 | n |  | TRUE
85 | bus_LV_3271-36_0_4_node_96 | 0.4 | n |  | TRUE
86 | bus_LV_3271-36_0_4_node_94 | 0.4 | n |  | TRUE
87 | bus_LV_3271-36_0_4_node_92 | 0.4 | n |  | TRUE
88 | bus_LV_3271-36_0_4_node_90 | 0.4 | n |  | TRUE
89 | bus_LV_3271-36_0_4_node_91 | 0.4 | n |  | TRUE
90 | bus_LV_3271-36_0_4_node_93 | 0.4 | n |  | TRUE
91 | bus_LV_3271-36_0_4_node_97 | 0.4 | n |  | TRUE
92 | bus_LV_3271-36_0_4_node_98 | 0.4 | n |  | TRUE
93 | bus_LV_3271-36_0_4_node_99 | 0.4 | n |  | TRUE
94 | bus_LV_3271-36_0_4_node_100 | 0.4 | n |  | TRUE
95 | bus_LV_3271-36_0_4_node_101 | 0.4 | n |  | TRUE
96 | bus_LV_3271-36_0_4_node_104 | 0.4 | n |  | TRUE
97 | bus_LV_3271-36_0_4_node_102 | 0.4 | n |  | TRUE
98 | bus_LV_3271-36_0_4_node_105 | 0.4 | n |  | TRUE
99 | bus_LV_3271-36_0_4_node_103 | 0.4 | n |  | TRUE
100 | bus_MV_237_0_node_66 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3271-36_0_4_load_0 | 0 | 0.0090091 | 0.0022579 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3271-36_0_4_load_11 | 3 | 0.0022064 | 0.00055296 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3271-36_0_4_load_18 | 5 | 0.0046102 | 0.0011554 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3271-36_0_4_load_6 | 7 | 0.0012993 | 0.00032563 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3271-36_0_4_load_25 | 9 | 0.002726 | 0.00068321 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3271-36_0_4_load_8 | 10 | 0.0027421 | 0.00068723 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3271-36_0_4_load_16 | 11 | 0.0014288 | 0.00035809 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3271-36_0_4_load_47 | 12 | 0.0016175 | 0.00040538 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3271-36_0_4_load_10 | 13 | 0.0028116 | 0.00070465 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3271-36_0_4_load_9 | 14 | 0.0069546 | 0.001743 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3271-36_0_4_load_12 | 15 | 0.0030819 | 0.00077241 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3271-36_0_4_load_55 | 16 | 0.0021284 | 0.00053343 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3271-36_0_4_load_56 | 18 | 0.0024564 | 0.00061563 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3271-36_0_4_load_26 | 19 | 0.0016628 | 0.00041674 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3271-36_0_4_load_79 | 20 | 0.002278 | 0.00057091 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3271-36_0_4_load_78 | 22 | 0.0034358 | 0.0008611 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3271-36_0_4_load_77 | 23 | 0.0047407 | 0.0011881 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3271-36_0_4_load_14 | 24 | 0.0020916 | 0.00052421 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3271-36_0_4_load_15 | 25 | 0.0015361 | 0.00038498 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3271-36_0_4_load_17 | 26 | 0.002639 | 0.00066138 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3271-36_0_4_load_50 | 27 | 0.0018095 | 0.0004535 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3271-36_0_4_load_49 | 28 | 0.0014364 | 0.00035999 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3271-36_0_4_load_19 | 29 | 0.0020574 | 0.00051562 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3271-36_0_4_load_20 | 30 | 0.0014863 | 0.00037251 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3271-36_0_4_load_22 | 32 | 0.0017549 | 0.00043982 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3271-36_0_4_load_23 | 33 | 0.0020869 | 0.00052303 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3271-36_0_4_load_24 | 34 | 0.0015901 | 0.00039852 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3271-36_0_4_load_51 | 35 | 0.0012448 | 0.00031197 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3271-36_0_4_load_39 | 36 | 0.0017727 | 0.00044429 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3271-36_0_4_load_27 | 38 | 0.001492 | 0.00037393 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3271-36_0_4_load_38 | 39 | 0.0034907 | 0.00087484 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3271-36_0_4_load_61 | 40 | 0.0021204 | 0.00053141 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3271-36_0_4_load_62 | 41 | 0.0034123 | 0.0008552 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3271-36_0_4_load_59 | 42 | 0.0015934 | 0.00039934 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3271-36_0_4_load_28 | 43 | 0.0023791 | 0.00059625 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3271-36_0_4_load_29 | 44 | 0.0027373 | 0.00068604 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3271-36_0_4_load_30 | 45 | 0.0024743 | 0.00062011 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3271-36_0_4_load_32 | 47 | 0.0025189 | 0.0006313 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3271-36_0_4_load_36 | 48 | 0.0047454 | 0.0011893 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3271-36_0_4_load_37 | 49 | 0.0025635 | 0.00064247 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3271-36_0_4_load_33 | 50 | 0.0041644 | 0.0010437 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3271-36_0_4_load_43 | 51 | 0.0024057 | 0.00060292 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3271-36_0_4_load_35 | 52 | 0.00256 | 0.0006416 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3271-36_0_4_load_44 | 53 | 0.0023473 | 0.00058829 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3271-36_0_4_load_40 | 54 | 0.0024002 | 0.00060154 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3271-36_0_4_load_41 | 55 | 0.0022819 | 0.0005719 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3271-36_0_4_load_46 | 57 | 0.0021836 | 0.00054726 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3271-36_0_4_load_53 | 58 | 0.001856 | 0.00046516 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3271-36_0_4_load_65 | 59 | 0.017759 | 0.0044508 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3271-36_0_4_load_64 | 60 | 0.0019006 | 0.00047633 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3271-36_0_4_load_69 | 61 | 0.013783 | 0.0034545 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3271-36_0_4_load_57 | 63 | 0.0016157 | 0.00040493 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3271-36_0_4_load_58 | 64 | 0.0027296 | 0.00068409 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3271-36_0_4_load_63 | 65 | 0.011134 | 0.0027904 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3271-36_0_4_load_66 | 66 | 0.012148 | 0.0030446 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3271-36_0_4_load_67 | 67 | 0.011002 | 0.0027573 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3271-36_0_4_load_73 | 69 | 0.0045707 | 0.0011455 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3271-36_0_4_load_72 | 70 | 0.013778 | 0.003453 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3271-36_0_4_load_74 | 71 | 0.0025406 | 0.00063675 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3271-36_0_4_load_71 | 72 | 0.021591 | 0.0054112 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3271-36_0_4_load_75 | 75 | 0.0025636 | 0.00064249 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3271-36_0_4_load_76 | 76 | 0.0045119 | 0.0011308 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3271-36_0_4_load_81 | 77 | 0.003326 | 0.00083358 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3271-36_0_4_load_82 | 78 | 0.0028863 | 0.00072337 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3271-36_0_4_load_83 | 80 | 0.0033986 | 0.00085176 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3271-36_0_4_load_84 | 81 | 0.002626 | 0.00065814 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3271-36_0_4_load_89 | 82 | 0.0031034 | 0.00077779 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3271-36_0_4_load_85 | 83 | 0.0027846 | 0.0006979 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3271-36_0_4_load_96 | 85 | 0.003633 | 0.00091052 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3271-36_0_4_load_94 | 86 | 0.0030124 | 0.00075498 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3271-36_0_4_load_92 | 87 | 0.00201 | 0.00050375 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3271-36_0_4_load_90 | 88 | 0.0016947 | 0.00042473 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3271-36_0_4_load_91 | 89 | 0.0029252 | 0.00073314 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3271-36_0_4_load_93 | 90 | 0.0037398 | 0.00093728 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3271-36_0_4_load_98 | 92 | 0.0039943 | 0.0010011 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3271-36_0_4_load_101 | 95 | 0.0046289 | 0.0011601 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3271-36_0_4_load_104 | 96 | 0.0049351 | 0.0012369 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3271-36_0_4_load_105 | 98 | 0.0024434 | 0.00061237 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3271-36_0_4_load_103 | 99 | 0.003265 | 0.00081828 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 66 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3271-36_0_4_line_0 |  | 0 | 1 | 0.020337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3271-36_0_4_line_1 |  | 1 | 2 | 0.008925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3271-36_0_4_line_2 |  | 2 | 3 | 0.016516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3271-36_0_4_line_3 |  | 3 | 9 | 0.0063008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3271-36_0_4_line_4 |  | 4 | 5 | 0.01414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3271-36_0_4_line_5 |  | 4 | 6 | 0.060388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3271-36_0_4_line_6 |  | 5 | 11 | 0.024671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3271-36_0_4_line_7 |  | 6 | 12 | 0.06634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3271-36_0_4_line_8 |  | 7 | 8 | 0.036761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3271-36_0_4_line_9 |  | 8 | 13 | 0.021919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3271-36_0_4_line_10 |  | 8 | 10 | 0.014731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3271-36_0_4_line_11 |  | 9 | 19 | 0.016731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3271-36_0_4_line_12 |  | 11 | 24 | 0.0066072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3271-36_0_4_line_13 |  | 12 | 52 | 0.023595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3271-36_0_4_line_14 |  | 13 | 16 | 0.00080663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3271-36_0_4_line_15 |  | 14 | 15 | 0.0073457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3271-36_0_4_line_16 |  | 15 | 17 | 0.017989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3271-36_0_4_line_17 |  | 16 | 18 | 0.022548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3271-36_0_4_line_18 |  | 17 | 20 | 0.016367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3271-36_0_4_line_19 |  | 18 | 63 | 0.00026393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3271-36_0_4_line_20 |  | 19 | 38 | 0.0025211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3271-36_0_4_line_21 |  | 20 | 21 | 0.010856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3271-36_0_4_line_22 |  | 21 | 77 | 0.030558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3271-36_0_4_line_23 |  | 21 | 78 | 0.016134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3271-36_0_4_line_24 |  | 22 | 23 | 0.00096824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3271-36_0_4_line_25 |  | 23 | 76 | 0.020759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3271-36_0_4_line_26 |  | 24 | 25 | 0.012835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3271-36_0_4_line_27 |  | 25 | 26 | 0.012838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3271-36_0_4_line_28 |  | 26 | 27 | 0.0080919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3271-36_0_4_line_29 |  | 27 | 28 | 0.024547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3271-36_0_4_line_30 |  | 28 | 47 | 0.0027679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3271-36_0_4_line_31 |  | 29 | 30 | 0.0063831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3271-36_0_4_line_32 |  | 29 | 31 | 0.0069833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3271-36_0_4_line_33 |  | 30 | 32 | 0.015752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3271-36_0_4_line_34 |  | 31 | 33 | 0.014948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3271-36_0_4_line_35 |  | 31 | 34 | 0.035597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3271-36_0_4_line_36 |  | 32 | 35 | 0.004896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3271-36_0_4_line_37 |  | 33 | 36 | 0.00026039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3271-36_0_4_line_38 |  | 34 | 37 | 0.014277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3271-36_0_4_line_39 |  | 35 | 38 | 0.020241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3271-36_0_4_line_40 |  | 36 | 39 | 0.025644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3271-36_0_4_line_41 |  | 37 | 40 | 0.019379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3271-36_0_4_line_42 |  | 37 | 41 | 0.016393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3271-36_0_4_line_43 |  | 37 | 42 | 0.036732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3271-36_0_4_line_44 |  | 39 | 54 | 0.0069397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3271-36_0_4_line_45 |  | 40 | 65 | 0.011725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3271-36_0_4_line_46 |  | 41 | 66 | 0.00095905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_3271-36_0_4_line_47 |  | 42 | 64 | 0.00083201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3271-36_0_4_line_48 |  | 43 | 44 | 0.01173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3271-36_0_4_line_49 |  | 43 | 45 | 0.011894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3271-36_0_4_line_50 |  | 44 | 46 | 0.035703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3271-36_0_4_line_51 |  | 45 | 47 | 0.016939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3271-36_0_4_line_52 |  | 46 | 48 | 0.019099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3271-36_0_4_line_53 |  | 46 | 49 | 0.010904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3271-36_0_4_line_54 |  | 46 | 50 | 0.020657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3271-36_0_4_line_55 |  | 49 | 51 | 0.026341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3271-36_0_4_line_56 |  | 51 | 53 | 0.0037858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3271-36_0_4_line_57 |  | 53 | 56 | 0.015161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3271-36_0_4_line_58 |  | 54 | 55 | 0.010677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3271-36_0_4_line_59 |  | 55 | 56 | 0.035278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3271-36_0_4_line_60 |  | 56 | 57 | 0.018535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3271-36_0_4_line_61 |  | 58 | 59 | 0.01044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3271-36_0_4_line_62 |  | 59 | 60 | 0.01302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3271-36_0_4_line_63 |  | 60 | 65 | 0.0070102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3271-36_0_4_line_64 |  | 61 | 62 | 0.014109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3271-36_0_4_line_65 |  | 62 | 72 | 0.027792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3271-36_0_4_line_66 |  | 62 | 70 | 0.034842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3271-36_0_4_line_67 |  | 63 | 64 | 0.019703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3271-36_0_4_line_68 |  | 66 | 67 | 0.027201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_3271-36_0_4_line_69 |  | 67 | 68 | 0.018914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3271-36_0_4_line_70 |  | 68 | 69 | 0.010369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3271-36_0_4_line_71 |  | 68 | 70 | 0.0052185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3271-36_0_4_line_72 |  | 69 | 71 | 0.0040911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3271-36_0_4_line_73 |  | 71 | 75 | 0.016352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3271-36_0_4_line_74 |  | 72 | 73 | 0.029127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3271-36_0_4_line_75 |  | 73 | 74 | 0.004287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3271-36_0_4_line_76 |  | 74 | 84 | 0.032315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3271-36_0_4_line_77 |  | 74 | 83 | 0.019226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3271-36_0_4_line_78 |  | 75 | 76 | 0.020396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3271-36_0_4_line_79 |  | 78 | 79 | 0.013289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3271-36_0_4_line_80 |  | 79 | 82 | 0.026584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3271-36_0_4_line_81 |  | 80 | 81 | 0.018083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3271-36_0_4_line_82 |  | 81 | 83 | 0.017131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3271-36_0_4_line_83 |  | 82 | 87 | 0.018258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3271-36_0_4_line_84 |  | 84 | 85 | 0.022441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3271-36_0_4_line_85 |  | 84 | 86 | 0.027824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3271-36_0_4_line_86 |  | 85 | 91 | 0.0064172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3271-36_0_4_line_87 |  | 86 | 90 | 0.020159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3271-36_0_4_line_88 |  | 87 | 88 | 0.0025744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3271-36_0_4_line_89 |  | 88 | 89 | 0.018021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3271-36_0_4_line_90 |  | 89 | 90 | 0.00021284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_3271-36_0_4_line_91 |  | 91 | 92 | 0.024612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_3271-36_0_4_line_92 |  | 92 | 93 | 0.016973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_3271-36_0_4_line_93 |  | 93 | 94 | 0.02117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_3271-36_0_4_line_94 |  | 93 | 95 | 0.043705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_3271-36_0_4_line_95 |  | 94 | 96 | 0.017203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_3271-36_0_4_line_96 |  | 95 | 97 | 0.035708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_3271-36_0_4_line_97 |  | 96 | 98 | 0.0088297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_3271-36_0_4_line_98 |  | 97 | 99 | 0.013278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3271-36_0_4_trafo_66 | 0.63 MVA 20/0.4 kV | 100 | 66 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2
0 | 2754183.5747 | 1226328.8626 | 2754163.3565 | 1226326.6647
1 | 2754184.5329 | 1226319.9904 | 2754183.5747 | 1226328.8626
2 | 2754184.5329 | 1226319.9904 | 2754200.2577 | 1226325.0417
3 | 2754200.2577 | 1226325.0417 | 2754206.2566 | 1226326.9687
4 | 2754178.122 | 1226379.1565 | 2754191.5961 | 1226383.4444
5 | 2754171.666 | 1226439.1888 | 2754178.122 | 1226379.1565
6 | 2754191.5961 | 1226383.4444 | 2754215.1053 | 1226390.9259
7 | 2754171.666 | 1226439.1888 | 2754235.6549 | 1226456.6931
8 | 2754190.7128 | 1226266.2234 | 2754155.5488 | 1226255.505
9 | 2754190.7128 | 1226266.2234 | 2754211.35 | 1226273.609
10 | 2754190.7128 | 1226266.2234 | 2754189.0287 | 1226280.8577
11 | 2754222.1862 | 1226332.0857 | 2754206.2566 | 1226326.9687
12 | 2754215.1053 | 1226390.9259 | 2754221.4014 | 1226392.9295
13 | 2754235.6549 | 1226456.6931 | 2754248.3344 | 1226460.1615 | 2754258.4849 | 1226462.6427
14 | 2754212.1095 | 1226273.8808 | 2754211.35 | 1226273.609
15 | 2754195.6735 | 1226229.5122 | 2754196.6571 | 1226222.2326
16 | 2754199.066 | 1226204.4052 | 2754196.6571 | 1226222.2326
17 | 2754212.1095 | 1226273.8808 | 2754233.339 | 1226281.4785
18 | 2754199.066 | 1226204.4052 | 2754200.3874 | 1226188.0916
19 | 2754233.5875 | 1226281.5674 | 2754233.339 | 1226281.4785
20 | 2754224.5865 | 1226332.8568 | 2754222.1862 | 1226332.0857
21 | 2754201.2639 | 1226177.2706 | 2754200.3874 | 1226188.0916
22 | 2754201.2639 | 1226177.2706 | 2754231.6637 | 1226180.3772
23 | 2754201.2639 | 1226177.2706 | 2754203.1185 | 1226161.2434
24 | 2754234.5987 | 1226216.3461 | 2754233.6809 | 1226216.0376
25 | 2754254.2764 | 1226222.9588 | 2754234.5987 | 1226216.3461
26 | 2754233.6323 | 1226396.8218 | 2754221.4014 | 1226392.9295
27 | 2754233.6323 | 1226396.8218 | 2754245.8655 | 1226400.7149
28 | 2754245.8655 | 1226400.7149 | 2754253.5764 | 1226403.1687
29 | 2754277.221 | 1226409.6673 | 2754266.8885 | 1226407.4051 | 2754253.5764 | 1226403.1687
30 | 2754277.221 | 1226409.6673 | 2754279.9249 | 1226410.2593
31 | 2754263.5159 | 1226345.362 | 2754269.5932 | 1226347.3141
32 | 2754276.2418 | 1226349.4499 | 2754269.5932 | 1226347.3141
33 | 2754248.5188 | 1226340.5444 | 2754263.5159 | 1226345.362
34 | 2754276.2418 | 1226349.4499 | 2754290.7518 | 1226353.0414
35 | 2754276.2418 | 1226349.4499 | 2754284.2815 | 1226314.7725
36 | 2754248.5188 | 1226340.5444 | 2754243.8573 | 1226339.0471
37 | 2754291.0045 | 1226353.104 | 2754290.7518 | 1226353.0414
38 | 2754287.5061 | 1226300.8639 | 2754284.2815 | 1226314.7725
39 | 2754224.5865 | 1226332.8568 | 2754243.8573 | 1226339.0471
40 | 2754291.0045 | 1226353.104 | 2754315.8975 | 1226359.2657
41 | 2754287.5061 | 1226300.8639 | 2754306.5318 | 1226304.5467
42 | 2754287.5061 | 1226300.8639 | 2754291.4607 | 1226284.9547
43 | 2754287.5061 | 1226300.8639 | 2754252.9217 | 1226288.4868
44 | 2754322.6339 | 1226360.9331 | 2754315.8975 | 1226359.2657
45 | 2754306.5318 | 1226304.5467 | 2754318.0429 | 1226306.7749
46 | 2754291.4607 | 1226284.9547 | 2754291.6921 | 1226284.024
47 | 2754252.9217 | 1226288.4868 | 2754252.1384 | 1226288.2064
48 | 2754319.5498 | 1226418.9346 | 2754308.0908 | 1226416.4258
49 | 2754296.4721 | 1226413.8821 | 2754308.0908 | 1226416.4258
50 | 2754354.4263 | 1226426.5704 | 2754319.5498 | 1226418.9346
51 | 2754279.9249 | 1226410.2593 | 2754296.4721 | 1226413.8821
52 | 2754354.4263 | 1226426.5704 | 2754372.9989 | 1226431.0256
53 | 2754354.4263 | 1226426.5704 | 2754357.5406 | 1226416.1211
54 | 2754354.4263 | 1226426.5704 | 2754349.0226 | 1226446.5077
55 | 2754357.5406 | 1226416.1211 | 2754362.9584 | 1226397.9432 | 2754364.1585 | 1226390.6685
56 | 2754364.7748 | 1226386.9332 | 2754364.1585 | 1226390.6685
57 | 2754367.2426 | 1226371.9749 | 2754364.7748 | 1226386.9332
58 | 2754332.9977 | 1226363.4984 | 2754322.6339 | 1226360.9331
59 | 2754367.2426 | 1226371.9749 | 2754332.9977 | 1226363.4984
60 | 2754367.2426 | 1226371.9749 | 2754366.1158 | 1226353.4739
61 | 2754347.9577 | 1226312.5655 | 2754337.7081 | 1226310.5815
62 | 2754324.9253 | 1226308.1071 | 2754337.7081 | 1226310.5815
63 | 2754324.9253 | 1226308.1071 | 2754318.0429 | 1226306.7749
64 | 2754341.6758 | 1226249.0098 | 2754345.3847 | 1226262.6231
65 | 2754341.6758 | 1226249.0098 | 2754334.3693 | 1226222.1958
66 | 2754341.6758 | 1226249.0098 | 2754307.8786 | 1226240.5395
67 | 2754233.5875 | 1226281.5674 | 2754252.1384 | 1226288.2064
68 | 2754291.6921 | 1226284.024 | 2754298.2539 | 1226257.6266
69 | 2754302.8167 | 1226239.2709 | 2754298.2539 | 1226257.6266
70 | 2754302.8167 | 1226239.2709 | 2754292.9881 | 1226235.968
71 | 2754302.8167 | 1226239.2709 | 2754307.8786 | 1226240.5395
72 | 2754289.1101 | 1226234.6648 | 2754292.9881 | 1226235.968
73 | 2754289.1101 | 1226234.6648 | 2754273.6096 | 1226229.4558
74 | 2754326.7117 | 1226194.0934 | 2754334.3693 | 1226222.1958
75 | 2754325.537 | 1226189.9703 | 2754326.7117 | 1226194.0934
76 | 2754325.537 | 1226189.9703 | 2754317.7886 | 1226158.5961
77 | 2754325.537 | 1226189.9703 | 2754306.4102 | 1226188.0157
78 | 2754273.6096 | 1226229.4558 | 2754254.2764 | 1226222.9588
79 | 2754204.6461 | 1226148.0425 | 2754203.1185 | 1226161.2434
80 | 2754204.6461 | 1226148.0425 | 2754231.1147 | 1226150.5114
81 | 2754271.3786 | 1226184.4357 | 2754289.3678 | 1226186.2741
82 | 2754289.3678 | 1226186.2741 | 2754306.4102 | 1226188.0157
83 | 2754249.2942 | 1226152.2071 | 2754231.1147 | 1226150.5114
84 | 2754317.7886 | 1226158.5961 | 2754312.0707 | 1226136.8963
85 | 2754317.7886 | 1226158.5961 | 2754290.0849 | 1226156.012
86 | 2754310.4355 | 1226130.6909 | 2754312.0707 | 1226136.8963
87 | 2754270.013 | 1226154.1397 | 2754290.0849 | 1226156.012
88 | 2754251.8575 | 1226152.4462 | 2754249.2942 | 1226152.2071
89 | 2754251.8575 | 1226152.4462 | 2754269.8011 | 1226154.12
90 | 2754269.8011 | 1226154.12 | 2754270.013 | 1226154.1397
91 | 2754310.4355 | 1226130.6909 | 2754304.1628 | 1226106.8916
92 | 2754299.8371 | 1226090.4791 | 2754304.1628 | 1226106.8916
93 | 2754299.8371 | 1226090.4791 | 2754294.1699 | 1226070.0801
94 | 2754299.8371 | 1226090.4791 | 2754257.903 | 1226102.7959
95 | 2754294.1699 | 1226070.0801 | 2754277.4593 | 1226074.1663
96 | 2754235.7666 | 1226090.6629 | 2754240.7975 | 1226107.8202 | 2754257.903 | 1226102.7959
97 | 2754268.8822 | 1226076.2636 | 2754277.4593 | 1226074.1663
98 | 2754235.7666 | 1226090.6629 | 2754248.6888 | 1226087.6089

## bus_geodata
| x | y | coords
0 | 2754163.3565 | 1226326.6647
1 | 2754183.5747 | 1226328.8626
2 | 2754184.5329 | 1226319.9904
3 | 2754200.2577 | 1226325.0417
4 | 2754178.122 | 1226379.1565
5 | 2754191.5961 | 1226383.4444
6 | 2754171.666 | 1226439.1888
7 | 2754155.5488 | 1226255.505
8 | 2754190.7128 | 1226266.2234
9 | 2754206.2566 | 1226326.9687
10 | 2754189.0287 | 1226280.8577
11 | 2754215.1053 | 1226390.9259
12 | 2754235.6549 | 1226456.6931
13 | 2754211.35 | 1226273.609
14 | 2754195.6735 | 1226229.5122
15 | 2754196.6571 | 1226222.2326
16 | 2754212.1095 | 1226273.8808
17 | 2754199.066 | 1226204.4052
18 | 2754233.339 | 1226281.4785
19 | 2754222.1862 | 1226332.0857
20 | 2754200.3874 | 1226188.0916
21 | 2754201.2639 | 1226177.2706
22 | 2754233.6809 | 1226216.0376
23 | 2754234.5987 | 1226216.3461
24 | 2754221.4014 | 1226392.9295
25 | 2754233.6323 | 1226396.8218
26 | 2754245.8655 | 1226400.7149
27 | 2754253.5764 | 1226403.1687
28 | 2754277.221 | 1226409.6673
29 | 2754269.5931 | 1226347.3141
30 | 2754263.5159 | 1226345.362
31 | 2754276.2418 | 1226349.4499
32 | 2754248.5188 | 1226340.5444
33 | 2754290.7518 | 1226353.0414
34 | 2754284.2815 | 1226314.7725
35 | 2754243.8573 | 1226339.0471
36 | 2754291.0045 | 1226353.104
37 | 2754287.5061 | 1226300.8639
38 | 2754224.5865 | 1226332.8567
39 | 2754315.8975 | 1226359.2657
40 | 2754306.5318 | 1226304.5467
41 | 2754291.4607 | 1226284.9547
42 | 2754252.9217 | 1226288.4868
43 | 2754308.0908 | 1226416.4258
44 | 2754319.5498 | 1226418.9347
45 | 2754296.4721 | 1226413.8821
46 | 2754354.4263 | 1226426.5704
47 | 2754279.9249 | 1226410.2593
48 | 2754372.9989 | 1226431.0256
49 | 2754357.5406 | 1226416.1211
50 | 2754349.0226 | 1226446.5077
51 | 2754364.1585 | 1226390.6685
52 | 2754258.4849 | 1226462.6427
53 | 2754364.7748 | 1226386.9332
54 | 2754322.6339 | 1226360.9331
55 | 2754332.9977 | 1226363.4984
56 | 2754367.2426 | 1226371.9749
57 | 2754366.1158 | 1226353.4739
58 | 2754347.9577 | 1226312.5655
59 | 2754337.7081 | 1226310.5815
60 | 2754324.9253 | 1226308.1071
61 | 2754345.3847 | 1226262.6231
62 | 2754341.6758 | 1226249.0098
63 | 2754233.5875 | 1226281.5674
64 | 2754252.1384 | 1226288.2064
65 | 2754318.0429 | 1226306.7749
66 | 2754291.6921 | 1226284.024
67 | 2754298.2539 | 1226257.6266
68 | 2754302.8167 | 1226239.2709
69 | 2754292.9881 | 1226235.968
70 | 2754307.8786 | 1226240.5395
71 | 2754289.1101 | 1226234.6648
72 | 2754334.3693 | 1226222.1958
73 | 2754326.7117 | 1226194.0934
74 | 2754325.537 | 1226189.9703
75 | 2754273.6096 | 1226229.4558
76 | 2754254.2764 | 1226222.9588
77 | 2754231.6637 | 1226180.3772
78 | 2754203.1185 | 1226161.2434
79 | 2754204.6461 | 1226148.0425
80 | 2754271.3786 | 1226184.4357
81 | 2754289.3678 | 1226186.2741
82 | 2754231.1147 | 1226150.5114
83 | 2754306.4102 | 1226188.0157
84 | 2754317.7886 | 1226158.5961
85 | 2754312.0707 | 1226136.8963
86 | 2754290.0849 | 1226156.012
87 | 2754249.2942 | 1226152.2071
88 | 2754251.8575 | 1226152.4462
89 | 2754269.8011 | 1226154.12
90 | 2754270.013 | 1226154.1397
91 | 2754310.4355 | 1226130.6909
92 | 2754304.1628 | 1226106.8916
93 | 2754299.8371 | 1226090.4791
94 | 2754294.1699 | 1226070.0801
95 | 2754257.903 | 1226102.7959
96 | 2754277.4593 | 1226074.1663
97 | 2754235.7666 | 1226090.6629
98 | 2754268.8822 | 1226076.2636
99 | 2754248.6888 | 1226087.6089
100 | 2754287.5061 | 1226300.8639

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1