## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3271-6_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3271-6_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3271-6_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3271-6_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3271-6_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3271-6_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3271-6_0_2_node_18 | 0.4 | n |  | TRUE
7 | bus_LV_3271-6_0_2_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_3271-6_0_2_node_32 | 0.4 | n |  | TRUE
9 | bus_LV_3271-6_0_2_node_33 | 0.4 | n |  | TRUE
10 | bus_LV_3271-6_0_2_node_34 | 0.4 | n |  | TRUE
11 | bus_LV_3271-6_0_2_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_3271-6_0_2_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_3271-6_0_2_node_17 | 0.4 | n |  | TRUE
14 | bus_LV_3271-6_0_2_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_3271-6_0_2_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_3271-6_0_2_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_3271-6_0_2_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_3271-6_0_2_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_3271-6_0_2_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_3271-6_0_2_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_3271-6_0_2_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_3271-6_0_2_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_3271-6_0_2_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_3271-6_0_2_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_3271-6_0_2_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_3271-6_0_2_node_37 | 0.4 | n |  | TRUE
27 | bus_LV_3271-6_0_2_node_47 | 0.4 | n |  | TRUE
28 | bus_LV_3271-6_0_2_node_52 | 0.4 | n |  | TRUE
29 | bus_LV_3271-6_0_2_node_53 | 0.4 | n |  | TRUE
30 | bus_LV_3271-6_0_2_node_48 | 0.4 | n |  | TRUE
31 | bus_LV_3271-6_0_2_node_49 | 0.4 | n |  | TRUE
32 | bus_LV_3271-6_0_2_node_50 | 0.4 | n |  | TRUE
33 | bus_LV_3271-6_0_2_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_3271-6_0_2_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_3271-6_0_2_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_3271-6_0_2_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_3271-6_0_2_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_3271-6_0_2_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_3271-6_0_2_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_3271-6_0_2_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_3271-6_0_2_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_3271-6_0_2_node_44 | 0.4 | n |  | TRUE
43 | bus_LV_3271-6_0_2_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_3271-6_0_2_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_3271-6_0_2_node_67 | 0.4 | n |  | TRUE
46 | bus_LV_3271-6_0_2_node_51 | 0.4 | n |  | TRUE
47 | bus_LV_3271-6_0_2_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_3271-6_0_2_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_3271-6_0_2_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_3271-6_0_2_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_3271-6_0_2_node_54 | 0.4 | n |  | TRUE
52 | bus_LV_3271-6_0_2_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_3271-6_0_2_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_3271-6_0_2_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_3271-6_0_2_node_55 | 0.4 | n |  | TRUE
56 | bus_LV_3271-6_0_2_node_56 | 0.4 | n |  | TRUE
57 | bus_LV_3271-6_0_2_node_58 | 0.4 | n |  | TRUE
58 | bus_LV_3271-6_0_2_node_57 | 0.4 | n |  | TRUE
59 | bus_LV_3271-6_0_2_node_60 | 0.4 | n |  | TRUE
60 | bus_LV_3271-6_0_2_node_59 | 0.4 | n |  | TRUE
61 | bus_LV_3271-6_0_2_node_61 | 0.4 | n |  | TRUE
62 | bus_LV_3271-6_0_2_node_68 | 0.4 | n |  | TRUE
63 | bus_LV_3271-6_0_2_node_69 | 0.4 | n |  | TRUE
64 | bus_LV_3271-6_0_2_node_72 | 0.4 | n |  | TRUE
65 | bus_LV_3271-6_0_2_node_71 | 0.4 | n |  | TRUE
66 | bus_LV_3271-6_0_2_node_62 | 0.4 | n |  | TRUE
67 | bus_LV_3271-6_0_2_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_3271-6_0_2_node_64 | 0.4 | n |  | TRUE
69 | bus_LV_3271-6_0_2_node_65 | 0.4 | n |  | TRUE
70 | bus_LV_3271-6_0_2_node_76 | 0.4 | n |  | TRUE
71 | bus_LV_3271-6_0_2_node_66 | 0.4 | n |  | TRUE
72 | bus_LV_3271-6_0_2_node_74 | 0.4 | n |  | TRUE
73 | bus_LV_3271-6_0_2_node_70 | 0.4 | n |  | TRUE
74 | bus_LV_3271-6_0_2_node_73 | 0.4 | n |  | TRUE
75 | bus_LV_3271-6_0_2_node_75 | 0.4 | n |  | TRUE
76 | bus_LV_3271-6_0_2_node_77 | 0.4 | n |  | TRUE
77 | bus_LV_3271-6_0_2_node_78 | 0.4 | n |  | TRUE
78 | bus_MV_0_node_55 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3271-6_0_2_load_0 | 0 | 0.00058989 | 0.00014784 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3271-6_0_2_load_4 | 4 | 0.00033429 | 8.3782e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3271-6_0_2_load_18 | 6 | 0.00012575 | 3.1517e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3271-6_0_2_load_6 | 7 | 0.00023206 | 5.8159e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3271-6_0_2_load_32 | 8 | 0.00028157 | 7.0567e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3271-6_0_2_load_12 | 11 | 0.00013711 | 3.4363e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3271-6_0_2_load_9 | 14 | 0.00019399 | 4.8619e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3271-6_0_2_load_8 | 15 | 0.00022793 | 5.7125e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3271-6_0_2_load_10 | 16 | 0.00021164 | 5.3041e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3271-6_0_2_load_13 | 17 | 0.0012877 | 0.00032274 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3271-6_0_2_load_14 | 18 | 0.00059462 | 0.00014902 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3271-6_0_2_load_16 | 20 | 0.00035504 | 8.898e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3271-6_0_2_load_19 | 21 | 0.00026196 | 6.5653e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3271-6_0_2_load_20 | 22 | 0.00018735 | 4.6953e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3271-6_0_2_load_22 | 23 | 8.1519e-05 | 2.0431e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3271-6_0_2_load_21 | 24 | 0.00021813 | 5.4668e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3271-6_0_2_load_23 | 25 | 0.00022721 | 5.6943e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3271-6_0_2_load_53 | 29 | 0.0013821 | 0.0003464 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3271-6_0_2_load_48 | 30 | 0.00019107 | 4.7886e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3271-6_0_2_load_49 | 31 | 0.00088747 | 0.00022242 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3271-6_0_2_load_50 | 32 | 0.0014167 | 0.00035507 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3271-6_0_2_load_24 | 33 | 0.00076075 | 0.00019066 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3271-6_0_2_load_25 | 34 | 0.00069878 | 0.00017513 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3271-6_0_2_load_31 | 40 | 0.00014815 | 3.7129e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3271-6_0_2_load_38 | 41 | 0.00059908 | 0.00015014 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3271-6_0_2_load_44 | 42 | 0.0001929 | 4.8347e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3271-6_0_2_load_41 | 43 | 9.1839e-05 | 2.3017e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3271-6_0_2_load_40 | 44 | 0.00027937 | 7.0017e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3271-6_0_2_load_67 | 45 | 0.0013787 | 0.00034554 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3271-6_0_2_load_51 | 46 | 0.00022404 | 5.6149e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3271-6_0_2_load_39 | 47 | 0.001618 | 0.00040551 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3271-6_0_2_load_42 | 48 | 0.00019103 | 4.7877e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3271-6_0_2_load_35 | 50 | 0.00025387 | 6.3625e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3271-6_0_2_load_54 | 51 | 0.00026739 | 6.7014e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3271-6_0_2_load_43 | 52 | 0.00011817 | 2.9615e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3271-6_0_2_load_45 | 53 | 0.0001241 | 3.1103e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3271-6_0_2_load_46 | 54 | 0.00015624 | 3.9156e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3271-6_0_2_load_56 | 56 | 0.0016957 | 0.00042499 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3271-6_0_2_load_58 | 57 | 0.0018331 | 0.00045943 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3271-6_0_2_load_57 | 58 | 0.0007922 | 0.00019854 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3271-6_0_2_load_60 | 59 | 0.00096394 | 0.00024159 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3271-6_0_2_load_61 | 61 | 0.00095449 | 0.00023922 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3271-6_0_2_load_68 | 62 | 0.00094346 | 0.00023645 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3271-6_0_2_load_69 | 63 | 0.0014093 | 0.0003532 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3271-6_0_2_load_72 | 64 | 0.00072365 | 0.00018136 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3271-6_0_2_load_62 | 66 | 0.00095977 | 0.00024054 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3271-6_0_2_load_65 | 69 | 0.00018882 | 4.7322e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3271-6_0_2_load_76 | 70 | 0.00046124 | 0.0001156 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3271-6_0_2_load_66 | 71 | 0.00028577 | 7.162e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3271-6_0_2_load_70 | 73 | 0.0013055 | 0.00032718 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3271-6_0_2_load_73 | 74 | 0.0010757 | 0.0002696 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3271-6_0_2_load_75 | 75 | 0.00017604 | 4.4119e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3271-6_0_2_load_77 | 76 | 0.00051875 | 0.00013001 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3271-6_0_2_load_78 | 77 | 0.00096984 | 0.00024306 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 55 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3271-6_0_2_line_0 |  | 0 | 1 | 0.0092162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3271-6_0_2_line_1 |  | 0 | 2 | 0.074251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3271-6_0_2_line_2 |  | 1 | 3 | 0.21496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3271-6_0_2_line_3 |  | 1 | 4 | 0.027615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3271-6_0_2_line_4 |  | 2 | 5 | 0.15739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3271-6_0_2_line_5 |  | 3 | 6 | 0.17816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3271-6_0_2_line_6 |  | 4 | 7 | 0.015154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3271-6_0_2_line_7 |  | 5 | 8 | 0.015083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3271-6_0_2_line_8 |  | 6 | 12 | 0.1445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3271-6_0_2_line_9 |  | 8 | 13 | 0.043124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3271-6_0_2_line_10 |  | 9 | 10 | 0.21716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3271-6_0_2_line_11 |  | 9 | 11 | 0.088926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3271-6_0_2_line_12 |  | 10 | 49 | 0.27696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3271-6_0_2_line_13 |  | 10 | 50 | 0.096218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3271-6_0_2_line_14 |  | 11 | 16 | 0.01668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3271-6_0_2_line_15 |  | 12 | 14 | 0.019476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3271-6_0_2_line_16 |  | 13 | 19 | 0.30422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3271-6_0_2_line_17 |  | 14 | 15 | 0.087431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3271-6_0_2_line_18 |  | 15 | 16 | 0.081696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3271-6_0_2_line_19 |  | 17 | 18 | 0.05804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3271-6_0_2_line_20 |  | 17 | 19 | 0.17511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3271-6_0_2_line_21 |  | 18 | 20 | 0.041635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3271-6_0_2_line_22 |  | 21 | 22 | 0.050243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3271-6_0_2_line_23 |  | 22 | 23 | 0.097539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3271-6_0_2_line_24 |  | 23 | 26 | 0.24531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3271-6_0_2_line_25 |  | 24 | 25 | 0.0051592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3271-6_0_2_line_26 |  | 25 | 27 | 0.1343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3271-6_0_2_line_27 |  | 26 | 28 | 0.19701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3271-6_0_2_line_28 |  | 26 | 29 | 0.16599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3271-6_0_2_line_29 |  | 27 | 30 | 0.05644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3271-6_0_2_line_30 |  | 27 | 31 | 0.21741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3271-6_0_2_line_31 |  | 27 | 32 | 0.17138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3271-6_0_2_line_32 |  | 28 | 45 | 0.23455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3271-6_0_2_line_33 |  | 28 | 37 | 0.021628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3271-6_0_2_line_34 |  | 30 | 49 | 0.073066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3271-6_0_2_line_35 |  | 31 | 55 | 0.008565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3271-6_0_2_line_36 |  | 32 | 45 | 0.05982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3271-6_0_2_line_37 |  | 33 | 34 | 0.01536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3271-6_0_2_line_38 |  | 33 | 35 | 0.045666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3271-6_0_2_line_39 |  | 34 | 36 | 0.20835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3271-6_0_2_line_40 |  | 35 | 37 | 0.27249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3271-6_0_2_line_41 |  | 35 | 38 | 0.008273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3271-6_0_2_line_42 |  | 36 | 39 | 0.008754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3271-6_0_2_line_43 |  | 36 | 40 | 0.014209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3271-6_0_2_line_44 |  | 38 | 41 | 0.048112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3271-6_0_2_line_45 |  | 39 | 42 | 0.058086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3271-6_0_2_line_46 |  | 39 | 43 | 0.013541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3271-6_0_2_line_47 |  | 40 | 44 | 0.0415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3271-6_0_2_line_48 |  | 41 | 47 | 0.001931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3271-6_0_2_line_49 |  | 42 | 46 | 0.018123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3271-6_0_2_line_50 |  | 43 | 48 | 0.021916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3271-6_0_2_line_51 |  | 48 | 52 | 0.019852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3271-6_0_2_line_52 |  | 49 | 51 | 0.090026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3271-6_0_2_line_53 |  | 52 | 53 | 0.0066224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3271-6_0_2_line_54 |  | 53 | 54 | 0.022849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3271-6_0_2_line_55 |  | 55 | 56 | 0.070264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3271-6_0_2_line_56 |  | 56 | 57 | 0.14449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3271-6_0_2_line_57 |  | 57 | 60 | 0.16888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3271-6_0_2_line_58 |  | 58 | 59 | 0.082351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3271-6_0_2_line_59 |  | 59 | 61 | 0.077781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3271-6_0_2_line_60 |  | 60 | 62 | 0.12336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3271-6_0_2_line_61 |  | 61 | 64 | 0.0021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3271-6_0_2_line_62 |  | 62 | 63 | 0.08531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3271-6_0_2_line_63 |  | 63 | 73 | 0.045592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3271-6_0_2_line_64 |  | 64 | 65 | 0.027235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3271-6_0_2_line_65 |  | 65 | 74 | 0.020489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3271-6_0_2_line_66 |  | 65 | 73 | 0.090167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3271-6_0_2_line_67 |  | 66 | 67 | 0.051611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3271-6_0_2_line_68 |  | 67 | 68 | 0.13203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3271-6_0_2_line_69 |  | 67 | 69 | 0.027454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3271-6_0_2_line_70 |  | 68 | 70 | 0.10602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3271-6_0_2_line_71 |  | 69 | 71 | 0.017653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3271-6_0_2_line_72 |  | 70 | 72 | 0.14174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3271-6_0_2_line_73 |  | 72 | 75 | 0.11069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3271-6_0_2_line_74 |  | 72 | 74 | 0.051775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3271-6_0_2_line_75 |  | 75 | 76 | 0.054191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3271-6_0_2_line_76 |  | 76 | 77 | 0.093355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3271-6_0_2_trafo_55 | 0.63 MVA 20/0.4 kV | 78 | 55 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28
0 | 2753113.7048 | 1224389.5041 | 2753117.4073 | 1224389.1991 | 2753121.0973 | 1224389.6722 | 2753122.7809 | 1224390.2529
1 | 2753141.5049 | 1224458.3263 | 2753137.6231 | 1224447.0384 | 2753134.1943 | 1224435.8289 | 2753133.7008 | 1224409.3254 | 2753133.4015 | 1224401.7998 | 2753132.1312 | 1224397.5076 | 2753130.1787 | 1224394.9662 | 2753127.7988 | 1224392.8141 | 2753124.6166 | 1224390.8861 | 2753122.7809 | 1224390.2529
2 | 2753113.7048 | 1224389.5041 | 2753110.0036 | 1224391.8222 | 2753106.2313 | 1224395.4284 | 2753061.766 | 1224462.0789 | 2753043.3335 | 1224500.3064 | 2753019.6146 | 1224555.3023 | 2753015.9785 | 1224560.9918 | 2753009.6246 | 1224566.1665 | 2753001.6915 | 1224567.853
3 | 2753113.7048 | 1224389.5041 | 2753097.5783 | 1224367.0875
4 | 2753141.5049 | 1224458.3263 | 2753146.5504 | 1224448.8809 | 2753147.5172 | 1224434.9041 | 2753148.8096 | 1224424.1943 | 2753157.0438 | 1224420.5473 | 2753168.5147 | 1224417.5953 | 2753183.874 | 1224421.8499 | 2753192.1757 | 1224431.1943 | 2753219.8141 | 1224448.5325 | 2753238.3356 | 1224464.0234 | 2753250.046 | 1224475.0349
5 | 2753001.6915 | 1224567.853 | 2752996.0741 | 1224565.0394 | 2752993.565 | 1224556.4115 | 2752997.1938 | 1224542.1585 | 2752999.7654 | 1224518.87 | 2752999.0113 | 1224503.9482 | 2752987.53 | 1224472.5134 | 2752986.3663 | 1224464.6653 | 2752983.1966 | 1224443.3755 | 2752968.8985 | 1224408.4764 | 2752965.4222 | 1224399.9904
6 | 2753097.5783 | 1224367.0875 | 2753088.7284 | 1224354.7858
7 | 2753250.046 | 1224475.0349 | 2753255.5671 | 1224469.2161 | 2753261.6673 | 1224465.6588
8 | 2752915.8525 | 1224265.4168 | 2752928.8131 | 1224283.6107 | 2752932.7072 | 1224291.4957 | 2752950.0403 | 1224343.2103 | 2752965.4222 | 1224399.9904
9 | 2753286.8922 | 1224494.5013 | 2753285.2681 | 1224485.6959 | 2753279.8767 | 1224472.6452 | 2753271.3839 | 1224466.899 | 2753261.6673 | 1224465.6588
10 | 2752809.1492 | 1224394.0381 | 2752806.5335 | 1224391.0238 | 2752802.8395 | 1224378.5955 | 2752802.2297 | 1224360.6969 | 2752799.7236 | 1224354.5937 | 2752786.5104 | 1224344.1562 | 2752771.1828 | 1224335.1102 | 2752767.7212 | 1224331.3512 | 2752760.5931 | 1224311.7283 | 2752758.7125 | 1224304.6069 | 2752755.3524 | 1224299.2603 | 2752749.8456 | 1224295.6712 | 2752745.4092 | 1224295.0124 | 2752741.0469 | 1224297.6695 | 2752735.8072 | 1224304.9528 | 2752726.3165 | 1224322.9701 | 2752719.5131 | 1224336.7859 | 2752713.836 | 1224346.0375 | 2752710.0083 | 1224356.5378 | 2752704.5819 | 1224374.3481
11 | 2752809.1492 | 1224394.0381 | 2752818.6751 | 1224382.0385 | 2752829.7716 | 1224372.1032 | 2752837.0956 | 1224362.5381 | 2752848.0975 | 1224351.2659 | 2752858.3778 | 1224337.9622 | 2752864.1969 | 1224326.1453 | 2752864.5616 | 1224325.2922
12 | 2752704.5819 | 1224374.3481 | 2752704.8989 | 1224381.2069 | 2752701.6079 | 1224391.4873 | 2752698.6518 | 1224415.9115 | 2752698.2188 | 1224424.2079 | 2752696.6555 | 1224434.5661 | 2752695.1552 | 1224448.974 | 2752691.1721 | 1224467.5999 | 2752688.59 | 1224477.1646 | 2752684.1893 | 1224484.8698 | 2752679.2694 | 1224493.2957 | 2752674.2063 | 1224500.5057 | 2752669.7311 | 1224507.8643 | 2752661.2212 | 1224516.654 | 2752648.9722 | 1224525.1143 | 2752639.1817 | 1224528.8221 | 2752628.9369 | 1224535.4544 | 2752620.6949 | 1224540.0138 | 2752611.5862 | 1224541.693 | 2752597.8865 | 1224544.3108 | 2752591.7839 | 1224543.8428 | 2752582.7511 | 1224536.6492 | 2752571.0462 | 1224523.9043 | 2752563.4924 | 1224516.4261 | 2752557.4541 | 1224510.199
13 | 2752704.5819 | 1224374.3481 | 2752700.4738 | 1224367.4031 | 2752688.99 | 1224308.5106 | 2752679.9122 | 1224281.8676
14 | 2752864.5616 | 1224325.2922 | 2752869.0966 | 1224314.683 | 2752870.5544 | 1224309.7517
15 | 2752915.8525 | 1224265.4168 | 2752909.5596 | 1224256.7028 | 2752905.7932 | 1224248.8299
16 | 2753223.4992 | 1224777.805 | 2753230.7545 | 1224761.1989 | 2753249.2412 | 1224738.5542 | 2753245.1759 | 1224722.6239 | 2753249.7693 | 1224702.4571 | 2753256.4078 | 1224681.5312 | 2753258.245 | 1224672.0587 | 2753259.697 | 1224664.5782 | 2753261.2206 | 1224652.8512 | 2753257.767 | 1224630.553 | 2753258.8249 | 1224616.2895 | 2753267.4725 | 1224602.1882 | 2753280.5743 | 1224588.6354 | 2753287.2107 | 1224576.0393 | 2753291.3202 | 1224542.8705 | 2753290.8887 | 1224513.9886 | 2753286.8922 | 1224494.5013
17 | 2752865.8199 | 1224230.0073 | 2752862.0629 | 1224217.603 | 2752865.5302 | 1224210.8081 | 2752869.2457 | 1224207.3448 | 2752873.748 | 1224205.7368 | 2752879.0822 | 1224205.7071 | 2752889.0906 | 1224213.916 | 2752905.7932 | 1224248.8299
18 | 2752870.5544 | 1224309.7517 | 2752874.1735 | 1224297.5088 | 2752876.1487 | 1224282.0566 | 2752875.6266 | 1224268.72 | 2752873.0213 | 1224253.784 | 2752865.8199 | 1224230.0073
19 | 2753194.1052 | 1224946.3975 | 2753189.5686 | 1224959.4417 | 2753180.4737 | 1224996.5303 | 2753180.2785 | 1225002.5695
20 | 2753223.4992 | 1224777.805 | 2753210.4314 | 1224807.7293 | 2753215.433 | 1224840.0208 | 2753214.1795 | 1224888.6773 | 2753201.874 | 1224924.0595 | 2753194.1052 | 1224946.3975
21 | 2753194.3595 | 1225041.369 | 2753184.5437 | 1225018.7553 | 2753180.1372 | 1225006.9422 | 2753180.2785 | 1225002.5695
22 | 2752460.8766 | 1224087.4191 | 2752463.6506 | 1224084.5654 | 2752466.9773 | 1224082.6488 | 2752471.4983 | 1224081.4969 | 2752476.4767 | 1224083.2149 | 2752481.3969 | 1224086.0212 | 2752485.2452 | 1224090.6907 | 2752487.9081 | 1224096.0193 | 2752489.8832 | 1224101.5415 | 2752492.2653 | 1224110.1743
23 | 2752460.8766 | 1224087.4191 | 2752460.8766 | 1224087.4191 | 2752458.7285 | 1224092.4909 | 2752455.5198 | 1224103.4187 | 2752452.0452 | 1224118.51 | 2752445.7911 | 1224131.9287 | 2752437.3967 | 1224143.9024 | 2752430.5921 | 1224150.0893 | 2752422.9047 | 1224156.0868 | 2752407.7372 | 1224163.2674
24 | 2752284.364 | 1224357.5237 | 2752289.6175 | 1224346.715 | 2752291.0296 | 1224335.4186 | 2752295.2 | 1224315.6519 | 2752305.009 | 1224296.7079 | 2752321.7456 | 1224264.3957 | 2752334.8435 | 1224211.5385 | 2752345.9081 | 1224194.8287 | 2752363.8844 | 1224184.0346 | 2752385.1809 | 1224173.9483 | 2752389.1207 | 1224172.0808 | 2752407.7372 | 1224163.2674
25 | 2752460.7103 | 1224366.6937 | 2752460.7232 | 1224367.7582 | 2752461.0047 | 1224371.8431
26 | 2752461.7707 | 1224505.9438 | 2752461.112 | 1224478.3685 | 2752463.6061 | 1224449.4395 | 2752463.5654 | 1224409.0018 | 2752461.0047 | 1224371.8431
27 | 2752284.364 | 1224357.5237 | 2752274.5306 | 1224369.4274 | 2752199.6502 | 1224407.736 | 2752175.7248 | 1224420.1022 | 2752163.5781 | 1224427.2537 | 2752155.8573 | 1224436.0644 | 2752142.1191 | 1224458.8672 | 2752137.4905 | 1224464.2427 | 2752133.0102 | 1224466.786 | 2752126.8224 | 1224467.2728
28 | 2752279.4653 | 1224507.9569 | 2752267.1897 | 1224507.398 | 2752264.1232 | 1224502.4262 | 2752262.4065 | 1224468.1401 | 2752267.8343 | 1224439.553 | 2752273.5458 | 1224393.6686 | 2752276.5546 | 1224381.9349 | 2752283.7896 | 1224367.2178 | 2752284.364 | 1224357.5237
29 | 2752461.7707 | 1224505.9438 | 2752469.0203 | 1224504.8729 | 2752472.5242 | 1224505.2074 | 2752474.2385 | 1224505.8074 | 2752476.5071 | 1224507.8674 | 2752485.4099 | 1224519.2502 | 2752487.7321 | 1224522.179 | 2752491.1968 | 1224524.3364 | 2752495.1041 | 1224526.3939 | 2752500.0255 | 1224526.4756 | 2752505.0883 | 1224524.0031 | 2752506.8732 | 1224521.0289
30 | 2752461.7707 | 1224505.9438 | 2752465.3895 | 1224518.0697 | 2752471.1491 | 1224531.0289 | 2752476.9476 | 1224544.245 | 2752481.5718 | 1224556.5079 | 2752483.9156 | 1224571.615 | 2752486.2996 | 1224596.6877 | 2752486.2292 | 1224620.4408 | 2752480.7129 | 1224634.6902 | 2752479.2438 | 1224646.7191 | 2752483.4881 | 1224655.7471 | 2752487.9474 | 1224664.3803 | 2752494.4903 | 1224671.0428 | 2752502.2643 | 1224677.3255 | 2752513.0164 | 1224684.0292 | 2752521.7887 | 1224694.2744 | 2752525.7543 | 1224699.0804
31 | 2752461.7707 | 1224505.9438 | 2752455.8773 | 1224519.8054 | 2752449.7121 | 1224523.8512 | 2752447.6304 | 1224530.4817 | 2752443.9584 | 1224540.8526 | 2752430.8002 | 1224556.9747 | 2752407.5511 | 1224579.0661 | 2752405.5435 | 1224593.7614 | 2752397.9412 | 1224601.496 | 2752387.9487 | 1224603.9201 | 2752377.8892 | 1224608.6669 | 2752365.3086 | 1224615.2842 | 2752348.7627 | 1224618.2634
32 | 2752126.8224 | 1224467.2728 | 2752126.9341 | 1224474.7713 | 2752127.5924 | 1224476.9123 | 2752128.4121 | 1224479.569 | 2752137.4839 | 1224486.1513 | 2752138.5819 | 1224490.9726 | 2752136.954 | 1224499.4498 | 2752149.4852 | 1224511.9591 | 2752155.2487 | 1224517.378 | 2752157.5964 | 1224521.097 | 2752162.2067 | 1224523.8506 | 2752166.6174 | 1224526.399 | 2752170.5202 | 1224526.2653 | 2752173.1119 | 1224526.9656 | 2752176.064 | 1224530.1884 | 2752177.0093 | 1224533.8603 | 2752180.1035 | 1224535.9747 | 2752189.084 | 1224539.5965 | 2752194.6992 | 1224538.9505 | 2752209.0322 | 1224543.2987 | 2752214.2757 | 1224539.9854 | 2752219.6985 | 1224539.4458 | 2752221.4774 | 1224538.4125 | 2752230.2323 | 1224544.9201 | 2752236.9487 | 1224551.9315 | 2752256.6898 | 1224567.5728 | 2752274.4125 | 1224583.8187 | 2752289.3441 | 1224596.7791 | 2752292.4852 | 1224600.1735
33 | 2752115.87 | 1224452.0569 | 2752115.4484 | 1224457.8625 | 2752117.0261 | 1224461.7285 | 2752121.1565 | 1224465.7488 | 2752126.8224 | 1224467.2728
34 | 2752557.4541 | 1224510.199 | 2752551.0419 | 1224499.3248 | 2752547.9602 | 1224494.953 | 2752546.4143 | 1224493.1117 | 2752543.2505 | 1224490.4616 | 2752540.153 | 1224490.5489 | 2752536.309 | 1224492.53 | 2752521.5023 | 1224505.4735 | 2752510.8272 | 1224515.5758 | 2752508.9794 | 1224517.5191 | 2752506.8732 | 1224521.0289
35 | 2752530.0014 | 1224706.5182 | 2752525.7543 | 1224699.0804
36 | 2752292.4852 | 1224600.1735 | 2752294.2457 | 1224602.076 | 2752304.6756 | 1224607.748 | 2752312.514 | 1224609.7503 | 2752324.448 | 1224612.3803 | 2752334.4598 | 1224615.417 | 2752348.7627 | 1224618.2634
37 | 2752029.3953 | 1224246.7778 | 2752043.7738 | 1224241.3746
38 | 2751989.6078 | 1224268.9772 | 2752006.4899 | 1224257.9205 | 2752012.1057 | 1224254.8834 | 2752015.1877 | 1224253.3273 | 2752028.1877 | 1224247.2316 | 2752029.3953 | 1224246.7778
39 | 2752150.7972 | 1224077.2213 | 2752147.979 | 1224078.8396 | 2752145.5285 | 1224081.2124 | 2752143.6766 | 1224084.5014 | 2752142.1966 | 1224089.2679 | 2752139.1466 | 1224101.4343 | 2752133.5918 | 1224140.3387 | 2752129.2472 | 1224160.7016 | 2752126.9747 | 1224165.9038 | 2752120.0861 | 1224176.8711 | 2752065.2632 | 1224233.2992 | 2752043.7738 | 1224241.3746
40 | 2752115.87 | 1224452.0569 | 2752110.9816 | 1224449.4963 | 2752112.4778 | 1224443.7961 | 2752109.5059 | 1224436.3022 | 2752110.3992 | 1224429.5523 | 2752115.8657 | 1224419.0046 | 2752117.3243 | 1224413.2923 | 2752117.8943 | 1224407.0234 | 2752114.8235 | 1224399.8384 | 2752112.3796 | 1224391.8688 | 2752099.829 | 1224361.1202 | 2752105.1771 | 1224349.2684 | 2752102.2509 | 1224343.8443 | 2752083.6704 | 1224317.7793 | 2752065.9372 | 1224310.4974 | 2752054.4485 | 1224286.8604 | 2752042.951 | 1224280.1829 | 2752027.4143 | 1224288.4714 | 2752019.6863 | 1224285.3934 | 2752013.0099 | 1224287.4804 | 2752006.4531 | 1224284.8884 | 2751989.6078 | 1224268.9772
41 | 2751982.3874 | 1224273.0521 | 2751989.6078 | 1224268.9772
42 | 2752150.7972 | 1224077.2213 | 2752154.5304 | 1224076.0156 | 2752159.3723 | 1224075.6612
43 | 2752150.7972 | 1224077.2213 | 2752145.4031 | 1224068.0195 | 2752143.6183 | 1224064.9596
44 | 2751982.3874 | 1224273.0521 | 2751983.6322 | 1224277.1876 | 2751980.0589 | 1224283.124 | 2751972.6838 | 1224295.3357 | 2751959.8583 | 1224313.942
45 | 2752159.3723 | 1224075.6612 | 2752161.8217 | 1224076.3022 | 2752164.9279 | 1224077.6606 | 2752169.4586 | 1224082.6476 | 2752170.8213 | 1224088.3987 | 2752171.4025 | 1224093.8519 | 2752170.8981 | 1224101.1122 | 2752172.4953 | 1224111.0398 | 2752179.7933 | 1224120.5461 | 2752183.3409 | 1224123.6499
46 | 2752159.3723 | 1224075.6612 | 2752161.1147 | 1224065.3854 | 2752161.8927 | 1224062.3655
47 | 2752125.5147 | 1224027.7736 | 2752132.1606 | 1224045.3161 | 2752143.6183 | 1224064.9596
48 | 2751959.8583 | 1224313.942 | 2751958.7623 | 1224315.5319
49 | 2752194.7493 | 1224137.3547 | 2752191.0282 | 1224130.3755 | 2752183.3409 | 1224123.6499
50 | 2752161.8927 | 1224062.3655 | 2752164.1976 | 1224053.42 | 2752167.5777 | 1224043.7754 | 2752168.591 | 1224041.5356
51 | 2752168.591 | 1224041.5356 | 2752173.1828 | 1224031.3853 | 2752177.0422 | 1224023.5751
52 | 2752557.4541 | 1224510.199 | 2752571.242 | 1224506.5157 | 2752595.1563 | 1224497.8542 | 2752613.1733 | 1224485.4604 | 2752623.0243 | 1224475.8486 | 2752625.7959 | 1224461.262
53 | 2752179.9761 | 1224017.638 | 2752177.0422 | 1224023.5751
54 | 2752179.9761 | 1224017.638 | 2752182.3761 | 1224012.7812 | 2752190.1662 | 1223997.1877
55 | 2752530.0014 | 1224706.5182 | 2752527.3621 | 1224715.0694 | 2752526.4442 | 1224723.3534 | 2752522.827 | 1224741.3438 | 2752518.8543 | 1224749.8275 | 2752510.1661 | 1224761.749 | 2752505.0411 | 1224770.2031 | 2752504.7217 | 1224770.7393
56 | 2752504.7217 | 1224770.7393 | 2752499.9836 | 1224778.6924 | 2752498.1806 | 1224796.0509 | 2752494.2238 | 1224814.5663 | 2752490.6294 | 1224825.4619 | 2752487.3441 | 1224836.4321 | 2752480.3233 | 1224853.4455 | 2752472.3436 | 1224868.5103 | 2752457.2329 | 1224884.7714 | 2752448.4674 | 1224899.716 | 2752447.9274 | 1224900.4936
57 | 2752294.7437 | 1224946.4011 | 2752307.2551 | 1224944.2303 | 2752317.6645 | 1224940.3154 | 2752335.8686 | 1224934.754 | 2752339.829 | 1224934.4328 | 2752347.3023 | 1224933.2007 | 2752358.2818 | 1224933.3819 | 2752368.9607 | 1224933.4553 | 2752379.536 | 1224933.426 | 2752389.3268 | 1224935.3006 | 2752400.5621 | 1224934.6766 | 2752412.658 | 1224931.8504 | 2752425.3096 | 1224925.9913 | 2752434.1243 | 1224920.3674 | 2752447.9274 | 1224900.4936
58 | 2752616.8445 | 1224886.0844 | 2752628.2575 | 1224909.2432 | 2752641.0415 | 1224943.1574 | 2752642.8401 | 1224952.879 | 2752642.3087 | 1224963.2677
59 | 2752614.3448 | 1225035.5607 | 2752615.8127 | 1225030.5899 | 2752642.0788 | 1224967.7619 | 2752642.3087 | 1224963.2677
60 | 2752294.7437 | 1224946.4011 | 2752336.7435 | 1224965.1595 | 2752403.2433 | 1225004.6929
61 | 2752613.7501 | 1225037.5747 | 2752614.3448 | 1225035.5607
62 | 2752480.3339 | 1225041.1571 | 2752476.1721 | 1225039.0188 | 2752408.1001 | 1225007.5802 | 2752403.2433 | 1225004.6929
63 | 2752480.3339 | 1225041.1571 | 2752489.9557 | 1225046.1006 | 2752518.5212 | 1225058.5994 | 2752522.1126 | 1225058.4605
64 | 2752609.9391 | 1225064.0809 | 2752609.0005 | 1225053.6585 | 2752613.7501 | 1225037.5747
65 | 2752609.9391 | 1225064.0809 | 2752613.1365 | 1225066.8877 | 2752618.8293 | 1225069.7029 | 2752628.5138 | 1225067.7272
66 | 2752609.9391 | 1225064.0809 | 2752582.017 | 1225053.1218 | 2752539.0911 | 1225057.8036 | 2752522.1126 | 1225058.4605
67 | 2752717.0853 | 1224709.3398 | 2752702.3622 | 1224695.9833 | 2752687.8489 | 1224683.3217 | 2752686.215 | 1224670.9573
68 | 2752717.0853 | 1224709.3398 | 2752738.9411 | 1224738.5716 | 2752745.8952 | 1224751.9511 | 2752784.4591 | 1224822.6606
69 | 2752717.0853 | 1224709.3398 | 2752724.3514 | 1224702.0085 | 2752728.9038 | 1224693.7066 | 2752729.599 | 1224686.0739
70 | 2752784.4591 | 1224822.6606 | 2752779.1391 | 1224859.0683 | 2752753.9834 | 1224923.5665
71 | 2752729.599 | 1224686.0739 | 2752729.8547 | 1224683.266 | 2752726.2784 | 1224668.8696
72 | 2752665.4689 | 1225031.4641 | 2752701.8329 | 1225001.1027 | 2752724.2876 | 1224977.435 | 2752736.4243 | 1224959.7303 | 2752748.6053 | 1224937.3559 | 2752753.9834 | 1224923.5665
73 | 2752665.4689 | 1225031.4641 | 2752729.9033 | 1225057.096 | 2752758.6475 | 1225072.0695 | 2752765.4003 | 1225077.9148
74 | 2752665.4689 | 1225031.4641 | 2752628.5138 | 1225067.7272
75 | 2752798.7687 | 1225118.9438 | 2752783.7487 | 1225109.2587 | 2752765.4003 | 1225077.9148
76 | 2752798.7687 | 1225118.9438 | 2752811.8429 | 1225127.3742 | 2752824.9278 | 1225143.6138 | 2752847.3402 | 1225177.6647 | 2752854.3129 | 1225192.263

## bus_geodata
| x | y | coords
0 | 2753122.7809 | 1224390.2529
1 | 2753113.7048 | 1224389.5041
2 | 2753141.5049 | 1224458.3263
3 | 2753001.6915 | 1224567.853
4 | 2753097.5783 | 1224367.0875
5 | 2753250.046 | 1224475.0349
6 | 2752965.4222 | 1224399.9904
7 | 2753088.7284 | 1224354.7858
8 | 2753261.6673 | 1224465.6588
9 | 2752809.1492 | 1224394.0381
10 | 2752704.5819 | 1224374.3481
11 | 2752864.5616 | 1224325.2922
12 | 2752915.8525 | 1224265.4168
13 | 2753286.8922 | 1224494.5013
14 | 2752905.7932 | 1224248.8299
15 | 2752865.8199 | 1224230.0073
16 | 2752870.5544 | 1224309.7517
17 | 2753194.1052 | 1224946.3975
18 | 2753180.2785 | 1225002.5695
19 | 2753223.4992 | 1224777.805
20 | 2753194.3595 | 1225041.369
21 | 2752492.2653 | 1224110.1743
22 | 2752460.8766 | 1224087.4191
23 | 2752407.7372 | 1224163.2674
24 | 2752460.7103 | 1224366.6937
25 | 2752461.0047 | 1224371.8431
26 | 2752284.364 | 1224357.5237
27 | 2752461.7707 | 1224505.9438
28 | 2752126.8224 | 1224467.2728
29 | 2752279.4653 | 1224507.9569
30 | 2752506.8732 | 1224521.0289
31 | 2752525.7543 | 1224699.0804
32 | 2752348.7627 | 1224618.2634
33 | 2752029.3953 | 1224246.7778
34 | 2752043.7738 | 1224241.3746
35 | 2751989.6078 | 1224268.9772
36 | 2752150.7972 | 1224077.2213
37 | 2752115.87 | 1224452.0569
38 | 2751982.3874 | 1224273.0521
39 | 2752159.3723 | 1224075.6612
40 | 2752143.6183 | 1224064.9596
41 | 2751959.8583 | 1224313.942
42 | 2752183.3409 | 1224123.6499
43 | 2752161.8927 | 1224062.3655
44 | 2752125.5147 | 1224027.7736
45 | 2752292.4852 | 1224600.1735
46 | 2752194.7493 | 1224137.3547
47 | 2751958.7623 | 1224315.5319
48 | 2752168.591 | 1224041.5356
49 | 2752557.4541 | 1224510.199
50 | 2752679.9122 | 1224281.8676
51 | 2752625.7959 | 1224461.262
52 | 2752177.0422 | 1224023.5751
53 | 2752179.9761 | 1224017.638
54 | 2752190.1662 | 1223997.1877
55 | 2752530.0014 | 1224706.5182
56 | 2752504.7217 | 1224770.7393
57 | 2752447.9274 | 1224900.4936
58 | 2752616.8445 | 1224886.0844
59 | 2752642.3087 | 1224963.2677
60 | 2752294.7437 | 1224946.4011
61 | 2752614.3448 | 1225035.5607
62 | 2752403.2433 | 1225004.6929
63 | 2752480.3339 | 1225041.1571
64 | 2752613.7501 | 1225037.5747
65 | 2752609.9391 | 1225064.0809
66 | 2752686.215 | 1224670.9573
67 | 2752717.0853 | 1224709.3398
68 | 2752784.4591 | 1224822.6606
69 | 2752729.599 | 1224686.0739
70 | 2752753.9834 | 1224923.5665
71 | 2752726.2784 | 1224668.8696
72 | 2752665.4689 | 1225031.4641
73 | 2752522.1126 | 1225058.4605
74 | 2752628.5138 | 1225067.7272
75 | 2752765.4003 | 1225077.9148
76 | 2752798.7687 | 1225118.9438
77 | 2752854.3129 | 1225192.263
78 | 2752530.0014 | 1224706.5182

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1