## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3271-7_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3271-7_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3271-7_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3271-7_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3271-7_0_5_node_50 | 0.4 | n |  | TRUE
5 | bus_LV_3271-7_0_5_node_45 | 0.4 | n |  | TRUE
6 | bus_LV_3271-7_0_5_node_34 | 0.4 | n |  | TRUE
7 | bus_LV_3271-7_0_5_node_48 | 0.4 | n |  | TRUE
8 | bus_LV_3271-7_0_5_node_52 | 0.4 | n |  | TRUE
9 | bus_LV_3271-7_0_5_node_33 | 0.4 | n |  | TRUE
10 | bus_LV_3271-7_0_5_node_4 | 0.4 | n |  | TRUE
11 | bus_LV_3271-7_0_5_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_3271-7_0_5_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_3271-7_0_5_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_3271-7_0_5_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_3271-7_0_5_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_3271-7_0_5_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_3271-7_0_5_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_3271-7_0_5_node_89 | 0.4 | n |  | TRUE
19 | bus_LV_3271-7_0_5_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_3271-7_0_5_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_3271-7_0_5_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_3271-7_0_5_node_90 | 0.4 | n |  | TRUE
23 | bus_LV_3271-7_0_5_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_3271-7_0_5_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_3271-7_0_5_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_3271-7_0_5_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_3271-7_0_5_node_60 | 0.4 | n |  | TRUE
28 | bus_LV_3271-7_0_5_node_61 | 0.4 | n |  | TRUE
29 | bus_LV_3271-7_0_5_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_3271-7_0_5_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_3271-7_0_5_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_3271-7_0_5_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_3271-7_0_5_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_3271-7_0_5_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_3271-7_0_5_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_3271-7_0_5_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_3271-7_0_5_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_3271-7_0_5_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_3271-7_0_5_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_3271-7_0_5_node_96 | 0.4 | n |  | TRUE
41 | bus_LV_3271-7_0_5_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_3271-7_0_5_node_59 | 0.4 | n |  | TRUE
43 | bus_LV_3271-7_0_5_node_58 | 0.4 | n |  | TRUE
44 | bus_LV_3271-7_0_5_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_3271-7_0_5_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_3271-7_0_5_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_3271-7_0_5_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_3271-7_0_5_node_63 | 0.4 | n |  | TRUE
49 | bus_LV_3271-7_0_5_node_64 | 0.4 | n |  | TRUE
50 | bus_LV_3271-7_0_5_node_62 | 0.4 | n |  | TRUE
51 | bus_LV_3271-7_0_5_node_101 | 0.4 | n |  | TRUE
52 | bus_LV_3271-7_0_5_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_3271-7_0_5_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_3271-7_0_5_node_87 | 0.4 | n |  | TRUE
55 | bus_LV_3271-7_0_5_node_57 | 0.4 | n |  | TRUE
56 | bus_LV_3271-7_0_5_node_38 | 0.4 | n |  | TRUE
57 | bus_LV_3271-7_0_5_node_40 | 0.4 | n |  | TRUE
58 | bus_LV_3271-7_0_5_node_54 | 0.4 | n |  | TRUE
59 | bus_LV_3271-7_0_5_node_51 | 0.4 | n |  | TRUE
60 | bus_LV_3271-7_0_5_node_55 | 0.4 | n |  | TRUE
61 | bus_LV_3271-7_0_5_node_49 | 0.4 | n |  | TRUE
62 | bus_LV_3271-7_0_5_node_42 | 0.4 | n |  | TRUE
63 | bus_LV_3271-7_0_5_node_44 | 0.4 | n |  | TRUE
64 | bus_LV_3271-7_0_5_node_46 | 0.4 | n |  | TRUE
65 | bus_LV_3271-7_0_5_node_47 | 0.4 | n |  | TRUE
66 | bus_LV_3271-7_0_5_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_3271-7_0_5_node_95 | 0.4 | n |  | TRUE
68 | bus_LV_3271-7_0_5_node_53 | 0.4 | n |  | TRUE
69 | bus_LV_3271-7_0_5_node_93 | 0.4 | n |  | TRUE
70 | bus_LV_3271-7_0_5_node_85 | 0.4 | n |  | TRUE
71 | bus_LV_3271-7_0_5_node_84 | 0.4 | n |  | TRUE
72 | bus_LV_3271-7_0_5_node_88 | 0.4 | n |  | TRUE
73 | bus_LV_3271-7_0_5_node_65 | 0.4 | n |  | TRUE
74 | bus_LV_3271-7_0_5_node_66 | 0.4 | n |  | TRUE
75 | bus_LV_3271-7_0_5_node_67 | 0.4 | n |  | TRUE
76 | bus_LV_3271-7_0_5_node_68 | 0.4 | n |  | TRUE
77 | bus_LV_3271-7_0_5_node_83 | 0.4 | n |  | TRUE
78 | bus_LV_3271-7_0_5_node_82 | 0.4 | n |  | TRUE
79 | bus_LV_3271-7_0_5_node_72 | 0.4 | n |  | TRUE
80 | bus_LV_3271-7_0_5_node_71 | 0.4 | n |  | TRUE
81 | bus_LV_3271-7_0_5_node_73 | 0.4 | n |  | TRUE
82 | bus_LV_3271-7_0_5_node_74 | 0.4 | n |  | TRUE
83 | bus_LV_3271-7_0_5_node_75 | 0.4 | n |  | TRUE
84 | bus_LV_3271-7_0_5_node_76 | 0.4 | n |  | TRUE
85 | bus_LV_3271-7_0_5_node_77 | 0.4 | n |  | TRUE
86 | bus_LV_3271-7_0_5_node_80 | 0.4 | n |  | TRUE
87 | bus_LV_3271-7_0_5_node_86 | 0.4 | n |  | TRUE
88 | bus_LV_3271-7_0_5_node_78 | 0.4 | n |  | TRUE
89 | bus_LV_3271-7_0_5_node_98 | 0.4 | n |  | TRUE
90 | bus_LV_3271-7_0_5_node_79 | 0.4 | n |  | TRUE
91 | bus_LV_3271-7_0_5_node_81 | 0.4 | n |  | TRUE
92 | bus_LV_3271-7_0_5_node_97 | 0.4 | n |  | TRUE
93 | bus_LV_3271-7_0_5_node_99 | 0.4 | n |  | TRUE
94 | bus_LV_3271-7_0_5_node_100 | 0.4 | n |  | TRUE
95 | bus_LV_3271-7_0_5_node_92 | 0.4 | n |  | TRUE
96 | bus_LV_3271-7_0_5_node_94 | 0.4 | n |  | TRUE
97 | bus_MV_237_0_node_74 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3271-7_0_5_load_0 | 0 | 0.033621 | 0.0084261 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3271-7_0_5_load_50 | 4 | 0.011831 | 0.0029651 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3271-7_0_5_load_34 | 6 | 0.011483 | 0.002878 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3271-7_0_5_load_48 | 7 | 0.0052071 | 0.001305 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3271-7_0_5_load_52 | 8 | 0.0025032 | 0.00062737 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3271-7_0_5_load_33 | 9 | 0.0052758 | 0.0013223 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3271-7_0_5_load_4 | 10 | 0.0096053 | 0.0024073 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3271-7_0_5_load_5 | 11 | 0.015381 | 0.0038549 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3271-7_0_5_load_7 | 13 | 0.0068276 | 0.0017111 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3271-7_0_5_load_9 | 15 | 0.0054407 | 0.0013636 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3271-7_0_5_load_10 | 16 | 0.0052084 | 0.0013053 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3271-7_0_5_load_16 | 17 | 0.0037828 | 0.00094806 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3271-7_0_5_load_89 | 18 | 0.0026444 | 0.00066276 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3271-7_0_5_load_11 | 19 | 0.014996 | 0.0037585 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3271-7_0_5_load_14 | 20 | 0.007755 | 0.0019436 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3271-7_0_5_load_17 | 21 | 0.0026823 | 0.00067225 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3271-7_0_5_load_90 | 22 | 0.0033433 | 0.0008379 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3271-7_0_5_load_12 | 23 | 0.020326 | 0.0050942 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3271-7_0_5_load_15 | 24 | 0.0019262 | 0.00048276 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3271-7_0_5_load_23 | 25 | 0.0065814 | 0.0016494 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3271-7_0_5_load_24 | 26 | 0.0068078 | 0.0017062 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3271-7_0_5_load_60 | 27 | 0.0025073 | 0.00062839 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3271-7_0_5_load_61 | 28 | 0.0042159 | 0.0010566 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3271-7_0_5_load_18 | 29 | 0.0022998 | 0.00057639 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3271-7_0_5_load_19 | 30 | 0.0031334 | 0.00078531 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3271-7_0_5_load_20 | 31 | 0.0015354 | 0.0003848 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3271-7_0_5_load_21 | 32 | 0.0028501 | 0.00071429 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3271-7_0_5_load_22 | 33 | 0.0053608 | 0.0013436 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3271-7_0_5_load_27 | 35 | 0.0021718 | 0.00054431 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3271-7_0_5_load_35 | 36 | 0.0033213 | 0.00083239 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3271-7_0_5_load_25 | 38 | 0.012196 | 0.0030567 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3271-7_0_5_load_59 | 42 | 0.0016699 | 0.00041851 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3271-7_0_5_load_58 | 43 | 0.0062877 | 0.0015759 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3271-7_0_5_load_28 | 44 | 0.0013384 | 0.00033544 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3271-7_0_5_load_29 | 45 | 0.0060854 | 0.0015251 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3271-7_0_5_load_31 | 47 | 0.0014229 | 0.0003566 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3271-7_0_5_load_64 | 49 | 0.0019091 | 0.00047845 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3271-7_0_5_load_62 | 50 | 0.0017799 | 0.00044608 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3271-7_0_5_load_101 | 51 | 0.022925 | 0.0057456 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3271-7_0_5_load_41 | 52 | 0.004354 | 0.0010912 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3271-7_0_5_load_37 | 53 | 0.058842 | 0.014747 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3271-7_0_5_load_87 | 54 | 0.00151 | 0.00037844 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3271-7_0_5_load_57 | 55 | 0.0054347 | 0.0013621 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3271-7_0_5_load_38 | 56 | 0.0023815 | 0.00059687 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3271-7_0_5_load_40 | 57 | 0.011519 | 0.0028869 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3271-7_0_5_load_54 | 58 | 0.0014553 | 0.00036472 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3271-7_0_5_load_51 | 59 | 0.0032665 | 0.00081867 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3271-7_0_5_load_55 | 60 | 0.0014717 | 0.00036884 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3271-7_0_5_load_49 | 61 | 0.0044825 | 0.0011234 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3271-7_0_5_load_42 | 62 | 0.002819 | 0.00070652 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3271-7_0_5_load_46 | 64 | 0.0019117 | 0.00047913 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3271-7_0_5_load_47 | 65 | 0.0025252 | 0.00063289 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3271-7_0_5_load_56 | 66 | 0.0069939 | 0.0017528 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3271-7_0_5_load_95 | 67 | 0.0047362 | 0.001187 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3271-7_0_5_load_53 | 68 | 0.0030119 | 0.00075485 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3271-7_0_5_load_93 | 69 | 0.0027377 | 0.00068613 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3271-7_0_5_load_85 | 70 | 0.0015099 | 0.00037842 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3271-7_0_5_load_84 | 71 | 0.0014165 | 0.00035501 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3271-7_0_5_load_88 | 72 | 0.0024763 | 0.00062062 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3271-7_0_5_load_66 | 74 | 0.0024567 | 0.00061572 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3271-7_0_5_load_67 | 75 | 0.0014978 | 0.00037538 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3271-7_0_5_load_68 | 76 | 0.0020453 | 0.0005126 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3271-7_0_5_load_82 | 78 | 0.0028458 | 0.00071322 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3271-7_0_5_load_72 | 79 | 0.0021461 | 0.00053787 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3271-7_0_5_load_71 | 80 | 0.0021233 | 0.00053214 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3271-7_0_5_load_73 | 81 | 0.0015703 | 0.00039354 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3271-7_0_5_load_74 | 82 | 0.0023576 | 0.00059088 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3271-7_0_5_load_75 | 83 | 0.0013756 | 0.00034475 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3271-7_0_5_load_76 | 84 | 0.0016058 | 0.00040246 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3271-7_0_5_load_77 | 85 | 0.0021632 | 0.00054214 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3271-7_0_5_load_80 | 86 | 0.0020265 | 0.00050788 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3271-7_0_5_load_86 | 87 | 0.016454 | 0.0041237 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3271-7_0_5_load_78 | 88 | 0.0016749 | 0.00041977 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3271-7_0_5_load_98 | 89 | 0.0075965 | 0.0019039 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3271-7_0_5_load_79 | 90 | 0.0016065 | 0.00040262 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3271-7_0_5_load_81 | 91 | 0.0014392 | 0.00036069 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3271-7_0_5_load_97 | 92 | 0.0047683 | 0.0011951 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3271-7_0_5_load_100 | 94 | 0.0020876 | 0.0005232 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3271-7_0_5_load_92 | 95 | 0.0031175 | 0.00078131 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3271-7_0_5_load_94 | 96 | 0.0056899 | 0.001426 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3271-7_0_5_line_0 |  | 0 | 1 | 0.036679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3271-7_0_5_line_1 |  | 1 | 2 | 0.018668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3271-7_0_5_line_2 |  | 2 | 3 | 0.029092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3271-7_0_5_line_3 |  | 2 | 4 | 0.064581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3271-7_0_5_line_4 |  | 3 | 5 | 0.033889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3271-7_0_5_line_5 |  | 3 | 6 | 0.044313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3271-7_0_5_line_6 |  | 4 | 7 | 0.04441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3271-7_0_5_line_7 |  | 5 | 8 | 0.043156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3271-7_0_5_line_8 |  | 6 | 9 | 0.057108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3271-7_0_5_line_9 |  | 7 | 61 | 0.023993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3271-7_0_5_line_10 |  | 8 | 68 | 0.021571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3271-7_0_5_line_11 |  | 10 | 11 | 0.050009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3271-7_0_5_line_12 |  | 10 | 12 | 0.017696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3271-7_0_5_line_13 |  | 11 | 13 | 0.016688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3271-7_0_5_line_14 |  | 11 | 14 | 0.028892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3271-7_0_5_line_15 |  | 12 | 15 | 0.018111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3271-7_0_5_line_16 |  | 12 | 16 | 0.0084267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3271-7_0_5_line_17 |  | 13 | 17 | 0.0039466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_3271-7_0_5_line_18 |  | 14 | 18 | 0.022363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3271-7_0_5_line_19 |  | 15 | 19 | 0.02314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3271-7_0_5_line_20 |  | 16 | 20 | 0.0069003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3271-7_0_5_line_21 |  | 17 | 21 | 0.026587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_3271-7_0_5_line_22 |  | 18 | 22 | 0.033517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3271-7_0_5_line_23 |  | 19 | 23 | 0.014958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3271-7_0_5_line_24 |  | 20 | 24 | 0.019921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3271-7_0_5_line_25 |  | 21 | 27 | 0.0044477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_3271-7_0_5_line_26 |  | 24 | 25 | 0.030417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3271-7_0_5_line_27 |  | 25 | 26 | 0.025569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3271-7_0_5_line_28 |  | 26 | 38 | 0.0042274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3271-7_0_5_line_29 |  | 27 | 28 | 0.02088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_3271-7_0_5_line_30 |  | 28 | 72 | 0.0039698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_3271-7_0_5_line_31 |  | 29 | 30 | 0.021604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3271-7_0_5_line_32 |  | 29 | 31 | 0.0011147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3271-7_0_5_line_33 |  | 30 | 32 | 0.022712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3271-7_0_5_line_34 |  | 31 | 33 | 0.017629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3271-7_0_5_line_35 |  | 32 | 34 | 0.038935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_3271-7_0_5_line_36 |  | 33 | 35 | 0.0013143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3271-7_0_5_line_37 |  | 34 | 36 | 0.017205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_3271-7_0_5_line_38 |  | 34 | 37 | 0.016463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_3271-7_0_5_line_39 |  | 36 | 41 | 0.019135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_3271-7_0_5_line_40 |  | 37 | 42 | 0.021004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_3271-7_0_5_line_41 |  | 37 | 43 | 0.016848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3271-7_0_5_line_42 |  | 38 | 39 | 0.060392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3271-7_0_5_line_43 |  | 39 | 40 | 0.088491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3271-7_0_5_line_44 |  | 40 | 51 | 0.049258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3271-7_0_5_line_45 |  | 41 | 52 | 0.018712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3271-7_0_5_line_46 |  | 41 | 53 | 0.0089256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_3271-7_0_5_line_47 |  | 42 | 54 | 0.01028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_3271-7_0_5_line_48 |  | 43 | 55 | 0.028582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3271-7_0_5_line_49 |  | 44 | 45 | 0.0064802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3271-7_0_5_line_50 |  | 45 | 46 | 0.017978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3271-7_0_5_line_51 |  | 46 | 47 | 0.022478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3271-7_0_5_line_52 |  | 47 | 48 | 0.0050422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3271-7_0_5_line_53 |  | 48 | 49 | 0.015283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3271-7_0_5_line_54 |  | 48 | 50 | 0.0095609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3271-7_0_5_line_55 |  | 49 | 73 | 0.015459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3271-7_0_5_line_56 |  | 52 | 59 | 0.023731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3271-7_0_5_line_57 |  | 53 | 56 | 0.028762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3271-7_0_5_line_58 |  | 54 | 72 | 0.021781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_3271-7_0_5_line_59 |  | 55 | 66 | 0.026034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3271-7_0_5_line_60 |  | 56 | 57 | 0.0050862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3271-7_0_5_line_61 |  | 57 | 58 | 0.015008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3271-7_0_5_line_62 |  | 58 | 60 | 0.071085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3271-7_0_5_line_63 |  | 59 | 61 | 0.023005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3271-7_0_5_line_64 |  | 60 | 70 | 0.010507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3271-7_0_5_line_65 |  | 62 | 63 | 0.037552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3271-7_0_5_line_66 |  | 63 | 64 | 0.035351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3271-7_0_5_line_67 |  | 63 | 65 | 0.013273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3271-7_0_5_line_68 |  | 64 | 66 | 0.049355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3271-7_0_5_line_69 |  | 65 | 67 | 0.0022796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3271-7_0_5_line_70 |  | 67 | 69 | 0.0049782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3271-7_0_5_line_71 |  | 69 | 95 | 0.017126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3271-7_0_5_line_72 |  | 70 | 71 | 0.011637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3271-7_0_5_line_73 |  | 71 | 77 | 0.016376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3271-7_0_5_line_74 |  | 73 | 74 | 0.0044925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3271-7_0_5_line_75 |  | 73 | 75 | 0.02144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3271-7_0_5_line_76 |  | 74 | 76 | 0.022351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3271-7_0_5_line_77 |  | 75 | 77 | 0.018235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3271-7_0_5_line_78 |  | 77 | 78 | 0.016552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3271-7_0_5_line_79 |  | 78 | 91 | 0.011712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3271-7_0_5_line_80 |  | 79 | 80 | 0.0057535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3271-7_0_5_line_81 |  | 80 | 81 | 0.012008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3271-7_0_5_line_82 |  | 81 | 82 | 0.011418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3271-7_0_5_line_83 |  | 82 | 83 | 0.017029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3271-7_0_5_line_84 |  | 83 | 84 | 0.019418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3271-7_0_5_line_85 |  | 84 | 85 | 0.0042133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3271-7_0_5_line_86 |  | 85 | 86 | 0.0070478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3271-7_0_5_line_87 |  | 85 | 87 | 0.088518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3271-7_0_5_line_88 |  | 86 | 88 | 0.0088758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3271-7_0_5_line_89 |  | 87 | 89 | 0.154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3271-7_0_5_line_90 |  | 88 | 90 | 0.012866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_3271-7_0_5_line_91 |  | 89 | 93 | 0.028681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_3271-7_0_5_line_92 |  | 89 | 94 | 0.23376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_3271-7_0_5_line_93 |  | 90 | 91 | 0.013923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_3271-7_0_5_line_94 |  | 92 | 93 | 0.17794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_3271-7_0_5_line_95 |  | 95 | 96 | 0.0079061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3271-7_0_5_trafo_21 | 0.63 MVA 20/0.4 kV | 97 | 32 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2754759.099 | 1225274.4426 | 2754766.0823 | 1225277.7606 | 2754792.2709 | 1225290.0936
1 | 2754759.099 | 1225274.4426 | 2754748.0653 | 1225270.5299 | 2754741.1908 | 1225269.1499
2 | 2754720.3671 | 1225260.167 | 2754724.0993 | 1225265.7024 | 2754727.368 | 1225273.0163 | 2754736.4383 | 1225269.8826 | 2754741.1908 | 1225269.1499
3 | 2754741.1908 | 1225269.1499 | 2754742.5748 | 1225262.6021 | 2754745.5468 | 1225252.4589 | 2754761.086 | 1225207.7648
4 | 2754720.3671 | 1225260.167 | 2754715.792 | 1225255.5438 | 2754708.2626 | 1225249.8874 | 2754692.0293 | 1225242.0249
5 | 2754720.3671 | 1225260.167 | 2754726.9694 | 1225255.1006 | 2754710.1084 | 1225244.5415 | 2754715.3761 | 1225229.3312
6 | 2754775.67 | 1225165.818 | 2754761.086 | 1225207.7648
7 | 2754692.0293 | 1225242.0249 | 2754707.5306 | 1225201.7486
8 | 2754734.065 | 1225175.368 | 2754715.3761 | 1225229.3312
9 | 2754775.67 | 1225165.818 | 2754783.5491 | 1225143.1561
10 | 2754707.5306 | 1225201.7486 | 2754715.2787 | 1225181.617
11 | 2754648.2405 | 1224996.0278 | 2754660.2634 | 1224987.8883 | 2754677.599 | 1224976.1502 | 2754689.6797 | 1224968.0327
12 | 2754704.3671 | 1224958.1627 | 2754697.3257 | 1224962.8951 | 2754689.6797 | 1224968.0327
13 | 2754648.2405 | 1224996.0278 | 2754660.0855 | 1225007.7831
14 | 2754626.3213 | 1225014.8423 | 2754630.7509 | 1225010.4867 | 2754635.196 | 1225006.1204 | 2754639.9569 | 1225002.4407 | 2754648.2405 | 1224996.0278
15 | 2754704.3671 | 1224958.1627 | 2754687.2522 | 1224952.2408
16 | 2754704.3671 | 1224958.1627 | 2754711.0247 | 1224952.9968
17 | 2754662.8868 | 1225010.5632 | 2754660.0855 | 1225007.7831
18 | 2754626.3213 | 1225014.8423 | 2754615.3423 | 1225026.3121 | 2754611.3109 | 1225031.3923
19 | 2754665.3842 | 1224944.6743 | 2754687.2522 | 1224952.2408
20 | 2754716.4763 | 1224948.7666 | 2754711.0247 | 1224952.9968
21 | 2754681.758 | 1225029.2915 | 2754662.8868 | 1225010.5632
22 | 2754611.3109 | 1225031.3923 | 2754607.8367 | 1225035.7702 | 2754597.7881 | 1225050.5561 | 2754593.3706 | 1225059.5845
23 | 2754665.3842 | 1224944.6743 | 2754664.8512 | 1224944.4899 | 2754665.6999 | 1224941.6093 | 2754664.0463 | 1224935.7721 | 2754658.977 | 1224934.1448
24 | 2754731.9069 | 1224936.1915 | 2754727.9422 | 1224939.8698 | 2754716.4763 | 1224948.7666
25 | 2754681.758 | 1225029.2915 | 2754684.915 | 1225032.4245
26 | 2754753.5658 | 1224914.8572 | 2754743.7303 | 1224925.2223 | 2754731.9069 | 1224936.1915
27 | 2754753.5658 | 1224914.8572 | 2754765.4607 | 1224902.3218 | 2754770.3518 | 1224895.631
28 | 2754770.3518 | 1224895.631 | 2754772.8465 | 1224892.2183
29 | 2754702.3349 | 1225043.741 | 2754697.8531 | 1225041.7701 | 2754686.1471 | 1225033.6473 | 2754684.915 | 1225032.4245
30 | 2754702.3349 | 1225043.741 | 2754705.9689 | 1225045.339
31 | 2754790.5894 | 1225012.8927 | 2754797.739 | 1224992.5065
32 | 2754798.1079 | 1224991.4546 | 2754797.739 | 1224992.5065
33 | 2754790.5894 | 1225012.8927 | 2754783.0728 | 1225034.3252
34 | 2754798.1079 | 1224991.4546 | 2754803.9421 | 1224974.8194
35 | 2754770.1873 | 1225071.0663 | 2754783.0728 | 1225034.3252
36 | 2754804.377 | 1224973.5792 | 2754803.9421 | 1224974.8194
37 | 2754770.1873 | 1225071.0663 | 2754786.7194 | 1225075.8328
38 | 2754754.5453 | 1225066.7 | 2754757.558 | 1225066.367 | 2754768.6536 | 1225070.5371 | 2754770.1873 | 1225071.0663
39 | 2754805.042 | 1225081.3377 | 2754800.6733 | 1225079.856 | 2754786.7194 | 1225075.8328
40 | 2754754.5453 | 1225066.7 | 2754735.3179 | 1225058.2449
41 | 2754754.5453 | 1225066.7 | 2754748.8916 | 1225082.5712
42 | 2754799.1953 | 1224838.2179 | 2754790.3327 | 1224862.4875 | 2754778.3453 | 1224884.6962 | 2754772.8465 | 1224892.2183
43 | 2754711.9271 | 1224823.569 | 2754771.6631 | 1224833.3531 | 2754799.1953 | 1224838.2179
44 | 2754703.8055 | 1224872.1469 | 2754711.9271 | 1224823.569
45 | 2754805.042 | 1225081.3377 | 2754798.8969 | 1225099.0124
46 | 2754805.042 | 1225081.3377 | 2754806.4594 | 1225077.3042 | 2754807.9897 | 1225072.9128
47 | 2754735.3179 | 1225058.2449 | 2754725.9074 | 1225054.1067
48 | 2754748.8916 | 1225082.5712 | 2754739.3003 | 1225109.4956
49 | 2754832.7401 | 1224891.5194 | 2754830.8176 | 1224897.7078
50 | 2754838.0737 | 1224874.3512 | 2754832.7401 | 1224891.5194
51 | 2754838.0737 | 1224874.3512 | 2754859.0594 | 1224882.4045
52 | 2754863.9604 | 1224881.2198 | 2754859.0594 | 1224882.4045
53 | 2754863.9604 | 1224881.2198 | 2754877.71 | 1224887.8917
54 | 2754863.9604 | 1224881.2198 | 2754867.6965 | 1224872.4192
55 | 2754891.6184 | 1224894.6407 | 2754877.71 | 1224887.8917
56 | 2754791.1038 | 1225121.4273 | 2754798.8969 | 1225099.0124
57 | 2754807.9897 | 1225072.9128 | 2754817.4545 | 1225045.7527
58 | 2754725.9074 | 1225054.1067 | 2754705.9689 | 1225045.339
59 | 2754730.564 | 1225134.0197 | 2754739.3003 | 1225109.4956
60 | 2754819.1282 | 1225040.9498 | 2754817.4545 | 1225045.7527
61 | 2754819.1282 | 1225040.9498 | 2754824.067 | 1225026.7776
62 | 2754849.7398 | 1224960.6186 | 2754843.2522 | 1224972.932 | 2754839.3592 | 1224982.8954 | 2754824.067 | 1225026.7776
63 | 2754783.5491 | 1225143.1561 | 2754791.1038 | 1225121.4273
64 | 2754855.26 | 1224951.6942 | 2754853.5683 | 1224954.3166 | 2754851.4081 | 1224957.4522 | 2754849.7398 | 1224960.6186
65 | 2754665.5425 | 1225115.665 | 2754661.7061 | 1225122.0044 | 2754659.4979 | 1225128.453 | 2754651.7805 | 1225150.4649
66 | 2754665.5425 | 1225115.665 | 2754696.3118 | 1225133.0699
67 | 2754665.5425 | 1225115.665 | 2754669.9474 | 1225103.1446
68 | 2754730.564 | 1225134.0197 | 2754725.1012 | 1225149.3549 | 2754696.3118 | 1225133.0699
69 | 2754670.7039 | 1225100.9942 | 2754669.9474 | 1225103.1446
70 | 2754670.7039 | 1225100.9942 | 2754672.3561 | 1225096.2981
71 | 2754678.0398 | 1225080.1431 | 2754672.3561 | 1225096.2981
72 | 2754861.5683 | 1224941.9151 | 2754855.26 | 1224951.6942
73 | 2754870.4455 | 1224928.1539 | 2754861.5683 | 1224941.9151
74 | 2754891.6184 | 1224894.6407 | 2754893.7032 | 1224890.6611
75 | 2754891.6184 | 1224894.6407 | 2754880.724 | 1224913.1063
76 | 2754903.6828 | 1224870.6721 | 2754900.8147 | 1224877.0861 | 2754893.7032 | 1224890.6611
77 | 2754870.4455 | 1224928.1539 | 2754878.6425 | 1224916.6344 | 2754880.724 | 1224913.1063
78 | 2754870.4455 | 1224928.1539 | 2754886.3453 | 1224932.7552
79 | 2754897.5955 | 1224936.011 | 2754886.3453 | 1224932.7552
80 | 2754961.0064 | 1224888.59 | 2754962.3376 | 1224882.9926
81 | 2754961.0064 | 1224888.59 | 2754959.2253 | 1224896.0794 | 2754957.009 | 1224899.7756
82 | 2754957.009 | 1224899.7756 | 2754953.5787 | 1224905.4966 | 2754952.1094 | 1224910.011
83 | 2754952.1094 | 1224910.011 | 2754948.3671 | 1224921.509 | 2754947.0971 | 1224926.2803
84 | 2754947.0971 | 1224926.2803 | 2754942.1024 | 1224945.0453 | 2754942.1024 | 1224945.0453
85 | 2754938.5412 | 1224947.2969 | 2754942.1024 | 1224945.0453
86 | 2754931.8546 | 1224945.9255 | 2754937.9296 | 1224947.6836 | 2754938.5412 | 1224947.2969
87 | 2754938.5412 | 1224947.2969 | 2754983.0822 | 1225023.7927
88 | 2754923.3287 | 1224943.4581 | 2754931.8546 | 1224945.9255
89 | 2754983.0822 | 1225023.7927 | 2755135.1 | 1225048.4371
90 | 2754923.3287 | 1224943.4581 | 2754910.9695 | 1224939.8814
91 | 2755142.8446 | 1225020.8216 | 2755135.1 | 1225048.4371
92 | 2755135.1 | 1225048.4371 | 2755073.449 | 1225273.9252
93 | 2754897.5955 | 1224936.011 | 2754910.9695 | 1224939.8814
94 | 2755142.8446 | 1225020.8216 | 2755314.4154 | 1224973.6433
95 | 2754680.6636 | 1225072.6851 | 2754678.0398 | 1225080.1431

## bus_geodata
| x | y | coords
0 | 2754792.2709 | 1225290.0936
1 | 2754759.099 | 1225274.4426
2 | 2754741.1908 | 1225269.1499
3 | 2754720.3671 | 1225260.167
4 | 2754761.086 | 1225207.7648
5 | 2754692.0293 | 1225242.0249
6 | 2754715.3761 | 1225229.3312
7 | 2754775.67 | 1225165.818
8 | 2754707.5306 | 1225201.7486
9 | 2754734.065 | 1225175.368
10 | 2754689.6797 | 1224968.0327
11 | 2754648.2405 | 1224996.0278
12 | 2754704.3671 | 1224958.1627
13 | 2754660.0855 | 1225007.7831
14 | 2754626.3213 | 1225014.8423
15 | 2754687.2522 | 1224952.2408
16 | 2754711.0247 | 1224952.9968
17 | 2754662.8868 | 1225010.5632
18 | 2754611.3109 | 1225031.3923
19 | 2754665.3842 | 1224944.6743
20 | 2754716.4763 | 1224948.7666
21 | 2754681.758 | 1225029.2915
22 | 2754593.3706 | 1225059.5845
23 | 2754658.977 | 1224934.1448
24 | 2754731.9069 | 1224936.1915
25 | 2754753.5658 | 1224914.8572
26 | 2754770.3518 | 1224895.631
27 | 2754684.915 | 1225032.4245
28 | 2754702.3349 | 1225043.741
29 | 2754797.739 | 1224992.5065
30 | 2754790.5894 | 1225012.8927
31 | 2754798.1079 | 1224991.4546
32 | 2754783.0728 | 1225034.3252
33 | 2754803.9421 | 1224974.8194
34 | 2754770.1873 | 1225071.0663
35 | 2754804.377 | 1224973.5792
36 | 2754786.7194 | 1225075.8328
37 | 2754754.5453 | 1225066.7
38 | 2754772.8465 | 1224892.2183
39 | 2754799.1953 | 1224838.2179
40 | 2754711.9271 | 1224823.569
41 | 2754805.042 | 1225081.3377
42 | 2754735.3179 | 1225058.2449
43 | 2754748.8916 | 1225082.5712
44 | 2754830.8176 | 1224897.7078
45 | 2754832.7401 | 1224891.5194
46 | 2754838.0737 | 1224874.3512
47 | 2754859.0594 | 1224882.4045
48 | 2754863.9604 | 1224881.2198
49 | 2754877.71 | 1224887.8917
50 | 2754867.6965 | 1224872.4192
51 | 2754703.8055 | 1224872.1469
52 | 2754798.8969 | 1225099.0124
53 | 2754807.9897 | 1225072.9128
54 | 2754725.9074 | 1225054.1067
55 | 2754739.3003 | 1225109.4956
56 | 2754817.4545 | 1225045.7527
57 | 2754819.1282 | 1225040.9498
58 | 2754824.067 | 1225026.7776
59 | 2754791.1038 | 1225121.4273
60 | 2754849.7398 | 1224960.6186
61 | 2754783.5491 | 1225143.1561
62 | 2754651.7805 | 1225150.4649
63 | 2754665.5425 | 1225115.665
64 | 2754696.3118 | 1225133.0699
65 | 2754669.9474 | 1225103.1446
66 | 2754730.564 | 1225134.0197
67 | 2754670.7039 | 1225100.9942
68 | 2754715.2787 | 1225181.617
69 | 2754672.3561 | 1225096.2981
70 | 2754855.26 | 1224951.6942
71 | 2754861.5683 | 1224941.9151
72 | 2754705.9689 | 1225045.339
73 | 2754891.6184 | 1224894.6407
74 | 2754893.7032 | 1224890.6611
75 | 2754880.724 | 1224913.1063
76 | 2754903.6828 | 1224870.6721
77 | 2754870.4455 | 1224928.1539
78 | 2754886.3453 | 1224932.7552
79 | 2754962.3376 | 1224882.9926
80 | 2754961.0064 | 1224888.59
81 | 2754957.009 | 1224899.7756
82 | 2754952.1094 | 1224910.011
83 | 2754947.0971 | 1224926.2803
84 | 2754942.1024 | 1224945.0453
85 | 2754938.5412 | 1224947.2969
86 | 2754931.8546 | 1224945.9255
87 | 2754983.0822 | 1225023.7927
88 | 2754923.3287 | 1224943.4581
89 | 2755135.1 | 1225048.4371
90 | 2754910.9695 | 1224939.8814
91 | 2754897.5955 | 1224936.011
92 | 2755314.4154 | 1224973.6433
93 | 2755142.8446 | 1225020.8216
94 | 2755073.449 | 1225273.9252
95 | 2754678.0398 | 1225080.1431
96 | 2754680.6636 | 1225072.6851
97 | 2754770.1873 | 1225071.0663

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1