## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3293-5_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3293-5_0_5_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_3293-5_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_3293-5_0_5_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_3293-5_0_5_node_68 | 0.4 | n |  | TRUE
5 | bus_LV_3293-5_0_5_node_67 | 0.4 | n |  | TRUE
6 | bus_LV_3293-5_0_5_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_3293-5_0_5_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_3293-5_0_5_node_80 | 0.4 | n |  | TRUE
9 | bus_LV_3293-5_0_5_node_74 | 0.4 | n |  | TRUE
10 | bus_LV_3293-5_0_5_node_81 | 0.4 | n |  | TRUE
11 | bus_LV_3293-5_0_5_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_3293-5_0_5_node_72 | 0.4 | n |  | TRUE
13 | bus_LV_3293-5_0_5_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_3293-5_0_5_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_3293-5_0_5_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_3293-5_0_5_node_35 | 0.4 | n |  | TRUE
17 | bus_LV_3293-5_0_5_node_37 | 0.4 | n |  | TRUE
18 | bus_LV_3293-5_0_5_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_3293-5_0_5_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_3293-5_0_5_node_66 | 0.4 | n |  | TRUE
21 | bus_LV_3293-5_0_5_node_33 | 0.4 | n |  | TRUE
22 | bus_LV_3293-5_0_5_node_36 | 0.4 | n |  | TRUE
23 | bus_LV_3293-5_0_5_node_88 | 0.4 | n |  | TRUE
24 | bus_LV_3293-5_0_5_node_87 | 0.4 | n |  | TRUE
25 | bus_LV_3293-5_0_5_node_91 | 0.4 | n |  | TRUE
26 | bus_LV_3293-5_0_5_node_65 | 0.4 | n |  | TRUE
27 | bus_LV_3293-5_0_5_node_11 | 0.4 | n |  | TRUE
28 | bus_LV_3293-5_0_5_node_12 | 0.4 | n |  | TRUE
29 | bus_LV_3293-5_0_5_node_56 | 0.4 | n |  | TRUE
30 | bus_LV_3293-5_0_5_node_13 | 0.4 | n |  | TRUE
31 | bus_LV_3293-5_0_5_node_55 | 0.4 | n |  | TRUE
32 | bus_LV_3293-5_0_5_node_15 | 0.4 | n |  | TRUE
33 | bus_LV_3293-5_0_5_node_14 | 0.4 | n |  | TRUE
34 | bus_LV_3293-5_0_5_node_17 | 0.4 | n |  | TRUE
35 | bus_LV_3293-5_0_5_node_57 | 0.4 | n |  | TRUE
36 | bus_LV_3293-5_0_5_node_16 | 0.4 | n |  | TRUE
37 | bus_LV_3293-5_0_5_node_64 | 0.4 | n |  | TRUE
38 | bus_LV_3293-5_0_5_node_84 | 0.4 | n |  | TRUE
39 | bus_LV_3293-5_0_5_node_85 | 0.4 | n |  | TRUE
40 | bus_LV_3293-5_0_5_node_89 | 0.4 | n |  | TRUE
41 | bus_LV_3293-5_0_5_node_86 | 0.4 | n |  | TRUE
42 | bus_LV_3293-5_0_5_node_20 | 0.4 | n |  | TRUE
43 | bus_LV_3293-5_0_5_node_21 | 0.4 | n |  | TRUE
44 | bus_LV_3293-5_0_5_node_22 | 0.4 | n |  | TRUE
45 | bus_LV_3293-5_0_5_node_23 | 0.4 | n |  | TRUE
46 | bus_LV_3293-5_0_5_node_24 | 0.4 | n |  | TRUE
47 | bus_LV_3293-5_0_5_node_25 | 0.4 | n |  | TRUE
48 | bus_LV_3293-5_0_5_node_26 | 0.4 | n |  | TRUE
49 | bus_LV_3293-5_0_5_node_27 | 0.4 | n |  | TRUE
50 | bus_LV_3293-5_0_5_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_3293-5_0_5_node_62 | 0.4 | n |  | TRUE
52 | bus_LV_3293-5_0_5_node_28 | 0.4 | n |  | TRUE
53 | bus_LV_3293-5_0_5_node_29 | 0.4 | n |  | TRUE
54 | bus_LV_3293-5_0_5_node_30 | 0.4 | n |  | TRUE
55 | bus_LV_3293-5_0_5_node_31 | 0.4 | n |  | TRUE
56 | bus_LV_3293-5_0_5_node_32 | 0.4 | n |  | TRUE
57 | bus_LV_3293-5_0_5_node_75 | 0.4 | n |  | TRUE
58 | bus_LV_3293-5_0_5_node_34 | 0.4 | n |  | TRUE
59 | bus_LV_3293-5_0_5_node_76 | 0.4 | n |  | TRUE
60 | bus_LV_3293-5_0_5_node_69 | 0.4 | n |  | TRUE
61 | bus_LV_3293-5_0_5_node_70 | 0.4 | n |  | TRUE
62 | bus_LV_3293-5_0_5_node_60 | 0.4 | n |  | TRUE
63 | bus_LV_3293-5_0_5_node_39 | 0.4 | n |  | TRUE
64 | bus_LV_3293-5_0_5_node_40 | 0.4 | n |  | TRUE
65 | bus_LV_3293-5_0_5_node_42 | 0.4 | n |  | TRUE
66 | bus_LV_3293-5_0_5_node_47 | 0.4 | n |  | TRUE
67 | bus_LV_3293-5_0_5_node_43 | 0.4 | n |  | TRUE
68 | bus_LV_3293-5_0_5_node_50 | 0.4 | n |  | TRUE
69 | bus_LV_3293-5_0_5_node_48 | 0.4 | n |  | TRUE
70 | bus_LV_3293-5_0_5_node_46 | 0.4 | n |  | TRUE
71 | bus_LV_3293-5_0_5_node_44 | 0.4 | n |  | TRUE
72 | bus_LV_3293-5_0_5_node_45 | 0.4 | n |  | TRUE
73 | bus_LV_3293-5_0_5_node_49 | 0.4 | n |  | TRUE
74 | bus_LV_3293-5_0_5_node_51 | 0.4 | n |  | TRUE
75 | bus_LV_3293-5_0_5_node_52 | 0.4 | n |  | TRUE
76 | bus_LV_3293-5_0_5_node_53 | 0.4 | n |  | TRUE
77 | bus_LV_3293-5_0_5_node_54 | 0.4 | n |  | TRUE
78 | bus_LV_3293-5_0_5_node_59 | 0.4 | n |  | TRUE
79 | bus_LV_3293-5_0_5_node_58 | 0.4 | n |  | TRUE
80 | bus_LV_3293-5_0_5_node_61 | 0.4 | n |  | TRUE
81 | bus_LV_3293-5_0_5_node_63 | 0.4 | n |  | TRUE
82 | bus_LV_3293-5_0_5_node_71 | 0.4 | n |  | TRUE
83 | bus_LV_3293-5_0_5_node_73 | 0.4 | n |  | TRUE
84 | bus_LV_3293-5_0_5_node_77 | 0.4 | n |  | TRUE
85 | bus_LV_3293-5_0_5_node_78 | 0.4 | n |  | TRUE
86 | bus_LV_3293-5_0_5_node_90 | 0.4 | n |  | TRUE
87 | bus_MV_53_1_node_204 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3293-5_0_5_load_0 | 0 | 0.012512 | 0.0031357 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3293-5_0_5_load_6 | 3 | 0.01061 | 0.0026591 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3293-5_0_5_load_67 | 5 | 0.018526 | 0.0046431 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3293-5_0_5_load_80 | 8 | 0.027911 | 0.0069952 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3293-5_0_5_load_74 | 9 | 0.0062406 | 0.0015641 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3293-5_0_5_load_81 | 10 | 0.055509 | 0.013912 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3293-5_0_5_load_72 | 12 | 0.014079 | 0.0035285 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3293-5_0_5_load_37 | 17 | 0.027101 | 0.0067922 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3293-5_0_5_load_19 | 19 | 0.0017158 | 0.00043001 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3293-5_0_5_load_66 | 20 | 0.022273 | 0.0055822 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3293-5_0_5_load_36 | 22 | 0.0082931 | 0.0020785 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3293-5_0_5_load_87 | 24 | 0.002126 | 0.00053282 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3293-5_0_5_load_91 | 25 | 0.0011372 | 0.00028501 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3293-5_0_5_load_65 | 26 | 0.018807 | 0.0047135 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3293-5_0_5_load_11 | 27 | 0.003533 | 0.00088544 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3293-5_0_5_load_56 | 29 | 0.0041737 | 0.001046 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3293-5_0_5_load_13 | 30 | 0.0085651 | 0.0021466 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3293-5_0_5_load_55 | 31 | 0.0055877 | 0.0014004 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3293-5_0_5_load_14 | 33 | 0.0038718 | 0.00097038 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3293-5_0_5_load_17 | 34 | 0.011627 | 0.002914 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3293-5_0_5_load_57 | 35 | 0.011439 | 0.0028669 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3293-5_0_5_load_16 | 36 | 0.0080258 | 0.0020115 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3293-5_0_5_load_64 | 37 | 0.010372 | 0.0025994 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3293-5_0_5_load_84 | 38 | 0.0053501 | 0.0013409 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3293-5_0_5_load_89 | 40 | 0.0047076 | 0.0011798 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3293-5_0_5_load_20 | 42 | 0.0052148 | 0.001307 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3293-5_0_5_load_21 | 43 | 0.0031781 | 0.00079652 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3293-5_0_5_load_23 | 45 | 0.01224 | 0.0030677 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3293-5_0_5_load_24 | 46 | 0.0016369 | 0.00041024 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3293-5_0_5_load_27 | 49 | 0.02357 | 0.0059071 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3293-5_0_5_load_38 | 50 | 0.0070566 | 0.0017686 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3293-5_0_5_load_62 | 51 | 0.0053246 | 0.0013345 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3293-5_0_5_load_28 | 52 | 0.010658 | 0.0026712 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3293-5_0_5_load_29 | 53 | 0.010321 | 0.0025867 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3293-5_0_5_load_30 | 54 | 0.0069504 | 0.0017419 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3293-5_0_5_load_31 | 55 | 0.0083629 | 0.002096 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3293-5_0_5_load_75 | 57 | 0.0016666 | 0.00041768 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3293-5_0_5_load_76 | 59 | 0.00078899 | 0.00019774 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3293-5_0_5_load_69 | 60 | 0.020816 | 0.005217 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3293-5_0_5_load_70 | 61 | 0.012449 | 0.00312 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3293-5_0_5_load_60 | 62 | 0.0031144 | 0.00078055 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3293-5_0_5_load_39 | 63 | 0.0022638 | 0.00056736 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3293-5_0_5_load_40 | 64 | 0.0074657 | 0.0018711 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3293-5_0_5_load_42 | 65 | 0.0017874 | 0.00044797 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3293-5_0_5_load_47 | 66 | 0.002827 | 0.00070852 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3293-5_0_5_load_50 | 68 | 0.0053618 | 0.0013438 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3293-5_0_5_load_48 | 69 | 0.0034263 | 0.00085872 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3293-5_0_5_load_44 | 71 | 0.0019956 | 0.00050014 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3293-5_0_5_load_45 | 72 | 0.0022404 | 0.00056149 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3293-5_0_5_load_49 | 73 | 0.0061524 | 0.0015419 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3293-5_0_5_load_51 | 74 | 0.01117 | 0.0027994 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3293-5_0_5_load_52 | 75 | 0.0024806 | 0.0006217 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3293-5_0_5_load_53 | 76 | 0.0023387 | 0.00058613 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3293-5_0_5_load_54 | 77 | 0.00349 | 0.00087468 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3293-5_0_5_load_59 | 78 | 0.010965 | 0.0027482 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3293-5_0_5_load_58 | 79 | 0.0048187 | 0.0012077 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3293-5_0_5_load_61 | 80 | 0.0039737 | 0.0009959 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3293-5_0_5_load_63 | 81 | 0.010149 | 0.0025436 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3293-5_0_5_load_71 | 82 | 0.011243 | 0.0028177 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3293-5_0_5_load_73 | 83 | 0.026501 | 0.0066418 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3293-5_0_5_load_77 | 84 | 0.0018923 | 0.00047426 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3293-5_0_5_load_78 | 85 | 0.0073627 | 0.0018453 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3293-5_0_5_load_90 | 86 | 0.0012297 | 0.0003082 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3293-5_0_5_line_0 |  | 0 | 1 | 0.0029179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3293-5_0_5_line_1 |  | 1 | 2 | 0.032368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_3293-5_0_5_line_2 |  | 1 | 3 | 0.031231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_3293-5_0_5_line_3 |  | 2 | 4 | 0.003566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_3293-5_0_5_line_4 |  | 2 | 5 | 0.023561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3293-5_0_5_line_5 |  | 3 | 11 | 0.01317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_3293-5_0_5_line_6 |  | 4 | 9 | 0.049254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3293-5_0_5_line_7 |  | 4 | 12 | 0.015214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_3293-5_0_5_line_8 |  | 6 | 7 | 0.009068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3293-5_0_5_line_9 |  | 6 | 8 | 0.078848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3293-5_0_5_line_10 |  | 6 | 9 | 0.04029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3293-5_0_5_line_11 |  | 7 | 10 | 0.038448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3293-5_0_5_line_12 |  | 11 | 13 | 0.075936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3293-5_0_5_line_13 |  | 11 | 14 | 0.05761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_3293-5_0_5_line_14 |  | 12 | 58 | 0.023785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_3293-5_0_5_line_15 |  | 13 | 18 | 0.072065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3293-5_0_5_line_16 |  | 13 | 19 | 0.04619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3293-5_0_5_line_17 |  | 14 | 20 | 0.020287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_3293-5_0_5_line_18 |  | 15 | 16 | 0.01057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3293-5_0_5_line_19 |  | 15 | 17 | 0.02085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3293-5_0_5_line_20 |  | 16 | 21 | 0.003847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_3293-5_0_5_line_21 |  | 17 | 22 | 0.050336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3293-5_0_5_line_22 |  | 18 | 23 | 0.090131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3293-5_0_5_line_23 |  | 18 | 24 | 0.015606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3293-5_0_5_line_24 |  | 19 | 25 | 0.0072432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3293-5_0_5_line_25 |  | 20 | 26 | 0.010166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_3293-5_0_5_line_26 |  | 21 | 58 | 0.042693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_3293-5_0_5_line_27 |  | 21 | 55 | 0.054511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3293-5_0_5_line_28 |  | 22 | 48 | 0.0037602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3293-5_0_5_line_29 |  | 23 | 40 | 0.087899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3293-5_0_5_line_30 |  | 24 | 41 | 0.045386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3293-5_0_5_line_31 |  | 26 | 37 | 0.040387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_3293-5_0_5_line_32 |  | 27 | 28 | 0.019151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3293-5_0_5_line_33 |  | 27 | 29 | 0.028766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3293-5_0_5_line_34 |  | 28 | 30 | 0.03462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3293-5_0_5_line_35 |  | 29 | 31 | 0.025775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3293-5_0_5_line_36 |  | 30 | 32 | 0.042077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3293-5_0_5_line_37 |  | 31 | 35 | 0.013062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3293-5_0_5_line_38 |  | 32 | 36 | 0.0074211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3293-5_0_5_line_39 |  | 32 | 34 | 0.032499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3293-5_0_5_line_40 |  | 33 | 34 | 0.0063068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3293-5_0_5_line_41 |  | 35 | 79 | 0.01793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3293-5_0_5_line_42 |  | 37 | 78 | 0.00087538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3293-5_0_5_line_43 |  | 38 | 39 | 0.024824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3293-5_0_5_line_44 |  | 39 | 41 | 0.014104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3293-5_0_5_line_45 |  | 40 | 86 | 0.0037466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3293-5_0_5_line_46 |  | 42 | 43 | 0.0092919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3293-5_0_5_line_47 |  | 42 | 44 | 0.014618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3293-5_0_5_line_48 |  | 43 | 45 | 0.028953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3293-5_0_5_line_49 |  | 44 | 46 | 0.021621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3293-5_0_5_line_50 |  | 45 | 47 | 0.02783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3293-5_0_5_line_51 |  | 47 | 48 | 0.009698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3293-5_0_5_line_52 |  | 47 | 49 | 0.05275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3293-5_0_5_line_53 |  | 48 | 50 | 0.018251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3293-5_0_5_line_54 |  | 50 | 51 | 0.026363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3293-5_0_5_line_55 |  | 51 | 62 | 0.0042879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3293-5_0_5_line_56 |  | 52 | 53 | 0.027994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3293-5_0_5_line_57 |  | 52 | 54 | 0.032029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3293-5_0_5_line_58 |  | 53 | 55 | 0.030017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3293-5_0_5_line_59 |  | 54 | 56 | 0.018053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3293-5_0_5_line_60 |  | 56 | 57 | 0.050122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3293-5_0_5_line_61 |  | 57 | 59 | 0.01824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3293-5_0_5_line_62 |  | 58 | 60 | 0.033722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3293-5_0_5_line_63 |  | 59 | 84 | 0.016895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3293-5_0_5_line_64 |  | 60 | 61 | 0.020387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3293-5_0_5_line_65 |  | 61 | 82 | 0.032945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3293-5_0_5_line_66 |  | 62 | 80 | 0.00018559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3293-5_0_5_line_67 |  | 63 | 64 | 0.01625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3293-5_0_5_line_68 |  | 64 | 65 | 0.0011947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3293-5_0_5_line_69 |  | 65 | 66 | 0.025195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3293-5_0_5_line_70 |  | 66 | 70 | 0.011918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3293-5_0_5_line_71 |  | 67 | 68 | 0.02987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3293-5_0_5_line_72 |  | 67 | 69 | 0.039412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3293-5_0_5_line_73 |  | 69 | 70 | 0.024678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3293-5_0_5_line_74 |  | 70 | 73 | 0.022741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3293-5_0_5_line_75 |  | 70 | 71 | 0.042404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3293-5_0_5_line_76 |  | 71 | 72 | 0.0045559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3293-5_0_5_line_77 |  | 73 | 74 | 0.0054782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3293-5_0_5_line_78 |  | 74 | 75 | 0.019586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3293-5_0_5_line_79 |  | 75 | 76 | 0.019044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3293-5_0_5_line_80 |  | 76 | 77 | 0.024975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3293-5_0_5_line_81 |  | 77 | 78 | 0.033879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3293-5_0_5_line_82 |  | 77 | 79 | 0.021461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3293-5_0_5_line_83 |  | 80 | 81 | 0.0065546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3293-5_0_5_line_84 |  | 82 | 83 | 0.0099697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3293-5_0_5_line_85 |  | 84 | 85 | 0.025817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3293-5_0_5_trafo_35 | 0.63 MVA 20/0.4 kV | 87 | 16 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2750321.991 | 1213315.0873 | 2750319.3305 | 1213316.2855
1 | 2750321.991 | 1213315.0873 | 2750315.2895 | 1213305.3655 | 2750307.4726 | 1213300.0861 | 2750301.2634 | 1213297.961 | 2750297.1196 | 1213295.9104
2 | 2750321.991 | 1213315.0873 | 2750349.1187 | 1213299.6125
3 | 2750297.1196 | 1213295.9104 | 2750293.9142 | 1213294.3282
4 | 2750297.1196 | 1213295.9104 | 2750299.3212 | 1213291.7956 | 2750308.2445 | 1213275.1418
5 | 2750360.1619 | 1213292.4409 | 2750350.107 | 1213299.0487 | 2750349.1187 | 1213299.6125
6 | 2750293.9142 | 1213294.3282 | 2750289.5285 | 1213302.169 | 2750287.7059 | 1213305.4259 | 2750281.3086 | 1213314.0723 | 2750273.6834 | 1213322.5876 | 2750262.9268 | 1213329.3002 | 2750261.5122 | 1213330.1928
7 | 2750293.9142 | 1213294.3282 | 2750301.0683 | 1213280.9017
8 | 2750226.5947 | 1213350.1809 | 2750218.633 | 1213354.5619
9 | 2750226.5947 | 1213350.1809 | 2750209.9443 | 1213332.9131 | 2750168.9899 | 1213296.4107
10 | 2750226.5947 | 1213350.1809 | 2750241.0157 | 1213343.1269 | 2750261.5122 | 1213330.1928
11 | 2750218.633 | 1213354.5619 | 2750215.0228 | 1213353.3588 | 2750194.4344 | 1213362.059 | 2750183.9933 | 1213368.5451
12 | 2750360.1619 | 1213292.4409 | 2750366.9774 | 1213295.5376 | 2750372.6358 | 1213298.1048 | 2750371.6447 | 1213300.9378 | 2750372.1966 | 1213304.3658 | 2750381.9037 | 1213322.0817 | 2750386.4231 | 1213330.325 | 2750400.0186 | 1213352.6763
13 | 2750409.6263 | 1213262.9179 | 2750383.0133 | 1213278.4159 | 2750378.6396 | 1213280.9634 | 2750360.1619 | 1213292.4409
14 | 2750312.2408 | 1213259.9044 | 2750308.4265 | 1213267.0924 | 2750301.0683 | 1213280.9017
15 | 2750413.7036 | 1213422.6605 | 2750413.3918 | 1213397.9755 | 2750404.6146 | 1213362.701 | 2750400.0186 | 1213352.6763
16 | 2750400.0186 | 1213352.6763 | 2750379.5449 | 1213360.4335 | 2750366.9904 | 1213365.1989 | 2750356.5188 | 1213368.1044
17 | 2750409.6263 | 1213262.9179 | 2750427.1554 | 1213252.7055
18 | 2750340.1907 | 1213215.8149 | 2750335.0775 | 1213225.0718
19 | 2750340.1907 | 1213215.8149 | 2750350.268 | 1213197.5619
20 | 2750335.0775 | 1213225.0718 | 2750332.4348 | 1213222.2694
21 | 2750374.5965 | 1213153.4959 | 2750350.268 | 1213197.5619
22 | 2750413.7036 | 1213422.6605 | 2750411.1819 | 1213443.6708 | 2750400.8539 | 1213488.8054 | 2750398.0443 | 1213511.2875
23 | 2750413.7036 | 1213422.6605 | 2750428.9823 | 1213425.8376
24 | 2750349.5393 | 1213370.0409 | 2750356.5188 | 1213368.1044
25 | 2750427.1554 | 1213252.7055 | 2750435.9391 | 1213247.5881
26 | 2750332.4348 | 1213222.2694 | 2750319.5427 | 1213246.132 | 2750312.2408 | 1213259.9044
27 | 2750332.4348 | 1213222.2694 | 2750295.0458 | 1213182.6014
28 | 2750376.4139 | 1213150.2041 | 2750374.5965 | 1213153.4959
29 | 2750398.0443 | 1213511.2875 | 2750391.3441 | 1213496.1053 | 2750382.6253 | 1213490.1357 | 2750371.8936 | 1213430.3542
30 | 2750473.4173 | 1213435.0777 | 2750428.9823 | 1213425.8376
31 | 2750465.8366 | 1213221.3051 | 2750463.2961 | 1213225.4945 | 2750449.4922 | 1213239.692 | 2750435.9391 | 1213247.5881
32 | 2750546.7597 | 1213240.1692 | 2750563.68 | 1213231.2
33 | 2750554.3513 | 1213203.9887 | 2750563.68 | 1213231.2
34 | 2750546.7597 | 1213240.1692 | 2750541.2163 | 1213274.3421
35 | 2750530.3512 | 1213207.6617 | 2750536.52 | 1213209.8509 | 2750541.7665 | 1213210.0724 | 2750554.3513 | 1213203.9887
36 | 2750521.4677 | 1213311.3709 | 2750526.8491 | 1213300.5306 | 2750540.944 | 1213276.0205 | 2750541.2163 | 1213274.3421
37 | 2750530.3512 | 1213207.6617 | 2750518.0416 | 1213203.2934
38 | 2750521.4677 | 1213311.3709 | 2750519.0321 | 1213318.3809
39 | 2750521.4677 | 1213311.3709 | 2750491.5995 | 1213298.5605
40 | 2750491.5995 | 1213298.5605 | 2750485.8033 | 1213296.0745
41 | 2750501.1437 | 1213197.2968 | 2750518.0416 | 1213203.2934
42 | 2750465.8366 | 1213221.3051 | 2750466.2905 | 1213220.5565
43 | 2750481.7089 | 1213423.6547 | 2750490.5966 | 1213406.3861 | 2750492.1696 | 1213401.2181
44 | 2750473.4173 | 1213435.0777 | 2750481.7089 | 1213423.6547
45 | 2750371.8936 | 1213430.3542 | 2750371.2316 | 1213426.6665
46 | 2750407.3534 | 1213091.3669 | 2750411.7305 | 1213083.1704
47 | 2750418.6162 | 1213070.2762 | 2750411.7305 | 1213083.1704
48 | 2750407.3534 | 1213091.3669 | 2750393.7148 | 1213116.9064
49 | 2750418.6162 | 1213070.2762 | 2750437.8124 | 1213080.2245
50 | 2750380.6097 | 1213141.4578 | 2750383.3464 | 1213136.3223 | 2750393.7148 | 1213116.9064
51 | 2750380.6097 | 1213141.4578 | 2750376.4139 | 1213150.2041
52 | 2750380.6097 | 1213141.4578 | 2750352.5918 | 1213116.5296 | 2750345.7628 | 1213102.8969
53 | 2750376.4139 | 1213150.2041 | 2750392.2656 | 1213159.2491
54 | 2750415.1636 | 1213172.3148 | 2750392.2656 | 1213159.2491
55 | 2750418.8878 | 1213174.4398 | 2750415.1636 | 1213172.3148
56 | 2750274.4572 | 1213160.7578 | 2750255.2561 | 1213140.3863
57 | 2750227.8564 | 1213124.9826 | 2750235.4906 | 1213128.7782 | 2750245.9385 | 1213131.9108 | 2750255.2561 | 1213140.3863
58 | 2750274.4572 | 1213160.7578 | 2750295.0458 | 1213182.6014
59 | 2750214.395 | 1213113.2444 | 2750218.4483 | 1213115.2705 | 2750227.8564 | 1213124.9826
60 | 2750214.395 | 1213113.2444 | 2750180.5916 | 1213150.2517
61 | 2750180.5916 | 1213150.2517 | 2750168.2904 | 1213163.7188
62 | 2750312.2408 | 1213259.9044 | 2750287.0028 | 1213237.5386
63 | 2750156.896 | 1213176.1932 | 2750168.2904 | 1213163.7188
64 | 2750287.0028 | 1213237.5386 | 2750271.7451 | 1213224.0174
65 | 2750271.7451 | 1213224.0174 | 2750247.089 | 1213202.1673
66 | 2750419.049 | 1213174.5318 | 2750418.8878 | 1213174.4398
67 | 2750522.6438 | 1213050.0211 | 2750518.5877 | 1213065.7563
68 | 2750518.5877 | 1213065.7563 | 2750518.2895 | 1213066.9132
69 | 2750512.0005 | 1213091.311 | 2750518.2895 | 1213066.9132
70 | 2750509.0255 | 1213102.8523 | 2750512.0005 | 1213091.311
71 | 2750571.6732 | 1213116.2898 | 2750566.188 | 1213138.1482 | 2750565.3143 | 1213145.4302
72 | 2750571.6732 | 1213116.2898 | 2750533.0354 | 1213108.5144
73 | 2750509.0255 | 1213102.8523 | 2750523.1385 | 1213106.5228 | 2750533.0354 | 1213108.5144
74 | 2750509.0255 | 1213102.8523 | 2750503.5578 | 1213124.9259
75 | 2750509.0255 | 1213102.8523 | 2750503.2843 | 1213100.5498 | 2750476.4388 | 1213096.9248 | 2750467.7977 | 1213093.9813
76 | 2750467.7977 | 1213093.9813 | 2750463.4851 | 1213092.5122
77 | 2750503.5578 | 1213124.9259 | 2750502.2407 | 1213130.2435
78 | 2750496.2936 | 1213148.8728 | 2750500.2655 | 1213138.2177 | 2750502.2407 | 1213130.2435
79 | 2750496.2936 | 1213148.8728 | 2750489.6417 | 1213166.7175
80 | 2750480.9183 | 1213190.1193 | 2750489.6417 | 1213166.7175
81 | 2750480.9183 | 1213190.1193 | 2750473.4317 | 1213208.7801 | 2750466.2905 | 1213220.5565
82 | 2750480.9183 | 1213190.1193 | 2750501.1437 | 1213197.2968
83 | 2750424.742 | 1213177.7803 | 2750419.049 | 1213174.5318
84 | 2750239.6276 | 1213195.555 | 2750247.089 | 1213202.1673
85 | 2750156.896 | 1213176.1932 | 2750139.4845 | 1213195.2549

## bus_geodata
| x | y | coords
0 | 2750319.3305 | 1213316.2855
1 | 2750321.991 | 1213315.0873
2 | 2750297.1196 | 1213295.9104
3 | 2750349.1187 | 1213299.6125
4 | 2750293.9142 | 1213294.3282
5 | 2750308.2445 | 1213275.1418
6 | 2750226.5947 | 1213350.1809
7 | 2750218.633 | 1213354.5619
8 | 2750168.9899 | 1213296.4107
9 | 2750261.5122 | 1213330.1928
10 | 2750183.9933 | 1213368.5451
11 | 2750360.1619 | 1213292.4409
12 | 2750301.0683 | 1213280.9017
13 | 2750400.0186 | 1213352.6763
14 | 2750409.6263 | 1213262.9179
15 | 2750340.1907 | 1213215.8149
16 | 2750335.0775 | 1213225.0718
17 | 2750350.268 | 1213197.5619
18 | 2750413.7036 | 1213422.6605
19 | 2750356.5188 | 1213368.1044
20 | 2750427.1554 | 1213252.7055
21 | 2750332.4348 | 1213222.2694
22 | 2750374.5965 | 1213153.4959
23 | 2750398.0443 | 1213511.2875
24 | 2750428.9823 | 1213425.8376
25 | 2750349.5393 | 1213370.0409
26 | 2750435.9391 | 1213247.5881
27 | 2750563.68 | 1213231.2
28 | 2750546.7597 | 1213240.1692
29 | 2750554.3513 | 1213203.9887
30 | 2750541.2163 | 1213274.3421
31 | 2750530.3512 | 1213207.6617
32 | 2750521.4677 | 1213311.3709
33 | 2750485.8033 | 1213296.0745
34 | 2750491.5995 | 1213298.5605
35 | 2750518.0416 | 1213203.2934
36 | 2750519.0321 | 1213318.3809
37 | 2750465.8366 | 1213221.305
38 | 2750492.1696 | 1213401.2181
39 | 2750481.7089 | 1213423.6547
40 | 2750371.8936 | 1213430.3542
41 | 2750473.4173 | 1213435.0777
42 | 2750411.7305 | 1213083.1704
43 | 2750407.3534 | 1213091.3669
44 | 2750418.6162 | 1213070.2762
45 | 2750393.7148 | 1213116.9064
46 | 2750437.8124 | 1213080.2245
47 | 2750380.6097 | 1213141.4578
48 | 2750376.4139 | 1213150.2041
49 | 2750345.7628 | 1213102.8969
50 | 2750392.2656 | 1213159.2491
51 | 2750415.1636 | 1213172.3148
52 | 2750255.2561 | 1213140.3863
53 | 2750274.4572 | 1213160.7578
54 | 2750227.8564 | 1213124.9826
55 | 2750295.0458 | 1213182.6014
56 | 2750214.395 | 1213113.2444
57 | 2750180.5916 | 1213150.2517
58 | 2750312.2408 | 1213259.9044
59 | 2750168.2904 | 1213163.7188
60 | 2750287.0028 | 1213237.5386
61 | 2750271.7451 | 1213224.0174
62 | 2750418.8878 | 1213174.4398
63 | 2750522.6438 | 1213050.0211
64 | 2750518.5877 | 1213065.7563
65 | 2750518.2895 | 1213066.9132
66 | 2750512.0005 | 1213091.311
67 | 2750571.6732 | 1213116.2898
68 | 2750565.3143 | 1213145.4302
69 | 2750533.0354 | 1213108.5144
70 | 2750509.0255 | 1213102.8523
71 | 2750467.7977 | 1213093.9813
72 | 2750463.4851 | 1213092.5122
73 | 2750503.5578 | 1213124.9259
74 | 2750502.2407 | 1213130.2435
75 | 2750496.2936 | 1213148.8728
76 | 2750489.6417 | 1213166.7175
77 | 2750480.9183 | 1213190.1193
78 | 2750466.2905 | 1213220.5565
79 | 2750501.1437 | 1213197.2968
80 | 2750419.049 | 1213174.5318
81 | 2750424.742 | 1213177.7803
82 | 2750247.089 | 1213202.1673
83 | 2750239.6276 | 1213195.555
84 | 2750156.896 | 1213176.1932
85 | 2750139.4845 | 1213195.2549
86 | 2750371.2316 | 1213426.6665
87 | 2750332.4348 | 1213222.2694

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1