## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3296-10_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3296-10_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3296-10_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3296-10_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3296-10_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3296-10_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3296-10_0_6_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_3296-10_0_6_node_74 | 0.4 | n |  | TRUE
8 | bus_LV_3296-10_0_6_node_76 | 0.4 | n |  | TRUE
9 | bus_LV_3296-10_0_6_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_3296-10_0_6_node_75 | 0.4 | n |  | TRUE
11 | bus_LV_3296-10_0_6_node_77 | 0.4 | n |  | TRUE
12 | bus_LV_3296-10_0_6_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_3296-10_0_6_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_3296-10_0_6_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_3296-10_0_6_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_3296-10_0_6_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_3296-10_0_6_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_3296-10_0_6_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_3296-10_0_6_node_94 | 0.4 | n |  | TRUE
20 | bus_LV_3296-10_0_6_node_92 | 0.4 | n |  | TRUE
21 | bus_LV_3296-10_0_6_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_3296-10_0_6_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_3296-10_0_6_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_3296-10_0_6_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_3296-10_0_6_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_3296-10_0_6_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_3296-10_0_6_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_3296-10_0_6_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_3296-10_0_6_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_3296-10_0_6_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_3296-10_0_6_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_3296-10_0_6_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_3296-10_0_6_node_73 | 0.4 | n |  | TRUE
34 | bus_LV_3296-10_0_6_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_3296-10_0_6_node_72 | 0.4 | n |  | TRUE
36 | bus_LV_3296-10_0_6_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_3296-10_0_6_node_59 | 0.4 | n |  | TRUE
38 | bus_LV_3296-10_0_6_node_53 | 0.4 | n |  | TRUE
39 | bus_LV_3296-10_0_6_node_58 | 0.4 | n |  | TRUE
40 | bus_LV_3296-10_0_6_node_43 | 0.4 | n |  | TRUE
41 | bus_LV_3296-10_0_6_node_80 | 0.4 | n |  | TRUE
42 | bus_LV_3296-10_0_6_node_42 | 0.4 | n |  | TRUE
43 | bus_LV_3296-10_0_6_node_81 | 0.4 | n |  | TRUE
44 | bus_LV_3296-10_0_6_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_3296-10_0_6_node_51 | 0.4 | n |  | TRUE
46 | bus_LV_3296-10_0_6_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_3296-10_0_6_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_3296-10_0_6_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_3296-10_0_6_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_3296-10_0_6_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_3296-10_0_6_node_34 | 0.4 | n |  | TRUE
52 | bus_LV_3296-10_0_6_node_55 | 0.4 | n |  | TRUE
53 | bus_LV_3296-10_0_6_node_35 | 0.4 | n |  | TRUE
54 | bus_LV_3296-10_0_6_node_54 | 0.4 | n |  | TRUE
55 | bus_LV_3296-10_0_6_node_36 | 0.4 | n |  | TRUE
56 | bus_LV_3296-10_0_6_node_39 | 0.4 | n |  | TRUE
57 | bus_LV_3296-10_0_6_node_37 | 0.4 | n |  | TRUE
58 | bus_LV_3296-10_0_6_node_78 | 0.4 | n |  | TRUE
59 | bus_LV_3296-10_0_6_node_44 | 0.4 | n |  | TRUE
60 | bus_LV_3296-10_0_6_node_45 | 0.4 | n |  | TRUE
61 | bus_LV_3296-10_0_6_node_46 | 0.4 | n |  | TRUE
62 | bus_LV_3296-10_0_6_node_47 | 0.4 | n |  | TRUE
63 | bus_LV_3296-10_0_6_node_48 | 0.4 | n |  | TRUE
64 | bus_LV_3296-10_0_6_node_49 | 0.4 | n |  | TRUE
65 | bus_LV_3296-10_0_6_node_50 | 0.4 | n |  | TRUE
66 | bus_LV_3296-10_0_6_node_67 | 0.4 | n |  | TRUE
67 | bus_LV_3296-10_0_6_node_66 | 0.4 | n |  | TRUE
68 | bus_LV_3296-10_0_6_node_60 | 0.4 | n |  | TRUE
69 | bus_LV_3296-10_0_6_node_61 | 0.4 | n |  | TRUE
70 | bus_LV_3296-10_0_6_node_56 | 0.4 | n |  | TRUE
71 | bus_LV_3296-10_0_6_node_57 | 0.4 | n |  | TRUE
72 | bus_LV_3296-10_0_6_node_62 | 0.4 | n |  | TRUE
73 | bus_LV_3296-10_0_6_node_63 | 0.4 | n |  | TRUE
74 | bus_LV_3296-10_0_6_node_64 | 0.4 | n |  | TRUE
75 | bus_LV_3296-10_0_6_node_65 | 0.4 | n |  | TRUE
76 | bus_LV_3296-10_0_6_node_69 | 0.4 | n |  | TRUE
77 | bus_LV_3296-10_0_6_node_70 | 0.4 | n |  | TRUE
78 | bus_LV_3296-10_0_6_node_71 | 0.4 | n |  | TRUE
79 | bus_LV_3296-10_0_6_node_68 | 0.4 | n |  | TRUE
80 | bus_LV_3296-10_0_6_node_87 | 0.4 | n |  | TRUE
81 | bus_LV_3296-10_0_6_node_88 | 0.4 | n |  | TRUE
82 | bus_LV_3296-10_0_6_node_79 | 0.4 | n |  | TRUE
83 | bus_LV_3296-10_0_6_node_97 | 0.4 | n |  | TRUE
84 | bus_LV_3296-10_0_6_node_82 | 0.4 | n |  | TRUE
85 | bus_LV_3296-10_0_6_node_83 | 0.4 | n |  | TRUE
86 | bus_LV_3296-10_0_6_node_84 | 0.4 | n |  | TRUE
87 | bus_LV_3296-10_0_6_node_86 | 0.4 | n |  | TRUE
88 | bus_LV_3296-10_0_6_node_96 | 0.4 | n |  | TRUE
89 | bus_LV_3296-10_0_6_node_93 | 0.4 | n |  | TRUE
90 | bus_LV_3296-10_0_6_node_89 | 0.4 | n |  | TRUE
91 | bus_LV_3296-10_0_6_node_90 | 0.4 | n |  | TRUE
92 | bus_LV_3296-10_0_6_node_91 | 0.4 | n |  | TRUE
93 | bus_LV_3296-10_0_6_node_95 | 0.4 | n |  | TRUE
94 | bus_LV_3296-10_0_6_node_98 | 0.4 | n |  | TRUE
95 | bus_MV_238_0_node_112 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3296-10_0_6_load_0 | 0 | 0.0023847 | 0.00059766 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3296-10_0_6_load_1 | 1 | 0.002616 | 0.00065563 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3296-10_0_6_load_3 | 3 | 0.0022142 | 0.00055493 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3296-10_0_6_load_4 | 4 | 0.0023865 | 0.00059811 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3296-10_0_6_load_5 | 5 | 0.0014617 | 0.00036634 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3296-10_0_6_load_6 | 6 | 0.0021313 | 0.00053415 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3296-10_0_6_load_74 | 7 | 0.0025136 | 0.00062996 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3296-10_0_6_load_76 | 8 | 0.0036891 | 0.00092459 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3296-10_0_6_load_7 | 9 | 0.002555 | 0.00064033 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3296-10_0_6_load_75 | 10 | 0.0082833 | 0.002076 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3296-10_0_6_load_8 | 12 | 0.0064713 | 0.0016219 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3296-10_0_6_load_9 | 14 | 0.0016872 | 0.00042285 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3296-10_0_6_load_10 | 15 | 0.00126 | 0.00031577 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3296-10_0_6_load_12 | 16 | 0.0023646 | 0.00059263 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3296-10_0_6_load_13 | 17 | 0.001893 | 0.00047442 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3296-10_0_6_load_14 | 18 | 0.0018482 | 0.00046321 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3296-10_0_6_load_94 | 19 | 0.0014212 | 0.00035619 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3296-10_0_6_load_15 | 21 | 0.0051056 | 0.0012796 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3296-10_0_6_load_16 | 22 | 0.0024205 | 0.00060664 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3296-10_0_6_load_17 | 23 | 0.0018272 | 0.00045794 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3296-10_0_6_load_18 | 24 | 0.0046257 | 0.0011593 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3296-10_0_6_load_19 | 25 | 0.0035693 | 0.00089456 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3296-10_0_6_load_24 | 27 | 0.0025653 | 0.00064293 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3296-10_0_6_load_25 | 28 | 0.002778 | 0.00069624 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3296-10_0_6_load_20 | 29 | 0.0043083 | 0.0010798 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3296-10_0_6_load_21 | 30 | 0.0051529 | 0.0012915 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3296-10_0_6_load_23 | 31 | 0.0038849 | 0.00097364 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3296-10_0_6_load_26 | 32 | 0.0038484 | 0.00096451 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3296-10_0_6_load_73 | 33 | 0.002686 | 0.00067316 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3296-10_0_6_load_27 | 34 | 0.054221 | 0.013589 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3296-10_0_6_load_72 | 35 | 0.0043069 | 0.0010794 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3296-10_0_6_load_59 | 37 | 0.064459 | 0.016155 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3296-10_0_6_load_53 | 38 | 0.0030225 | 0.00075752 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3296-10_0_6_load_80 | 41 | 0.0052834 | 0.0013241 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3296-10_0_6_load_81 | 43 | 0.011055 | 0.0027707 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3296-10_0_6_load_51 | 45 | 0.0053516 | 0.0013412 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3296-10_0_6_load_29 | 46 | 0.0039236 | 0.00098335 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3296-10_0_6_load_30 | 47 | 0.0025719 | 0.00064458 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3296-10_0_6_load_32 | 49 | 0.0084665 | 0.0021219 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3296-10_0_6_load_33 | 50 | 0.0021428 | 0.00053705 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3296-10_0_6_load_34 | 51 | 0.051106 | 0.012808 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3296-10_0_6_load_55 | 52 | 0.0021948 | 0.00055007 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3296-10_0_6_load_35 | 53 | 0.045017 | 0.011282 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3296-10_0_6_load_54 | 54 | 0.0029697 | 0.00074428 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3296-10_0_6_load_36 | 55 | 0.050926 | 0.012763 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3296-10_0_6_load_37 | 57 | 0.0022776 | 0.00057082 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3296-10_0_6_load_78 | 58 | 0.073693 | 0.018469 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3296-10_0_6_load_44 | 59 | 0.0021073 | 0.00052813 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3296-10_0_6_load_45 | 60 | 0.0010585 | 0.00026529 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3296-10_0_6_load_47 | 62 | 0.001452 | 0.0003639 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3296-10_0_6_load_48 | 63 | 0.0020117 | 0.00050417 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3296-10_0_6_load_49 | 64 | 0.0019591 | 0.00049101 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3296-10_0_6_load_50 | 65 | 0.0021623 | 0.00054193 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3296-10_0_6_load_67 | 66 | 0.0022931 | 0.00057469 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3296-10_0_6_load_66 | 67 | 0.0015678 | 0.00039292 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3296-10_0_6_load_60 | 68 | 0.0013958 | 0.00034982 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3296-10_0_6_load_56 | 70 | 0.0049805 | 0.0012482 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3296-10_0_6_load_57 | 71 | 0.0022827 | 0.0005721 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3296-10_0_6_load_62 | 72 | 0.0015398 | 0.00038592 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3296-10_0_6_load_63 | 73 | 0.0012345 | 0.0003094 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3296-10_0_6_load_64 | 74 | 0.00082799 | 0.00020751 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3296-10_0_6_load_65 | 75 | 0.00092586 | 0.00023204 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3296-10_0_6_load_70 | 77 | 0.0011837 | 0.00029666 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3296-10_0_6_load_71 | 78 | 0.0014625 | 0.00036653 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3296-10_0_6_load_68 | 79 | 0.0051841 | 0.0012993 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3296-10_0_6_load_87 | 80 | 0.0019133 | 0.00047951 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3296-10_0_6_load_79 | 82 | 0.0014617 | 0.00036634 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3296-10_0_6_load_97 | 83 | 0.0038402 | 0.00096245 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3296-10_0_6_load_82 | 84 | 0.001492 | 0.00037394 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3296-10_0_6_load_83 | 85 | 0.0016009 | 0.00040122 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3296-10_0_6_load_86 | 87 | 0.0014024 | 0.00035149 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3296-10_0_6_load_96 | 88 | 0.0010783 | 0.00027024 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3296-10_0_6_load_93 | 89 | 0.0022124 | 0.00055448 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3296-10_0_6_load_89 | 90 | 0.0015438 | 0.00038691 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3296-10_0_6_load_90 | 91 | 0.0019507 | 0.00048888 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3296-10_0_6_load_91 | 92 | 0.0020802 | 0.00052135 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3296-10_0_6_load_98 | 94 | 0.0034535 | 0.00086553 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 36 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3296-10_0_6_line_0 |  | 0 | 1 | 0.022233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_3296-10_0_6_line_1 |  | 0 | 2 | 0.020298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_3296-10_0_6_line_2 |  | 1 | 3 | 0.0033589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_3296-10_0_6_line_3 |  | 2 | 4 | 0.01643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_3296-10_0_6_line_4 |  | 2 | 5 | 0.024335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_3296-10_0_6_line_5 |  | 3 | 6 | 0.020538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_3296-10_0_6_line_6 |  | 4 | 7 | 0.018065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_3296-10_0_6_line_7 |  | 5 | 8 | 0.019555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_3296-10_0_6_line_8 |  | 6 | 9 | 0.0036638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_3296-10_0_6_line_9 |  | 7 | 10 | 0.00081944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_3296-10_0_6_line_10 |  | 8 | 11 | 0.0079293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_3296-10_0_6_line_11 |  | 9 | 12 | 0.027164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_3296-10_0_6_line_12 |  | 10 | 28 | 0.0032708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_3296-10_0_6_line_13 |  | 11 | 58 | 0.0082299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_3296-10_0_6_line_14 |  | 11 | 82 | 0.021298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3296-10_0_6_line_15 |  | 12 | 13 | 0.023096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_3296-10_0_6_line_16 |  | 13 | 14 | 0.028476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_3296-10_0_6_line_17 |  | 14 | 15 | 0.0086075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3296-10_0_6_line_18 |  | 15 | 16 | 0.0030893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3296-10_0_6_line_19 |  | 16 | 17 | 0.019896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3296-10_0_6_line_20 |  | 17 | 18 | 2.8402e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3296-10_0_6_line_21 |  | 18 | 19 | 0.027889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3296-10_0_6_line_22 |  | 19 | 20 | 0.037378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3296-10_0_6_line_23 |  | 20 | 93 | 0.035543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3296-10_0_6_line_24 |  | 20 | 91 | 0.025757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3296-10_0_6_line_25 |  | 21 | 22 | 0.022406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3296-10_0_6_line_26 |  | 21 | 23 | 0.020263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3296-10_0_6_line_27 |  | 22 | 24 | 0.010659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3296-10_0_6_line_28 |  | 23 | 25 | 0.0044024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3296-10_0_6_line_29 |  | 24 | 26 | 0.010949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3296-10_0_6_line_30 |  | 26 | 27 | 0.041144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3296-10_0_6_line_31 |  | 26 | 28 | 0.026973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_3296-10_0_6_line_32 |  | 26 | 29 | 0.0138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_3296-10_0_6_line_33 |  | 27 | 33 | 0.0022334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3296-10_0_6_line_34 |  | 29 | 30 | 0.0061649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_3296-10_0_6_line_35 |  | 30 | 31 | 0.021977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_3296-10_0_6_line_36 |  | 31 | 32 | 0.0058722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_3296-10_0_6_line_37 |  | 32 | 34 | 0.020738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_3296-10_0_6_line_38 |  | 33 | 35 | 0.0050065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3296-10_0_6_line_39 |  | 34 | 36 | 0.038141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_3296-10_0_6_line_40 |  | 35 | 77 | 0.015794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3296-10_0_6_line_41 |  | 36 | 37 | 0.011532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3296-10_0_6_line_42 |  | 36 | 38 | 0.031825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3296-10_0_6_line_43 |  | 37 | 39 | 0.012045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3296-10_0_6_line_44 |  | 38 | 45 | 0.020618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3296-10_0_6_line_45 |  | 39 | 71 | 0.03614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3296-10_0_6_line_46 |  | 40 | 41 | 0.032395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_3296-10_0_6_line_47 |  | 40 | 42 | 0.008423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_3296-10_0_6_line_48 |  | 41 | 58 | 0.031307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_3296-10_0_6_line_49 |  | 42 | 43 | 0.021831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3296-10_0_6_line_50 |  | 42 | 44 | 0.06244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_3296-10_0_6_line_51 |  | 44 | 56 | 0.10623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3296-10_0_6_line_52 |  | 44 | 55 | 0.018472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_3296-10_0_6_line_53 |  | 45 | 65 | 0.008471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3296-10_0_6_line_54 |  | 46 | 47 | 0.0024883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_3296-10_0_6_line_55 |  | 46 | 48 | 0.013182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_3296-10_0_6_line_56 |  | 47 | 49 | 0.020565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_3296-10_0_6_line_57 |  | 48 | 50 | 0.020806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_3296-10_0_6_line_58 |  | 49 | 51 | 0.031688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_3296-10_0_6_line_59 |  | 50 | 52 | 0.017628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_3296-10_0_6_line_60 |  | 51 | 53 | 0.0011747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_3296-10_0_6_line_61 |  | 52 | 54 | 0.012633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3296-10_0_6_line_62 |  | 53 | 55 | 0.03264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_3296-10_0_6_line_63 |  | 54 | 70 | 0.0060154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3296-10_0_6_line_64 |  | 56 | 57 | 0.016532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3296-10_0_6_line_65 |  | 59 | 60 | 0.023909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3296-10_0_6_line_66 |  | 59 | 61 | 0.0075352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3296-10_0_6_line_67 |  | 60 | 62 | 0.00070807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3296-10_0_6_line_68 |  | 61 | 63 | 0.013022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3296-10_0_6_line_69 |  | 61 | 64 | 0.014685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3296-10_0_6_line_70 |  | 63 | 65 | 0.02526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3296-10_0_6_line_71 |  | 64 | 66 | 0.0013971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3296-10_0_6_line_72 |  | 66 | 67 | 0.012613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3296-10_0_6_line_73 |  | 67 | 79 | 0.018719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3296-10_0_6_line_74 |  | 68 | 69 | 0.016185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3296-10_0_6_line_75 |  | 69 | 72 | 0.0087969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3296-10_0_6_line_76 |  | 72 | 73 | 0.026005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3296-10_0_6_line_77 |  | 73 | 74 | 0.026932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3296-10_0_6_line_78 |  | 74 | 75 | 0.0070315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3296-10_0_6_line_79 |  | 75 | 76 | 0.0041714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3296-10_0_6_line_80 |  | 76 | 77 | 0.013784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3296-10_0_6_line_81 |  | 76 | 78 | 0.018102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3296-10_0_6_line_82 |  | 78 | 80 | 0.0067148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3296-10_0_6_line_83 |  | 80 | 81 | 0.035382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3296-10_0_6_line_84 |  | 81 | 90 | 0.056674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3296-10_0_6_line_85 |  | 82 | 83 | 0.0093808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3296-10_0_6_line_86 |  | 84 | 85 | 0.0074443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3296-10_0_6_line_87 |  | 84 | 86 | 0.021719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3296-10_0_6_line_88 |  | 86 | 87 | 0.0068734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3296-10_0_6_line_89 |  | 87 | 88 | 0.029117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3296-10_0_6_line_90 |  | 88 | 89 | 0.011794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_3296-10_0_6_line_91 |  | 89 | 92 | 0.0097828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_3296-10_0_6_line_92 |  | 91 | 92 | 0.013437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_3296-10_0_6_line_93 |  | 93 | 94 | 0.022138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3296-10_0_6_trafo_28 | 0.63 MVA 20/0.4 kV | 95 | 36 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2752071.2457 | 1212863.9441 | 2752064.1883 | 1212885.0273
1 | 2752077.6889 | 1212844.6959 | 2752071.2457 | 1212863.9441
2 | 2752064.1883 | 1212885.0273 | 2752063.122 | 1212888.2125
3 | 2752077.6889 | 1212844.6959 | 2752093.642 | 1212848.626
4 | 2752077.6889 | 1212844.6959 | 2752085.8452 | 1212821.7684
5 | 2752057.4098 | 1212907.9161 | 2752059.3478 | 1212899.4876 | 2752063.122 | 1212888.2125
6 | 2752111.1826 | 1212852.9472 | 2752093.642 | 1212848.626
7 | 2752092.3995 | 1212803.3442 | 2752085.8452 | 1212821.7684
8 | 2752057.4098 | 1212907.9161 | 2752056.5888 | 1212911.4867
9 | 2752111.9782 | 1212853.1432 | 2752111.1826 | 1212852.9472
10 | 2752095.0571 | 1212795.8735 | 2752092.3995 | 1212803.3442
11 | 2752056.5888 | 1212911.4867 | 2752055.0643 | 1212918.117 | 2752053.1293 | 1212933.181 | 2752053.1859 | 1212938.3532
12 | 2752111.9782 | 1212853.1432 | 2752115.1541 | 1212853.9256
13 | 2752095.0571 | 1212795.8735 | 2752097.3992 | 1212787.984
14 | 2752095.0571 | 1212795.8735 | 2752087.1337 | 1212793.9031 | 2752082.5355 | 1212796.2657 | 2752074.6696 | 1212795.0196
15 | 2752053.9667 | 1212961.4272 | 2752053.337 | 1212952.1474 | 2752053.1859 | 1212938.3532
16 | 2752053.9667 | 1212961.4272 | 2752033.975 | 1212941.1494
17 | 2752033.975 | 1212941.1494 | 2752028.9085 | 1212936.0105 | 2752028.0263 | 1212934.9349
18 | 2752026.067 | 1212932.5465 | 2752028.0263 | 1212934.9349
19 | 2752026.067 | 1212932.5465 | 2752022.0602 | 1212927.6619 | 2752022.2843 | 1212914.0855
20 | 2752022.2847 | 1212914.0571 | 2752022.2843 | 1212914.0855
21 | 2752022.1077 | 1212886.1693 | 2752022.311 | 1212912.466 | 2752022.2847 | 1212914.0571
22 | 2752024.4119 | 1212848.8858 | 2752022.0476 | 1212878.396 | 2752022.1077 | 1212886.1693
23 | 2752024.4119 | 1212848.8858 | 2752026.7146 | 1212839.3694 | 2752027.9222 | 1212824.5094 | 2752028.4309 | 1212821.8533 | 2752029.2455 | 1212813.7559
24 | 2752024.4119 | 1212848.8858 | 2752011.6534 | 1212863.0397 | 2752006.6901 | 1212867.5423
25 | 2752125.1327 | 1212901.2985 | 2752133.3851 | 1212880.467
26 | 2752125.1327 | 1212901.2985 | 2752123.0386 | 1212906.5847 | 2752123.9196 | 1212921.1356
27 | 2752137.311 | 1212870.557 | 2752133.3851 | 1212880.467
28 | 2752123.9196 | 1212921.1356 | 2752124.1856 | 1212925.53
29 | 2752141.3436 | 1212860.3775 | 2752137.311 | 1212870.557
30 | 2752141.3436 | 1212860.3775 | 2752156.1106 | 1212863.1345 | 2752181.3687 | 1212869.796
31 | 2752141.3436 | 1212860.3775 | 2752115.1541 | 1212853.9256
32 | 2752141.3436 | 1212860.3775 | 2752146.3432 | 1212847.5146
33 | 2752183.5282 | 1212870.3656 | 2752181.3687 | 1212869.796
34 | 2752148.5766 | 1212841.7685 | 2752146.3432 | 1212847.5146
35 | 2752148.5766 | 1212841.7685 | 2752156.5384 | 1212821.2842
36 | 2752158.6657 | 1212815.8109 | 2752156.5384 | 1212821.2842
37 | 2752158.6657 | 1212815.8109 | 2752166.1787 | 1212796.4814
38 | 2752188.3691 | 1212871.6424 | 2752183.5282 | 1212870.3656
39 | 2752179.9962 | 1212760.9316 | 2752166.1787 | 1212796.4814
40 | 2752188.3691 | 1212871.6424 | 2752193.7866 | 1212873.0712 | 2752203.7221 | 1212875.3387
41 | 2752179.9962 | 1212760.9316 | 2752182.7656 | 1212749.7374
42 | 2752179.9962 | 1212760.9316 | 2752210.4051 | 1212770.3197
43 | 2752185.6584 | 1212738.0448 | 2752182.7656 | 1212749.7374
44 | 2752210.4051 | 1212770.3197 | 2752227.9847 | 1212775.747 | 2752230.0422 | 1212776.58
45 | 2752185.6584 | 1212738.0448 | 2752188.9281 | 1212725.7952 | 2752193.1243 | 1212724.8904 | 2752212.2719 | 1212725.7909
46 | 2752115.5164 | 1212726.9123 | 2752106.306 | 1212757.9704
47 | 2752116.2627 | 1212718.524 | 2752115.8901 | 1212722.6959 | 2752115.5164 | 1212726.9123
48 | 2752097.3992 | 1212787.984 | 2752103.4482 | 1212767.6071 | 2752106.306 | 1212757.9704
49 | 2752116.2627 | 1212718.524 | 2752107.9179 | 1212718.1664 | 2752106.9662 | 1212715.2507 | 2752104.6282 | 1212713.9343 | 2752100.7097 | 1212712.8891 | 2752097.0652 | 1212712.429
50 | 2752116.2627 | 1212718.524 | 2752122.248 | 1212718.699 | 2752122.2813 | 1212707.5678 | 2752123.507 | 1212699.1584 | 2752125.4721 | 1212694.2375 | 2752128.7252 | 1212689.7832 | 2752132.2068 | 1212685.0123 | 2752141.9372 | 1212667.4227
51 | 2752141.9372 | 1212667.4227 | 2752152.2905 | 1212649.5489 | 2752156.5344 | 1212644.6973 | 2752160.9858 | 1212640.0512 | 2752163.0759 | 1212636.4903 | 2752169.029 | 1212626.3221 | 2752171.9064 | 1212619.9121 | 2752174.8285 | 1212611.457 | 2752176.7499 | 1212606.168 | 2752189.5313 | 1212583.1183 | 2752193.818 | 1212575.3986
52 | 2752141.9372 | 1212667.4227 | 2752159.1656 | 1212674.0861
53 | 2752237.8943 | 1212779.7587 | 2752230.0422 | 1212776.58
54 | 2752247.0757 | 1212679.0895 | 2752244.5875 | 1212679.0819
55 | 2752260.2579 | 1212679.1301 | 2752247.0757 | 1212679.0895
56 | 2752224.023 | 1212679.0186 | 2752244.5875 | 1212679.0819
57 | 2752260.2579 | 1212679.1301 | 2752258.0661 | 1212689.0496 | 2752254.9729 | 1212699.2373
58 | 2752224.023 | 1212679.0186 | 2752192.3354 | 1212678.921
59 | 2752254.9729 | 1212699.2373 | 2752249.8515 | 1212716.1054
60 | 2752192.3354 | 1212678.921 | 2752191.1607 | 1212678.9174
61 | 2752248.9832 | 1212728.5445 | 2752248.6043 | 1212720.2133 | 2752249.8515 | 1212716.1054
62 | 2752159.1656 | 1212674.0861 | 2752165.1807 | 1212676.4125 | 2752179.5679 | 1212678.8817 | 2752191.1607 | 1212678.9174
63 | 2752249.2565 | 1212734.5537 | 2752248.9832 | 1212728.5445
64 | 2752193.818 | 1212575.3986 | 2752200.2159 | 1212565.9758 | 2752203.8252 | 1212562.3121
65 | 2752279.5073 | 1212798.8634 | 2752300.9658 | 1212809.4072
66 | 2752272.7444 | 1212795.5404 | 2752279.5073 | 1212798.8634
67 | 2752301.6013 | 1212809.7195 | 2752300.9658 | 1212809.4072
68 | 2752272.7444 | 1212795.5404 | 2752261.0573 | 1212789.7977
69 | 2752272.7444 | 1212795.5404 | 2752265.9046 | 1212808.5349
70 | 2752261.0573 | 1212789.7977 | 2752253.4064 | 1212786.0383 | 2752237.8943 | 1212779.7587
71 | 2752265.9046 | 1212808.5349 | 2752265.2538 | 1212809.7712
72 | 2752259.3788 | 1212820.9327 | 2752265.2538 | 1212809.7712
73 | 2752241.1453 | 1212816.6968 | 2752259.3788 | 1212820.9327
74 | 2752288.0024 | 1212866.8372 | 2752298.5901 | 1212862.1034 | 2752302.2979 | 1212859.4026
75 | 2752288.0024 | 1212866.8372 | 2752279.8351 | 1212870.1054
76 | 2752279.8351 | 1212870.1054 | 2752268.7494 | 1212874.5414 | 2752255.105 | 1212877.9559
77 | 2752255.105 | 1212877.9559 | 2752249.3948 | 1212879.3849 | 2752228.3584 | 1212878.7458
78 | 2752221.3301 | 1212878.5323 | 2752228.3584 | 1212878.7458
79 | 2752217.1606 | 1212878.4057 | 2752221.3301 | 1212878.5323
80 | 2752217.1606 | 1212878.4057 | 2752203.7221 | 1212875.3387
81 | 2752217.1606 | 1212878.4057 | 2752217.8963 | 1212896.4927
82 | 2752217.8963 | 1212896.4927 | 2752218.1692 | 1212903.202
83 | 2752219.6071 | 1212938.5545 | 2752218.1692 | 1212903.202
84 | 2752219.6071 | 1212938.5545 | 2752163.0365 | 1212933.0394
85 | 2752074.542 | 1212786.3198 | 2752073.3188 | 1212793.7396 | 2752074.6696 | 1212795.0196
86 | 2751959.5693 | 1212947.0156 | 2751958.8589 | 1212948.1693 | 2751956.4363 | 1212953.756
87 | 2751970.4268 | 1212928.2354 | 2751968.176 | 1212933.0378 | 2751959.5693 | 1212947.0156
88 | 2751970.4268 | 1212928.2354 | 2751973.9385 | 1212922.3269
89 | 2751987.5399 | 1212896.6203 | 2751981.1244 | 1212910.2366 | 2751973.9385 | 1212922.3269
90 | 2751987.5399 | 1212896.6203 | 2751989.9883 | 1212891.4237 | 2751993.0472 | 1212886.2041
91 | 2751998.181 | 1212877.889 | 2751997.0134 | 1212879.4366 | 2751993.0472 | 1212886.2041
92 | 2752006.6901 | 1212867.5423 | 2752004.4635 | 1212869.5622 | 2751998.181 | 1212877.889
93 | 2752026.0014 | 1212792.2431 | 2752025.0169 | 1212796.8665 | 2752029.2455 | 1212813.7559

## bus_geodata
| x | y | coords
0 | 2752071.2457 | 1212863.9441
1 | 2752064.1883 | 1212885.0273
2 | 2752077.6889 | 1212844.6959
3 | 2752063.122 | 1212888.2125
4 | 2752093.642 | 1212848.626
5 | 2752085.8452 | 1212821.7684
6 | 2752057.4098 | 1212907.9161
7 | 2752111.1826 | 1212852.9472
8 | 2752092.3995 | 1212803.3442
9 | 2752056.5888 | 1212911.4867
10 | 2752111.9782 | 1212853.1432
11 | 2752095.0571 | 1212795.8735
12 | 2752053.1859 | 1212938.3532
13 | 2752053.9667 | 1212961.4272
14 | 2752033.975 | 1212941.1494
15 | 2752028.0263 | 1212934.9349
16 | 2752026.067 | 1212932.5465
17 | 2752022.2843 | 1212914.0855
18 | 2752022.2847 | 1212914.0571
19 | 2752022.1077 | 1212886.1693
20 | 2752024.4119 | 1212848.8858
21 | 2752125.1327 | 1212901.2985
22 | 2752133.3851 | 1212880.467
23 | 2752123.9196 | 1212921.1356
24 | 2752137.311 | 1212870.557
25 | 2752124.1856 | 1212925.53
26 | 2752141.3436 | 1212860.3775
27 | 2752181.3687 | 1212869.796
28 | 2752115.1541 | 1212853.9256
29 | 2752146.3432 | 1212847.5146
30 | 2752148.5766 | 1212841.7685
31 | 2752156.5384 | 1212821.2842
32 | 2752158.6657 | 1212815.8109
33 | 2752183.5282 | 1212870.3656
34 | 2752166.1787 | 1212796.4814
35 | 2752188.3691 | 1212871.6424
36 | 2752179.9962 | 1212760.9316
37 | 2752182.7656 | 1212749.7374
38 | 2752210.4051 | 1212770.3197
39 | 2752185.6584 | 1212738.0448
40 | 2752115.5164 | 1212726.9123
41 | 2752106.306 | 1212757.9704
42 | 2752116.2627 | 1212718.524
43 | 2752097.0652 | 1212712.429
44 | 2752141.9372 | 1212667.4227
45 | 2752230.0422 | 1212776.58
46 | 2752247.0757 | 1212679.0895
47 | 2752244.5875 | 1212679.0819
48 | 2752260.2579 | 1212679.1301
49 | 2752224.023 | 1212679.0186
50 | 2752254.9729 | 1212699.2373
51 | 2752192.3354 | 1212678.921
52 | 2752249.8515 | 1212716.1054
53 | 2752191.1607 | 1212678.9174
54 | 2752248.9832 | 1212728.5445
55 | 2752159.1656 | 1212674.0861
56 | 2752193.818 | 1212575.3986
57 | 2752203.8252 | 1212562.3121
58 | 2752097.3992 | 1212787.984
59 | 2752279.5073 | 1212798.8634
60 | 2752300.9658 | 1212809.4072
61 | 2752272.7444 | 1212795.5404
62 | 2752301.6013 | 1212809.7195
63 | 2752261.0573 | 1212789.7977
64 | 2752265.9046 | 1212808.5349
65 | 2752237.8943 | 1212779.7587
66 | 2752265.2538 | 1212809.7712
67 | 2752259.3788 | 1212820.9327
68 | 2752302.2979 | 1212859.4026
69 | 2752288.0024 | 1212866.8372
70 | 2752249.2565 | 1212734.5537
71 | 2752212.2719 | 1212725.7909
72 | 2752279.8351 | 1212870.1054
73 | 2752255.105 | 1212877.9559
74 | 2752228.3584 | 1212878.7458
75 | 2752221.3301 | 1212878.5323
76 | 2752217.1606 | 1212878.4057
77 | 2752203.7221 | 1212875.3387
78 | 2752217.8963 | 1212896.4927
79 | 2752241.1453 | 1212816.6968
80 | 2752218.1692 | 1212903.202
81 | 2752219.6071 | 1212938.5545
82 | 2752074.6696 | 1212795.0196
83 | 2752074.542 | 1212786.3198
84 | 2751959.5693 | 1212947.0156
85 | 2751956.4363 | 1212953.756
86 | 2751970.4268 | 1212928.2354
87 | 2751973.9385 | 1212922.3269
88 | 2751987.5399 | 1212896.6203
89 | 2751993.0472 | 1212886.2041
90 | 2752163.0365 | 1212933.0394
91 | 2752006.6901 | 1212867.5423
92 | 2751998.181 | 1212877.889
93 | 2752029.2455 | 1212813.7559
94 | 2752026.0014 | 1212792.2431
95 | 2752158.3142 | 1212752.1262

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1