## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3296-15_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3296-15_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3296-15_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3296-15_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3296-15_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3296-15_0_2_node_40 | 0.4 | n |  | TRUE
6 | bus_LV_3296-15_0_2_node_67 | 0.4 | n |  | TRUE
7 | bus_LV_3296-15_0_2_node_38 | 0.4 | n |  | TRUE
8 | bus_LV_3296-15_0_2_node_41 | 0.4 | n |  | TRUE
9 | bus_LV_3296-15_0_2_node_36 | 0.4 | n |  | TRUE
10 | bus_LV_3296-15_0_2_node_37 | 0.4 | n |  | TRUE
11 | bus_LV_3296-15_0_2_node_35 | 0.4 | n |  | TRUE
12 | bus_LV_3296-15_0_2_node_68 | 0.4 | n |  | TRUE
13 | bus_LV_3296-15_0_2_node_65 | 0.4 | n |  | TRUE
14 | bus_LV_3296-15_0_2_node_5 | 0.4 | n |  | TRUE
15 | bus_LV_3296-15_0_2_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_3296-15_0_2_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_3296-15_0_2_node_6 | 0.4 | n |  | TRUE
18 | bus_LV_3296-15_0_2_node_7 | 0.4 | n |  | TRUE
19 | bus_LV_3296-15_0_2_node_70 | 0.4 | n |  | TRUE
20 | bus_LV_3296-15_0_2_node_8 | 0.4 | n |  | TRUE
21 | bus_LV_3296-15_0_2_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_3296-15_0_2_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_3296-15_0_2_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_3296-15_0_2_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_3296-15_0_2_node_11 | 0.4 | n |  | TRUE
26 | bus_LV_3296-15_0_2_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_3296-15_0_2_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_3296-15_0_2_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_3296-15_0_2_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_3296-15_0_2_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_3296-15_0_2_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_3296-15_0_2_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_3296-15_0_2_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_3296-15_0_2_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_3296-15_0_2_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_3296-15_0_2_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_3296-15_0_2_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_3296-15_0_2_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_3296-15_0_2_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_3296-15_0_2_node_49 | 0.4 | n |  | TRUE
41 | bus_LV_3296-15_0_2_node_46 | 0.4 | n |  | TRUE
42 | bus_LV_3296-15_0_2_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_3296-15_0_2_node_50 | 0.4 | n |  | TRUE
44 | bus_LV_3296-15_0_2_node_47 | 0.4 | n |  | TRUE
45 | bus_LV_3296-15_0_2_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_3296-15_0_2_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_3296-15_0_2_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_3296-15_0_2_node_45 | 0.4 | n |  | TRUE
49 | bus_LV_3296-15_0_2_node_44 | 0.4 | n |  | TRUE
50 | bus_LV_3296-15_0_2_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_3296-15_0_2_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_3296-15_0_2_node_55 | 0.4 | n |  | TRUE
53 | bus_LV_3296-15_0_2_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_3296-15_0_2_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_3296-15_0_2_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_3296-15_0_2_node_54 | 0.4 | n |  | TRUE
57 | bus_LV_3296-15_0_2_node_56 | 0.4 | n |  | TRUE
58 | bus_LV_3296-15_0_2_node_57 | 0.4 | n |  | TRUE
59 | bus_LV_3296-15_0_2_node_58 | 0.4 | n |  | TRUE
60 | bus_LV_3296-15_0_2_node_59 | 0.4 | n |  | TRUE
61 | bus_LV_3296-15_0_2_node_60 | 0.4 | n |  | TRUE
62 | bus_LV_3296-15_0_2_node_61 | 0.4 | n |  | TRUE
63 | bus_LV_3296-15_0_2_node_63 | 0.4 | n |  | TRUE
64 | bus_LV_3296-15_0_2_node_64 | 0.4 | n |  | TRUE
65 | bus_LV_3296-15_0_2_node_66 | 0.4 | n |  | TRUE
66 | bus_LV_3296-15_0_2_node_69 | 0.4 | n |  | TRUE
67 | bus_MV_238_0_node_24 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3296-15_0_2_load_0 | 0 | 0.0010962 | 0.00027473 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3296-15_0_2_load_4 | 4 | 0.001429 | 0.00035815 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3296-15_0_2_load_40 | 5 | 0.00049705 | 0.00012457 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3296-15_0_2_load_41 | 8 | 0.0024603 | 0.00061661 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3296-15_0_2_load_37 | 10 | 0.0056774 | 0.0014229 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3296-15_0_2_load_35 | 11 | 0.0020213 | 0.00050658 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3296-15_0_2_load_68 | 12 | 0.00057 | 0.00014286 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3296-15_0_2_load_65 | 13 | 0.00066959 | 0.00016781 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3296-15_0_2_load_5 | 14 | 0.00045957 | 0.00011518 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3296-15_0_2_load_12 | 15 | 0.0010009 | 0.00025085 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3296-15_0_2_load_10 | 16 | 0.011873 | 0.0029757 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3296-15_0_2_load_6 | 17 | 0.001067 | 0.00026743 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3296-15_0_2_load_70 | 19 | 0.00060491 | 0.0001516 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3296-15_0_2_load_8 | 20 | 0.0017756 | 0.000445 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3296-15_0_2_load_18 | 22 | 0.0033886 | 0.00084927 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3296-15_0_2_load_16 | 24 | 0.0052339 | 0.0013117 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3296-15_0_2_load_11 | 25 | 0.00082363 | 0.00020642 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3296-15_0_2_load_13 | 26 | 0.0036418 | 0.00091271 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3296-15_0_2_load_15 | 27 | 0.0011536 | 0.00028912 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3296-15_0_2_load_24 | 28 | 0.013524 | 0.0033894 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3296-15_0_2_load_20 | 29 | 0.0021839 | 0.00054733 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3296-15_0_2_load_21 | 31 | 0.00051878 | 0.00013002 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3296-15_0_2_load_22 | 32 | 0.0013766 | 0.000345 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3296-15_0_2_load_23 | 33 | 0.0011192 | 0.00028049 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3296-15_0_2_load_26 | 34 | 0.0062932 | 0.0015772 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3296-15_0_2_load_28 | 36 | 0.0010364 | 0.00025975 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3296-15_0_2_load_29 | 37 | 0.0018033 | 0.00045194 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3296-15_0_2_load_30 | 38 | 0.001765 | 0.00044236 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3296-15_0_2_load_31 | 39 | 0.0033865 | 0.00084875 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3296-15_0_2_load_49 | 40 | 0.0035203 | 0.00088228 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3296-15_0_2_load_46 | 41 | 0.015434 | 0.0038681 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3296-15_0_2_load_32 | 42 | 0.0020496 | 0.00051367 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3296-15_0_2_load_50 | 43 | 0.0051976 | 0.0013026 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3296-15_0_2_load_47 | 44 | 0.0014669 | 0.00036763 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3296-15_0_2_load_33 | 45 | 0.0023434 | 0.00058731 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3296-15_0_2_load_34 | 46 | 0.0019145 | 0.00047981 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3296-15_0_2_load_45 | 48 | 0.0016844 | 0.00042216 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3296-15_0_2_load_44 | 49 | 0.0018107 | 0.0004538 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3296-15_0_2_load_48 | 51 | 0.0014996 | 0.00037582 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3296-15_0_2_load_55 | 52 | 0.00053387 | 0.0001338 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3296-15_0_2_load_51 | 53 | 0.0015191 | 0.00038072 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3296-15_0_2_load_52 | 54 | 0.001267 | 0.00031753 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3296-15_0_2_load_53 | 55 | 0.00089743 | 0.00022492 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3296-15_0_2_load_54 | 56 | 0.0022052 | 0.00055269 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3296-15_0_2_load_57 | 58 | 0.0051786 | 0.0012979 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3296-15_0_2_load_58 | 59 | 0.0033744 | 0.0008457 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3296-15_0_2_load_59 | 60 | 0.0018984 | 0.0004758 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3296-15_0_2_load_60 | 61 | 0.0010405 | 0.00026077 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3296-15_0_2_load_61 | 62 | 0.0054138 | 0.0013568 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3296-15_0_2_load_63 | 63 | 0.0005508 | 0.00013804 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3296-15_0_2_load_64 | 64 | 0.00072911 | 0.00018273 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3296-15_0_2_load_66 | 65 | 0.0014581 | 0.00036543 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3296-15_0_2_load_69 | 66 | 0.0017375 | 0.00043546 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 28 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3296-15_0_2_line_0 |  | 0 | 1 | 0.082527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3296-15_0_2_line_1 |  | 1 | 2 | 0.048724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3296-15_0_2_line_2 |  | 2 | 3 | 0.016966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3296-15_0_2_line_3 |  | 2 | 4 | 0.013813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3296-15_0_2_line_4 |  | 3 | 5 | 0.052189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3296-15_0_2_line_5 |  | 4 | 6 | 0.014063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3296-15_0_2_line_6 |  | 5 | 10 | 0.018968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3296-15_0_2_line_7 |  | 6 | 12 | 0.010557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3296-15_0_2_line_8 |  | 6 | 13 | 0.006841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3296-15_0_2_line_9 |  | 7 | 8 | 0.013346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3296-15_0_2_line_10 |  | 7 | 9 | 0.045771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3296-15_0_2_line_11 |  | 8 | 47 | 0.0089538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3296-15_0_2_line_12 |  | 9 | 10 | 0.017782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3296-15_0_2_line_13 |  | 9 | 11 | 0.0081714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3296-15_0_2_line_14 |  | 11 | 46 | 0.0025834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3296-15_0_2_line_15 |  | 12 | 66 | 0.010857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3296-15_0_2_line_16 |  | 13 | 63 | 0.0076065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3296-15_0_2_line_17 |  | 14 | 15 | 0.16375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3296-15_0_2_line_18 |  | 15 | 16 | 0.091627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3296-15_0_2_line_19 |  | 16 | 25 | 0.085116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3296-15_0_2_line_20 |  | 17 | 18 | 0.047048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3296-15_0_2_line_21 |  | 17 | 19 | 0.16879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3296-15_0_2_line_22 |  | 18 | 20 | 0.032885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3296-15_0_2_line_23 |  | 20 | 21 | 0.038426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3296-15_0_2_line_24 |  | 21 | 22 | 0.087588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3296-15_0_2_line_25 |  | 21 | 23 | 0.10549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3296-15_0_2_line_26 |  | 21 | 24 | 0.081313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3296-15_0_2_line_27 |  | 22 | 28 | 0.093394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3296-15_0_2_line_28 |  | 23 | 29 | 0.043577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3296-15_0_2_line_29 |  | 24 | 27 | 0.035613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3296-15_0_2_line_30 |  | 25 | 26 | 0.09106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3296-15_0_2_line_31 |  | 26 | 27 | 0.032409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3296-15_0_2_line_32 |  | 28 | 30 | 0.02087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3296-15_0_2_line_33 |  | 29 | 31 | 0.019925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3296-15_0_2_line_34 |  | 30 | 34 | 0.025115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3296-15_0_2_line_35 |  | 30 | 35 | 0.00685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3296-15_0_2_line_36 |  | 31 | 32 | 5.5675e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3296-15_0_2_line_37 |  | 32 | 33 | 0.008667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3296-15_0_2_line_38 |  | 34 | 36 | 0.01995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3296-15_0_2_line_39 |  | 35 | 37 | 0.041169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3296-15_0_2_line_40 |  | 35 | 38 | 0.02467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3296-15_0_2_line_41 |  | 36 | 39 | 0.0083183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3296-15_0_2_line_42 |  | 37 | 40 | 0.02836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3296-15_0_2_line_43 |  | 38 | 41 | 0.048875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3296-15_0_2_line_44 |  | 39 | 42 | 0.010653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3296-15_0_2_line_45 |  | 40 | 43 | 0.018032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3296-15_0_2_line_46 |  | 41 | 44 | 0.10327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3296-15_0_2_line_47 |  | 42 | 45 | 0.0054564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3296-15_0_2_line_48 |  | 43 | 53 | 0.0023281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3296-15_0_2_line_49 |  | 44 | 51 | 0.021748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3296-15_0_2_line_50 |  | 45 | 46 | 0.015493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3296-15_0_2_line_51 |  | 47 | 50 | 0.023501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3296-15_0_2_line_52 |  | 48 | 49 | 0.022146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3296-15_0_2_line_53 |  | 49 | 50 | 0.013969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3296-15_0_2_line_54 |  | 51 | 52 | 0.026673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3296-15_0_2_line_55 |  | 53 | 54 | 0.012449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3296-15_0_2_line_56 |  | 54 | 55 | 0.013582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3296-15_0_2_line_57 |  | 55 | 56 | 0.025474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3296-15_0_2_line_58 |  | 56 | 57 | 0.030783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3296-15_0_2_line_59 |  | 57 | 58 | 0.026921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3296-15_0_2_line_60 |  | 58 | 59 | 0.0055457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3296-15_0_2_line_61 |  | 59 | 60 | 0.024046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3296-15_0_2_line_62 |  | 60 | 61 | 0.028491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3296-15_0_2_line_63 |  | 61 | 62 | 0.034739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3296-15_0_2_line_64 |  | 63 | 64 | 0.0092826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3296-15_0_2_line_65 |  | 64 | 65 | 0.0052424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3296-15_0_2_trafo_24 | 0.63 MVA 20/0.4 kV | 67 | 28 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2752911.7065 | 1213780.6262 | 2752907.5071 | 1213785.2337 | 2752899.856 | 1213786.9279 | 2752892.4655 | 1213784.9811 | 2752878.7485 | 1213777.8342 | 2752839.2627 | 1213755.5355
1 | 2752911.7065 | 1213780.6262 | 2752941.2705 | 1213819.4187
2 | 2752951.5636 | 1213832.928 | 2752941.2705 | 1213819.4187
3 | 2752941.2705 | 1213819.4187 | 2752950.5378 | 1213809.1753
4 | 2752951.5636 | 1213832.928 | 2752954.012 | 1213836.1381 | 2752966.5783 | 1213846.3584 | 2752986.0307 | 1213862.1825 | 2752991.5307 | 1213866.3123
5 | 2752959.9727 | 1213798.7467 | 2752950.5378 | 1213809.1753
6 | 2753006.6986 | 1213877.7016 | 2752991.5307 | 1213866.3123
7 | 2752959.9727 | 1213798.7467 | 2752967.5356 | 1213806.1121
8 | 2752959.9727 | 1213798.7467 | 2752955.5431 | 1213793.5335
9 | 2752990.6579 | 1213911.3559 | 2752988.6432 | 1213911.6823 | 2752984.6134 | 1213912.3462 | 2752980.3682 | 1213912.8155 | 2752977.6958 | 1213914.0641
10 | 2752990.6579 | 1213911.3559 | 2752991.0155 | 1213907.495 | 2752990.1351 | 1213901.823 | 2753009.9767 | 1213900.4086 | 2753020.9179 | 1213888.3786
11 | 2752969.5839 | 1213917.8544 | 2752977.6958 | 1213914.0641
12 | 2753020.9179 | 1213888.3786 | 2753006.6986 | 1213877.7016
13 | 2753020.9179 | 1213888.3786 | 2753027.4517 | 1213893.2859
14 | 2753029.5174 | 1213894.8374 | 2753027.4517 | 1213893.2859
15 | 2752975.3135 | 1213813.6868 | 2752967.5356 | 1213806.1121
16 | 2752950.6178 | 1213787.737 | 2752955.5431 | 1213793.5335
17 | 2753528.8761 | 1214365.6402 | 2753443.1587 | 1214505.1658
18 | 2753462.1945 | 1214302.8777 | 2753477.6995 | 1214316.865 | 2753511.7995 | 1214348.3598 | 2753518.4358 | 1214355.9485 | 2753528.8761 | 1214365.6402
19 | 2753462.1945 | 1214302.8777 | 2753398.9946 | 1214245.8641
20 | 2753169.2248 | 1214130.9792 | 2753202.5748 | 1214164.1654
21 | 2753202.5748 | 1214164.1654 | 2753219.4759 | 1214332.111
22 | 2753169.2248 | 1214130.9792 | 2753193.6026 | 1214108.9075
23 | 2753222.0874 | 1214083.117 | 2753193.6026 | 1214108.9075
24 | 2753222.0874 | 1214083.117 | 2753204.4954 | 1214065.3381 | 2753182.865 | 1214043.83 | 2753167.789 | 1214028.3846 | 2753160.8095 | 1214020.5546
25 | 2753222.0874 | 1214083.117 | 2753228.3436 | 1214077.4394 | 2753229.5608 | 1214078.5717 | 2753299.6526 | 1214143.2529
26 | 2753222.0874 | 1214083.117 | 2753254.9217 | 1214113.6991 | 2753281.9377 | 1214138.1575
27 | 2753160.8095 | 1214020.5546 | 2753150.2678 | 1214008.7283 | 2753125.4122 | 1213976.3723 | 2753104.8725 | 1213945.8978
28 | 2753299.6526 | 1214143.2529 | 2753326.9726 | 1214109.303
29 | 2753281.9377 | 1214138.1575 | 2753301.4866 | 1214155.8557 | 2753308.1854 | 1214162.2237
30 | 2753398.9946 | 1214245.8641 | 2753343.6435 | 1214195.9308 | 2753331.6747 | 1214184.5531
31 | 2753308.1854 | 1214162.2237 | 2753331.6747 | 1214184.5531
32 | 2753093.2085 | 1213928.592 | 2753104.8725 | 1213945.8978
33 | 2753326.9726 | 1214109.303 | 2753334.0307 | 1214100.5322 | 2753335.7761 | 1214095.9063 | 2753336.2371 | 1214092.2127
34 | 2753093.2085 | 1213928.592 | 2753085.9644 | 1213932.7875 | 2753073.3901 | 1213939.1593 | 2753071.5928 | 1213937.2165
35 | 2753099.1487 | 1213925.1526 | 2753093.2085 | 1213928.592
36 | 2753336.244 | 1214092.1574 | 2753336.2371 | 1214092.2127
37 | 2753337.3174 | 1214083.5572 | 2753336.244 | 1214092.1574
38 | 2753071.5928 | 1213937.2165 | 2753058.0444 | 1213922.572
39 | 2753099.1487 | 1213925.1526 | 2753077.6928 | 1213890.0163
40 | 2753099.1487 | 1213925.1526 | 2753120.7486 | 1213913.2342
41 | 2753052.3954 | 1213916.466 | 2753058.0444 | 1213922.572
42 | 2753077.6928 | 1213890.0163 | 2753062.9126 | 1213865.8121
43 | 2753120.7486 | 1213913.2342 | 2753163.5419 | 1213889.6217
44 | 2753052.3954 | 1213916.466 | 2753045.1609 | 1213908.6462
45 | 2753062.9126 | 1213865.8121 | 2753053.515 | 1213850.4225
46 | 2753163.5419 | 1213889.6217 | 2753199.9624 | 1213869.5256 | 2753253.9447 | 1213839.6989
47 | 2753041.4554 | 1213904.6409 | 2753045.1609 | 1213908.6462
48 | 2753052.3017 | 1213848.4356 | 2753053.515 | 1213850.4225
49 | 2753272.8105 | 1213828.8804 | 2753255.2935 | 1213838.9536 | 2753253.9447 | 1213839.6989
50 | 2753041.4554 | 1213904.6409 | 2753038.9169 | 1213901.897 | 2753029.5174 | 1213894.8374
51 | 2752953.441 | 1213931.2077 | 2752959.5648 | 1213927.7173 | 2752959.6141 | 1213922.247 | 2752964.6792 | 1213920.9202 | 2752969.5839 | 1213917.8544
52 | 2752981.1077 | 1213930.5904 | 2752977.6657 | 1213931.0512 | 2752962.0218 | 1213941.2478
53 | 2752953.441 | 1213931.2077 | 2752956.4086 | 1213938.1678 | 2752962.0218 | 1213941.2478
54 | 2753296.0005 | 1213815.7261 | 2753295.0366 | 1213816.0992 | 2753272.8105 | 1213828.8804
55 | 2753052.3017 | 1213848.4356 | 2753046.8939 | 1213839.5798 | 2753045.5947 | 1213837.9654
56 | 2753037.079 | 1213827.3842 | 2753045.5947 | 1213837.9654
57 | 2753037.079 | 1213827.3842 | 2753021.1077 | 1213807.539
58 | 2753001.9918 | 1213783.4111 | 2753013.3172 | 1213797.8589 | 2753021.1077 | 1213807.539
59 | 2753001.9918 | 1213783.4111 | 2753020.3784 | 1213763.7465
60 | 2753020.3784 | 1213763.7465 | 2753024.1659 | 1213759.6957
61 | 2753040.5886 | 1213742.1315 | 2753040.5886 | 1213742.1315 | 2753024.1659 | 1213759.6957
62 | 2753040.5886 | 1213742.1315 | 2753043.3604 | 1213735.7081 | 2753041.0948 | 1213727.4537 | 2753031.6137 | 1213718.6547
63 | 2753031.6137 | 1213718.6547 | 2753006.1503 | 1213695.0232
64 | 2752950.6178 | 1213787.737 | 2752944.6071 | 1213780.6632
65 | 2752941.2126 | 1213776.6682 | 2752944.6071 | 1213780.6632

## bus_geodata
| x | y | coords
0 | 2752839.2627 | 1213755.5355
1 | 2752911.7065 | 1213780.6262
2 | 2752941.2705 | 1213819.4187
3 | 2752951.5636 | 1213832.928
4 | 2752950.5378 | 1213809.1753
5 | 2752991.5307 | 1213866.3123
6 | 2752959.9727 | 1213798.7467
7 | 2752990.6579 | 1213911.3559
8 | 2752977.6958 | 1213914.0641
9 | 2753020.9179 | 1213888.3786
10 | 2753006.6986 | 1213877.7016
11 | 2753027.4517 | 1213893.2859
12 | 2752967.5356 | 1213806.1121
13 | 2752955.5431 | 1213793.5335
14 | 2753443.1587 | 1214505.1658
15 | 2753528.8761 | 1214365.6402
16 | 2753462.1945 | 1214302.8777
17 | 2753202.5748 | 1214164.1654
18 | 2753169.2248 | 1214130.9792
19 | 2753219.4759 | 1214332.111
20 | 2753193.6026 | 1214108.9075
21 | 2753222.0874 | 1214083.117
22 | 2753160.8095 | 1214020.5546
23 | 2753299.6526 | 1214143.2529
24 | 2753281.9377 | 1214138.1575
25 | 2753398.9946 | 1214245.8641
26 | 2753331.6747 | 1214184.5531
27 | 2753308.1854 | 1214162.2237
28 | 2753104.8725 | 1213945.8978
29 | 2753326.9726 | 1214109.303
30 | 2753093.2085 | 1213928.592
31 | 2753336.2371 | 1214092.2127
32 | 2753336.244 | 1214092.1574
33 | 2753337.3174 | 1214083.5572
34 | 2753071.5928 | 1213937.2165
35 | 2753099.1487 | 1213925.1526
36 | 2753058.0444 | 1213922.572
37 | 2753077.6928 | 1213890.0163
38 | 2753120.7486 | 1213913.2342
39 | 2753052.3954 | 1213916.466
40 | 2753062.9126 | 1213865.8121
41 | 2753163.5419 | 1213889.6217
42 | 2753045.1609 | 1213908.6462
43 | 2753053.515 | 1213850.4225
44 | 2753253.9447 | 1213839.6989
45 | 2753041.4554 | 1213904.6409
46 | 2753029.5174 | 1213894.8374
47 | 2752969.5839 | 1213917.8544
48 | 2752981.1077 | 1213930.5904
49 | 2752962.0218 | 1213941.2478
50 | 2752953.441 | 1213931.2077
51 | 2753272.8105 | 1213828.8804
52 | 2753296.0005 | 1213815.7261
53 | 2753052.3017 | 1213848.4356
54 | 2753045.5947 | 1213837.9654
55 | 2753037.079 | 1213827.3842
56 | 2753021.1077 | 1213807.539
57 | 2753001.9918 | 1213783.4111
58 | 2753020.3784 | 1213763.7465
59 | 2753024.1659 | 1213759.6957
60 | 2753040.5886 | 1213742.1315
61 | 2753031.6137 | 1213718.6547
62 | 2753006.1503 | 1213695.0232
63 | 2752950.6178 | 1213787.737
64 | 2752944.6071 | 1213780.6632
65 | 2752941.2126 | 1213776.6682
66 | 2752975.3135 | 1213813.6868
67 | 2753093.2085 | 1213928.592

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1