## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3297-4_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3297-4_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3297-4_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3297-4_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3297-4_0_3_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_3297-4_0_3_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_3297-4_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_3297-4_0_3_node_22 | 0.4 | n |  | TRUE
8 | bus_LV_3297-4_0_3_node_69 | 0.4 | n |  | TRUE
9 | bus_LV_3297-4_0_3_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_3297-4_0_3_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_3297-4_0_3_node_62 | 0.4 | n |  | TRUE
12 | bus_LV_3297-4_0_3_node_64 | 0.4 | n |  | TRUE
13 | bus_LV_3297-4_0_3_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_3297-4_0_3_node_68 | 0.4 | n |  | TRUE
15 | bus_LV_3297-4_0_3_node_26 | 0.4 | n |  | TRUE
16 | bus_LV_3297-4_0_3_node_21 | 0.4 | n |  | TRUE
17 | bus_LV_3297-4_0_3_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_3297-4_0_3_node_61 | 0.4 | n |  | TRUE
19 | bus_LV_3297-4_0_3_node_65 | 0.4 | n |  | TRUE
20 | bus_LV_3297-4_0_3_node_67 | 0.4 | n |  | TRUE
21 | bus_LV_3297-4_0_3_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_3297-4_0_3_node_70 | 0.4 | n |  | TRUE
23 | bus_LV_3297-4_0_3_node_66 | 0.4 | n |  | TRUE
24 | bus_LV_3297-4_0_3_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_3297-4_0_3_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_3297-4_0_3_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_3297-4_0_3_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_3297-4_0_3_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_3297-4_0_3_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_3297-4_0_3_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_3297-4_0_3_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_3297-4_0_3_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_3297-4_0_3_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_3297-4_0_3_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_3297-4_0_3_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_3297-4_0_3_node_116 | 0.4 | n |  | TRUE
37 | bus_LV_3297-4_0_3_node_114 | 0.4 | n |  | TRUE
38 | bus_LV_3297-4_0_3_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_3297-4_0_3_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_3297-4_0_3_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_3297-4_0_3_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_3297-4_0_3_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_3297-4_0_3_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_3297-4_0_3_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_3297-4_0_3_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_3297-4_0_3_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_3297-4_0_3_node_63 | 0.4 | n |  | TRUE
48 | bus_LV_3297-4_0_3_node_45 | 0.4 | n |  | TRUE
49 | bus_LV_3297-4_0_3_node_46 | 0.4 | n |  | TRUE
50 | bus_LV_3297-4_0_3_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_3297-4_0_3_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_3297-4_0_3_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_3297-4_0_3_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_3297-4_0_3_node_74 | 0.4 | n |  | TRUE
55 | bus_LV_3297-4_0_3_node_55 | 0.4 | n |  | TRUE
56 | bus_LV_3297-4_0_3_node_81 | 0.4 | n |  | TRUE
57 | bus_LV_3297-4_0_3_node_80 | 0.4 | n |  | TRUE
58 | bus_LV_3297-4_0_3_node_79 | 0.4 | n |  | TRUE
59 | bus_LV_3297-4_0_3_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_3297-4_0_3_node_72 | 0.4 | n |  | TRUE
61 | bus_LV_3297-4_0_3_node_73 | 0.4 | n |  | TRUE
62 | bus_LV_3297-4_0_3_node_75 | 0.4 | n |  | TRUE
63 | bus_LV_3297-4_0_3_node_53 | 0.4 | n |  | TRUE
64 | bus_LV_3297-4_0_3_node_43 | 0.4 | n |  | TRUE
65 | bus_LV_3297-4_0_3_node_44 | 0.4 | n |  | TRUE
66 | bus_LV_3297-4_0_3_node_51 | 0.4 | n |  | TRUE
67 | bus_LV_3297-4_0_3_node_58 | 0.4 | n |  | TRUE
68 | bus_LV_3297-4_0_3_node_60 | 0.4 | n |  | TRUE
69 | bus_LV_3297-4_0_3_node_56 | 0.4 | n |  | TRUE
70 | bus_LV_3297-4_0_3_node_84 | 0.4 | n |  | TRUE
71 | bus_LV_3297-4_0_3_node_123 | 0.4 | n |  | TRUE
72 | bus_LV_3297-4_0_3_node_50 | 0.4 | n |  | TRUE
73 | bus_LV_3297-4_0_3_node_82 | 0.4 | n |  | TRUE
74 | bus_LV_3297-4_0_3_node_83 | 0.4 | n |  | TRUE
75 | bus_LV_3297-4_0_3_node_47 | 0.4 | n |  | TRUE
76 | bus_LV_3297-4_0_3_node_115 | 0.4 | n |  | TRUE
77 | bus_LV_3297-4_0_3_node_98 | 0.4 | n |  | TRUE
78 | bus_LV_3297-4_0_3_node_48 | 0.4 | n |  | TRUE
79 | bus_LV_3297-4_0_3_node_118 | 0.4 | n |  | TRUE
80 | bus_LV_3297-4_0_3_node_97 | 0.4 | n |  | TRUE
81 | bus_LV_3297-4_0_3_node_49 | 0.4 | n |  | TRUE
82 | bus_LV_3297-4_0_3_node_90 | 0.4 | n |  | TRUE
83 | bus_LV_3297-4_0_3_node_120 | 0.4 | n |  | TRUE
84 | bus_LV_3297-4_0_3_node_89 | 0.4 | n |  | TRUE
85 | bus_LV_3297-4_0_3_node_96 | 0.4 | n |  | TRUE
86 | bus_LV_3297-4_0_3_node_59 | 0.4 | n |  | TRUE
87 | bus_LV_3297-4_0_3_node_119 | 0.4 | n |  | TRUE
88 | bus_LV_3297-4_0_3_node_57 | 0.4 | n |  | TRUE
89 | bus_LV_3297-4_0_3_node_87 | 0.4 | n |  | TRUE
90 | bus_LV_3297-4_0_3_node_88 | 0.4 | n |  | TRUE
91 | bus_LV_3297-4_0_3_node_85 | 0.4 | n |  | TRUE
92 | bus_LV_3297-4_0_3_node_94 | 0.4 | n |  | TRUE
93 | bus_LV_3297-4_0_3_node_91 | 0.4 | n |  | TRUE
94 | bus_LV_3297-4_0_3_node_92 | 0.4 | n |  | TRUE
95 | bus_LV_3297-4_0_3_node_93 | 0.4 | n |  | TRUE
96 | bus_LV_3297-4_0_3_node_95 | 0.4 | n |  | TRUE
97 | bus_LV_3297-4_0_3_node_121 | 0.4 | n |  | TRUE
98 | bus_LV_3297-4_0_3_node_122 | 0.4 | n |  | TRUE
99 | bus_LV_3297-4_0_3_node_86 | 0.4 | n |  | TRUE
100 | bus_LV_3297-4_0_3_node_52 | 0.4 | n |  | TRUE
101 | bus_LV_3297-4_0_3_node_54 | 0.4 | n |  | TRUE
102 | bus_LV_3297-4_0_3_node_71 | 0.4 | n |  | TRUE
103 | bus_LV_3297-4_0_3_node_109 | 0.4 | n |  | TRUE
104 | bus_LV_3297-4_0_3_node_103 | 0.4 | n |  | TRUE
105 | bus_LV_3297-4_0_3_node_112 | 0.4 | n |  | TRUE
106 | bus_LV_3297-4_0_3_node_101 | 0.4 | n |  | TRUE
107 | bus_LV_3297-4_0_3_node_76 | 0.4 | n |  | TRUE
108 | bus_LV_3297-4_0_3_node_78 | 0.4 | n |  | TRUE
109 | bus_LV_3297-4_0_3_node_102 | 0.4 | n |  | TRUE
110 | bus_LV_3297-4_0_3_node_107 | 0.4 | n |  | TRUE
111 | bus_LV_3297-4_0_3_node_100 | 0.4 | n |  | TRUE
112 | bus_LV_3297-4_0_3_node_104 | 0.4 | n |  | TRUE
113 | bus_LV_3297-4_0_3_node_105 | 0.4 | n |  | TRUE
114 | bus_LV_3297-4_0_3_node_106 | 0.4 | n |  | TRUE
115 | bus_LV_3297-4_0_3_node_99 | 0.4 | n |  | TRUE
116 | bus_LV_3297-4_0_3_node_108 | 0.4 | n |  | TRUE
117 | bus_LV_3297-4_0_3_node_110 | 0.4 | n |  | TRUE
118 | bus_LV_3297-4_0_3_node_111 | 0.4 | n |  | TRUE
119 | bus_LV_3297-4_0_3_node_113 | 0.4 | n |  | TRUE
120 | bus_MV_238_0_node_124 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3297-4_0_3_load_0 | 0 | 0.024995 | 0.0062643 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3297-4_0_3_load_3 | 3 | 0.0036179 | 0.00090674 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3297-4_0_3_load_69 | 8 | 0.0060147 | 0.0015074 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3297-4_0_3_load_11 | 9 | 0.00070012 | 0.00017547 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3297-4_0_3_load_9 | 10 | 0.00052062 | 0.00013048 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3297-4_0_3_load_64 | 12 | 0.024512 | 0.0061433 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3297-4_0_3_load_68 | 14 | 0.0029425 | 0.00073746 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3297-4_0_3_load_26 | 15 | 0.004818 | 0.0012075 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3297-4_0_3_load_21 | 16 | 0.0026575 | 0.00066604 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3297-4_0_3_load_8 | 17 | 0.0038878 | 0.00097439 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3297-4_0_3_load_61 | 18 | 0.022854 | 0.0057279 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3297-4_0_3_load_67 | 20 | 0.0034997 | 0.0008771 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3297-4_0_3_load_70 | 22 | 0.0049331 | 0.0012363 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3297-4_0_3_load_14 | 24 | 0.0017997 | 0.00045104 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3297-4_0_3_load_15 | 25 | 0.0011897 | 0.00029816 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3297-4_0_3_load_17 | 27 | 0.0011819 | 0.00029621 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3297-4_0_3_load_18 | 28 | 0.0019883 | 0.00049832 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3297-4_0_3_load_23 | 29 | 0.0010984 | 0.00027529 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3297-4_0_3_load_20 | 30 | 0.0013982 | 0.00035042 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3297-4_0_3_load_24 | 31 | 0.0020703 | 0.00051886 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3297-4_0_3_load_19 | 32 | 0.002018 | 0.00050576 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3297-4_0_3_load_25 | 34 | 0.0017979 | 0.00045059 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3297-4_0_3_load_116 | 36 | 0.0068205 | 0.0017094 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3297-4_0_3_load_114 | 37 | 0.0011801 | 0.00029576 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3297-4_0_3_load_35 | 38 | 0.0090575 | 0.00227 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3297-4_0_3_load_31 | 39 | 0.0063096 | 0.0015813 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3297-4_0_3_load_28 | 40 | 0.0032309 | 0.00080975 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3297-4_0_3_load_37 | 42 | 0.0038973 | 0.00097676 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3297-4_0_3_load_36 | 43 | 0.0028581 | 0.0007163 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3297-4_0_3_load_30 | 44 | 0.00081633 | 0.00020459 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3297-4_0_3_load_32 | 45 | 0.0091096 | 0.0022831 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3297-4_0_3_load_34 | 46 | 0.0062036 | 0.0015548 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3297-4_0_3_load_63 | 47 | 0.0093645 | 0.002347 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3297-4_0_3_load_45 | 48 | 0.0024429 | 0.00061224 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3297-4_0_3_load_46 | 49 | 0.00085499 | 0.00021428 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3297-4_0_3_load_40 | 51 | 0.010304 | 0.0025823 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3297-4_0_3_load_41 | 53 | 0.003361 | 0.00084234 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3297-4_0_3_load_55 | 55 | 0.0049898 | 0.0012506 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3297-4_0_3_load_81 | 56 | 0.0021031 | 0.00052709 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3297-4_0_3_load_80 | 57 | 0.0013618 | 0.00034131 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3297-4_0_3_load_42 | 59 | 0.0017535 | 0.00043946 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3297-4_0_3_load_72 | 60 | 0.0021888 | 0.00054858 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3297-4_0_3_load_73 | 61 | 0.0020895 | 0.00052367 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3297-4_0_3_load_53 | 63 | 0.0017998 | 0.00045108 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3297-4_0_3_load_43 | 64 | 0.001829 | 0.00045839 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3297-4_0_3_load_44 | 65 | 0.00063492 | 0.00015913 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3297-4_0_3_load_51 | 66 | 0.001973 | 0.00049449 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3297-4_0_3_load_56 | 69 | 0.0060772 | 0.0015231 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3297-4_0_3_load_123 | 71 | 0.0022046 | 0.00055252 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3297-4_0_3_load_50 | 72 | 0.0041596 | 0.0010425 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3297-4_0_3_load_82 | 73 | 0.0026909 | 0.00067441 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3297-4_0_3_load_47 | 75 | 0.0055776 | 0.0013979 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3297-4_0_3_load_115 | 76 | 0.0020037 | 0.00050216 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3297-4_0_3_load_48 | 78 | 0.0026012 | 0.00065191 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3297-4_0_3_load_118 | 79 | 0.0013294 | 0.00033317 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3297-4_0_3_load_97 | 80 | 0.003229 | 0.00080927 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3297-4_0_3_load_49 | 81 | 0.002424 | 0.0006075 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3297-4_0_3_load_120 | 83 | 0.0014867 | 0.00037261 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3297-4_0_3_load_96 | 85 | 0.0022641 | 0.00056743 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3297-4_0_3_load_59 | 86 | 0.00090703 | 0.00022732 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3297-4_0_3_load_119 | 87 | 0.0018768 | 0.00047037 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3297-4_0_3_load_57 | 88 | 0.0048212 | 0.0012083 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3297-4_0_3_load_87 | 89 | 0.0022717 | 0.00056933 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3297-4_0_3_load_88 | 90 | 0.0033586 | 0.00084175 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3297-4_0_3_load_85 | 91 | 0.002797 | 0.00070099 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3297-4_0_3_load_91 | 93 | 0.0021014 | 0.00052667 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3297-4_0_3_load_92 | 94 | 0.0031717 | 0.0007949 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3297-4_0_3_load_95 | 96 | 0.0030841 | 0.00077296 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3297-4_0_3_load_121 | 97 | 0.0016647 | 0.00041722 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3297-4_0_3_load_122 | 98 | 0.0067721 | 0.0016972 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3297-4_0_3_load_86 | 99 | 0.0020986 | 0.00052596 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3297-4_0_3_load_52 | 100 | 0.009026 | 0.0022621 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3297-4_0_3_load_54 | 101 | 0.011263 | 0.0028228 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3297-4_0_3_load_109 | 103 | 0.0012234 | 0.00030662 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3297-4_0_3_load_103 | 104 | 0.00047837 | 0.00011989 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3297-4_0_3_load_101 | 106 | 0.00044647 | 0.0001119 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3297-4_0_3_load_76 | 107 | 0.001305 | 0.00032706 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3297-4_0_3_load_102 | 109 | 0.00026775 | 6.7104e-05 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3297-4_0_3_load_107 | 110 | 0.00043504 | 0.00010903 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3297-4_0_3_load_100 | 111 | 0.0013476 | 0.00033775 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3297-4_0_3_load_104 | 112 | 0.0003014 | 7.5538e-05 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_3297-4_0_3_load_105 | 113 | 0.0017361 | 0.00043511 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_3297-4_0_3_load_99 | 115 | 0.00025022 | 6.2711e-05 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_3297-4_0_3_load_108 | 116 | 0.00025119 | 6.2955e-05 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_3297-4_0_3_load_110 | 117 | 0.00028512 | 7.1459e-05 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_3297-4_0_3_load_111 | 118 | 0.00076029 | 0.00019055 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_3297-4_0_3_load_113 | 119 | 0.00068622 | 0.00017198 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 47 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3297-4_0_3_line_0 |  | 0 | 1 | 0.041931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3297-4_0_3_line_1 |  | 0 | 2 | 0.0094136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3297-4_0_3_line_2 |  | 1 | 3 | 0.016895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3297-4_0_3_line_3 |  | 2 | 4 | 0.009424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3297-4_0_3_line_4 |  | 4 | 11 | 0.016798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3297-4_0_3_line_5 |  | 4 | 12 | 0.013504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3297-4_0_3_line_6 |  | 5 | 6 | 0.031152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3297-4_0_3_line_7 |  | 5 | 7 | 0.031042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3297-4_0_3_line_8 |  | 5 | 8 | 0.040581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3297-4_0_3_line_9 |  | 6 | 9 | 0.036684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3297-4_0_3_line_10 |  | 6 | 10 | 0.023299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3297-4_0_3_line_11 |  | 7 | 15 | 0.003508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_3297-4_0_3_line_12 |  | 7 | 16 | 0.023303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_3297-4_0_3_line_13 |  | 10 | 17 | 0.020442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3297-4_0_3_line_14 |  | 11 | 18 | 0.011103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3297-4_0_3_line_15 |  | 11 | 13 | 0.018932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3297-4_0_3_line_16 |  | 12 | 19 | 0.017106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3297-4_0_3_line_17 |  | 13 | 14 | 0.012406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3297-4_0_3_line_18 |  | 14 | 20 | 0.021011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3297-4_0_3_line_19 |  | 15 | 33 | 0.039256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_3297-4_0_3_line_20 |  | 16 | 32 | 0.012902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_3297-4_0_3_line_21 |  | 19 | 21 | 0.022682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3297-4_0_3_line_22 |  | 20 | 41 | 0.018658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3297-4_0_3_line_23 |  | 21 | 22 | 0.02585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3297-4_0_3_line_24 |  | 22 | 23 | 0.013412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3297-4_0_3_line_25 |  | 23 | 102 | 0.10323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3297-4_0_3_line_26 |  | 24 | 25 | 0.018191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_3297-4_0_3_line_27 |  | 24 | 26 | 0.016866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_3297-4_0_3_line_28 |  | 25 | 27 | 0.0075383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_3297-4_0_3_line_29 |  | 26 | 28 | 0.022145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_3297-4_0_3_line_30 |  | 27 | 29 | 0.00072631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_3297-4_0_3_line_31 |  | 28 | 30 | 0.0011534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_3297-4_0_3_line_32 |  | 29 | 31 | 0.025282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_3297-4_0_3_line_33 |  | 30 | 32 | 0.055008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_3297-4_0_3_line_34 |  | 31 | 34 | 0.0017216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_3297-4_0_3_line_35 |  | 33 | 40 | 0.022436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3297-4_0_3_line_36 |  | 33 | 41 | 0.028731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_3297-4_0_3_line_37 |  | 34 | 35 | 0.00032236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_3297-4_0_3_line_38 |  | 35 | 38 | 0.018526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3297-4_0_3_line_39 |  | 35 | 39 | 0.020845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_3297-4_0_3_line_40 |  | 36 | 37 | 0.027349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3297-4_0_3_line_41 |  | 37 | 76 | 0.002499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3297-4_0_3_line_42 |  | 38 | 48 | 0.011461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3297-4_0_3_line_43 |  | 39 | 44 | 0.012989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_3297-4_0_3_line_44 |  | 40 | 42 | 0.026118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3297-4_0_3_line_45 |  | 42 | 43 | 0.022763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3297-4_0_3_line_46 |  | 43 | 50 | 0.058004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3297-4_0_3_line_47 |  | 44 | 45 | 0.012937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_3297-4_0_3_line_48 |  | 45 | 46 | 0.015461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_3297-4_0_3_line_49 |  | 46 | 47 | 0.019558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_3297-4_0_3_line_50 |  | 48 | 49 | 0.015746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3297-4_0_3_line_51 |  | 49 | 75 | 0.0052091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3297-4_0_3_line_52 |  | 50 | 51 | 0.019272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3297-4_0_3_line_53 |  | 51 | 55 | 0.0024863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3297-4_0_3_line_54 |  | 52 | 53 | 0.019741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3297-4_0_3_line_55 |  | 52 | 54 | 0.14313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3297-4_0_3_line_56 |  | 53 | 59 | 0.033697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3297-4_0_3_line_57 |  | 54 | 60 | 0.03919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3297-4_0_3_line_58 |  | 55 | 63 | 0.029168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3297-4_0_3_line_59 |  | 56 | 57 | 0.017951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3297-4_0_3_line_60 |  | 56 | 58 | 0.0087395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3297-4_0_3_line_61 |  | 57 | 62 | 0.007952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3297-4_0_3_line_62 |  | 58 | 108 | 0.057946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3297-4_0_3_line_63 |  | 59 | 64 | 0.034887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3297-4_0_3_line_64 |  | 60 | 61 | 0.032306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3297-4_0_3_line_65 |  | 61 | 62 | 0.019667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3297-4_0_3_line_66 |  | 63 | 100 | 0.0085834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3297-4_0_3_line_67 |  | 64 | 65 | 0.018953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3297-4_0_3_line_68 |  | 65 | 66 | 0.013712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3297-4_0_3_line_69 |  | 66 | 69 | 0.059056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3297-4_0_3_line_70 |  | 66 | 72 | 0.0087849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3297-4_0_3_line_71 |  | 67 | 68 | 0.020698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3297-4_0_3_line_72 |  | 67 | 69 | 0.062622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3297-4_0_3_line_73 |  | 68 | 70 | 0.072963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3297-4_0_3_line_74 |  | 68 | 71 | 0.02768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3297-4_0_3_line_75 |  | 69 | 88 | 0.043175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3297-4_0_3_line_76 |  | 70 | 73 | 0.03662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3297-4_0_3_line_77 |  | 72 | 81 | 0.023143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3297-4_0_3_line_78 |  | 73 | 74 | 0.0087895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3297-4_0_3_line_79 |  | 74 | 99 | 0.015988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3297-4_0_3_line_80 |  | 74 | 91 | 0.010346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3297-4_0_3_line_81 |  | 75 | 78 | 0.0075639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3297-4_0_3_line_82 |  | 76 | 77 | 0.012678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3297-4_0_3_line_83 |  | 77 | 79 | 0.044935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3297-4_0_3_line_84 |  | 77 | 80 | 0.013861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3297-4_0_3_line_85 |  | 78 | 81 | 0.019437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3297-4_0_3_line_86 |  | 79 | 87 | 0.0023337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3297-4_0_3_line_87 |  | 80 | 85 | 0.0087804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3297-4_0_3_line_88 |  | 82 | 83 | 0.016075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3297-4_0_3_line_89 |  | 82 | 84 | 0.002931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3297-4_0_3_line_90 |  | 83 | 87 | 0.029203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_3297-4_0_3_line_91 |  | 84 | 89 | 0.018682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_3297-4_0_3_line_92 |  | 85 | 86 | 0.017112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_3297-4_0_3_line_93 |  | 86 | 88 | 0.034754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_3297-4_0_3_line_94 |  | 89 | 90 | 0.01552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_3297-4_0_3_line_95 |  | 91 | 92 | 0.016779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_3297-4_0_3_line_96 |  | 92 | 96 | 0.014204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_3297-4_0_3_line_97 |  | 93 | 94 | 0.011103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_3297-4_0_3_line_98 |  | 93 | 95 | 0.035007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_3297-4_0_3_line_99 |  | 95 | 99 | 0.012428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_3297-4_0_3_line_100 |  | 96 | 97 | 0.021163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_3297-4_0_3_line_101 |  | 97 | 98 | 0.011325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_3297-4_0_3_line_102 |  | 100 | 101 | 0.0044446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_3297-4_0_3_line_103 |  | 102 | 103 | 0.10509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_3297-4_0_3_line_104 |  | 102 | 104 | 0.067213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_3297-4_0_3_line_105 |  | 103 | 105 | 0.15234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_3297-4_0_3_line_106 |  | 104 | 106 | 0.0070719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_3297-4_0_3_line_107 |  | 105 | 119 | 0.16414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_3297-4_0_3_line_108 |  | 105 | 118 | 0.089246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_3297-4_0_3_line_109 |  | 106 | 115 | 0.0008817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_3297-4_0_3_line_110 |  | 107 | 108 | 0.024181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_3297-4_0_3_line_111 |  | 109 | 110 | 0.022653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_3297-4_0_3_line_112 |  | 109 | 111 | 0.0062644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_3297-4_0_3_line_113 |  | 110 | 113 | 0.001396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_3297-4_0_3_line_114 |  | 111 | 115 | 0.000208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_3297-4_0_3_line_115 |  | 112 | 113 | 0.0088852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_3297-4_0_3_line_116 |  | 112 | 114 | 0.0626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_3297-4_0_3_line_117 |  | 114 | 116 | 0.017749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_3297-4_0_3_line_118 |  | 116 | 117 | 0.0031972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3297-4_0_3_trafo_63 | 0.63 MVA 20/0.4 kV | 120 | 47 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2752635.0953 | 1210314.1842 | 2752598.2708 | 1210334.239
1 | 2752590.0037 | 1210338.7414 | 2752598.2708 | 1210334.239
2 | 2752635.0953 | 1210314.1842 | 2752624.8174 | 1210300.7748
3 | 2752590.0037 | 1210338.7414 | 2752581.7714 | 1210343.3683
4 | 2752583.0307 | 1210359.826 | 2752584.0648 | 1210355.671 | 2752581.7714 | 1210343.3683
5 | 2752581.7714 | 1210343.3683 | 2752574.6919 | 1210331.8688
6 | 2752669.0859 | 1210316.3113 | 2752672.7327 | 1210328.6154 | 2752678.2854 | 1210346.0728
7 | 2752678.2854 | 1210346.0728 | 2752687.8788 | 1210375.5998
8 | 2752678.2854 | 1210346.0728 | 2752641.7801 | 1210363.799
9 | 2752653.0097 | 1210283.6602 | 2752661.6543 | 1210296.4926 | 2752665.5247 | 1210304.5209 | 2752669.0859 | 1210316.3113
10 | 2752669.0859 | 1210316.3113 | 2752687.8101 | 1210310.5853 | 2752691.3903 | 1210309.5782
11 | 2752687.8788 | 1210375.5998 | 2752684.6899 | 1210377.0616
12 | 2752687.8788 | 1210375.5998 | 2752708.096 | 1210369.7676 | 2752710.3326 | 1210369.4333
13 | 2752711.0682 | 1210304.0426 | 2752691.3903 | 1210309.5782
14 | 2752583.0307 | 1210359.826 | 2752581.8909 | 1210363.6558 | 2752575.6766 | 1210367.105
15 | 2752601.9571 | 1210361.3447 | 2752583.0307 | 1210359.826
16 | 2752565.724 | 1210317.3017 | 2752574.6919 | 1210331.8688
17 | 2752601.9571 | 1210361.3447 | 2752607.9163 | 1210372.2255
18 | 2752618.009 | 1210390.6537 | 2752607.9163 | 1210372.2255
19 | 2752649.0053 | 1210393.4208 | 2752684.6899 | 1210377.0616
20 | 2752723.0929 | 1210367.5262 | 2752710.3326 | 1210369.4333
21 | 2752565.724 | 1210317.3017 | 2752555.6437 | 1210296.9706
22 | 2752624.0528 | 1210407.784 | 2752619.1267 | 1210397.6268 | 2752619.4943 | 1210393.3658 | 2752618.009 | 1210390.6537
23 | 2752555.6437 | 1210296.9706 | 2752551.1949 | 1210301.4385 | 2752537.3415 | 1210312.3606 | 2752535.697 | 1210313.3192
24 | 2752524.1102 | 1210320.0736 | 2752535.697 | 1210313.3192
25 | 2752524.1102 | 1210320.0736 | 2752508.5383 | 1210325.3468 | 2752496.3394 | 1210327.7816 | 2752478.7635 | 1210329.0558 | 2752455.7136 | 1210329.3893 | 2752438.7613 | 1210330.0679 | 2752422.0038 | 1210332.9424
26 | 2752798.8911 | 1210389.5426 | 2752799.6272 | 1210371.3667
27 | 2752800.3097 | 1210354.5149 | 2752799.6272 | 1210371.3667
28 | 2752798.8911 | 1210389.5426 | 2752798.5861 | 1210397.0746
29 | 2752800.3097 | 1210354.5149 | 2752778.482 | 1210358.2528
30 | 2752798.5861 | 1210397.0746 | 2752798.5567 | 1210397.8004
31 | 2752777.3451 | 1210358.4475 | 2752778.482 | 1210358.2528
32 | 2752797.5337 | 1210423.0614 | 2752798.5567 | 1210397.8004
33 | 2752723.0929 | 1210367.5262 | 2752732.806 | 1210366.0746 | 2752777.3451 | 1210358.4475
34 | 2752797.464 | 1210424.7817 | 2752797.5337 | 1210423.0614
35 | 2752649.0053 | 1210393.4208 | 2752653.4421 | 1210415.4134
36 | 2752624.0528 | 1210407.784 | 2752629.3937 | 1210404.7068 | 2752649.0053 | 1210393.4208
37 | 2752797.464 | 1210424.7817 | 2752797.451 | 1210425.1038
38 | 2752797.451 | 1210425.1038 | 2752798.5267 | 1210443.5988
39 | 2752797.451 | 1210425.1038 | 2752776.7847 | 1210427.8277
40 | 2752897.0279 | 1210447.9858 | 2752899.2153 | 1210433.5625 | 2752901.0654 | 1210420.9369
41 | 2752897.0279 | 1210447.9858 | 2752897.0279 | 1210447.9858 | 2752896.2757 | 1210450.369
42 | 2752799.1922 | 1210455.0409 | 2752798.5267 | 1210443.5988
43 | 2752763.9067 | 1210429.5251 | 2752776.7847 | 1210427.8277
44 | 2752658.607 | 1210441.0153 | 2752653.4421 | 1210415.4134
45 | 2752663.1085 | 1210463.3284 | 2752658.607 | 1210441.0153
46 | 2752674.5791 | 1210520.1865 | 2752663.1085 | 1210463.3284
47 | 2752763.9067 | 1210429.5251 | 2752761.8491 | 1210429.7963 | 2752752.6153 | 1210435.5162
48 | 2752752.6153 | 1210435.5162 | 2752739.472 | 1210443.6578
49 | 2752720.2075 | 1210447.0343 | 2752739.472 | 1210443.6578
50 | 2752799.1922 | 1210455.0409 | 2752800.1065 | 1210470.7606
51 | 2752800.1065 | 1210470.7606 | 2752800.4089 | 1210475.9609
52 | 2752674.5791 | 1210520.1865 | 2752692.9243 | 1210514.2825
53 | 2752695.2911 | 1210513.5208 | 2752692.9243 | 1210514.2825
54 | 2752688.6016 | 1210584.891 | 2752707.5901 | 1210579.4936
55 | 2752688.6016 | 1210584.891 | 2752558.1594 | 1210643.795
56 | 2752707.5901 | 1210579.4936 | 2752740.0029 | 1210570.2802
57 | 2752558.1594 | 1210643.795 | 2752522.8488 | 1210626.7947
58 | 2752723.0567 | 1210504.5851 | 2752695.2911 | 1210513.5208
59 | 2752468.7609 | 1210601.0056 | 2752452.3716 | 1210593.6829
60 | 2752444.3923 | 1210590.1178 | 2752452.3716 | 1210593.6829
61 | 2752476.0212 | 1210604.2495 | 2752468.7609 | 1210601.0056
62 | 2752427.0984 | 1210558.9819 | 2752412.0117 | 1210575.6445 | 2752444.3923 | 1210590.1178
63 | 2752740.0029 | 1210570.2802 | 2752761.7075 | 1210564.1107 | 2752771.5355 | 1210556.6771
64 | 2752522.8488 | 1210626.7947 | 2752493.7411 | 1210612.7808
65 | 2752476.0212 | 1210604.2495 | 2752493.7411 | 1210612.7808
66 | 2752731.2273 | 1210501.9556 | 2752723.0567 | 1210504.5851
67 | 2752771.5355 | 1210556.6771 | 2752785.0018 | 1210546.4917 | 2752786.1454 | 1210544.768
68 | 2752793.7261 | 1210533.3418 | 2752786.1454 | 1210544.768
69 | 2752793.7261 | 1210533.3418 | 2752841.3383 | 1210568.2799
70 | 2752798.5828 | 1210526.0215 | 2752793.7261 | 1210533.3418
71 | 2752812.5447 | 1210623.8873 | 2752830.6728 | 1210633.9716
72 | 2752812.5447 | 1210623.8873 | 2752834.0786 | 1210581.8018 | 2752841.3383 | 1210568.2799
73 | 2752830.6728 | 1210633.9716 | 2752833.3575 | 1210635.7308 | 2752875.0706 | 1210663.1124 | 2752880.6715 | 1210659.386 | 2752887.3263 | 1210648.0688
74 | 2752830.6728 | 1210633.9716 | 2752844.7026 | 1210610.1107
75 | 2752841.3383 | 1210568.2799 | 2752861.7609 | 1210530.2409
76 | 2752887.3263 | 1210648.0688 | 2752905.8705 | 1210616.4917
77 | 2752798.5828 | 1210526.0215 | 2752798.5828 | 1210526.0215 | 2752799.9133 | 1210502.9165
78 | 2752910.3215 | 1210608.9125 | 2752905.8705 | 1210616.4917
79 | 2752910.3215 | 1210608.9125 | 2752924.1973 | 1210616.3858 | 2752924.3943 | 1210616.4991
80 | 2752910.3215 | 1210608.9125 | 2752910.2517 | 1210603.6283 | 2752908.6649 | 1210601.7526 | 2752906.4427 | 1210600.3941
81 | 2752800.8481 | 1210483.512 | 2752800.4089 | 1210475.9609
82 | 2752892.4592 | 1210462.4593 | 2752896.2757 | 1210450.369
83 | 2752892.4592 | 1210462.4593 | 2752933.3674 | 1210481.0521
84 | 2752892.4592 | 1210462.4593 | 2752887.7281 | 1210475.4881
85 | 2752800.8481 | 1210483.512 | 2752800.9399 | 1210485.0903 | 2752799.9133 | 1210502.9165
86 | 2752933.3674 | 1210481.0521 | 2752935.492 | 1210482.0177
87 | 2752884.4892 | 1210483.6484 | 2752887.1899 | 1210476.9703 | 2752887.7281 | 1210475.4881
88 | 2752976.7126 | 1210500.7525 | 2752962.0779 | 1210494.101
89 | 2752979.3404 | 1210502.0655 | 2752976.7126 | 1210500.7525
90 | 2752962.0779 | 1210494.101 | 2752935.492 | 1210482.0177
91 | 2752979.3404 | 1210502.0655 | 2752970.1794 | 1210518.3468
92 | 2752884.4892 | 1210483.6484 | 2752881.9774 | 1210489.8592 | 2752877.4195 | 1210499.2215
93 | 2752861.7609 | 1210530.2409 | 2752867.7375 | 1210519.109 | 2752877.4195 | 1210499.2215
94 | 2752962.5687 | 1210531.8728 | 2752970.1794 | 1210518.3468
95 | 2752892.1268 | 1210591.6421 | 2752906.4427 | 1210600.3941
96 | 2752892.1268 | 1210591.6421 | 2752895.8784 | 1210583.5311 | 2752898.4709 | 1210578.9464
97 | 2752958.1015 | 1210582.6919 | 2752952.579 | 1210592.3246
98 | 2752935.1678 | 1210622.6948 | 2752952.579 | 1210592.3246
99 | 2752935.1678 | 1210622.6948 | 2752924.3943 | 1210616.4991
100 | 2752898.4709 | 1210578.9464 | 2752908.8876 | 1210560.525
101 | 2752914.4617 | 1210550.6674 | 2752908.8876 | 1210560.525
102 | 2752735.4582 | 1210500.594 | 2752731.2273 | 1210501.9556
103 | 2752382.6254 | 1210235.4733 | 2752422.0038 | 1210332.9424
104 | 2752422.0038 | 1210332.9424 | 2752419.2006 | 1210333.4267 | 2752402.2322 | 1210338.8981 | 2752392.2404 | 1210343.3468 | 2752376.5098 | 1210351.8636 | 2752361.2125 | 1210360.7952
105 | 2752382.6254 | 1210235.4733 | 2752348.4267 | 1210087.0255
106 | 2752361.2125 | 1210360.7952 | 2752355.1053 | 1210364.3609
107 | 2752348.4267 | 1210087.0255 | 2752190.5955 | 1210132.0979
108 | 2752348.4267 | 1210087.0255 | 2752437.6388 | 1210084.5642
109 | 2752355.1053 | 1210364.3609 | 2752354.3439 | 1210364.8055
110 | 2752427.0984 | 1210558.9819 | 2752443.3304 | 1210541.0587
111 | 2752329.1915 | 1210379.491 | 2752348.7545 | 1210368.0689
112 | 2752348.7545 | 1210368.0689 | 2752354.1643 | 1210364.9104
113 | 2752329.1915 | 1210379.491 | 2752327.9859 | 1210380.1949
114 | 2752354.3439 | 1210364.8055 | 2752354.1643 | 1210364.9104
115 | 2752320.3129 | 1210384.6749 | 2752327.9859 | 1210380.1949
116 | 2752266.2525 | 1210416.2387 | 2752320.3129 | 1210384.6749
117 | 2752266.2525 | 1210416.2387 | 2752250.8881 | 1210425.124
118 | 2752250.8881 | 1210425.124 | 2752248.1205 | 1210426.7245

## bus_geodata
| x | y | coords
0 | 2752598.2708 | 1210334.239
1 | 2752635.0953 | 1210314.1842
2 | 2752590.0037 | 1210338.7414
3 | 2752624.8174 | 1210300.7748
4 | 2752581.7714 | 1210343.3683
5 | 2752678.2854 | 1210346.0728
6 | 2752669.0859 | 1210316.3113
7 | 2752687.8788 | 1210375.5998
8 | 2752641.7801 | 1210363.799
9 | 2752653.0097 | 1210283.6602
10 | 2752691.3903 | 1210309.5782
11 | 2752583.0307 | 1210359.826
12 | 2752574.6919 | 1210331.8688
13 | 2752601.9571 | 1210361.3447
14 | 2752607.9163 | 1210372.2255
15 | 2752684.6899 | 1210377.0616
16 | 2752710.3326 | 1210369.4333
17 | 2752711.0682 | 1210304.0426
18 | 2752575.6766 | 1210367.105
19 | 2752565.724 | 1210317.3017
20 | 2752618.009 | 1210390.6537
21 | 2752555.6437 | 1210296.9706
22 | 2752535.697 | 1210313.3192
23 | 2752524.1102 | 1210320.0736
24 | 2752799.6272 | 1210371.3667
25 | 2752798.8911 | 1210389.5426
26 | 2752800.3097 | 1210354.5149
27 | 2752798.5861 | 1210397.0746
28 | 2752778.482 | 1210358.2528
29 | 2752798.5567 | 1210397.8004
30 | 2752777.3451 | 1210358.4475
31 | 2752797.5337 | 1210423.0614
32 | 2752723.0929 | 1210367.5262
33 | 2752649.0053 | 1210393.4208
34 | 2752797.464 | 1210424.7817
35 | 2752797.451 | 1210425.1038
36 | 2752901.0654 | 1210420.9369
37 | 2752897.0279 | 1210447.9858
38 | 2752798.5267 | 1210443.5988
39 | 2752776.7847 | 1210427.8277
40 | 2752653.4421 | 1210415.4134
41 | 2752624.0528 | 1210407.784
42 | 2752658.607 | 1210441.0153
43 | 2752663.1085 | 1210463.3284
44 | 2752763.9067 | 1210429.5251
45 | 2752752.6153 | 1210435.5162
46 | 2752739.472 | 1210443.6578
47 | 2752720.2075 | 1210447.0343
48 | 2752799.1922 | 1210455.0409
49 | 2752800.1065 | 1210470.7606
50 | 2752674.5791 | 1210520.1865
51 | 2752692.9243 | 1210514.2825
52 | 2752688.6016 | 1210584.891
53 | 2752707.5901 | 1210579.4936
54 | 2752558.1594 | 1210643.795
55 | 2752695.2911 | 1210513.5208
56 | 2752452.3716 | 1210593.6829
57 | 2752468.7609 | 1210601.0056
58 | 2752444.3923 | 1210590.1178
59 | 2752740.0029 | 1210570.2802
60 | 2752522.8488 | 1210626.7947
61 | 2752493.7411 | 1210612.7808
62 | 2752476.0212 | 1210604.2495
63 | 2752723.0567 | 1210504.5851
64 | 2752771.5355 | 1210556.6771
65 | 2752786.1454 | 1210544.768
66 | 2752793.7261 | 1210533.3418
67 | 2752812.5447 | 1210623.8873
68 | 2752830.6728 | 1210633.9716
69 | 2752841.3383 | 1210568.2799
70 | 2752887.3263 | 1210648.0688
71 | 2752844.7026 | 1210610.1107
72 | 2752798.5828 | 1210526.0215
73 | 2752905.8705 | 1210616.4917
74 | 2752910.3215 | 1210608.9125
75 | 2752800.4089 | 1210475.9609
76 | 2752896.2757 | 1210450.369
77 | 2752892.4592 | 1210462.4593
78 | 2752800.8481 | 1210483.512
79 | 2752933.3674 | 1210481.0521
80 | 2752887.7281 | 1210475.4881
81 | 2752799.9133 | 1210502.9165
82 | 2752976.7126 | 1210500.7525
83 | 2752962.0779 | 1210494.101
84 | 2752979.3404 | 1210502.0655
85 | 2752884.4892 | 1210483.6484
86 | 2752877.4195 | 1210499.2215
87 | 2752935.492 | 1210482.0177
88 | 2752861.7609 | 1210530.2409
89 | 2752970.1794 | 1210518.3468
90 | 2752962.5687 | 1210531.8728
91 | 2752906.4427 | 1210600.3941
92 | 2752892.1268 | 1210591.6421
93 | 2752952.579 | 1210592.3246
94 | 2752958.1015 | 1210582.6919
95 | 2752935.1678 | 1210622.6948
96 | 2752898.4709 | 1210578.9464
97 | 2752908.8876 | 1210560.525
98 | 2752914.4617 | 1210550.6674
99 | 2752924.3943 | 1210616.4991
100 | 2752731.2273 | 1210501.9556
101 | 2752735.4582 | 1210500.594
102 | 2752422.0038 | 1210332.9424
103 | 2752382.6254 | 1210235.4733
104 | 2752361.2125 | 1210360.7952
105 | 2752348.4267 | 1210087.0255
106 | 2752355.1053 | 1210364.3609
107 | 2752443.3304 | 1210541.0587
108 | 2752427.0984 | 1210558.9819
109 | 2752348.7545 | 1210368.0689
110 | 2752329.1915 | 1210379.491
111 | 2752354.1643 | 1210364.9104
112 | 2752320.3129 | 1210384.6749
113 | 2752327.9859 | 1210380.1949
114 | 2752266.2525 | 1210416.2387
115 | 2752354.3439 | 1210364.8055
116 | 2752250.8881 | 1210425.124
117 | 2752248.1205 | 1210426.7245
118 | 2752437.6388 | 1210084.5642
119 | 2752190.5955 | 1210132.0979
120 | 2752797.451 | 1210425.1038

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1