## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3297-8_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3297-8_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3297-8_0_2_node_5 | 0.4 | n |  | TRUE
3 | bus_LV_3297-8_0_2_node_132 | 0.4 | n |  | TRUE
4 | bus_LV_3297-8_0_2_node_98 | 0.4 | n |  | TRUE
5 | bus_LV_3297-8_0_2_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_3297-8_0_2_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_3297-8_0_2_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_3297-8_0_2_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_3297-8_0_2_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_3297-8_0_2_node_47 | 0.4 | n |  | TRUE
11 | bus_LV_3297-8_0_2_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_3297-8_0_2_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_3297-8_0_2_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_3297-8_0_2_node_17 | 0.4 | n |  | TRUE
15 | bus_LV_3297-8_0_2_node_18 | 0.4 | n |  | TRUE
16 | bus_LV_3297-8_0_2_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_3297-8_0_2_node_21 | 0.4 | n |  | TRUE
18 | bus_LV_3297-8_0_2_node_22 | 0.4 | n |  | TRUE
19 | bus_LV_3297-8_0_2_node_23 | 0.4 | n |  | TRUE
20 | bus_LV_3297-8_0_2_node_26 | 0.4 | n |  | TRUE
21 | bus_LV_3297-8_0_2_node_123 | 0.4 | n |  | TRUE
22 | bus_LV_3297-8_0_2_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_3297-8_0_2_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_3297-8_0_2_node_27 | 0.4 | n |  | TRUE
25 | bus_LV_3297-8_0_2_node_29 | 0.4 | n |  | TRUE
26 | bus_LV_3297-8_0_2_node_28 | 0.4 | n |  | TRUE
27 | bus_LV_3297-8_0_2_node_30 | 0.4 | n |  | TRUE
28 | bus_LV_3297-8_0_2_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_3297-8_0_2_node_41 | 0.4 | n |  | TRUE
30 | bus_LV_3297-8_0_2_node_62 | 0.4 | n |  | TRUE
31 | bus_LV_3297-8_0_2_node_60 | 0.4 | n |  | TRUE
32 | bus_LV_3297-8_0_2_node_32 | 0.4 | n |  | TRUE
33 | bus_LV_3297-8_0_2_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_3297-8_0_2_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_3297-8_0_2_node_35 | 0.4 | n |  | TRUE
36 | bus_LV_3297-8_0_2_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_3297-8_0_2_node_37 | 0.4 | n |  | TRUE
38 | bus_LV_3297-8_0_2_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_3297-8_0_2_node_39 | 0.4 | n |  | TRUE
40 | bus_LV_3297-8_0_2_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_3297-8_0_2_node_44 | 0.4 | n |  | TRUE
42 | bus_LV_3297-8_0_2_node_51 | 0.4 | n |  | TRUE
43 | bus_LV_3297-8_0_2_node_50 | 0.4 | n |  | TRUE
44 | bus_LV_3297-8_0_2_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_3297-8_0_2_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_3297-8_0_2_node_54 | 0.4 | n |  | TRUE
47 | bus_LV_3297-8_0_2_node_61 | 0.4 | n |  | TRUE
48 | bus_LV_3297-8_0_2_node_45 | 0.4 | n |  | TRUE
49 | bus_LV_3297-8_0_2_node_46 | 0.4 | n |  | TRUE
50 | bus_LV_3297-8_0_2_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_3297-8_0_2_node_49 | 0.4 | n |  | TRUE
52 | bus_LV_3297-8_0_2_node_52 | 0.4 | n |  | TRUE
53 | bus_LV_3297-8_0_2_node_53 | 0.4 | n |  | TRUE
54 | bus_LV_3297-8_0_2_node_55 | 0.4 | n |  | TRUE
55 | bus_LV_3297-8_0_2_node_56 | 0.4 | n |  | TRUE
56 | bus_LV_3297-8_0_2_node_57 | 0.4 | n |  | TRUE
57 | bus_LV_3297-8_0_2_node_58 | 0.4 | n |  | TRUE
58 | bus_LV_3297-8_0_2_node_59 | 0.4 | n |  | TRUE
59 | bus_LV_3297-8_0_2_node_79 | 0.4 | n |  | TRUE
60 | bus_LV_3297-8_0_2_node_71 | 0.4 | n |  | TRUE
61 | bus_LV_3297-8_0_2_node_72 | 0.4 | n |  | TRUE
62 | bus_LV_3297-8_0_2_node_73 | 0.4 | n |  | TRUE
63 | bus_LV_3297-8_0_2_node_74 | 0.4 | n |  | TRUE
64 | bus_LV_3297-8_0_2_node_75 | 0.4 | n |  | TRUE
65 | bus_LV_3297-8_0_2_node_76 | 0.4 | n |  | TRUE
66 | bus_LV_3297-8_0_2_node_77 | 0.4 | n |  | TRUE
67 | bus_LV_3297-8_0_2_node_99 | 0.4 | n |  | TRUE
68 | bus_LV_3297-8_0_2_node_78 | 0.4 | n |  | TRUE
69 | bus_LV_3297-8_0_2_node_80 | 0.4 | n |  | TRUE
70 | bus_LV_3297-8_0_2_node_81 | 0.4 | n |  | TRUE
71 | bus_LV_3297-8_0_2_node_83 | 0.4 | n |  | TRUE
72 | bus_LV_3297-8_0_2_node_82 | 0.4 | n |  | TRUE
73 | bus_MV_238_0_node_84 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3297-8_0_2_load_0 | 0 | 0.0020655 | 0.00051767 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3297-8_0_2_load_1 | 1 | 0.0023546 | 0.00059012 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3297-8_0_2_load_5 | 2 | 0.0010748 | 0.00026937 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3297-8_0_2_load_132 | 3 | 0.0022753 | 0.00057024 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3297-8_0_2_load_98 | 4 | 0.0034856 | 0.00087357 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3297-8_0_2_load_6 | 5 | 0.0039711 | 0.00099525 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3297-8_0_2_load_7 | 6 | 0.001637 | 0.00041026 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3297-8_0_2_load_8 | 7 | 0.0023747 | 0.00059516 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3297-8_0_2_load_9 | 8 | 0.0016959 | 0.00042502 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3297-8_0_2_load_10 | 9 | 0.0016674 | 0.0004179 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3297-8_0_2_load_11 | 11 | 0.0024584 | 0.00061612 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3297-8_0_2_load_12 | 12 | 0.0015649 | 0.00039221 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3297-8_0_2_load_17 | 14 | 0.0017795 | 0.00044597 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3297-8_0_2_load_18 | 15 | 0.002536 | 0.00063557 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3297-8_0_2_load_16 | 16 | 0.0031066 | 0.00077858 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3297-8_0_2_load_21 | 17 | 0.0019338 | 0.00048466 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3297-8_0_2_load_22 | 18 | 0.00089882 | 0.00022527 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3297-8_0_2_load_23 | 19 | 0.002087 | 0.00052306 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3297-8_0_2_load_123 | 21 | 0.0050078 | 0.0012551 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3297-8_0_2_load_24 | 22 | 0.0020481 | 0.00051331 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3297-8_0_2_load_25 | 23 | 0.0014169 | 0.00035512 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3297-8_0_2_load_27 | 24 | 0.0017997 | 0.00045106 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3297-8_0_2_load_29 | 25 | 0.001295 | 0.00032456 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3297-8_0_2_load_30 | 27 | 0.0012506 | 0.00031344 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3297-8_0_2_load_31 | 28 | 0.0011913 | 0.00029856 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3297-8_0_2_load_41 | 29 | 0.0013674 | 0.0003427 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3297-8_0_2_load_62 | 30 | 0.0015243 | 0.00038202 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3297-8_0_2_load_60 | 31 | 0.0011257 | 0.00028212 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3297-8_0_2_load_32 | 32 | 0.0013003 | 0.0003259 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3297-8_0_2_load_33 | 33 | 0.0021104 | 0.00052892 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3297-8_0_2_load_35 | 35 | 0.00088795 | 0.00022254 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3297-8_0_2_load_36 | 36 | 0.0030566 | 0.00076606 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3297-8_0_2_load_37 | 37 | 0.0016151 | 0.00040479 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3297-8_0_2_load_39 | 39 | 0.0051753 | 0.001297 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3297-8_0_2_load_44 | 41 | 0.0024102 | 0.00060406 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3297-8_0_2_load_51 | 42 | 0.0020821 | 0.00052181 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3297-8_0_2_load_50 | 43 | 0.0013443 | 0.00033692 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3297-8_0_2_load_42 | 44 | 0.0011494 | 0.00028808 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3297-8_0_2_load_43 | 45 | 0.00078001 | 0.00019549 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3297-8_0_2_load_54 | 46 | 0.0012787 | 0.00032048 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3297-8_0_2_load_61 | 47 | 0.0014095 | 0.00035327 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3297-8_0_2_load_45 | 48 | 0.0038256 | 0.0009588 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3297-8_0_2_load_46 | 49 | 0.0026929 | 0.00067491 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3297-8_0_2_load_48 | 50 | 0.0024495 | 0.0006139 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3297-8_0_2_load_49 | 51 | 0.0029456 | 0.00073824 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3297-8_0_2_load_52 | 52 | 0.0011463 | 0.0002873 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3297-8_0_2_load_53 | 53 | 0.0010964 | 0.00027478 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3297-8_0_2_load_55 | 54 | 0.00094731 | 0.00023742 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3297-8_0_2_load_56 | 55 | 0.0019896 | 0.00049865 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3297-8_0_2_load_57 | 56 | 0.0012486 | 0.00031292 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3297-8_0_2_load_58 | 57 | 0.0012372 | 0.00031006 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3297-8_0_2_load_59 | 58 | 0.00072027 | 0.00018052 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3297-8_0_2_load_79 | 59 | 0.0019606 | 0.00049138 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3297-8_0_2_load_71 | 60 | 0.0012924 | 0.00032391 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3297-8_0_2_load_72 | 61 | 0.0030778 | 0.00077137 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3297-8_0_2_load_74 | 63 | 0.00082264 | 0.00020617 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3297-8_0_2_load_76 | 65 | 0.041146 | 0.010312 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3297-8_0_2_load_77 | 66 | 0.0013675 | 0.00034274 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3297-8_0_2_load_99 | 67 | 0.0038889 | 0.00097464 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3297-8_0_2_load_78 | 68 | 0.00046288 | 0.00011601 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3297-8_0_2_load_81 | 70 | 0.0020553 | 0.0005151 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3297-8_0_2_load_83 | 71 | 0.070952 | 0.017782 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3297-8_0_2_load_82 | 72 | 0.011835 | 0.0029662 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3297-8_0_2_line_0 |  | 0 | 1 | 0.019909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3297-8_0_2_line_1 |  | 1 | 2 | 0.046192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3297-8_0_2_line_2 |  | 2 | 5 | 0.018858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3297-8_0_2_line_3 |  | 3 | 4 | 0.043005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3297-8_0_2_line_4 |  | 4 | 26 | 0.10261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3297-8_0_2_line_5 |  | 5 | 6 | 0.0059313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3297-8_0_2_line_6 |  | 6 | 7 | 0.011895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3297-8_0_2_line_7 |  | 7 | 8 | 0.0061336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3297-8_0_2_line_8 |  | 8 | 9 | 0.023124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3297-8_0_2_line_9 |  | 9 | 10 | 0.031758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3297-8_0_2_line_10 |  | 10 | 18 | 0.021278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3297-8_0_2_line_11 |  | 10 | 38 | 0.028673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3297-8_0_2_line_12 |  | 11 | 12 | 0.019733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3297-8_0_2_line_13 |  | 12 | 13 | 0.028791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3297-8_0_2_line_14 |  | 13 | 14 | 0.014504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3297-8_0_2_line_15 |  | 13 | 15 | 0.015806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3297-8_0_2_line_16 |  | 14 | 18 | 0.012869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3297-8_0_2_line_17 |  | 15 | 19 | 0.0010044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3297-8_0_2_line_18 |  | 16 | 17 | 0.0036399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3297-8_0_2_line_19 |  | 17 | 20 | 0.021287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3297-8_0_2_line_20 |  | 19 | 21 | 0.04093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3297-8_0_2_line_21 |  | 20 | 22 | 0.016318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3297-8_0_2_line_22 |  | 22 | 23 | 0.020755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3297-8_0_2_line_23 |  | 23 | 24 | 0.001288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3297-8_0_2_line_24 |  | 24 | 25 | 0.027819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3297-8_0_2_line_25 |  | 25 | 29 | 0.00028665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3297-8_0_2_line_26 |  | 26 | 27 | 0.018792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3297-8_0_2_line_27 |  | 26 | 28 | 0.017721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3297-8_0_2_line_28 |  | 27 | 30 | 0.034262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3297-8_0_2_line_29 |  | 28 | 31 | 0.016997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3297-8_0_2_line_30 |  | 29 | 44 | 0.002793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3297-8_0_2_line_31 |  | 30 | 59 | 0.050556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3297-8_0_2_line_32 |  | 31 | 57 | 0.010581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3297-8_0_2_line_33 |  | 32 | 33 | 0.013885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3297-8_0_2_line_34 |  | 32 | 34 | 0.024559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3297-8_0_2_line_35 |  | 33 | 35 | 0.0086483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3297-8_0_2_line_36 |  | 34 | 36 | 0.023905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3297-8_0_2_line_37 |  | 34 | 37 | 0.017163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3297-8_0_2_line_38 |  | 35 | 38 | 0.0070009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3297-8_0_2_line_39 |  | 36 | 39 | 0.02269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3297-8_0_2_line_40 |  | 37 | 40 | 0.011689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3297-8_0_2_line_41 |  | 38 | 41 | 0.020852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3297-8_0_2_line_42 |  | 40 | 42 | 0.030492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3297-8_0_2_line_43 |  | 40 | 43 | 0.023376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3297-8_0_2_line_44 |  | 41 | 48 | 0.029042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3297-8_0_2_line_45 |  | 42 | 52 | 0.00024389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3297-8_0_2_line_46 |  | 44 | 45 | 0.042364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3297-8_0_2_line_47 |  | 45 | 46 | 0.01209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3297-8_0_2_line_48 |  | 45 | 47 | 0.014367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3297-8_0_2_line_49 |  | 46 | 53 | 0.0048795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3297-8_0_2_line_50 |  | 47 | 58 | 0.0045684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3297-8_0_2_line_51 |  | 48 | 49 | 0.00012216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3297-8_0_2_line_52 |  | 49 | 50 | 0.025947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3297-8_0_2_line_53 |  | 50 | 51 | 0.0072051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3297-8_0_2_line_54 |  | 52 | 53 | 0.020096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3297-8_0_2_line_55 |  | 54 | 55 | 0.013479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3297-8_0_2_line_56 |  | 54 | 56 | 0.0050305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3297-8_0_2_line_57 |  | 55 | 57 | 0.030588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3297-8_0_2_line_58 |  | 56 | 58 | 0.011683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3297-8_0_2_line_59 |  | 59 | 68 | 0.0035975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3297-8_0_2_line_60 |  | 60 | 61 | 0.037227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3297-8_0_2_line_61 |  | 60 | 62 | 0.050441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3297-8_0_2_line_62 |  | 61 | 63 | 0.0050529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3297-8_0_2_line_63 |  | 62 | 64 | 0.005905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3297-8_0_2_line_64 |  | 63 | 65 | 0.0095164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3297-8_0_2_line_65 |  | 64 | 66 | 0.034619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3297-8_0_2_line_66 |  | 65 | 67 | 0.0009124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3297-8_0_2_line_67 |  | 67 | 71 | 0.10223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3297-8_0_2_line_68 |  | 68 | 69 | 0.01274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3297-8_0_2_line_69 |  | 69 | 70 | 0.0012021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3297-8_0_2_line_70 |  | 70 | 71 | 0.016098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3297-8_0_2_line_71 |  | 70 | 72 | 0.073917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3297-8_0_2_trafo_62 | 0.63 MVA 20/0.4 kV | 73 | 30 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2752884.4159 | 1210834.7858 | 2752903.6 | 1210829.4642
1 | 2752941.2956 | 1210856.1613 | 2752903.6 | 1210829.4642
2 | 2752941.2956 | 1210856.1613 | 2752958.7146 | 1210863.3865
3 | 2753166.6129 | 1210724.7118 | 2753163.3559 | 1210767.5932
4 | 2753149.6164 | 1210869.2793 | 2753163.3559 | 1210767.5932
5 | 2752958.7146 | 1210863.3865 | 2752964.1933 | 1210865.6589
6 | 2752964.1933 | 1210865.6589 | 2752975.1803 | 1210870.2162
7 | 2752980.8459 | 1210872.5662 | 2752975.1803 | 1210870.2162
8 | 2752980.8459 | 1210872.5662 | 2752999.2157 | 1210880.1857 | 2753002.4213 | 1210880.6338
9 | 2753032.834 | 1210873.2863 | 2753013.6891 | 1210880.3459 | 2753006.3301 | 1210881.1802 | 2753002.4213 | 1210880.6338
10 | 2753032.834 | 1210873.2863 | 2753027.8914 | 1210852.5902
11 | 2753032.834 | 1210873.2863 | 2753041.1015 | 1210900.7448
12 | 2752975.878 | 1210809.5268 | 2752994.4445 | 1210816.2121
13 | 2753021.533 | 1210825.9659 | 2752994.4445 | 1210816.2121
14 | 2753021.533 | 1210825.9659 | 2753024.9021 | 1210840.0731
15 | 2753021.533 | 1210825.9659 | 2753026.3431 | 1210810.9093
16 | 2753027.8914 | 1210852.5902 | 2753024.9021 | 1210840.0731
17 | 2753026.3431 | 1210810.9093 | 2753026.6488 | 1210809.9525
18 | 2753080.0556 | 1210846.2222 | 2753076.616 | 1210845.0317
19 | 2753100.172 | 1210853.1851 | 2753080.0556 | 1210846.2222
20 | 2753016.0033 | 1210781.4884 | 2753032.5051 | 1210787.4689 | 2753032.5176 | 1210791.128 | 2753028.9578 | 1210802.7247 | 2753026.6488 | 1210809.9525
21 | 2753100.172 | 1210853.1851 | 2753104.6453 | 1210868.8778
22 | 2753110.335 | 1210888.8373 | 2753104.6453 | 1210868.8778
23 | 2753110.335 | 1210888.8373 | 2753110.6881 | 1210890.076
24 | 2753110.6881 | 1210890.076 | 2753118.3142 | 1210916.8289
25 | 2753118.3142 | 1210916.8289 | 2753118.3928 | 1210917.1046
26 | 2753149.6164 | 1210869.2793 | 2753167.4861 | 1210875.0945
27 | 2753149.6164 | 1210869.2793 | 2753154.5092 | 1210886.3119
28 | 2753200.0665 | 1210885.6967 | 2753167.4861 | 1210875.0945
29 | 2753154.5092 | 1210886.3119 | 2753159.2021 | 1210902.6487
30 | 2753118.3928 | 1210917.1046 | 2753119.1585 | 1210919.7906
31 | 2753248.1411 | 1210901.3411 | 2753200.0665 | 1210885.6967
32 | 2753162.1235 | 1210912.8185 | 2753159.2021 | 1210902.6487
33 | 2753045.7641 | 1210915.6832 | 2753049.9011 | 1210928.9375
34 | 2753057.2185 | 1210952.3815 | 2753049.9011 | 1210928.9375
35 | 2753043.1874 | 1210907.4277 | 2753045.7641 | 1210915.6832
36 | 2753057.2185 | 1210952.3815 | 2753034.2867 | 1210959.132
37 | 2753057.2185 | 1210952.3815 | 2753062.325 | 1210968.7667
38 | 2753041.1015 | 1210900.7448 | 2753043.1874 | 1210907.4277
39 | 2753011.9023 | 1210962.3946 | 2753029.1773 | 1210960.6361 | 2753034.2867 | 1210959.132
40 | 2753065.8029 | 1210979.926 | 2753062.325 | 1210968.7667
41 | 2753041.1015 | 1210900.7448 | 2753021.1025 | 1210906.6495
42 | 2753065.8029 | 1210979.926 | 2753095.0211 | 1210971.2039
43 | 2753065.8029 | 1210979.926 | 2753071.9249 | 1211002.4862
44 | 2752993.2495 | 1210914.8732 | 2753021.1025 | 1210906.6495
45 | 2753095.2548 | 1210971.1341 | 2753095.0211 | 1210971.2039
46 | 2753130.7721 | 1210960.5316 | 2753119.1585 | 1210919.7906
47 | 2753130.7721 | 1210960.5316 | 2753119.187 | 1210963.99
48 | 2753130.7721 | 1210960.5316 | 2753144.5047 | 1210956.3105
49 | 2753114.5114 | 1210965.3857 | 2753119.187 | 1210963.99
50 | 2753148.8715 | 1210954.9682 | 2753144.5047 | 1210956.3105
51 | 2752993.1324 | 1210914.9078 | 2752993.2495 | 1210914.8732
52 | 2752993.1324 | 1210914.9078 | 2752968.2478 | 1210922.2551
53 | 2752961.3376 | 1210924.2953 | 2752968.2478 | 1210922.2551
54 | 2753095.2548 | 1210971.1341 | 2753114.5114 | 1210965.3857
55 | 2753164.8475 | 1210950.0574 | 2753172.1739 | 1210947.8054 | 2753170.5687 | 1210942.2172
56 | 2753164.8475 | 1210950.0574 | 2753160.039 | 1210951.5355
57 | 2753162.1235 | 1210912.8185 | 2753170.5687 | 1210942.2172
58 | 2753148.8715 | 1210954.9682 | 2753160.039 | 1210951.5355
59 | 2753248.1411 | 1210901.3411 | 2753251.562 | 1210902.4543
60 | 2753355.8461 | 1210836.7332 | 2753390.9023 | 1210849.2585
61 | 2753438.4021 | 1210866.2299 | 2753390.9023 | 1210849.2585
62 | 2753355.8461 | 1210836.7332 | 2753351.0878 | 1210835.0331
63 | 2753438.4021 | 1210866.2299 | 2753440.0385 | 1210860.5558
64 | 2753351.0878 | 1210835.0331 | 2753342.1263 | 1210831.8312
65 | 2753440.0385 | 1210860.5558 | 2753449.6259 | 1210827.2908
66 | 2753342.1263 | 1210831.8312 | 2753341.267 | 1210831.5242
67 | 2753279.6325 | 1210913.0819 | 2753341.267 | 1210831.5242
68 | 2753263.6765 | 1210906.3966 | 2753251.562 | 1210902.4543
69 | 2753263.6765 | 1210906.3966 | 2753264.7852 | 1210906.8611
70 | 2753264.7852 | 1210906.8611 | 2753279.6325 | 1210913.0819
71 | 2753264.7852 | 1210906.8611 | 2753241.6717 | 1210977.0714

## bus_geodata
| x | y | coords
0 | 2752884.4159 | 1210834.7858
1 | 2752903.6 | 1210829.4642
2 | 2752941.2956 | 1210856.1613
3 | 2753166.6129 | 1210724.7118
4 | 2753163.3559 | 1210767.5932
5 | 2752958.7146 | 1210863.3865
6 | 2752964.1933 | 1210865.6589
7 | 2752975.1803 | 1210870.2162
8 | 2752980.8459 | 1210872.5662
9 | 2753002.4213 | 1210880.6338
10 | 2753032.834 | 1210873.2863
11 | 2752975.878 | 1210809.5268
12 | 2752994.4445 | 1210816.2121
13 | 2753021.533 | 1210825.9659
14 | 2753024.9021 | 1210840.0731
15 | 2753026.3431 | 1210810.9093
16 | 2753076.616 | 1210845.0317
17 | 2753080.0556 | 1210846.2222
18 | 2753027.8914 | 1210852.5902
19 | 2753026.6488 | 1210809.9525
20 | 2753100.172 | 1210853.1851
21 | 2753016.0033 | 1210781.4884
22 | 2753104.6453 | 1210868.8778
23 | 2753110.335 | 1210888.8373
24 | 2753110.6881 | 1210890.076
25 | 2753118.3142 | 1210916.8289
26 | 2753149.6164 | 1210869.2793
27 | 2753167.4861 | 1210875.0945
28 | 2753154.5092 | 1210886.3119
29 | 2753118.3928 | 1210917.1046
30 | 2753200.0665 | 1210885.6967
31 | 2753159.2021 | 1210902.6487
32 | 2753049.9011 | 1210928.9375
33 | 2753045.7641 | 1210915.6832
34 | 2753057.2185 | 1210952.3815
35 | 2753043.1874 | 1210907.4277
36 | 2753034.2867 | 1210959.132
37 | 2753062.325 | 1210968.7667
38 | 2753041.1015 | 1210900.7448
39 | 2753011.9023 | 1210962.3946
40 | 2753065.8029 | 1210979.926
41 | 2753021.1025 | 1210906.6495
42 | 2753095.0211 | 1210971.2039
43 | 2753071.9249 | 1211002.4862
44 | 2753119.1585 | 1210919.7906
45 | 2753130.7721 | 1210960.5316
46 | 2753119.187 | 1210963.99
47 | 2753144.5047 | 1210956.3105
48 | 2752993.2495 | 1210914.8732
49 | 2752993.1324 | 1210914.9078
50 | 2752968.2478 | 1210922.2551
51 | 2752961.3376 | 1210924.2953
52 | 2753095.2548 | 1210971.1341
53 | 2753114.5114 | 1210965.3857
54 | 2753164.8475 | 1210950.0574
55 | 2753170.5687 | 1210942.2172
56 | 2753160.039 | 1210951.5355
57 | 2753162.1235 | 1210912.8185
58 | 2753148.8715 | 1210954.9682
59 | 2753248.1411 | 1210901.3411
60 | 2753390.9023 | 1210849.2585
61 | 2753355.8461 | 1210836.7332
62 | 2753438.4021 | 1210866.2299
63 | 2753351.0878 | 1210835.0331
64 | 2753440.0385 | 1210860.5558
65 | 2753342.1263 | 1210831.8312
66 | 2753449.6259 | 1210827.2908
67 | 2753341.267 | 1210831.5242
68 | 2753251.562 | 1210902.4543
69 | 2753263.6765 | 1210906.3966
70 | 2753264.7852 | 1210906.8611
71 | 2753279.6325 | 1210913.0819
72 | 2753241.6717 | 1210977.0714
73 | 2753149.6164 | 1210869.2793

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1