## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3338-3_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3338-3_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3338-3_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3338-3_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3338-3_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3338-3_0_5_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_3338-3_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_3338-3_0_5_node_72 | 0.4 | n |  | TRUE
8 | bus_LV_3338-3_0_5_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_3338-3_0_5_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_3338-3_0_5_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_3338-3_0_5_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_3338-3_0_5_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_3338-3_0_5_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_3338-3_0_5_node_37 | 0.4 | n |  | TRUE
15 | bus_LV_3338-3_0_5_node_70 | 0.4 | n |  | TRUE
16 | bus_LV_3338-3_0_5_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_3338-3_0_5_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_3338-3_0_5_node_31 | 0.4 | n |  | TRUE
19 | bus_LV_3338-3_0_5_node_24 | 0.4 | n |  | TRUE
20 | bus_LV_3338-3_0_5_node_32 | 0.4 | n |  | TRUE
21 | bus_LV_3338-3_0_5_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_3338-3_0_5_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_3338-3_0_5_node_62 | 0.4 | n |  | TRUE
24 | bus_LV_3338-3_0_5_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_3338-3_0_5_node_29 | 0.4 | n |  | TRUE
26 | bus_LV_3338-3_0_5_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_3338-3_0_5_node_69 | 0.4 | n |  | TRUE
28 | bus_LV_3338-3_0_5_node_71 | 0.4 | n |  | TRUE
29 | bus_LV_3338-3_0_5_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_3338-3_0_5_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_3338-3_0_5_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_3338-3_0_5_node_35 | 0.4 | n |  | TRUE
33 | bus_LV_3338-3_0_5_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_3338-3_0_5_node_56 | 0.4 | n |  | TRUE
35 | bus_LV_3338-3_0_5_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_3338-3_0_5_node_58 | 0.4 | n |  | TRUE
37 | bus_LV_3338-3_0_5_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_3338-3_0_5_node_50 | 0.4 | n |  | TRUE
39 | bus_LV_3338-3_0_5_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_3338-3_0_5_node_61 | 0.4 | n |  | TRUE
41 | bus_LV_3338-3_0_5_node_42 | 0.4 | n |  | TRUE
42 | bus_LV_3338-3_0_5_node_48 | 0.4 | n |  | TRUE
43 | bus_LV_3338-3_0_5_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_3338-3_0_5_node_54 | 0.4 | n |  | TRUE
45 | bus_LV_3338-3_0_5_node_55 | 0.4 | n |  | TRUE
46 | bus_LV_3338-3_0_5_node_68 | 0.4 | n |  | TRUE
47 | bus_LV_3338-3_0_5_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_3338-3_0_5_node_67 | 0.4 | n |  | TRUE
49 | bus_LV_3338-3_0_5_node_57 | 0.4 | n |  | TRUE
50 | bus_LV_3338-3_0_5_node_51 | 0.4 | n |  | TRUE
51 | bus_LV_3338-3_0_5_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_3338-3_0_5_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_3338-3_0_5_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_3338-3_0_5_node_60 | 0.4 | n |  | TRUE
55 | bus_LV_3338-3_0_5_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_3338-3_0_5_node_46 | 0.4 | n |  | TRUE
57 | bus_LV_3338-3_0_5_node_43 | 0.4 | n |  | TRUE
58 | bus_LV_3338-3_0_5_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_3338-3_0_5_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_3338-3_0_5_node_47 | 0.4 | n |  | TRUE
61 | bus_LV_3338-3_0_5_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_3338-3_0_5_node_65 | 0.4 | n |  | TRUE
63 | bus_LV_3338-3_0_5_node_64 | 0.4 | n |  | TRUE
64 | bus_LV_3338-3_0_5_node_63 | 0.4 | n |  | TRUE
65 | bus_LV_3338-3_0_5_node_66 | 0.4 | n |  | TRUE
66 | bus_LV_3338-3_0_5_node_73 | 0.4 | n |  | TRUE
67 | bus_MV_21_1_node_29 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3338-3_0_5_load_0 | 0 | 0.0060844 | 0.0015249 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3338-3_0_5_load_1 | 1 | 0.0025063 | 0.00062814 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3338-3_0_5_load_2 | 2 | 0.0010417 | 0.00026108 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3338-3_0_5_load_3 | 3 | 0.0022543 | 0.00056499 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3338-3_0_5_load_72 | 7 | 0.0076859 | 0.0019263 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3338-3_0_5_load_13 | 8 | 0.011853 | 0.0029705 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3338-3_0_5_load_8 | 10 | 0.099786 | 0.025009 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3338-3_0_5_load_9 | 11 | 0.046393 | 0.011627 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3338-3_0_5_load_11 | 12 | 0.0063369 | 0.0015882 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3338-3_0_5_load_37 | 14 | 0.011572 | 0.0029001 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3338-3_0_5_load_70 | 15 | 0.0041929 | 0.0010508 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3338-3_0_5_load_31 | 18 | 0.0024798 | 0.00062149 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3338-3_0_5_load_32 | 20 | 0.026793 | 0.0067151 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3338-3_0_5_load_62 | 23 | 0.0021928 | 0.00054957 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3338-3_0_5_load_29 | 25 | 0.010156 | 0.0025453 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3338-3_0_5_load_69 | 27 | 0.0027256 | 0.00068311 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3338-3_0_5_load_71 | 28 | 0.0040803 | 0.0010226 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3338-3_0_5_load_30 | 29 | 0.0043132 | 0.001081 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3338-3_0_5_load_35 | 32 | 0.033795 | 0.0084699 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3338-3_0_5_load_56 | 34 | 0.012123 | 0.0030382 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3338-3_0_5_load_58 | 36 | 0.0098543 | 0.0024697 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3338-3_0_5_load_36 | 37 | 0.068162 | 0.017083 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3338-3_0_5_load_50 | 38 | 0.0013014 | 0.00032617 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3338-3_0_5_load_33 | 39 | 0.0058317 | 0.0014616 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3338-3_0_5_load_61 | 40 | 0.0026745 | 0.00067029 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3338-3_0_5_load_40 | 43 | 0.002223 | 0.00055713 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3338-3_0_5_load_54 | 44 | 0.02965 | 0.007431 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3338-3_0_5_load_55 | 45 | 0.026435 | 0.0066253 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3338-3_0_5_load_68 | 46 | 0.0017098 | 0.00042853 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3338-3_0_5_load_34 | 47 | 0.031676 | 0.0079388 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3338-3_0_5_load_67 | 48 | 0.0051828 | 0.0012989 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3338-3_0_5_load_57 | 49 | 0.0078298 | 0.0019623 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3338-3_0_5_load_38 | 51 | 0.0017073 | 0.00042788 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3338-3_0_5_load_39 | 52 | 0.0022599 | 0.00056639 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3338-3_0_5_load_41 | 53 | 0.0022814 | 0.00057178 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3338-3_0_5_load_60 | 54 | 0.0026143 | 0.0006552 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3338-3_0_5_load_46 | 56 | 0.0033895 | 0.0008495 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3338-3_0_5_load_43 | 57 | 0.0045549 | 0.0011416 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3338-3_0_5_load_44 | 58 | 0.0053876 | 0.0013503 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3338-3_0_5_load_53 | 59 | 0.0013461 | 0.00033737 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3338-3_0_5_load_47 | 60 | 0.0034914 | 0.00087503 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3338-3_0_5_load_52 | 61 | 0.0054112 | 0.0013562 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3338-3_0_5_load_65 | 62 | 0.0053136 | 0.0013317 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3338-3_0_5_load_63 | 64 | 0.0021825 | 0.00054699 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3338-3_0_5_load_66 | 65 | 0.0069072 | 0.0017311 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3338-3_0_5_load_73 | 66 | 0.0065408 | 0.0016393 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3338-3_0_5_line_0 |  | 0 | 1 | 0.026115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3338-3_0_5_line_1 |  | 0 | 2 | 0.030716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3338-3_0_5_line_2 |  | 1 | 3 | 0.00041165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3338-3_0_5_line_3 |  | 3 | 4 | 0.035035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3338-3_0_5_line_4 |  | 4 | 5 | 0.15813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3338-3_0_5_line_5 |  | 5 | 8 | 0.057837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3338-3_0_5_line_6 |  | 5 | 6 | 0.086206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3338-3_0_5_line_7 |  | 6 | 7 | 0.011376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3338-3_0_5_line_8 |  | 8 | 9 | 0.031442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3338-3_0_5_line_9 |  | 9 | 13 | 0.071205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3338-3_0_5_line_10 |  | 9 | 10 | 0.025798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3338-3_0_5_line_11 |  | 10 | 11 | 0.044729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3338-3_0_5_line_12 |  | 11 | 12 | 0.015991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_3338-3_0_5_line_13 |  | 12 | 14 | 0.01805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_3338-3_0_5_line_14 |  | 13 | 15 | 0.01634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3338-3_0_5_line_15 |  | 14 | 37 | 0.018111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_3338-3_0_5_line_16 |  | 16 | 17 | 0.030455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3338-3_0_5_line_17 |  | 16 | 18 | 0.016226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3338-3_0_5_line_18 |  | 17 | 19 | 0.015376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3338-3_0_5_line_19 |  | 17 | 20 | 0.044875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_3338-3_0_5_line_20 |  | 18 | 24 | 0.010586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3338-3_0_5_line_21 |  | 19 | 33 | 0.030257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3338-3_0_5_line_22 |  | 19 | 34 | 0.024845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3338-3_0_5_line_23 |  | 20 | 39 | 0.0061707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_3338-3_0_5_line_24 |  | 21 | 22 | 0.016367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3338-3_0_5_line_25 |  | 21 | 23 | 0.018199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3338-3_0_5_line_26 |  | 22 | 26 | 0.012178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3338-3_0_5_line_27 |  | 22 | 27 | 0.015784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3338-3_0_5_line_28 |  | 23 | 40 | 0.0028235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3338-3_0_5_line_29 |  | 24 | 25 | 0.024852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3338-3_0_5_line_30 |  | 25 | 29 | 0.036393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3338-3_0_5_line_31 |  | 26 | 28 | 0.0085645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3338-3_0_5_line_32 |  | 26 | 29 | 0.024965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3338-3_0_5_line_33 |  | 27 | 46 | 0.0095815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3338-3_0_5_line_34 |  | 30 | 31 | 0.016782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_3338-3_0_5_line_35 |  | 30 | 32 | 0.04737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_3338-3_0_5_line_36 |  | 31 | 37 | 0.046405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_3338-3_0_5_line_37 |  | 32 | 47 | 0.025569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_3338-3_0_5_line_38 |  | 33 | 35 | 0.01219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3338-3_0_5_line_39 |  | 33 | 36 | 0.016656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3338-3_0_5_line_40 |  | 34 | 45 | 0.024625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3338-3_0_5_line_41 |  | 35 | 38 | 0.016179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3338-3_0_5_line_42 |  | 36 | 49 | 0.023835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3338-3_0_5_line_43 |  | 38 | 50 | 0.0093562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3338-3_0_5_line_44 |  | 39 | 47 | 0.016661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_3338-3_0_5_line_45 |  | 40 | 64 | 0.0039228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3338-3_0_5_line_46 |  | 41 | 42 | 0.011443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3338-3_0_5_line_47 |  | 41 | 43 | 0.018063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3338-3_0_5_line_48 |  | 42 | 56 | 0.010509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3338-3_0_5_line_49 |  | 43 | 51 | 0.0066892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3338-3_0_5_line_50 |  | 44 | 45 | 0.024582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3338-3_0_5_line_51 |  | 46 | 48 | 0.0074949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3338-3_0_5_line_52 |  | 50 | 61 | 0.016483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3338-3_0_5_line_53 |  | 50 | 59 | 0.0027351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3338-3_0_5_line_54 |  | 51 | 52 | 0.0096006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3338-3_0_5_line_55 |  | 52 | 53 | 0.0074635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3338-3_0_5_line_56 |  | 53 | 54 | 0.026099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3338-3_0_5_line_57 |  | 54 | 55 | 0.00263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3338-3_0_5_line_58 |  | 55 | 59 | 0.0096406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3338-3_0_5_line_59 |  | 55 | 58 | 0.020962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3338-3_0_5_line_60 |  | 56 | 60 | 0.01358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3338-3_0_5_line_61 |  | 57 | 58 | 0.049911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3338-3_0_5_line_62 |  | 62 | 63 | 0.0088336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3338-3_0_5_line_63 |  | 63 | 65 | 0.027539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3338-3_0_5_line_64 |  | 63 | 64 | 0.027629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3338-3_0_5_line_65 |  | 65 | 66 | 0.021819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3338-3_0_5_trafo_32 | 0.63 MVA 20/0.4 kV | 67 | 20 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2714231.899 | 1231397.1714 | 2714239.287 | 1231398.5861 | 2714245.2577 | 1231399.7017 | 2714257.5394 | 1231402.1247
1 | 2714231.899 | 1231397.1714 | 2714230.1847 | 1231396.8432 | 2714226.1747 | 1231397.7668 | 2714222.974 | 1231401.1191 | 2714218.7695 | 1231420.8974
2 | 2714257.9432 | 1231402.2044 | 2714257.5394 | 1231402.1247
3 | 2714292.3362 | 1231408.8803 | 2714275.6712 | 1231405.6908 | 2714269.9883 | 1231404.5807 | 2714257.9432 | 1231402.2044
4 | 2714292.3362 | 1231408.8803 | 2714286.0151 | 1231440.5502 | 2714307.3874 | 1231445.943 | 2714321.5098 | 1231452.92 | 2714316.7024 | 1231485.0526 | 2714328.1483 | 1231497.2712 | 2714342.625 | 1231510.2375 | 2714349.5096 | 1231512.2714 | 2714354.48 | 1231516.9374 | 2714357.5923 | 1231521.3229
5 | 2714357.5923 | 1231521.3229 | 2714353.5612 | 1231525.3151 | 2714348.2493 | 1231534.0642 | 2714344.2916 | 1231547.2317 | 2714336.6367 | 1231574.3509
6 | 2714288.2166 | 1231527.7272 | 2714287.8901 | 1231515.9562 | 2714332.9971 | 1231510.6193 | 2714342.625 | 1231510.2375 | 2714349.5096 | 1231512.2714 | 2714354.48 | 1231516.9374 | 2714357.5923 | 1231521.3229
7 | 2714288.2166 | 1231527.7272 | 2714288.0113 | 1231534.4619 | 2714285.2206 | 1231538.1667
8 | 2714332.5313 | 1231605.2843 | 2714332.4827 | 1231595.9983 | 2714333.1218 | 1231586.8034 | 2714336.6367 | 1231574.3509
9 | 2714332.5313 | 1231605.2843 | 2714403.9455 | 1231605.4804
10 | 2714332.5313 | 1231605.2843 | 2714306.7487 | 1231604.3855
11 | 2714262.0516 | 1231603.2206 | 2714266.3239 | 1231602.9764 | 2714306.7487 | 1231604.3855
12 | 2714246.934 | 1231607.9743 | 2714253.1101 | 1231605.0907 | 2714259.4836 | 1231603.3674 | 2714262.0516 | 1231603.2206
13 | 2714246.934 | 1231607.9743 | 2714231.0073 | 1231616.4681
14 | 2714403.9455 | 1231605.4804 | 2714403.8787 | 1231621.8198
15 | 2714231.0073 | 1231616.4681 | 2714215.0266 | 1231624.9906
16 | 2714313.018 | 1231667.8691 | 2714318.3229 | 1231666.1698 | 2714322.6938 | 1231663.018 | 2714324.963 | 1231658.8584 | 2714326.2379 | 1231654.802 | 2714331.1826 | 1231654.8971 | 2714336.7425 | 1231654.9041
17 | 2714336.7425 | 1231654.9041 | 2714341.2477 | 1231654.6127 | 2714343.4989 | 1231659.2596 | 2714346.7552 | 1231663.2476 | 2714347.7572 | 1231664.2241
18 | 2714311.8302 | 1231683.1471 | 2714312.5819 | 1231678.7248 | 2714313.064 | 1231675.3203 | 2714313.012 | 1231672.1168 | 2714313.018 | 1231667.8691
19 | 2714313.018 | 1231667.8691 | 2714304.6677 | 1231669.1874 | 2714297.9489 | 1231669.5696 | 2714282.8154 | 1231668.7114 | 2714272.6743 | 1231667.8269 | 2714268.3302 | 1231667.523
20 | 2714356.5667 | 1231669.8414 | 2714350.6663 | 1231667.0591 | 2714347.7572 | 1231664.2241
21 | 2714311.8302 | 1231683.1471 | 2714316.1582 | 1231684.9762 | 2714319.5732 | 1231686.6209 | 2714321.8736 | 1231689.8899 | 2714322.653 | 1231693.0852 | 2714327.5023 | 1231694.5907 | 2714331.1171 | 1231695.6944 | 2714334.3317 | 1231697.5132 | 2714333.0614 | 1231698.9677
22 | 2714311.8302 | 1231683.1471 | 2714304.0622 | 1231680.9738 | 2714295.8202 | 1231679.8145 | 2714287.3856 | 1231679.2139
23 | 2714262.1746 | 1231667.0925 | 2714268.3302 | 1231667.523
24 | 2714425.7174 | 1231689.5873 | 2714442.1204 | 1231690.2147
25 | 2714425.7174 | 1231689.5873 | 2714425.8454 | 1231707.7859
26 | 2714442.1204 | 1231690.2147 | 2714442.0371 | 1231683.9192 | 2714442.2185 | 1231678.0404
27 | 2714442.1204 | 1231690.2147 | 2714457.9042 | 1231690.3192
28 | 2714425.8653 | 1231710.6093 | 2714425.8454 | 1231707.7859
29 | 2714356.5667 | 1231669.8414 | 2714367.2237 | 1231672.6486 | 2714376.3747 | 1231673.4141 | 2714381.0115 | 1231673.7399
30 | 2714417.3147 | 1231676.2906 | 2714381.0115 | 1231673.7399
31 | 2714442.2185 | 1231678.0404 | 2714450.7603 | 1231678.663
32 | 2714442.2185 | 1231678.0404 | 2714417.3147 | 1231676.2906
33 | 2714457.9042 | 1231690.3192 | 2714459.7148 | 1231690.3312 | 2714467.4855 | 1231690.3811
34 | 2714174.0801 | 1231646.8274 | 2714170.2038 | 1231653.0245 | 2714170.7245 | 1231657.4602 | 2714172.7193 | 1231662.0576
35 | 2714172.7193 | 1231662.0576 | 2714201.3126 | 1231663.3633 | 2714220.0314 | 1231664.3921
36 | 2714174.0801 | 1231646.8274 | 2714215.0266 | 1231624.9906
37 | 2714220.0314 | 1231664.3921 | 2714231.8077 | 1231665.0394 | 2714245.5524 | 1231665.9505
38 | 2714321.8189 | 1231703.7553 | 2714333.0614 | 1231698.9677
39 | 2714333.0614 | 1231698.9677 | 2714340.8685 | 1231713.6811
40 | 2714262.834 | 1231677.3144 | 2714276.5606 | 1231678.4432 | 2714287.3856 | 1231679.2139
41 | 2714321.8189 | 1231703.7553 | 2714308.5986 | 1231710.5508 | 2714307.3684 | 1231711.0134
42 | 2714361.3372 | 1231717.3056 | 2714343.7557 | 1231719.1225 | 2714340.8685 | 1231713.6811
43 | 2714298.6108 | 1231714.3062 | 2714307.3684 | 1231711.0134
44 | 2714262.1746 | 1231667.0925 | 2714251.1826 | 1231666.3238 | 2714245.5524 | 1231665.9505
45 | 2714425.8653 | 1231710.6093 | 2714425.8928 | 1231714.5321
46 | 2714218.1531 | 1231730.6728 | 2714210.9299 | 1231739.5632
47 | 2714218.1531 | 1231730.6728 | 2714220.2464 | 1231731.3246 | 2714222.7105 | 1231731.9947 | 2714225.1806 | 1231732.3535 | 2714228.5701 | 1231732.1741 | 2714235.772 | 1231730.3592
48 | 2714210.9299 | 1231739.5632 | 2714212.5637 | 1231742.8416 | 2714214.7582 | 1231749.3262
49 | 2714242.2585 | 1231728.7246 | 2714235.772 | 1231730.3592
50 | 2714238.3239 | 1231675.4627 | 2714244.6143 | 1231675.8161 | 2714262.834 | 1231677.3144
51 | 2714474.9802 | 1231690.4291 | 2714467.4855 | 1231690.3811
52 | 2714298.6108 | 1231714.3062 | 2714302.4898 | 1231730.3262
53 | 2714298.6108 | 1231714.3062 | 2714295.9704 | 1231715.0197
54 | 2714242.2585 | 1231728.7246 | 2714251.568 | 1231726.3786
55 | 2714251.568 | 1231726.3786 | 2714258.8052 | 1231724.5549
56 | 2714284.1132 | 1231718.1773 | 2714258.8052 | 1231724.5549
57 | 2714286.6635 | 1231717.5346 | 2714284.1132 | 1231718.1773
58 | 2714286.6635 | 1231717.5346 | 2714295.9704 | 1231715.0197
59 | 2714286.6635 | 1231717.5346 | 2714292.6214 | 1231737.6322
60 | 2714214.7582 | 1231749.3262 | 2714217.022 | 1231756.0153 | 2714217.4681 | 1231758.8149 | 2714217.1842 | 1231761.367 | 2714216.7577 | 1231762.3979
61 | 2714265.4257 | 1231767.1821 | 2714293.1852 | 1231756.5349 | 2714296.3376 | 1231750.1683 | 2714292.6214 | 1231737.6322
62 | 2714434.0856 | 1231740.4326 | 2714440.1221 | 1231746.8819
63 | 2714434.0856 | 1231740.4326 | 2714424.2841 | 1231746.3041 | 2714414.4891 | 1231746.3379 | 2714408.1757 | 1231746.0816
64 | 2714434.0856 | 1231740.4326 | 2714428.8833 | 1231731.6923 | 2714425.9099 | 1231716.9569 | 2714425.8928 | 1231714.5321
65 | 2714386.3742 | 1231745.1968 | 2714408.1757 | 1231746.0816

## bus_geodata
| x | y | coords
0 | 2714231.899 | 1231397.1714
1 | 2714257.5394 | 1231402.1247
2 | 2714218.7695 | 1231420.8974
3 | 2714257.9432 | 1231402.2044
4 | 2714292.3362 | 1231408.8803
5 | 2714357.5923 | 1231521.3229
6 | 2714288.2166 | 1231527.7272
7 | 2714285.2206 | 1231538.1667
8 | 2714336.6367 | 1231574.3509
9 | 2714332.5313 | 1231605.2843
10 | 2714306.7487 | 1231604.3855
11 | 2714262.0516 | 1231603.2206
12 | 2714246.934 | 1231607.9743
13 | 2714403.9455 | 1231605.4804
14 | 2714231.0073 | 1231616.4681
15 | 2714403.8787 | 1231621.8198
16 | 2714336.7425 | 1231654.9041
17 | 2714313.018 | 1231667.8691
18 | 2714347.7572 | 1231664.2241
19 | 2714311.8302 | 1231683.1471
20 | 2714268.3302 | 1231667.523
21 | 2714425.7174 | 1231689.5873
22 | 2714442.1204 | 1231690.2147
23 | 2714425.8454 | 1231707.7859
24 | 2714356.5667 | 1231669.8414
25 | 2714381.0115 | 1231673.7399
26 | 2714442.2185 | 1231678.0404
27 | 2714457.9042 | 1231690.3192
28 | 2714450.7603 | 1231678.663
29 | 2714417.3147 | 1231676.2906
30 | 2714172.7193 | 1231662.0576
31 | 2714174.0801 | 1231646.8274
32 | 2714220.0314 | 1231664.3921
33 | 2714333.0614 | 1231698.9677
34 | 2714287.3856 | 1231679.2139
35 | 2714321.8189 | 1231703.7553
36 | 2714340.8685 | 1231713.6811
37 | 2714215.0266 | 1231624.9906
38 | 2714307.3684 | 1231711.0134
39 | 2714262.1746 | 1231667.0925
40 | 2714425.8653 | 1231710.6093
41 | 2714218.1531 | 1231730.6728
42 | 2714210.9299 | 1231739.5632
43 | 2714235.772 | 1231730.3592
44 | 2714238.3239 | 1231675.4627
45 | 2714262.834 | 1231677.3144
46 | 2714467.4855 | 1231690.3811
47 | 2714245.5524 | 1231665.9505
48 | 2714474.9802 | 1231690.4291
49 | 2714361.3372 | 1231717.3056
50 | 2714298.6108 | 1231714.3062
51 | 2714242.2585 | 1231728.7246
52 | 2714251.568 | 1231726.3786
53 | 2714258.8052 | 1231724.5549
54 | 2714284.1132 | 1231718.1773
55 | 2714286.6635 | 1231717.5346
56 | 2714214.7582 | 1231749.3262
57 | 2714265.4257 | 1231767.1821
58 | 2714292.6214 | 1231737.6322
59 | 2714295.9704 | 1231715.0197
60 | 2714216.7577 | 1231762.398
61 | 2714302.4898 | 1231730.3262
62 | 2714440.1221 | 1231746.8819
63 | 2714434.0856 | 1231740.4326
64 | 2714425.8928 | 1231714.5321
65 | 2714408.1757 | 1231746.0816
66 | 2714386.3742 | 1231745.1968
67 | 2714313.018 | 1231667.8691

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1