## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3339-5_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3339-5_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3339-5_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3339-5_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3339-5_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3339-5_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3339-5_0_3_node_31 | 0.4 | n |  | TRUE
7 | bus_LV_3339-5_0_3_node_29 | 0.4 | n |  | TRUE
8 | bus_LV_3339-5_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_3339-5_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_3339-5_0_3_node_53 | 0.4 | n |  | TRUE
11 | bus_LV_3339-5_0_3_node_79 | 0.4 | n |  | TRUE
12 | bus_LV_3339-5_0_3_node_54 | 0.4 | n |  | TRUE
13 | bus_LV_3339-5_0_3_node_78 | 0.4 | n |  | TRUE
14 | bus_LV_3339-5_0_3_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_3339-5_0_3_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_3339-5_0_3_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_3339-5_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_3339-5_0_3_node_25 | 0.4 | n |  | TRUE
19 | bus_LV_3339-5_0_3_node_24 | 0.4 | n |  | TRUE
20 | bus_LV_3339-5_0_3_node_52 | 0.4 | n |  | TRUE
21 | bus_LV_3339-5_0_3_node_51 | 0.4 | n |  | TRUE
22 | bus_LV_3339-5_0_3_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_3339-5_0_3_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_3339-5_0_3_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_3339-5_0_3_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_3339-5_0_3_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_3339-5_0_3_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_3339-5_0_3_node_67 | 0.4 | n |  | TRUE
29 | bus_LV_3339-5_0_3_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_3339-5_0_3_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_3339-5_0_3_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_3339-5_0_3_node_55 | 0.4 | n |  | TRUE
33 | bus_LV_3339-5_0_3_node_56 | 0.4 | n |  | TRUE
34 | bus_LV_3339-5_0_3_node_64 | 0.4 | n |  | TRUE
35 | bus_LV_3339-5_0_3_node_57 | 0.4 | n |  | TRUE
36 | bus_LV_3339-5_0_3_node_58 | 0.4 | n |  | TRUE
37 | bus_LV_3339-5_0_3_node_59 | 0.4 | n |  | TRUE
38 | bus_LV_3339-5_0_3_node_60 | 0.4 | n |  | TRUE
39 | bus_LV_3339-5_0_3_node_61 | 0.4 | n |  | TRUE
40 | bus_LV_3339-5_0_3_node_62 | 0.4 | n |  | TRUE
41 | bus_LV_3339-5_0_3_node_63 | 0.4 | n |  | TRUE
42 | bus_LV_3339-5_0_3_node_65 | 0.4 | n |  | TRUE
43 | bus_LV_3339-5_0_3_node_66 | 0.4 | n |  | TRUE
44 | bus_LV_3339-5_0_3_node_20 | 0.4 | n |  | TRUE
45 | bus_LV_3339-5_0_3_node_80 | 0.4 | n |  | TRUE
46 | bus_LV_3339-5_0_3_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_3339-5_0_3_node_21 | 0.4 | n |  | TRUE
48 | bus_LV_3339-5_0_3_node_22 | 0.4 | n |  | TRUE
49 | bus_LV_3339-5_0_3_node_23 | 0.4 | n |  | TRUE
50 | bus_LV_3339-5_0_3_node_26 | 0.4 | n |  | TRUE
51 | bus_LV_3339-5_0_3_node_50 | 0.4 | n |  | TRUE
52 | bus_LV_3339-5_0_3_node_40 | 0.4 | n |  | TRUE
53 | bus_LV_3339-5_0_3_node_35 | 0.4 | n |  | TRUE
54 | bus_LV_3339-5_0_3_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_3339-5_0_3_node_41 | 0.4 | n |  | TRUE
56 | bus_LV_3339-5_0_3_node_34 | 0.4 | n |  | TRUE
57 | bus_LV_3339-5_0_3_node_36 | 0.4 | n |  | TRUE
58 | bus_LV_3339-5_0_3_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_3339-5_0_3_node_68 | 0.4 | n |  | TRUE
60 | bus_LV_3339-5_0_3_node_69 | 0.4 | n |  | TRUE
61 | bus_LV_3339-5_0_3_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_3339-5_0_3_node_81 | 0.4 | n |  | TRUE
63 | bus_LV_3339-5_0_3_node_82 | 0.4 | n |  | TRUE
64 | bus_LV_3339-5_0_3_node_42 | 0.4 | n |  | TRUE
65 | bus_LV_3339-5_0_3_node_74 | 0.4 | n |  | TRUE
66 | bus_LV_3339-5_0_3_node_75 | 0.4 | n |  | TRUE
67 | bus_LV_3339-5_0_3_node_76 | 0.4 | n |  | TRUE
68 | bus_LV_3339-5_0_3_node_71 | 0.4 | n |  | TRUE
69 | bus_LV_3339-5_0_3_node_85 | 0.4 | n |  | TRUE
70 | bus_LV_3339-5_0_3_node_86 | 0.4 | n |  | TRUE
71 | bus_LV_3339-5_0_3_node_90 | 0.4 | n |  | TRUE
72 | bus_LV_3339-5_0_3_node_88 | 0.4 | n |  | TRUE
73 | bus_LV_3339-5_0_3_node_72 | 0.4 | n |  | TRUE
74 | bus_LV_3339-5_0_3_node_89 | 0.4 | n |  | TRUE
75 | bus_LV_3339-5_0_3_node_91 | 0.4 | n |  | TRUE
76 | bus_LV_3339-5_0_3_node_38 | 0.4 | n |  | TRUE
77 | bus_LV_3339-5_0_3_node_39 | 0.4 | n |  | TRUE
78 | bus_LV_3339-5_0_3_node_43 | 0.4 | n |  | TRUE
79 | bus_LV_3339-5_0_3_node_83 | 0.4 | n |  | TRUE
80 | bus_LV_3339-5_0_3_node_44 | 0.4 | n |  | TRUE
81 | bus_LV_3339-5_0_3_node_45 | 0.4 | n |  | TRUE
82 | bus_LV_3339-5_0_3_node_46 | 0.4 | n |  | TRUE
83 | bus_LV_3339-5_0_3_node_47 | 0.4 | n |  | TRUE
84 | bus_LV_3339-5_0_3_node_73 | 0.4 | n |  | TRUE
85 | bus_LV_3339-5_0_3_node_70 | 0.4 | n |  | TRUE
86 | bus_LV_3339-5_0_3_node_87 | 0.4 | n |  | TRUE
87 | bus_LV_3339-5_0_3_node_84 | 0.4 | n |  | TRUE
88 | bus_LV_3339-5_0_3_node_30 | 0.4 | n |  | TRUE
89 | bus_MV_21_1_node_82 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3339-5_0_3_load_0 | 0 | 0.0014002 | 0.00035091 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3339-5_0_3_load_1 | 1 | 0.00067345 | 0.00016878 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3339-5_0_3_load_3 | 3 | 0.0012166 | 0.0003049 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3339-5_0_3_load_4 | 4 | 0.00050086 | 0.00012553 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3339-5_0_3_load_5 | 5 | 0.00082369 | 0.00020644 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3339-5_0_3_load_31 | 6 | 0.00030598 | 7.6685e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3339-5_0_3_load_29 | 7 | 0.0011867 | 0.00029742 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3339-5_0_3_load_7 | 9 | 0.0005843 | 0.00014644 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3339-5_0_3_load_53 | 10 | 0.0022752 | 0.00057021 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3339-5_0_3_load_79 | 11 | 0.00061194 | 0.00015337 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3339-5_0_3_load_78 | 13 | 0.00062707 | 0.00015716 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3339-5_0_3_load_8 | 14 | 0.0031131 | 0.00078022 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3339-5_0_3_load_9 | 15 | 0.0019897 | 0.00049867 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3339-5_0_3_load_25 | 18 | 0.0033954 | 0.00085097 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3339-5_0_3_load_24 | 19 | 0.026069 | 0.0065335 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3339-5_0_3_load_52 | 20 | 0.049825 | 0.012487 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3339-5_0_3_load_13 | 22 | 0.0025589 | 0.00064132 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3339-5_0_3_load_14 | 23 | 0.00076606 | 0.00019199 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3339-5_0_3_load_15 | 24 | 0.00061505 | 0.00015415 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3339-5_0_3_load_17 | 26 | 0.0011793 | 0.00029555 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3339-5_0_3_load_67 | 28 | 0.0017042 | 0.00042712 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3339-5_0_3_load_19 | 29 | 0.034631 | 0.0086794 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3339-5_0_3_load_27 | 30 | 0.00038741 | 9.7094e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3339-5_0_3_load_55 | 32 | 0.0011766 | 0.00029489 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3339-5_0_3_load_56 | 33 | 0.0023273 | 0.00058326 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3339-5_0_3_load_64 | 34 | 0.0054188 | 0.0013581 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3339-5_0_3_load_57 | 35 | 0.0016293 | 0.00040834 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3339-5_0_3_load_58 | 36 | 0.00074716 | 0.00018726 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3339-5_0_3_load_59 | 37 | 0.0014314 | 0.00035874 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3339-5_0_3_load_60 | 38 | 0.00072276 | 0.00018114 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3339-5_0_3_load_62 | 40 | 0.0023836 | 0.00059738 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3339-5_0_3_load_63 | 41 | 0.0020443 | 0.00051235 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3339-5_0_3_load_65 | 42 | 0.0010067 | 0.00025231 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3339-5_0_3_load_66 | 43 | 0.00082469 | 0.00020669 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3339-5_0_3_load_20 | 44 | 0.0055185 | 0.0013831 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3339-5_0_3_load_80 | 45 | 0.00060225 | 0.00015094 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3339-5_0_3_load_32 | 46 | 0.0005267 | 0.000132 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3339-5_0_3_load_22 | 48 | 0.016678 | 0.0041798 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3339-5_0_3_load_23 | 49 | 0.0037904 | 0.00094997 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3339-5_0_3_load_26 | 50 | 0.013565 | 0.0033997 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3339-5_0_3_load_50 | 51 | 0.0099114 | 0.002484 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3339-5_0_3_load_40 | 52 | 0.01316 | 0.0032981 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3339-5_0_3_load_35 | 53 | 0.018036 | 0.0045203 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3339-5_0_3_load_41 | 55 | 0.011246 | 0.0028185 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3339-5_0_3_load_34 | 56 | 0.0032059 | 0.00080348 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3339-5_0_3_load_48 | 61 | 0.0022927 | 0.0005746 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3339-5_0_3_load_81 | 62 | 0.0002677 | 6.7093e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3339-5_0_3_load_82 | 63 | 0.0092341 | 0.0023143 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3339-5_0_3_load_42 | 64 | 0.00051727 | 0.00012964 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3339-5_0_3_load_76 | 67 | 0.0033339 | 0.00083555 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3339-5_0_3_load_86 | 70 | 0.0084935 | 0.0021287 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3339-5_0_3_load_90 | 71 | 0.0054437 | 0.0013643 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3339-5_0_3_load_88 | 72 | 0.0030846 | 0.00077307 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3339-5_0_3_load_91 | 75 | 0.0058023 | 0.0014542 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3339-5_0_3_load_38 | 76 | 0.00078399 | 0.00019649 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3339-5_0_3_load_39 | 77 | 0.00047522 | 0.0001191 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3339-5_0_3_load_44 | 80 | 0.0071184 | 0.001784 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3339-5_0_3_load_45 | 81 | 0.0011574 | 0.00029008 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3339-5_0_3_load_47 | 83 | 0.0030442 | 0.00076295 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3339-5_0_3_load_73 | 84 | 0.0023081 | 0.00057847 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3339-5_0_3_load_87 | 86 | 0.001382 | 0.00034635 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3339-5_0_3_load_84 | 87 | 0.0015329 | 0.00038418 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3339-5_0_3_load_30 | 88 | 0.0020923 | 0.00052437 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 19 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3339-5_0_3_line_0 |  | 0 | 1 | 0.021217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3339-5_0_3_line_1 |  | 0 | 2 | 0.01252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3339-5_0_3_line_2 |  | 1 | 3 | 0.0074162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3339-5_0_3_line_3 |  | 2 | 4 | 0.046763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3339-5_0_3_line_4 |  | 2 | 5 | 0.019559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3339-5_0_3_line_5 |  | 4 | 8 | 0.010765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3339-5_0_3_line_6 |  | 5 | 9 | 0.005858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3339-5_0_3_line_7 |  | 6 | 7 | 0.0095935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3339-5_0_3_line_8 |  | 7 | 88 | 0.011192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3339-5_0_3_line_9 |  | 8 | 10 | 0.033253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3339-5_0_3_line_10 |  | 9 | 11 | 0.0027477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3339-5_0_3_line_11 |  | 10 | 12 | 0.018104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3339-5_0_3_line_12 |  | 11 | 13 | 0.0056632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3339-5_0_3_line_13 |  | 12 | 32 | 0.026402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3339-5_0_3_line_14 |  | 14 | 15 | 0.0060399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3339-5_0_3_line_15 |  | 15 | 16 | 0.0066459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3339-5_0_3_line_16 |  | 16 | 17 | 0.04548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3339-5_0_3_line_17 |  | 17 | 18 | 0.023877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3339-5_0_3_line_18 |  | 18 | 19 | 0.027038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3339-5_0_3_line_19 |  | 19 | 50 | 0.016019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_3339-5_0_3_line_20 |  | 20 | 21 | 0.063587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3339-5_0_3_line_21 |  | 21 | 58 | 0.007105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3339-5_0_3_line_22 |  | 22 | 23 | 0.0037287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3339-5_0_3_line_23 |  | 22 | 24 | 0.02243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3339-5_0_3_line_24 |  | 23 | 25 | 0.10881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3339-5_0_3_line_25 |  | 24 | 26 | 0.023818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3339-5_0_3_line_26 |  | 25 | 27 | 0.027422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3339-5_0_3_line_27 |  | 25 | 28 | 0.1907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3339-5_0_3_line_28 |  | 26 | 29 | 0.011489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3339-5_0_3_line_29 |  | 27 | 30 | 0.068417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3339-5_0_3_line_30 |  | 27 | 31 | 0.12011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3339-5_0_3_line_31 |  | 28 | 43 | 0.0075108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3339-5_0_3_line_32 |  | 29 | 44 | 0.0095655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3339-5_0_3_line_33 |  | 31 | 45 | 0.0283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3339-5_0_3_line_34 |  | 31 | 46 | 0.083012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3339-5_0_3_line_35 |  | 32 | 33 | 0.0051801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3339-5_0_3_line_36 |  | 33 | 34 | 0.024272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3339-5_0_3_line_37 |  | 34 | 40 | 0.0073731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3339-5_0_3_line_38 |  | 35 | 36 | 0.015366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3339-5_0_3_line_39 |  | 35 | 37 | 0.059824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3339-5_0_3_line_40 |  | 36 | 38 | 0.01068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3339-5_0_3_line_41 |  | 37 | 39 | 0.043453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3339-5_0_3_line_42 |  | 38 | 40 | 0.0085061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3339-5_0_3_line_43 |  | 39 | 41 | 0.015307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3339-5_0_3_line_44 |  | 41 | 42 | 0.02778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3339-5_0_3_line_45 |  | 42 | 43 | 0.0090507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3339-5_0_3_line_46 |  | 44 | 47 | 0.043362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3339-5_0_3_line_47 |  | 46 | 88 | 0.0091495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3339-5_0_3_line_48 |  | 47 | 48 | 0.033363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3339-5_0_3_line_49 |  | 47 | 49 | 0.041439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3339-5_0_3_line_50 |  | 48 | 50 | 0.024302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_3339-5_0_3_line_51 |  | 48 | 51 | 0.035253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3339-5_0_3_line_52 |  | 49 | 52 | 0.049894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3339-5_0_3_line_53 |  | 51 | 58 | 0.061097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3339-5_0_3_line_54 |  | 52 | 54 | 0.028901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3339-5_0_3_line_55 |  | 53 | 54 | 0.018835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3339-5_0_3_line_56 |  | 54 | 55 | 0.027404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3339-5_0_3_line_57 |  | 56 | 57 | 0.025305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3339-5_0_3_line_58 |  | 57 | 76 | 0.0044284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3339-5_0_3_line_59 |  | 57 | 77 | 0.0092186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3339-5_0_3_line_60 |  | 58 | 64 | 0.015889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3339-5_0_3_line_61 |  | 59 | 60 | 0.037343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3339-5_0_3_line_62 |  | 59 | 61 | 0.02032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3339-5_0_3_line_63 |  | 60 | 62 | 0.01734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3339-5_0_3_line_64 |  | 61 | 82 | 0.010172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3339-5_0_3_line_65 |  | 62 | 63 | 0.043221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3339-5_0_3_line_66 |  | 64 | 76 | 0.022811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3339-5_0_3_line_67 |  | 65 | 66 | 0.017582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3339-5_0_3_line_68 |  | 65 | 67 | 0.047332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3339-5_0_3_line_69 |  | 65 | 68 | 0.020893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3339-5_0_3_line_70 |  | 66 | 69 | 0.020614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3339-5_0_3_line_71 |  | 66 | 70 | 0.005913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3339-5_0_3_line_72 |  | 68 | 73 | 0.035891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3339-5_0_3_line_73 |  | 68 | 84 | 0.01505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3339-5_0_3_line_74 |  | 68 | 85 | 0.062776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3339-5_0_3_line_75 |  | 69 | 71 | 0.017525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3339-5_0_3_line_76 |  | 72 | 73 | 0.006788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3339-5_0_3_line_77 |  | 73 | 74 | 0.020934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3339-5_0_3_line_78 |  | 74 | 75 | 0.020406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3339-5_0_3_line_79 |  | 77 | 78 | 0.02933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3339-5_0_3_line_80 |  | 78 | 79 | 0.014702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3339-5_0_3_line_81 |  | 79 | 87 | 0.004316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3339-5_0_3_line_82 |  | 79 | 85 | 0.014164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3339-5_0_3_line_83 |  | 80 | 81 | 0.0071986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3339-5_0_3_line_84 |  | 81 | 82 | 0.012139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3339-5_0_3_line_85 |  | 82 | 83 | 0.026687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3339-5_0_3_line_86 |  | 83 | 84 | 0.01747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3339-5_0_3_line_87 |  | 85 | 86 | 0.003326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3339-5_0_3_trafo_24 | 0.63 MVA 20/0.4 kV | 89 | 19 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2714999.6553 | 1232597.0184 | 2715012.7096 | 1232601.6517 | 2715020.0738 | 1232601.5793
1 | 2714987.8564 | 1232592.8306 | 2714999.6553 | 1232597.0184
2 | 2715020.0738 | 1232601.5793 | 2715026.7997 | 1232601.5131 | 2715027.4873 | 1232601.4559
3 | 2714987.8564 | 1232592.8306 | 2714980.907 | 1232573.0918 | 2714968.0982 | 1232550.6534
4 | 2714987.8564 | 1232592.8306 | 2714985.212 | 1232601.8866 | 2714979.0796 | 1232609.9425
5 | 2714962.7616 | 1232541.3048 | 2714968.0982 | 1232550.6534
6 | 2714975.5314 | 1232614.6037 | 2714979.0796 | 1232609.9425
7 | 2715323.3354 | 1232439.1465 | 2715318.4815 | 1232444.4407 | 2715316.4814 | 1232445.7869
8 | 2715323.3354 | 1232439.1465 | 2715324.5017 | 1232437.8745 | 2715327.0512 | 1232428.758
9 | 2714962.7616 | 1232541.3048 | 2714950.7782 | 1232510.2859
10 | 2714973.7514 | 1232616.6795 | 2714974.3008 | 1232616.2202 | 2714975.5314 | 1232614.6037
11 | 2714944.2539 | 1232493.3981 | 2714950.7782 | 1232510.2859
12 | 2714969.4061 | 1232620.3114 | 2714971.7527 | 1232618.3503 | 2714973.7514 | 1232616.6795
13 | 2714944.2539 | 1232493.3981 | 2714940.8015 | 1232474.1496 | 2714940.4206 | 1232467.3139
14 | 2715335.6002 | 1232258.6933 | 2715336.0777 | 1232252.6723
15 | 2715336.6031 | 1232246.0473 | 2715336.0777 | 1232252.6723
16 | 2715336.6031 | 1232246.0473 | 2715339.5714 | 1232246.0938 | 2715338.0544 | 1232235.2781 | 2715341.3551 | 1232234.1968 | 2715360.8817 | 1232233.4195 | 2715368.9589 | 1232230.5407
17 | 2715368.9589 | 1232230.5407 | 2715392.3741 | 1232235.2111
18 | 2715392.3741 | 1232235.2111 | 2715411.7623 | 1232239.0782 | 2715418.4452 | 1232241.9356
19 | 2715432.267 | 1232249.99 | 2715420.6714 | 1232242.8875 | 2715418.4452 | 1232241.9356
20 | 2715390.0606 | 1232142.0473 | 2715404.478 | 1232155.5266 | 2715426.8876 | 1232170.896 | 2715441.5671 | 1232179.0652
21 | 2715448.4303 | 1232180.9778 | 2715441.5671 | 1232179.0652
22 | 2715354.7545 | 1232295.0518 | 2715351.0262 | 1232295.1053
23 | 2715354.7545 | 1232295.0518 | 2715377.1822 | 1232294.7299
24 | 2715244.168 | 1232291.6238 | 2715247.3009 | 1232288.6489 | 2715252.5056 | 1232286.6371 | 2715309.207 | 1232290.9067 | 2715347.9201 | 1232295.1499 | 2715351.0262 | 1232295.1053
25 | 2715400.9918 | 1232294.6201 | 2715397.9621 | 1232294.4316 | 2715377.1822 | 1232294.7299
26 | 2715263.5956 | 1232306.4788 | 2715255.6016 | 1232304.6891 | 2715247.8303 | 1232300.7909 | 2715244.5725 | 1232297.7142 | 2715244.168 | 1232291.6238
27 | 2715244.168 | 1232291.6238 | 2715053.8559 | 1232303.8138
28 | 2715400.9918 | 1232294.6201 | 2715412.4587 | 1232295.3333
29 | 2715263.5956 | 1232306.4788 | 2715266.6919 | 1232299.9226 | 2715270.2736 | 1232298.8023 | 2715319.0938 | 1232309.1239 | 2715326.7435 | 1232309.9173
30 | 2715374.243 | 1232350.015 | 2715373.4899 | 1232349.0107 | 2715362.4045 | 1232339.8773 | 2715343.8255 | 1232330.098 | 2715329.0865 | 1232323.8293 | 2715307.3579 | 1232317.1025 | 2715273.2715 | 1232308.6348 | 2715263.5956 | 1232306.4788
31 | 2715053.8559 | 1232303.8138 | 2715046.854 | 1232306.5314
32 | 2715422.0057 | 1232295.9271 | 2715412.4587 | 1232295.3333
33 | 2715374.243 | 1232350.015 | 2715379.7769 | 1232348.9882 | 2715394.8647 | 1232355.2304 | 2715396.8763 | 1232349.1536
34 | 2715374.243 | 1232350.015 | 2715329.5154 | 1232419.9466
35 | 2714940.1324 | 1232462.1418 | 2714940.4206 | 1232467.3139
36 | 2714938.7818 | 1232437.9073 | 2714940.1324 | 1232462.1418
37 | 2714938.3715 | 1232430.5456 | 2714938.7818 | 1232437.9073
38 | 2714939.1207 | 1232396.0928 | 2714937.7334 | 1232411.3964
39 | 2714939.1207 | 1232396.0928 | 2714939.8365 | 1232388.1968 | 2714946.5752 | 1232367.1772 | 2714965.0376 | 1232343.7568
40 | 2714937.7334 | 1232411.3964 | 2714937.4677 | 1232414.327 | 2714937.8982 | 1232422.0527
41 | 2714996.6689 | 1232314.0598 | 2714968.2468 | 1232339.6858 | 2714965.0376 | 1232343.7568
42 | 2714938.3715 | 1232430.5456 | 2714937.8982 | 1232422.0527
43 | 2714996.6689 | 1232314.0598 | 2715001.8435 | 1232316.7287 | 2715010.8014 | 1232315.679 | 2715011.2568 | 1232315.5836
44 | 2715011.2568 | 1232315.5836 | 2715021.4028 | 1232313.4601 | 2715032.0041 | 1232311.6416 | 2715038.3286 | 1232309.561
45 | 2715046.854 | 1232306.5314 | 2715043.0495 | 1232308.008 | 2715038.3286 | 1232309.561
46 | 2715463.7243 | 1232293.9192 | 2715460.9372 | 1232296.6339 | 2715457.243 | 1232298.4747 | 2715452.7977 | 1232298.4328 | 2715436.1811 | 1232296.8088 | 2715422.0057 | 1232295.9271
47 | 2715329.5154 | 1232419.9466 | 2715327.0512 | 1232428.758
48 | 2715463.7243 | 1232293.9192 | 2715465.3832 | 1232289.6259 | 2715465.1261 | 1232284.9283 | 2715462.1841 | 1232279.6336 | 2715450.3339 | 1232266.087
49 | 2715474.0561 | 1232317.6608 | 2715482.4739 | 1232317.9023 | 2715484.4232 | 1232314.6487 | 2715463.7243 | 1232293.9192
50 | 2715450.3339 | 1232266.087 | 2715445.3716 | 1232260.4142 | 2715434.2646 | 1232251.2135 | 2715432.267 | 1232249.99
51 | 2715450.3339 | 1232266.087 | 2715470.71 | 1232237.3191
52 | 2715474.0561 | 1232317.6608 | 2715514.977 | 1232289.1139
53 | 2715448.4303 | 1232180.9778 | 2715453.7073 | 1232203.309 | 2715467.3028 | 1232232.9519 | 2715470.71 | 1232237.3191
54 | 2715533.3263 | 1232279.0153 | 2715532.5344 | 1232280.401 | 2715526.3169 | 1232292.423 | 2715519.407 | 1232294.09 | 2715514.977 | 1232289.1139
55 | 2715533.3263 | 1232279.0153 | 2715524.546 | 1232270.9272 | 2715521.2095 | 1232264.8909
56 | 2715533.3263 | 1232279.0153 | 2715544.416 | 1232268.4559 | 2715556.2082 | 1232265.783
57 | 2715490.8512 | 1232175.6976 | 2715497.4619 | 1232192.9285 | 2715499.2182 | 1232199.549
58 | 2715490.8512 | 1232175.6976 | 2715486.5936 | 1232176.9156
59 | 2715490.8512 | 1232175.6976 | 2715499.3748 | 1232172.186
60 | 2715448.4303 | 1232180.9778 | 2715450.1702 | 1232181.4787 | 2715455.6096 | 1232181.4287 | 2715464.2285 | 1232180.8444
61 | 2715589.8999 | 1232096.3935 | 2715601.9745 | 1232090.1234 | 2715608.2019 | 1232113.0292
62 | 2715589.8999 | 1232096.3935 | 2715586.1088 | 1232076.4301
63 | 2715608.2019 | 1232113.0292 | 2715609.3422 | 1232130.3316
64 | 2715584.2111 | 1232066.4371 | 2715586.1088 | 1232076.4301
65 | 2715566.9023 | 1232138.5129 | 2715609.3422 | 1232130.3316
66 | 2715486.5936 | 1232176.9156 | 2715476.7297 | 1232179.7376 | 2715467.593 | 1232180.6163 | 2715464.2285 | 1232180.8444
67 | 2715503.3159 | 1232067.5436 | 2715518.8027 | 1232059.1379
68 | 2715518.8027 | 1232059.1379 | 2715497.6991 | 1232016.7713
69 | 2715526.278 | 1232078.654 | 2715518.8027 | 1232059.1379
70 | 2715503.3159 | 1232067.5436 | 2715485.4577 | 1232077.927
71 | 2715503.3159 | 1232067.5436 | 2715500.4013 | 1232062.394
72 | 2715514.798 | 1232103.4282 | 2715532.1424 | 1232093.3684 | 2715526.278 | 1232078.654
73 | 2715526.278 | 1232078.654 | 2715541.0041 | 1232075.5486
74 | 2715526.278 | 1232078.654 | 2715532.1424 | 1232093.3684 | 2715534.7964 | 1232099.447 | 2715541.329 | 1232114.4636 | 2715537.5704 | 1232127.4007 | 2715529.4364 | 1232133.97
75 | 2715470.6243 | 1232085.4559 | 2715471.0931 | 1232086.2768 | 2715485.4577 | 1232077.927
76 | 2715514.798 | 1232103.4282 | 2715511.3441 | 1232097.5787
77 | 2715495.7474 | 1232108.5288 | 2715503.3604 | 1232110.0556 | 2715514.798 | 1232103.4282
78 | 2715495.7474 | 1232108.5288 | 2715479.0495 | 1232118.4566 | 2715478.5288 | 1232117.5792
79 | 2715523.7266 | 1232156.0987 | 2715521.9369 | 1232157.7652 | 2715512.2489 | 1232165.1828 | 2715502.6558 | 1232170.8342 | 2715499.3748 | 1232172.186
80 | 2715518.4086 | 1232142.8961 | 2715521.8342 | 1232146.6879 | 2715523.7266 | 1232156.0987
81 | 2715515.2322 | 1232144.5913 | 2715515.7202 | 1232145.2012 | 2715518.4086 | 1232142.8961
82 | 2715518.4086 | 1232142.8961 | 2715529.4364 | 1232133.97
83 | 2715579.864 | 1232047.5946 | 2715581.4823 | 1232054.609
84 | 2715584.2111 | 1232066.4371 | 2715581.4823 | 1232054.609
85 | 2715584.2111 | 1232066.4371 | 2715558.0984 | 1232071.9438
86 | 2715541.0041 | 1232075.5486 | 2715558.0984 | 1232071.9438
87 | 2715527.5123 | 1232131.2527 | 2715529.4364 | 1232133.97

## bus_geodata
| x | y | coords
0 | 2714999.6553 | 1232597.0184
1 | 2715020.0738 | 1232601.5793
2 | 2714987.8564 | 1232592.8306
3 | 2715027.4873 | 1232601.4559
4 | 2714968.0982 | 1232550.6534
5 | 2714979.0796 | 1232609.9425
6 | 2715316.4814 | 1232445.7869
7 | 2715323.3354 | 1232439.1465
8 | 2714962.7616 | 1232541.3048
9 | 2714975.5314 | 1232614.6037
10 | 2714950.7782 | 1232510.2859
11 | 2714973.7514 | 1232616.6795
12 | 2714944.2539 | 1232493.3981
13 | 2714969.4061 | 1232620.3114
14 | 2715335.6002 | 1232258.6933
15 | 2715336.0777 | 1232252.6723
16 | 2715336.6031 | 1232246.0473
17 | 2715368.9589 | 1232230.5407
18 | 2715392.3741 | 1232235.2111
19 | 2715418.4452 | 1232241.9356
20 | 2715390.0606 | 1232142.0473
21 | 2715441.5671 | 1232179.0652
22 | 2715354.7545 | 1232295.0518
23 | 2715351.0262 | 1232295.1053
24 | 2715377.1822 | 1232294.7299
25 | 2715244.168 | 1232291.6238
26 | 2715400.9918 | 1232294.6201
27 | 2715263.5956 | 1232306.4788
28 | 2715053.8559 | 1232303.8138
29 | 2715412.4587 | 1232295.3333
30 | 2715326.7435 | 1232309.9173
31 | 2715374.243 | 1232350.015
32 | 2714940.4206 | 1232467.3139
33 | 2714940.1324 | 1232462.1418
34 | 2714938.7818 | 1232437.9073
35 | 2714939.1207 | 1232396.0928
36 | 2714937.7334 | 1232411.3964
37 | 2714965.0376 | 1232343.7568
38 | 2714937.8982 | 1232422.0527
39 | 2714996.6689 | 1232314.0598
40 | 2714938.3715 | 1232430.5456
41 | 2715011.2568 | 1232315.5836
42 | 2715038.3286 | 1232309.561
43 | 2715046.854 | 1232306.5314
44 | 2715422.0057 | 1232295.9271
45 | 2715396.8763 | 1232349.1536
46 | 2715329.5154 | 1232419.9466
47 | 2715463.7243 | 1232293.9192
48 | 2715450.3339 | 1232266.087
49 | 2715474.0561 | 1232317.6608
50 | 2715432.267 | 1232249.99
51 | 2715470.71 | 1232237.3191
52 | 2715514.977 | 1232289.1139
53 | 2715521.2095 | 1232264.8909
54 | 2715533.3263 | 1232279.0153
55 | 2715556.2082 | 1232265.783
56 | 2715499.2182 | 1232199.549
57 | 2715490.8512 | 1232175.6976
58 | 2715448.4303 | 1232180.9778
59 | 2715589.8999 | 1232096.3935
60 | 2715608.2019 | 1232113.0292
61 | 2715586.1088 | 1232076.4301
62 | 2715609.3422 | 1232130.3316
63 | 2715566.9023 | 1232138.5129
64 | 2715464.2285 | 1232180.8444
65 | 2715518.8027 | 1232059.1379
66 | 2715503.3159 | 1232067.5436
67 | 2715497.6991 | 1232016.7713
68 | 2715526.278 | 1232078.654
69 | 2715485.4577 | 1232077.927
70 | 2715500.4013 | 1232062.394
71 | 2715470.6243 | 1232085.4559
72 | 2715511.3441 | 1232097.5787
73 | 2715514.798 | 1232103.4282
74 | 2715495.7474 | 1232108.5288
75 | 2715478.5288 | 1232117.5792
76 | 2715486.5936 | 1232176.9156
77 | 2715499.3748 | 1232172.186
78 | 2715523.7266 | 1232156.0987
79 | 2715518.4086 | 1232142.8961
80 | 2715579.864 | 1232047.5946
81 | 2715581.4823 | 1232054.609
82 | 2715584.2111 | 1232066.4371
83 | 2715558.0984 | 1232071.9438
84 | 2715541.0041 | 1232075.5486
85 | 2715529.4364 | 1232133.97
86 | 2715527.5123 | 1232131.2527
87 | 2715515.2322 | 1232144.5913
88 | 2715327.0512 | 1232428.758
89 | 2715368.9589 | 1232230.5407

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1