## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3379-16_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3379-16_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3379-16_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_3379-16_0_4_node_17 | 0.4 | n |  | TRUE
4 | bus_LV_3379-16_0_4_node_76 | 0.4 | n |  | TRUE
5 | bus_LV_3379-16_0_4_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_3379-16_0_4_node_77 | 0.4 | n |  | TRUE
7 | bus_LV_3379-16_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_3379-16_0_4_node_66 | 0.4 | n |  | TRUE
9 | bus_LV_3379-16_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_3379-16_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_3379-16_0_4_node_61 | 0.4 | n |  | TRUE
12 | bus_LV_3379-16_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_3379-16_0_4_node_30 | 0.4 | n |  | TRUE
14 | bus_LV_3379-16_0_4_node_35 | 0.4 | n |  | TRUE
15 | bus_LV_3379-16_0_4_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_3379-16_0_4_node_34 | 0.4 | n |  | TRUE
17 | bus_LV_3379-16_0_4_node_33 | 0.4 | n |  | TRUE
18 | bus_LV_3379-16_0_4_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_3379-16_0_4_node_26 | 0.4 | n |  | TRUE
20 | bus_LV_3379-16_0_4_node_74 | 0.4 | n |  | TRUE
21 | bus_LV_3379-16_0_4_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_3379-16_0_4_node_59 | 0.4 | n |  | TRUE
23 | bus_LV_3379-16_0_4_node_87 | 0.4 | n |  | TRUE
24 | bus_LV_3379-16_0_4_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_3379-16_0_4_node_55 | 0.4 | n |  | TRUE
26 | bus_LV_3379-16_0_4_node_54 | 0.4 | n |  | TRUE
27 | bus_LV_3379-16_0_4_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_3379-16_0_4_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_3379-16_0_4_node_67 | 0.4 | n |  | TRUE
30 | bus_LV_3379-16_0_4_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_3379-16_0_4_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_3379-16_0_4_node_36 | 0.4 | n |  | TRUE
33 | bus_LV_3379-16_0_4_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_3379-16_0_4_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_3379-16_0_4_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_3379-16_0_4_node_69 | 0.4 | n |  | TRUE
37 | bus_LV_3379-16_0_4_node_37 | 0.4 | n |  | TRUE
38 | bus_LV_3379-16_0_4_node_39 | 0.4 | n |  | TRUE
39 | bus_LV_3379-16_0_4_node_71 | 0.4 | n |  | TRUE
40 | bus_LV_3379-16_0_4_node_38 | 0.4 | n |  | TRUE
41 | bus_LV_3379-16_0_4_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_3379-16_0_4_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_3379-16_0_4_node_75 | 0.4 | n |  | TRUE
44 | bus_LV_3379-16_0_4_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_3379-16_0_4_node_57 | 0.4 | n |  | TRUE
46 | bus_LV_3379-16_0_4_node_60 | 0.4 | n |  | TRUE
47 | bus_LV_3379-16_0_4_node_29 | 0.4 | n |  | TRUE
48 | bus_LV_3379-16_0_4_node_50 | 0.4 | n |  | TRUE
49 | bus_LV_3379-16_0_4_node_31 | 0.4 | n |  | TRUE
50 | bus_LV_3379-16_0_4_node_49 | 0.4 | n |  | TRUE
51 | bus_LV_3379-16_0_4_node_80 | 0.4 | n |  | TRUE
52 | bus_LV_3379-16_0_4_node_83 | 0.4 | n |  | TRUE
53 | bus_LV_3379-16_0_4_node_78 | 0.4 | n |  | TRUE
54 | bus_LV_3379-16_0_4_node_92 | 0.4 | n |  | TRUE
55 | bus_LV_3379-16_0_4_node_93 | 0.4 | n |  | TRUE
56 | bus_LV_3379-16_0_4_node_62 | 0.4 | n |  | TRUE
57 | bus_LV_3379-16_0_4_node_84 | 0.4 | n |  | TRUE
58 | bus_LV_3379-16_0_4_node_90 | 0.4 | n |  | TRUE
59 | bus_LV_3379-16_0_4_node_48 | 0.4 | n |  | TRUE
60 | bus_LV_3379-16_0_4_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_3379-16_0_4_node_40 | 0.4 | n |  | TRUE
62 | bus_LV_3379-16_0_4_node_86 | 0.4 | n |  | TRUE
63 | bus_LV_3379-16_0_4_node_88 | 0.4 | n |  | TRUE
64 | bus_LV_3379-16_0_4_node_58 | 0.4 | n |  | TRUE
65 | bus_LV_3379-16_0_4_node_68 | 0.4 | n |  | TRUE
66 | bus_LV_3379-16_0_4_node_70 | 0.4 | n |  | TRUE
67 | bus_LV_3379-16_0_4_node_56 | 0.4 | n |  | TRUE
68 | bus_LV_3379-16_0_4_node_51 | 0.4 | n |  | TRUE
69 | bus_LV_3379-16_0_4_node_81 | 0.4 | n |  | TRUE
70 | bus_LV_3379-16_0_4_node_79 | 0.4 | n |  | TRUE
71 | bus_LV_3379-16_0_4_node_42 | 0.4 | n |  | TRUE
72 | bus_LV_3379-16_0_4_node_43 | 0.4 | n |  | TRUE
73 | bus_LV_3379-16_0_4_node_44 | 0.4 | n |  | TRUE
74 | bus_LV_3379-16_0_4_node_47 | 0.4 | n |  | TRUE
75 | bus_LV_3379-16_0_4_node_45 | 0.4 | n |  | TRUE
76 | bus_LV_3379-16_0_4_node_94 | 0.4 | n |  | TRUE
77 | bus_LV_3379-16_0_4_node_91 | 0.4 | n |  | TRUE
78 | bus_LV_3379-16_0_4_node_89 | 0.4 | n |  | TRUE
79 | bus_LV_3379-16_0_4_node_95 | 0.4 | n |  | TRUE
80 | bus_LV_3379-16_0_4_node_52 | 0.4 | n |  | TRUE
81 | bus_LV_3379-16_0_4_node_53 | 0.4 | n |  | TRUE
82 | bus_LV_3379-16_0_4_node_85 | 0.4 | n |  | TRUE
83 | bus_LV_3379-16_0_4_node_63 | 0.4 | n |  | TRUE
84 | bus_LV_3379-16_0_4_node_64 | 0.4 | n |  | TRUE
85 | bus_LV_3379-16_0_4_node_65 | 0.4 | n |  | TRUE
86 | bus_LV_3379-16_0_4_node_72 | 0.4 | n |  | TRUE
87 | bus_LV_3379-16_0_4_node_73 | 0.4 | n |  | TRUE
88 | bus_LV_3379-16_0_4_node_82 | 0.4 | n |  | TRUE
89 | bus_MV_153_0_node_82 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3379-16_0_4_load_0 | 0 | 0.065099 | 0.016315 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3379-16_0_4_load_76 | 4 | 0.0059553 | 0.0014925 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3379-16_0_4_load_77 | 6 | 0.0024299 | 0.00060899 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3379-16_0_4_load_66 | 8 | 0.0011696 | 0.00029313 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3379-16_0_4_load_61 | 11 | 0.0027126 | 0.00067984 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3379-16_0_4_load_35 | 14 | 0.0047033 | 0.0011788 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3379-16_0_4_load_33 | 17 | 0.0057723 | 0.0014467 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3379-16_0_4_load_74 | 20 | 0.0042132 | 0.0010559 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3379-16_0_4_load_87 | 23 | 0.012544 | 0.0031438 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3379-16_0_4_load_55 | 25 | 0.0049503 | 0.0012407 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3379-16_0_4_load_54 | 26 | 0.0060097 | 0.0015062 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3379-16_0_4_load_67 | 29 | 0.0013164 | 0.00032992 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3379-16_0_4_load_36 | 32 | 0.012067 | 0.0030243 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3379-16_0_4_load_69 | 36 | 0.0067724 | 0.0016973 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3379-16_0_4_load_37 | 37 | 0.0069694 | 0.0017467 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3379-16_0_4_load_39 | 38 | 0.0041935 | 0.001051 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3379-16_0_4_load_71 | 39 | 0.0007854 | 0.00019684 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3379-16_0_4_load_38 | 40 | 0.011305 | 0.0028333 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3379-16_0_4_load_41 | 41 | 0.0075795 | 0.0018996 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3379-16_0_4_load_75 | 43 | 0.022754 | 0.0057028 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3379-16_0_4_load_57 | 45 | 0.0041992 | 0.0010524 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3379-16_0_4_load_60 | 46 | 0.0074573 | 0.001869 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3379-16_0_4_load_50 | 48 | 0.017887 | 0.0044828 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3379-16_0_4_load_83 | 52 | 0.010188 | 0.0025534 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3379-16_0_4_load_78 | 53 | 0.0085143 | 0.0021339 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3379-16_0_4_load_92 | 54 | 0.010346 | 0.0025929 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3379-16_0_4_load_93 | 55 | 0.0043076 | 0.0010796 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3379-16_0_4_load_62 | 56 | 0.001301 | 0.00032607 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3379-16_0_4_load_90 | 58 | 0.040286 | 0.010097 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3379-16_0_4_load_48 | 59 | 0.015152 | 0.0037975 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3379-16_0_4_load_46 | 60 | 0.015981 | 0.0040052 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3379-16_0_4_load_40 | 61 | 0.016601 | 0.0041605 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3379-16_0_4_load_86 | 62 | 0.0054311 | 0.0013612 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3379-16_0_4_load_88 | 63 | 0.0053487 | 0.0013405 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3379-16_0_4_load_68 | 65 | 0.0070433 | 0.0017652 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3379-16_0_4_load_70 | 66 | 0.0013998 | 0.00035082 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3379-16_0_4_load_56 | 67 | 0.0032733 | 0.00082037 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3379-16_0_4_load_79 | 70 | 0.015458 | 0.0038741 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3379-16_0_4_load_42 | 71 | 0.021262 | 0.0053287 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3379-16_0_4_load_94 | 76 | 0.016356 | 0.0040993 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3379-16_0_4_load_89 | 78 | 0.0082932 | 0.0020785 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3379-16_0_4_load_95 | 79 | 0.016328 | 0.0040923 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3379-16_0_4_load_53 | 81 | 0.012604 | 0.0031589 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3379-16_0_4_load_85 | 82 | 0.017853 | 0.0044743 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3379-16_0_4_load_64 | 84 | 0.001318 | 0.00033032 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3379-16_0_4_load_65 | 85 | 0.0060449 | 0.001515 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3379-16_0_4_load_72 | 86 | 0.0064621 | 0.0016195 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3379-16_0_4_load_82 | 88 | 0.0038275 | 0.00095927 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 48 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3379-16_0_4_line_0 |  | 0 | 1 | 0.038316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3379-16_0_4_line_1 |  | 1 | 2 | 0.023614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3379-16_0_4_line_2 |  | 2 | 3 | 0.021779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_3379-16_0_4_line_3 |  | 2 | 4 | 0.015704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_3379-16_0_4_line_4 |  | 3 | 20 | 0.0096285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_3379-16_0_4_line_5 |  | 4 | 5 | 0.01517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_3379-16_0_4_line_6 |  | 5 | 6 | 0.021504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3379-16_0_4_line_7 |  | 5 | 7 | 0.04273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_3379-16_0_4_line_8 |  | 6 | 54 | 0.030008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3379-16_0_4_line_9 |  | 7 | 8 | 0.039366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_3379-16_0_4_line_10 |  | 8 | 10 | 0.021488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_3379-16_0_4_line_11 |  | 9 | 10 | 0.039483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_3379-16_0_4_line_12 |  | 9 | 11 | 0.040417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_3379-16_0_4_line_13 |  | 11 | 56 | 0.014414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_3379-16_0_4_line_14 |  | 12 | 13 | 0.019605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_3379-16_0_4_line_15 |  | 12 | 14 | 0.01269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_3379-16_0_4_line_16 |  | 13 | 43 | 0.01778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_3379-16_0_4_line_17 |  | 14 | 18 | 0.024307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_3379-16_0_4_line_18 |  | 15 | 16 | 0.00241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3379-16_0_4_line_19 |  | 15 | 17 | 0.019687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3379-16_0_4_line_20 |  | 16 | 57 | 0.032586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3379-16_0_4_line_21 |  | 18 | 19 | 0.040212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_3379-16_0_4_line_22 |  | 19 | 40 | 0.0035258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3379-16_0_4_line_23 |  | 19 | 41 | 0.015666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3379-16_0_4_line_24 |  | 20 | 42 | 0.013827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_3379-16_0_4_line_25 |  | 21 | 22 | 0.006756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3379-16_0_4_line_26 |  | 21 | 23 | 0.033175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3379-16_0_4_line_27 |  | 22 | 62 | 0.0090916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3379-16_0_4_line_28 |  | 23 | 63 | 0.018838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3379-16_0_4_line_29 |  | 24 | 25 | 0.01808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3379-16_0_4_line_30 |  | 24 | 26 | 0.0073279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3379-16_0_4_line_31 |  | 25 | 64 | 0.0091059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3379-16_0_4_line_32 |  | 27 | 28 | 0.026392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3379-16_0_4_line_33 |  | 27 | 29 | 0.0090551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3379-16_0_4_line_34 |  | 28 | 39 | 0.0037326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3379-16_0_4_line_35 |  | 30 | 31 | 0.0071297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3379-16_0_4_line_36 |  | 30 | 32 | 0.020305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3379-16_0_4_line_37 |  | 31 | 37 | 0.015624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3379-16_0_4_line_38 |  | 33 | 34 | 0.015395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3379-16_0_4_line_39 |  | 33 | 35 | 0.008477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_3379-16_0_4_line_40 |  | 33 | 36 | 0.036201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_3379-16_0_4_line_41 |  | 34 | 38 | 0.021231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3379-16_0_4_line_42 |  | 35 | 53 | 0.012309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_3379-16_0_4_line_43 |  | 35 | 47 | 0.007978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_3379-16_0_4_line_44 |  | 36 | 65 | 0.026187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_3379-16_0_4_line_45 |  | 37 | 40 | 0.017822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3379-16_0_4_line_46 |  | 39 | 66 | 0.02808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3379-16_0_4_line_47 |  | 41 | 61 | 0.023627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3379-16_0_4_line_48 |  | 42 | 43 | 0.019605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_3379-16_0_4_line_49 |  | 44 | 45 | 0.020495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3379-16_0_4_line_50 |  | 44 | 46 | 0.027105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3379-16_0_4_line_51 |  | 45 | 67 | 0.018275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3379-16_0_4_line_52 |  | 47 | 48 | 0.015707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_3379-16_0_4_line_53 |  | 48 | 68 | 0.043116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3379-16_0_4_line_54 |  | 49 | 50 | 0.004803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3379-16_0_4_line_55 |  | 49 | 51 | 0.002153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_3379-16_0_4_line_56 |  | 49 | 52 | 0.014516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3379-16_0_4_line_57 |  | 50 | 59 | 0.017105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3379-16_0_4_line_58 |  | 50 | 60 | 0.013372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3379-16_0_4_line_59 |  | 51 | 69 | 0.024417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3379-16_0_4_line_60 |  | 51 | 70 | 0.01721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_3379-16_0_4_line_61 |  | 53 | 70 | 0.024348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_3379-16_0_4_line_62 |  | 54 | 55 | 0.011898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3379-16_0_4_line_63 |  | 56 | 83 | 0.019833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_3379-16_0_4_line_64 |  | 57 | 58 | 0.021329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3379-16_0_4_line_65 |  | 58 | 78 | 0.0041798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3379-16_0_4_line_66 |  | 60 | 72 | 0.0080308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3379-16_0_4_line_67 |  | 62 | 80 | 0.0067913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3379-16_0_4_line_68 |  | 64 | 67 | 0.0089932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3379-16_0_4_line_69 |  | 64 | 80 | 0.002973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3379-16_0_4_line_70 |  | 65 | 85 | 0.029074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_3379-16_0_4_line_71 |  | 66 | 86 | 0.032418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3379-16_0_4_line_72 |  | 68 | 80 | 0.030192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3379-16_0_4_line_73 |  | 68 | 81 | 0.014559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3379-16_0_4_line_74 |  | 69 | 88 | 0.010704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3379-16_0_4_line_75 |  | 71 | 72 | 0.011474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3379-16_0_4_line_76 |  | 71 | 73 | 0.0017153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3379-16_0_4_line_77 |  | 73 | 74 | 0.024666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3379-16_0_4_line_78 |  | 73 | 75 | 0.003592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3379-16_0_4_line_79 |  | 74 | 77 | 0.003072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3379-16_0_4_line_80 |  | 74 | 78 | 0.022554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3379-16_0_4_line_81 |  | 75 | 76 | 0.001038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3379-16_0_4_line_82 |  | 77 | 79 | 0.000733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3379-16_0_4_line_83 |  | 81 | 82 | 0.024469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3379-16_0_4_line_84 |  | 83 | 84 | 0.013478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3379-16_0_4_line_85 |  | 83 | 85 | 0.031062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
86 | LV_3379-16_0_4_line_86 |  | 86 | 87 | 0.02014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3379-16_0_4_line_87 |  | 87 | 88 | 0.008659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3379-16_0_4_trafo_50 | 0.63 MVA 20/0.4 kV | 89 | 48 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2724677.4003 | 1240012.9326 | 2724705.3668 | 1240027.7324 | 2724711.2926 | 1240030.8046
1 | 2724656.6468 | 1240001.554 | 2724677.4003 | 1240012.9326
2 | 2724656.6468 | 1240001.554 | 2724647.0493 | 1239996.0368 | 2724644.5459 | 1239994.5719 | 2724643.879 | 1239994.2687 | 2724641.3495 | 1239998.7194 | 2724643.076 | 1239999.7231
3 | 2724656.6468 | 1240001.554 | 2724664.5547 | 1239987.9862
4 | 2724643.076 | 1239999.7231 | 2724638.2306 | 1240008.0437
5 | 2724672.1935 | 1239974.8803 | 2724664.5547 | 1239987.9862
6 | 2724672.1935 | 1239974.8803 | 2724682.4237 | 1239955.9662
7 | 2724672.1935 | 1239974.8803 | 2724692.4598 | 1239986.0486 | 2724704.0959 | 1239992.465 | 2724709.5599 | 1239995.6047
8 | 2724696.6997 | 1239929.5719 | 2724682.4237 | 1239955.9662
9 | 2724709.5599 | 1239995.6047 | 2724712.7874 | 1239989.9789 | 2724728.8245 | 1239961.2755
10 | 2724732.0015 | 1239942.1647 | 2724733.4964 | 1239943.386 | 2724734.6807 | 1239946.4245 | 2724734.7136 | 1239949.5389 | 2724734.0603 | 1239951.8271 | 2724733.5319 | 1239952.8502 | 2724728.8245 | 1239961.2755
11 | 2724732.0015 | 1239942.1647 | 2724729.6111 | 1239940.3574 | 2724725.4474 | 1239937.979 | 2724723.839 | 1239937.1223 | 2724710.2379 | 1239963.7144
12 | 2724710.2379 | 1239963.7144 | 2724714.9002 | 1239966.1255 | 2724733.854 | 1239976.3878 | 2724747.3427 | 1239978.2324
13 | 2724747.3427 | 1239978.2324 | 2724761.6238 | 1239980.1854
14 | 2724612.5798 | 1240052.3937 | 2724614.1122 | 1240053.2711 | 2724614.5696 | 1240054.1814 | 2724611.7359 | 1240059.4375 | 2724615.2254 | 1240061.8572 | 2724620.5123 | 1240065.8604
15 | 2724620.5123 | 1240065.8604 | 2724614.3651 | 1240076.9624
16 | 2724621.3997 | 1240036.9437 | 2724612.5798 | 1240052.3937
17 | 2724603.0262 | 1240098.454 | 2724607.3652 | 1240089.6043 | 2724614.3651 | 1240076.9624
18 | 2724769.0822 | 1240233.2766 | 2724769.2359 | 1240235.6819
19 | 2724769.2359 | 1240235.6819 | 2724750.7393 | 1240228.941
20 | 2724783.9069 | 1240204.2416 | 2724769.0822 | 1240233.2766
21 | 2724603.0262 | 1240098.454 | 2724610.5773 | 1240094.7872 | 2724616.7023 | 1240094.1819 | 2724620.9088 | 1240092.0017 | 2724624.6751 | 1240088.0886 | 2724628.3283 | 1240090.6341 | 2724633.1507 | 1240092.6259 | 2724638.3453 | 1240095.2594
22 | 2724638.3453 | 1240095.2594 | 2724640.0599 | 1240092.1786
23 | 2724638.3453 | 1240095.2594 | 2724635.1005 | 1240104.9549 | 2724633.5236 | 1240110.1635
24 | 2724631.2725 | 1240019.9923 | 2724638.2306 | 1240008.0437
25 | 2724677.5162 | 1240199.9807 | 2724679.9334 | 1240193.6706
26 | 2724677.5162 | 1240199.9807 | 2724708.6935 | 1240211.3176
27 | 2724679.9334 | 1240193.6706 | 2724684.5759 | 1240193.0564 | 2724685.7224 | 1240188.7995
28 | 2724708.6935 | 1240211.3176 | 2724726.397 | 1240217.7551
29 | 2724663.0928 | 1240191.9488 | 2724671.4749 | 1240189.0446 | 2724675.6492 | 1240180.8365
30 | 2724663.0928 | 1240191.9488 | 2724656.2875 | 1240189.2308
31 | 2724684.7523 | 1240181.0612 | 2724675.6492 | 1240180.8365
32 | 2724839.5447 | 1240010.8714 | 2724841.2821 | 1240001.6446 | 2724839.0192 | 1239984.7941
33 | 2724839.0192 | 1239984.7941 | 2724829.967 | 1239984.5683
34 | 2724839.5447 | 1240010.8714 | 2724837.8019 | 1240014.1722
35 | 2724656.3249 | 1240062.9542 | 2724657.8547 | 1240060.3508 | 2724659.7619 | 1240056.7101
36 | 2724659.7619 | 1240056.7101 | 2724666.6164 | 1240044.0767 | 2724668.1904 | 1240041.174 | 2724669.4327 | 1240038.8556
37 | 2724656.3249 | 1240062.9542 | 2724648.7268 | 1240076.6063
38 | 2724723.4827 | 1240092.2336 | 2724716.3987 | 1240088.4372 | 2724714.5702 | 1240091.5681 | 2724712.5152 | 1240094.6831
39 | 2724730.6256 | 1240096.832 | 2724723.4827 | 1240092.2336
40 | 2724723.4827 | 1240092.2336 | 2724739.7344 | 1240059.8851
41 | 2724712.5152 | 1240094.6831 | 2724694.0279 | 1240084.2439
42 | 2724730.6256 | 1240096.832 | 2724741.3454 | 1240102.8822
43 | 2724726.0262 | 1240103.3074 | 2724728.8966 | 1240099.9093 | 2724730.6256 | 1240096.832
44 | 2724739.7344 | 1240059.8851 | 2724746.3317 | 1240046.7533 | 2724751.1378 | 1240036.3152
45 | 2724648.7268 | 1240076.6063 | 2724640.0599 | 1240092.1786
46 | 2724823.9964 | 1240038.6181 | 2724833.6276 | 1240022.0786 | 2724837.8019 | 1240014.1722
47 | 2724626.9367 | 1240132.8526 | 2724631.2231 | 1240117.762 | 2724633.5236 | 1240110.1635
48 | 2724621.3997 | 1240036.9437 | 2724631.2725 | 1240019.9923
49 | 2724701.8105 | 1240136.4488 | 2724694.491 | 1240155.5916
50 | 2724701.8105 | 1240136.4488 | 2724676.8514 | 1240125.8797
51 | 2724687.9642 | 1240172.6611 | 2724694.491 | 1240155.5916
52 | 2724726.0262 | 1240103.3074 | 2724720.9966 | 1240106.1375 | 2724717.6359 | 1240111.6271 | 2724716.1548 | 1240114.7977
53 | 2724698.3613 | 1240154.0689 | 2724710.1978 | 1240127.5508 | 2724716.1548 | 1240114.7977
54 | 2724776.6252 | 1240124.9777 | 2724774.3724 | 1240129.2228
55 | 2724776.6252 | 1240124.9777 | 2724777.6559 | 1240123.0867
56 | 2724776.6252 | 1240124.9777 | 2724789.0585 | 1240132.47
57 | 2724774.3724 | 1240129.2228 | 2724770.0129 | 1240126.8069 | 2724759.485 | 1240120.7999
58 | 2724774.3724 | 1240129.2228 | 2724768.1026 | 1240141.0344
59 | 2724789.326 | 1240101.6251 | 2724777.6559 | 1240123.0867
60 | 2724777.6559 | 1240123.0867 | 2724772.8877 | 1240120.6844 | 2724762.5497 | 1240114.8498
61 | 2724741.3454 | 1240102.8822 | 2724762.5497 | 1240114.8498
62 | 2724696.6997 | 1239929.5719 | 2724702.3602 | 1239919.1065
63 | 2724780.3733 | 1239985.6286 | 2724773.2525 | 1239981.7757 | 2724761.6238 | 1239980.1854
64 | 2724783.9069 | 1240204.2416 | 2724764.6499 | 1240195.0703
65 | 2724760.8762 | 1240193.2731 | 2724764.6499 | 1240195.0703
66 | 2724764.3372 | 1240148.1277 | 2724768.1026 | 1240141.0344
67 | 2724687.4886 | 1240182.2419 | 2724685.7224 | 1240188.7995
68 | 2724684.7523 | 1240181.0612 | 2724687.9642 | 1240172.6611
69 | 2724687.4886 | 1240182.2419 | 2724684.7523 | 1240181.0612
70 | 2724763.2977 | 1240009.9061 | 2724751.1378 | 1240036.3152
71 | 2724823.9964 | 1240038.6181 | 2724818.0248 | 1240048.873 | 2724808.2042 | 1240066.9253
72 | 2724698.3613 | 1240154.0689 | 2724687.4886 | 1240182.2419
73 | 2724698.3613 | 1240154.0689 | 2724712.0238 | 1240159.0996
74 | 2724789.326 | 1240101.6251 | 2724794.4417 | 1240092.2225
75 | 2724764.3372 | 1240148.1277 | 2724758.9515 | 1240158.2595
76 | 2724758.1464 | 1240159.7741 | 2724758.9515 | 1240158.2595
77 | 2724758.1464 | 1240159.7741 | 2724746.5755 | 1240181.5714
78 | 2724754.9275 | 1240158.1606 | 2724758.1464 | 1240159.7741
79 | 2724743.7652 | 1240180.3113 | 2724746.5755 | 1240181.5714
80 | 2724746.5755 | 1240181.5714 | 2724744.5038 | 1240185.4756 | 2724760.8762 | 1240193.2731
81 | 2724754.0387 | 1240157.6193 | 2724754.9275 | 1240158.1606
82 | 2724743.1063 | 1240179.9861 | 2724743.7652 | 1240180.3113
83 | 2724722.2241 | 1240149.5775 | 2724725.5087 | 1240151.3035 | 2724720.2055 | 1240162.1122 | 2724712.0238 | 1240159.0996
84 | 2724780.3733 | 1239985.6286 | 2724790.5306 | 1239983.5848 | 2724793.6468 | 1239983.6625
85 | 2724780.3733 | 1239985.6286 | 2724777.8207 | 1239986.142 | 2724772.2608 | 1239990.4399 | 2724763.2977 | 1240009.9061
86 | 2724798.58 | 1240084.6164 | 2724808.2042 | 1240066.9253
87 | 2724798.58 | 1240084.6164 | 2724794.4417 | 1240092.2225

## bus_geodata
| x | y | coords
0 | 2724711.2926 | 1240030.8046
1 | 2724677.4003 | 1240012.9326
2 | 2724656.6468 | 1240001.554
3 | 2724643.076 | 1239999.7231
4 | 2724664.5547 | 1239987.9862
5 | 2724672.1935 | 1239974.8803
6 | 2724682.4237 | 1239955.9662
7 | 2724709.5599 | 1239995.6047
8 | 2724728.8245 | 1239961.2755
9 | 2724710.2379 | 1239963.7144
10 | 2724732.0015 | 1239942.1647
11 | 2724747.3427 | 1239978.2324
12 | 2724620.5123 | 1240065.8604
13 | 2724612.5798 | 1240052.3937
14 | 2724614.3651 | 1240076.9624
15 | 2724769.2359 | 1240235.6819
16 | 2724769.0822 | 1240233.2766
17 | 2724750.7393 | 1240228.941
18 | 2724603.0262 | 1240098.454
19 | 2724638.3453 | 1240095.2594
20 | 2724638.2306 | 1240008.0437
21 | 2724677.5162 | 1240199.9807
22 | 2724679.9334 | 1240193.6706
23 | 2724708.6935 | 1240211.3176
24 | 2724663.0928 | 1240191.9488
25 | 2724675.6492 | 1240180.8365
26 | 2724656.2875 | 1240189.2308
27 | 2724839.0192 | 1239984.7941
28 | 2724839.5447 | 1240010.8714
29 | 2724829.967 | 1239984.5683
30 | 2724659.7619 | 1240056.7101
31 | 2724656.3249 | 1240062.9542
32 | 2724669.4327 | 1240038.8556
33 | 2724723.4827 | 1240092.2336
34 | 2724712.5152 | 1240094.6831
35 | 2724730.6256 | 1240096.832
36 | 2724739.7344 | 1240059.8851
37 | 2724648.7268 | 1240076.6063
38 | 2724694.0279 | 1240084.2439
39 | 2724837.8019 | 1240014.1722
40 | 2724640.0599 | 1240092.1786
41 | 2724633.5236 | 1240110.1635
42 | 2724631.2725 | 1240019.9923
43 | 2724621.3997 | 1240036.9437
44 | 2724701.8105 | 1240136.4488
45 | 2724694.491 | 1240155.5916
46 | 2724676.8513 | 1240125.8797
47 | 2724726.0262 | 1240103.3074
48 | 2724716.1548 | 1240114.7977
49 | 2724776.6252 | 1240124.9777
50 | 2724774.3724 | 1240129.2228
51 | 2724777.6559 | 1240123.0867
52 | 2724789.0585 | 1240132.47
53 | 2724741.3454 | 1240102.8822
54 | 2724696.6997 | 1239929.5719
55 | 2724702.3602 | 1239919.1065
56 | 2724761.6238 | 1239980.1854
57 | 2724783.9069 | 1240204.2416
58 | 2724764.6499 | 1240195.0703
59 | 2724759.485 | 1240120.7999
60 | 2724768.1026 | 1240141.0344
61 | 2724626.9367 | 1240132.8526
62 | 2724685.7224 | 1240188.7995
63 | 2724726.397 | 1240217.7551
64 | 2724684.7523 | 1240181.0612
65 | 2724751.1378 | 1240036.3152
66 | 2724823.9964 | 1240038.6181
67 | 2724687.9642 | 1240172.6611
68 | 2724698.3613 | 1240154.0689
69 | 2724789.326 | 1240101.6251
70 | 2724762.5497 | 1240114.8498
71 | 2724758.9515 | 1240158.2595
72 | 2724764.3372 | 1240148.1277
73 | 2724758.1464 | 1240159.7741
74 | 2724746.5755 | 1240181.5714
75 | 2724754.9275 | 1240158.1606
76 | 2724754.0387 | 1240157.6193
77 | 2724743.7652 | 1240180.3113
78 | 2724760.8762 | 1240193.2731
79 | 2724743.1063 | 1240179.9861
80 | 2724687.4886 | 1240182.2419
81 | 2724712.0238 | 1240159.0996
82 | 2724722.2241 | 1240149.5775
83 | 2724780.3733 | 1239985.6286
84 | 2724793.6468 | 1239983.6625
85 | 2724763.2977 | 1240009.9061
86 | 2724808.2041 | 1240066.9253
87 | 2724798.58 | 1240084.6164
88 | 2724794.4417 | 1240092.2225
89 | 2724726.0262 | 1240103.3074

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1