## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3379-1_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3379-1_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3379-1_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3379-1_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3379-1_0_5_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_3379-1_0_5_node_19 | 0.4 | n |  | TRUE
6 | bus_LV_3379-1_0_5_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_3379-1_0_5_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_3379-1_0_5_node_101 | 0.4 | n |  | TRUE
9 | bus_LV_3379-1_0_5_node_75 | 0.4 | n |  | TRUE
10 | bus_LV_3379-1_0_5_node_98 | 0.4 | n |  | TRUE
11 | bus_LV_3379-1_0_5_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_3379-1_0_5_node_95 | 0.4 | n |  | TRUE
13 | bus_LV_3379-1_0_5_node_93 | 0.4 | n |  | TRUE
14 | bus_LV_3379-1_0_5_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_3379-1_0_5_node_51 | 0.4 | n |  | TRUE
16 | bus_LV_3379-1_0_5_node_52 | 0.4 | n |  | TRUE
17 | bus_LV_3379-1_0_5_node_48 | 0.4 | n |  | TRUE
18 | bus_LV_3379-1_0_5_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_3379-1_0_5_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_3379-1_0_5_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_3379-1_0_5_node_45 | 0.4 | n |  | TRUE
22 | bus_LV_3379-1_0_5_node_27 | 0.4 | n |  | TRUE
23 | bus_LV_3379-1_0_5_node_53 | 0.4 | n |  | TRUE
24 | bus_LV_3379-1_0_5_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_3379-1_0_5_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_3379-1_0_5_node_32 | 0.4 | n |  | TRUE
27 | bus_LV_3379-1_0_5_node_81 | 0.4 | n |  | TRUE
28 | bus_LV_3379-1_0_5_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_3379-1_0_5_node_74 | 0.4 | n |  | TRUE
30 | bus_LV_3379-1_0_5_node_66 | 0.4 | n |  | TRUE
31 | bus_LV_3379-1_0_5_node_67 | 0.4 | n |  | TRUE
32 | bus_LV_3379-1_0_5_node_64 | 0.4 | n |  | TRUE
33 | bus_LV_3379-1_0_5_node_15 | 0.4 | n |  | TRUE
34 | bus_LV_3379-1_0_5_node_96 | 0.4 | n |  | TRUE
35 | bus_LV_3379-1_0_5_node_16 | 0.4 | n |  | TRUE
36 | bus_LV_3379-1_0_5_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_3379-1_0_5_node_97 | 0.4 | n |  | TRUE
38 | bus_LV_3379-1_0_5_node_18 | 0.4 | n |  | TRUE
39 | bus_LV_3379-1_0_5_node_39 | 0.4 | n |  | TRUE
40 | bus_LV_3379-1_0_5_node_99 | 0.4 | n |  | TRUE
41 | bus_LV_3379-1_0_5_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_3379-1_0_5_node_20 | 0.4 | n |  | TRUE
43 | bus_LV_3379-1_0_5_node_82 | 0.4 | n |  | TRUE
44 | bus_LV_3379-1_0_5_node_21 | 0.4 | n |  | TRUE
45 | bus_LV_3379-1_0_5_node_80 | 0.4 | n |  | TRUE
46 | bus_LV_3379-1_0_5_node_46 | 0.4 | n |  | TRUE
47 | bus_LV_3379-1_0_5_node_23 | 0.4 | n |  | TRUE
48 | bus_LV_3379-1_0_5_node_24 | 0.4 | n |  | TRUE
49 | bus_LV_3379-1_0_5_node_72 | 0.4 | n |  | TRUE
50 | bus_LV_3379-1_0_5_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_3379-1_0_5_node_86 | 0.4 | n |  | TRUE
52 | bus_LV_3379-1_0_5_node_25 | 0.4 | n |  | TRUE
53 | bus_LV_3379-1_0_5_node_59 | 0.4 | n |  | TRUE
54 | bus_LV_3379-1_0_5_node_28 | 0.4 | n |  | TRUE
55 | bus_LV_3379-1_0_5_node_29 | 0.4 | n |  | TRUE
56 | bus_LV_3379-1_0_5_node_26 | 0.4 | n |  | TRUE
57 | bus_LV_3379-1_0_5_node_58 | 0.4 | n |  | TRUE
58 | bus_LV_3379-1_0_5_node_55 | 0.4 | n |  | TRUE
59 | bus_LV_3379-1_0_5_node_63 | 0.4 | n |  | TRUE
60 | bus_LV_3379-1_0_5_node_31 | 0.4 | n |  | TRUE
61 | bus_LV_3379-1_0_5_node_56 | 0.4 | n |  | TRUE
62 | bus_LV_3379-1_0_5_node_100 | 0.4 | n |  | TRUE
63 | bus_LV_3379-1_0_5_node_89 | 0.4 | n |  | TRUE
64 | bus_LV_3379-1_0_5_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_3379-1_0_5_node_92 | 0.4 | n |  | TRUE
66 | bus_LV_3379-1_0_5_node_35 | 0.4 | n |  | TRUE
67 | bus_LV_3379-1_0_5_node_91 | 0.4 | n |  | TRUE
68 | bus_LV_3379-1_0_5_node_90 | 0.4 | n |  | TRUE
69 | bus_LV_3379-1_0_5_node_36 | 0.4 | n |  | TRUE
70 | bus_LV_3379-1_0_5_node_62 | 0.4 | n |  | TRUE
71 | bus_LV_3379-1_0_5_node_61 | 0.4 | n |  | TRUE
72 | bus_LV_3379-1_0_5_node_41 | 0.4 | n |  | TRUE
73 | bus_LV_3379-1_0_5_node_78 | 0.4 | n |  | TRUE
74 | bus_LV_3379-1_0_5_node_76 | 0.4 | n |  | TRUE
75 | bus_LV_3379-1_0_5_node_42 | 0.4 | n |  | TRUE
76 | bus_LV_3379-1_0_5_node_83 | 0.4 | n |  | TRUE
77 | bus_LV_3379-1_0_5_node_79 | 0.4 | n |  | TRUE
78 | bus_LV_3379-1_0_5_node_43 | 0.4 | n |  | TRUE
79 | bus_LV_3379-1_0_5_node_44 | 0.4 | n |  | TRUE
80 | bus_LV_3379-1_0_5_node_77 | 0.4 | n |  | TRUE
81 | bus_LV_3379-1_0_5_node_94 | 0.4 | n |  | TRUE
82 | bus_LV_3379-1_0_5_node_54 | 0.4 | n |  | TRUE
83 | bus_LV_3379-1_0_5_node_73 | 0.4 | n |  | TRUE
84 | bus_LV_3379-1_0_5_node_70 | 0.4 | n |  | TRUE
85 | bus_LV_3379-1_0_5_node_71 | 0.4 | n |  | TRUE
86 | bus_LV_3379-1_0_5_node_47 | 0.4 | n |  | TRUE
87 | bus_LV_3379-1_0_5_node_68 | 0.4 | n |  | TRUE
88 | bus_LV_3379-1_0_5_node_87 | 0.4 | n |  | TRUE
89 | bus_LV_3379-1_0_5_node_57 | 0.4 | n |  | TRUE
90 | bus_LV_3379-1_0_5_node_88 | 0.4 | n |  | TRUE
91 | bus_LV_3379-1_0_5_node_49 | 0.4 | n |  | TRUE
92 | bus_LV_3379-1_0_5_node_60 | 0.4 | n |  | TRUE
93 | bus_LV_3379-1_0_5_node_84 | 0.4 | n |  | TRUE
94 | bus_LV_3379-1_0_5_node_65 | 0.4 | n |  | TRUE
95 | bus_LV_3379-1_0_5_node_69 | 0.4 | n |  | TRUE
96 | bus_LV_3379-1_0_5_node_85 | 0.4 | n |  | TRUE
97 | bus_MV_153_0_node_161 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3379-1_0_5_load_0 | 0 | 0.0084412 | 0.0021156 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3379-1_0_5_load_1 | 1 | 0.0078523 | 0.001968 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3379-1_0_5_load_101 | 8 | 0.00083753 | 0.0002099 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3379-1_0_5_load_75 | 9 | 0.011613 | 0.0029105 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3379-1_0_5_load_98 | 10 | 0.007989 | 0.0020022 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3379-1_0_5_load_95 | 12 | 0.020715 | 0.0051916 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3379-1_0_5_load_93 | 13 | 0.035448 | 0.008884 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3379-1_0_5_load_51 | 15 | 0.0010311 | 0.00025842 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3379-1_0_5_load_52 | 16 | 0.0061961 | 0.0015529 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3379-1_0_5_load_48 | 17 | 0.0077879 | 0.0019518 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3379-1_0_5_load_45 | 21 | 0.0066498 | 0.0016666 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3379-1_0_5_load_53 | 23 | 0.00070035 | 0.00017553 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3379-1_0_5_load_81 | 27 | 0.014141 | 0.0035441 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3379-1_0_5_load_74 | 29 | 0.0021352 | 0.00053513 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3379-1_0_5_load_67 | 31 | 0.0064566 | 0.0016182 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3379-1_0_5_load_64 | 32 | 0.0093726 | 0.002349 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3379-1_0_5_load_97 | 37 | 0.015532 | 0.0038928 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3379-1_0_5_load_99 | 40 | 0.0010209 | 0.00025587 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3379-1_0_5_load_82 | 43 | 0.008157 | 0.0020443 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3379-1_0_5_load_80 | 45 | 0.0051084 | 0.0012803 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3379-1_0_5_load_46 | 46 | 0.077597 | 0.019448 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3379-1_0_5_load_72 | 49 | 0.0057648 | 0.0014448 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3379-1_0_5_load_86 | 51 | 0.0028998 | 0.00072676 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3379-1_0_5_load_59 | 53 | 0.0038792 | 0.00097222 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3379-1_0_5_load_58 | 57 | 0.0020034 | 0.00050211 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3379-1_0_5_load_55 | 58 | 0.002341 | 0.00058671 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3379-1_0_5_load_63 | 59 | 0.0021601 | 0.00054138 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3379-1_0_5_load_56 | 61 | 0.0030588 | 0.0007666 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3379-1_0_5_load_100 | 62 | 0.0045564 | 0.0011419 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3379-1_0_5_load_89 | 63 | 0.0024447 | 0.0006127 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3379-1_0_5_load_50 | 64 | 0.0091184 | 0.0022853 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3379-1_0_5_load_92 | 65 | 0.0028208 | 0.00070697 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3379-1_0_5_load_91 | 67 | 0.0029662 | 0.00074341 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3379-1_0_5_load_90 | 68 | 0.0030068 | 0.00075357 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3379-1_0_5_load_62 | 70 | 0.0022394 | 0.00056125 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3379-1_0_5_load_61 | 71 | 0.0021494 | 0.0005387 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3379-1_0_5_load_78 | 73 | 0.0096098 | 0.0024084 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3379-1_0_5_load_76 | 74 | 0.0087081 | 0.0021824 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3379-1_0_5_load_83 | 76 | 0.0056406 | 0.0014137 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3379-1_0_5_load_79 | 77 | 0.0060751 | 0.0015226 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3379-1_0_5_load_77 | 80 | 0.0022451 | 0.00056268 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3379-1_0_5_load_94 | 81 | 0.00064532 | 0.00016173 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3379-1_0_5_load_54 | 82 | 0.0019168 | 0.00048039 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3379-1_0_5_load_73 | 83 | 0.012904 | 0.003234 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3379-1_0_5_load_70 | 84 | 0.011044 | 0.0027679 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3379-1_0_5_load_71 | 85 | 0.0037605 | 0.00094246 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3379-1_0_5_load_47 | 86 | 0.0031376 | 0.00078635 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3379-1_0_5_load_68 | 87 | 0.0045224 | 0.0011334 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3379-1_0_5_load_87 | 88 | 0.0029469 | 0.00073855 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3379-1_0_5_load_57 | 89 | 0.002536 | 0.00063558 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3379-1_0_5_load_88 | 90 | 0.0041268 | 0.0010343 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3379-1_0_5_load_49 | 91 | 0.00152 | 0.00038095 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3379-1_0_5_load_60 | 92 | 0.011668 | 0.0029243 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3379-1_0_5_load_84 | 93 | 0.0055876 | 0.0014004 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3379-1_0_5_load_69 | 95 | 0.0031722 | 0.00079503 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3379-1_0_5_load_85 | 96 | 0.0033511 | 0.00083987 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3379-1_0_5_line_0 |  | 0 | 1 | 0.0056552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3379-1_0_5_line_1 |  | 0 | 2 | 0.022617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3379-1_0_5_line_2 |  | 1 | 3 | 0.036555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3379-1_0_5_line_3 |  | 2 | 4 | 0.019242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3379-1_0_5_line_4 |  | 3 | 5 | 0.040134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3379-1_0_5_line_5 |  | 4 | 10 | 0.018811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3379-1_0_5_line_6 |  | 5 | 41 | 0.34065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3379-1_0_5_line_7 |  | 5 | 9 | 0.027167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3379-1_0_5_line_8 |  | 6 | 7 | 0.065502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3379-1_0_5_line_9 |  | 6 | 8 | 0.033441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3379-1_0_5_line_10 |  | 7 | 9 | 0.04213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3379-1_0_5_line_11 |  | 10 | 33 | 0.052218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3379-1_0_5_line_12 |  | 11 | 12 | 0.053439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3379-1_0_5_line_13 |  | 11 | 13 | 0.068601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3379-1_0_5_line_14 |  | 12 | 34 | 0.012279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3379-1_0_5_line_15 |  | 13 | 81 | 0.07898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3379-1_0_5_line_16 |  | 14 | 15 | 0.04527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3379-1_0_5_line_17 |  | 14 | 16 | 0.032523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3379-1_0_5_line_18 |  | 14 | 17 | 0.10326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3379-1_0_5_line_19 |  | 15 | 20 | 0.041481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3379-1_0_5_line_20 |  | 18 | 19 | 0.020498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_3379-1_0_5_line_21 |  | 18 | 20 | 0.030959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3379-1_0_5_line_22 |  | 18 | 21 | 0.0373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_3379-1_0_5_line_23 |  | 19 | 22 | 0.012312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_3379-1_0_5_line_24 |  | 20 | 23 | 0.011764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3379-1_0_5_line_25 |  | 21 | 36 | 0.022442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_3379-1_0_5_line_26 |  | 22 | 58 | 0.015546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3379-1_0_5_line_27 |  | 22 | 56 | 0.03122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_3379-1_0_5_line_28 |  | 23 | 82 | 0.016706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3379-1_0_5_line_29 |  | 24 | 25 | 0.079732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3379-1_0_5_line_30 |  | 24 | 26 | 0.062937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3379-1_0_5_line_31 |  | 24 | 27 | 0.017717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3379-1_0_5_line_32 |  | 25 | 28 | 0.0052928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3379-1_0_5_line_33 |  | 25 | 29 | 0.012843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3379-1_0_5_line_34 |  | 26 | 64 | 0.029749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3379-1_0_5_line_35 |  | 26 | 53 | 0.013679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3379-1_0_5_line_36 |  | 27 | 45 | 0.030258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3379-1_0_5_line_37 |  | 28 | 30 | 0.037342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3379-1_0_5_line_38 |  | 28 | 31 | 0.017001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3379-1_0_5_line_39 |  | 28 | 32 | 0.03964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3379-1_0_5_line_40 |  | 29 | 83 | 0.0064268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3379-1_0_5_line_41 |  | 30 | 84 | 0.027657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3379-1_0_5_line_42 |  | 31 | 85 | 0.026326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3379-1_0_5_line_43 |  | 33 | 34 | 0.009106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3379-1_0_5_line_44 |  | 34 | 37 | 0.021004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3379-1_0_5_line_45 |  | 35 | 36 | 0.03475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3379-1_0_5_line_46 |  | 35 | 37 | 0.012004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3379-1_0_5_line_47 |  | 36 | 46 | 0.045949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3379-1_0_5_line_48 |  | 38 | 39 | 0.004542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3379-1_0_5_line_49 |  | 38 | 40 | 0.071788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3379-1_0_5_line_50 |  | 39 | 62 | 0.054625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3379-1_0_5_line_51 |  | 41 | 62 | 0.044892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3379-1_0_5_line_52 |  | 42 | 43 | 0.011663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3379-1_0_5_line_53 |  | 42 | 44 | 0.019919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3379-1_0_5_line_54 |  | 43 | 75 | 0.019733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3379-1_0_5_line_55 |  | 44 | 45 | 0.036677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3379-1_0_5_line_56 |  | 46 | 86 | 0.013755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3379-1_0_5_line_57 |  | 47 | 48 | 0.063525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3379-1_0_5_line_58 |  | 47 | 49 | 0.072001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3379-1_0_5_line_59 |  | 48 | 50 | 0.042556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3379-1_0_5_line_60 |  | 48 | 51 | 0.017552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3379-1_0_5_line_61 |  | 49 | 87 | 0.029948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3379-1_0_5_line_62 |  | 50 | 65 | 0.0051465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3379-1_0_5_line_63 |  | 51 | 88 | 0.025151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3379-1_0_5_line_64 |  | 52 | 53 | 0.027835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3379-1_0_5_line_65 |  | 52 | 54 | 0.0068283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3379-1_0_5_line_66 |  | 52 | 55 | 0.012345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_3379-1_0_5_line_67 |  | 54 | 59 | 0.010875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3379-1_0_5_line_68 |  | 54 | 60 | 0.008591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3379-1_0_5_line_69 |  | 55 | 61 | 0.015762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3379-1_0_5_line_70 |  | 55 | 56 | 0.030157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
71 | LV_3379-1_0_5_line_71 |  | 56 | 57 | 0.012794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3379-1_0_5_line_72 |  | 60 | 63 | 0.031982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3379-1_0_5_line_73 |  | 61 | 89 | 0.013712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3379-1_0_5_line_74 |  | 63 | 90 | 0.021875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3379-1_0_5_line_75 |  | 64 | 91 | 0.04946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3379-1_0_5_line_76 |  | 65 | 67 | 0.022558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3379-1_0_5_line_77 |  | 66 | 67 | 0.010471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3379-1_0_5_line_78 |  | 66 | 68 | 0.011791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3379-1_0_5_line_79 |  | 68 | 70 | 0.02316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3379-1_0_5_line_80 |  | 69 | 70 | 0.024606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3379-1_0_5_line_81 |  | 69 | 71 | 0.011337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3379-1_0_5_line_82 |  | 71 | 92 | 0.027673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3379-1_0_5_line_83 |  | 72 | 73 | 0.047174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3379-1_0_5_line_84 |  | 72 | 74 | 0.016423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3379-1_0_5_line_85 |  | 74 | 78 | 0.012781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3379-1_0_5_line_86 |  | 75 | 76 | 0.012932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3379-1_0_5_line_87 |  | 75 | 77 | 0.012363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3379-1_0_5_line_88 |  | 76 | 93 | 0.024718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3379-1_0_5_line_89 |  | 77 | 79 | 0.0034883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3379-1_0_5_line_90 |  | 78 | 79 | 0.006056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_3379-1_0_5_line_91 |  | 78 | 80 | 0.025055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_3379-1_0_5_line_92 |  | 87 | 94 | 0.020161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_3379-1_0_5_line_93 |  | 88 | 90 | 0.026101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_3379-1_0_5_line_94 |  | 93 | 96 | 0.003401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_3379-1_0_5_line_95 |  | 94 | 95 | 0.016958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3379-1_0_5_trafo_27 | 0.63 MVA 20/0.4 kV | 97 | 22 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23
0 | 2724527.3892 | 1240400.4617 | 2724528.754 | 1240399.3922 | 2724530.7254 | 1240396.0025
1 | 2724514.1496 | 1240418.0126 | 2724516.0356 | 1240412.8478 | 2724517.554 | 1240409.3434 | 2724521.1938 | 1240405.3164 | 2724527.3892 | 1240400.4617
2 | 2724529.197 | 1240361.7144 | 2724532.6784 | 1240376.0439 | 2724533.6393 | 1240378.555 | 2724535.7401 | 1240384.0592 | 2724535.8894 | 1240385.597 | 2724534.9772 | 1240388.6916 | 2724530.7254 | 1240396.0025
3 | 2724504.8009 | 1240424.4553 | 2724503.0754 | 1240416.568 | 2724514.1496 | 1240418.0126
4 | 2724529.197 | 1240361.7144 | 2724563.7355 | 1240357.0684 | 2724569.0907 | 1240356.3691
5 | 2724504.8009 | 1240424.4553 | 2724501.5473 | 1240425.9438 | 2724488.3204 | 1240433.5
6 | 2724392.3448 | 1240367.6615 | 2724401.5233 | 1240360.6702 | 2724403.5835 | 1240359.1009 | 2724427.6929 | 1240344.6051 | 2724437.4706 | 1240338.6273 | 2724454.1143 | 1240328.4454 | 2724466.3394 | 1240322.2743 | 2724482.7023 | 1240310.6966 | 2724506.9047 | 1240283.8594 | 2724512.3265 | 1240279.2693 | 2724518.2153 | 1240274.7779 | 2724520.9455 | 1240278.049 | 2724544.7598 | 1240263.9478 | 2724548.0782 | 1240262.9833 | 2724551.9974 | 1240263.6661 | 2724566.5079 | 1240268.2744 | 2724586.3146 | 1240270.6698 | 2724584.7201 | 1240275.9963 | 2724588.6721 | 1240300.6888 | 2724589.7798 | 1240309.1748 | 2724593.6953 | 1240347.1332 | 2724594.1072 | 1240353.0913 | 2724587.2802 | 1240353.9932 | 2724569.0907 | 1240356.3691
7 | 2724569.0907 | 1240356.3691 | 2724571.0586 | 1240369.6437 | 2724563.6804 | 1240378.7854 | 2724563.0969 | 1240380.6974
8 | 2724557.2743 | 1240472.0403 | 2724555.3559 | 1240471.8999 | 2724550.1157 | 1240449.8382 | 2724568.0864 | 1240442.3756 | 2724567.3613 | 1240440.5255 | 2724560.2453 | 1240422.4166
9 | 2724557.2743 | 1240472.0403 | 2724554.8356 | 1240458.133 | 2724556.0268 | 1240454.7218 | 2724559.9348 | 1240451.9682 | 2724570.1527 | 1240448.0955
10 | 2724560.2453 | 1240422.4166 | 2724560.2611 | 1240414.0988 | 2724560.3417 | 1240389.7245 | 2724563.0969 | 1240380.6974
11 | 2724456.6202 | 1240466.0688 | 2724453.8416 | 1240461.1397 | 2724453.4653 | 1240457.8068 | 2724454.5305 | 1240454.6265 | 2724464.8872 | 1240448.0826 | 2724487.7279 | 1240433.8384 | 2724488.3204 | 1240433.5
12 | 2724397.8278 | 1240428.3161 | 2724439.0463 | 1240462.327
13 | 2724397.8278 | 1240428.3161 | 2724387.1033 | 1240440.8574 | 2724369.0972 | 1240461.5642 | 2724354.6083 | 1240481.5174
14 | 2724448.4778 | 1240470.1904 | 2724440.0326 | 1240463.1408 | 2724439.0463 | 1240462.327
15 | 2724354.6083 | 1240481.5174 | 2724343.1514 | 1240497.2951 | 2724335.3776 | 1240514.8692 | 2724328.7124 | 1240536.2141 | 2724325.569 | 1240553.8393
16 | 2724504.6358 | 1240470.5237 | 2724492.3081 | 1240479.0724 | 2724485.2788 | 1240485.2969 | 2724481.342 | 1240494.1106 | 2724479.9951 | 1240501.6998 | 2724480.2433 | 1240505.2092
17 | 2724521.6227 | 1240491.1862 | 2724513.8714 | 1240493.2476 | 2724506.7128 | 1240476.0831 | 2724504.6358 | 1240470.5237
18 | 2724504.6358 | 1240470.5237 | 2724536.2448 | 1240459.4664 | 2724543.1724 | 1240458.0883 | 2724547.6871 | 1240460.3071 | 2724551.1691 | 1240468.4759 | 2724563.1237 | 1240515.7918
19 | 2724488.5494 | 1240545.7161 | 2724481.0276 | 1240516.3004 | 2724480.2433 | 1240505.2092
20 | 2724483.7928 | 1240552.4998 | 2724486.2313 | 1240561.7365 | 2724488.8373 | 1240572.3667
21 | 2724483.7928 | 1240552.4998 | 2724486.2313 | 1240561.7365 | 2724489.6416 | 1240561.0741 | 2724485.8808 | 1240546.3607 | 2724488.5494 | 1240545.7161
22 | 2724483.7928 | 1240552.4998 | 2724464.6891 | 1240555.5796 | 2724461.7615 | 1240537.87
23 | 2724488.8373 | 1240572.3667 | 2724492.3119 | 1240571.5166 | 2724493.7779 | 1240577.3523 | 2724496.4233 | 1240576.7294
24 | 2724488.5494 | 1240545.7161 | 2724499.9874 | 1240542.9655
25 | 2724460.7359 | 1240515.7856 | 2724459.2656 | 1240522.7718 | 2724461.7615 | 1240537.87
26 | 2724496.4233 | 1240576.7294 | 2724511.547 | 1240573.1322
27 | 2724504.7629 | 1240606.8184 | 2724496.4233 | 1240576.7294
28 | 2724499.9874 | 1240542.9655 | 2724506.3699 | 1240541.4307 | 2724512.555 | 1240536.5007 | 2724512.1028 | 1240534.315
29 | 2724591.0959 | 1240732.335 | 2724601.4224 | 1240703.4497 | 2724604.3889 | 1240692.5806 | 2724604.9482 | 1240680.3599 | 2724604.6435 | 1240669.2998 | 2724604.2519 | 1240654.8127
30 | 2724544.1994 | 1240661.358 | 2724544.8321 | 1240664.0069 | 2724549.011 | 1240663.116 | 2724570.0419 | 1240658.6647 | 2724599.6121 | 1240654.9599 | 2724604.2519 | 1240654.8127
31 | 2724604.2519 | 1240654.8127 | 2724615.9844 | 1240654.4253 | 2724621.96 | 1240654.2464
32 | 2724585.9551 | 1240731.1261 | 2724588.7212 | 1240731.5956 | 2724591.0959 | 1240732.335
33 | 2724591.0959 | 1240732.335 | 2724603.3575 | 1240736.1564
34 | 2724544.1994 | 1240661.358 | 2724548.4104 | 1240660.3789 | 2724573.2889 | 1240655.1342
35 | 2724544.1994 | 1240661.358 | 2724530.7073 | 1240663.6134
36 | 2724652.2049 | 1240653.3406 | 2724621.96 | 1240654.2464
37 | 2724585.9551 | 1240731.1261 | 2724574.7609 | 1240766.7544
38 | 2724585.9551 | 1240731.1261 | 2724569.1989 | 1240728.2519
39 | 2724585.9551 | 1240731.1261 | 2724594.1253 | 1240702.985 | 2724596.0742 | 1240692.8334
40 | 2724609.4932 | 1240738.0686 | 2724603.3575 | 1240736.1564
41 | 2724574.7609 | 1240766.7544 | 2724548.1769 | 1240759.1245
42 | 2724543.2515 | 1240723.8012 | 2724569.1989 | 1240728.2519
43 | 2724456.6202 | 1240466.0688 | 2724448.4778 | 1240470.1904
44 | 2724448.4778 | 1240470.1904 | 2724450.9607 | 1240472.2664 | 2724464.6005 | 1240483.652
45 | 2724460.7359 | 1240515.7856 | 2724473.429 | 1240513.2496 | 2724472.3061 | 1240504.0406 | 2724473.6114 | 1240491.5797
46 | 2724473.6114 | 1240491.5797 | 2724467.6874 | 1240486.2288 | 2724464.6005 | 1240483.652
47 | 2724460.7359 | 1240515.7856 | 2724415.6328 | 1240507.0106
48 | 2724321.6101 | 1240437.6607 | 2724320.1658 | 1240441.9673
49 | 2724320.1658 | 1240441.9673 | 2724300.6415 | 1240461.4971 | 2724281.678 | 1240485.6759 | 2724275.097 | 1240497.3991
50 | 2724321.6101 | 1240437.6607 | 2724360.2562 | 1240399.055
51 | 2724392.3448 | 1240367.6615 | 2724369.4428 | 1240389.8781 | 2724360.2562 | 1240399.055
52 | 2724697.4732 | 1240670.2164 | 2724694.7676 | 1240681.5615
53 | 2724688.8649 | 1240652.2427 | 2724697.4732 | 1240670.2164
54 | 2724690.19 | 1240700.7557 | 2724694.7676 | 1240681.5615
55 | 2724688.8649 | 1240652.2427 | 2724652.2049 | 1240653.3406
56 | 2724415.6328 | 1240507.0106 | 2724413.6755 | 1240520.6255
57 | 2724468.5731 | 1240769.5293 | 2724477.9626 | 1240772.2841 | 2724476.9248 | 1240778.1228 | 2724477.4534 | 1240780.6916 | 2724478.1266 | 1240783.9306 | 2724485.2902 | 1240791.8319 | 2724507.3816 | 1240809.6212 | 2724509.3388 | 1240807.5494
58 | 2724509.3388 | 1240807.5494 | 2724491.4899 | 1240793.7635 | 2724483.5428 | 1240785.7123 | 2724481.8479 | 1240779.6161 | 2724483.4336 | 1240771.4536 | 2724490.3155 | 1240748.9916
59 | 2724436.7679 | 1240745.6759 | 2724436.9436 | 1240748.8378 | 2724438.7864 | 1240753.6582 | 2724445.5365 | 1240760.005 | 2724460.1124 | 1240766.4827 | 2724463.7994 | 1240768.1281 | 2724468.5731 | 1240769.5293
60 | 2724468.5731 | 1240769.5293 | 2724469.9405 | 1240766.7223 | 2724475.2865 | 1240765.7224 | 2724478.7345 | 1240763.6152 | 2724480.5309 | 1240759.0026
61 | 2724490.3155 | 1240748.9916 | 2724499.0882 | 1240720.3576
62 | 2724436.7679 | 1240745.6759 | 2724437.2847 | 1240742.3172 | 2724437.7856 | 1240740.6422
63 | 2724480.5309 | 1240759.0026 | 2724481.037 | 1240757.703 | 2724487.7933 | 1240734.9281
64 | 2724513.4057 | 1240648.4012 | 2724514.3614 | 1240656.2056 | 2724516.9985 | 1240661.0205 | 2724521.2022 | 1240663.6331 | 2724529.0103 | 1240663.8971 | 2724530.7073 | 1240663.6134
65 | 2724506.6012 | 1240648.9701 | 2724509.397 | 1240648.7508 | 2724513.4057 | 1240648.4012
66 | 2724513.4057 | 1240648.4012 | 2724511.6198 | 1240636.1869
67 | 2724506.6012 | 1240648.9701 | 2724505.0034 | 1240638.2128
68 | 2724506.6012 | 1240648.9701 | 2724506.7538 | 1240657.5583
69 | 2724511.6198 | 1240636.1869 | 2724526.9166 | 1240632.3875
70 | 2724511.6198 | 1240636.1869 | 2724504.7629 | 1240606.8184
71 | 2724504.7629 | 1240606.8184 | 2724517.2823 | 1240604.1827
72 | 2724506.7538 | 1240657.5583 | 2724506.0476 | 1240670.2986 | 2724504.4555 | 1240678.7612 | 2724501.4377 | 1240688.9338
73 | 2724535.7968 | 1240624.7006 | 2724536.0516 | 1240625.3903 | 2724534.1193 | 1240630.5986 | 2724526.9166 | 1240632.3875
74 | 2724495.2165 | 1240709.9052 | 2724501.4377 | 1240688.9338
75 | 2724590.1345 | 1240621.8143 | 2724594.955 | 1240644.0419 | 2724593.844 | 1240648.678 | 2724590.7474 | 1240651.3375 | 2724576.3776 | 1240654.483 | 2724573.2889 | 1240655.1342
76 | 2724437.7856 | 1240740.6422 | 2724444.2493 | 1240719.0299
77 | 2724447.2496 | 1240708.9982 | 2724444.2493 | 1240719.0299
78 | 2724447.2496 | 1240708.9982 | 2724450.2684 | 1240697.6006
79 | 2724456.7863 | 1240675.3824 | 2724452.6713 | 1240688.528 | 2724450.2684 | 1240697.6006
80 | 2724463.827 | 1240651.82 | 2724463.2192 | 1240654.832 | 2724456.7863 | 1240675.3824
81 | 2724463.827 | 1240651.82 | 2724460.9391 | 1240640.8574
82 | 2724453.8896 | 1240614.0971 | 2724460.9391 | 1240640.8574
83 | 2724643.9973 | 1240732.39 | 2724645.4986 | 1240748.4127 | 2724676.6281 | 1240750.0344
84 | 2724676.6281 | 1240750.0344 | 2724680.9764 | 1240734.1979
85 | 2724684.3605 | 1240721.8732 | 2724680.9764 | 1240734.1979
86 | 2724690.19 | 1240700.7557 | 2724677.4343 | 1240698.629
87 | 2724690.19 | 1240700.7557 | 2724686.9013 | 1240712.6729
88 | 2724677.4343 | 1240698.629 | 2724665.8435 | 1240696.6965 | 2724667.3964 | 1240683.8228
89 | 2724685.9733 | 1240716.0355 | 2724686.9013 | 1240712.6729
90 | 2724685.9733 | 1240716.0355 | 2724684.3605 | 1240721.8732
91 | 2724684.3605 | 1240721.8732 | 2724664.2015 | 1240716.879 | 2724664.9402 | 1240712.6569
92 | 2724504.6998 | 1240700.9961 | 2724502.2726 | 1240709.9638 | 2724499.0882 | 1240720.3576
93 | 2724487.7933 | 1240734.9281 | 2724495.2165 | 1240709.9052
94 | 2724667.8037 | 1240680.4463 | 2724667.3964 | 1240683.8228
95 | 2724504.6998 | 1240700.9961 | 2724521.2203 | 1240704.8241

## bus_geodata
| x | y | coords
0 | 2724527.3892 | 1240400.4617
1 | 2724530.7254 | 1240396.0025
2 | 2724514.1496 | 1240418.0126
3 | 2724529.197 | 1240361.7144
4 | 2724504.8009 | 1240424.4553
5 | 2724569.0907 | 1240356.3691
6 | 2724557.2743 | 1240472.0403
7 | 2724560.2453 | 1240422.4166
8 | 2724570.1527 | 1240448.0955
9 | 2724563.0969 | 1240380.6974
10 | 2724488.3204 | 1240433.5
11 | 2724397.8278 | 1240428.3161
12 | 2724439.0463 | 1240462.327
13 | 2724354.6083 | 1240481.5174
14 | 2724504.6358 | 1240470.5237
15 | 2724480.2433 | 1240505.2092
16 | 2724521.6227 | 1240491.1862
17 | 2724563.1237 | 1240515.7918
18 | 2724483.7928 | 1240552.4998
19 | 2724488.8373 | 1240572.3667
20 | 2724488.5494 | 1240545.7161
21 | 2724461.7615 | 1240537.87
22 | 2724496.4233 | 1240576.7294
23 | 2724499.9874 | 1240542.9655
24 | 2724604.2519 | 1240654.8127
25 | 2724591.0959 | 1240732.335
26 | 2724544.1994 | 1240661.358
27 | 2724621.96 | 1240654.2464
28 | 2724585.9551 | 1240731.1261
29 | 2724603.3575 | 1240736.1564
30 | 2724574.7609 | 1240766.7544
31 | 2724569.1989 | 1240728.2519
32 | 2724596.0742 | 1240692.8334
33 | 2724456.6202 | 1240466.0688
34 | 2724448.4778 | 1240470.1904
35 | 2724473.6114 | 1240491.5797
36 | 2724460.7359 | 1240515.7856
37 | 2724464.6005 | 1240483.652
38 | 2724320.1658 | 1240441.9673
39 | 2724321.6101 | 1240437.6607
40 | 2724275.097 | 1240497.3991
41 | 2724392.3448 | 1240367.6615
42 | 2724697.4732 | 1240670.2164
43 | 2724694.7676 | 1240681.5615
44 | 2724688.8649 | 1240652.2427
45 | 2724652.2049 | 1240653.3406
46 | 2724415.6328 | 1240507.0106
47 | 2724509.3388 | 1240807.5494
48 | 2724468.5731 | 1240769.5293
49 | 2724490.3155 | 1240748.9916
50 | 2724436.7679 | 1240745.6759
51 | 2724480.5309 | 1240759.0026
52 | 2724513.4057 | 1240648.4012
53 | 2724530.7073 | 1240663.6134
54 | 2724506.6012 | 1240648.9701
55 | 2724511.6198 | 1240636.1869
56 | 2724504.7629 | 1240606.8184
57 | 2724517.2823 | 1240604.1827
58 | 2724511.547 | 1240573.1322
59 | 2724505.0034 | 1240638.2128
60 | 2724506.7538 | 1240657.5583
61 | 2724526.9166 | 1240632.3875
62 | 2724360.2562 | 1240399.055
63 | 2724501.4377 | 1240688.9338
64 | 2724573.2889 | 1240655.1342
65 | 2724437.7856 | 1240740.6422
66 | 2724447.2496 | 1240708.9982
67 | 2724444.2493 | 1240719.0299
68 | 2724450.2684 | 1240697.6006
69 | 2724463.827 | 1240651.82
70 | 2724456.7863 | 1240675.3824
71 | 2724460.9391 | 1240640.8574
72 | 2724676.6281 | 1240750.0344
73 | 2724643.9973 | 1240732.39
74 | 2724680.9764 | 1240734.1979
75 | 2724690.19 | 1240700.7557
76 | 2724677.4343 | 1240698.629
77 | 2724686.9013 | 1240712.6729
78 | 2724684.3605 | 1240721.8732
79 | 2724685.9733 | 1240716.0355
80 | 2724664.9402 | 1240712.6569
81 | 2724325.569 | 1240553.8393
82 | 2724512.1028 | 1240534.315
83 | 2724609.4932 | 1240738.0686
84 | 2724548.1769 | 1240759.1245
85 | 2724543.2515 | 1240723.8012
86 | 2724413.6755 | 1240520.6255
87 | 2724499.0882 | 1240720.3576
88 | 2724487.7933 | 1240734.9281
89 | 2724535.7968 | 1240624.7006
90 | 2724495.2165 | 1240709.9052
91 | 2724590.1345 | 1240621.8143
92 | 2724453.8896 | 1240614.0971
93 | 2724667.3964 | 1240683.8228
94 | 2724504.6998 | 1240700.9961
95 | 2724521.2203 | 1240704.8241
96 | 2724667.8037 | 1240680.4463
97 | 2724493.7779 | 1240577.3523

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1