## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3379-2_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3379-2_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3379-2_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_3379-2_0_5_node_43 | 0.4 | n |  | TRUE
4 | bus_LV_3379-2_0_5_node_38 | 0.4 | n |  | TRUE
5 | bus_LV_3379-2_0_5_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_3379-2_0_5_node_103 | 0.4 | n |  | TRUE
7 | bus_LV_3379-2_0_5_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_3379-2_0_5_node_25 | 0.4 | n |  | TRUE
9 | bus_LV_3379-2_0_5_node_62 | 0.4 | n |  | TRUE
10 | bus_LV_3379-2_0_5_node_145 | 0.4 | n |  | TRUE
11 | bus_LV_3379-2_0_5_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_3379-2_0_5_node_68 | 0.4 | n |  | TRUE
13 | bus_LV_3379-2_0_5_node_28 | 0.4 | n |  | TRUE
14 | bus_LV_3379-2_0_5_node_67 | 0.4 | n |  | TRUE
15 | bus_LV_3379-2_0_5_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_3379-2_0_5_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_3379-2_0_5_node_57 | 0.4 | n |  | TRUE
18 | bus_LV_3379-2_0_5_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_3379-2_0_5_node_148 | 0.4 | n |  | TRUE
20 | bus_LV_3379-2_0_5_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_3379-2_0_5_node_150 | 0.4 | n |  | TRUE
22 | bus_LV_3379-2_0_5_node_151 | 0.4 | n |  | TRUE
23 | bus_LV_3379-2_0_5_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_3379-2_0_5_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_3379-2_0_5_node_31 | 0.4 | n |  | TRUE
26 | bus_LV_3379-2_0_5_node_58 | 0.4 | n |  | TRUE
27 | bus_LV_3379-2_0_5_node_13 | 0.4 | n |  | TRUE
28 | bus_LV_3379-2_0_5_node_41 | 0.4 | n |  | TRUE
29 | bus_LV_3379-2_0_5_node_39 | 0.4 | n |  | TRUE
30 | bus_LV_3379-2_0_5_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_3379-2_0_5_node_156 | 0.4 | n |  | TRUE
32 | bus_LV_3379-2_0_5_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_3379-2_0_5_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_3379-2_0_5_node_149 | 0.4 | n |  | TRUE
35 | bus_LV_3379-2_0_5_node_18 | 0.4 | n |  | TRUE
36 | bus_LV_3379-2_0_5_node_74 | 0.4 | n |  | TRUE
37 | bus_LV_3379-2_0_5_node_79 | 0.4 | n |  | TRUE
38 | bus_LV_3379-2_0_5_node_77 | 0.4 | n |  | TRUE
39 | bus_LV_3379-2_0_5_node_122 | 0.4 | n |  | TRUE
40 | bus_LV_3379-2_0_5_node_152 | 0.4 | n |  | TRUE
41 | bus_LV_3379-2_0_5_node_23 | 0.4 | n |  | TRUE
42 | bus_LV_3379-2_0_5_node_146 | 0.4 | n |  | TRUE
43 | bus_LV_3379-2_0_5_node_24 | 0.4 | n |  | TRUE
44 | bus_LV_3379-2_0_5_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_3379-2_0_5_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_3379-2_0_5_node_27 | 0.4 | n |  | TRUE
47 | bus_LV_3379-2_0_5_node_100 | 0.4 | n |  | TRUE
48 | bus_LV_3379-2_0_5_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_3379-2_0_5_node_98 | 0.4 | n |  | TRUE
50 | bus_LV_3379-2_0_5_node_155 | 0.4 | n |  | TRUE
51 | bus_LV_3379-2_0_5_node_29 | 0.4 | n |  | TRUE
52 | bus_LV_3379-2_0_5_node_40 | 0.4 | n |  | TRUE
53 | bus_LV_3379-2_0_5_node_30 | 0.4 | n |  | TRUE
54 | bus_LV_3379-2_0_5_node_59 | 0.4 | n |  | TRUE
55 | bus_LV_3379-2_0_5_node_147 | 0.4 | n |  | TRUE
56 | bus_LV_3379-2_0_5_node_154 | 0.4 | n |  | TRUE
57 | bus_LV_3379-2_0_5_node_97 | 0.4 | n |  | TRUE
58 | bus_LV_3379-2_0_5_node_34 | 0.4 | n |  | TRUE
59 | bus_LV_3379-2_0_5_node_35 | 0.4 | n |  | TRUE
60 | bus_LV_3379-2_0_5_node_37 | 0.4 | n |  | TRUE
61 | bus_LV_3379-2_0_5_node_128 | 0.4 | n |  | TRUE
62 | bus_LV_3379-2_0_5_node_71 | 0.4 | n |  | TRUE
63 | bus_LV_3379-2_0_5_node_73 | 0.4 | n |  | TRUE
64 | bus_LV_3379-2_0_5_node_127 | 0.4 | n |  | TRUE
65 | bus_LV_3379-2_0_5_node_107 | 0.4 | n |  | TRUE
66 | bus_LV_3379-2_0_5_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_3379-2_0_5_node_96 | 0.4 | n |  | TRUE
68 | bus_LV_3379-2_0_5_node_69 | 0.4 | n |  | TRUE
69 | bus_LV_3379-2_0_5_node_63 | 0.4 | n |  | TRUE
70 | bus_LV_3379-2_0_5_node_64 | 0.4 | n |  | TRUE
71 | bus_LV_3379-2_0_5_node_61 | 0.4 | n |  | TRUE
72 | bus_LV_3379-2_0_5_node_75 | 0.4 | n |  | TRUE
73 | bus_LV_3379-2_0_5_node_102 | 0.4 | n |  | TRUE
74 | bus_LV_3379-2_0_5_node_101 | 0.4 | n |  | TRUE
75 | bus_LV_3379-2_0_5_node_133 | 0.4 | n |  | TRUE
76 | bus_LV_3379-2_0_5_node_78 | 0.4 | n |  | TRUE
77 | bus_LV_3379-2_0_5_node_76 | 0.4 | n |  | TRUE
78 | bus_LV_3379-2_0_5_node_123 | 0.4 | n |  | TRUE
79 | bus_LV_3379-2_0_5_node_124 | 0.4 | n |  | TRUE
80 | bus_LV_3379-2_0_5_node_99 | 0.4 | n |  | TRUE
81 | bus_LV_3379-2_0_5_node_72 | 0.4 | n |  | TRUE
82 | bus_LV_3379-2_0_5_node_126 | 0.4 | n |  | TRUE
83 | bus_LV_3379-2_0_5_node_44 | 0.4 | n |  | TRUE
84 | bus_LV_3379-2_0_5_node_45 | 0.4 | n |  | TRUE
85 | bus_LV_3379-2_0_5_node_46 | 0.4 | n |  | TRUE
86 | bus_LV_3379-2_0_5_node_47 | 0.4 | n |  | TRUE
87 | bus_LV_3379-2_0_5_node_48 | 0.4 | n |  | TRUE
88 | bus_LV_3379-2_0_5_node_49 | 0.4 | n |  | TRUE
89 | bus_LV_3379-2_0_5_node_50 | 0.4 | n |  | TRUE
90 | bus_LV_3379-2_0_5_node_55 | 0.4 | n |  | TRUE
91 | bus_LV_3379-2_0_5_node_121 | 0.4 | n |  | TRUE
92 | bus_LV_3379-2_0_5_node_51 | 0.4 | n |  | TRUE
93 | bus_LV_3379-2_0_5_node_56 | 0.4 | n |  | TRUE
94 | bus_LV_3379-2_0_5_node_52 | 0.4 | n |  | TRUE
95 | bus_LV_3379-2_0_5_node_53 | 0.4 | n |  | TRUE
96 | bus_LV_3379-2_0_5_node_120 | 0.4 | n |  | TRUE
97 | bus_LV_3379-2_0_5_node_119 | 0.4 | n |  | TRUE
98 | bus_LV_3379-2_0_5_node_105 | 0.4 | n |  | TRUE
99 | bus_LV_3379-2_0_5_node_104 | 0.4 | n |  | TRUE
100 | bus_LV_3379-2_0_5_node_106 | 0.4 | n |  | TRUE
101 | bus_LV_3379-2_0_5_node_109 | 0.4 | n |  | TRUE
102 | bus_LV_3379-2_0_5_node_83 | 0.4 | n |  | TRUE
103 | bus_LV_3379-2_0_5_node_132 | 0.4 | n |  | TRUE
104 | bus_LV_3379-2_0_5_node_131 | 0.4 | n |  | TRUE
105 | bus_LV_3379-2_0_5_node_94 | 0.4 | n |  | TRUE
106 | bus_LV_3379-2_0_5_node_95 | 0.4 | n |  | TRUE
107 | bus_LV_3379-2_0_5_node_65 | 0.4 | n |  | TRUE
108 | bus_LV_3379-2_0_5_node_66 | 0.4 | n |  | TRUE
109 | bus_LV_3379-2_0_5_node_70 | 0.4 | n |  | TRUE
110 | bus_LV_3379-2_0_5_node_134 | 0.4 | n |  | TRUE
111 | bus_LV_3379-2_0_5_node_135 | 0.4 | n |  | TRUE
112 | bus_LV_3379-2_0_5_node_80 | 0.4 | n |  | TRUE
113 | bus_LV_3379-2_0_5_node_81 | 0.4 | n |  | TRUE
114 | bus_LV_3379-2_0_5_node_82 | 0.4 | n |  | TRUE
115 | bus_LV_3379-2_0_5_node_84 | 0.4 | n |  | TRUE
116 | bus_LV_3379-2_0_5_node_85 | 0.4 | n |  | TRUE
117 | bus_LV_3379-2_0_5_node_86 | 0.4 | n |  | TRUE
118 | bus_LV_3379-2_0_5_node_115 | 0.4 | n |  | TRUE
119 | bus_LV_3379-2_0_5_node_125 | 0.4 | n |  | TRUE
120 | bus_LV_3379-2_0_5_node_113 | 0.4 | n |  | TRUE
121 | bus_LV_3379-2_0_5_node_87 | 0.4 | n |  | TRUE
122 | bus_LV_3379-2_0_5_node_88 | 0.4 | n |  | TRUE
123 | bus_LV_3379-2_0_5_node_89 | 0.4 | n |  | TRUE
124 | bus_LV_3379-2_0_5_node_90 | 0.4 | n |  | TRUE
125 | bus_LV_3379-2_0_5_node_91 | 0.4 | n |  | TRUE
126 | bus_LV_3379-2_0_5_node_92 | 0.4 | n |  | TRUE
127 | bus_LV_3379-2_0_5_node_93 | 0.4 | n |  | TRUE
128 | bus_LV_3379-2_0_5_node_137 | 0.4 | n |  | TRUE
129 | bus_LV_3379-2_0_5_node_140 | 0.4 | n |  | TRUE
130 | bus_LV_3379-2_0_5_node_138 | 0.4 | n |  | TRUE
131 | bus_LV_3379-2_0_5_node_153 | 0.4 | n |  | TRUE
132 | bus_LV_3379-2_0_5_node_141 | 0.4 | n |  | TRUE
133 | bus_LV_3379-2_0_5_node_139 | 0.4 | n |  | TRUE
134 | bus_LV_3379-2_0_5_node_136 | 0.4 | n |  | TRUE
135 | bus_LV_3379-2_0_5_node_108 | 0.4 | n |  | TRUE
136 | bus_LV_3379-2_0_5_node_129 | 0.4 | n |  | TRUE
137 | bus_LV_3379-2_0_5_node_130 | 0.4 | n |  | TRUE
138 | bus_LV_3379-2_0_5_node_110 | 0.4 | n |  | TRUE
139 | bus_LV_3379-2_0_5_node_111 | 0.4 | n |  | TRUE
140 | bus_LV_3379-2_0_5_node_112 | 0.4 | n |  | TRUE
141 | bus_LV_3379-2_0_5_node_114 | 0.4 | n |  | TRUE
142 | bus_LV_3379-2_0_5_node_116 | 0.4 | n |  | TRUE
143 | bus_LV_3379-2_0_5_node_117 | 0.4 | n |  | TRUE
144 | bus_LV_3379-2_0_5_node_118 | 0.4 | n |  | TRUE
145 | bus_LV_3379-2_0_5_node_143 | 0.4 | n |  | TRUE
146 | bus_LV_3379-2_0_5_node_144 | 0.4 | n |  | TRUE
147 | bus_LV_3379-2_0_5_node_142 | 0.4 | n |  | TRUE
148 | bus_MV_153_0_node_148 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3379-2_0_5_load_0 | 0 | 0.0080268 | 0.0020117 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3379-2_0_5_load_1 | 1 | 0.0069286 | 0.0017365 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3379-2_0_5_load_43 | 3 | 0.003762 | 0.00094284 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3379-2_0_5_load_4 | 5 | 0.0026973 | 0.00067601 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3379-2_0_5_load_145 | 10 | 0.020163 | 0.0050534 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3379-2_0_5_load_67 | 14 | 0.016754 | 0.004199 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3379-2_0_5_load_57 | 17 | 0.012757 | 0.0031972 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3379-2_0_5_load_148 | 19 | 0.012712 | 0.0031858 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3379-2_0_5_load_150 | 21 | 0.013312 | 0.0033362 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3379-2_0_5_load_151 | 22 | 0.010001 | 0.0025065 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3379-2_0_5_load_58 | 26 | 0.02456 | 0.0061554 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3379-2_0_5_load_41 | 28 | 0.026707 | 0.0066934 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3379-2_0_5_load_39 | 29 | 0.0085448 | 0.0021415 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3379-2_0_5_load_156 | 31 | 0.004867 | 0.0012198 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3379-2_0_5_load_149 | 34 | 0.0051794 | 0.0012981 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3379-2_0_5_load_74 | 36 | 0.0025765 | 0.00064574 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3379-2_0_5_load_122 | 39 | 0.010007 | 0.0025081 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3379-2_0_5_load_152 | 40 | 0.0072331 | 0.0018128 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3379-2_0_5_load_146 | 42 | 0.013353 | 0.0033467 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3379-2_0_5_load_42 | 45 | 0.012469 | 0.003125 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3379-2_0_5_load_98 | 49 | 0.0016891 | 0.00042332 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3379-2_0_5_load_155 | 50 | 0.0023564 | 0.00059057 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3379-2_0_5_load_59 | 54 | 0.010526 | 0.002638 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3379-2_0_5_load_147 | 55 | 0.0014604 | 0.00036601 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3379-2_0_5_load_154 | 56 | 0.00132 | 0.00033082 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3379-2_0_5_load_128 | 61 | 0.025162 | 0.0063061 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3379-2_0_5_load_71 | 62 | 0.0022402 | 0.00056146 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3379-2_0_5_load_73 | 63 | 0.067287 | 0.016864 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3379-2_0_5_load_127 | 64 | 0.0014783 | 0.00037049 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3379-2_0_5_load_60 | 66 | 0.019625 | 0.0049184 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3379-2_0_5_load_96 | 67 | 0.00083097 | 0.00020826 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3379-2_0_5_load_69 | 68 | 0.0061736 | 0.0015472 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3379-2_0_5_load_63 | 69 | 0.0047056 | 0.0011793 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3379-2_0_5_load_61 | 71 | 0.015436 | 0.0038686 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3379-2_0_5_load_75 | 72 | 0.00068692 | 0.00017216 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3379-2_0_5_load_102 | 73 | 0.00067105 | 0.00016818 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3379-2_0_5_load_101 | 74 | 0.0014557 | 0.00036483 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3379-2_0_5_load_133 | 75 | 0.00094984 | 0.00023805 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3379-2_0_5_load_78 | 76 | 0.0011257 | 0.00028212 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3379-2_0_5_load_76 | 77 | 0.0025366 | 0.00063573 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3379-2_0_5_load_123 | 78 | 0.0018533 | 0.00046448 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3379-2_0_5_load_124 | 79 | 0.0017834 | 0.00044695 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3379-2_0_5_load_99 | 80 | 0.00065396 | 0.0001639 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3379-2_0_5_load_72 | 81 | 0.0023569 | 0.0005907 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3379-2_0_5_load_126 | 82 | 0.0037453 | 0.00093866 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3379-2_0_5_load_44 | 83 | 0.00071936 | 0.00018029 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3379-2_0_5_load_45 | 84 | 0.00074146 | 0.00018583 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3379-2_0_5_load_47 | 86 | 0.00091378 | 0.00022901 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3379-2_0_5_load_48 | 87 | 0.0010289 | 0.00025788 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3379-2_0_5_load_49 | 88 | 0.0014814 | 0.00037126 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3379-2_0_5_load_50 | 89 | 0.0012702 | 0.00031835 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3379-2_0_5_load_55 | 90 | 0.0013559 | 0.00033983 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3379-2_0_5_load_121 | 91 | 0.0012172 | 0.00030507 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3379-2_0_5_load_51 | 92 | 0.00053173 | 0.00013326 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3379-2_0_5_load_56 | 93 | 0.00045588 | 0.00011426 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3379-2_0_5_load_120 | 96 | 0.0048796 | 0.0012229 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3379-2_0_5_load_119 | 97 | 0.0035718 | 0.00089517 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3379-2_0_5_load_104 | 99 | 0.0041415 | 0.001038 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3379-2_0_5_load_109 | 101 | 0.0020951 | 0.00052509 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3379-2_0_5_load_83 | 102 | 0.0034766 | 0.00087132 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3379-2_0_5_load_132 | 103 | 0.002358 | 0.00059098 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3379-2_0_5_load_94 | 105 | 0.00088273 | 0.00022123 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3379-2_0_5_load_95 | 106 | 0.00048132 | 0.00012063 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3379-2_0_5_load_65 | 107 | 0.013582 | 0.0034039 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3379-2_0_5_load_70 | 109 | 0.005619 | 0.0014082 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3379-2_0_5_load_80 | 112 | 0.0028763 | 0.00072087 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3379-2_0_5_load_84 | 115 | 0.0021855 | 0.00054774 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3379-2_0_5_load_86 | 117 | 0.0090639 | 0.0022716 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3379-2_0_5_load_125 | 119 | 0.0010858 | 0.00027213 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3379-2_0_5_load_113 | 120 | 0.0024383 | 0.00061109 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3379-2_0_5_load_87 | 121 | 0.00080708 | 0.00020227 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3379-2_0_5_load_91 | 125 | 0.00069895 | 0.00017517 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3379-2_0_5_load_92 | 126 | 0.0010501 | 0.00026319 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3379-2_0_5_load_93 | 127 | 0.00066379 | 0.00016636 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3379-2_0_5_load_137 | 128 | 0.00076895 | 0.00019272 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3379-2_0_5_load_140 | 129 | 0.0012674 | 0.00031764 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3379-2_0_5_load_153 | 131 | 0.00079245 | 0.00019861 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3379-2_0_5_load_139 | 133 | 0.0015678 | 0.00039294 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3379-2_0_5_load_108 | 135 | 0.0041445 | 0.0010387 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3379-2_0_5_load_129 | 136 | 0.0020837 | 0.00052223 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3379-2_0_5_load_130 | 137 | 0.0033689 | 0.00084433 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_3379-2_0_5_load_110 | 138 | 0.025762 | 0.0064564 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_3379-2_0_5_load_111 | 139 | 0.0019261 | 0.00048273 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_3379-2_0_5_load_112 | 140 | 0.0022078 | 0.00055333 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_3379-2_0_5_load_116 | 142 | 0.017766 | 0.0044526 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_3379-2_0_5_load_117 | 143 | 0.001916 | 0.0004802 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_3379-2_0_5_load_118 | 144 | 0.017977 | 0.0045054 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_3379-2_0_5_load_143 | 145 | 0.00021031 | 5.2709e-05 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_3379-2_0_5_load_144 | 146 | 0.0012119 | 0.00030374 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_3379-2_0_5_load_142 | 147 | 0.00033896 | 8.4951e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 44 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3379-2_0_5_line_0 |  | 0 | 1 | 0.028133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3379-2_0_5_line_1 |  | 1 | 2 | 0.0067996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3379-2_0_5_line_2 |  | 2 | 3 | 0.096791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3379-2_0_5_line_3 |  | 2 | 4 | 0.005603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3379-2_0_5_line_4 |  | 4 | 64 | 0.052419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_3379-2_0_5_line_5 |  | 4 | 58 | 0.004282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_3379-2_0_5_line_6 |  | 4 | 59 | 0.0074741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3379-2_0_5_line_7 |  | 5 | 6 | 0.015394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3379-2_0_5_line_8 |  | 6 | 65 | 0.0739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3379-2_0_5_line_9 |  | 6 | 47 | 0.051812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3379-2_0_5_line_10 |  | 7 | 8 | 0.010494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3379-2_0_5_line_11 |  | 7 | 9 | 0.044312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_3379-2_0_5_line_12 |  | 7 | 10 | 0.032682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3379-2_0_5_line_13 |  | 8 | 33 | 0.057594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3379-2_0_5_line_14 |  | 8 | 35 | 0.020727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3379-2_0_5_line_15 |  | 9 | 66 | 0.027539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3379-2_0_5_line_16 |  | 9 | 18 | 0.005667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_3379-2_0_5_line_17 |  | 11 | 12 | 0.027251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3379-2_0_5_line_18 |  | 11 | 13 | 0.019559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3379-2_0_5_line_19 |  | 11 | 14 | 0.04092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3379-2_0_5_line_20 |  | 12 | 68 | 0.018315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3379-2_0_5_line_21 |  | 12 | 53 | 0.024367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3379-2_0_5_line_22 |  | 13 | 50 | 0.016452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3379-2_0_5_line_23 |  | 15 | 16 | 0.079317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3379-2_0_5_line_24 |  | 15 | 17 | 0.035209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3379-2_0_5_line_25 |  | 16 | 33 | 0.0092957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3379-2_0_5_line_26 |  | 18 | 19 | 0.032797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_3379-2_0_5_line_27 |  | 19 | 25 | 0.028771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_3379-2_0_5_line_28 |  | 20 | 21 | 0.03386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3379-2_0_5_line_29 |  | 20 | 22 | 0.020687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3379-2_0_5_line_30 |  | 21 | 34 | 0.014706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3379-2_0_5_line_31 |  | 22 | 52 | 0.058745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3379-2_0_5_line_32 |  | 23 | 24 | 0.042726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_3379-2_0_5_line_33 |  | 23 | 25 | 0.016452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_3379-2_0_5_line_34 |  | 23 | 26 | 0.030204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3379-2_0_5_line_35 |  | 24 | 40 | 0.019122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_3379-2_0_5_line_36 |  | 24 | 27 | 0.15183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3379-2_0_5_line_37 |  | 25 | 55 | 0.016699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3379-2_0_5_line_38 |  | 26 | 54 | 0.023563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3379-2_0_5_line_39 |  | 27 | 28 | 0.086484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3379-2_0_5_line_40 |  | 27 | 29 | 0.023553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3379-2_0_5_line_41 |  | 29 | 51 | 0.011198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3379-2_0_5_line_42 |  | 30 | 31 | 0.018225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3379-2_0_5_line_43 |  | 30 | 32 | 0.11655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3379-2_0_5_line_44 |  | 32 | 34 | 0.030312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3379-2_0_5_line_45 |  | 33 | 37 | 0.15684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3379-2_0_5_line_46 |  | 33 | 38 | 0.039989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3379-2_0_5_line_47 |  | 33 | 39 | 0.058744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3379-2_0_5_line_48 |  | 35 | 36 | 0.014578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3379-2_0_5_line_49 |  | 36 | 72 | 0.018693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3379-2_0_5_line_50 |  | 37 | 75 | 0.032559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3379-2_0_5_line_51 |  | 38 | 76 | 0.20101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3379-2_0_5_line_52 |  | 38 | 77 | 0.03704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3379-2_0_5_line_53 |  | 39 | 78 | 0.053256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3379-2_0_5_line_54 |  | 40 | 42 | 0.027601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_3379-2_0_5_line_55 |  | 41 | 42 | 0.011898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_3379-2_0_5_line_56 |  | 41 | 43 | 0.043123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_3379-2_0_5_line_57 |  | 43 | 44 | 0.01896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_3379-2_0_5_line_58 |  | 43 | 45 | 0.02682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_3379-2_0_5_line_59 |  | 44 | 62 | 0.0099653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3379-2_0_5_line_60 |  | 45 | 58 | 0.084956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_3379-2_0_5_line_61 |  | 46 | 47 | 0.037962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3379-2_0_5_line_62 |  | 46 | 48 | 0.053409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3379-2_0_5_line_63 |  | 46 | 49 | 0.014215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3379-2_0_5_line_64 |  | 47 | 74 | 0.012952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3379-2_0_5_line_65 |  | 48 | 56 | 0.013523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3379-2_0_5_line_66 |  | 48 | 57 | 0.019353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3379-2_0_5_line_67 |  | 49 | 80 | 0.01105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3379-2_0_5_line_68 |  | 51 | 52 | 0.005229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3379-2_0_5_line_69 |  | 53 | 54 | 0.0026236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3379-2_0_5_line_70 |  | 57 | 67 | 0.034354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3379-2_0_5_line_71 |  | 59 | 60 | 0.011313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3379-2_0_5_line_72 |  | 59 | 61 | 0.019041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3379-2_0_5_line_73 |  | 60 | 63 | 0.043669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3379-2_0_5_line_74 |  | 63 | 81 | 0.080448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3379-2_0_5_line_75 |  | 64 | 82 | 0.021428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
76 | LV_3379-2_0_5_line_76 |  | 65 | 102 | 0.034127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
77 | LV_3379-2_0_5_line_77 |  | 65 | 98 | 0.004618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
78 | LV_3379-2_0_5_line_78 |  | 66 | 71 | 0.0094946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3379-2_0_5_line_79 |  | 68 | 108 | 0.018396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3379-2_0_5_line_80 |  | 69 | 70 | 0.0033266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3379-2_0_5_line_81 |  | 70 | 107 | 0.03142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3379-2_0_5_line_82 |  | 70 | 108 | 0.032218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3379-2_0_5_line_83 |  | 73 | 74 | 0.049298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3379-2_0_5_line_84 |  | 76 | 110 | 0.4657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3379-2_0_5_line_85 |  | 78 | 79 | 0.078435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3379-2_0_5_line_86 |  | 82 | 115 | 0.019295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
87 | LV_3379-2_0_5_line_87 |  | 83 | 84 | 0.010221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3379-2_0_5_line_88 |  | 83 | 85 | 0.012012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3379-2_0_5_line_89 |  | 84 | 86 | 0.016303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3379-2_0_5_line_90 |  | 85 | 87 | 0.022473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_3379-2_0_5_line_91 |  | 85 | 88 | 0.052068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_3379-2_0_5_line_92 |  | 86 | 89 | 0.019805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_3379-2_0_5_line_93 |  | 87 | 90 | 0.0365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_3379-2_0_5_line_94 |  | 88 | 91 | 0.021426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_3379-2_0_5_line_95 |  | 89 | 92 | 0.015854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_3379-2_0_5_line_96 |  | 90 | 93 | 0.098105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_3379-2_0_5_line_97 |  | 92 | 94 | 0.047563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_3379-2_0_5_line_98 |  | 93 | 105 | 0.087033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_3379-2_0_5_line_99 |  | 94 | 95 | 0.05128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_3379-2_0_5_line_100 |  | 95 | 96 | 0.038663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_3379-2_0_5_line_101 |  | 96 | 97 | 0.0076937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_3379-2_0_5_line_102 |  | 97 | 144 | 0.023877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_3379-2_0_5_line_103 |  | 98 | 99 | 0.04092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
104 | LV_3379-2_0_5_line_104 |  | 99 | 100 | 0.048702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
105 | LV_3379-2_0_5_line_105 |  | 100 | 101 | 0.0080314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
106 | LV_3379-2_0_5_line_106 |  | 101 | 136 | 0.010694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_3379-2_0_5_line_107 |  | 102 | 113 | 0.029419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
108 | LV_3379-2_0_5_line_108 |  | 103 | 104 | 0.014959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_3379-2_0_5_line_109 |  | 104 | 137 | 0.019931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_3379-2_0_5_line_110 |  | 104 | 143 | 0.0042311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_3379-2_0_5_line_111 |  | 105 | 106 | 0.0017331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_3379-2_0_5_line_112 |  | 108 | 109 | 0.020073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_3379-2_0_5_line_113 |  | 110 | 111 | 0.064699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_3379-2_0_5_line_114 |  | 111 | 134 | 0.009302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_3379-2_0_5_line_115 |  | 111 | 127 | 0.20333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_3379-2_0_5_line_116 |  | 112 | 113 | 0.010042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_3379-2_0_5_line_117 |  | 112 | 114 | 0.014297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_3379-2_0_5_line_118 |  | 113 | 115 | 0.0072829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
119 | LV_3379-2_0_5_line_119 |  | 113 | 116 | 0.003685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_3379-2_0_5_line_120 |  | 114 | 117 | 0.013577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_3379-2_0_5_line_121 |  | 116 | 118 | 0.002432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_3379-2_0_5_line_122 |  | 118 | 119 | 0.0083632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_3379-2_0_5_line_123 |  | 118 | 120 | 0.013239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_3379-2_0_5_line_124 |  | 119 | 135 | 0.0031239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_3379-2_0_5_line_125 |  | 121 | 122 | 0.0077451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_3379-2_0_5_line_126 |  | 121 | 123 | 0.035219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_3379-2_0_5_line_127 |  | 122 | 124 | 0.03754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_3379-2_0_5_line_128 |  | 122 | 125 | 0.021604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_3379-2_0_5_line_129 |  | 123 | 126 | 0.019706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_3379-2_0_5_line_130 |  | 123 | 127 | 0.014297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_3379-2_0_5_line_131 |  | 124 | 128 | 0.050938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_3379-2_0_5_line_132 |  | 125 | 129 | 0.028709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_3379-2_0_5_line_133 |  | 126 | 130 | 0.054268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_3379-2_0_5_line_134 |  | 127 | 131 | 0.63482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_3379-2_0_5_line_135 |  | 129 | 132 | 0.028586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_3379-2_0_5_line_136 |  | 130 | 133 | 0.015957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_3379-2_0_5_line_137 |  | 132 | 147 | 0.0036447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_3379-2_0_5_line_138 |  | 134 | 145 | 0.011331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_3379-2_0_5_line_139 |  | 136 | 137 | 0.014187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_3379-2_0_5_line_140 |  | 138 | 139 | 0.014681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_3379-2_0_5_line_141 |  | 138 | 140 | 0.0079191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_3379-2_0_5_line_142 |  | 140 | 141 | 0.020328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_3379-2_0_5_line_143 |  | 141 | 142 | 0.029036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_3379-2_0_5_line_144 |  | 141 | 143 | 0.017264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_3379-2_0_5_line_145 |  | 142 | 144 | 0.023304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_3379-2_0_5_line_146 |  | 145 | 146 | 0.0092474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3379-2_0_5_trafo_36 | 0.63 MVA 20/0.4 kV | 148 | 44 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29
0 | 2724930.1956 | 1240035.0986 | 2724958.315 | 1240034.231
1 | 2724965.1114 | 1240034.0213 | 2724958.315 | 1240034.231
2 | 2724965.1114 | 1240034.0213 | 2724963.0563 | 1240075.5573 | 2724935.1592 | 1240087.3134 | 2724922.0029 | 1240085.9243 | 2724917.5138 | 1240096.8501
3 | 2724965.1114 | 1240034.0213 | 2724970.7281 | 1240033.8505
4 | 2724970.7281 | 1240033.8505 | 2724970.6912 | 1240052.1206 | 2724968.5752 | 1240070.6916 | 2724965.5382 | 1240085.8479
5 | 2724970.7351 | 1240029.5693 | 2724970.7281 | 1240033.8505
6 | 2724975.2823 | 1240036.7154 | 2724975.1943 | 1240033.711 | 2724970.7281 | 1240033.8505
7 | 2724882.447 | 1240173.5767 | 2724886.4629 | 1240158.716
8 | 2724882.447 | 1240173.5767 | 2724921.2966 | 1240188.7957 | 2724948.9061 | 1240198.9296 | 2724949.4398 | 1240196.2164
9 | 2724882.447 | 1240173.5767 | 2724879.5078 | 1240172.6919 | 2724836.4661 | 1240157.1626 | 2724833.5866 | 1240155.9566
10 | 2725042.9674 | 1239819.8476 | 2725047.1053 | 1239822.0143 | 2725052.6267 | 1239823.8655
11 | 2725042.9674 | 1239819.8476 | 2725028.1993 | 1239808.4048 | 2725007.2555 | 1239793.4846
12 | 2725042.9674 | 1239819.8476 | 2725023.4733 | 1239846.079
13 | 2725086.5854 | 1239777.2862 | 2725052.6267 | 1239823.8655
14 | 2725041.2463 | 1239841.207 | 2725052.6267 | 1239823.8655
15 | 2725007.2555 | 1239793.4846 | 2725023.1894 | 1239771.0237
16 | 2725002.6268 | 1239790.1955 | 2725007.2555 | 1239793.4846
17 | 2724945.4589 | 1239757.7539 | 2724947.0039 | 1239760.5443 | 2724966.8933 | 1239774.1743
18 | 2724966.8933 | 1239774.1743 | 2724975.3287 | 1239779.5564 | 2724969.7188 | 1239787.2892
19 | 2724966.8933 | 1239774.1743 | 2724990.5866 | 1239740.8119
20 | 2724945.4589 | 1239757.7539 | 2724955.8985 | 1239742.7059
21 | 2724945.4589 | 1239757.7539 | 2724941.8585 | 1239760.2358 | 2724930.2728 | 1239776.5612
22 | 2724956.2486 | 1239777.7867 | 2724969.7188 | 1239787.2892
23 | 2725079.3706 | 1239771.4293 | 2725087.8398 | 1239760.1316 | 2725092.5261 | 1239753.8695 | 2725091.1283 | 1239748.4022 | 2725085.0918 | 1239741.2023 | 2725082.3031 | 1239738.9083 | 2725085.2602 | 1239735.7235 | 2725087.3864 | 1239733.5553 | 2725094.1369 | 1239724.4788 | 2725086.4526 | 1239719.0012 | 2725092.6259 | 1239710.3908
24 | 2725092.6259 | 1239710.3908 | 2725113.1326 | 1239681.7695
25 | 2725079.3706 | 1239771.4293 | 2725082.0973 | 1239773.7887 | 2725086.5854 | 1239777.2862
26 | 2725002.6268 | 1239790.1955 | 2724983.2567 | 1239816.6615
27 | 2724963.5563 | 1239824.1348 | 2724973.0504 | 1239830.6068 | 2724983.2567 | 1239816.6615
28 | 2724782.6551 | 1239842.9793 | 2724776.9022 | 1239845.6606 | 2724770.8282 | 1239849.5807 | 2724765.8467 | 1239854.0687 | 2724757.7423 | 1239864.9631
29 | 2724782.6551 | 1239842.9793 | 2724780.0719 | 1239837.0311 | 2724778.6182 | 1239832.7748 | 2724776.7352 | 1239826.2631 | 2724776.6322 | 1239823.3389
30 | 2724751.1376 | 1239878.0951 | 2724752.83 | 1239875.1573 | 2724757.7423 | 1239864.9631
31 | 2724800.532 | 1239770.3164 | 2724798.6897 | 1239775.5376 | 2724792.8368 | 1239786.9241 | 2724778.3812 | 1239813.1089 | 2724776.5031 | 1239819.6749 | 2724776.6322 | 1239823.3389
32 | 2724931.8984 | 1239848.8115 | 2724953.6773 | 1239817.2545 | 2724950.6345 | 1239814.0989
33 | 2724950.6345 | 1239814.0989 | 2724953.6773 | 1239817.2545 | 2724962.9134 | 1239823.4096 | 2724963.5563 | 1239824.1348
34 | 2724950.6345 | 1239814.0989 | 2724926.6473 | 1239795.7444
35 | 2724931.8984 | 1239848.8115 | 2724941.3123 | 1239855.1371 | 2724947.6093 | 1239859.7069
36 | 2724836.9623 | 1239786.6737 | 2724834.3573 | 1239810.8837 | 2724832.0493 | 1239836.8013 | 2724839.3615 | 1239836.9552 | 2724882.3642 | 1239837.56 | 2724885.6467 | 1239837.5958 | 2724898.7854 | 1239839.129 | 2724910.7034 | 1239841.5039 | 2724920.0194 | 1239844.5803 | 2724923.5608 | 1239845.2553 | 2724931.8984 | 1239848.8115
37 | 2724963.5563 | 1239824.1348 | 2724968.5752 | 1239817.1569 | 2724973.3503 | 1239810.6098
38 | 2724926.6473 | 1239795.7444 | 2724919.6996 | 1239790.4282 | 2724928.682 | 1239778.6476
39 | 2724836.9623 | 1239786.6737 | 2724841.7531 | 1239756.3824 | 2724843.2603 | 1239746.5948 | 2724849.0369 | 1239718.3482 | 2724853.0696 | 1239701.7488
40 | 2724836.9623 | 1239786.6737 | 2724822.3744 | 1239779.2275 | 2724815.6687 | 1239776.6762
41 | 2724805.2027 | 1239772.6944 | 2724815.6687 | 1239776.6762
42 | 2724775.8745 | 1239900.2737 | 2724779.8229 | 1239903.5372 | 2724792.8957 | 1239904.9575
43 | 2724735.7125 | 1239904.1886 | 2724726.6745 | 1239919.556 | 2724718.2278 | 1239934.1464 | 2724723.839 | 1239937.1223 | 2724732.0971 | 1239922.5058 | 2724737.9822 | 1239912.0985 | 2724738.8928 | 1239909.8046 | 2724744.6145 | 1239898.1706 | 2724762.2378 | 1239899.4086 | 2724763.71 | 1239899.5508 | 2724765.9677 | 1239899.7539 | 2724767.6076 | 1239899.8329 | 2724769.0283 | 1239899.9073 | 2724775.8745 | 1239900.2737
44 | 2724735.7125 | 1239904.1886 | 2724741.2493 | 1239894.8749 | 2724748.488 | 1239882.6946 | 2724751.1376 | 1239878.0951
45 | 2725086.5854 | 1239777.2862 | 2725098.0948 | 1239787.2037 | 2725101.5487 | 1239784.8523 | 2725108.2214 | 1239779.822 | 2725123.5315 | 1239776.6864 | 2725137.4021 | 1239772.9312 | 2725146.3498 | 1239772.3081 | 2725169.257 | 1239773.403 | 2725185.2859 | 1239773.1296 | 2725202.2883 | 1239765.8042 | 2725219.9865 | 1239758.4935 | 2725231.9732 | 1239752.2411
46 | 2725086.5854 | 1239777.2862 | 2725098.0948 | 1239787.2037 | 2725100.952 | 1239791.2673 | 2725102.7377 | 1239795.1971 | 2725103.8865 | 1239798.4796 | 2725104.6799 | 1239803.1892 | 2725105.3142 | 1239810.4197
47 | 2725086.5854 | 1239777.2862 | 2725091.8831 | 1239770.014 | 2725097.4532 | 1239762.3805 | 2725121.58 | 1239730.1047
48 | 2725041.2463 | 1239841.207 | 2725053.5953 | 1239848.9546
49 | 2725053.5953 | 1239848.9546 | 2725062.9809 | 1239854.8429 | 2725067.4162 | 1239848.6555
50 | 2725231.9732 | 1239752.2411 | 2725229.7689 | 1239750.2262 | 2725224.3369 | 1239742.7053 | 2725222.9223 | 1239737.6824 | 2725223.5309 | 1239732.502 | 2725227.0994 | 1239723.3094
51 | 2725105.3142 | 1239810.4197 | 2725116.5736 | 1239815.6836 | 2725119.066 | 1239814.4462 | 2725123.8775 | 1239802.2485 | 2725129.6204 | 1239794.6743 | 2725134.3109 | 1239790.7254 | 2725142.1073 | 1239787.2979 | 2725146.5473 | 1239787.6918 | 2725147.6296 | 1239789.4606 | 2725144.9674 | 1239793.7303 | 2725143.4964 | 1239798.1919 | 2725143.4791 | 1239806.543 | 2725145.9197 | 1239816.7252 | 2725148.912 | 1239822.2707 | 2725151.834 | 1239823.9781 | 2725155.1939 | 1239824.6495 | 2725170.9522 | 1239823.2138 | 2725192.3954 | 1239821.2532 | 2725219.9463 | 1239830.2862 | 2725244.1765 | 1239839.2937 | 2725251.1381 | 1239843.515
52 | 2725105.3142 | 1239810.4197 | 2725106.1914 | 1239819.4013 | 2725106.6535 | 1239832.2885 | 2725106.0701 | 1239836.6354 | 2725105.0234 | 1239839.9939 | 2725103.1545 | 1239844.6696 | 2725102.0967 | 1239846.5765
53 | 2725121.58 | 1239730.1047 | 2725153.4661 | 1239687.4489
54 | 2724970.0456 | 1239875.781 | 2724963.6436 | 1239871.3429 | 2724947.6093 | 1239859.7069
55 | 2724979.8236 | 1239882.5595 | 2724970.0456 | 1239875.781
56 | 2724975.274 | 1239918.9721 | 2724981.1903 | 1239907.8206 | 2724983.0134 | 1239903.1551 | 2724982.4557 | 1239898.3838 | 2724979.9104 | 1239893.882 | 2724974.7188 | 1239890.025 | 2724977.0027 | 1239886.4701 | 2724979.8236 | 1239882.5595
57 | 2724975.274 | 1239918.9721 | 2724980.3556 | 1239921.2254 | 2724985.3863 | 1239912.9688 | 2724988.7964 | 1239914.4863
58 | 2724975.274 | 1239918.9721 | 2724971.6308 | 1239930.6719 | 2724969.574 | 1239941.4042 | 2724969.0082 | 1239944.9985
59 | 2724988.7964 | 1239914.4863 | 2724993.3759 | 1239916.5177 | 2724998.3164 | 1239916.1325
60 | 2724970.7351 | 1240029.5693 | 2724966.62 | 1239985.39 | 2724966.5346 | 1239960.712 | 2724969.0082 | 1239944.9985
61 | 2724799.737 | 1240138.5749 | 2724833.5866 | 1240155.9566
62 | 2724789.326 | 1240101.6251 | 2724777.6559 | 1240123.0867 | 2724776.6252 | 1240124.9777 | 2724796.7794 | 1240137.1226 | 2724799.737 | 1240138.5749
63 | 2724799.737 | 1240138.5749 | 2724806.8947 | 1240126.2932
64 | 2724833.5866 | 1240155.9566 | 2724838.6868 | 1240144.0508
65 | 2724789.326 | 1240101.6251 | 2724801.2801 | 1240108.015
66 | 2724798.58 | 1240084.6164 | 2724789.326 | 1240101.6251
67 | 2724812.4587 | 1240116.7462 | 2724806.8947 | 1240126.2932
68 | 2724805.2027 | 1239772.6944 | 2724800.532 | 1239770.3164
69 | 2724930.2728 | 1239776.5612 | 2724928.682 | 1239778.6476
70 | 2724798.58 | 1240084.6164 | 2724814.9971 | 1240054.4385
71 | 2724975.2823 | 1240036.7154 | 2724979.9843 | 1240034.7238 | 2724984.0069 | 1240033.0182 | 2724985.394 | 1240031.813
72 | 2724975.2823 | 1240036.7154 | 2724975.8608 | 1240055.7475
73 | 2724985.394 | 1240031.813 | 2724990.814 | 1240032.0051 | 2724997.1662 | 1240031.038 | 2725021.9125 | 1240011.0345
74 | 2725046.4056 | 1239946.857 | 2725040.9138 | 1239960.3443 | 2725047.6343 | 1239967.7477 | 2725048.0968 | 1239978.4664 | 2725048.2756 | 1239989.724 | 2725021.9125 | 1240011.0345
75 | 2724962.2269 | 1240107.0173 | 2724965.2867 | 1240087.1028 | 2724965.5382 | 1240085.8479
76 | 2724949.4398 | 1240196.2164 | 2724953.0796 | 1240172.8178 | 2724954.6155 | 1240162.4847
77 | 2724954.0254 | 1240196.869 | 2724949.4398 | 1240196.2164
78 | 2725023.1894 | 1239771.0237 | 2725024.8607 | 1239768.6678 | 2725028.7954 | 1239763.3613
79 | 2724966.3843 | 1239727.5913 | 2724955.8985 | 1239742.7059
80 | 2724940.0103 | 1239708.9762 | 2724938.0207 | 1239711.6422
81 | 2724940.0103 | 1239708.9762 | 2724958.0215 | 1239683.2003
82 | 2724966.3843 | 1239727.5913 | 2724940.0103 | 1239708.9762
83 | 2724838.6868 | 1240144.0508 | 2724843.2367 | 1240133.4295 | 2724846.8175 | 1240120.0047 | 2724849.5825 | 1240099.3344 | 2724849.8788 | 1240096.354
84 | 2725648.4207 | 1239983.9897 | 2725641.5544 | 1239982.4319 | 2725630.538 | 1239975.7265 | 2725612.6308 | 1239968.2636 | 2725573.089 | 1239957.5181 | 2725567.3035 | 1239953.1476 | 2725558.476 | 1239948.1011 | 2725533.901 | 1239939.6967 | 2725446.8143 | 1239912.7667 | 2725409.6084 | 1239906.7201 | 2725364.8423 | 1239902.9493 | 2725317.1766 | 1239902.1424 | 2725283.4519 | 1239898.5387 | 2725253.8383 | 1239894.0657 | 2725248.065 | 1239890.174 | 2725247.7677 | 1239884.5519 | 2725249.7509 | 1239874.8189 | 2725255.7033 | 1239854.4607 | 2725255.9232 | 1239849.0608 | 2725253.506 | 1239844.9508 | 2725251.1381 | 1239843.515
85 | 2725153.4661 | 1239687.4489 | 2725164.8789 | 1239672.1814 | 2725194.7106 | 1239638.4154 | 2725205.0987 | 1239628.5637
86 | 2724959.7317 | 1240126.146 | 2724960.8245 | 1240116.1444 | 2724962.2269 | 1240107.0173
87 | 2725135.6497 | 1240150.5823 | 2725134.2428 | 1240151.8714 | 2725129.8044 | 1240158.8998
88 | 2725143.3121 | 1240141.5094 | 2725140.7918 | 1240145.871 | 2725135.6497 | 1240150.5823
89 | 2725123.1479 | 1240173.6869 | 2725126.7375 | 1240163.7565 | 2725129.8044 | 1240158.8998
90 | 2725143.3121 | 1240141.5094 | 2725151.7526 | 1240141.9543 | 2725165.3846 | 1240138.6749
91 | 2725143.3121 | 1240141.5094 | 2725145.7457 | 1240137.3127 | 2725145.1454 | 1240124.5338 | 2725139.993 | 1240111.6588 | 2725136.86 | 1240095.5793 | 2725137.3267 | 1240091.4311
92 | 2725123.1479 | 1240173.6869 | 2725119.1297 | 1240184.8027 | 2725116.8425 | 1240192.4535
93 | 2725171.9819 | 1240111.5414 | 2725171.8435 | 1240112.2529 | 2725171.9777 | 1240118.4387 | 2725172.9575 | 1240123.6304 | 2725174.8487 | 1240129.0081 | 2725176.4863 | 1240136.0041 | 2725165.3846 | 1240138.6749
94 | 2725137.3267 | 1240091.4311 | 2725138.7313 | 1240078.9492 | 2725142.1968 | 1240070.7896
95 | 2725116.8425 | 1240192.4535 | 2725113.9859 | 1240202.0087 | 2725109.7342 | 1240206.072
96 | 2725171.9819 | 1240111.5414 | 2725173.3623 | 1240104.4451 | 2725177.8211 | 1240096.4101 | 2725187.165 | 1240084.8752 | 2725201.3424 | 1240071.5741 | 2725207.566 | 1240065.9451 | 2725217.3009 | 1240060.9796 | 2725227.607 | 1240057.9833 | 2725236.9427 | 1240058.3138 | 2725244.8383 | 1240056.9793 | 2725244.8383 | 1240056.9793
97 | 2725068.6999 | 1240229.0995 | 2725078.4999 | 1240226.0479 | 2725103.193 | 1240212.3233 | 2725109.7342 | 1240206.072
98 | 2725239.9285 | 1239980.7727 | 2725235.5061 | 1239988.4026 | 2725234.8347 | 1239992.6142 | 2725237.4928 | 1240000.7215 | 2725242.4398 | 1240007.5538 | 2725248.6333 | 1240014.8239 | 2725253.612 | 1240022.3019 | 2725254.646 | 1240028.8626 | 2725253.6563 | 1240039.5507 | 2725252.9857 | 1240047.6655 | 2725250.0095 | 1240053.908 | 2725244.8383 | 1240056.9793
99 | 2725068.6999 | 1240229.0995 | 2725088.1619 | 1240190.4438 | 2725086.2154 | 1240182.6629
100 | 2725086.2154 | 1240182.6629 | 2725085.259 | 1240174.9251 | 2725077.9172 | 1240165.785 | 2725070.775 | 1240155.7928 | 2725071.3263 | 1240148.955
101 | 2725072.3798 | 1240141.3661 | 2725071.7686 | 1240143.4701 | 2725071.3263 | 1240148.955
102 | 2725073.9488 | 1240118.7611 | 2725075.4504 | 1240119.5387 | 2725074.7866 | 1240133.0805 | 2725072.3798 | 1240141.3661
103 | 2724954.0254 | 1240196.869 | 2724958.61 | 1240197.2102 | 2724962.0307 | 1240174.5187 | 2724975.291 | 1240176.2661
104 | 2725018.8299 | 1240189.4381 | 2725003.9435 | 1240187.9568 | 2724996.9651 | 1240186.6977 | 2724994.8537 | 1240180.9929 | 2724991.3608 | 1240178.3838 | 2724975.291 | 1240176.2661
105 | 2725018.8299 | 1240189.4381 | 2725021.2602 | 1240181.7832
106 | 2725021.2602 | 1240181.7832 | 2725024.4963 | 1240171.5905
107 | 2724958.9408 | 1240133.3858 | 2724954.6155 | 1240162.4847
108 | 2725036.206 | 1240139.5511 | 2725047.7173 | 1240149.1041
109 | 2725036.206 | 1240139.5511 | 2725029.2034 | 1240158.2115
110 | 2725036.206 | 1240139.5511 | 2725036.1858 | 1240135.32
111 | 2725240.7976 | 1239979.2732 | 2725239.9285 | 1239980.7727
112 | 2724978.0316 | 1239711.2227 | 2724966.3843 | 1239727.5913
113 | 2725648.4207 | 1239983.9897 | 2725648.7144 | 1239989.4116 | 2725650.8029 | 1239993.6704 | 2725653.9776 | 1239998.0747 | 2725653.9331 | 1240000.1755 | 2725653.8887 | 1240002.2763 | 2725652.0703 | 1240004.5509 | 2725646.1373 | 1240008.2173 | 2725640.4992 | 1240010.8224 | 2725624.5477 | 1240012.1081 | 2725611.6316 | 1240012.235
114 | 2725620.1052 | 1240016.1286 | 2725611.6316 | 1240012.235
115 | 2725556.4656 | 1240126.364 | 2725553.1403 | 1240099.0485 | 2725540.4002 | 1240015.4422 | 2725540.8332 | 1240006.7774 | 2725542.9561 | 1240001.1954 | 2725546.4987 | 1239996.4441 | 2725554.1966 | 1239991.5916 | 2725561.5264 | 1239991.2686 | 2725568.637 | 1239993.0761 | 2725598.8724 | 1240006.3823 | 2725611.6316 | 1240012.235
116 | 2724958.9408 | 1240133.3858 | 2724953.5395 | 1240134.1061 | 2724949.0043 | 1240133.379
117 | 2724934.9218 | 1240130.9116 | 2724947.4703 | 1240133.1331 | 2724949.0043 | 1240133.379
118 | 2724958.9408 | 1240133.3858 | 2724959.7317 | 1240126.146
119 | 2724962.6169 | 1240133.7635 | 2724958.9408 | 1240133.3858
120 | 2724934.9218 | 1240130.9116 | 2724929.1258 | 1240143.1888
121 | 2724962.6169 | 1240133.7635 | 2724962.1806 | 1240136.1564
122 | 2724962.1806 | 1240136.1564 | 2724961.0673 | 1240144.4451
123 | 2724962.1806 | 1240136.1564 | 2724967.9611 | 1240130.0062 | 2724969.5428 | 1240125.4751
124 | 2724960.6514 | 1240147.5413 | 2724961.0673 | 1240144.4451
125 | 2725541.6291 | 1240180.7849 | 2725545.1971 | 1240173.9107
126 | 2725555.9818 | 1240140.6436 | 2725552.1492 | 1240159.1003 | 2725548.0407 | 1240168.4324 | 2725545.1971 | 1240173.9107
127 | 2725512.0625 | 1240203.123 | 2725519.4633 | 1240200.1437 | 2725530.482 | 1240192.7816 | 2725541.6291 | 1240180.7849
128 | 2725541.6291 | 1240180.7849 | 2725552.9244 | 1240186.8066 | 2725559.8788 | 1240192.2057
129 | 2725555.9818 | 1240140.6436 | 2725575.1983 | 1240145.0104
130 | 2725555.9818 | 1240140.6436 | 2725556.5586 | 1240128.0452 | 2725556.4656 | 1240126.364
131 | 2725512.0625 | 1240203.123 | 2725508.3178 | 1240189.8994 | 2725506.6496 | 1240177.9319 | 2725505.9957 | 1240165.5743 | 2725506.3375 | 1240152.8427
132 | 2725559.8788 | 1240192.2057 | 2725563.2322 | 1240194.8091 | 2725570.3812 | 1240203.0117 | 2725576.2649 | 1240215.2544
133 | 2725625.0867 | 1240151.6925 | 2725624.0382 | 1240148.3341 | 2725617.4401 | 1240144.1243 | 2725611.4807 | 1240142.6192 | 2725603.7278 | 1240141.8545 | 2725591.0775 | 1240143.3771 | 2725579.1322 | 1240145.9043 | 2725575.1983 | 1240145.0104
134 | 2725020.4865 | 1239890.4333 | 2725026.2487 | 1239895.2142 | 2725031.478 | 1239895.1243 | 2725032.7478 | 1239895.8961 | 2725024.6207 | 1239901.3851 | 2725027.7682 | 1239904.9544 | 2725033.6952 | 1239907.6593 | 2725044.3646 | 1239906.8166 | 2725050.8518 | 1239912.0131 | 2725063.4353 | 1239911.8781 | 2725067.8133 | 1239906.5992 | 2725099.5719 | 1239909.4484 | 2725120.6431 | 1239904.6662 | 2725136.1836 | 1239906.7288 | 2725170.0976 | 1239907.0995 | 2725203.5221 | 1239919.5481 | 2725227.9437 | 1239933.4525 | 2725259.4241 | 1239955.5574 | 2725270.5544 | 1239972.651 | 2725273.5682 | 1239987.9163 | 2725276.7494 | 1239995.6121 | 2725282.8193 | 1240001.5674 | 2725295.1578 | 1240005.8647 | 2725313.8077 | 1240011.1294 | 2725349.0642 | 1240022.7612 | 2725391.5467 | 1240041.8298 | 2725429.2838 | 1240068.1491 | 2725456.5217 | 1240089.4091 | 2725508.7822 | 1240117.1814 | 2725556.4656 | 1240126.364
135 | 2725588.6472 | 1240241.0189 | 2725576.2649 | 1240215.2544
136 | 2725625.0867 | 1240151.6925 | 2725622.1523 | 1240167.3769
137 | 2725588.6472 | 1240241.0189 | 2725588.5355 | 1240244.6619
138 | 2725620.1052 | 1240016.1286 | 2725615.2521 | 1240026.3681
139 | 2725029.2034 | 1240158.2115 | 2725026.2194 | 1240166.1631 | 2725024.4963 | 1240171.5905
140 | 2725008.0824 | 1240102.4722 | 2725004.4699 | 1240102.3071 | 2724999.4651 | 1240099.2881 | 2724995.3432 | 1240096.0856
141 | 2725008.0824 | 1240102.4722 | 2725008.0824 | 1240102.4722 | 2725014.2283 | 1240107.4662
142 | 2725029.9538 | 1240120.3477 | 2725023.6639 | 1240115.1331 | 2725014.2283 | 1240107.4662
143 | 2725029.9538 | 1240120.3477 | 2725054.8761 | 1240105.449 | 2725054.8761 | 1240105.449
144 | 2725029.9538 | 1240120.3477 | 2725034.1174 | 1240123.7939 | 2725036.1599 | 1240129.8976 | 2725036.1858 | 1240135.32
145 | 2725054.8761 | 1240105.449 | 2725070.1897 | 1240116.8145 | 2725073.9488 | 1240118.7611
146 | 2725611.2916 | 1240034.7245 | 2725615.2521 | 1240026.3681

## bus_geodata
| x | y | coords
0 | 2724930.1956 | 1240035.0986
1 | 2724958.315 | 1240034.231
2 | 2724965.1114 | 1240034.0213
3 | 2724917.5138 | 1240096.8501
4 | 2724970.7281 | 1240033.8505
5 | 2724886.4629 | 1240158.716
6 | 2724882.447 | 1240173.5767
7 | 2725042.9674 | 1239819.8476
8 | 2725052.6267 | 1239823.8655
9 | 2725007.2555 | 1239793.4846
10 | 2725023.4733 | 1239846.079
11 | 2724966.8933 | 1239774.1743
12 | 2724945.4589 | 1239757.7539
13 | 2724969.7188 | 1239787.2892
14 | 2724990.5866 | 1239740.8119
15 | 2725092.6259 | 1239710.3908
16 | 2725079.3706 | 1239771.4293
17 | 2725113.1326 | 1239681.7695
18 | 2725002.6268 | 1239790.1955
19 | 2724983.2567 | 1239816.6615
20 | 2724782.6551 | 1239842.9793
21 | 2724757.7423 | 1239864.9631
22 | 2724776.6322 | 1239823.3389
23 | 2724950.6345 | 1239814.0989
24 | 2724931.8984 | 1239848.8115
25 | 2724963.5563 | 1239824.1348
26 | 2724926.6473 | 1239795.7444
27 | 2724836.9623 | 1239786.6737
28 | 2724853.0696 | 1239701.7488
29 | 2724815.6687 | 1239776.6762
30 | 2724775.8745 | 1239900.2737
31 | 2724792.8957 | 1239904.9575
32 | 2724735.7125 | 1239904.1886
33 | 2725086.5854 | 1239777.2862
34 | 2724751.1376 | 1239878.0951
35 | 2725041.2463 | 1239841.207
36 | 2725053.5953 | 1239848.9546
37 | 2725231.9732 | 1239752.2411
38 | 2725105.3142 | 1239810.4197
39 | 2725121.58 | 1239730.1047
40 | 2724947.6093 | 1239859.7069
41 | 2724979.8236 | 1239882.5595
42 | 2724970.0456 | 1239875.781
43 | 2724975.274 | 1239918.9721
44 | 2724988.7964 | 1239914.4863
45 | 2724969.0082 | 1239944.9985
46 | 2724799.737 | 1240138.5749
47 | 2724833.5866 | 1240155.9566
48 | 2724789.326 | 1240101.6251
49 | 2724806.8947 | 1240126.2932
50 | 2724956.2486 | 1239777.7867
51 | 2724805.2027 | 1239772.6944
52 | 2724800.532 | 1239770.3164
53 | 2724930.2728 | 1239776.5612
54 | 2724928.682 | 1239778.6476
55 | 2724973.3503 | 1239810.6098
56 | 2724801.2801 | 1240108.015
57 | 2724798.58 | 1240084.6164
58 | 2724970.7351 | 1240029.5693
59 | 2724975.2823 | 1240036.7154
60 | 2724985.394 | 1240031.813
61 | 2724975.8608 | 1240055.7475
62 | 2724998.3164 | 1239916.1325
63 | 2725021.9125 | 1240011.0345
64 | 2724965.5382 | 1240085.8479
65 | 2724949.4398 | 1240196.2164
66 | 2725023.1894 | 1239771.0237
67 | 2724814.9971 | 1240054.4385
68 | 2724955.8985 | 1239742.7059
69 | 2724938.0207 | 1239711.6422
70 | 2724940.0103 | 1239708.9762
71 | 2725028.7954 | 1239763.3613
72 | 2725067.4162 | 1239848.6555
73 | 2724849.8788 | 1240096.354
74 | 2724838.6868 | 1240144.0508
75 | 2725227.0994 | 1239723.3094
76 | 2725251.1381 | 1239843.515
77 | 2725102.0967 | 1239846.5765
78 | 2725153.4661 | 1239687.4489
79 | 2725205.0987 | 1239628.5637
80 | 2724812.4587 | 1240116.7462
81 | 2725046.4056 | 1239946.857
82 | 2724962.2269 | 1240107.0173
83 | 2725135.6497 | 1240150.5823
84 | 2725129.8044 | 1240158.8998
85 | 2725143.3121 | 1240141.5094
86 | 2725123.1479 | 1240173.6869
87 | 2725165.3846 | 1240138.6749
88 | 2725137.3267 | 1240091.4311
89 | 2725116.8425 | 1240192.4535
90 | 2725171.9819 | 1240111.5414
91 | 2725142.1968 | 1240070.7896
92 | 2725109.7342 | 1240206.072
93 | 2725244.8383 | 1240056.9793
94 | 2725068.6999 | 1240229.0995
95 | 2725086.2154 | 1240182.6629
96 | 2725071.3263 | 1240148.955
97 | 2725072.3798 | 1240141.3661
98 | 2724954.0254 | 1240196.869
99 | 2724975.291 | 1240176.2661
100 | 2725018.8299 | 1240189.4381
101 | 2725021.2602 | 1240181.7832
102 | 2724954.6155 | 1240162.4847
103 | 2725047.7173 | 1240149.1041
104 | 2725036.206 | 1240139.5511
105 | 2725239.9285 | 1239980.7727
106 | 2725240.7976 | 1239979.2732
107 | 2724958.0215 | 1239683.2003
108 | 2724966.3843 | 1239727.5913
109 | 2724978.0316 | 1239711.2227
110 | 2725648.4207 | 1239983.9897
111 | 2725611.6316 | 1240012.235
112 | 2724949.0043 | 1240133.379
113 | 2724958.9408 | 1240133.3858
114 | 2724934.9218 | 1240130.9116
115 | 2724959.7317 | 1240126.146
116 | 2724962.6169 | 1240133.7635
117 | 2724929.1258 | 1240143.1888
118 | 2724962.1806 | 1240136.1564
119 | 2724961.0673 | 1240144.4451
120 | 2724969.5428 | 1240125.4751
121 | 2725545.1971 | 1240173.9107
122 | 2725541.6291 | 1240180.7849
123 | 2725555.9818 | 1240140.6436
124 | 2725512.0625 | 1240203.123
125 | 2725559.8788 | 1240192.2057
126 | 2725575.1983 | 1240145.0104
127 | 2725556.4656 | 1240126.364
128 | 2725506.3375 | 1240152.8427
129 | 2725576.2649 | 1240215.2544
130 | 2725625.0867 | 1240151.6925
131 | 2725020.4865 | 1239890.4333
132 | 2725588.6472 | 1240241.0189
133 | 2725622.1523 | 1240167.3769
134 | 2725620.1052 | 1240016.1286
135 | 2724960.6514 | 1240147.5413
136 | 2725024.4963 | 1240171.5905
137 | 2725029.2034 | 1240158.2115
138 | 2725008.0824 | 1240102.4722
139 | 2724995.3432 | 1240096.0856
140 | 2725014.2283 | 1240107.4662
141 | 2725029.9538 | 1240120.3477
142 | 2725054.8761 | 1240105.449
143 | 2725036.1858 | 1240135.32
144 | 2725073.9488 | 1240118.7611
145 | 2725615.2521 | 1240026.3681
146 | 2725611.2916 | 1240034.7245
147 | 2725588.5355 | 1240244.6619
148 | 2724985.3863 | 1239912.9688

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1