## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3379-4_2_1_node_262 | 0.4 | n |  | TRUE
1 | bus_LV_3379-4_2_1_node_28 | 0.4 | n |  | TRUE
2 | bus_LV_3379-4_2_1_node_10 | 0.4 | n |  | TRUE
3 | bus_LV_3379-4_2_1_node_11 | 0.4 | n |  | TRUE
4 | bus_LV_3379-4_2_1_node_12 | 0.4 | n |  | TRUE
5 | bus_LV_3379-4_2_1_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_3379-4_2_1_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_3379-4_2_1_node_19 | 0.4 | n |  | TRUE
8 | bus_LV_3379-4_2_1_node_15 | 0.4 | n |  | TRUE
9 | bus_LV_3379-4_2_1_node_16 | 0.4 | n |  | TRUE
10 | bus_LV_3379-4_2_1_node_17 | 0.4 | n |  | TRUE
11 | bus_LV_3379-4_2_1_node_18 | 0.4 | n |  | TRUE
12 | bus_LV_3379-4_2_1_node_44 | 0.4 | n |  | TRUE
13 | bus_LV_3379-4_2_1_node_25 | 0.4 | n |  | TRUE
14 | bus_LV_3379-4_2_1_node_20 | 0.4 | n |  | TRUE
15 | bus_LV_3379-4_2_1_node_21 | 0.4 | n |  | TRUE
16 | bus_LV_3379-4_2_1_node_23 | 0.4 | n |  | TRUE
17 | bus_LV_3379-4_2_1_node_42 | 0.4 | n |  | TRUE
18 | bus_LV_3379-4_2_1_node_81 | 0.4 | n |  | TRUE
19 | bus_LV_3379-4_2_1_node_24 | 0.4 | n |  | TRUE
20 | bus_LV_3379-4_2_1_node_185 | 0.4 | n |  | TRUE
21 | bus_LV_3379-4_2_1_node_26 | 0.4 | n |  | TRUE
22 | bus_LV_3379-4_2_1_node_27 | 0.4 | n |  | TRUE
23 | bus_LV_3379-4_2_1_node_29 | 0.4 | n |  | TRUE
24 | bus_LV_3379-4_2_1_node_30 | 0.4 | n |  | TRUE
25 | bus_LV_3379-4_2_1_node_31 | 0.4 | n |  | TRUE
26 | bus_LV_3379-4_2_1_node_32 | 0.4 | n |  | TRUE
27 | bus_LV_3379-4_2_1_node_33 | 0.4 | n |  | TRUE
28 | bus_LV_3379-4_2_1_node_34 | 0.4 | n |  | TRUE
29 | bus_LV_3379-4_2_1_node_36 | 0.4 | n |  | TRUE
30 | bus_LV_3379-4_2_1_node_255 | 0.4 | n |  | TRUE
31 | bus_LV_3379-4_2_1_node_254 | 0.4 | n |  | TRUE
32 | bus_LV_3379-4_2_1_node_37 | 0.4 | n |  | TRUE
33 | bus_LV_3379-4_2_1_node_41 | 0.4 | n |  | TRUE
34 | bus_LV_3379-4_2_1_node_38 | 0.4 | n |  | TRUE
35 | bus_LV_3379-4_2_1_node_39 | 0.4 | n |  | TRUE
36 | bus_LV_3379-4_2_1_node_40 | 0.4 | n |  | TRUE
37 | bus_LV_3379-4_2_1_node_179 | 0.4 | n |  | TRUE
38 | bus_LV_3379-4_2_1_node_45 | 0.4 | n |  | TRUE
39 | bus_LV_3379-4_2_1_node_180 | 0.4 | n |  | TRUE
40 | bus_LV_3379-4_2_1_node_181 | 0.4 | n |  | TRUE
41 | bus_LV_3379-4_2_1_node_182 | 0.4 | n |  | TRUE
42 | bus_LV_3379-4_2_1_node_183 | 0.4 | n |  | TRUE
43 | bus_LV_3379-4_2_1_node_184 | 0.4 | n |  | TRUE
44 | bus_MV_0_node_24 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3379-4_2_1_load_262 | 0 | 0.00054682 | 0.00013705 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3379-4_2_1_load_10 | 2 | 0.0021227 | 0.00053199 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3379-4_2_1_load_11 | 3 | 0.00037457 | 9.3875e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3379-4_2_1_load_13 | 5 | 0.00023426 | 5.871e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3379-4_2_1_load_19 | 7 | 0.0002851 | 7.1453e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3379-4_2_1_load_15 | 8 | 0.00045971 | 0.00011521 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3379-4_2_1_load_44 | 12 | 0.0011452 | 0.00028701 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3379-4_2_1_load_25 | 13 | 0.00043861 | 0.00010993 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3379-4_2_1_load_20 | 14 | 0.0026111 | 0.00065441 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3379-4_2_1_load_21 | 15 | 0.0040145 | 0.0010061 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3379-4_2_1_load_81 | 18 | 0.0016727 | 0.00041922 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3379-4_2_1_load_24 | 19 | 0.00098221 | 0.00024617 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3379-4_2_1_load_27 | 22 | 0.00055994 | 0.00014033 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3379-4_2_1_load_29 | 23 | 0.00034385 | 8.6177e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3379-4_2_1_load_33 | 27 | 0.00051753 | 0.00012971 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3379-4_2_1_load_34 | 28 | 0.00089458 | 0.0002242 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3379-4_2_1_load_255 | 30 | 0.00089011 | 0.00022308 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3379-4_2_1_load_254 | 31 | 0.00021787 | 5.4604e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3379-4_2_1_load_37 | 32 | 0.00058612 | 0.0001469 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3379-4_2_1_load_41 | 33 | 0.00068857 | 0.00017257 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3379-4_2_1_load_38 | 34 | 0.00060117 | 0.00015067 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3379-4_2_1_load_39 | 35 | 0.00038923 | 9.7549e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3379-4_2_1_load_40 | 36 | 0.0013022 | 0.00032636 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3379-4_2_1_load_179 | 37 | 0.0018674 | 0.00046801 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3379-4_2_1_load_45 | 38 | 0.00073302 | 0.00018371 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3379-4_2_1_load_181 | 40 | 0.0010793 | 0.00027049 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3379-4_2_1_load_182 | 41 | 0.0010649 | 0.00026688 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3379-4_2_1_load_183 | 42 | 0.0015119 | 0.00037892 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3379-4_2_1_load_184 | 43 | 0.00048569 | 0.00012173 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 19 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3379-4_2_1_line_0 |  | 0 | 1 | 0.078012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3379-4_2_1_line_1 |  | 1 | 21 | 0.35956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3379-4_2_1_line_2 |  | 2 | 3 | 0.0028458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3379-4_2_1_line_3 |  | 2 | 4 | 0.031412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3379-4_2_1_line_4 |  | 3 | 5 | 0.10748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3379-4_2_1_line_5 |  | 4 | 6 | 0.11183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3379-4_2_1_line_6 |  | 6 | 7 | 0.075989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3379-4_2_1_line_7 |  | 6 | 8 | 0.01335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3379-4_2_1_line_8 |  | 8 | 9 | 0.23956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3379-4_2_1_line_9 |  | 9 | 10 | 0.10162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3379-4_2_1_line_10 |  | 9 | 11 | 0.2451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3379-4_2_1_line_11 |  | 10 | 12 | 0.049297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3379-4_2_1_line_12 |  | 11 | 13 | 0.01864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3379-4_2_1_line_13 |  | 12 | 38 | 0.049414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3379-4_2_1_line_14 |  | 13 | 21 | 0.088618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3379-4_2_1_line_15 |  | 14 | 15 | 0.054859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3379-4_2_1_line_16 |  | 15 | 16 | 0.030031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3379-4_2_1_line_17 |  | 16 | 17 | 0.011084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3379-4_2_1_line_18 |  | 16 | 18 | 0.052224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3379-4_2_1_line_19 |  | 17 | 37 | 0.010606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3379-4_2_1_line_20 |  | 17 | 36 | 0.018153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3379-4_2_1_line_21 |  | 18 | 39 | 0.013488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3379-4_2_1_line_22 |  | 19 | 20 | 0.0054372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3379-4_2_1_line_23 |  | 20 | 22 | 0.13273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3379-4_2_1_line_24 |  | 20 | 43 | 0.027847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3379-4_2_1_line_25 |  | 21 | 22 | 0.36112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3379-4_2_1_line_26 |  | 23 | 24 | 0.12568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3379-4_2_1_line_27 |  | 23 | 25 | 0.039459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3379-4_2_1_line_28 |  | 24 | 26 | 0.11369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3379-4_2_1_line_29 |  | 24 | 27 | 0.032542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3379-4_2_1_line_30 |  | 25 | 28 | 0.057907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3379-4_2_1_line_31 |  | 25 | 29 | 0.20137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3379-4_2_1_line_32 |  | 26 | 30 | 0.056134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3379-4_2_1_line_33 |  | 26 | 31 | 0.099075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3379-4_2_1_line_34 |  | 27 | 32 | 0.13233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3379-4_2_1_line_35 |  | 29 | 33 | 0.3298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3379-4_2_1_line_36 |  | 33 | 35 | 0.015277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3379-4_2_1_line_37 |  | 34 | 35 | 0.043343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3379-4_2_1_line_38 |  | 34 | 36 | 0.203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3379-4_2_1_line_39 |  | 39 | 40 | 0.011259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3379-4_2_1_line_40 |  | 39 | 41 | 0.017848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3379-4_2_1_line_41 |  | 41 | 42 | 0.0033204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3379-4_2_1_line_42 |  | 42 | 43 | 0.045889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3379-4_2_1_trafo_24 | 0.63 MVA 20/0.4 kV | 44 | 19 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2724009.7656 | 1242754.8389 | 2724042.267 | 1242806.7619 | 2724040.3903 | 1242823.459
1 | 2724009.7656 | 1242754.8389 | 2724004.8433 | 1242795.3257 | 2723998.0287 | 1242804.8135 | 2723984.2769 | 1242854.2456 | 2723982.5169 | 1242865.3738 | 2723964.0025 | 1242874.6281 | 2723941.3535 | 1242862.4782 | 2723927.093 | 1242863.2032 | 2723916.2866 | 1242869.0602 | 2723903.6438 | 1242913.9452 | 2723897.0784 | 1242886.9186 | 2723899.617 | 1242863.1294 | 2723892.2164 | 1242851.8209 | 2723896.5795 | 1242837.7001 | 2723900.5707 | 1242817.4886 | 2723887.2539 | 1242796.9266
2 | 2723501.9895 | 1243044.8414 | 2723499.5105 | 1243043.4439
3 | 2723531.5799 | 1243054.4845 | 2723510.7715 | 1243049.7918 | 2723501.9895 | 1243044.8414
4 | 2723427.3104 | 1243063.3778 | 2723466.6399 | 1243019.5703 | 2723478.7473 | 1243015.8301 | 2723483.4663 | 1243029.5843 | 2723493.6055 | 1243040.1153 | 2723499.5105 | 1243043.4439
5 | 2723531.5799 | 1243054.4845 | 2723530.0539 | 1243050.4271 | 2723531.2415 | 1243032.2587 | 2723513.3507 | 1243014.905 | 2723495.8427 | 1242998.7715 | 2723487.7125 | 1242979.9977 | 2723502.0576 | 1242973.0125 | 2723506.0483 | 1242974.5413
6 | 2723506.0483 | 1242974.5413 | 2723505.5753 | 1242962.766 | 2723493.717 | 1242954.5345 | 2723475.594 | 1242958.483 | 2723468.5462 | 1242960.3379 | 2723445.5281 | 1242953.7826
7 | 2723506.0483 | 1242974.5413 | 2723518.5073 | 1242979.338
8 | 2723751.4473 | 1242975.7881 | 2723748.0194 | 1242984.6129 | 2723718.8996 | 1242980.3689 | 2723620.0515 | 1242974.6708 | 2723518.5073 | 1242979.338
9 | 2723751.4473 | 1242975.7881 | 2723674.5587 | 1242909.0846
10 | 2723751.4473 | 1242975.7881 | 2723810.9154 | 1242847.2314 | 2723816.3398 | 1242820.6555 | 2723807.0117 | 1242762.234 | 2723810.2079 | 1242745.3197
11 | 2723674.5587 | 1242909.0846 | 2723660.3032 | 1242912.4793 | 2723646.6991 | 1242908.2033 | 2723632.0205 | 1242907.23 | 2723626.7262 | 1242905.1961
12 | 2723810.2079 | 1242745.3197 | 2723828.7668 | 1242747.0517
13 | 2723605.0343 | 1242871.7046 | 2723616.2892 | 1242876.5987 | 2723612.0545 | 1242887.4975 | 2723616.4407 | 1242901.2449 | 2723626.7262 | 1242905.1961
14 | 2723887.2539 | 1242796.9266 | 2723886.8667 | 1242780.716 | 2723876.4028 | 1242766.5523 | 2723860.4084 | 1242750.0045 | 2723828.7668 | 1242747.0517
15 | 2723965.1433 | 1243372.9491 | 2723949.3709 | 1243358.942 | 2723924.3856 | 1243336.2311
16 | 2723991.7129 | 1243375.8075 | 2723987.8547 | 1243379.1742 | 2723981.772 | 1243380.4481 | 2723976.6733 | 1243379.8633 | 2723968.581 | 1243376.0021 | 2723965.1433 | 1243372.9491
17 | 2723999.2233 | 1243367.7243 | 2723995.9638 | 1243372.1043 | 2723991.7129 | 1243375.8075
18 | 2723991.7129 | 1243375.8075 | 2723989.8082 | 1243369.9961 | 2723991.4167 | 1243358.52 | 2723976.335 | 1243335.2964 | 2723972.6353 | 1243329.5559
19 | 2723999.2233 | 1243367.7243 | 2724004.1055 | 1243376.8562 | 2724004.2248 | 1243377.0766
20 | 2723999.2233 | 1243367.7243 | 2724003.0352 | 1243362.5996 | 2724006.4014 | 1243353.8403 | 2724007.1673 | 1243351.5848
21 | 2723965.3285 | 1243318.2187 | 2723972.6353 | 1243329.5559
22 | 2723902.7957 | 1243267.1363 | 2723898.0894 | 1243264.4135
23 | 2723902.7957 | 1243267.1363 | 2723904.8928 | 1243252.5344 | 2723903.6012 | 1243222.0818 | 2723887.3462 | 1243184.7776 | 2723874.1547 | 1243144.8686 | 2723873.2028 | 1243140.1857
24 | 2723902.7957 | 1243267.1363 | 2723913.5133 | 1243272.7315 | 2723918.5871 | 1243274.1497 | 2723922.1274 | 1243275.1467 | 2723926.8141 | 1243280.0887
25 | 2723887.2539 | 1242796.9266 | 2723879.7488 | 1242849.2474 | 2723875.2871 | 1242864.834 | 2723870.3531 | 1242868.2895 | 2723855.7965 | 1242873.7792 | 2723848.262 | 1242886.9775 | 2723850.3472 | 1243001.0838 | 2723852.083 | 1243029.1103 | 2723864.6931 | 1243098.3207 | 2723873.2028 | 1243140.1857
26 | 2724129.977 | 1243065.781 | 2724125.637 | 1243057.1162 | 2724124.0451 | 1243050.8109 | 2724130.8358 | 1242978.1695 | 2724134.0542 | 1242941.7845
27 | 2724137.8082 | 1242902.6405 | 2724136.2675 | 1242907.6125 | 2724135.6203 | 1242924.0795 | 2724134.0542 | 1242941.7845
28 | 2724129.977 | 1243065.781 | 2724138.87 | 1243078.7224 | 2724155.281 | 1243103.8202 | 2724166.5722 | 1243116.6895 | 2724180.7523 | 1243132.0548 | 2724188.1654 | 1243145.9661 | 2724196.9717 | 1243157.2599
29 | 2724129.977 | 1243065.781 | 2724125.7961 | 1243069.7413 | 2724123.3511 | 1243083.9577 | 2724121.3977 | 1243096.1601
30 | 2724137.8082 | 1242902.6405 | 2724144.3479 | 1242905.2017 | 2724150.7353 | 1242909.9838 | 2724156.1671 | 1242917.0701 | 2724160.0149 | 1242926.8589 | 2724164.3767 | 1242931.5986 | 2724173.8013 | 1242936.8557 | 2724179.4432 | 1242939.4862
31 | 2724084.8616 | 1242790.0605 | 2724087.3762 | 1242783.3519 | 2724090.7418 | 1242777.8954 | 2724104.5892 | 1242757.9015 | 2724107.7432 | 1242752.4406 | 2724110.5622 | 1242760.8177 | 2724114.2517 | 1242782.5132 | 2724122.9139 | 1242846.5928 | 2724124.6732 | 1242866.5798 | 2724124.6587 | 1242887.4971 | 2724125.9594 | 1242892.1839 | 2724130.1171 | 1242895.4847 | 2724137.8082 | 1242902.6405
32 | 2724196.9717 | 1243157.2599 | 2724206.2791 | 1243182.1647 | 2724216.0377 | 1243210.0703
33 | 2724196.9717 | 1243157.2599 | 2724203.6642 | 1243154.3198 | 2724225.3444 | 1243140.8177 | 2724233.8442 | 1243128.8411 | 2724243.9976 | 1243114.4527 | 2724268.9837 | 1243091.5009
34 | 2724115.6028 | 1243227.2721 | 2724117.6748 | 1243220.0316 | 2724117.7895 | 1243213.8288 | 2724116.2699 | 1243200.0965 | 2724115.8922 | 1243188.5233 | 2724120.5946 | 1243157.4843 | 2724117.2884 | 1243121.8295 | 2724121.3977 | 1243096.1601
35 | 2724084.8616 | 1242790.0605 | 2724083.6516 | 1242793.6827 | 2724082.0289 | 1242810.5185 | 2724084.6483 | 1242830.6013 | 2724092.9721 | 1242889.5473 | 2724094.7165 | 1242915.3055 | 2724095.7277 | 1242960.1978 | 2724094.3583 | 1243025.9913 | 2724088.6863 | 1243092.8847 | 2724087.6841 | 1243102.116 | 2724083.6608 | 1243113.7194 | 2724081.0707 | 1243116.8376
36 | 2724081.0707 | 1243116.8376 | 2724076.6335 | 1243122.1796 | 2724070.5732 | 1243127.8976
37 | 2724039.9825 | 1243158.4597 | 2724044.7126 | 1243152.1153 | 2724061.8628 | 1243136.1159 | 2724070.5732 | 1243127.8976
38 | 2724007.1673 | 1243351.5848 | 2724009.8095 | 1243343.8031 | 2724010.7713 | 1243333.6035 | 2724009.0085 | 1243324.6257 | 2724006.6295 | 1243308.5958 | 2724004.6674 | 1243294.3205 | 2724003.8923 | 1243252.2133 | 2724004.0413 | 1243234.2456 | 2724007.361 | 1243216.867 | 2724014.2787 | 1243202.0658 | 2724036.4512 | 1243163.1964 | 2724039.9825 | 1243158.4597
39 | 2723965.3285 | 1243318.2187 | 2723970.4676 | 1243308.1954
40 | 2723965.3285 | 1243318.2187 | 2723954.3748 | 1243313.0745 | 2723948.6734 | 1243313.7958
41 | 2723948.6734 | 1243313.7958 | 2723945.3793 | 1243314.2126
42 | 2723945.3793 | 1243314.2126 | 2723942.2305 | 1243314.611 | 2723934.2948 | 1243311.209 | 2723931.1974 | 1243306.0289 | 2723931.8998 | 1243298.4705 | 2723932.3581 | 1243293.5426 | 2723931.9293 | 1243285.4824 | 2723926.8141 | 1243280.0887

## bus_geodata
| x | y | coords
0 | 2724040.3903 | 1242823.459
1 | 2724009.7656 | 1242754.8389
2 | 2723501.9895 | 1243044.8414
3 | 2723499.5105 | 1243043.4439
4 | 2723531.5799 | 1243054.4845
5 | 2723427.3104 | 1243063.3778
6 | 2723506.0483 | 1242974.5413
7 | 2723445.5281 | 1242953.7826
8 | 2723518.5073 | 1242979.338
9 | 2723751.4473 | 1242975.7881
10 | 2723674.5587 | 1242909.0846
11 | 2723810.2079 | 1242745.3197
12 | 2723626.7262 | 1242905.1961
13 | 2723828.7668 | 1242747.0517
14 | 2723924.3856 | 1243336.2311
15 | 2723965.1433 | 1243372.9491
16 | 2723991.7129 | 1243375.8075
17 | 2723999.2233 | 1243367.7243
18 | 2723972.6353 | 1243329.5559
19 | 2723898.0894 | 1243264.4135
20 | 2723902.7957 | 1243267.1363
21 | 2723887.2539 | 1242796.9266
22 | 2723873.2028 | 1243140.1857
23 | 2724134.0542 | 1242941.7845
24 | 2724129.977 | 1243065.781
25 | 2724137.8082 | 1242902.6405
26 | 2724196.9717 | 1243157.2599
27 | 2724121.3977 | 1243096.1601
28 | 2724179.4432 | 1242939.4862
29 | 2724084.8616 | 1242790.0605
30 | 2724216.0377 | 1243210.0703
31 | 2724268.9837 | 1243091.5009
32 | 2724115.6028 | 1243227.2721
33 | 2724081.0707 | 1243116.8376
34 | 2724039.9825 | 1243158.4597
35 | 2724070.5732 | 1243127.8976
36 | 2724007.1673 | 1243351.5848
37 | 2724004.2248 | 1243377.0766
38 | 2723605.0343 | 1242871.7046
39 | 2723965.3285 | 1243318.2187
40 | 2723970.4676 | 1243308.1954
41 | 2723948.6734 | 1243313.7958
42 | 2723945.3793 | 1243314.2126
43 | 2723926.8141 | 1243280.0887
44 | 2723898.0894 | 1243264.4135

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99673 | -0.063456 | 0.00054682 | 0.00013705
1 | 0.99677 | -0.062706 | 0 | 0
2 | 0.99404 | -0.11559 | 0.0021227 | 0.00053199
3 | 0.99404 | -0.11562 | 0.00037457 | 9.3875e-05
4 | 0.99412 | -0.11407 | 0 | 0
5 | 0.99402 | -0.11606 | 0.00023426 | 5.871e-05
6 | 0.9944 | -0.10867 | 0 | 0
7 | 0.99438 | -0.10905 | 0.0002851 | 7.1453e-05
8 | 0.99443 | -0.10796 | 0.00045971 | 0.00011521
9 | 0.99519 | -0.093227 | 0 | 0
10 | 0.99502 | -0.096595 | 0 | 0
11 | 0.99639 | -0.07003 | 0 | 0
12 | 0.99494 | -0.098228 | 0.0011452 | 0.00028701
13 | 0.99648 | -0.068266 | 0.00043861 | 0.00010993
14 | 0.99693 | -0.059269 | 0.0026111 | 0.00065441
15 | 0.99706 | -0.056757 | 0.0040145 | 0.0010061
16 | 0.99724 | -0.053268 | 0 | 0
17 | 0.99715 | -0.054889 | 0 | 0
18 | 0.99795 | -0.039569 | 0.0016727 | 0.00041922
19 | 1 | 0 | -0.029381 | -0.0069365
20 | 0.99986 | -0.0026317 | 0 | 0
21 | 0.99695 | -0.059203 | 0 | 0
22 | 0.99903 | -0.018767 | 0.00055994 | 0.00014033
23 | 0.9941 | -0.11432 | 0.00034385 | 8.6177e-05
24 | 0.99385 | -0.11926 | 0 | 0
25 | 0.9942 | -0.11253 | 0 | 0
26 | 0.99374 | -0.1215 | 0 | 0
27 | 0.99382 | -0.1199 | 0.00051753 | 0.00012971
28 | 0.99415 | -0.11345 | 0.00089458 | 0.0002242
29 | 0.99483 | -0.1002 | 0 | 0
30 | 0.99369 | -0.12238 | 0.00089011 | 0.00022308
31 | 0.99372 | -0.12189 | 0.00021787 | 5.4604e-05
32 | 0.99375 | -0.12127 | 0.00058612 | 0.0001469
33 | 0.99586 | -0.079985 | 0.00068857 | 0.00017257
34 | 0.9961 | -0.075384 | 0.00060117 | 0.00015067
35 | 0.99592 | -0.078863 | 0.00038923 | 9.7549e-05
36 | 0.99705 | -0.056952 | 0.0013022 | 0.00032636
37 | 0.99714 | -0.055237 | 0.0018674 | 0.00046801
38 | 0.9949 | -0.098866 | 0.00073302 | 0.00018371
39 | 0.99815 | -0.035639 | 0 | 0
40 | 0.99814 | -0.035851 | 0.0010793 | 0.00027049
41 | 0.99844 | -0.030104 | 0.0010649 | 0.00026688
42 | 0.99849 | -0.029013 | 0.0015119 | 0.00037892
43 | 0.99934 | -0.012734 | 0.00048569 | 0.00012173
44 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.00054682 | -0.00013705 | 0.00054684 | 0.00013604 | 1.9487e-08 | -1.0043e-06 | 0.00081634 | 0.00081599 | 0.00081634 | 0.99673 | -0.063456 | 0.99677 | -0.062706 | 0.22427
1 | -0.00054684 | -0.00013604 | 0.00054693 | 0.00013141 | 8.9598e-08 | -4.6302e-06 | 0.00081599 | 0.00081437 | 0.00081599 | 0.99677 | -0.062706 | 0.99695 | -0.059203 | 0.22417
2 | 0.00060883 | 0.00015116 | -0.00060883 | -0.00015119 | 8.8542e-10 | -3.6325e-08 | 0.00091087 | 0.00091089 | 0.00091089 | 0.99404 | -0.11559 | 0.99404 | -0.11562 | 0.25024
3 | -0.0027315 | -0.00068315 | 0.0027317 | 0.00068287 | 1.9688e-07 | -2.8123e-07 | 0.0040884 | 0.0040882 | 0.0040884 | 0.99404 | -0.11559 | 0.99412 | -0.11407 | 1.1232
4 | 0.00023426 | 5.732e-05 | -0.00023426 | -5.871e-05 | 4.9496e-09 | -1.3901e-06 | 0.00035019 | 0.00035067 | 0.00035067 | 0.99404 | -0.11562 | 0.99402 | -0.11606 | 0.096339
5 | -0.0027317 | -0.00068287 | 0.0027324 | 0.00068186 | 7.0082e-07 | -1.0018e-06 | 0.0040882 | 0.0040877 | 0.0040882 | 0.99412 | -0.11407 | 0.9944 | -0.10867 | 1.1231
6 | 0.00028511 | 7.0471e-05 | -0.0002851 | -7.1453e-05 | 5.1826e-09 | -9.8245e-07 | 0.00042629 | 0.00042664 | 0.00042664 | 0.9944 | -0.10867 | 0.99438 | -0.10905 | 0.11721
7 | -0.0030175 | -0.00075234 | 0.0030176 | 0.00075223 | 1.0201e-07 | -1.0791e-07 | 0.004514 | 0.0045139 | 0.004514 | 0.9944 | -0.10867 | 0.99443 | -0.10796 | 1.2401
8 | -0.0034773 | -0.00086744 | 0.0034797 | 0.00086589 | 2.4303e-06 | -1.5549e-06 | 0.0052018 | 0.0052007 | 0.0052018 | 0.99443 | -0.10796 | 0.99519 | -0.093227 | 1.4291
9 | 0.0018787 | 0.00046842 | -0.0018784 | -0.00046955 | 3.0055e-07 | -1.1278e-06 | 0.0028081 | 0.0028086 | 0.0028086 | 0.99519 | -0.093227 | 0.99502 | -0.096595 | 0.7716
10 | -0.0053584 | -0.0013343 | 0.0053643 | 0.0013349 | 5.8945e-06 | 5.8402e-07 | 0.0080089 | 0.0080077 | 0.0080089 | 0.99519 | -0.093227 | 0.99639 | -0.07003 | 2.2002
11 | 0.0018784 | 0.00046955 | -0.0018782 | -0.00047009 | 1.4584e-07 | -5.4692e-07 | 0.0028086 | 0.0028088 | 0.0028088 | 0.99502 | -0.096595 | 0.99494 | -0.098228 | 0.77166
12 | -0.0053643 | -0.0013349 | 0.0053647 | 0.0013349 | 4.4821e-07 | 4.4058e-08 | 0.0080077 | 0.0080077 | 0.0080077 | 0.99639 | -0.07003 | 0.99648 | -0.068266 | 2.1999
13 | 0.00073304 | 0.00018308 | -0.00073302 | -0.00018371 | 2.2267e-08 | -6.2745e-07 | 0.0010961 | 0.0010963 | 0.0010963 | 0.99494 | -0.098228 | 0.9949 | -0.098866 | 0.30119
14 | -0.0058034 | -0.0014449 | 0.0058059 | 0.0014453 | 2.4936e-06 | 4.4095e-07 | 0.0086626 | 0.0086622 | 0.0086626 | 0.99648 | -0.068266 | 0.99695 | -0.059203 | 2.3798
15 | -0.0026111 | -0.00065441 | 0.0026114 | 0.00065389 | 3.1246e-07 | -5.1541e-07 | 0.0038974 | 0.0038971 | 0.0038974 | 0.99693 | -0.059269 | 0.99706 | -0.056757 | 1.0707
16 | -0.0066259 | -0.00166 | 0.006627 | 0.0016603 | 1.1011e-06 | 3.1299e-07 | 0.0098883 | 0.0098882 | 0.0098883 | 0.99706 | -0.056757 | 0.99724 | -0.053268 | 2.7166
17 | 0.0083117 | 0.0020688 | -0.008311 | -0.0020686 | 6.3881e-07 | 2.6424e-07 | 0.012397 | 0.012397 | 0.012397 | 0.99724 | -0.053268 | 0.99715 | -0.054889 | 3.4058
18 | -0.014939 | -0.0037292 | 0.014948 | 0.0037347 | 9.7261e-06 | 5.5428e-06 | 0.022285 | 0.022285 | 0.022285 | 0.99724 | -0.053268 | 0.99795 | -0.039569 | 6.1223
19 | 0.0018674 | 0.00046789 | -0.0018674 | -0.00046801 | 3.0884e-08 | -1.1858e-07 | 0.0027866 | 0.0027867 | 0.0027867 | 0.99715 | -0.054889 | 0.99714 | -0.055237 | 0.76557
20 | 0.0064436 | 0.0016007 | -0.006443 | -0.0016005 | 6.2875e-07 | 1.6563e-07 | 0.0096106 | 0.0096107 | 0.0096107 | 0.99715 | -0.054889 | 0.99705 | -0.056952 | 2.6403
21 | -0.016621 | -0.0041539 | 0.016624 | 0.0041557 | 3.1056e-06 | 1.8113e-06 | 0.024779 | 0.024779 | 0.024779 | 0.99795 | -0.039569 | 0.99815 | -0.035639 | 6.8075
22 | 0.027731 | 0.0069363 | -0.027727 | -0.0069342 | 3.471e-06 | 2.1501e-06 | 0.041259 | 0.041259 | 0.041259 | 1 | 0 | 0.99986 | -0.0026317 | 11.335
23 | 0.0069302 | 0.0017218 | -0.0069249 | -0.0017201 | 5.2896e-06 | 1.6459e-06 | 0.010308 | 0.010309 | 0.010309 | 0.99986 | -0.0026317 | 0.99903 | -0.018767 | 2.8321
24 | 0.020797 | 0.0052124 | -0.020787 | -0.0052064 | 1.0004e-05 | 6.0374e-06 | 0.030951 | 0.030951 | 0.030951 | 0.99986 | -0.0026317 | 0.99934 | -0.012734 | 8.5031
25 | -0.0063528 | -0.0015767 | 0.0063649 | 0.0015798 | 1.2159e-05 | 3.0634e-06 | 0.0094766 | 0.0094749 | 0.0094766 | 0.99695 | -0.059203 | 0.99903 | -0.018767 | 2.6035
26 | 0.0022124 | 0.00054752 | -0.0022119 | -0.00054882 | 5.1618e-07 | -1.2987e-06 | 0.0033092 | 0.0033097 | 0.0033097 | 0.9941 | -0.11432 | 0.99385 | -0.11926 | 0.90927
27 | -0.0025562 | -0.0006337 | 0.0025565 | 0.00063332 | 2.1635e-07 | -3.7317e-07 | 0.0038238 | 0.0038237 | 0.0038238 | 0.9941 | -0.11432 | 0.9942 | -0.11253 | 1.0505
28 | 0.0011081 | 0.00027431 | -0.001108 | -0.0002757 | 1.1722e-07 | -1.398e-06 | 0.0016579 | 0.0016585 | 0.0016585 | 0.99385 | -0.11926 | 0.99374 | -0.1215 | 0.45562
29 | 0.0011037 | 0.00027451 | -0.0011037 | -0.00027491 | 3.3298e-08 | -4.0037e-07 | 0.0016518 | 0.0016519 | 0.0016519 | 0.99385 | -0.11926 | 0.99382 | -0.1199 | 0.45383
30 | 0.00089462 | 0.00022348 | -0.00089458 | -0.0002242 | 3.8925e-08 | -7.2596e-07 | 0.0013387 | 0.001339 | 0.001339 | 0.9942 | -0.11253 | 0.99415 | -0.11345 | 0.36785
31 | -0.0034511 | -0.0008568 | 0.0034531 | 0.00085547 | 2.0121e-06 | -1.3252e-06 | 0.0051624 | 0.0051615 | 0.0051624 | 0.9942 | -0.11253 | 0.99483 | -0.1002 | 1.4182
32 | 0.00089015 | 0.00022238 | -0.00089011 | -0.00022308 | 3.7392e-08 | -7.0328e-07 | 0.0013327 | 0.0013329 | 0.0013329 | 0.99374 | -0.1215 | 0.99369 | -0.12238 | 0.36619
33 | 0.00021788 | 5.3323e-05 | -0.00021787 | -5.4604e-05 | 3.9491e-09 | -1.281e-06 | 0.0003258 | 0.00032625 | 0.00032625 | 0.99374 | -0.1215 | 0.99372 | -0.12189 | 0.089629
34 | 0.00058616 | 0.00014521 | -0.00058612 | -0.0001469 | 3.8197e-08 | -1.6901e-06 | 0.00087705 | 0.00087765 | 0.00087765 | 0.99382 | -0.1199 | 0.99375 | -0.12127 | 0.24111
35 | -0.0034531 | -0.00085547 | 0.0034564 | 0.00085329 | 3.2938e-06 | -2.1785e-06 | 0.0051615 | 0.00516 | 0.0051615 | 0.99483 | -0.1002 | 0.99586 | -0.079985 | 1.418
36 | -0.004145 | -0.0010259 | 0.0041452 | 0.0010258 | 2.1942e-07 | -5.8348e-08 | 0.0061888 | 0.0061888 | 0.0061888 | 0.99586 | -0.079985 | 0.99592 | -0.078863 | 1.7002
37 | 0.0045351 | 0.0011233 | -0.0045344 | -0.0011234 | 7.4501e-07 | -8.7304e-08 | 0.0067701 | 0.0067703 | 0.0067703 | 0.9961 | -0.075384 | 0.99592 | -0.078863 | 1.86
38 | -0.0051363 | -0.0012739 | 0.0051408 | 0.0012742 | 4.4756e-06 | 2.1943e-07 | 0.0076682 | 0.0076672 | 0.0076682 | 0.9961 | -0.075384 | 0.99705 | -0.056952 | 2.1066
39 | 0.0010793 | 0.00027035 | -0.0010793 | -0.00027049 | 1.093e-08 | -1.4017e-07 | 0.0016089 | 0.001609 | 0.001609 | 0.99815 | -0.035639 | 0.99814 | -0.035851 | 0.44202
40 | -0.017703 | -0.0044261 | 0.017708 | 0.0044288 | 4.6606e-06 | 2.7494e-06 | 0.026388 | 0.026388 | 0.026388 | 0.99815 | -0.035639 | 0.99844 | -0.030104 | 7.2495
41 | -0.018773 | -0.0046957 | 0.018774 | 0.0046963 | 9.7446e-07 | 5.8023e-07 | 0.027975 | 0.027975 | 0.027975 | 0.99844 | -0.030104 | 0.99849 | -0.029013 | 7.6854
42 | -0.020286 | -0.0050752 | 0.020302 | 0.0050847 | 1.5724e-05 | 9.4625e-06 | 0.030228 | 0.030228 | 0.030228 | 0.99849 | -0.029013 | 0.99934 | -0.012734 | 8.3044

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.030363 | 0.0071826

## res_load
| p_mw | q_mvar
0 | 0.00054682 | 0.00013705
1 | 0.0021227 | 0.00053199
2 | 0.00037457 | 9.3875e-05
3 | 0.00023426 | 5.871e-05
4 | 0.0002851 | 7.1453e-05
5 | 0.00045971 | 0.00011521
6 | 0.0011452 | 0.00028701
7 | 0.00043861 | 0.00010993
8 | 0.0026111 | 0.00065441
9 | 0.0040145 | 0.0010061
10 | 0.0016727 | 0.00041922
11 | 0.00098221 | 0.00024617
12 | 0.00055994 | 0.00014033
13 | 0.00034385 | 8.6177e-05
14 | 0.00051753 | 0.00012971
15 | 0.00089458 | 0.0002242
16 | 0.00089011 | 0.00022308
17 | 0.00021787 | 5.4604e-05
18 | 0.00058612 | 0.0001469
19 | 0.00068857 | 0.00017257
20 | 0.00060117 | 0.00015067
21 | 0.00038923 | 9.7549e-05
22 | 0.0013022 | 0.00032636
23 | 0.0018674 | 0.00046801
24 | 0.00073302 | 0.00018371
25 | 0.0010793 | 0.00027049
26 | 0.0010649 | 0.00026688
27 | 0.0015119 | 0.00037892
28 | 0.00048569 | 0.00012173

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1