## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3787-11_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3787-11_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3787-11_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3787-11_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3787-11_0_4_node_40 | 0.4 | n |  | TRUE
5 | bus_LV_3787-11_0_4_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_3787-11_0_4_node_38 | 0.4 | n |  | TRUE
7 | bus_LV_3787-11_0_4_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_3787-11_0_4_node_39 | 0.4 | n |  | TRUE
9 | bus_LV_3787-11_0_4_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_3787-11_0_4_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_3787-11_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_3787-11_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_3787-11_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_3787-11_0_4_node_43 | 0.4 | n |  | TRUE
15 | bus_LV_3787-11_0_4_node_21 | 0.4 | n |  | TRUE
16 | bus_LV_3787-11_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_3787-11_0_4_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_3787-11_0_4_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_3787-11_0_4_node_42 | 0.4 | n |  | TRUE
20 | bus_LV_3787-11_0_4_node_41 | 0.4 | n |  | TRUE
21 | bus_LV_3787-11_0_4_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_3787-11_0_4_node_25 | 0.4 | n |  | TRUE
23 | bus_LV_3787-11_0_4_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_3787-11_0_4_node_44 | 0.4 | n |  | TRUE
25 | bus_LV_3787-11_0_4_node_26 | 0.4 | n |  | TRUE
26 | bus_LV_3787-11_0_4_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_3787-11_0_4_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_3787-11_0_4_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_3787-11_0_4_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_3787-11_0_4_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_3787-11_0_4_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_3787-11_0_4_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_3787-11_0_4_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_3787-11_0_4_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_3787-11_0_4_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_3787-11_0_4_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_3787-11_0_4_node_37 | 0.4 | n |  | TRUE
38 | bus_LV_3787-11_0_4_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_3787-11_0_4_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_3787-11_0_4_node_45 | 0.4 | n |  | TRUE
41 | bus_LV_3787-11_0_4_node_46 | 0.4 | n |  | TRUE
42 | bus_LV_3787-11_0_4_node_47 | 0.4 | n |  | TRUE
43 | bus_LV_3787-11_0_4_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_3787-11_0_4_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_3787-11_0_4_node_30 | 0.4 | n |  | TRUE
46 | bus_MV_172_0_node_215 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3787-11_0_4_load_0 | 0 | 0.028454 | 0.0071312 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3787-11_0_4_load_1 | 1 | 0.0042759 | 0.0010716 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3787-11_0_4_load_2 | 2 | 0.0077791 | 0.0019496 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3787-11_0_4_load_40 | 4 | 0.054432 | 0.013642 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3787-11_0_4_load_38 | 6 | 0.029279 | 0.0073379 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3787-11_0_4_load_4 | 9 | 0.0057722 | 0.0014467 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3787-11_0_4_load_5 | 10 | 0.0017925 | 0.00044924 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3787-11_0_4_load_7 | 12 | 0.01058 | 0.0026517 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3787-11_0_4_load_43 | 14 | 0.0073715 | 0.0018475 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3787-11_0_4_load_21 | 15 | 0.0072827 | 0.0018252 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3787-11_0_4_load_20 | 18 | 0.012308 | 0.0030846 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3787-11_0_4_load_42 | 19 | 0.0029907 | 0.00074953 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3787-11_0_4_load_41 | 20 | 0.014585 | 0.0036554 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3787-11_0_4_load_24 | 26 | 0.018758 | 0.0047012 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3787-11_0_4_load_14 | 27 | 0.0062017 | 0.0015543 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3787-11_0_4_load_15 | 28 | 0.0035479 | 0.00088919 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3787-11_0_4_load_19 | 32 | 0.0058598 | 0.0014686 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3787-11_0_4_load_27 | 33 | 0.0016899 | 0.00042352 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3787-11_0_4_load_34 | 34 | 0.0012144 | 0.00030437 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3787-11_0_4_load_33 | 35 | 0.0066367 | 0.0016633 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3787-11_0_4_load_35 | 36 | 0.02836 | 0.0071076 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3787-11_0_4_load_37 | 37 | 0.011984 | 0.0030035 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3787-11_0_4_load_32 | 38 | 0.006004 | 0.0015047 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3787-11_0_4_load_45 | 40 | 0.0069731 | 0.0017476 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3787-11_0_4_load_47 | 42 | 0.075943 | 0.019033 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3787-11_0_4_load_28 | 43 | 0.018664 | 0.0046776 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3787-11_0_4_load_30 | 45 | 0.0048548 | 0.0012167 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3787-11_0_4_line_0 |  | 0 | 1 | 0.037059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3787-11_0_4_line_1 |  | 0 | 2 | 0.04854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3787-11_0_4_line_2 |  | 1 | 3 | 0.028124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3787-11_0_4_line_3 |  | 3 | 4 | 0.040202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3787-11_0_4_line_4 |  | 4 | 8 | 0.072314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3787-11_0_4_line_5 |  | 5 | 6 | 0.059809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_3787-11_0_4_line_6 |  | 5 | 7 | 0.032835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_3787-11_0_4_line_7 |  | 6 | 25 | 0.043972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_3787-11_0_4_line_8 |  | 7 | 13 | 0.020544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3787-11_0_4_line_9 |  | 7 | 14 | 0.0058052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3787-11_0_4_line_10 |  | 7 | 11 | 0.046342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3787-11_0_4_line_11 |  | 8 | 39 | 0.019986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_3787-11_0_4_line_12 |  | 8 | 25 | 0.031161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_3787-11_0_4_line_13 |  | 9 | 10 | 0.026061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3787-11_0_4_line_14 |  | 9 | 11 | 0.0047199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3787-11_0_4_line_15 |  | 10 | 12 | 0.058062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3787-11_0_4_line_16 |  | 13 | 15 | 0.027441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3787-11_0_4_line_17 |  | 14 | 23 | 0.0056006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3787-11_0_4_line_18 |  | 15 | 18 | 0.0043086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3787-11_0_4_line_19 |  | 16 | 17 | 0.095338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3787-11_0_4_line_20 |  | 16 | 18 | 0.001822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3787-11_0_4_line_21 |  | 17 | 19 | 0.002789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3787-11_0_4_line_22 |  | 17 | 20 | 0.037136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3787-11_0_4_line_23 |  | 20 | 21 | 0.019025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3787-11_0_4_line_24 |  | 21 | 22 | 0.16666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3787-11_0_4_line_25 |  | 22 | 26 | 0.074206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3787-11_0_4_line_26 |  | 23 | 24 | 0.020299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3787-11_0_4_line_27 |  | 24 | 42 | 0.02952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3787-11_0_4_line_28 |  | 24 | 41 | 0.10112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3787-11_0_4_line_29 |  | 27 | 28 | 0.13617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3787-11_0_4_line_30 |  | 27 | 29 | 0.023806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3787-11_0_4_line_31 |  | 28 | 30 | 0.090601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3787-11_0_4_line_32 |  | 29 | 31 | 0.098569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3787-11_0_4_line_33 |  | 29 | 32 | 0.2132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_3787-11_0_4_line_34 |  | 30 | 33 | 0.0091996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3787-11_0_4_line_35 |  | 31 | 34 | 0.020189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3787-11_0_4_line_36 |  | 31 | 35 | 0.037769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3787-11_0_4_line_37 |  | 32 | 36 | 0.055388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_3787-11_0_4_line_38 |  | 33 | 37 | 0.033531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3787-11_0_4_line_39 |  | 35 | 38 | 0.016698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3787-11_0_4_line_40 |  | 36 | 39 | 0.046676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_3787-11_0_4_line_41 |  | 38 | 45 | 0.010044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3787-11_0_4_line_42 |  | 40 | 41 | 0.077076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3787-11_0_4_line_43 |  | 43 | 44 | 0.0025254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3787-11_0_4_line_44 |  | 44 | 45 | 0.032224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3787-11_0_4_trafo_10 | 0.63 MVA 20/0.4 kV | 46 | 5 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26
0 | 2784859.0549 | 1152619.8308 | 2784851.9382 | 1152616.7489 | 2784833.672 | 1152607.5797 | 2784826.9318 | 1152601.8205
1 | 2784859.0549 | 1152619.8308 | 2784892.7382 | 1152634.4178 | 2784903.113 | 1152640.1094
2 | 2784810.9769 | 1152579.312 | 2784813.0341 | 1152585.6033 | 2784820.9943 | 1152596.7471 | 2784826.9318 | 1152601.8205
3 | 2784810.9769 | 1152579.312 | 2784807.3387 | 1152579.9899 | 2784802.674 | 1152579.5798 | 2784799.4205 | 1152578.7347 | 2784773.1246 | 1152567.8582
4 | 2784706.246 | 1152540.3519 | 2784737.353 | 1152553.0622 | 2784773.1246 | 1152567.8582
5 | 2784771.0423 | 1152513.6689 | 2784765.8713 | 1152519.4936 | 2784761.8164 | 1152522.9837 | 2784758.3683 | 1152525.2245 | 2784752.9628 | 1152527.4275 | 2784747.4926 | 1152528.7388 | 2784743.0911 | 1152529.2599 | 2784740.516 | 1152529.0808 | 2784737.8118 | 1152528.3527 | 2784734.5995 | 1152527.6647 | 2784716.7816 | 1152525.14
6 | 2784771.0423 | 1152513.6689 | 2784775.7434 | 1152508.6416 | 2784780.0286 | 1152511.9094 | 2784786.7045 | 1152502.85 | 2784791.9615 | 1152499.7305 | 2784794.627 | 1152497.9661
7 | 2784677.3066 | 1152528.5868 | 2784680.3649 | 1152523.0308 | 2784681.5619 | 1152521.5661 | 2784683.1775 | 1152520.726 | 2784685.4057 | 1152520.6942 | 2784716.7816 | 1152525.14
8 | 2784794.627 | 1152497.9661 | 2784791.9615 | 1152499.7305 | 2784786.7045 | 1152502.85 | 2784778.1573 | 1152495.5587
9 | 2784794.627 | 1152497.9661 | 2784798.4931 | 1152493.6356
10 | 2784794.627 | 1152497.9661 | 2784791.9615 | 1152499.7305 | 2784786.7045 | 1152502.85 | 2784816.2409 | 1152525.1884
11 | 2784706.246 | 1152540.3519 | 2784704.6373 | 1152543.9727 | 2784704.2819 | 1152545.5411 | 2784704.7541 | 1152547.424 | 2784705.7825 | 1152548.7012 | 2784713.9738 | 1152555.8258
12 | 2784677.3066 | 1152528.5868 | 2784706.246 | 1152540.3519
13 | 2784820.0722 | 1152527.9424 | 2784841.6168 | 1152542.6061
14 | 2784816.2409 | 1152525.1884 | 2784818.1549 | 1152526.6374 | 2784820.0722 | 1152527.9424
15 | 2784841.6168 | 1152542.6061 | 2784861.1418 | 1152555.8953 | 2784888.5697 | 1152576.7291
16 | 2784778.1573 | 1152495.5587 | 2784757.3752 | 1152477.6392
17 | 2784802.223 | 1152489.4576 | 2784798.4931 | 1152493.6356
18 | 2784754.1121 | 1152474.8256 | 2784757.3752 | 1152477.6392
19 | 2784710.8928 | 1152407.701 | 2784703.7871 | 1152416.0022 | 2784712.2279 | 1152423.5126 | 2784719.9434 | 1152430.3779 | 2784720.7512 | 1152431.8374 | 2784720.9338 | 1152433.6448 | 2784720.6122 | 1152435.1141 | 2784719.8456 | 1152436.5698 | 2784715.2394 | 1152441.7557 | 2784752.7323 | 1152473.6358
20 | 2784752.7323 | 1152473.6358 | 2784754.1121 | 1152474.8256
21 | 2784710.8928 | 1152407.701 | 2784712.8435 | 1152405.7034
22 | 2784710.8928 | 1152407.701 | 2784705.0577 | 1152402.1279 | 2784700.14 | 1152401.699 | 2784681.846 | 1152385.9627
23 | 2784664.8041 | 1152385.8562 | 2784666.6275 | 1152384.255 | 2784668.8742 | 1152383.1228 | 2784671.7929 | 1152382.3671 | 2784674.459 | 1152382.3377 | 2784677.0306 | 1152382.8837 | 2784679.6664 | 1152384.0879 | 2784681.846 | 1152385.9627
24 | 2784626.0778 | 1152445.7377 | 2784624.6982 | 1152440.1345 | 2784623.9961 | 1152435.2305 | 2784624.3004 | 1152431.0692 | 2784629.1261 | 1152415.4688 | 2784629.1612 | 1152412.3225 | 2784627.9929 | 1152409.5952 | 2784626.1632 | 1152407.6484 | 2784611.2025 | 1152395.6006 | 2784600.0995 | 1152383.9827 | 2784597.185 | 1152379.5892 | 2784596.4456 | 1152375.1512 | 2784599.7033 | 1152375.3623 | 2784629.5055 | 1152377.8112 | 2784630.4029 | 1152377.8498 | 2784631.7601 | 1152378.9258 | 2784633.503 | 1152381.4483 | 2784635.5593 | 1152384.2695 | 2784638.9886 | 1152387.9003 | 2784643.4203 | 1152391.9066 | 2784648.5069 | 1152396.3445 | 2784650.1942 | 1152397.1748 | 2784651.7977 | 1152397.4798 | 2784653.3916 | 1152397.3508 | 2784654.8805 | 1152396.8848 | 2784656.126 | 1152395.8442 | 2784664.8041 | 1152385.8562
25 | 2784626.0778 | 1152445.7377 | 2784636.5668 | 1152450.0743 | 2784639.9062 | 1152451.8784 | 2784642.6912 | 1152454.2327 | 2784683.8183 | 1152491.3703
26 | 2784802.223 | 1152489.4576 | 2784805.8816 | 1152485.3659 | 2784815.2955 | 1152473.9327
27 | 2784792.9645 | 1152454.5514 | 2784815.2955 | 1152473.9327
28 | 2784815.2955 | 1152473.9327 | 2784831.7018 | 1152455.3961 | 2784848.8735 | 1152435.4483 | 2784854.7611 | 1152434.3056 | 2784830.8926 | 1152416.4674 | 2784823.8382 | 1152404.0836
29 | 2784819.1967 | 1152715.9524 | 2784832.3772 | 1152720.7703 | 2784862.9684 | 1152729.2282 | 2784876.1341 | 1152733.4139 | 2784879.8503 | 1152734.1954 | 2784882.8824 | 1152734.2441 | 2784886.3666 | 1152733.8284 | 2784890.8329 | 1152732.4419 | 2784894.5596 | 1152730.1318 | 2784897.5352 | 1152727.0202 | 2784899.6606 | 1152723.3374 | 2784903.6395 | 1152714.8181 | 2784904.7453 | 1152710.5702 | 2784905.0948 | 1152706.9441 | 2784904.8836 | 1152704.0682 | 2784903.7968 | 1152700.1978 | 2784901.8343 | 1152697.079 | 2784898.5025 | 1152694.2852 | 2784892.2387 | 1152691.1789 | 2784883.6096 | 1152687.8254
30 | 2784874.4141 | 1152674.3936 | 2784873.14 | 1152674.8661 | 2784871.9536 | 1152675.4858 | 2784871.0611 | 1152676.5372 | 2784870.5789 | 1152677.7347 | 2784870.3044 | 1152679.1721 | 2784870.5717 | 1152680.9709 | 2784871.3183 | 1152682.4174 | 2784872.4755 | 1152683.4984 | 2784883.6096 | 1152687.8254
31 | 2784735.3761 | 1152681.7801 | 2784751.306 | 1152689.7429 | 2784778.0358 | 1152700.9066 | 2784819.1967 | 1152715.9524
32 | 2784874.4141 | 1152674.3936 | 2784856.3899 | 1152671.6046 | 2784825.0492 | 1152661.5334 | 2784815.9986 | 1152657.6409 | 2784812.3771 | 1152656.2729 | 2784807.2076 | 1152656.0475 | 2784802.7626 | 1152656.4893 | 2784799.0667 | 1152658.0441 | 2784793.8479 | 1152661.1759 | 2784781.3885 | 1152668.0003
33 | 2784874.4141 | 1152674.3936 | 2784877.8175 | 1152674.6094 | 2784882.6287 | 1152675.747 | 2784916.1441 | 1152686.2746 | 2784919.7487 | 1152686.9414 | 2784922.9189 | 1152686.9943 | 2784925.9291 | 1152686.5085 | 2784928.1884 | 1152685.4657 | 2784929.7254 | 1152683.9337 | 2784930.3158 | 1152682.2168 | 2784930.4013 | 1152680.1842 | 2784929.8363 | 1152678.0759 | 2784928.7285 | 1152676.3847 | 2784926.8189 | 1152675.0471 | 2784924.3489 | 1152674.4485 | 2784905.1223 | 1152671.8002 | 2784895.4412 | 1152669.4342 | 2784887.9521 | 1152667.2133 | 2784880.9157 | 1152663.505 | 2784856.2322 | 1152646.7315 | 2784842.9696 | 1152638.6947 | 2784806.3303 | 1152618.5848 | 2784797.698 | 1152613.6233
34 | 2784735.3761 | 1152681.7801 | 2784726.4838 | 1152679.4218
35 | 2784762.7596 | 1152675.9031 | 2784777.4221 | 1152669.6135 | 2784781.3885 | 1152668.0003
36 | 2784781.3885 | 1152668.0003 | 2784751.9313 | 1152647.3549 | 2784750.4384 | 1152646.3536
37 | 2784797.698 | 1152613.6233 | 2784758.4139 | 1152591.0444 | 2784751.2972 | 1152586.4439 | 2784750.0339 | 1152585.4561
38 | 2784726.4838 | 1152679.4218 | 2784710.5257 | 1152675.1896 | 2784695.0105 | 1152668.1899
39 | 2784750.4384 | 1152646.3536 | 2784736.5704 | 1152637.0524
40 | 2784713.9738 | 1152555.8258 | 2784732.0314 | 1152570.5491 | 2784744.487 | 1152581.1189 | 2784750.0339 | 1152585.4561
41 | 2784728.2285 | 1152631.4576 | 2784736.5704 | 1152637.0524
42 | 2784823.8382 | 1152404.0836 | 2784812.6144 | 1152398.4116 | 2784798.3635 | 1152391.5235 | 2784785.5756 | 1152385.5144 | 2784772.962 | 1152380.0779 | 2784757.5488 | 1152374.0217 | 2784753.5738 | 1152372.5261
43 | 2784701.4666 | 1152613.5086 | 2784699.1128 | 1152612.5933
44 | 2784701.4666 | 1152613.5086 | 2784728.2285 | 1152631.4576

## bus_geodata
| x | y | coords
0 | 2784859.0549 | 1152619.8308
1 | 2784826.9318 | 1152601.8205
2 | 2784903.113 | 1152640.1094
3 | 2784810.9769 | 1152579.312
4 | 2784773.1246 | 1152567.8582
5 | 2784771.0423 | 1152513.6689
6 | 2784716.7816 | 1152525.14
7 | 2784794.627 | 1152497.9661
8 | 2784706.246 | 1152540.3519
9 | 2784820.0722 | 1152527.9424
10 | 2784841.6168 | 1152542.6061
11 | 2784816.2409 | 1152525.1884
12 | 2784888.5697 | 1152576.7291
13 | 2784778.1573 | 1152495.5587
14 | 2784798.4931 | 1152493.6356
15 | 2784757.3752 | 1152477.6392
16 | 2784752.7323 | 1152473.6358
17 | 2784710.8928 | 1152407.701
18 | 2784754.1121 | 1152474.8256
19 | 2784712.8435 | 1152405.7034
20 | 2784681.846 | 1152385.9627
21 | 2784664.8041 | 1152385.8562
22 | 2784626.0778 | 1152445.7376
23 | 2784802.223 | 1152489.4576
24 | 2784815.2955 | 1152473.9327
25 | 2784677.3066 | 1152528.5868
26 | 2784683.8183 | 1152491.3703
27 | 2784883.6096 | 1152687.8254
28 | 2784819.1967 | 1152715.9524
29 | 2784874.4141 | 1152674.3936
30 | 2784735.3761 | 1152681.7801
31 | 2784781.3885 | 1152668.0003
32 | 2784797.698 | 1152613.6233
33 | 2784726.4838 | 1152679.4218
34 | 2784762.7596 | 1152675.9031
35 | 2784750.4384 | 1152646.3536
36 | 2784750.0339 | 1152585.4561
37 | 2784695.0105 | 1152668.1899
38 | 2784736.5704 | 1152637.0524
39 | 2784713.9738 | 1152555.8258
40 | 2784753.5738 | 1152372.5261
41 | 2784823.8382 | 1152404.0836
42 | 2784792.9645 | 1152454.5514
43 | 2784699.1128 | 1152612.5933
44 | 2784701.4666 | 1152613.5086
45 | 2784728.2285 | 1152631.4576
46 | 2784775.7434 | 1152508.6416

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1