## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3787-14_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3787-14_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3787-14_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_3787-14_0_5_node_12 | 0.4 | n |  | TRUE
4 | bus_LV_3787-14_0_5_node_13 | 0.4 | n |  | TRUE
5 | bus_LV_3787-14_0_5_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_3787-14_0_5_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_3787-14_0_5_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_3787-14_0_5_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_3787-14_0_5_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_3787-14_0_5_node_57 | 0.4 | n |  | TRUE
11 | bus_LV_3787-14_0_5_node_52 | 0.4 | n |  | TRUE
12 | bus_LV_3787-14_0_5_node_51 | 0.4 | n |  | TRUE
13 | bus_LV_3787-14_0_5_node_50 | 0.4 | n |  | TRUE
14 | bus_LV_3787-14_0_5_node_55 | 0.4 | n |  | TRUE
15 | bus_LV_3787-14_0_5_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_3787-14_0_5_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_3787-14_0_5_node_22 | 0.4 | n |  | TRUE
18 | bus_LV_3787-14_0_5_node_45 | 0.4 | n |  | TRUE
19 | bus_LV_3787-14_0_5_node_46 | 0.4 | n |  | TRUE
20 | bus_LV_3787-14_0_5_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_3787-14_0_5_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_3787-14_0_5_node_28 | 0.4 | n |  | TRUE
23 | bus_LV_3787-14_0_5_node_53 | 0.4 | n |  | TRUE
24 | bus_LV_3787-14_0_5_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_3787-14_0_5_node_48 | 0.4 | n |  | TRUE
26 | bus_LV_3787-14_0_5_node_49 | 0.4 | n |  | TRUE
27 | bus_LV_3787-14_0_5_node_47 | 0.4 | n |  | TRUE
28 | bus_LV_3787-14_0_5_node_44 | 0.4 | n |  | TRUE
29 | bus_LV_3787-14_0_5_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_3787-14_0_5_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_3787-14_0_5_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_3787-14_0_5_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_3787-14_0_5_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_3787-14_0_5_node_58 | 0.4 | n |  | TRUE
35 | bus_LV_3787-14_0_5_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_3787-14_0_5_node_37 | 0.4 | n |  | TRUE
37 | bus_LV_3787-14_0_5_node_41 | 0.4 | n |  | TRUE
38 | bus_LV_3787-14_0_5_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_3787-14_0_5_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_3787-14_0_5_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_3787-14_0_5_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_3787-14_0_5_node_42 | 0.4 | n |  | TRUE
43 | bus_LV_3787-14_0_5_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_3787-14_0_5_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_3787-14_0_5_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_3787-14_0_5_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_3787-14_0_5_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_3787-14_0_5_node_56 | 0.4 | n |  | TRUE
49 | bus_LV_3787-14_0_5_node_54 | 0.4 | n |  | TRUE
50 | bus_MV_172_0_node_64 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3787-14_0_5_load_0 | 0 | 0.011579 | 0.0029019 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3787-14_0_5_load_1 | 1 | 0.0072632 | 0.0018203 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3787-14_0_5_load_13 | 4 | 0.014899 | 0.0037342 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3787-14_0_5_load_10 | 5 | 0.01582 | 0.0039649 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3787-14_0_5_load_57 | 10 | 0.0022379 | 0.00056088 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3787-14_0_5_load_52 | 11 | 0.026845 | 0.0067279 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3787-14_0_5_load_51 | 12 | 0.021159 | 0.0053029 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3787-14_0_5_load_50 | 13 | 0.024221 | 0.0060705 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3787-14_0_5_load_55 | 14 | 0.012591 | 0.0031557 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3787-14_0_5_load_45 | 18 | 0.010767 | 0.0026984 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3787-14_0_5_load_46 | 19 | 0.055143 | 0.01382 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3787-14_0_5_load_16 | 20 | 0.0078864 | 0.0019765 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3787-14_0_5_load_14 | 21 | 0.023364 | 0.0058555 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3787-14_0_5_load_15 | 24 | 0.023219 | 0.0058194 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3787-14_0_5_load_47 | 27 | 0.019175 | 0.0048057 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3787-14_0_5_load_44 | 28 | 0.018918 | 0.0047412 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3787-14_0_5_load_23 | 29 | 0.0036813 | 0.00092262 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3787-14_0_5_load_58 | 34 | 0.018405 | 0.0046126 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3787-14_0_5_load_37 | 36 | 0.017168 | 0.0043026 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3787-14_0_5_load_41 | 37 | 0.023069 | 0.0057816 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3787-14_0_5_load_32 | 38 | 0.018943 | 0.0047475 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3787-14_0_5_load_40 | 40 | 0.048556 | 0.012169 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3787-14_0_5_load_42 | 42 | 0.021728 | 0.0054456 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3787-14_0_5_load_39 | 43 | 0.0084077 | 0.0021072 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3787-14_0_5_load_31 | 44 | 0.015711 | 0.0039374 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3787-14_0_5_load_34 | 45 | 0.021947 | 0.0055004 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3787-14_0_5_load_43 | 46 | 0.0094683 | 0.002373 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3787-14_0_5_load_38 | 47 | 0.0059359 | 0.0014877 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3787-14_0_5_load_56 | 48 | 0.021934 | 0.0054973 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3787-14_0_5_load_54 | 49 | 0.01734 | 0.0043459 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 19 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3787-14_0_5_line_0 |  | 0 | 1 | 0.019505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3787-14_0_5_line_1 |  | 1 | 2 | 0.02276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3787-14_0_5_line_2 |  | 2 | 3 | 0.004052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3787-14_0_5_line_3 |  | 2 | 4 | 0.0090938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3787-14_0_5_line_4 |  | 2 | 5 | 0.010803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3787-14_0_5_line_5 |  | 3 | 14 | 0.015296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3787-14_0_5_line_6 |  | 4 | 6 | 0.022995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3787-14_0_5_line_7 |  | 5 | 15 | 0.013992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3787-14_0_5_line_8 |  | 6 | 7 | 0.008472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3787-14_0_5_line_9 |  | 7 | 11 | 0.012281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3787-14_0_5_line_10 |  | 8 | 9 | 0.058856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_3787-14_0_5_line_11 |  | 8 | 10 | 0.060534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_3787-14_0_5_line_12 |  | 9 | 12 | 0.014069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_3787-14_0_5_line_13 |  | 9 | 13 | 0.015767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3787-14_0_5_line_14 |  | 10 | 22 | 0.027032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_3787-14_0_5_line_15 |  | 11 | 23 | 0.021615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_3787-14_0_5_line_16 |  | 12 | 23 | 0.0034458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_3787-14_0_5_line_17 |  | 15 | 21 | 0.0054368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3787-14_0_5_line_18 |  | 15 | 24 | 0.014132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3787-14_0_5_line_19 |  | 16 | 17 | 0.014012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3787-14_0_5_line_20 |  | 16 | 18 | 0.076867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3787-14_0_5_line_21 |  | 17 | 19 | 0.050145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3787-14_0_5_line_22 |  | 18 | 28 | 0.022837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3787-14_0_5_line_23 |  | 19 | 27 | 0.034443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_3787-14_0_5_line_24 |  | 20 | 21 | 0.010613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3787-14_0_5_line_25 |  | 22 | 32 | 0.1035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_3787-14_0_5_line_26 |  | 23 | 49 | 0.015344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_3787-14_0_5_line_27 |  | 25 | 26 | 0.010626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_3787-14_0_5_line_28 |  | 25 | 27 | 0.0046814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_3787-14_0_5_line_29 |  | 26 | 48 | 0.017572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3787-14_0_5_line_30 |  | 26 | 49 | 0.0026642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_3787-14_0_5_line_31 |  | 29 | 30 | 0.027816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3787-14_0_5_line_32 |  | 30 | 31 | 0.13044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_3787-14_0_5_line_33 |  | 30 | 32 | 0.13745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_3787-14_0_5_line_34 |  | 31 | 36 | 0.059635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_3787-14_0_5_line_35 |  | 31 | 33 | 0.03338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_3787-14_0_5_line_36 |  | 32 | 37 | 0.016521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_3787-14_0_5_line_37 |  | 33 | 34 | 0.00837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3787-14_0_5_line_38 |  | 33 | 35 | 0.12141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_3787-14_0_5_line_39 |  | 35 | 38 | 0.01135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_3787-14_0_5_line_40 |  | 36 | 39 | 0.019081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3787-14_0_5_line_41 |  | 37 | 40 | 0.096396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_3787-14_0_5_line_42 |  | 38 | 44 | 0.029842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3787-14_0_5_line_43 |  | 39 | 47 | 0.026617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3787-14_0_5_line_44 |  | 39 | 45 | 0.0051829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3787-14_0_5_line_45 |  | 40 | 43 | 0.094428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_3787-14_0_5_line_46 |  | 41 | 42 | 0.10795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3787-14_0_5_line_47 |  | 41 | 43 | 0.064388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3787-14_0_5_line_48 |  | 42 | 46 | 0.044513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3787-14_0_5_trafo_46 | 0.63 MVA 20/0.4 kV | 50 | 19 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39
0 | 2784313.7516 | 1152543.0173 | 2784316.2525 | 1152542.4433 | 2784320.0723 | 1152542.1043 | 2784322.7899 | 1152542.1431 | 2784326.6141 | 1152542.9164 | 2784329.511 | 1152543.8726 | 2784332.4434 | 1152545.6603
1 | 2784352.1321 | 1152557.0773 | 2784338.1756 | 1152549.0982 | 2784333.5446 | 1152546.3317 | 2784332.4434 | 1152545.6603
2 | 2784352.1321 | 1152557.0773 | 2784355.6732 | 1152559.0653
3 | 2784352.1321 | 1152557.0773 | 2784353.2162 | 1152555.0307 | 2784347.2161 | 1152551.8782
4 | 2784352.1321 | 1152557.0773 | 2784347.7201 | 1152566.938
5 | 2784355.6732 | 1152559.0653 | 2784362.0907 | 1152562.9321 | 2784368.7954 | 1152566.9248
6 | 2784329.1228 | 1152537.9884 | 2784332.3237 | 1152540.5555 | 2784334.4986 | 1152542.7686 | 2784335.6679 | 1152543.961 | 2784340.359 | 1152548.2753 | 2784347.2161 | 1152551.8782
7 | 2784343.271 | 1152580.0836 | 2784344.0276 | 1152575.191 | 2784347.7201 | 1152566.938
8 | 2784329.1228 | 1152537.9884 | 2784323.4087 | 1152531.7187
9 | 2784323.4087 | 1152531.7187 | 2784325.0663 | 1152530.2569 | 2784332.257 | 1152523.2061
10 | 2784299.4443 | 1152452.7659 | 2784301.4423 | 1152453.4833 | 2784303.3661 | 1152454.3652 | 2784304.7573 | 1152455.5867 | 2784306.9822 | 1152457.9236 | 2784308.4625 | 1152459.9931 | 2784311.9224 | 1152466.394 | 2784312.4944 | 1152467.7794 | 2784312.5336 | 1152469.2598 | 2784312.2831 | 1152472.4219 | 2784311.9684 | 1152473.1685 | 2784310.3046 | 1152477.088 | 2784332.4748 | 1152494.9944
11 | 2784299.4443 | 1152452.7659 | 2784300.1262 | 1152450.5625 | 2784301.9666 | 1152445.3916 | 2784303.8105 | 1152442.612 | 2784306.3867 | 1152440.4999 | 2784311.5258 | 1152438.2105 | 2784328.3529 | 1152434.2215 | 2784334.736 | 1152433.9499 | 2784351.2691 | 1152436.7191
12 | 2784332.4748 | 1152494.9944 | 2784334.8553 | 1152497.0136 | 2784335.7143 | 1152497.8073 | 2784336.4139 | 1152498.7852 | 2784337.6278 | 1152500.7798 | 2784338.4422 | 1152501.7724 | 2784339.3786 | 1152502.5462 | 2784342.5653 | 1152504.5083
13 | 2784332.4748 | 1152494.9944 | 2784330.5877 | 1152497.4279 | 2784323.7742 | 1152506.239 | 2784322.733 | 1152507.386
14 | 2784377.8996 | 1152439.7318 | 2784374.0654 | 1152440.5374 | 2784351.2691 | 1152436.7191
15 | 2784345.4996 | 1152506.3149 | 2784344.7876 | 1152507.4942 | 2784340.4983 | 1152514.6364 | 2784338.7488 | 1152516.8406 | 2784332.257 | 1152523.2061
16 | 2784345.4996 | 1152506.3149 | 2784342.5653 | 1152504.5083
17 | 2784343.271 | 1152580.0836 | 2784340.0216 | 1152580.6069 | 2784337.9918 | 1152581.3021
18 | 2784343.271 | 1152580.0836 | 2784346.3573 | 1152580.623 | 2784349.5183 | 1152581.7319 | 2784355.9962 | 1152584.8776 | 2784356.3916 | 1152585.0874
19 | 2784429.7774 | 1152602.0188 | 2784427.6236 | 1152596.6144 | 2784421.0063 | 1152591.7516
20 | 2784429.7774 | 1152602.0188 | 2784460.6787 | 1152606.1577 | 2784483.6536 | 1152619.3293 | 2784498.6729 | 1152631.3009
21 | 2784421.0063 | 1152591.7516 | 2784414.261 | 1152585.0499 | 2784405.4083 | 1152564.159 | 2784401.219 | 1152552.2416 | 2784397.8048 | 1152548.1685
22 | 2784516.5313 | 1152645.5356 | 2784498.6729 | 1152631.3009
23 | 2784397.8048 | 1152548.1685 | 2784382.3025 | 1152529.6745 | 2784373.9023 | 1152523.6958
24 | 2784328.5309 | 1152586.0764 | 2784336.653 | 1152581.7605 | 2784337.9918 | 1152581.3021
25 | 2784377.8996 | 1152439.7318 | 2784380.242 | 1152439.2363 | 2784382.5533 | 1152438.751 | 2784406.5951 | 1152446.7055 | 2784448.105 | 1152461.3346 | 2784461.6327 | 1152463.5064 | 2784470.1427 | 1152465.2575 | 2784477.0747 | 1152466.3708
26 | 2784345.4996 | 1152506.3149 | 2784358.8606 | 1152513.8598
27 | 2784370.0883 | 1152520.9813 | 2784367.9424 | 1152519.3251 | 2784361.1804 | 1152515.1698
28 | 2784370.0883 | 1152520.9813 | 2784373.9023 | 1152523.6958
29 | 2784361.1804 | 1152515.1698 | 2784362.0999 | 1152513.4852 | 2784369.5947 | 1152499.7348
30 | 2784361.1804 | 1152515.1698 | 2784358.8606 | 1152513.8598
31 | 2784485.9539 | 1152431.5206 | 2784490.9342 | 1152416.1251 | 2784479.8662 | 1152412.5379
32 | 2784485.9539 | 1152431.5206 | 2784481.6639 | 1152444.1902 | 2784487.9586 | 1152446.5519 | 2784487.4723 | 1152447.8827 | 2784486.3056 | 1152451.1167 | 2784537.5855 | 1152470.9839 | 2784584.2684 | 1152490.2212
33 | 2784477.0747 | 1152466.3708 | 2784472.4342 | 1152462.4139 | 2784428.8691 | 1152438.157 | 2784427.2357 | 1152436.5721 | 2784426.669 | 1152434.7642 | 2784427.7695 | 1152431.1833 | 2784446.9784 | 1152437.444 | 2784480.0679 | 1152448.9014 | 2784481.6639 | 1152444.1902 | 2784485.9539 | 1152431.5206
34 | 2784584.2684 | 1152490.2212 | 2784610.9361 | 1152501.1933 | 2784639.4244 | 1152512.8967
35 | 2784584.2684 | 1152490.2212 | 2784585.9232 | 1152485.6009 | 2784591.2337 | 1152487.7434 | 2784612.2741 | 1152496.3852
36 | 2784477.0747 | 1152466.3708 | 2784488.9581 | 1152477.8486
37 | 2784612.2741 | 1152496.3852 | 2784620.033 | 1152499.5816
38 | 2784612.2741 | 1152496.3852 | 2784612.9134 | 1152494.0693 | 2784612.7304 | 1152491.7726 | 2784612.0567 | 1152489.9502 | 2784610.7115 | 1152488.4854 | 2784608.5563 | 1152487.3849 | 2784603.7014 | 1152486.413 | 2784601.2772 | 1152485.5713 | 2784599.7865 | 1152484.0908 | 2784599.0352 | 1152482.0436 | 2784599.0476 | 1152479.8864 | 2784599.8355 | 1152477.486 | 2784601.0142 | 1152475.8651 | 2784602.3096 | 1152474.9483 | 2784603.6357 | 1152474.533 | 2784605.3481 | 1152474.541 | 2784607.3768 | 1152475.2594 | 2784612.2565 | 1152477.6779 | 2784615.3839 | 1152478.6302 | 2784617.8765 | 1152478.4954 | 2784620.4662 | 1152477.6962 | 2784622.5378 | 1152476.5141 | 2784624.1191 | 1152475.0389 | 2784625.2817 | 1152473.195 | 2784625.8089 | 1152471.0313 | 2784626.1546 | 1152468.2726 | 2784626.1984 | 1152465.5936 | 2784625.8331 | 1152462.9799 | 2784624.9014 | 1152460.8049 | 2784623.3682 | 1152458.4556 | 2784616.0691 | 1152450.2797 | 2784610.677 | 1152444.2866 | 2784609.3247 | 1152441.7983 | 2784608.4432 | 1152436.7331 | 2784610.7893 | 1152436.1155 | 2784612.6256 | 1152435.093 | 2784617.3573 | 1152440.3319 | 2784619.1009 | 1152441.8312 | 2784620.8341 | 1152442.9187 | 2784626.0778 | 1152445.7377
39 | 2784626.0778 | 1152445.7377 | 2784636.5668 | 1152450.0743
40 | 2784657.0743 | 1152520.1475 | 2784639.4244 | 1152512.8967
41 | 2784488.9581 | 1152477.8486 | 2784502.9519 | 1152491.3649 | 2784562.2814 | 1152540.3538
42 | 2784659.3163 | 1152469.2451 | 2784642.6912 | 1152454.2327 | 2784639.9062 | 1152451.8784 | 2784636.5668 | 1152450.0743
43 | 2784657.0743 | 1152520.1475 | 2784655.9609 | 1152523.3943 | 2784656.3049 | 1152525.4512 | 2784658.8104 | 1152527.897 | 2784670.7574 | 1152534.5251 | 2784673.6564 | 1152537.186
44 | 2784657.0743 | 1152520.1475 | 2784661.8674 | 1152522.1197
45 | 2784641.4562 | 1152590.1733 | 2784611.6044 | 1152578.5653 | 2784570.0837 | 1152546.7962 | 2784562.2814 | 1152540.3538
46 | 2784701.4666 | 1152613.5086 | 2784664.1092 | 1152605.5224 | 2784648.6821 | 1152603.937 | 2784621.3821 | 1152597.0715 | 2784620.5311 | 1152597.5237 | 2784620.519 | 1152598.6688 | 2784628.0367 | 1152602.7142 | 2784633.702 | 1152604.5562 | 2784640.5762 | 1152605.5456 | 2784641.5797 | 1152606.633 | 2784640.9543 | 1152607.4924
47 | 2784701.4666 | 1152613.5086 | 2784641.4562 | 1152590.1733
48 | 2784640.9543 | 1152607.4924 | 2784614.4377 | 1152606.134 | 2784609.756 | 1152623.4745

## bus_geodata
| x | y | coords
0 | 2784313.7516 | 1152543.0173
1 | 2784332.4434 | 1152545.6603
2 | 2784352.1321 | 1152557.0773
3 | 2784355.6732 | 1152559.0653
4 | 2784347.2161 | 1152551.8782
5 | 2784347.7201 | 1152566.938
6 | 2784329.1228 | 1152537.9884
7 | 2784323.4087 | 1152531.7187
8 | 2784299.4443 | 1152452.7659
9 | 2784332.4748 | 1152494.9944
10 | 2784351.2691 | 1152436.7191
11 | 2784332.257 | 1152523.2061
12 | 2784342.5653 | 1152504.5083
13 | 2784322.733 | 1152507.386
14 | 2784368.7954 | 1152566.9248
15 | 2784343.271 | 1152580.0836
16 | 2784429.7774 | 1152602.0188
17 | 2784421.0063 | 1152591.7516
18 | 2784498.6729 | 1152631.3009
19 | 2784397.8048 | 1152548.1685
20 | 2784328.5309 | 1152586.0764
21 | 2784337.9918 | 1152581.3021
22 | 2784377.8996 | 1152439.7318
23 | 2784345.4996 | 1152506.3149
24 | 2784356.3916 | 1152585.0874
25 | 2784370.0883 | 1152520.9813
26 | 2784361.1805 | 1152515.1698
27 | 2784373.9023 | 1152523.6958
28 | 2784516.5313 | 1152645.5356
29 | 2784479.8662 | 1152412.5379
30 | 2784485.9539 | 1152431.5206
31 | 2784584.2684 | 1152490.2212
32 | 2784477.0747 | 1152466.3708
33 | 2784612.2741 | 1152496.3852
34 | 2784620.033 | 1152499.5816
35 | 2784626.0778 | 1152445.7376
36 | 2784639.4244 | 1152512.8967
37 | 2784488.9581 | 1152477.8486
38 | 2784636.5668 | 1152450.0743
39 | 2784657.0743 | 1152520.1475
40 | 2784562.2814 | 1152540.3538
41 | 2784701.4666 | 1152613.5086
42 | 2784640.9543 | 1152607.4924
43 | 2784641.4562 | 1152590.1733
44 | 2784659.3163 | 1152469.2451
45 | 2784661.8674 | 1152522.1197
46 | 2784609.756 | 1152623.4745
47 | 2784673.6564 | 1152537.186
48 | 2784369.5947 | 1152499.7348
49 | 2784358.8606 | 1152513.8598
50 | 2784393.5751 | 1152543.1225

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1