## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3787-32_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3787-32_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3787-32_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3787-32_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3787-32_0_3_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_3787-32_0_3_node_14 | 0.4 | n |  | TRUE
6 | bus_LV_3787-32_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_3787-32_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_3787-32_0_3_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_3787-32_0_3_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_3787-32_0_3_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_3787-32_0_3_node_15 | 0.4 | n |  | TRUE
12 | bus_LV_3787-32_0_3_node_43 | 0.4 | n |  | TRUE
13 | bus_LV_3787-32_0_3_node_44 | 0.4 | n |  | TRUE
14 | bus_LV_3787-32_0_3_node_45 | 0.4 | n |  | TRUE
15 | bus_LV_3787-32_0_3_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_3787-32_0_3_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_3787-32_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_3787-32_0_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_3787-32_0_3_node_42 | 0.4 | n |  | TRUE
20 | bus_LV_3787-32_0_3_node_33 | 0.4 | n |  | TRUE
21 | bus_LV_3787-32_0_3_node_34 | 0.4 | n |  | TRUE
22 | bus_LV_3787-32_0_3_node_35 | 0.4 | n |  | TRUE
23 | bus_LV_3787-32_0_3_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_3787-32_0_3_node_29 | 0.4 | n |  | TRUE
25 | bus_LV_3787-32_0_3_node_38 | 0.4 | n |  | TRUE
26 | bus_LV_3787-32_0_3_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_3787-32_0_3_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_3787-32_0_3_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_3787-32_0_3_node_41 | 0.4 | n |  | TRUE
30 | bus_LV_3787-32_0_3_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_3787-32_0_3_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_3787-32_0_3_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_3787-32_0_3_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_3787-32_0_3_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_3787-32_0_3_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_3787-32_0_3_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_3787-32_0_3_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_3787-32_0_3_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_3787-32_0_3_node_46 | 0.4 | n |  | TRUE
40 | bus_LV_3787-32_0_3_node_47 | 0.4 | n |  | TRUE
41 | bus_LV_3787-32_0_3_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_3787-32_0_3_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_3787-32_0_3_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_3787-32_0_3_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_3787-32_0_3_node_48 | 0.4 | n |  | TRUE
46 | bus_MV_172_0_node_99 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3787-32_0_3_load_0 | 0 | 0.0038136 | 0.00095579 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3787-32_0_3_load_1 | 1 | 0.0010758 | 0.00026963 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3787-32_0_3_load_3 | 3 | 0.0055333 | 0.0013868 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3787-32_0_3_load_7 | 4 | 0.0020164 | 0.00050536 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3787-32_0_3_load_14 | 5 | 0.0028541 | 0.0007153 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3787-32_0_3_load_5 | 6 | 0.0009877 | 0.00024754 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3787-32_0_3_load_6 | 7 | 0.0023909 | 0.00059921 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3787-32_0_3_load_8 | 8 | 0.0012502 | 0.00031333 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3787-32_0_3_load_4 | 9 | 0.0017781 | 0.00044564 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3787-32_0_3_load_9 | 10 | 0.00092317 | 0.00023137 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3787-32_0_3_load_15 | 11 | 0.0030081 | 0.0007539 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3787-32_0_3_load_44 | 13 | 0.014278 | 0.0035784 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3787-32_0_3_load_11 | 15 | 0.088202 | 0.022105 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3787-32_0_3_load_10 | 16 | 0.076126 | 0.019079 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3787-32_0_3_load_13 | 18 | 0.003123 | 0.00078271 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3787-32_0_3_load_34 | 21 | 0.0025191 | 0.00063133 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3787-32_0_3_load_35 | 22 | 0.013763 | 0.0034492 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3787-32_0_3_load_16 | 23 | 0.0031746 | 0.00079563 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3787-32_0_3_load_29 | 24 | 0.0039104 | 0.00098003 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3787-32_0_3_load_17 | 26 | 0.011201 | 0.0028071 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3787-32_0_3_load_18 | 27 | 0.015668 | 0.0039267 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3787-32_0_3_load_25 | 28 | 0.0030515 | 0.00076479 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3787-32_0_3_load_28 | 30 | 0.0042274 | 0.0010595 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3787-32_0_3_load_24 | 31 | 0.0028202 | 0.00070681 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3787-32_0_3_load_27 | 32 | 0.0033692 | 0.00084441 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3787-32_0_3_load_21 | 34 | 0.0051215 | 0.0012836 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3787-32_0_3_load_22 | 35 | 0.0075477 | 0.0018916 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3787-32_0_3_load_23 | 36 | 0.0092337 | 0.0023142 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3787-32_0_3_load_32 | 37 | 0.0015119 | 0.00037891 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3787-32_0_3_load_47 | 40 | 0.0034679 | 0.00086915 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3787-32_0_3_load_30 | 41 | 0.0042762 | 0.0010717 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3787-32_0_3_load_36 | 42 | 0.002147 | 0.00053809 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3787-32_0_3_load_39 | 44 | 0.0011188 | 0.0002804 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3787-32_0_3_load_48 | 45 | 0.00709 | 0.0017769 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3787-32_0_3_line_0 |  | 0 | 1 | 0.024153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3787-32_0_3_line_1 |  | 0 | 2 | 0.015173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3787-32_0_3_line_2 |  | 2 | 3 | 0.057259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3787-32_0_3_line_3 |  | 3 | 4 | 0.073941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3787-32_0_3_line_4 |  | 4 | 5 | 0.013201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3787-32_0_3_line_5 |  | 4 | 6 | 0.068394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3787-32_0_3_line_6 |  | 5 | 11 | 0.031265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3787-32_0_3_line_7 |  | 6 | 9 | 0.027228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3787-32_0_3_line_8 |  | 7 | 8 | 0.027917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3787-32_0_3_line_9 |  | 7 | 9 | 0.0086801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3787-32_0_3_line_10 |  | 8 | 10 | 0.082508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3787-32_0_3_line_11 |  | 10 | 12 | 0.05579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3787-32_0_3_line_12 |  | 11 | 23 | 0.028579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3787-32_0_3_line_13 |  | 12 | 13 | 0.059602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3787-32_0_3_line_14 |  | 12 | 14 | 0.048716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3787-32_0_3_line_15 |  | 12 | 15 | 0.12053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_3787-32_0_3_line_16 |  | 13 | 19 | 0.045204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3787-32_0_3_line_17 |  | 14 | 45 | 0.053536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3787-32_0_3_line_18 |  | 14 | 39 | 0.035182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3787-32_0_3_line_19 |  | 15 | 16 | 0.10189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3787-32_0_3_line_20 |  | 16 | 17 | 0.054045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3787-32_0_3_line_21 |  | 17 | 18 | 0.034738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3787-32_0_3_line_22 |  | 18 | 20 | 0.013844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3787-32_0_3_line_23 |  | 19 | 29 | 0.10825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3787-32_0_3_line_24 |  | 20 | 21 | 0.014263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3787-32_0_3_line_25 |  | 20 | 22 | 0.022158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3787-32_0_3_line_26 |  | 21 | 38 | 0.087412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3787-32_0_3_line_27 |  | 23 | 24 | 0.026008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3787-32_0_3_line_28 |  | 24 | 25 | 0.068137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3787-32_0_3_line_29 |  | 25 | 42 | 0.010401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3787-32_0_3_line_30 |  | 26 | 27 | 0.078285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3787-32_0_3_line_31 |  | 27 | 28 | 0.11561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3787-32_0_3_line_32 |  | 28 | 31 | 0.052915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3787-32_0_3_line_33 |  | 29 | 30 | 0.12396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3787-32_0_3_line_34 |  | 30 | 33 | 0.059966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3787-32_0_3_line_35 |  | 31 | 33 | 0.033386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3787-32_0_3_line_36 |  | 32 | 33 | 0.044071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3787-32_0_3_line_37 |  | 34 | 35 | 0.047329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3787-32_0_3_line_38 |  | 35 | 36 | 0.0067145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3787-32_0_3_line_39 |  | 36 | 39 | 0.10513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3787-32_0_3_line_40 |  | 37 | 38 | 0.020418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3787-32_0_3_line_41 |  | 38 | 41 | 0.096975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3787-32_0_3_line_42 |  | 39 | 40 | 0.014708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3787-32_0_3_line_43 |  | 42 | 43 | 0.042578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3787-32_0_3_line_44 |  | 43 | 44 | 0.017769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3787-32_0_3_trafo_11 | 0.63 MVA 20/0.4 kV | 46 | 15 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2783110.8133 | 1150984.6998 | 2783100.5802 | 1150984.7111 | 2783092.0224 | 1150985.7187 | 2783087.3102 | 1150988.1506
1 | 2783125.8857 | 1150986.2148 | 2783123.2687 | 1150985.6236 | 2783110.8133 | 1150984.6998
2 | 2783115.9156 | 1151012.4366 | 2783115.9812 | 1151010.281 | 2783114.5227 | 1151007.4674 | 2783111.6915 | 1151005.8354 | 2783107.1632 | 1151005.6976 | 2783103.6664 | 1151005.4912 | 2783102.2455 | 1151004.7251 | 2783100.974 | 1151002.3286 | 2783100.865 | 1150999.3447 | 2783102.693 | 1150996.8312 | 2783105.4964 | 1150996.0935 | 2783112.9339 | 1150995.2965 | 2783119.3135 | 1150995.6907 | 2783123.5594 | 1150995.008 | 2783125.1991 | 1150991.8659 | 2783125.8857 | 1150986.2148
3 | 2783129.2522 | 1151085.165 | 2783115.9156 | 1151012.4366
4 | 2783129.2522 | 1151085.165 | 2783130.2852 | 1151085.042 | 2783138.398 | 1151084.2656 | 2783141.0563 | 1151086.7821 | 2783141.2469 | 1151087.0756
5 | 2783069.5916 | 1151093.4538 | 2783076.552 | 1151098.8446 | 2783082.4224 | 1151102.3373 | 2783087.9387 | 1151103.3281 | 2783091.6852 | 1151102.1408 | 2783096.7333 | 1151098.0681 | 2783102.5984 | 1151090.8729 | 2783108.7244 | 1151088.2343 | 2783113.5468 | 1151087.0352 | 2783129.2522 | 1151085.165
6 | 2783133.1984 | 1151115.7113 | 2783136.295 | 1151107.6905 | 2783143.1301 | 1151093.1067 | 2783143.0303 | 1151089.8227 | 2783141.2469 | 1151087.0756
7 | 2783048.6767 | 1151076.1613 | 2783051.3607 | 1151078.6936 | 2783055.0263 | 1151081.6855 | 2783058.3415 | 1151085.3341 | 2783062.689 | 1151088.636 | 2783069.512 | 1151093.3922 | 2783069.5916 | 1151093.4538
8 | 2783041.9429 | 1151070.693 | 2783034.7514 | 1151064.8204 | 2783025.4842 | 1151060.3569 | 2783018.1344 | 1151056.4019
9 | 2783048.6767 | 1151076.1613 | 2783047.5969 | 1151075.1426 | 2783043.9039 | 1151072.2944 | 2783041.9429 | 1151070.693
10 | 2782959.7025 | 1151005.317 | 2782965.7395 | 1151006.0469 | 2782973.3066 | 1151007.8116 | 2782977.936 | 1151011.4445 | 2782980.5584 | 1151016.6624 | 2782982.5606 | 1151022.0616 | 2782983.2664 | 1151025.8867 | 2782985.3623 | 1151031.489 | 2782987.3675 | 1151033.5073 | 2782993.6177 | 1151037.9013 | 2782997.1454 | 1151040.3774 | 2782999.9441 | 1151043.3318 | 2783002.9575 | 1151045.7924 | 2783014.9477 | 1151054.6871 | 2783018.1344 | 1151056.4019
11 | 2782911.037 | 1151020.6445 | 2782916.0966 | 1151022.5109 | 2782923.6667 | 1151024.1756 | 2782927.4997 | 1151023.6804 | 2782931.243 | 1151022.3483 | 2782935.7088 | 1151017.9686 | 2782940.502 | 1151012.6758 | 2782943.7917 | 1151009.5839 | 2782948.094 | 1151007.0454 | 2782952.9853 | 1151005.3479 | 2782958.8585 | 1151005.2149 | 2782959.7025 | 1151005.317
12 | 2783133.1984 | 1151115.7113 | 2783128.6898 | 1151127.3891 | 2783128.3452 | 1151135.6865 | 2783129.0805 | 1151142.0705 | 2783130.0276 | 1151143.005
13 | 2782911.037 | 1151020.6445 | 2782912.7937 | 1151011.8784 | 2782914.1526 | 1151003.0558 | 2782916.8916 | 1150984.9663 | 2782919.213 | 1150968.232 | 2782921.6576 | 1150962.1612
14 | 2782898.1302 | 1151067.4525 | 2782900.6066 | 1151062.5564 | 2782906.6327 | 1151041.9643 | 2782910.1037 | 1151025.3206 | 2782911.037 | 1151020.6445
15 | 2782911.037 | 1151020.6445 | 2782794.6159 | 1150989.4456
16 | 2782954.2152 | 1150932.5164 | 2782943.7605 | 1150937.5482 | 2782932.0076 | 1150947.3785 | 2782923.916 | 1150956.5526 | 2782921.6576 | 1150962.1612
17 | 2782898.1302 | 1151067.4525 | 2782906.4417 | 1151070.2519 | 2782912.8116 | 1151074.249 | 2782929.988 | 1151081.8554 | 2782941.0155 | 1151085.2711 | 2782947.2778 | 1151088.5088
18 | 2782898.1302 | 1151067.4525 | 2782887.1137 | 1151080.3637 | 2782874.835 | 1151093.8594
19 | 2782794.6159 | 1150989.4456 | 2782784.6298 | 1150990.9699 | 2782758.0523 | 1150983.2899 | 2782752.8146 | 1150980.7064 | 2782743.3738 | 1150976.6384 | 2782735.2969 | 1150973.446 | 2782727.6628 | 1150967.053 | 2782721.6603 | 1150961.3211 | 2782718.4653 | 1150951.1702 | 2782719.1027 | 1150943.5824 | 2782719.7945 | 1150940.8644
20 | 2782735.6558 | 1150889.233 | 2782733.5309 | 1150895.9638 | 2782724.1703 | 1150923.6728 | 2782719.7945 | 1150940.8644
21 | 2782735.6558 | 1150889.233 | 2782731.844 | 1150882.4443 | 2782727.0041 | 1150881.6857 | 2782715.1745 | 1150882.6613 | 2782705.3159 | 1150885.2127
22 | 2782691.5789 | 1150886.3161 | 2782702.1739 | 1150886.0259 | 2782705.3159 | 1150885.2127
23 | 2782948.4103 | 1150927.3686 | 2782968.1438 | 1150918.5928 | 2782986.4529 | 1150913.2103 | 2783001.1097 | 1150909.196 | 2782954.2152 | 1150932.5164
24 | 2782691.5789 | 1150886.3161 | 2782682.4796 | 1150897.3173
25 | 2782678.9503 | 1150869.3172 | 2782681.2745 | 1150877.0283 | 2782687.7391 | 1150884.4979 | 2782691.5789 | 1150886.3161
26 | 2782682.4796 | 1150897.3173 | 2782604.0486 | 1150935.9099
27 | 2783130.0276 | 1151143.005 | 2783134.7785 | 1151147.6934 | 2783141.083 | 1151146.7619 | 2783145.4586 | 1151142.0682 | 2783148.9367 | 1151136.526
28 | 2783199.4651 | 1151110.947 | 2783193.0496 | 1151106.4366 | 2783184.1992 | 1151105.956 | 2783173.4875 | 1151106.0527 | 2783167.8795 | 1151107.3168 | 2783164.1677 | 1151110.8962 | 2783149.5679 | 1151135.5202 | 2783148.9367 | 1151136.526
29 | 2783199.4651 | 1151110.947 | 2783202.2629 | 1151114.9359 | 2783206.1582 | 1151118.8595
30 | 2782710.3468 | 1150738.7577 | 2782729.7665 | 1150737.767 | 2782741.3544 | 1150721.2249 | 2782753.9846 | 1150711.5989 | 2782773.7474 | 1150708.4508 | 2782776.456 | 1150707.9676
31 | 2782852.1992 | 1150795.3126 | 2782776.456 | 1150707.9676
32 | 2782893.4976 | 1150773.4376 | 2782881.5671 | 1150770.814 | 2782874.637 | 1150771.5933 | 2782867.0926 | 1150774.6339 | 2782859.9929 | 1150782.5148 | 2782853.2154 | 1150793.6975 | 2782852.1992 | 1150795.3126
33 | 2782948.4103 | 1150927.3686 | 2782977.0735 | 1150806.7693
34 | 2782924.814 | 1150781.103 | 2782934.5477 | 1150790.7075 | 2782945.0919 | 1150797.9122 | 2782953.5517 | 1150802.1619 | 2782962.594 | 1150804.9391 | 2782977.0735 | 1150806.7693
35 | 2782924.814 | 1150781.103 | 2782919.1178 | 1150782.9874 | 2782908.61 | 1150778.631 | 2782897.059 | 1150774.2207 | 2782893.4976 | 1150773.4376
36 | 2782924.814 | 1150781.103 | 2782911.4358 | 1150769.3191 | 2782899.7355 | 1150761.4788 | 2782888.4905 | 1150756.8554
37 | 2782764.1806 | 1151202.5043 | 2782774.8152 | 1151198.3569 | 2782792.4194 | 1151185.0339 | 2782802.3898 | 1151176.2058 | 2782802.7394 | 1151175.8206
38 | 2782802.7394 | 1151175.8206 | 2782807.2527 | 1151170.8492
39 | 2782874.835 | 1151093.8594 | 2782860.0081 | 1151104.7531 | 2782849.1618 | 1151112.32 | 2782837.3451 | 1151120.7249 | 2782832.5239 | 1151125.6834 | 2782829.0487 | 1151130.8383 | 2782824.0335 | 1151141.93 | 2782818.9583 | 1151153.9874 | 2782812.0781 | 1151165.534 | 2782807.2527 | 1151170.8492
40 | 2782602.3012 | 1150954.2632 | 2782601.3986 | 1150949.3201 | 2782601.0652 | 1150941.8251 | 2782601.5165 | 1150936.5672 | 2782604.0486 | 1150935.9099
41 | 2782604.0486 | 1150935.9099 | 2782599.1235 | 1150932.1349 | 2782588.5152 | 1150927.042 | 2782582.9223 | 1150921.2226 | 2782574.9794 | 1150911.3282 | 2782564.7352 | 1150905.8794 | 2782557.9331 | 1150902.6925 | 2782551.2168 | 1150896.4276 | 2782542.2826 | 1150885.2687 | 2782537.8697 | 1150873.4683 | 2782536.5054 | 1150870.7405
42 | 2782887.5423 | 1151101.1519 | 2782883.8159 | 1151099.4038 | 2782880.7674 | 1151096.8311 | 2782874.835 | 1151093.8594
43 | 2783226.8353 | 1151155.6548 | 2783225.2003 | 1151152.8358 | 2783223.823 | 1151150.6363 | 2783220.9114 | 1151145.0869 | 2783218.3686 | 1151137.0131 | 2783213.6667 | 1151128.1951 | 2783208.0692 | 1151120.7846 | 2783206.1582 | 1151118.8595
44 | 2783226.8353 | 1151155.6548 | 2783216.9389 | 1151164.0508 | 2783213.3354 | 1151167.2079

## bus_geodata
| x | y | coords
0 | 2783110.8133 | 1150984.6998
1 | 2783087.3102 | 1150988.1506
2 | 2783125.8857 | 1150986.2148
3 | 2783115.9156 | 1151012.4366
4 | 2783129.2522 | 1151085.165
5 | 2783141.2469 | 1151087.0756
6 | 2783069.5916 | 1151093.4538
7 | 2783041.9429 | 1151070.693
8 | 2783018.1344 | 1151056.4019
9 | 2783048.6767 | 1151076.1613
10 | 2782959.7025 | 1151005.317
11 | 2783133.1984 | 1151115.7113
12 | 2782911.037 | 1151020.6445
13 | 2782921.6576 | 1150962.1612
14 | 2782898.1302 | 1151067.4525
15 | 2782794.6159 | 1150989.4456
16 | 2782719.7945 | 1150940.8644
17 | 2782735.6558 | 1150889.233
18 | 2782705.3159 | 1150885.2127
19 | 2782954.2152 | 1150932.5164
20 | 2782691.5789 | 1150886.3161
21 | 2782682.4796 | 1150897.3173
22 | 2782678.9503 | 1150869.3172
23 | 2783130.0276 | 1151143.005
24 | 2783148.9367 | 1151136.526
25 | 2783199.4651 | 1151110.947
26 | 2782710.3468 | 1150738.7577
27 | 2782776.456 | 1150707.9676
28 | 2782852.1992 | 1150795.3126
29 | 2782948.4102 | 1150927.3686
30 | 2782977.0735 | 1150806.7693
31 | 2782893.4976 | 1150773.4376
32 | 2782888.4905 | 1150756.8554
33 | 2782924.814 | 1150781.103
34 | 2782764.1806 | 1151202.5043
35 | 2782802.7394 | 1151175.8206
36 | 2782807.2527 | 1151170.8492
37 | 2782602.3012 | 1150954.2632
38 | 2782604.0486 | 1150935.9099
39 | 2782874.835 | 1151093.8594
40 | 2782887.5423 | 1151101.1519
41 | 2782536.5054 | 1150870.7405
42 | 2783206.1581 | 1151118.8595
43 | 2783226.8353 | 1151155.6548
44 | 2783213.3354 | 1151167.2079
45 | 2782947.2778 | 1151088.5088
46 | 2782818.8707 | 1150962.8375

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1