## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3851-15_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3851-15_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3851-15_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3851-15_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3851-15_0_2_node_88 | 0.4 | n |  | TRUE
5 | bus_LV_3851-15_0_2_node_87 | 0.4 | n |  | TRUE
6 | bus_LV_3851-15_0_2_node_55 | 0.4 | n |  | TRUE
7 | bus_LV_3851-15_0_2_node_57 | 0.4 | n |  | TRUE
8 | bus_LV_3851-15_0_2_node_56 | 0.4 | n |  | TRUE
9 | bus_LV_3851-15_0_2_node_54 | 0.4 | n |  | TRUE
10 | bus_LV_3851-15_0_2_node_41 | 0.4 | n |  | TRUE
11 | bus_LV_3851-15_0_2_node_18 | 0.4 | n |  | TRUE
12 | bus_LV_3851-15_0_2_node_4 | 0.4 | n |  | TRUE
13 | bus_LV_3851-15_0_2_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_3851-15_0_2_node_5 | 0.4 | n |  | TRUE
15 | bus_LV_3851-15_0_2_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_3851-15_0_2_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_3851-15_0_2_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_3851-15_0_2_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_3851-15_0_2_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_3851-15_0_2_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_3851-15_0_2_node_53 | 0.4 | n |  | TRUE
22 | bus_LV_3851-15_0_2_node_39 | 0.4 | n |  | TRUE
23 | bus_LV_3851-15_0_2_node_34 | 0.4 | n |  | TRUE
24 | bus_LV_3851-15_0_2_node_31 | 0.4 | n |  | TRUE
25 | bus_LV_3851-15_0_2_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_3851-15_0_2_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_3851-15_0_2_node_36 | 0.4 | n |  | TRUE
28 | bus_LV_3851-15_0_2_node_46 | 0.4 | n |  | TRUE
29 | bus_LV_3851-15_0_2_node_37 | 0.4 | n |  | TRUE
30 | bus_LV_3851-15_0_2_node_33 | 0.4 | n |  | TRUE
31 | bus_LV_3851-15_0_2_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_3851-15_0_2_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_3851-15_0_2_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_3851-15_0_2_node_38 | 0.4 | n |  | TRUE
35 | bus_LV_3851-15_0_2_node_13 | 0.4 | n |  | TRUE
36 | bus_LV_3851-15_0_2_node_14 | 0.4 | n |  | TRUE
37 | bus_LV_3851-15_0_2_node_15 | 0.4 | n |  | TRUE
38 | bus_LV_3851-15_0_2_node_16 | 0.4 | n |  | TRUE
39 | bus_LV_3851-15_0_2_node_44 | 0.4 | n |  | TRUE
40 | bus_LV_3851-15_0_2_node_17 | 0.4 | n |  | TRUE
41 | bus_LV_3851-15_0_2_node_23 | 0.4 | n |  | TRUE
42 | bus_LV_3851-15_0_2_node_20 | 0.4 | n |  | TRUE
43 | bus_LV_3851-15_0_2_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_3851-15_0_2_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_3851-15_0_2_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_3851-15_0_2_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_3851-15_0_2_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_3851-15_0_2_node_25 | 0.4 | n |  | TRUE
49 | bus_LV_3851-15_0_2_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_3851-15_0_2_node_28 | 0.4 | n |  | TRUE
51 | bus_LV_3851-15_0_2_node_26 | 0.4 | n |  | TRUE
52 | bus_LV_3851-15_0_2_node_32 | 0.4 | n |  | TRUE
53 | bus_LV_3851-15_0_2_node_86 | 0.4 | n |  | TRUE
54 | bus_LV_3851-15_0_2_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_3851-15_0_2_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_3851-15_0_2_node_73 | 0.4 | n |  | TRUE
57 | bus_LV_3851-15_0_2_node_70 | 0.4 | n |  | TRUE
58 | bus_LV_3851-15_0_2_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_3851-15_0_2_node_71 | 0.4 | n |  | TRUE
60 | bus_LV_3851-15_0_2_node_72 | 0.4 | n |  | TRUE
61 | bus_LV_3851-15_0_2_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_3851-15_0_2_node_52 | 0.4 | n |  | TRUE
63 | bus_LV_3851-15_0_2_node_69 | 0.4 | n |  | TRUE
64 | bus_LV_3851-15_0_2_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_3851-15_0_2_node_63 | 0.4 | n |  | TRUE
66 | bus_LV_3851-15_0_2_node_51 | 0.4 | n |  | TRUE
67 | bus_LV_3851-15_0_2_node_61 | 0.4 | n |  | TRUE
68 | bus_LV_3851-15_0_2_node_64 | 0.4 | n |  | TRUE
69 | bus_LV_3851-15_0_2_node_62 | 0.4 | n |  | TRUE
70 | bus_LV_3851-15_0_2_node_65 | 0.4 | n |  | TRUE
71 | bus_LV_3851-15_0_2_node_58 | 0.4 | n |  | TRUE
72 | bus_LV_3851-15_0_2_node_59 | 0.4 | n |  | TRUE
73 | bus_LV_3851-15_0_2_node_60 | 0.4 | n |  | TRUE
74 | bus_LV_3851-15_0_2_node_68 | 0.4 | n |  | TRUE
75 | bus_LV_3851-15_0_2_node_66 | 0.4 | n |  | TRUE
76 | bus_LV_3851-15_0_2_node_67 | 0.4 | n |  | TRUE
77 | bus_LV_3851-15_0_2_node_77 | 0.4 | n |  | TRUE
78 | bus_LV_3851-15_0_2_node_74 | 0.4 | n |  | TRUE
79 | bus_LV_3851-15_0_2_node_79 | 0.4 | n |  | TRUE
80 | bus_LV_3851-15_0_2_node_75 | 0.4 | n |  | TRUE
81 | bus_LV_3851-15_0_2_node_76 | 0.4 | n |  | TRUE
82 | bus_LV_3851-15_0_2_node_78 | 0.4 | n |  | TRUE
83 | bus_LV_3851-15_0_2_node_80 | 0.4 | n |  | TRUE
84 | bus_LV_3851-15_0_2_node_85 | 0.4 | n |  | TRUE
85 | bus_LV_3851-15_0_2_node_84 | 0.4 | n |  | TRUE
86 | bus_LV_3851-15_0_2_node_81 | 0.4 | n |  | TRUE
87 | bus_LV_3851-15_0_2_node_82 | 0.4 | n |  | TRUE
88 | bus_LV_3851-15_0_2_node_83 | 0.4 | n |  | TRUE
89 | bus_MV_239_0_node_126 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3851-15_0_2_load_0 | 0 | 0.00046816 | 0.00011733 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3851-15_0_2_load_1 | 1 | 0.00017022 | 4.2661e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3851-15_0_2_load_2 | 2 | 0.00028093 | 7.0408e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3851-15_0_2_load_3 | 3 | 0.00033564 | 8.412e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3851-15_0_2_load_88 | 4 | 0.0032948 | 0.00082574 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3851-15_0_2_load_87 | 5 | 0.0031256 | 0.00078336 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3851-15_0_2_load_57 | 7 | 0.044307 | 0.011104 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3851-15_0_2_load_56 | 8 | 0.001465 | 0.00036717 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3851-15_0_2_load_41 | 10 | 0.00046186 | 0.00011575 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3851-15_0_2_load_4 | 12 | 0.0032256 | 0.00080842 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3851-15_0_2_load_8 | 16 | 0.022084 | 0.0055347 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3851-15_0_2_load_12 | 19 | 0.0029847 | 0.00074804 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3851-15_0_2_load_53 | 21 | 0.0013282 | 0.00033289 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3851-15_0_2_load_34 | 23 | 0.00046999 | 0.00011779 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3851-15_0_2_load_31 | 24 | 0.006246 | 0.0015654 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3851-15_0_2_load_24 | 25 | 0.0021643 | 0.00054241 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3851-15_0_2_load_37 | 29 | 0.0005442 | 0.00013639 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3851-15_0_2_load_33 | 30 | 0.0040213 | 0.0010078 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3851-15_0_2_load_30 | 31 | 0.0065644 | 0.0016452 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3851-15_0_2_load_22 | 32 | 0.0029583 | 0.00074141 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3851-15_0_2_load_19 | 33 | 0.00092116 | 0.00023086 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3851-15_0_2_load_38 | 34 | 0.0075102 | 0.0018822 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3851-15_0_2_load_13 | 35 | 0.003608 | 0.00090426 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3851-15_0_2_load_15 | 37 | 0.0050244 | 0.0012592 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3851-15_0_2_load_16 | 38 | 0.0072724 | 0.0018226 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3851-15_0_2_load_44 | 39 | 0.002056 | 0.00051529 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3851-15_0_2_load_29 | 44 | 0.0056632 | 0.0014193 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3851-15_0_2_load_42 | 46 | 0.00046561 | 0.00011669 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3851-15_0_2_load_43 | 47 | 0.0042519 | 0.0010656 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3851-15_0_2_load_25 | 48 | 0.0035705 | 0.00089486 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3851-15_0_2_load_35 | 49 | 0.0026494 | 0.000664 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3851-15_0_2_load_28 | 50 | 0.0064847 | 0.0016252 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3851-15_0_2_load_26 | 51 | 0.0077641 | 0.0019459 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3851-15_0_2_load_86 | 53 | 0.0017505 | 0.00043871 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3851-15_0_2_load_47 | 54 | 0.00064063 | 0.00016056 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3851-15_0_2_load_73 | 56 | 0.0012178 | 0.0003052 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3851-15_0_2_load_45 | 58 | 0.001072 | 0.00026866 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3851-15_0_2_load_71 | 59 | 0.0015592 | 0.00039076 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3851-15_0_2_load_69 | 63 | 0.0014327 | 0.00035906 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3851-15_0_2_load_61 | 67 | 0.013102 | 0.0032837 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3851-15_0_2_load_64 | 68 | 0.0099733 | 0.0024996 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3851-15_0_2_load_62 | 69 | 0.0080452 | 0.0020163 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3851-15_0_2_load_65 | 70 | 0.0022115 | 0.00055426 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3851-15_0_2_load_58 | 71 | 0.0016146 | 0.00040465 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3851-15_0_2_load_60 | 73 | 0.0019103 | 0.00047877 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3851-15_0_2_load_66 | 75 | 0.0089147 | 0.0022342 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3851-15_0_2_load_67 | 76 | 0.0079925 | 0.0020031 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3851-15_0_2_load_74 | 78 | 0.0016393 | 0.00041085 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3851-15_0_2_load_79 | 79 | 0.00084496 | 0.00021177 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3851-15_0_2_load_75 | 80 | 0.0074985 | 0.0018793 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3851-15_0_2_load_76 | 81 | 0.0028412 | 0.00071206 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3851-15_0_2_load_78 | 82 | 0.003717 | 0.00093157 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3851-15_0_2_load_80 | 83 | 0.0027599 | 0.00069169 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3851-15_0_2_load_85 | 84 | 0.0017966 | 0.00045027 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3851-15_0_2_load_84 | 85 | 0.0023795 | 0.00059635 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3851-15_0_2_load_81 | 86 | 0.0010405 | 0.00026077 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3851-15_0_2_load_83 | 88 | 0.0030012 | 0.00075216 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 48 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3851-15_0_2_line_0 |  | 0 | 1 | 0.01801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3851-15_0_2_line_1 |  | 0 | 2 | 0.015486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3851-15_0_2_line_2 |  | 1 | 3 | 0.0089542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3851-15_0_2_line_3 |  | 2 | 4 | 0.4454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3851-15_0_2_line_4 |  | 4 | 5 | 0.014799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3851-15_0_2_line_5 |  | 5 | 71 | 0.095911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3851-15_0_2_line_6 |  | 6 | 7 | 0.012665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3851-15_0_2_line_7 |  | 6 | 8 | 0.026887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3851-15_0_2_line_8 |  | 6 | 9 | 0.016174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3851-15_0_2_line_9 |  | 9 | 54 | 0.063967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3851-15_0_2_line_10 |  | 10 | 11 | 0.037378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3851-15_0_2_line_11 |  | 11 | 43 | 0.020634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3851-15_0_2_line_12 |  | 11 | 38 | 0.095054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3851-15_0_2_line_13 |  | 12 | 13 | 0.022615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3851-15_0_2_line_14 |  | 13 | 16 | 0.019396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3851-15_0_2_line_15 |  | 13 | 17 | 0.074181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3851-15_0_2_line_16 |  | 14 | 15 | 0.014411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3851-15_0_2_line_17 |  | 14 | 16 | 0.023077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3851-15_0_2_line_18 |  | 15 | 18 | 0.003126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_3851-15_0_2_line_19 |  | 15 | 19 | 0.027678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_3851-15_0_2_line_20 |  | 17 | 23 | 0.025042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3851-15_0_2_line_21 |  | 17 | 24 | 0.021665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3851-15_0_2_line_22 |  | 18 | 25 | 0.019207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3851-15_0_2_line_23 |  | 18 | 26 | 0.020564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_3851-15_0_2_line_24 |  | 19 | 27 | 0.031868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_3851-15_0_2_line_25 |  | 20 | 21 | 0.037121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3851-15_0_2_line_26 |  | 20 | 22 | 0.03441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3851-15_0_2_line_27 |  | 22 | 28 | 0.024053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_3851-15_0_2_line_28 |  | 22 | 29 | 0.0074045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_3851-15_0_2_line_29 |  | 23 | 30 | 0.0023577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3851-15_0_2_line_30 |  | 24 | 31 | 0.017203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3851-15_0_2_line_31 |  | 26 | 32 | 0.012952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_3851-15_0_2_line_32 |  | 26 | 33 | 0.011368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3851-15_0_2_line_33 |  | 27 | 29 | 0.034999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_3851-15_0_2_line_34 |  | 27 | 34 | 0.0088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3851-15_0_2_line_35 |  | 28 | 54 | 0.023222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3851-15_0_2_line_36 |  | 28 | 55 | 0.070178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3851-15_0_2_line_37 |  | 30 | 52 | 0.053282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3851-15_0_2_line_38 |  | 32 | 48 | 0.02446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_3851-15_0_2_line_39 |  | 33 | 42 | 0.013751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3851-15_0_2_line_40 |  | 35 | 36 | 0.016916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3851-15_0_2_line_41 |  | 36 | 37 | 0.044696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3851-15_0_2_line_42 |  | 36 | 38 | 0.010357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3851-15_0_2_line_43 |  | 36 | 39 | 0.24182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3851-15_0_2_line_44 |  | 37 | 40 | 0.014806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3851-15_0_2_line_45 |  | 40 | 41 | 0.019673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3851-15_0_2_line_46 |  | 40 | 42 | 0.004765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3851-15_0_2_line_47 |  | 41 | 44 | 0.023103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3851-15_0_2_line_48 |  | 41 | 45 | 0.015714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3851-15_0_2_line_49 |  | 43 | 46 | 0.046212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3851-15_0_2_line_50 |  | 43 | 47 | 0.012072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3851-15_0_2_line_51 |  | 44 | 49 | 0.015946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3851-15_0_2_line_52 |  | 45 | 50 | 0.029109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3851-15_0_2_line_53 |  | 45 | 51 | 0.017816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3851-15_0_2_line_54 |  | 46 | 56 | 0.011688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3851-15_0_2_line_55 |  | 47 | 57 | 0.027054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3851-15_0_2_line_56 |  | 52 | 53 | 0.24612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3851-15_0_2_line_57 |  | 55 | 63 | 0.025281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3851-15_0_2_line_58 |  | 56 | 58 | 0.21348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3851-15_0_2_line_59 |  | 57 | 59 | 0.00783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3851-15_0_2_line_60 |  | 57 | 60 | 0.013852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3851-15_0_2_line_61 |  | 60 | 77 | 0.019583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3851-15_0_2_line_62 |  | 60 | 78 | 0.02594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3851-15_0_2_line_63 |  | 61 | 62 | 0.021693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3851-15_0_2_line_64 |  | 61 | 63 | 0.014455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3851-15_0_2_line_65 |  | 62 | 66 | 0.011165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3851-15_0_2_line_66 |  | 64 | 65 | 0.080427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3851-15_0_2_line_67 |  | 64 | 66 | 0.031249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3851-15_0_2_line_68 |  | 64 | 67 | 0.061958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3851-15_0_2_line_69 |  | 65 | 69 | 0.038009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3851-15_0_2_line_70 |  | 66 | 68 | 0.0084362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3851-15_0_2_line_71 |  | 68 | 70 | 0.0011001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3851-15_0_2_line_72 |  | 69 | 74 | 0.053889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3851-15_0_2_line_73 |  | 69 | 73 | 0.06157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3851-15_0_2_line_74 |  | 71 | 72 | 0.041755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3851-15_0_2_line_75 |  | 72 | 73 | 0.02508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3851-15_0_2_line_76 |  | 74 | 75 | 0.011148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3851-15_0_2_line_77 |  | 75 | 76 | 0.020633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3851-15_0_2_line_78 |  | 77 | 79 | 0.012744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3851-15_0_2_line_79 |  | 78 | 80 | 0.10589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3851-15_0_2_line_80 |  | 80 | 81 | 0.036886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3851-15_0_2_line_81 |  | 81 | 82 | 0.046435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3851-15_0_2_line_82 |  | 82 | 83 | 0.029798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3851-15_0_2_line_83 |  | 83 | 84 | 0.0012155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3851-15_0_2_line_84 |  | 84 | 85 | 0.033552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3851-15_0_2_line_85 |  | 85 | 88 | 0.0013674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3851-15_0_2_line_86 |  | 86 | 87 | 0.02413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3851-15_0_2_line_87 |  | 87 | 88 | 0.036085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3851-15_0_2_trafo_25 | 0.63 MVA 20/0.4 kV | 89 | 48 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2782079.0711 | 1182676.129 | 2782084.0966 | 1182658.8348
1 | 2782079.0711 | 1182676.129 | 2782074.7497 | 1182690.9999
2 | 2782086.5952 | 1182650.2363 | 2782084.0966 | 1182658.8348
3 | 2781633.9627 | 1182627.0977 | 2782074.7497 | 1182690.9999
4 | 2781633.9627 | 1182627.0977 | 2781624.4318 | 1182638.4191
5 | 2781537.8965 | 1182597.0596 | 2781624.4318 | 1182638.4191
6 | 2781574.5772 | 1182443.3877 | 2781572.3974 | 1182448.9938 | 2781567.7442 | 1182453.7574
7 | 2781574.5772 | 1182443.3877 | 2781576.906 | 1182435.6396 | 2781581.7175 | 1182424.3967 | 2781583.4533 | 1182418.063
8 | 2781559.4448 | 1182441.1606 | 2781564.4651 | 1182440.1672 | 2781572.593 | 1182441.2811 | 2781574.5772 | 1182443.3877
9 | 2781559.4448 | 1182441.1606 | 2781550.0353 | 1182442.9996 | 2781536.8242 | 1182444.7012 | 2781522.1209 | 1182444.1999 | 2781505.2595 | 1182444.5564 | 2781495.7771 | 1182444.5974
10 | 2781748.582 | 1182228.1855 | 2781742.8108 | 1182229.2338 | 2781735.0621 | 1182228.9653 | 2781721.6021 | 1182226.5105 | 2781713.3055 | 1182220.62
11 | 2781729.6344 | 1182208.1139 | 2781722.4121 | 1182214.9238 | 2781713.3055 | 1182220.62
12 | 2781713.3055 | 1182220.62 | 2781704.7365 | 1182225.9766 | 2781651.9434 | 1182253.4477 | 2781631.8543 | 1182269.0486
13 | 2781474.0963 | 1182345.6619 | 2781472.6107 | 1182340.2117 | 2781470.7418 | 1182327.4872 | 2781472.693 | 1182323.8761
14 | 2781474.0963 | 1182345.6619 | 2781493.3539 | 1182343.3504
15 | 2781405.6331 | 1182373.8393 | 2781416.2647 | 1182369.5013 | 2781441.973 | 1182358.3908 | 2781467.4569 | 1182347.3737 | 2781470.3841 | 1182346.1055 | 2781470.3917 | 1182346.1057 | 2781474.0963 | 1182345.6619
16 | 2781516.266 | 1182340.6003 | 2781530.6464 | 1182339.1566
17 | 2781516.266 | 1182340.6003 | 2781493.3539 | 1182343.3504
18 | 2781533.4405 | 1182337.7398 | 2781530.6464 | 1182339.1566
19 | 2781530.6464 | 1182339.1566 | 2781523.9869 | 1182361.1984 | 2781521.3725 | 1182365.0465
20 | 2781405.6331 | 1182373.8393 | 2781386.1728 | 1182381.7804 | 2781382.866 | 1182384.0727
21 | 2781405.6331 | 1182373.8393 | 2781401.1792 | 1182363.1943 | 2781393.8474 | 1182356.2101
22 | 2781533.4405 | 1182337.7398 | 2781537.1845 | 1182342.8025 | 2781541.4976 | 1182349.2616 | 2781544.4643 | 1182353.4628
23 | 2781551.8053 | 1182328.3869 | 2781533.4405 | 1182337.7398
24 | 2781499.2854 | 1182387.754 | 2781502.613 | 1182383.8621 | 2781517.2198 | 1182371.1587 | 2781521.3725 | 1182365.0465
25 | 2781441.7167 | 1182405.1949 | 2781455.114 | 1182396.5921 | 2781473.3802 | 1182385.69
26 | 2781471.812 | 1182420.0424 | 2781473.3663 | 1182395.7326 | 2781473.3802 | 1182385.69
27 | 2781471.812 | 1182420.0424 | 2781472.5739 | 1182444.0776
28 | 2781471.812 | 1182420.0424 | 2781476.8044 | 1182414.574
29 | 2781380.9284 | 1182385.4159 | 2781382.866 | 1182384.0727
30 | 2781378.803 | 1182352.0185 | 2781385.1712 | 1182350.253 | 2781391.2185 | 1182353.7059 | 2781393.8474 | 1182356.2101
31 | 2781551.8053 | 1182328.3869 | 2781560.8412 | 1182337.6659
32 | 2781551.8053 | 1182328.3869 | 2781560.6208 | 1182321.2098
33 | 2781499.2854 | 1182387.754 | 2781490.5862 | 1182397.9227 | 2781477.9379 | 1182413.3325 | 2781476.8044 | 1182414.574
34 | 2781505.9264 | 1182393.5495 | 2781502.5473 | 1182390.5666 | 2781499.2854 | 1182387.754
35 | 2781472.5739 | 1182444.0776 | 2781480.2533 | 1182444.6106 | 2781493.3746 | 1182444.6078 | 2781495.7771 | 1182444.5974
36 | 2781415.0839 | 1182479.8833 | 2781425.315 | 1182468.3262 | 2781444.704 | 1182460.4609 | 2781461.5404 | 1182454.6205 | 2781468.9998 | 1182450.8092 | 2781472.5739 | 1182444.0776
37 | 2781348.0371 | 1182426.2585 | 2781368.6641 | 1182393.9179 | 2781380.9284 | 1182385.4159
38 | 2781572.4913 | 1182358.1755 | 2781571.1254 | 1182349.5369 | 2781563.4116 | 1182340.3054 | 2781560.8412 | 1182337.6659
39 | 2781571.2844 | 1182312.5281 | 2781560.6208 | 1182321.2098
40 | 2781623.6739 | 1182275.4014 | 2781632.955 | 1182277.0508 | 2781640.409 | 1182276.3248
41 | 2781623.6739 | 1182275.4014 | 2781613.3312 | 1182282.5505 | 2781604.9017 | 1182288.8568 | 2781591.5692 | 1182298.5846 | 2781587.4728 | 1182301.6078
42 | 2781623.6739 | 1182275.4014 | 2781631.8543 | 1182269.0486
43 | 2781623.6739 | 1182275.4014 | 2781478.8603 | 1182081.74
44 | 2781575.5598 | 1182310.4 | 2781587.4728 | 1182301.6078
45 | 2781575.5598 | 1182310.4 | 2781580.8598 | 1182311.5283 | 2781593.7882 | 1182317.648
46 | 2781575.5598 | 1182310.4 | 2781571.2844 | 1182312.5281
47 | 2781593.7882 | 1182317.648 | 2781594.5234 | 1182327.68 | 2781591.9093 | 1182332.4832 | 2781587.3601 | 1182338.5406
48 | 2781593.7882 | 1182317.648 | 2781607.8969 | 1182318.8654 | 2781609.4904 | 1182318.7358
49 | 2781729.6344 | 1182208.1139 | 2781726.6438 | 1182195.6001 | 2781725.0356 | 1182180.8482 | 2781725.3455 | 1182170.6366 | 2781725.5312 | 1182164.5141 | 2781724.8198 | 1182162.4698
50 | 2781729.6344 | 1182208.1139 | 2781738.4188 | 1182199.8336
51 | 2781588.3972 | 1182354.0532 | 2781586.5536 | 1182347.0573 | 2781586.7887 | 1182339.3014 | 2781587.3601 | 1182338.5406
52 | 2781636.6283 | 1182316.7004 | 2781631.6025 | 1182319.3841 | 2781618.4648 | 1182315.1264 | 2781609.4904 | 1182318.7358
53 | 2781609.4904 | 1182318.7358 | 2781623.9511 | 1182323.4674 | 2781626.3512 | 1182324.4707
54 | 2781725.523 | 1182151.4345 | 2781723.2466 | 1182157.9496 | 2781724.8198 | 1182162.4698
55 | 2781758.6568 | 1182182.0241 | 2781756.5005 | 1182183.0708 | 2781745.3061 | 1182193.3414 | 2781738.4188 | 1182199.8336
56 | 2781348.0371 | 1182426.2585 | 2781128.1214 | 1182315.7496
57 | 2781415.0839 | 1182479.8833 | 2781413.0476 | 1182486.3057 | 2781414.3013 | 1182495.3746 | 2781421.0214 | 1182501.9307
58 | 2781725.523 | 1182151.4345 | 2781694.5153 | 1181940.2197
59 | 2781757.6313 | 1182174.2632 | 2781758.6568 | 1182182.0241
60 | 2781758.6568 | 1182182.0241 | 2781760.1232 | 1182181.3012 | 2781770.724 | 1182175.2278
61 | 2781769.2834 | 1182194.4916 | 2781771.7457 | 1182181.8541 | 2781770.724 | 1182175.2278
62 | 2781770.724 | 1182175.2278 | 2781781.0775 | 1182172.7727 | 2781796.2511 | 1182170.8166
63 | 2781434.7842 | 1182505.3819 | 2781438.478 | 1182505.0378 | 2781441.2989 | 1182505.2567 | 2781443.41 | 1182506.1993 | 2781447.8456 | 1182500.795 | 2781452.8438 | 1182497.7545
64 | 2781434.7842 | 1182505.3819 | 2781432.462 | 1182505.6007 | 2781421.7016 | 1182502.5944 | 2781421.0214 | 1182501.9307
65 | 2781452.8438 | 1182497.7545 | 2781455.0858 | 1182499.4239 | 2781457.7577 | 1182500.2723 | 2781460.5565 | 1182500.2125 | 2781463.1836 | 1182499.2578
66 | 2781433.1717 | 1182594.4303 | 2781433.2222 | 1182588.7263 | 2781444.977 | 1182578.3276 | 2781453.201 | 1182567.6884 | 2781457.7359 | 1182554.2127 | 2781459.9225 | 1182536.7731 | 2781458.9412 | 1182525.2767 | 2781457.5749 | 1182523.4558
67 | 2781457.5749 | 1182523.4558 | 2781451.4339 | 1182515.2843 | 2781456.5333 | 1182511.6796 | 2781462.0355 | 1182506.1297 | 2781463.1836 | 1182499.2578
68 | 2781457.5749 | 1182523.4558 | 2781451.0797 | 1182529.4984 | 2781446.7694 | 1182536.319 | 2781446.1072 | 1182543.2946 | 2781445.4579 | 1182552.6173 | 2781444.309 | 1182562.036 | 2781440.0833 | 1182567.5802 | 2781431.301 | 1182573.4423 | 2781430.0097 | 1182574.4655
69 | 2781433.1717 | 1182594.4303 | 2781430.1838 | 1182596.6976 | 2781429.9983 | 1182602.8201 | 2781434.2925 | 1182609.9014 | 2781442.3116 | 1182615.8609 | 2781448.2475 | 1182622.9808 | 2781448.4174 | 1182623.5467
70 | 2781463.1836 | 1182499.2578 | 2781465.3766 | 1182497.5002 | 2781466.8777 | 1182495.1212 | 2781467.5186 | 1182492.3823
71 | 2781467.5186 | 1182492.3823 | 2781467.5186 | 1182492.3823 | 2781467.4049 | 1182491.2882
72 | 2781448.4174 | 1182623.5467 | 2781396.1651 | 1182636.729
73 | 2781448.4174 | 1182623.5467 | 2781505.5738 | 1182600.6555
74 | 2781514.3496 | 1182623.9606 | 2781518.4828 | 1182623.7411 | 2781521.8925 | 1182620.9194 | 2781522.8426 | 1182615.2872 | 2781522.7049 | 1182607.4755 | 2781524.0182 | 1182603.478 | 2781526.9904 | 1182601.4772 | 2781534.3925 | 1182599.2993 | 2781537.8965 | 1182597.0596
75 | 2781514.3496 | 1182623.9606 | 2781511.5964 | 1182613.9454 | 2781506.1337 | 1182603.5699 | 2781505.5738 | 1182600.6555
76 | 2781396.1651 | 1182636.729 | 2781396.9086 | 1182647.8525
77 | 2781398.0853 | 1182668.4511 | 2781397.301 | 1182653.7243 | 2781396.9086 | 1182647.8525
78 | 2781769.2834 | 1182194.4916 | 2781773.8201 | 1182194.5848 | 2781781.2998 | 1182191.1305
79 | 2781796.2511 | 1182170.8166 | 2781811.8744 | 1182168.8027 | 2781822.3243 | 1182165.4386 | 2781831.7836 | 1182159.2083 | 2781848.1464 | 1182139.3076 | 2781857.8383 | 1182117.8697 | 2781865.5082 | 1182107.1475 | 2781870.1966 | 1182104.5516
80 | 2781870.1966 | 1182104.5516 | 2781887.3119 | 1182095.075 | 2781900.1158 | 1182083.4078 | 2781900.1158 | 1182083.4078
81 | 2781920.4927 | 1182042.0749 | 2781912.1969 | 1182065.3457 | 2781900.1158 | 1182083.4078
82 | 2781940.1209 | 1182019.6723 | 2781936.9594 | 1182022.8004 | 2781920.4927 | 1182042.0749 | 2781920.4927 | 1182042.0749
83 | 2781940.1209 | 1182019.6723 | 2781940.9849 | 1182018.8174
84 | 2781960.3741 | 1181991.9485 | 2781952.3478 | 1182007.5748 | 2781940.9849 | 1182018.8174
85 | 2781960.3741 | 1181991.9485 | 2781960.9988 | 1181990.7322
86 | 2781959.6254 | 1181954.9336 | 2781948.9264 | 1181933.3048
87 | 2781959.6254 | 1181954.9336 | 2781962.4447 | 1181972.0691 | 2781960.9988 | 1181990.7322

## bus_geodata
| x | y | coords
0 | 2782079.0711 | 1182676.129
1 | 2782084.0966 | 1182658.8348
2 | 2782074.7497 | 1182690.9999
3 | 2782086.5952 | 1182650.2363
4 | 2781633.9627 | 1182627.0977
5 | 2781624.4318 | 1182638.4191
6 | 2781574.5772 | 1182443.3877
7 | 2781567.7442 | 1182453.7574
8 | 2781583.4533 | 1182418.063
9 | 2781559.4448 | 1182441.1606
10 | 2781748.582 | 1182228.1855
11 | 2781713.3055 | 1182220.62
12 | 2781472.693 | 1182323.8761
13 | 2781474.0963 | 1182345.6619
14 | 2781516.266 | 1182340.6003
15 | 2781530.6464 | 1182339.1566
16 | 2781493.3539 | 1182343.3504
17 | 2781405.6331 | 1182373.8393
18 | 2781533.4405 | 1182337.7398
19 | 2781521.3725 | 1182365.0465
20 | 2781473.3802 | 1182385.69
21 | 2781441.7167 | 1182405.1949
22 | 2781471.812 | 1182420.0424
23 | 2781382.866 | 1182384.0727
24 | 2781393.8474 | 1182356.2101
25 | 2781544.4643 | 1182353.4628
26 | 2781551.8053 | 1182328.3869
27 | 2781499.2854 | 1182387.754
28 | 2781472.5739 | 1182444.0776
29 | 2781476.8044 | 1182414.574
30 | 2781380.9284 | 1182385.4159
31 | 2781378.803 | 1182352.0185
32 | 2781560.8412 | 1182337.6659
33 | 2781560.6208 | 1182321.2098
34 | 2781505.9264 | 1182393.5495
35 | 2781640.409 | 1182276.3248
36 | 2781623.6739 | 1182275.4014
37 | 2781587.4728 | 1182301.6078
38 | 2781631.8543 | 1182269.0486
39 | 2781478.8603 | 1182081.74
40 | 2781575.5598 | 1182310.4
41 | 2781593.7882 | 1182317.648
42 | 2781571.2844 | 1182312.5281
43 | 2781729.6344 | 1182208.1139
44 | 2781587.3601 | 1182338.5406
45 | 2781609.4904 | 1182318.7358
46 | 2781724.8198 | 1182162.4699
47 | 2781738.4188 | 1182199.8336
48 | 2781572.4913 | 1182358.1755
49 | 2781588.3972 | 1182354.0532
50 | 2781636.6283 | 1182316.7004
51 | 2781626.3512 | 1182324.4707
52 | 2781348.0371 | 1182426.2585
53 | 2781128.1214 | 1182315.7496
54 | 2781495.7771 | 1182444.5974
55 | 2781415.0839 | 1182479.8833
56 | 2781725.523 | 1182151.4345
57 | 2781758.6568 | 1182182.0241
58 | 2781694.5153 | 1181940.2197
59 | 2781757.6313 | 1182174.2632
60 | 2781770.724 | 1182175.2278
61 | 2781434.7842 | 1182505.3819
62 | 2781452.8438 | 1182497.7545
63 | 2781421.0214 | 1182501.9307
64 | 2781457.5749 | 1182523.4558
65 | 2781433.1717 | 1182594.4303
66 | 2781463.1836 | 1182499.2578
67 | 2781430.0097 | 1182574.4655
68 | 2781467.5186 | 1182492.3823
69 | 2781448.4174 | 1182623.5467
70 | 2781467.4049 | 1182491.2882
71 | 2781537.8965 | 1182597.0596
72 | 2781514.3496 | 1182623.9606
73 | 2781505.5738 | 1182600.6555
74 | 2781396.1651 | 1182636.729
75 | 2781396.9086 | 1182647.8525
76 | 2781398.0853 | 1182668.4511
77 | 2781769.2834 | 1182194.4916
78 | 2781796.2511 | 1182170.8166
79 | 2781781.2998 | 1182191.1305
80 | 2781870.1966 | 1182104.5516
81 | 2781900.1158 | 1182083.4078
82 | 2781920.4927 | 1182042.0749
83 | 2781940.1209 | 1182019.6723
84 | 2781940.9849 | 1182018.8174
85 | 2781960.374 | 1181991.9485
86 | 2781948.9264 | 1181933.3048
87 | 2781959.6254 | 1181954.9336
88 | 2781960.9988 | 1181990.7322
89 | 2781551.8053 | 1182328.3869

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1