## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3851-17_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3851-17_0_3_node_35 | 0.4 | n |  | TRUE
2 | bus_LV_3851-17_0_3_node_22 | 0.4 | n |  | TRUE
3 | bus_LV_3851-17_0_3_node_1 | 0.4 | n |  | TRUE
4 | bus_LV_3851-17_0_3_node_38 | 0.4 | n |  | TRUE
5 | bus_LV_3851-17_0_3_node_88 | 0.4 | n |  | TRUE
6 | bus_LV_3851-17_0_3_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_3851-17_0_3_node_57 | 0.4 | n |  | TRUE
8 | bus_LV_3851-17_0_3_node_2 | 0.4 | n |  | TRUE
9 | bus_LV_3851-17_0_3_node_82 | 0.4 | n |  | TRUE
10 | bus_LV_3851-17_0_3_node_45 | 0.4 | n |  | TRUE
11 | bus_LV_3851-17_0_3_node_65 | 0.4 | n |  | TRUE
12 | bus_LV_3851-17_0_3_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_3851-17_0_3_node_80 | 0.4 | n |  | TRUE
14 | bus_LV_3851-17_0_3_node_73 | 0.4 | n |  | TRUE
15 | bus_LV_3851-17_0_3_node_21 | 0.4 | n |  | TRUE
16 | bus_LV_3851-17_0_3_node_3 | 0.4 | n |  | TRUE
17 | bus_LV_3851-17_0_3_node_42 | 0.4 | n |  | TRUE
18 | bus_LV_3851-17_0_3_node_59 | 0.4 | n |  | TRUE
19 | bus_LV_3851-17_0_3_node_54 | 0.4 | n |  | TRUE
20 | bus_LV_3851-17_0_3_node_87 | 0.4 | n |  | TRUE
21 | bus_LV_3851-17_0_3_node_30 | 0.4 | n |  | TRUE
22 | bus_LV_3851-17_0_3_node_4 | 0.4 | n |  | TRUE
23 | bus_LV_3851-17_0_3_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_3851-17_0_3_node_56 | 0.4 | n |  | TRUE
25 | bus_LV_3851-17_0_3_node_5 | 0.4 | n |  | TRUE
26 | bus_LV_3851-17_0_3_node_75 | 0.4 | n |  | TRUE
27 | bus_LV_3851-17_0_3_node_63 | 0.4 | n |  | TRUE
28 | bus_LV_3851-17_0_3_node_39 | 0.4 | n |  | TRUE
29 | bus_LV_3851-17_0_3_node_66 | 0.4 | n |  | TRUE
30 | bus_LV_3851-17_0_3_node_6 | 0.4 | n |  | TRUE
31 | bus_LV_3851-17_0_3_node_44 | 0.4 | n |  | TRUE
32 | bus_LV_3851-17_0_3_node_50 | 0.4 | n |  | TRUE
33 | bus_LV_3851-17_0_3_node_7 | 0.4 | n |  | TRUE
34 | bus_LV_3851-17_0_3_node_17 | 0.4 | n |  | TRUE
35 | bus_LV_3851-17_0_3_node_41 | 0.4 | n |  | TRUE
36 | bus_LV_3851-17_0_3_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_3851-17_0_3_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_3851-17_0_3_node_8 | 0.4 | n |  | TRUE
39 | bus_LV_3851-17_0_3_node_84 | 0.4 | n |  | TRUE
40 | bus_LV_3851-17_0_3_node_47 | 0.4 | n |  | TRUE
41 | bus_LV_3851-17_0_3_node_61 | 0.4 | n |  | TRUE
42 | bus_LV_3851-17_0_3_node_86 | 0.4 | n |  | TRUE
43 | bus_LV_3851-17_0_3_node_9 | 0.4 | n |  | TRUE
44 | bus_LV_3851-17_0_3_node_64 | 0.4 | n |  | TRUE
45 | bus_LV_3851-17_0_3_node_83 | 0.4 | n |  | TRUE
46 | bus_LV_3851-17_0_3_node_10 | 0.4 | n |  | TRUE
47 | bus_LV_3851-17_0_3_node_69 | 0.4 | n |  | TRUE
48 | bus_LV_3851-17_0_3_node_29 | 0.4 | n |  | TRUE
49 | bus_LV_3851-17_0_3_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_3851-17_0_3_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_3851-17_0_3_node_11 | 0.4 | n |  | TRUE
52 | bus_LV_3851-17_0_3_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_3851-17_0_3_node_18 | 0.4 | n |  | TRUE
54 | bus_LV_3851-17_0_3_node_13 | 0.4 | n |  | TRUE
55 | bus_LV_3851-17_0_3_node_58 | 0.4 | n |  | TRUE
56 | bus_LV_3851-17_0_3_node_14 | 0.4 | n |  | TRUE
57 | bus_LV_3851-17_0_3_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_3851-17_0_3_node_67 | 0.4 | n |  | TRUE
59 | bus_LV_3851-17_0_3_node_23 | 0.4 | n |  | TRUE
60 | bus_LV_3851-17_0_3_node_81 | 0.4 | n |  | TRUE
61 | bus_LV_3851-17_0_3_node_55 | 0.4 | n |  | TRUE
62 | bus_LV_3851-17_0_3_node_16 | 0.4 | n |  | TRUE
63 | bus_LV_3851-17_0_3_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_3851-17_0_3_node_60 | 0.4 | n |  | TRUE
65 | bus_LV_3851-17_0_3_node_62 | 0.4 | n |  | TRUE
66 | bus_LV_3851-17_0_3_node_78 | 0.4 | n |  | TRUE
67 | bus_LV_3851-17_0_3_node_36 | 0.4 | n |  | TRUE
68 | bus_LV_3851-17_0_3_node_19 | 0.4 | n |  | TRUE
69 | bus_LV_3851-17_0_3_node_70 | 0.4 | n |  | TRUE
70 | bus_LV_3851-17_0_3_node_76 | 0.4 | n |  | TRUE
71 | bus_LV_3851-17_0_3_node_74 | 0.4 | n |  | TRUE
72 | bus_LV_3851-17_0_3_node_20 | 0.4 | n |  | TRUE
73 | bus_LV_3851-17_0_3_node_48 | 0.4 | n |  | TRUE
74 | bus_LV_3851-17_0_3_node_43 | 0.4 | n |  | TRUE
75 | bus_LV_3851-17_0_3_node_53 | 0.4 | n |  | TRUE
76 | bus_LV_3851-17_0_3_node_37 | 0.4 | n |  | TRUE
77 | bus_LV_3851-17_0_3_node_46 | 0.4 | n |  | TRUE
78 | bus_LV_3851-17_0_3_node_24 | 0.4 | n |  | TRUE
79 | bus_LV_3851-17_0_3_node_72 | 0.4 | n |  | TRUE
80 | bus_LV_3851-17_0_3_node_31 | 0.4 | n |  | TRUE
81 | bus_LV_3851-17_0_3_node_27 | 0.4 | n |  | TRUE
82 | bus_LV_3851-17_0_3_node_85 | 0.4 | n |  | TRUE
83 | bus_LV_3851-17_0_3_node_79 | 0.4 | n |  | TRUE
84 | bus_LV_3851-17_0_3_node_89 | 0.4 | n |  | TRUE
85 | bus_LV_3851-17_0_3_node_28 | 0.4 | n |  | TRUE
86 | bus_LV_3851-17_0_3_node_40 | 0.4 | n |  | TRUE
87 | bus_LV_3851-17_0_3_node_68 | 0.4 | n |  | TRUE
88 | bus_LV_3851-17_0_3_node_90 | 0.4 | n |  | TRUE
89 | bus_LV_3851-17_0_3_node_71 | 0.4 | n |  | TRUE
90 | bus_LV_3851-17_0_3_node_77 | 0.4 | n |  | TRUE
91 | bus_MV_239_0_node_15 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3851-17_0_3_load_0 | 0 | 0.0052875 | 0.0013252 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3851-17_0_3_load_35 | 1 | 0.0020656 | 0.00051769 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3851-17_0_3_load_22 | 2 | 0.0040664 | 0.0010191 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3851-17_0_3_load_1 | 3 | 0.0039255 | 0.00098384 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3851-17_0_3_load_38 | 4 | 0.0017251 | 0.00043235 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3851-17_0_3_load_88 | 5 | 0.0022552 | 0.00056522 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3851-17_0_3_load_12 | 6 | 0.00043664 | 0.00010943 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3851-17_0_3_load_82 | 9 | 0.0026294 | 0.00065898 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3851-17_0_3_load_65 | 11 | 0.014673 | 0.0036775 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3851-17_0_3_load_15 | 12 | 0.017674 | 0.0044296 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3851-17_0_3_load_80 | 13 | 0.0029248 | 0.00073302 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3851-17_0_3_load_21 | 15 | 0.0010646 | 0.0002668 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3851-17_0_3_load_3 | 16 | 0.00046205 | 0.0001158 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3851-17_0_3_load_42 | 17 | 0.0025803 | 0.00064669 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3851-17_0_3_load_54 | 19 | 0.0011327 | 0.00028388 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3851-17_0_3_load_87 | 20 | 0.0003661 | 9.1752e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3851-17_0_3_load_30 | 21 | 0.0050549 | 0.0012669 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3851-17_0_3_load_4 | 22 | 0.0079054 | 0.0019813 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3851-17_0_3_load_25 | 23 | 0.0030639 | 0.00076789 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3851-17_0_3_load_5 | 25 | 0.0018122 | 0.00045417 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3851-17_0_3_load_75 | 26 | 0.0040222 | 0.0010081 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3851-17_0_3_load_6 | 30 | 0.0021034 | 0.00052717 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3851-17_0_3_load_44 | 31 | 0.02106 | 0.0052782 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3851-17_0_3_load_50 | 32 | 0.00062059 | 0.00015554 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3851-17_0_3_load_7 | 33 | 0.003262 | 0.00081753 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3851-17_0_3_load_17 | 34 | 0.0028962 | 0.00072584 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3851-17_0_3_load_41 | 35 | 0.0029151 | 0.00073059 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3851-17_0_3_load_26 | 36 | 0.0013903 | 0.00034843 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3851-17_0_3_load_32 | 37 | 0.0018029 | 0.00045185 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3851-17_0_3_load_8 | 38 | 0.0016086 | 0.00040315 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3851-17_0_3_load_84 | 39 | 0.0016312 | 0.0004088 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3851-17_0_3_load_47 | 40 | 0.0053766 | 0.0013475 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3851-17_0_3_load_61 | 41 | 0.0020685 | 0.00051842 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3851-17_0_3_load_86 | 42 | 0.0017398 | 0.00043604 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3851-17_0_3_load_9 | 43 | 0.00060689 | 0.0001521 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3851-17_0_3_load_64 | 44 | 0.0026342 | 0.00066018 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3851-17_0_3_load_83 | 45 | 0.0022556 | 0.0005653 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3851-17_0_3_load_10 | 46 | 0.0025705 | 0.00064422 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3851-17_0_3_load_29 | 48 | 0.0031416 | 0.00078736 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3851-17_0_3_load_34 | 50 | 0.0013767 | 0.00034502 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3851-17_0_3_load_11 | 51 | 0.00036287 | 9.0943e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3851-17_0_3_load_49 | 52 | 0.00041652 | 0.00010439 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3851-17_0_3_load_18 | 53 | 0.00056012 | 0.00014038 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3851-17_0_3_load_13 | 54 | 0.014152 | 0.0035469 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3851-17_0_3_load_58 | 55 | 0.00066628 | 0.00016698 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3851-17_0_3_load_14 | 56 | 0.0022065 | 0.00055299 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3851-17_0_3_load_51 | 57 | 0.0045488 | 0.00114 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3851-17_0_3_load_67 | 58 | 0.0021398 | 0.00053629 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3851-17_0_3_load_23 | 59 | 0.0021977 | 0.00055079 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3851-17_0_3_load_81 | 60 | 0.011432 | 0.002865 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3851-17_0_3_load_55 | 61 | 0.010269 | 0.0025736 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3851-17_0_3_load_16 | 62 | 0.00075435 | 0.00018906 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3851-17_0_3_load_52 | 63 | 0.0015679 | 0.00039294 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3851-17_0_3_load_60 | 64 | 0.011701 | 0.0029326 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3851-17_0_3_load_62 | 65 | 0.0025216 | 0.00063198 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3851-17_0_3_load_78 | 66 | 0.00039577 | 9.919e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3851-17_0_3_load_36 | 67 | 0.00044025 | 0.00011034 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3851-17_0_3_load_19 | 68 | 0.001669 | 0.0004183 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3851-17_0_3_load_70 | 69 | 0.001749 | 0.00043833 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3851-17_0_3_load_74 | 71 | 0.0020909 | 0.00052404 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3851-17_0_3_load_20 | 72 | 0.0078178 | 0.0019593 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3851-17_0_3_load_48 | 73 | 0.0047316 | 0.0011859 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3851-17_0_3_load_43 | 74 | 0.0031428 | 0.00078767 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3851-17_0_3_load_53 | 75 | 0.0088862 | 0.0022271 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3851-17_0_3_load_37 | 76 | 0.0026413 | 0.00066198 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3851-17_0_3_load_46 | 77 | 0.0025489 | 0.00063881 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3851-17_0_3_load_24 | 78 | 0.012372 | 0.0031008 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3851-17_0_3_load_72 | 79 | 0.0027243 | 0.00068277 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3851-17_0_3_load_31 | 80 | 0.0022285 | 0.00055852 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3851-17_0_3_load_27 | 81 | 0.0020016 | 0.00050164 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3851-17_0_3_load_85 | 82 | 0.0024968 | 0.00062576 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3851-17_0_3_load_79 | 83 | 0.0068494 | 0.0017166 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3851-17_0_3_load_89 | 84 | 0.0036206 | 0.00090742 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3851-17_0_3_load_28 | 85 | 0.0070982 | 0.001779 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3851-17_0_3_load_40 | 86 | 0.0018726 | 0.00046933 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3851-17_0_3_load_68 | 87 | 0.0056075 | 0.0014054 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3851-17_0_3_load_71 | 89 | 0.0084584 | 0.0021199 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3851-17_0_3_load_77 | 90 | 0.014112 | 0.0035367 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3851-17_0_3_line_0 |  | 0 | 1 | 0.0047384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3851-17_0_3_line_1 |  | 1 | 2 | 0.0084461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3851-17_0_3_line_2 |  | 2 | 67 | 0.0085294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3851-17_0_3_line_3 |  | 3 | 4 | 0.0048555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3851-17_0_3_line_4 |  | 3 | 5 | 0.015149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3851-17_0_3_line_5 |  | 4 | 6 | 0.019636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3851-17_0_3_line_6 |  | 5 | 7 | 0.038662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3851-17_0_3_line_7 |  | 6 | 20 | 0.020216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3851-17_0_3_line_8 |  | 7 | 70 | 0.000341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3851-17_0_3_line_9 |  | 7 | 80 | 0.049162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3851-17_0_3_line_10 |  | 8 | 9 | 0.086625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3851-17_0_3_line_11 |  | 8 | 10 | 0.004035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3851-17_0_3_line_12 |  | 8 | 11 | 0.028603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3851-17_0_3_line_13 |  | 9 | 12 | 0.015045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3851-17_0_3_line_14 |  | 10 | 13 | 0.060348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3851-17_0_3_line_15 |  | 10 | 14 | 0.015424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3851-17_0_3_line_16 |  | 11 | 15 | 0.03626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3851-17_0_3_line_17 |  | 12 | 60 | 0.017992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3851-17_0_3_line_18 |  | 13 | 64 | 0.040252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3851-17_0_3_line_19 |  | 14 | 54 | 0.015599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3851-17_0_3_line_20 |  | 15 | 29 | 0.028974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3851-17_0_3_line_21 |  | 16 | 17 | 0.044642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3851-17_0_3_line_22 |  | 16 | 18 | 0.017392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3851-17_0_3_line_23 |  | 17 | 19 | 0.02966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3851-17_0_3_line_24 |  | 18 | 20 | 0.0033698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3851-17_0_3_line_25 |  | 18 | 21 | 0.023219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3851-17_0_3_line_26 |  | 19 | 45 | 0.002828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3851-17_0_3_line_27 |  | 22 | 23 | 0.0049783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3851-17_0_3_line_28 |  | 23 | 24 | 0.046249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3851-17_0_3_line_29 |  | 24 | 80 | 0.013756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3851-17_0_3_line_30 |  | 24 | 49 | 0.067408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3851-17_0_3_line_31 |  | 25 | 26 | 0.00053068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_3851-17_0_3_line_32 |  | 25 | 27 | 0.041385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_3851-17_0_3_line_33 |  | 26 | 28 | 0.021058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_3851-17_0_3_line_34 |  | 27 | 29 | 0.003102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_3851-17_0_3_line_35 |  | 28 | 88 | 0.003145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_3851-17_0_3_line_36 |  | 29 | 30 | 0.027596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_3851-17_0_3_line_37 |  | 30 | 31 | 0.050365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_3851-17_0_3_line_38 |  | 31 | 32 | 0.058522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_3851-17_0_3_line_39 |  | 32 | 78 | 0.026326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3851-17_0_3_line_40 |  | 33 | 34 | 5.8094e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3851-17_0_3_line_41 |  | 33 | 35 | 0.0025202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3851-17_0_3_line_42 |  | 34 | 36 | 0.0016594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3851-17_0_3_line_43 |  | 35 | 37 | 0.0069088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3851-17_0_3_line_44 |  | 36 | 65 | 0.0060404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3851-17_0_3_line_45 |  | 37 | 84 | 0.0010619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3851-17_0_3_line_46 |  | 38 | 39 | 0.015542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3851-17_0_3_line_47 |  | 38 | 40 | 0.0063893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3851-17_0_3_line_48 |  | 39 | 41 | 0.031264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3851-17_0_3_line_49 |  | 40 | 42 | 0.021039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3851-17_0_3_line_50 |  | 41 | 71 | 0.0019337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3851-17_0_3_line_51 |  | 42 | 51 | 0.016202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3851-17_0_3_line_52 |  | 43 | 44 | 0.0026029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3851-17_0_3_line_53 |  | 44 | 45 | 0.010118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3851-17_0_3_line_54 |  | 46 | 47 | 0.042802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3851-17_0_3_line_55 |  | 47 | 48 | 0.11896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3851-17_0_3_line_56 |  | 48 | 57 | 0.022309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3851-17_0_3_line_57 |  | 48 | 79 | 0.029602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3851-17_0_3_line_58 |  | 49 | 50 | 0.03818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3851-17_0_3_line_59 |  | 50 | 88 | 0.060089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_3851-17_0_3_line_60 |  | 51 | 52 | 0.009887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3851-17_0_3_line_61 |  | 52 | 53 | 0.0092026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3851-17_0_3_line_62 |  | 53 | 66 | 0.0021845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3851-17_0_3_line_63 |  | 54 | 55 | 0.11285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3851-17_0_3_line_64 |  | 56 | 57 | 0.004619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3851-17_0_3_line_65 |  | 56 | 58 | 0.0011305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3851-17_0_3_line_66 |  | 58 | 59 | 0.0086154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3851-17_0_3_line_67 |  | 59 | 76 | 0.0079252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3851-17_0_3_line_68 |  | 60 | 61 | 0.017011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3851-17_0_3_line_69 |  | 62 | 63 | 0.052875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3851-17_0_3_line_70 |  | 63 | 64 | 0.066321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3851-17_0_3_line_71 |  | 65 | 74 | 0.0034811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3851-17_0_3_line_72 |  | 66 | 67 | 0.0095899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3851-17_0_3_line_73 |  | 68 | 69 | 0.014814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3851-17_0_3_line_74 |  | 68 | 70 | 0.034592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3851-17_0_3_line_75 |  | 69 | 71 | 0.020652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3851-17_0_3_line_76 |  | 72 | 73 | 0.00018601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3851-17_0_3_line_77 |  | 72 | 74 | 0.0001424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3851-17_0_3_line_78 |  | 73 | 75 | 0.0035107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3851-17_0_3_line_79 |  | 75 | 90 | 0.0030015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3851-17_0_3_line_80 |  | 76 | 77 | 0.008268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3851-17_0_3_line_81 |  | 77 | 82 | 0.0011893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3851-17_0_3_line_82 |  | 78 | 79 | 0.016253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3851-17_0_3_line_83 |  | 81 | 82 | 0.0089057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3851-17_0_3_line_84 |  | 81 | 83 | 0.00598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3851-17_0_3_line_85 |  | 83 | 84 | 0.0043609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3851-17_0_3_line_86 |  | 85 | 86 | 0.56827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3851-17_0_3_line_87 |  | 86 | 87 | 0.00082431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3851-17_0_3_line_88 |  | 87 | 89 | 0.0026327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3851-17_0_3_line_89 |  | 89 | 90 | 0.0058949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3851-17_0_3_trafo_50 | 0.63 MVA 20/0.4 kV | 91 | 32 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2781000.136 | 1184018.1476 | 2781000.4309 | 1184013.4184
1 | 2781000.9564 | 1184004.9887 | 2781000.4309 | 1184013.4184
2 | 2781000.9564 | 1184004.9887 | 2781001.3077 | 1183999.3537 | 2781001.6063 | 1183996.4857
3 | 2781081.7891 | 1184003.3353 | 2781083.7855 | 1184007.7614
4 | 2781090.0142 | 1184021.5708 | 2781083.7855 | 1184007.7614
5 | 2781073.7157 | 1183985.4361 | 2781081.7891 | 1184003.3353
6 | 2781105.9105 | 1184056.8136 | 2781090.0142 | 1184021.5708
7 | 2781073.7157 | 1183985.4361 | 2781065.4035 | 1183967.0077
8 | 2781105.9105 | 1184056.8136 | 2781105.6078 | 1184056.9713
9 | 2781105.9105 | 1184056.8136 | 2781114.693 | 1184071.8269 | 2781126.9 | 1184087.789 | 2781134.1836 | 1184096.9122
10 | 2781314.4936 | 1183896.4094 | 2781337.5657 | 1183911.0771 | 2781355.9512 | 1183926.604 | 2781372.6384 | 1183945.227 | 2781378.1785 | 1183953.809
11 | 2781311.0831 | 1183894.2374 | 2781314.4936 | 1183896.4094
12 | 2781314.4936 | 1183896.4094 | 2781309.2121 | 1183904.3017 | 2781298.9652 | 1183920.4285
13 | 2781386.3381 | 1183966.449 | 2781378.1785 | 1183953.809
14 | 2781311.0831 | 1183894.2374 | 2781342.3905 | 1183842.6456
15 | 2781311.0831 | 1183894.2374 | 2781306.1058 | 1183901.6718 | 2781302.3306 | 1183896.4081
16 | 2781298.9652 | 1183920.4285 | 2781285.0006 | 1183942.4062 | 2781279.9545 | 1183951.2945
17 | 2781386.3381 | 1183966.449 | 2781387.4891 | 1183968.232 | 2781394.8849 | 1183982.2735
18 | 2781361.9132 | 1183807.446 | 2781343.0399 | 1183841.5755 | 2781342.3905 | 1183842.6456
19 | 2781302.3306 | 1183896.4081 | 2781293.2404 | 1183883.7318
20 | 2781264.6427 | 1183975.8784 | 2781267.7393 | 1183970.5002 | 2781273.2757 | 1183962.0038 | 2781277.8744 | 1183954.9583 | 2781279.9545 | 1183951.2945
21 | 2781037.6285 | 1183907.7949 | 2781053.8968 | 1183942.3982 | 2781056.621 | 1183948.1952
22 | 2781064.018 | 1183963.9359 | 2781056.621 | 1183948.1952
23 | 2781037.6285 | 1183907.7949 | 2781025.0898 | 1183881.1244 | 2781024.9997 | 1183880.9582
24 | 2781064.018 | 1183963.9359 | 2781065.4035 | 1183967.0077
25 | 2781064.018 | 1183963.9359 | 2781082.3734 | 1183949.6544
26 | 2781023.652 | 1183878.4719 | 2781024.9997 | 1183880.9582
27 | 2781131.7693 | 1184156.3914 | 2781133.2003 | 1184151.6231
28 | 2781143.8396 | 1184106.6636 | 2781138.15 | 1184135.1303 | 2781133.2003 | 1184151.6231
29 | 2781143.8396 | 1184106.6636 | 2781136.7269 | 1184100.0979 | 2781134.1836 | 1184096.9122
30 | 2781143.8396 | 1184106.6636 | 2781150.8452 | 1184112.9815 | 2781167.2866 | 1184124.5786 | 2781182.5054 | 1184132.9022 | 2781189.9667 | 1184117.8466 | 2781193.3023 | 1184119.4601
31 | 2781243.0344 | 1184010.7078 | 2781243.272 | 1184010.2333
32 | 2781262.5186 | 1183973.612 | 2781254.982 | 1183986.8524 | 2781243.272 | 1184010.2333
33 | 2781233.6045 | 1184029.5361 | 2781243.0344 | 1184010.7078
34 | 2781262.5186 | 1183973.612 | 2781264.6427 | 1183975.8784
35 | 2781233.6045 | 1184029.5361 | 2781236.3299 | 1184031.12
36 | 2781264.6427 | 1183975.8784 | 2781267.5072 | 1183978.9235 | 2781280.7082 | 1183998.2633
37 | 2781280.7082 | 1183998.2633 | 2781294.282 | 1184018.1491 | 2781308.786 | 1184040.0741
38 | 2781341.2571 | 1184088.7608 | 2781329.8014 | 1184071.8422 | 2781308.786 | 1184040.0741
39 | 2781356.0175 | 1184110.56 | 2781341.2571 | 1184088.7608
40 | 2781425.9426 | 1184219.5726 | 2781425.9426 | 1184219.5726 | 2781425.9176 | 1184219.5202
41 | 2781424.8307 | 1184217.2464 | 2781425.9176 | 1184219.5202
42 | 2781426.4297 | 1184221.159 | 2781425.9426 | 1184219.5726
43 | 2781424.8307 | 1184217.2464 | 2781421.8513 | 1184211.0131
44 | 2781428.2026 | 1184226.9333 | 2781426.4297 | 1184221.159
45 | 2781421.3933 | 1184210.055 | 2781421.8513 | 1184211.0131
46 | 2781050.0362 | 1184036.0345 | 2781046.5638 | 1184033.8206 | 2781038.3298 | 1184025.9021
47 | 2781038.3298 | 1184025.9021 | 2781033.7246 | 1184021.4733
48 | 2781050.0362 | 1184036.0345 | 2781071.0663 | 1184049.4426 | 2781074.3867 | 1184054.8238
49 | 2781023.907 | 1184003.6478 | 2781027.328 | 1184015.3217 | 2781033.7246 | 1184021.4733
50 | 2781074.3867 | 1184054.8238 | 2781075.4021 | 1184056.4694
51 | 2781018.3842 | 1183988.6009 | 2781020.1463 | 1183990.8144 | 2781023.907 | 1184003.6478
52 | 2781018.8305 | 1183869.5767 | 2781017.5901 | 1183867.2883
53 | 2781023.652 | 1183878.4719 | 2781018.8305 | 1183869.5767
54 | 2781253.5333 | 1184246.7044 | 2781283.2651 | 1184224.56 | 2781286.856 | 1184220.0087
55 | 2781381.8711 | 1184148.432 | 2781286.856 | 1184220.0087
56 | 2781381.8711 | 1184148.432 | 2781389.1857 | 1184159.1237 | 2781395.0147 | 1184166.4406 | 2781395.0147 | 1184166.4406
57 | 2781381.8711 | 1184148.432 | 2781365.1568 | 1184124.0004
58 | 2781193.3023 | 1184119.4601 | 2781206.5322 | 1184091.0103 | 2781209.5633 | 1184084.9181
59 | 2781236.3299 | 1184031.12 | 2781209.5633 | 1184084.9181
60 | 2781018.3842 | 1183988.6009 | 2781012.2264 | 1183980.8656
61 | 2781012.2264 | 1183980.8656 | 2781012.2264 | 1183980.8656 | 2781004.4463 | 1183985.7807
62 | 2781002.5995 | 1183986.9474 | 2781002.5995 | 1183986.9474 | 2781004.4463 | 1183985.7807
63 | 2781293.2404 | 1183883.7318 | 2781287.8599 | 1183876.2286 | 2781268.8007 | 1183846.8571 | 2781261.1506 | 1183835.0699 | 2781244.9629 | 1183804.7177 | 2781234.4553 | 1183787.5234
64 | 2781397.439 | 1184170.3723 | 2781395.0147 | 1184166.4406
65 | 2781398.0323 | 1184171.3345 | 2781397.439 | 1184170.3723
66 | 2781398.0323 | 1184171.3345 | 2781402.5541 | 1184178.668
67 | 2781406.7152 | 1184185.4129 | 2781405.7556 | 1184183.8603 | 2781402.5541 | 1184178.668
68 | 2781402.8122 | 1183997.3239 | 2781394.8849 | 1183982.2735
69 | 2781398.8588 | 1183694.7945 | 2781385.2759 | 1183745.8948
70 | 2781361.9132 | 1183807.446 | 2781375.3959 | 1183783.0646 | 2781385.2759 | 1183745.8948
71 | 2781428.2026 | 1184226.9333 | 2781429.2243 | 1184230.2611
72 | 2781002.5995 | 1183986.9474 | 2781001.6063 | 1183996.4857
73 | 2781095.3769 | 1184084.2886 | 2781095.3769 | 1184084.2886 | 2781093.0753 | 1184084.3524 | 2781091.6387 | 1184083.3525 | 2781089.3465 | 1184079.068 | 2781086.2469 | 1184074.0448
74 | 2781105.6078 | 1184056.9713 | 2781096.4809 | 1184061.6779 | 2781093.9329 | 1184067.6177 | 2781096.5774 | 1184075.9168 | 2781097.4675 | 1184080.3368 | 2781096.8658 | 1184082.7988 | 2781095.3769 | 1184084.2886
75 | 2781086.2469 | 1184074.0448 | 2781075.4021 | 1184056.4694
76 | 2781429.3207 | 1184230.575 | 2781429.2661 | 1184230.3972
77 | 2781429.2661 | 1184230.3972 | 2781429.2243 | 1184230.2611
78 | 2781430.3511 | 1184233.9311 | 2781430.3511 | 1184233.9311 | 2781429.3207 | 1184230.575
79 | 2781430.3511 | 1184233.9311 | 2781430.8592 | 1184236.8892
80 | 2781411.0618 | 1184192.4461 | 2781406.7152 | 1184185.4129
81 | 2781411.0618 | 1184192.4461 | 2781411.687 | 1184193.4579
82 | 2781356.0175 | 1184110.56 | 2781361.3853 | 1184118.4875 | 2781365.1568 | 1184124.0004
83 | 2781411.687 | 1184193.4579 | 2781416.3689 | 1184201.0336
84 | 2781416.3689 | 1184201.0336 | 2781419.5127 | 1184206.1205 | 2781419.5127 | 1184206.1205
85 | 2781419.5127 | 1184206.1205 | 2781421.3933 | 1184210.055
86 | 2781432.4422 | 1184246.1062 | 2782000.4369 | 1184228.344
87 | 2781432.4422 | 1184246.1062 | 2781432.3026 | 1184245.2938
88 | 2781431.857 | 1184242.6991 | 2781432.3026 | 1184245.2938
89 | 2781431.857 | 1184242.6991 | 2781430.8592 | 1184236.8892

## bus_geodata
| x | y | coords
0 | 2781000.136 | 1184018.1476
1 | 2781000.4309 | 1184013.4184
2 | 2781000.9564 | 1184004.9887
3 | 2781083.7855 | 1184007.7614
4 | 2781081.7891 | 1184003.3353
5 | 2781090.0142 | 1184021.5708
6 | 2781073.7157 | 1183985.4361
7 | 2781105.9105 | 1184056.8136
8 | 2781314.4936 | 1183896.4094
9 | 2781378.1785 | 1183953.809
10 | 2781311.0831 | 1183894.2374
11 | 2781298.9652 | 1183920.4285
12 | 2781386.3381 | 1183966.449
13 | 2781342.3905 | 1183842.6456
14 | 2781302.3306 | 1183896.4081
15 | 2781279.9545 | 1183951.2945
16 | 2781056.621 | 1183948.1952
17 | 2781037.6285 | 1183907.7949
18 | 2781064.018 | 1183963.9359
19 | 2781024.9997 | 1183880.9582
20 | 2781065.4035 | 1183967.0077
21 | 2781082.3734 | 1183949.6544
22 | 2781131.7693 | 1184156.3914
23 | 2781133.2003 | 1184151.6231
24 | 2781143.8396 | 1184106.6636
25 | 2781243.272 | 1184010.2333
26 | 2781243.0344 | 1184010.7078
27 | 2781262.5186 | 1183973.612
28 | 2781233.6045 | 1184029.5361
29 | 2781264.6427 | 1183975.8784
30 | 2781280.7082 | 1183998.2633
31 | 2781308.786 | 1184040.0741
32 | 2781341.2571 | 1184088.7608
33 | 2781425.9176 | 1184219.5202
34 | 2781425.9426 | 1184219.5726
35 | 2781424.8307 | 1184217.2464
36 | 2781426.4297 | 1184221.159
37 | 2781421.8513 | 1184211.0131
38 | 2781038.3298 | 1184025.9021
39 | 2781050.0361 | 1184036.0345
40 | 2781033.7246 | 1184021.4733
41 | 2781074.3867 | 1184054.8238
42 | 2781023.907 | 1184003.6478
43 | 2781017.5901 | 1183867.2883
44 | 2781018.8305 | 1183869.5767
45 | 2781023.652 | 1183878.4719
46 | 2781253.5333 | 1184246.7044
47 | 2781286.856 | 1184220.0087
48 | 2781381.8711 | 1184148.432
49 | 2781193.3023 | 1184119.4601
50 | 2781209.5633 | 1184084.9181
51 | 2781018.3842 | 1183988.6009
52 | 2781012.2264 | 1183980.8656
53 | 2781004.4463 | 1183985.7807
54 | 2781293.2404 | 1183883.7318
55 | 2781234.4553 | 1183787.5234
56 | 2781397.439 | 1184170.3723
57 | 2781395.0147 | 1184166.4406
58 | 2781398.0323 | 1184171.3345
59 | 2781402.5541 | 1184178.668
60 | 2781394.8849 | 1183982.2735
61 | 2781402.8122 | 1183997.3239
62 | 2781398.8588 | 1183694.7945
63 | 2781385.2759 | 1183745.8948
64 | 2781361.9132 | 1183807.446
65 | 2781428.2026 | 1184226.9333
66 | 2781002.5995 | 1183986.9474
67 | 2781001.6063 | 1183996.4857
68 | 2781095.3769 | 1184084.2886
69 | 2781086.2469 | 1184074.0448
70 | 2781105.6078 | 1184056.9713
71 | 2781075.4021 | 1184056.4694
72 | 2781429.2661 | 1184230.3972
73 | 2781429.3207 | 1184230.575
74 | 2781429.2243 | 1184230.2611
75 | 2781430.3511 | 1184233.9311
76 | 2781406.7152 | 1184185.4129
77 | 2781411.0618 | 1184192.4461
78 | 2781356.0175 | 1184110.56
79 | 2781365.1568 | 1184124.0004
80 | 2781134.1836 | 1184096.9122
81 | 2781416.3689 | 1184201.0336
82 | 2781411.687 | 1184193.4579
83 | 2781419.5127 | 1184206.1205
84 | 2781421.3933 | 1184210.055
85 | 2782000.4369 | 1184228.344
86 | 2781432.4422 | 1184246.1062
87 | 2781432.3026 | 1184245.2938
88 | 2781236.3299 | 1184031.12
89 | 2781431.857 | 1184242.6991
90 | 2781430.8592 | 1184236.8892
91 | 2781264.6427 | 1183975.8784

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1