## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3851-38_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3851-38_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3851-38_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_3851-38_0_4_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_3851-38_0_4_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_3851-38_0_4_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_3851-38_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_3851-38_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_3851-38_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_3851-38_0_4_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_3851-38_0_4_node_34 | 0.4 | n |  | TRUE
11 | bus_LV_3851-38_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_3851-38_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_3851-38_0_4_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_3851-38_0_4_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_3851-38_0_4_node_32 | 0.4 | n |  | TRUE
16 | bus_LV_3851-38_0_4_node_20 | 0.4 | n |  | TRUE
17 | bus_LV_3851-38_0_4_node_33 | 0.4 | n |  | TRUE
18 | bus_LV_3851-38_0_4_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_3851-38_0_4_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_3851-38_0_4_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_3851-38_0_4_node_30 | 0.4 | n |  | TRUE
22 | bus_LV_3851-38_0_4_node_31 | 0.4 | n |  | TRUE
23 | bus_LV_3851-38_0_4_node_29 | 0.4 | n |  | TRUE
24 | bus_LV_3851-38_0_4_node_79 | 0.4 | n |  | TRUE
25 | bus_LV_3851-38_0_4_node_47 | 0.4 | n |  | TRUE
26 | bus_LV_3851-38_0_4_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_3851-38_0_4_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_3851-38_0_4_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_3851-38_0_4_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_3851-38_0_4_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_3851-38_0_4_node_38 | 0.4 | n |  | TRUE
32 | bus_LV_3851-38_0_4_node_35 | 0.4 | n |  | TRUE
33 | bus_LV_3851-38_0_4_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_3851-38_0_4_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_3851-38_0_4_node_82 | 0.4 | n |  | TRUE
36 | bus_LV_3851-38_0_4_node_88 | 0.4 | n |  | TRUE
37 | bus_LV_3851-38_0_4_node_89 | 0.4 | n |  | TRUE
38 | bus_LV_3851-38_0_4_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_3851-38_0_4_node_64 | 0.4 | n |  | TRUE
40 | bus_LV_3851-38_0_4_node_77 | 0.4 | n |  | TRUE
41 | bus_LV_3851-38_0_4_node_86 | 0.4 | n |  | TRUE
42 | bus_LV_3851-38_0_4_node_78 | 0.4 | n |  | TRUE
43 | bus_LV_3851-38_0_4_node_87 | 0.4 | n |  | TRUE
44 | bus_LV_3851-38_0_4_node_27 | 0.4 | n |  | TRUE
45 | bus_LV_3851-38_0_4_node_23 | 0.4 | n |  | TRUE
46 | bus_LV_3851-38_0_4_node_69 | 0.4 | n |  | TRUE
47 | bus_LV_3851-38_0_4_node_24 | 0.4 | n |  | TRUE
48 | bus_LV_3851-38_0_4_node_26 | 0.4 | n |  | TRUE
49 | bus_LV_3851-38_0_4_node_65 | 0.4 | n |  | TRUE
50 | bus_LV_3851-38_0_4_node_52 | 0.4 | n |  | TRUE
51 | bus_LV_3851-38_0_4_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_3851-38_0_4_node_76 | 0.4 | n |  | TRUE
53 | bus_LV_3851-38_0_4_node_75 | 0.4 | n |  | TRUE
54 | bus_LV_3851-38_0_4_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_3851-38_0_4_node_39 | 0.4 | n |  | TRUE
56 | bus_LV_3851-38_0_4_node_40 | 0.4 | n |  | TRUE
57 | bus_LV_3851-38_0_4_node_67 | 0.4 | n |  | TRUE
58 | bus_LV_3851-38_0_4_node_68 | 0.4 | n |  | TRUE
59 | bus_LV_3851-38_0_4_node_44 | 0.4 | n |  | TRUE
60 | bus_LV_3851-38_0_4_node_45 | 0.4 | n |  | TRUE
61 | bus_LV_3851-38_0_4_node_46 | 0.4 | n |  | TRUE
62 | bus_LV_3851-38_0_4_node_48 | 0.4 | n |  | TRUE
63 | bus_LV_3851-38_0_4_node_49 | 0.4 | n |  | TRUE
64 | bus_LV_3851-38_0_4_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_3851-38_0_4_node_51 | 0.4 | n |  | TRUE
66 | bus_LV_3851-38_0_4_node_53 | 0.4 | n |  | TRUE
67 | bus_LV_3851-38_0_4_node_81 | 0.4 | n |  | TRUE
68 | bus_LV_3851-38_0_4_node_54 | 0.4 | n |  | TRUE
69 | bus_LV_3851-38_0_4_node_80 | 0.4 | n |  | TRUE
70 | bus_LV_3851-38_0_4_node_58 | 0.4 | n |  | TRUE
71 | bus_LV_3851-38_0_4_node_55 | 0.4 | n |  | TRUE
72 | bus_LV_3851-38_0_4_node_56 | 0.4 | n |  | TRUE
73 | bus_LV_3851-38_0_4_node_73 | 0.4 | n |  | TRUE
74 | bus_LV_3851-38_0_4_node_59 | 0.4 | n |  | TRUE
75 | bus_LV_3851-38_0_4_node_74 | 0.4 | n |  | TRUE
76 | bus_LV_3851-38_0_4_node_70 | 0.4 | n |  | TRUE
77 | bus_LV_3851-38_0_4_node_71 | 0.4 | n |  | TRUE
78 | bus_LV_3851-38_0_4_node_72 | 0.4 | n |  | TRUE
79 | bus_LV_3851-38_0_4_node_60 | 0.4 | n |  | TRUE
80 | bus_LV_3851-38_0_4_node_61 | 0.4 | n |  | TRUE
81 | bus_LV_3851-38_0_4_node_62 | 0.4 | n |  | TRUE
82 | bus_LV_3851-38_0_4_node_63 | 0.4 | n |  | TRUE
83 | bus_LV_3851-38_0_4_node_85 | 0.4 | n |  | TRUE
84 | bus_MV_239_0_node_46 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3851-38_0_4_load_0 | 0 | 0.00065637 | 0.0001645 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3851-38_0_4_load_3 | 2 | 0.00065929 | 0.00016523 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3851-38_0_4_load_2 | 3 | 0.00026867 | 6.7335e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3851-38_0_4_load_9 | 4 | 0.00039581 | 9.9199e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3851-38_0_4_load_4 | 6 | 0.00025724 | 6.4471e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3851-38_0_4_load_5 | 7 | 0.0017959 | 0.00045009 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3851-38_0_4_load_11 | 9 | 0.00018156 | 4.5502e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3851-38_0_4_load_7 | 11 | 0.00088173 | 0.00022098 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3851-38_0_4_load_8 | 12 | 0.00094265 | 0.00023625 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3851-38_0_4_load_13 | 14 | 0.0015965 | 0.00040012 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3851-38_0_4_load_20 | 16 | 0.00026782 | 6.7122e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3851-38_0_4_load_33 | 17 | 0.0017395 | 0.00043595 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3851-38_0_4_load_14 | 18 | 0.0012723 | 0.00031888 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3851-38_0_4_load_30 | 21 | 0.018174 | 0.0045548 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3851-38_0_4_load_31 | 22 | 0.02582 | 0.0064712 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3851-38_0_4_load_29 | 23 | 0.0016983 | 0.00042563 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3851-38_0_4_load_47 | 25 | 0.022596 | 0.005663 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3851-38_0_4_load_17 | 26 | 0.00026783 | 6.7123e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3851-38_0_4_load_18 | 27 | 0.00048245 | 0.00012091 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3851-38_0_4_load_35 | 32 | 0.00058899 | 0.00014762 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3851-38_0_4_load_82 | 35 | 0.0043423 | 0.0010883 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3851-38_0_4_load_88 | 36 | 0.00029945 | 7.5048e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3851-38_0_4_load_89 | 37 | 0.00035334 | 8.8555e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3851-38_0_4_load_36 | 38 | 0.00029532 | 7.4015e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3851-38_0_4_load_86 | 41 | 0.0013484 | 0.00033794 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3851-38_0_4_load_87 | 43 | 0.0030961 | 0.00077596 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3851-38_0_4_load_27 | 44 | 0.025124 | 0.0062967 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3851-38_0_4_load_23 | 45 | 0.0024051 | 0.00060278 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3851-38_0_4_load_69 | 46 | 0.00062888 | 0.00015761 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3851-38_0_4_load_24 | 47 | 0.00084343 | 0.00021138 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3851-38_0_4_load_26 | 48 | 0.0011131 | 0.00027897 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3851-38_0_4_load_65 | 49 | 0.0048272 | 0.0012098 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3851-38_0_4_load_52 | 50 | 0.014269 | 0.0035761 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3851-38_0_4_load_42 | 51 | 0.0014495 | 0.00036327 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3851-38_0_4_load_75 | 53 | 0.021825 | 0.0054699 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3851-38_0_4_load_37 | 54 | 0.0041916 | 0.0010505 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3851-38_0_4_load_39 | 55 | 0.0059772 | 0.001498 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3851-38_0_4_load_40 | 56 | 0.00076084 | 0.00019068 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3851-38_0_4_load_67 | 57 | 0.00090375 | 0.0002265 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3851-38_0_4_load_68 | 58 | 0.0018728 | 0.00046936 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3851-38_0_4_load_44 | 59 | 0.025551 | 0.0064038 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3851-38_0_4_load_46 | 61 | 0.043613 | 0.01093 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3851-38_0_4_load_49 | 63 | 0.077902 | 0.019524 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3851-38_0_4_load_50 | 64 | 0.0079129 | 0.0019832 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3851-38_0_4_load_53 | 66 | 0.0038699 | 0.00096988 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3851-38_0_4_load_81 | 67 | 0.001776 | 0.0004451 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3851-38_0_4_load_80 | 69 | 0.0016879 | 0.00042303 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3851-38_0_4_load_55 | 71 | 0.0020927 | 0.00052447 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3851-38_0_4_load_73 | 73 | 0.0017593 | 0.00044093 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3851-38_0_4_load_59 | 74 | 0.00073987 | 0.00018543 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3851-38_0_4_load_74 | 75 | 0.0017536 | 0.00043949 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3851-38_0_4_load_70 | 76 | 0.001387 | 0.00034763 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3851-38_0_4_load_71 | 77 | 0.0015154 | 0.0003798 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3851-38_0_4_load_72 | 78 | 0.0036603 | 0.00091735 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3851-38_0_4_load_60 | 79 | 0.00045773 | 0.00011472 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3851-38_0_4_load_61 | 80 | 0.00116 | 0.00029073 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3851-38_0_4_load_62 | 81 | 0.011744 | 0.0029434 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3851-38_0_4_load_63 | 82 | 0.014704 | 0.0036852 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3851-38_0_4_load_85 | 83 | 0.066397 | 0.016641 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 59 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3851-38_0_4_line_0 |  | 0 | 1 | 0.033515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3851-38_0_4_line_1 |  | 1 | 2 | 0.028566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3851-38_0_4_line_2 |  | 1 | 3 | 0.14407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3851-38_0_4_line_3 |  | 2 | 6 | 0.20311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3851-38_0_4_line_4 |  | 4 | 5 | 0.1713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3851-38_0_4_line_5 |  | 5 | 14 | 0.13074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3851-38_0_4_line_6 |  | 5 | 13 | 0.15441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3851-38_0_4_line_7 |  | 6 | 9 | 0.54199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3851-38_0_4_line_8 |  | 7 | 8 | 0.078803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3851-38_0_4_line_9 |  | 8 | 11 | 0.027158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3851-38_0_4_line_10 |  | 8 | 12 | 0.040738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3851-38_0_4_line_11 |  | 9 | 10 | 0.10909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3851-38_0_4_line_12 |  | 10 | 15 | 0.11735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3851-38_0_4_line_13 |  | 10 | 16 | 0.028052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3851-38_0_4_line_14 |  | 12 | 13 | 0.064441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3851-38_0_4_line_15 |  | 14 | 15 | 0.067658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3851-38_0_4_line_16 |  | 15 | 17 | 0.052754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3851-38_0_4_line_17 |  | 16 | 27 | 0.040843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3851-38_0_4_line_18 |  | 18 | 19 | 0.06048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3851-38_0_4_line_19 |  | 19 | 20 | 0.14688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3851-38_0_4_line_20 |  | 20 | 23 | 0.025642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3851-38_0_4_line_21 |  | 21 | 22 | 0.028206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3851-38_0_4_line_22 |  | 22 | 52 | 0.14259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3851-38_0_4_line_23 |  | 23 | 24 | 0.26636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3851-38_0_4_line_24 |  | 24 | 25 | 0.03676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3851-38_0_4_line_25 |  | 25 | 61 | 0.021352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3851-38_0_4_line_26 |  | 26 | 27 | 0.012727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3851-38_0_4_line_27 |  | 26 | 28 | 0.085625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3851-38_0_4_line_28 |  | 28 | 29 | 0.019749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3851-38_0_4_line_29 |  | 28 | 30 | 0.079342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3851-38_0_4_line_30 |  | 29 | 31 | 0.028872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3851-38_0_4_line_31 |  | 29 | 32 | 0.026562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3851-38_0_4_line_32 |  | 30 | 33 | 0.095663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3851-38_0_4_line_33 |  | 30 | 34 | 0.096187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3851-38_0_4_line_34 |  | 30 | 35 | 0.073071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3851-38_0_4_line_35 |  | 31 | 36 | 0.026918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3851-38_0_4_line_36 |  | 31 | 37 | 0.01378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3851-38_0_4_line_37 |  | 32 | 38 | 0.0082449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3851-38_0_4_line_38 |  | 33 | 39 | 0.05377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3851-38_0_4_line_39 |  | 33 | 40 | 0.042527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3851-38_0_4_line_40 |  | 33 | 41 | 0.059173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3851-38_0_4_line_41 |  | 34 | 44 | 0.16075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3851-38_0_4_line_42 |  | 34 | 45 | 0.093691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3851-38_0_4_line_43 |  | 38 | 54 | 0.012443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3851-38_0_4_line_44 |  | 39 | 49 | 0.067164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3851-38_0_4_line_45 |  | 39 | 50 | 0.0093362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_3851-38_0_4_line_46 |  | 40 | 46 | 0.0076875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3851-38_0_4_line_47 |  | 40 | 42 | 0.011788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3851-38_0_4_line_48 |  | 41 | 51 | 0.049019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3851-38_0_4_line_49 |  | 42 | 43 | 0.076706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3851-38_0_4_line_50 |  | 45 | 47 | 0.049921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3851-38_0_4_line_51 |  | 46 | 58 | 0.026481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3851-38_0_4_line_52 |  | 47 | 48 | 0.030756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3851-38_0_4_line_53 |  | 49 | 83 | 0.024231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3851-38_0_4_line_54 |  | 50 | 62 | 0.096183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_3851-38_0_4_line_55 |  | 51 | 56 | 0.015127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3851-38_0_4_line_56 |  | 52 | 53 | 0.030914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3851-38_0_4_line_57 |  | 53 | 63 | 0.18036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3851-38_0_4_line_58 |  | 55 | 56 | 0.038406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3851-38_0_4_line_59 |  | 57 | 58 | 0.075292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3851-38_0_4_line_60 |  | 59 | 60 | 0.018672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_3851-38_0_4_line_61 |  | 59 | 61 | 0.21441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3851-38_0_4_line_62 |  | 60 | 62 | 0.064776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_3851-38_0_4_line_63 |  | 60 | 63 | 0.12804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_3851-38_0_4_line_64 |  | 62 | 64 | 0.044313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3851-38_0_4_line_65 |  | 64 | 65 | 0.051545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3851-38_0_4_line_66 |  | 65 | 66 | 0.054705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3851-38_0_4_line_67 |  | 66 | 67 | 0.014344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3851-38_0_4_line_68 |  | 67 | 69 | 0.020591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3851-38_0_4_line_69 |  | 68 | 69 | 0.030645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3851-38_0_4_line_70 |  | 68 | 70 | 0.28005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3851-38_0_4_line_71 |  | 70 | 73 | 0.018465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3851-38_0_4_line_72 |  | 70 | 72 | 0.076894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3851-38_0_4_line_73 |  | 71 | 72 | 0.044259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3851-38_0_4_line_74 |  | 73 | 77 | 0.01887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3851-38_0_4_line_75 |  | 74 | 75 | 0.015336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3851-38_0_4_line_76 |  | 75 | 78 | 0.016967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3851-38_0_4_line_77 |  | 76 | 77 | 0.032285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3851-38_0_4_line_78 |  | 76 | 78 | 0.0026264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3851-38_0_4_line_79 |  | 79 | 80 | 0.022321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3851-38_0_4_line_80 |  | 79 | 81 | 0.0064267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3851-38_0_4_line_81 |  | 80 | 82 | 0.043382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3851-38_0_4_line_82 |  | 82 | 83 | 0.0037877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3851-38_0_4_trafo_44 | 0.63 MVA 20/0.4 kV | 84 | 59 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2779947.4052 | 1183397.9855 | 2779949.0895 | 1183387.1923 | 2779946.5097 | 1183377.6947 | 2779939.8095 | 1183372.077 | 2779935.8519 | 1183371.46
1 | 2779947.4052 | 1183397.9855 | 2779957.2028 | 1183384.4333 | 2779963.5526 | 1183374.4366
2 | 2779947.4052 | 1183397.9855 | 2779862.1617 | 1183514.1273
3 | 2779963.5526 | 1183374.4366 | 2779967.3723 | 1183368.4232 | 2779967.824 | 1183365.0891 | 2779960.6561 | 1183359.7799 | 2779947.0224 | 1183348.4264 | 2779938.8027 | 1183339.471 | 2779924.6691 | 1183320.5953 | 2779913.2392 | 1183306.839 | 2779897.7399 | 1183282.0389 | 2779892.0082 | 1183262.2368 | 2779880.2676 | 1183235.6701 | 2779873.2471 | 1183221.1232 | 2779868.9159 | 1183213.4526 | 2779865.4576 | 1183205.7192
4 | 2780573.6868 | 1183043.2894 | 2780551.8555 | 1183035.7023 | 2780528.809 | 1183028.3789 | 2780499.8853 | 1183015.7624 | 2780485.7569 | 1183013.2235 | 2780466.4617 | 1183011.7411 | 2780435.2541 | 1182994.5296 | 2780418.0536 | 1182979.1029
5 | 2780573.6868 | 1183043.2894 | 2780552.3895 | 1183013.1745 | 2780519.2027 | 1182983.046 | 2780479.9706 | 1182953.6343
6 | 2780573.6868 | 1183043.2894 | 2780590.0108 | 1183069.3062 | 2780604.227 | 1183097.306 | 2780629.2563 | 1183167.828 | 2780635.4169 | 1183184.2295
7 | 2780257.1233 | 1182831.0868 | 2779865.4576 | 1183205.7192
8 | 2780556.9293 | 1183138.3428 | 2780556.4058 | 1183131.3759 | 2780549.7189 | 1183122.0322 | 2780543.1726 | 1183120.1888 | 2780536.6661 | 1183123.1067 | 2780524.1215 | 1183143.5708 | 2780522.1313 | 1183154.844 | 2780523.473 | 1183165.7061
9 | 2780556.9293 | 1183138.3428 | 2780551.6159 | 1183138.1826 | 2780546.4473 | 1183139.3058 | 2780540.6808 | 1183148.0961 | 2780542.1535 | 1183153.9906
10 | 2780556.9293 | 1183138.3428 | 2780572.1871 | 1183155.6191 | 2780578.1451 | 1183158.7238 | 2780588.7937 | 1183156.0884
11 | 2780364.7185 | 1182813.1102 | 2780257.1233 | 1182831.0868
12 | 2780364.7185 | 1182813.1102 | 2780372.3994 | 1182833.6165 | 2780383.6235 | 1182855.2195 | 2780396.3084 | 1182874.998 | 2780413.3635 | 1182896.0649 | 2780427.3739 | 1182911.1566
13 | 2780364.7185 | 1182813.1102 | 2780360.7455 | 1182800.6564 | 2780356.8894 | 1182786.1817
14 | 2780635.4169 | 1183184.2295 | 2780625.3698 | 1183186.4844 | 2780618.9228 | 1183181.3519 | 2780605.5403 | 1183156.6249 | 2780599.2158 | 1183153.5091 | 2780588.7937 | 1183156.0884
15 | 2780427.3739 | 1182911.1566 | 2780451.0542 | 1182931.9561 | 2780479.9706 | 1182953.6343
16 | 2780427.3739 | 1182911.1566 | 2780423.0224 | 1182915.8413 | 2780421.7744 | 1182920.7417 | 2780447.0123 | 1182953.4996
17 | 2780350.9762 | 1182745.828 | 2780352.359 | 1182761.1995 | 2780355.6171 | 1182781.4058 | 2780356.8894 | 1182786.1817
18 | 2781081.7965 | 1182901.4469 | 2781108.7681 | 1182879.0401 | 2781121.4158 | 1182868.3897 | 2781129.4182 | 1182864.5389
19 | 2781081.7965 | 1182901.4469 | 2781007.4128 | 1182929.85 | 2780943.8856 | 1182953.0211
20 | 2780943.8856 | 1182953.0211 | 2780943.3401 | 1182936.1773 | 2780942.7679 | 1182927.4069
21 | 2781070.1106 | 1182502.4312 | 2781067.7217 | 1182530.5356
22 | 2780964.6009 | 1182406.5195 | 2781070.1106 | 1182502.4312
23 | 2780733.2037 | 1182762.9935 | 2780942.7679 | 1182927.4069
24 | 2780733.2037 | 1182762.9935 | 2780724.3618 | 1182755.4196 | 2780719.0678 | 1182749.2874 | 2780709.6532 | 1182735.1122
25 | 2780709.6532 | 1182735.1122 | 2780704.5599 | 1182727.3957 | 2780698.9273 | 1182716.6795
26 | 2780350.9762 | 1182745.828 | 2780350.8763 | 1182744.7168 | 2780351.0706 | 1182733.1072
27 | 2780362.6921 | 1182648.4798 | 2780353.6002 | 1182693.8499 | 2780351.2302 | 1182723.5738 | 2780351.0706 | 1182733.1072
28 | 2780362.6921 | 1182648.4798 | 2780343.7038 | 1182642.8587
29 | 2780362.6921 | 1182648.4798 | 2780374.7289 | 1182596.4253 | 2780377.6258 | 1182583.2109 | 2780378.5396 | 1182577.9889 | 2780378.9509 | 1182570.9278
30 | 2780343.7038 | 1182642.8587 | 2780316.2536 | 1182652.0418
31 | 2780343.7038 | 1182642.8587 | 2780343.9244 | 1182625.3819 | 2780344.5517 | 1182616.3202
32 | 2780378.9509 | 1182570.9278 | 2780385.1118 | 1182532.0536 | 2780392.983 | 1182510.9924 | 2780397.4942 | 1182501.7749 | 2780403.8037 | 1182496.0259 | 2780412.9964 | 1182489.9522 | 2780416.9757 | 1182489.516
33 | 2780378.9509 | 1182570.9278 | 2780385.7178 | 1182580.1848 | 2780410.3095 | 1182600.967 | 2780418.2587 | 1182607.5014 | 2780417.9399 | 1182607.9367 | 2780413.7856 | 1182612.9164 | 2780403.8571 | 1182626.1748 | 2780399.8577 | 1182634.3846 | 2780398.2229 | 1182643.7555
34 | 2780378.9509 | 1182570.9278 | 2780325.0551 | 1182532.5584 | 2780318.7992 | 1182529.6173
35 | 2780308.9944 | 1182670.0519 | 2780319.6723 | 1182667.6819 | 2780316.2536 | 1182652.0418
36 | 2780303.3229 | 1182656.902 | 2780316.2536 | 1182652.0418
37 | 2780344.5517 | 1182616.3202 | 2780345.121 | 1182608.0951
38 | 2780416.9757 | 1182489.516 | 2780425.6067 | 1182488.6416 | 2780432.4889 | 1182488.2372 | 2780437.0892 | 1182488.2424 | 2780458.0724 | 1182488.5409 | 2780470.6532 | 1182489.4761
39 | 2780389.0257 | 1182460.9697 | 2780395.3678 | 1182474.1844 | 2780403.0142 | 1182483.1675 | 2780412.9964 | 1182489.9522 | 2780416.9757 | 1182489.516
40 | 2780416.9757 | 1182489.516 | 2780416.4562 | 1182485.452 | 2780411.2276 | 1182483.7264 | 2780406.1239 | 1182480.6476 | 2780401.5042 | 1182475.9596 | 2780398.6985 | 1182470.9259 | 2780397.2112 | 1182466.0098 | 2780395.3094 | 1182460.6474 | 2780393.9871 | 1182454.3126 | 2780392.3025 | 1182449.8576 | 2780392.721 | 1182440.6622
41 | 2780398.2229 | 1182643.7555 | 2780400.8185 | 1182659.3152 | 2780402.79 | 1182672.2537 | 2780407.0463 | 1182683.9263 | 2780413.7532 | 1182696.1844 | 2780449.4711 | 1182748.6432 | 2780472.947 | 1182783.506
42 | 2780398.2229 | 1182643.7555 | 2780396.891 | 1182653.725 | 2780396.8899 | 1182660.6094 | 2780397.6258 | 1182667.3825 | 2780401.5899 | 1182679.6246 | 2780413.168 | 1182701.1493 | 2780431.608 | 1182728.0653
43 | 2780345.9803 | 1182595.6819 | 2780345.121 | 1182608.0951
44 | 2780470.6532 | 1182489.4761 | 2780475.5812 | 1182518.6747 | 2780481.0829 | 1182544.2983 | 2780480.296 | 1182555.6158
45 | 2780470.6532 | 1182489.4761 | 2780479.9894 | 1182489.4967
46 | 2780389.0257 | 1182460.9697 | 2780389.3122 | 1182453.2876
47 | 2780389.0257 | 1182460.9697 | 2780388.4801 | 1182472.7424
48 | 2780392.721 | 1182440.6622 | 2780393.771 | 1182417.593 | 2780394.4891 | 1182397.3063 | 2780394.2515 | 1182391.6846
49 | 2780388.4801 | 1182472.7424 | 2780363.2579 | 1182471.8604 | 2780341.1051 | 1182459.3931 | 2780323.5747 | 1182440.1271
50 | 2780459.5979 | 1182769.4006 | 2780443.8448 | 1182745.9268 | 2780431.608 | 1182728.0653
51 | 2780389.3122 | 1182453.2876 | 2780390.1377 | 1182431.1523 | 2780390.1569 | 1182426.8223
52 | 2780476.7367 | 1182794.9392 | 2780459.5979 | 1182769.4006
53 | 2780480.296 | 1182555.6158 | 2780479.3566 | 1182569.1258 | 2780477.8088 | 1182579.7012
54 | 2780576.1726 | 1182489.7093 | 2780479.9894 | 1182489.4967
55 | 2780393.1662 | 1182376.6075 | 2780393.8511 | 1182382.2059 | 2780394.2515 | 1182391.6846
56 | 2780964.6009 | 1182406.5195 | 2780941.8921 | 1182418.301 | 2780937.0976 | 1182420.6313
57 | 2780937.0976 | 1182420.6313 | 2780885.9416 | 1182445.4943 | 2780788.3158 | 1182477.6471 | 2780768.5172 | 1182483.6814
58 | 2780383.4698 | 1182339.6314 | 2780388.5934 | 1182353.787 | 2780391.6496 | 1182364.2112 | 2780393.1662 | 1182376.6075
59 | 2780384.5276 | 1182352.0983 | 2780387.0554 | 1182362.2267 | 2780389.8126 | 1182377.5021 | 2780390.3208 | 1182389.807 | 2780390.1569 | 1182426.8223
60 | 2780641.116 | 1182491.3897 | 2780640.9269 | 1182497.9125 | 2780641.836 | 1182508.5613 | 2780641.7973 | 1182510.0195
61 | 2780641.7973 | 1182510.0195 | 2780698.9273 | 1182716.6795
62 | 2780576.1726 | 1182489.7093 | 2780641.116 | 1182491.3897
63 | 2780641.116 | 1182491.3897 | 2780680.0705 | 1182491.764 | 2780713.3054 | 1182491.4988 | 2780741.4827 | 1182488.6567 | 2780764.244 | 1182484.9838 | 2780768.5172 | 1182483.6814
64 | 2780576.1726 | 1182489.7093 | 2780581.2593 | 1182445.689
65 | 2780586.6443 | 1182394.5888 | 2780587.2217 | 1182401.2904 | 2780585.0338 | 1182413.0247 | 2780581.2593 | 1182445.689
66 | 2780586.6443 | 1182394.5888 | 2780586.0725 | 1182387.9541 | 2780571.3724 | 1182371.6289 | 2780563.3688 | 1182357.0072 | 2780560.9618 | 1182347.9113
67 | 2780560.9618 | 1182347.9113 | 2780557.2922 | 1182334.0446
68 | 2780550.2869 | 1182314.7265 | 2780555.5067 | 1182327.2973 | 2780557.2922 | 1182334.0446
69 | 2780538.5353 | 1182286.4247 | 2780550.2869 | 1182314.7265
70 | 2780538.5353 | 1182286.4247 | 2780615.9498 | 1182017.2865
71 | 2780615.9498 | 1182017.2865 | 2780631.1021 | 1182006.7329
72 | 2780602.6858 | 1181942.6596 | 2780611.3697 | 1181960.0824 | 2780614.3393 | 1181984.2729 | 2780615.9498 | 1182017.2865
73 | 2780602.6858 | 1181942.6596 | 2780631.3789 | 1181943.0689 | 2780646.8635 | 1181944.6278
74 | 2780646.9425 | 1182015.8702 | 2780640.8642 | 1182009.6854 | 2780631.1021 | 1182006.7329 | 2780631.1021 | 1182006.7329
75 | 2780691.9252 | 1182009.3405 | 2780684.6506 | 1182021.5051 | 2780683.8775 | 1182022.3732
76 | 2780683.8775 | 1182022.3732 | 2780674.5807 | 1182032.8125 | 2780671.653 | 1182033.4121
77 | 2780669.08 | 1182033.939 | 2780664.8298 | 1182034.8095 | 2780655.7931 | 1182032.1346 | 2780647.0483 | 1182015.9778 | 2780646.9425 | 1182015.8702
78 | 2780669.08 | 1182033.939 | 2780671.653 | 1182033.4121
79 | 2780486.5388 | 1182645.5797 | 2780474.9141 | 1182626.525 | 2780474.9141 | 1182626.525
80 | 2780489.8858 | 1182651.0661 | 2780486.5388 | 1182645.5797
81 | 2780474.9141 | 1182626.525 | 2780473.6502 | 1182608.1137 | 2780477.2602 | 1182583.4489
82 | 2780477.8088 | 1182579.7012 | 2780477.2602 | 1182583.4489

## bus_geodata
| x | y | coords
0 | 2779935.8519 | 1183371.46
1 | 2779947.4052 | 1183397.9855
2 | 2779963.5526 | 1183374.4366
3 | 2779862.1617 | 1183514.1273
4 | 2780418.0536 | 1182979.1029
5 | 2780573.6868 | 1183043.2894
6 | 2779865.4576 | 1183205.7192
7 | 2780523.473 | 1183165.7061
8 | 2780556.9293 | 1183138.3428
9 | 2780257.1233 | 1182831.0868
10 | 2780364.7185 | 1182813.1102
11 | 2780542.1535 | 1183153.9906
12 | 2780588.7937 | 1183156.0884
13 | 2780635.4169 | 1183184.2295
14 | 2780479.9706 | 1182953.6343
15 | 2780427.3739 | 1182911.1566
16 | 2780356.8894 | 1182786.1817
17 | 2780447.0123 | 1182953.4996
18 | 2781129.4182 | 1182864.5389
19 | 2781081.7965 | 1182901.4469
20 | 2780943.8856 | 1182953.0211
21 | 2781067.7217 | 1182530.5356
22 | 2781070.1106 | 1182502.4312
23 | 2780942.7679 | 1182927.4069
24 | 2780733.2037 | 1182762.9935
25 | 2780709.6532 | 1182735.1122
26 | 2780351.0706 | 1182733.1072
27 | 2780350.9762 | 1182745.828
28 | 2780362.6921 | 1182648.4798
29 | 2780343.7038 | 1182642.8587
30 | 2780378.9509 | 1182570.9278
31 | 2780316.2536 | 1182652.0418
32 | 2780344.5517 | 1182616.3202
33 | 2780416.9757 | 1182489.516
34 | 2780398.2229 | 1182643.7555
35 | 2780318.7992 | 1182529.6173
36 | 2780308.9944 | 1182670.0519
37 | 2780303.3229 | 1182656.902
38 | 2780345.121 | 1182608.0951
39 | 2780470.6532 | 1182489.4761
40 | 2780389.0257 | 1182460.9697
41 | 2780392.721 | 1182440.6622
42 | 2780388.4801 | 1182472.7424
43 | 2780323.5747 | 1182440.1271
44 | 2780472.947 | 1182783.506
45 | 2780431.608 | 1182728.0653
46 | 2780389.3122 | 1182453.2876
47 | 2780459.5979 | 1182769.4006
48 | 2780476.7367 | 1182794.9392
49 | 2780480.296 | 1182555.6158
50 | 2780479.9894 | 1182489.4967
51 | 2780394.2515 | 1182391.6846
52 | 2780964.6009 | 1182406.5195
53 | 2780937.0976 | 1182420.6313
54 | 2780345.9803 | 1182595.6819
55 | 2780383.4698 | 1182339.6314
56 | 2780393.1662 | 1182376.6075
57 | 2780384.5276 | 1182352.0983
58 | 2780390.1569 | 1182426.8223
59 | 2780641.7973 | 1182510.0195
60 | 2780641.116 | 1182491.3897
61 | 2780698.9273 | 1182716.6795
62 | 2780576.1726 | 1182489.7093
63 | 2780768.5172 | 1182483.6814
64 | 2780581.2593 | 1182445.689
65 | 2780586.6443 | 1182394.5888
66 | 2780560.9618 | 1182347.9113
67 | 2780557.2922 | 1182334.0446
68 | 2780538.5353 | 1182286.4247
69 | 2780550.2869 | 1182314.7265
70 | 2780615.9498 | 1182017.2865
71 | 2780646.8635 | 1181944.6278
72 | 2780602.6858 | 1181942.6596
73 | 2780631.1021 | 1182006.7329
74 | 2780691.9251 | 1182009.3405
75 | 2780683.8775 | 1182022.3732
76 | 2780669.08 | 1182033.939
77 | 2780646.9425 | 1182015.8702
78 | 2780671.653 | 1182033.4121
79 | 2780486.5388 | 1182645.5797
80 | 2780474.9141 | 1182626.525
81 | 2780489.8858 | 1182651.066
82 | 2780477.2602 | 1182583.4489
83 | 2780477.8088 | 1182579.7012
84 | 2780641.116 | 1182491.3897

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1