## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3851-71_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3851-71_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3851-71_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3851-71_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3851-71_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3851-71_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3851-71_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_3851-71_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_3851-71_0_3_node_18 | 0.4 | n |  | TRUE
9 | bus_LV_3851-71_0_3_node_23 | 0.4 | n |  | TRUE
10 | bus_LV_3851-71_0_3_node_20 | 0.4 | n |  | TRUE
11 | bus_LV_3851-71_0_3_node_19 | 0.4 | n |  | TRUE
12 | bus_LV_3851-71_0_3_node_21 | 0.4 | n |  | TRUE
13 | bus_LV_3851-71_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_3851-71_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_3851-71_0_3_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_3851-71_0_3_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_3851-71_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_3851-71_0_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_3851-71_0_3_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_3851-71_0_3_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_3851-71_0_3_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_3851-71_0_3_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_3851-71_0_3_node_59 | 0.4 | n |  | TRUE
24 | bus_LV_3851-71_0_3_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_3851-71_0_3_node_68 | 0.4 | n |  | TRUE
26 | bus_LV_3851-71_0_3_node_67 | 0.4 | n |  | TRUE
27 | bus_LV_3851-71_0_3_node_65 | 0.4 | n |  | TRUE
28 | bus_LV_3851-71_0_3_node_58 | 0.4 | n |  | TRUE
29 | bus_LV_3851-71_0_3_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_3851-71_0_3_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_3851-71_0_3_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_3851-71_0_3_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_3851-71_0_3_node_56 | 0.4 | n |  | TRUE
34 | bus_LV_3851-71_0_3_node_57 | 0.4 | n |  | TRUE
35 | bus_LV_3851-71_0_3_node_54 | 0.4 | n |  | TRUE
36 | bus_LV_3851-71_0_3_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_3851-71_0_3_node_38 | 0.4 | n |  | TRUE
38 | bus_LV_3851-71_0_3_node_39 | 0.4 | n |  | TRUE
39 | bus_LV_3851-71_0_3_node_41 | 0.4 | n |  | TRUE
40 | bus_LV_3851-71_0_3_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_3851-71_0_3_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_3851-71_0_3_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_3851-71_0_3_node_46 | 0.4 | n |  | TRUE
44 | bus_LV_3851-71_0_3_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_3851-71_0_3_node_44 | 0.4 | n |  | TRUE
46 | bus_LV_3851-71_0_3_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_3851-71_0_3_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_3851-71_0_3_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_3851-71_0_3_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_3851-71_0_3_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_3851-71_0_3_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_3851-71_0_3_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_3851-71_0_3_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_3851-71_0_3_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_3851-71_0_3_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_3851-71_0_3_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_3851-71_0_3_node_62 | 0.4 | n |  | TRUE
58 | bus_LV_3851-71_0_3_node_64 | 0.4 | n |  | TRUE
59 | bus_LV_3851-71_0_3_node_60 | 0.4 | n |  | TRUE
60 | bus_LV_3851-71_0_3_node_55 | 0.4 | n |  | TRUE
61 | bus_LV_3851-71_0_3_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_3851-71_0_3_node_48 | 0.4 | n |  | TRUE
63 | bus_LV_3851-71_0_3_node_49 | 0.4 | n |  | TRUE
64 | bus_LV_3851-71_0_3_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_3851-71_0_3_node_69 | 0.4 | n |  | TRUE
66 | bus_LV_3851-71_0_3_node_61 | 0.4 | n |  | TRUE
67 | bus_LV_3851-71_0_3_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_3851-71_0_3_node_66 | 0.4 | n |  | TRUE
69 | bus_MV_239_0_node_71 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3851-71_0_3_load_0 | 0 | 0.0018317 | 0.00045907 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3851-71_0_3_load_1 | 1 | 0.0020868 | 0.000523 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3851-71_0_3_load_3 | 3 | 0.00085804 | 0.00021504 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3851-71_0_3_load_5 | 5 | 0.0019563 | 0.0004903 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3851-71_0_3_load_6 | 6 | 0.0016678 | 0.00041799 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3851-71_0_3_load_18 | 8 | 0.00093925 | 0.0002354 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3851-71_0_3_load_23 | 9 | 0.0058129 | 0.0014568 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3851-71_0_3_load_21 | 12 | 0.0020641 | 0.00051731 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3851-71_0_3_load_8 | 13 | 0.0043158 | 0.0010816 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3851-71_0_3_load_9 | 14 | 0.0014469 | 0.00036263 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3851-71_0_3_load_10 | 15 | 0.0004812 | 0.0001206 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3851-71_0_3_load_11 | 16 | 0.0019403 | 0.00048628 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3851-71_0_3_load_12 | 17 | 0.003457 | 0.0008664 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3851-71_0_3_load_13 | 18 | 0.0013206 | 0.00033097 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3851-71_0_3_load_14 | 19 | 0.0029383 | 0.0007364 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3851-71_0_3_load_16 | 20 | 0.0010478 | 0.00026261 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3851-71_0_3_load_24 | 21 | 0.0014645 | 0.00036703 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3851-71_0_3_load_15 | 22 | 0.00099739 | 0.00024997 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3851-71_0_3_load_59 | 23 | 0.0014384 | 0.00036049 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3851-71_0_3_load_68 | 25 | 0.00070464 | 0.0001766 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3851-71_0_3_load_67 | 26 | 0.0020633 | 0.0005171 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3851-71_0_3_load_65 | 27 | 0.0019218 | 0.00048165 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3851-71_0_3_load_58 | 28 | 0.0011941 | 0.00029926 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3851-71_0_3_load_25 | 29 | 0.0001474 | 3.6942e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3851-71_0_3_load_26 | 30 | 0.00016079 | 4.0297e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3851-71_0_3_load_28 | 31 | 9.7522e-05 | 2.4441e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3851-71_0_3_load_27 | 32 | 0.00012755 | 3.1968e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3851-71_0_3_load_56 | 33 | 0.00010039 | 2.516e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3851-71_0_3_load_57 | 34 | 0.00080569 | 0.00020192 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3851-71_0_3_load_29 | 36 | 0.00048931 | 0.00012263 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3851-71_0_3_load_39 | 38 | 0.00093969 | 0.00023551 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3851-71_0_3_load_30 | 40 | 0.0001618 | 4.0552e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3851-71_0_3_load_31 | 41 | 0.00010794 | 2.7051e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3851-71_0_3_load_32 | 42 | 0.00016612 | 4.1633e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3851-71_0_3_load_46 | 43 | 0.00029907 | 7.4953e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3851-71_0_3_load_37 | 44 | 0.00019209 | 4.8141e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3851-71_0_3_load_44 | 45 | 0.00027189 | 6.8142e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3851-71_0_3_load_33 | 46 | 0.00018691 | 4.6844e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3851-71_0_3_load_34 | 47 | 0.00040806 | 0.00010227 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3851-71_0_3_load_40 | 50 | 0.00024671 | 6.1832e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3851-71_0_3_load_43 | 52 | 0.0020843 | 0.00052238 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3851-71_0_3_load_47 | 54 | 0.00028037 | 7.0268e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3851-71_0_3_load_53 | 55 | 0.008221 | 0.0020604 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3851-71_0_3_load_50 | 56 | 0.0010929 | 0.0002739 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3851-71_0_3_load_64 | 58 | 0.0053377 | 0.0013377 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3851-71_0_3_load_60 | 59 | 0.0039916 | 0.0010004 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3851-71_0_3_load_55 | 60 | 0.0012188 | 0.00030546 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3851-71_0_3_load_48 | 62 | 0.0014612 | 0.00036622 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3851-71_0_3_load_49 | 63 | 0.0040978 | 0.001027 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3851-71_0_3_load_52 | 64 | 0.00085919 | 0.00021533 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3851-71_0_3_load_69 | 65 | 0.00093324 | 0.00023389 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3851-71_0_3_load_61 | 66 | 0.005207 | 0.001305 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3851-71_0_3_load_63 | 67 | 0.0013045 | 0.00032693 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3851-71_0_3_load_66 | 68 | 0.0024165 | 0.00060564 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 67 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3851-71_0_3_line_0 |  | 0 | 1 | 0.0062762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3851-71_0_3_line_1 |  | 0 | 2 | 0.045531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3851-71_0_3_line_2 |  | 2 | 3 | 0.080419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3851-71_0_3_line_3 |  | 2 | 4 | 0.035158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3851-71_0_3_line_4 |  | 3 | 5 | 0.038583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3851-71_0_3_line_5 |  | 4 | 6 | 0.042105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3851-71_0_3_line_6 |  | 4 | 7 | 0.044919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3851-71_0_3_line_7 |  | 5 | 8 | 0.13951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3851-71_0_3_line_8 |  | 7 | 9 | 0.13124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3851-71_0_3_line_9 |  | 7 | 10 | 0.059368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3851-71_0_3_line_10 |  | 8 | 11 | 0.096859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3851-71_0_3_line_11 |  | 10 | 12 | 0.063796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3851-71_0_3_line_12 |  | 11 | 22 | 0.16854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3851-71_0_3_line_13 |  | 12 | 24 | 0.0015589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3851-71_0_3_line_14 |  | 13 | 14 | 0.021539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3851-71_0_3_line_15 |  | 13 | 15 | 0.040564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3851-71_0_3_line_16 |  | 14 | 16 | 0.053262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3851-71_0_3_line_17 |  | 15 | 17 | 0.16071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3851-71_0_3_line_18 |  | 16 | 18 | 0.018635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3851-71_0_3_line_19 |  | 17 | 19 | 0.019829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3851-71_0_3_line_20 |  | 18 | 20 | 0.081276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3851-71_0_3_line_21 |  | 19 | 21 | 0.071515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3851-71_0_3_line_22 |  | 20 | 22 | 0.026077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3851-71_0_3_line_23 |  | 21 | 23 | 0.18008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3851-71_0_3_line_24 |  | 23 | 28 | 0.057061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3851-71_0_3_line_25 |  | 24 | 25 | 0.061521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3851-71_0_3_line_26 |  | 24 | 26 | 0.02942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3851-71_0_3_line_27 |  | 26 | 27 | 0.054379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_3851-71_0_3_line_28 |  | 27 | 67 | 0.035459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_3851-71_0_3_line_29 |  | 28 | 65 | 0.6697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3851-71_0_3_line_30 |  | 29 | 30 | 0.053458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3851-71_0_3_line_31 |  | 29 | 31 | 0.51462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3851-71_0_3_line_32 |  | 30 | 32 | 0.021542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3851-71_0_3_line_33 |  | 31 | 33 | 0.16844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3851-71_0_3_line_34 |  | 33 | 34 | 0.1781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3851-71_0_3_line_35 |  | 34 | 35 | 0.028816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3851-71_0_3_line_36 |  | 35 | 64 | 0.05243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3851-71_0_3_line_37 |  | 36 | 37 | 1.394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3851-71_0_3_line_38 |  | 37 | 38 | 0.069713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3851-71_0_3_line_39 |  | 37 | 39 | 0.25736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3851-71_0_3_line_40 |  | 38 | 50 | 0.056086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3851-71_0_3_line_41 |  | 39 | 51 | 0.032362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3851-71_0_3_line_42 |  | 39 | 52 | 0.094324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3851-71_0_3_line_43 |  | 40 | 41 | 0.049229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3851-71_0_3_line_44 |  | 41 | 42 | 0.021618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3851-71_0_3_line_45 |  | 42 | 46 | 0.0042607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3851-71_0_3_line_46 |  | 43 | 44 | 0.094689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3851-71_0_3_line_47 |  | 43 | 45 | 0.024838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3851-71_0_3_line_48 |  | 44 | 49 | 0.11249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3851-71_0_3_line_49 |  | 45 | 53 | 0.10055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3851-71_0_3_line_50 |  | 46 | 47 | 0.038621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3851-71_0_3_line_51 |  | 47 | 48 | 0.01662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3851-71_0_3_line_52 |  | 48 | 49 | 0.10858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3851-71_0_3_line_53 |  | 50 | 53 | 0.035973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3851-71_0_3_line_54 |  | 51 | 55 | 0.089594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3851-71_0_3_line_55 |  | 52 | 56 | 0.19162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3851-71_0_3_line_56 |  | 53 | 54 | 0.025557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3851-71_0_3_line_57 |  | 54 | 62 | 0.10005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3851-71_0_3_line_58 |  | 55 | 57 | 0.19626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3851-71_0_3_line_59 |  | 56 | 60 | 0.18523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3851-71_0_3_line_60 |  | 56 | 61 | 0.12164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3851-71_0_3_line_61 |  | 57 | 58 | 0.056705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3851-71_0_3_line_62 |  | 57 | 59 | 0.014173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3851-71_0_3_line_63 |  | 58 | 68 | 0.030174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3851-71_0_3_line_64 |  | 59 | 66 | 0.0080786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3851-71_0_3_line_65 |  | 61 | 64 | 0.064043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3851-71_0_3_line_66 |  | 62 | 63 | 0.00033373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3851-71_0_3_line_67 |  | 66 | 67 | 0.017678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3851-71_0_3_trafo_63 | 0.63 MVA 20/0.4 kV | 69 | 67 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2782198.9777 | 1181716.2988 | 2782200.6594 | 1181722.3456
1 | 2782193.6222 | 1181671.9545 | 2782191.3704 | 1181688.947 | 2782198.9777 | 1181716.2988
2 | 2782193.6222 | 1181671.9545 | 2782169.015 | 1181693.2051 | 2782160.7776 | 1181709.7376 | 2782156.382 | 1181726.3534 | 2782151.41 | 1181737.5466
3 | 2782218.9232 | 1181647.4996 | 2782212.3122 | 1181654.5278 | 2782193.6222 | 1181671.9545
4 | 2782151.41 | 1181737.5466 | 2782137.8126 | 1181744.3512 | 2782126.5701 | 1181756.4103 | 2782123.1368 | 1181762.3859
5 | 2782218.9232 | 1181647.4996 | 2782224.6018 | 1181689.2126
6 | 2782218.9232 | 1181647.4996 | 2782223.3651 | 1181637.6584 | 2782231.2158 | 1181604.4537
7 | 2782123.1368 | 1181762.3859 | 2781987.782 | 1181728.5754
8 | 2782348.7734 | 1181602.7373 | 2782339.0272 | 1181597.002 | 2782322.1971 | 1181595.7445 | 2782306.6602 | 1181600.966 | 2782295.6021 | 1181613.9758 | 2782287.5104 | 1181618.9234 | 2782275.2788 | 1181621.5208 | 2782262.9082 | 1181620.3992 | 2782247.7548 | 1181613.0203 | 2782231.2158 | 1181604.4537
9 | 2782231.2158 | 1181604.4537 | 2782232.8538 | 1181584.0282 | 2782252.8531 | 1181558.2444 | 2782251.8721 | 1181552.053
10 | 2781912.7572 | 1181788.2056 | 2781918.4503 | 1181778.6691 | 2781930.295 | 1181767.1507 | 2781987.782 | 1181728.5754
11 | 2782251.8721 | 1181552.053 | 2782265.8046 | 1181544.0465 | 2782305.0095 | 1181516.828
12 | 2782033.705 | 1181905.5814 | 2781912.7572 | 1181788.2056
13 | 2782306.2901 | 1181515.939 | 2782305.0095 | 1181516.828
14 | 2782208.3213 | 1181824.145 | 2782196.9744 | 1181819.2991 | 2782187.9386 | 1181817.5676
15 | 2782208.3213 | 1181824.145 | 2782219.126 | 1181828.7593 | 2782247.2965 | 1181834.8214 | 2782247.2965 | 1181834.8214
16 | 2782140.0267 | 1181838.0647 | 2782159.7786 | 1181824.2626 | 2782185.6602 | 1181817.131 | 2782187.9386 | 1181817.5676
17 | 2782371.527 | 1181736.8214 | 2782360.4559 | 1181745.2085 | 2782333.4464 | 1181770.545 | 2782290.2338 | 1181804.1859 | 2782274.208 | 1181824.485 | 2782260.9812 | 1181831.9234 | 2782247.2965 | 1181834.8214
18 | 2782140.0267 | 1181838.0647 | 2782124.7516 | 1181848.7385
19 | 2782371.527 | 1181736.8214 | 2782375.7976 | 1181733.5861 | 2782379.2521 | 1181719.5331 | 2782379.2521 | 1181719.5331
20 | 2782056.0308 | 1181892.1061 | 2782083.2861 | 1181875.6556 | 2782118.3221 | 1181853.2313 | 2782124.7516 | 1181848.7385
21 | 2782379.2521 | 1181719.5331 | 2782385.9254 | 1181712.4737 | 2782396.9369 | 1181711.7858 | 2782413.0743 | 1181717.9605 | 2782424.7332 | 1181714.5897 | 2782432.8051 | 1181694.8214
22 | 2782056.0308 | 1181892.1061 | 2782033.705 | 1181905.5814
23 | 2782536.7814 | 1181564.8874 | 2782535.631 | 1181580.7238 | 2782505.7877 | 1181596.4195 | 2782501.6436 | 1181612.7759 | 2782499.0931 | 1181636.5324 | 2782478.5975 | 1181657.2509 | 2782436.3867 | 1181686.0499 | 2782432.8051 | 1181694.8214
24 | 2782536.7814 | 1181564.8874 | 2782537.5005 | 1181554.9891 | 2782553.434 | 1181545.0423 | 2782564.6761 | 1181530.7819 | 2782573.1601 | 1181525.1289
25 | 2782306.2901 | 1181515.939 | 2782299.1118 | 1181514.4749 | 2782290.6538 | 1181503.5738 | 2782272.8902 | 1181487.0178 | 2782256.8352 | 1181488.4089
26 | 2782306.2901 | 1181515.939 | 2782329.6247 | 1181498.0215
27 | 2782368.5633 | 1181460.8838 | 2782357.5046 | 1181476.6138 | 2782329.6247 | 1181498.0215
28 | 2782368.5633 | 1181460.8838 | 2782388.957 | 1181431.8758
29 | 2782573.1601 | 1181525.1289 | 2783122.1399 | 1181908.6939
30 | 2783605.6685 | 1181309.1103 | 2783609.2122 | 1181313.387 | 2783621.1068 | 1181313.3512 | 2783638.4056 | 1181310.8118 | 2783651.0678 | 1181305.6835 | 2783655.5918 | 1181303.8979
31 | 2783237.1026 | 1180949.9503 | 2783605.6685 | 1181309.1103
32 | 2783655.5918 | 1181303.8979 | 2783667.8808 | 1181299.0475 | 2783673.6703 | 1181295.6994 | 2783674.8684 | 1181294.576
33 | 2783237.1026 | 1180949.9503 | 2783068.7128 | 1180945.6782
34 | 2782938.9115 | 1181067.6266 | 2783068.7128 | 1180945.6782
35 | 2782933.1627 | 1181095.5897 | 2782933.5475 | 1181087.4936 | 2782935.2771 | 1181081.9187 | 2782937.1562 | 1181077.7053 | 2782938.7283 | 1181070.7799 | 2782938.9115 | 1181067.6266
36 | 2782933.1627 | 1181095.5897 | 2782923.8358 | 1181116.9148 | 2782913.199 | 1181137.3324 | 2782909.8059 | 1181142.4405
37 | 2782626.0986 | 1180936.2753 | 2781517.445 | 1180091.211
38 | 2782626.0986 | 1180936.2753 | 2782642.0871 | 1180947.8958 | 2782661.336 | 1180961.1394 | 2782674.9494 | 1180960.6536 | 2782686.8765 | 1180955.5807
39 | 2782626.0986 | 1180936.2753 | 2782482.3554 | 1181149.7507
40 | 2782737.6306 | 1180931.8268 | 2782716.599 | 1180942.9387 | 2782686.8765 | 1180955.5807
41 | 2782482.3554 | 1181149.7507 | 2782473.337 | 1181180.8287
42 | 2782482.3554 | 1181149.7507 | 2782504.737 | 1181152.7348 | 2782534.558 | 1181155.4007 | 2782547.2719 | 1181168.8674 | 2782570.0927 | 1181173.4889
43 | 2782945.0498 | 1180700.3391 | 2782940.5432 | 1180693.4352 | 2782931.7064 | 1180685.925 | 2782923.7081 | 1180690.5077 | 2782916.2215 | 1180698.1089 | 2782906.9234 | 1180700.0601
44 | 2782906.9234 | 1180700.0601 | 2782906.1813 | 1180700.2159 | 2782894.3403 | 1180701.9675 | 2782885.9611 | 1180698.998 | 2782885.9611 | 1180698.998
45 | 2782885.9611 | 1180698.998 | 2782883.0388 | 1180695.8973
46 | 2782831.56 | 1180810.8477 | 2782748.6317 | 1180765.1427
47 | 2782831.56 | 1180810.8477 | 2782818.6146 | 1180832.0453
48 | 2782790.4128 | 1180660.9812 | 2782778.9616 | 1180681.2741 | 2782748.6317 | 1180765.1427
49 | 2782769.4376 | 1180915.0218 | 2782778.8792 | 1180902.9534 | 2782780.6002 | 1180886.134 | 2782785.967 | 1180868.8252 | 2782796.819 | 1180849.871 | 2782816.9239 | 1180834.8137 | 2782818.6146 | 1180832.0453
50 | 2782883.0388 | 1180695.8973 | 2782880.1115 | 1180692.7913 | 2782878.3545 | 1180680.9818 | 2782878.9282 | 1180671.9572 | 2782884.568 | 1180665.5007 | 2782888.8679 | 1180663.3722
51 | 2782894.3723 | 1180651.3415 | 2782896.9348 | 1180656.547 | 2782893.1602 | 1180661.2475 | 2782888.8679 | 1180663.3722
52 | 2782790.4128 | 1180660.9812 | 2782806.6413 | 1180653.4797 | 2782828.4746 | 1180651.4433 | 2782850.9631 | 1180657.2457 | 2782865.0689 | 1180660.6903 | 2782875.6938 | 1180659.2129 | 2782886.1607 | 1180652.8926 | 2782894.3723 | 1180651.3415
53 | 2782769.4376 | 1180915.0218 | 2782737.6306 | 1180931.8268
54 | 2782533.3624 | 1181246.0633 | 2782517.1009 | 1181221.8448 | 2782507.9934 | 1181212.1916 | 2782492.1715 | 1181199.6312 | 2782479.3898 | 1181183.8714 | 2782473.337 | 1181180.8287
55 | 2782760.7173 | 1181153.9609 | 2782570.0927 | 1181173.4889
56 | 2782769.4376 | 1180915.0218 | 2782776.761 | 1180922.7748 | 2782778.5825 | 1180932.4731 | 2782776.7365 | 1180937.1456
57 | 2782776.7365 | 1180937.1456 | 2782773.9933 | 1180944.0889 | 2782767.6495 | 1180953.8383 | 2782761.8473 | 1180975.6494 | 2782746.1471 | 1181004.6991 | 2782724.5628 | 1181018.026
58 | 2782407.4215 | 1181396.5879 | 2782533.3624 | 1181246.0633
59 | 2782760.7173 | 1181153.9609 | 2782757.1724 | 1181339.1613
60 | 2782874.8632 | 1181195.9979 | 2782760.7173 | 1181153.9609
61 | 2782407.4215 | 1181396.5879 | 2782400.8523 | 1181400.4696 | 2782387.9067 | 1181397.8844 | 2782362.2696 | 1181384.1135 | 2782356.1354 | 1181381.2456
62 | 2782407.4215 | 1181396.5879 | 2782401.3523 | 1181409.3957
63 | 2782333.3597 | 1181399.5159 | 2782349.2796 | 1181382.984 | 2782355.5775 | 1181380.9847 | 2782356.1354 | 1181381.2456
64 | 2782401.3523 | 1181409.3957 | 2782397.8929 | 1181416.6961
65 | 2782874.8632 | 1181195.9979 | 2782880.5558 | 1181184.794 | 2782900.4839 | 1181156.4743 | 2782909.8059 | 1181142.4405
66 | 2782724.2788 | 1181018.2013 | 2782724.5628 | 1181018.026
67 | 2782397.8929 | 1181416.6961 | 2782394.3033 | 1181424.2712 | 2782388.957 | 1181431.8758

## bus_geodata
| x | y | coords
0 | 2782198.9777 | 1181716.2988
1 | 2782200.6594 | 1181722.3456
2 | 2782193.6222 | 1181671.9545
3 | 2782151.41 | 1181737.5466
4 | 2782218.9232 | 1181647.4996
5 | 2782123.1368 | 1181762.3859
6 | 2782224.6018 | 1181689.2126
7 | 2782231.2158 | 1181604.4537
8 | 2781987.782 | 1181728.5754
9 | 2782348.7734 | 1181602.7373
10 | 2782251.8721 | 1181552.053
11 | 2781912.7572 | 1181788.2056
12 | 2782305.0095 | 1181516.828
13 | 2782208.3213 | 1181824.145
14 | 2782187.9386 | 1181817.5676
15 | 2782247.2965 | 1181834.8214
16 | 2782140.0267 | 1181838.0647
17 | 2782371.527 | 1181736.8214
18 | 2782124.7516 | 1181848.7385
19 | 2782379.2521 | 1181719.5331
20 | 2782056.0308 | 1181892.1061
21 | 2782432.8051 | 1181694.8214
22 | 2782033.705 | 1181905.5814
23 | 2782536.7814 | 1181564.8874
24 | 2782306.2901 | 1181515.939
25 | 2782256.8352 | 1181488.4089
26 | 2782329.6247 | 1181498.0215
27 | 2782368.5633 | 1181460.8838
28 | 2782573.1601 | 1181525.1289
29 | 2783605.6685 | 1181309.1103
30 | 2783655.5918 | 1181303.8979
31 | 2783237.1026 | 1180949.9503
32 | 2783674.8684 | 1181294.576
33 | 2783068.7128 | 1180945.6782
34 | 2782938.9115 | 1181067.6266
35 | 2782933.1627 | 1181095.5897
36 | 2781517.445 | 1180091.211
37 | 2782626.0986 | 1180936.2753
38 | 2782686.8765 | 1180955.5807
39 | 2782482.3554 | 1181149.7507
40 | 2782945.0498 | 1180700.3391
41 | 2782906.9234 | 1180700.0601
42 | 2782885.9611 | 1180698.998
43 | 2782831.56 | 1180810.8477
44 | 2782748.6317 | 1180765.1427
45 | 2782818.6146 | 1180832.0453
46 | 2782883.0388 | 1180695.8973
47 | 2782888.8679 | 1180663.3722
48 | 2782894.3723 | 1180651.3415
49 | 2782790.4128 | 1180660.9812
50 | 2782737.6306 | 1180931.8268
51 | 2782473.337 | 1181180.8287
52 | 2782570.0927 | 1181173.4889
53 | 2782769.4376 | 1180915.0218
54 | 2782776.7365 | 1180937.1456
55 | 2782533.3624 | 1181246.0633
56 | 2782760.7173 | 1181153.9609
57 | 2782407.4215 | 1181396.5879
58 | 2782356.1354 | 1181381.2456
59 | 2782401.3523 | 1181409.3957
60 | 2782757.1724 | 1181339.1613
61 | 2782874.8632 | 1181195.9979
62 | 2782724.5628 | 1181018.026
63 | 2782724.2788 | 1181018.2013
64 | 2782909.8059 | 1181142.4405
65 | 2783122.1399 | 1181908.6939
66 | 2782397.8929 | 1181416.6961
67 | 2782388.957 | 1181431.8758
68 | 2782333.3597 | 1181399.5159
69 | 2782407.4215 | 1181396.5879

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1