## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3901-103_0_8_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3901-103_0_8_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3901-103_0_8_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3901-103_0_8_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3901-103_0_8_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3901-103_0_8_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3901-103_0_8_node_61 | 0.4 | n |  | TRUE
7 | bus_LV_3901-103_0_8_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_3901-103_0_8_node_62 | 0.4 | n |  | TRUE
9 | bus_LV_3901-103_0_8_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_3901-103_0_8_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_3901-103_0_8_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_3901-103_0_8_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_3901-103_0_8_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_3901-103_0_8_node_55 | 0.4 | n |  | TRUE
15 | bus_LV_3901-103_0_8_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_3901-103_0_8_node_56 | 0.4 | n |  | TRUE
17 | bus_LV_3901-103_0_8_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_3901-103_0_8_node_24 | 0.4 | n |  | TRUE
19 | bus_LV_3901-103_0_8_node_25 | 0.4 | n |  | TRUE
20 | bus_LV_3901-103_0_8_node_26 | 0.4 | n |  | TRUE
21 | bus_LV_3901-103_0_8_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_3901-103_0_8_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_3901-103_0_8_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_3901-103_0_8_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_3901-103_0_8_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_3901-103_0_8_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_3901-103_0_8_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_3901-103_0_8_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_3901-103_0_8_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_3901-103_0_8_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_3901-103_0_8_node_37 | 0.4 | n |  | TRUE
32 | bus_LV_3901-103_0_8_node_38 | 0.4 | n |  | TRUE
33 | bus_LV_3901-103_0_8_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_3901-103_0_8_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_3901-103_0_8_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_3901-103_0_8_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_3901-103_0_8_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_3901-103_0_8_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_3901-103_0_8_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_3901-103_0_8_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_3901-103_0_8_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_3901-103_0_8_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_3901-103_0_8_node_45 | 0.4 | n |  | TRUE
44 | bus_LV_3901-103_0_8_node_81 | 0.4 | n |  | TRUE
45 | bus_LV_3901-103_0_8_node_50 | 0.4 | n |  | TRUE
46 | bus_LV_3901-103_0_8_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_3901-103_0_8_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_3901-103_0_8_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_3901-103_0_8_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_3901-103_0_8_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_3901-103_0_8_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_3901-103_0_8_node_46 | 0.4 | n |  | TRUE
53 | bus_LV_3901-103_0_8_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_3901-103_0_8_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_3901-103_0_8_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_3901-103_0_8_node_54 | 0.4 | n |  | TRUE
57 | bus_LV_3901-103_0_8_node_53 | 0.4 | n |  | TRUE
58 | bus_LV_3901-103_0_8_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_3901-103_0_8_node_52 | 0.4 | n |  | TRUE
60 | bus_LV_3901-103_0_8_node_71 | 0.4 | n |  | TRUE
61 | bus_LV_3901-103_0_8_node_78 | 0.4 | n |  | TRUE
62 | bus_LV_3901-103_0_8_node_69 | 0.4 | n |  | TRUE
63 | bus_LV_3901-103_0_8_node_60 | 0.4 | n |  | TRUE
64 | bus_LV_3901-103_0_8_node_79 | 0.4 | n |  | TRUE
65 | bus_LV_3901-103_0_8_node_68 | 0.4 | n |  | TRUE
66 | bus_LV_3901-103_0_8_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_3901-103_0_8_node_58 | 0.4 | n |  | TRUE
68 | bus_LV_3901-103_0_8_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_3901-103_0_8_node_63 | 0.4 | n |  | TRUE
70 | bus_LV_3901-103_0_8_node_64 | 0.4 | n |  | TRUE
71 | bus_LV_3901-103_0_8_node_65 | 0.4 | n |  | TRUE
72 | bus_LV_3901-103_0_8_node_66 | 0.4 | n |  | TRUE
73 | bus_LV_3901-103_0_8_node_67 | 0.4 | n |  | TRUE
74 | bus_LV_3901-103_0_8_node_70 | 0.4 | n |  | TRUE
75 | bus_LV_3901-103_0_8_node_77 | 0.4 | n |  | TRUE
76 | bus_LV_3901-103_0_8_node_76 | 0.4 | n |  | TRUE
77 | bus_LV_3901-103_0_8_node_74 | 0.4 | n |  | TRUE
78 | bus_LV_3901-103_0_8_node_75 | 0.4 | n |  | TRUE
79 | bus_LV_3901-103_0_8_node_80 | 0.4 | n |  | TRUE
80 | bus_MV_151_1_node_11 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3901-103_0_8_load_0 | 0 | 0.028074 | 0.0070361 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3901-103_0_8_load_3 | 3 | 0.0067217 | 0.0016846 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3901-103_0_8_load_4 | 4 | 0.0061106 | 0.0015315 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3901-103_0_8_load_5 | 5 | 0.035437 | 0.0088812 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3901-103_0_8_load_61 | 6 | 0.013407 | 0.0033601 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3901-103_0_8_load_7 | 9 | 0.0059067 | 0.0014804 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3901-103_0_8_load_8 | 10 | 0.012474 | 0.0031264 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3901-103_0_8_load_9 | 11 | 0.0078118 | 0.0019578 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3901-103_0_8_load_10 | 12 | 0.008702 | 0.0021809 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3901-103_0_8_load_11 | 13 | 0.0038177 | 0.0009568 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3901-103_0_8_load_55 | 14 | 0.00607 | 0.0015213 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3901-103_0_8_load_12 | 15 | 0.012527 | 0.0031396 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3901-103_0_8_load_56 | 16 | 0.010456 | 0.0026206 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3901-103_0_8_load_24 | 18 | 0.011981 | 0.0030028 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3901-103_0_8_load_25 | 19 | 0.003984 | 0.00099849 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3901-103_0_8_load_26 | 20 | 0.0043733 | 0.001096 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3901-103_0_8_load_23 | 21 | 0.0042857 | 0.0010741 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3901-103_0_8_load_14 | 22 | 0.0061529 | 0.0015421 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3901-103_0_8_load_15 | 23 | 0.0041141 | 0.0010311 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3901-103_0_8_load_16 | 24 | 0.021307 | 0.0053399 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3901-103_0_8_load_17 | 25 | 0.0039767 | 0.00099664 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3901-103_0_8_load_18 | 26 | 0.0041383 | 0.0010372 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3901-103_0_8_load_21 | 27 | 0.0038276 | 0.00095928 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3901-103_0_8_load_19 | 28 | 0.003919 | 0.0009822 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3901-103_0_8_load_20 | 29 | 0.0039349 | 0.00098617 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3901-103_0_8_load_22 | 30 | 0.004257 | 0.0010669 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3901-103_0_8_load_37 | 31 | 0.0067375 | 0.0016886 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3901-103_0_8_load_38 | 32 | 0.0050986 | 0.0012778 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3901-103_0_8_load_27 | 33 | 0.0079464 | 0.0019916 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3901-103_0_8_load_28 | 34 | 0.009112 | 0.0022837 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3901-103_0_8_load_29 | 35 | 0.0059593 | 0.0014935 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3901-103_0_8_load_30 | 36 | 0.0088748 | 0.0022242 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3901-103_0_8_load_32 | 38 | 0.01316 | 0.0032982 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3901-103_0_8_load_34 | 39 | 0.060426 | 0.015144 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3901-103_0_8_load_35 | 41 | 0.023471 | 0.0058824 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3901-103_0_8_load_81 | 44 | 0.0098319 | 0.0024641 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3901-103_0_8_load_39 | 46 | 0.0068407 | 0.0017144 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3901-103_0_8_load_40 | 47 | 0.0068724 | 0.0017224 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3901-103_0_8_load_41 | 48 | 0.0073586 | 0.0018442 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3901-103_0_8_load_42 | 49 | 0.0017086 | 0.00042821 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3901-103_0_8_load_43 | 50 | 0.0033683 | 0.00084419 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3901-103_0_8_load_44 | 51 | 0.0017523 | 0.00043917 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3901-103_0_8_load_47 | 53 | 0.0012991 | 0.00032559 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3901-103_0_8_load_48 | 54 | 0.0030636 | 0.00076781 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3901-103_0_8_load_49 | 55 | 0.003212 | 0.000805 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3901-103_0_8_load_54 | 56 | 0.0017986 | 0.00045076 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3901-103_0_8_load_71 | 60 | 0.0067214 | 0.0016845 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3901-103_0_8_load_78 | 61 | 0.0030094 | 0.00075423 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3901-103_0_8_load_69 | 62 | 0.0042403 | 0.0010627 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3901-103_0_8_load_60 | 63 | 0.0054614 | 0.0013688 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3901-103_0_8_load_79 | 64 | 0.0032587 | 0.0008167 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3901-103_0_8_load_57 | 66 | 0.0057341 | 0.0014371 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3901-103_0_8_load_58 | 67 | 0.0065895 | 0.0016515 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3901-103_0_8_load_59 | 68 | 0.010894 | 0.0027302 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3901-103_0_8_load_63 | 69 | 0.014254 | 0.0035725 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3901-103_0_8_load_65 | 71 | 0.040746 | 0.010212 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3901-103_0_8_load_67 | 73 | 0.049765 | 0.012472 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3901-103_0_8_load_70 | 74 | 0.0033443 | 0.00083817 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3901-103_0_8_load_77 | 75 | 0.0043535 | 0.0010911 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3901-103_0_8_load_76 | 76 | 0.004979 | 0.0012479 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3901-103_0_8_load_74 | 77 | 0.0054173 | 0.0013577 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3901-103_0_8_load_75 | 78 | 0.0059896 | 0.0015011 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3901-103_0_8_load_80 | 79 | 0.0032337 | 0.00081044 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3901-103_0_8_line_0 |  | 0 | 1 | 0.035247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3901-103_0_8_line_1 |  | 1 | 2 | 0.041437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3901-103_0_8_line_2 |  | 2 | 3 | 0.035422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_3901-103_0_8_line_3 |  | 2 | 4 | 0.030768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_3901-103_0_8_line_4 |  | 3 | 5 | 0.014891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_3901-103_0_8_line_5 |  | 4 | 6 | 0.028319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_3901-103_0_8_line_6 |  | 5 | 7 | 0.030333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_3901-103_0_8_line_7 |  | 6 | 8 | 0.045235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_3901-103_0_8_line_8 |  | 7 | 9 | 0.013068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_3901-103_0_8_line_9 |  | 7 | 10 | 0.029807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3901-103_0_8_line_10 |  | 8 | 69 | 0.013572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3901-103_0_8_line_11 |  | 8 | 70 | 0.045446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_3901-103_0_8_line_12 |  | 9 | 11 | 0.005996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_3901-103_0_8_line_13 |  | 10 | 12 | 0.006653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3901-103_0_8_line_14 |  | 11 | 13 | 0.016195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_3901-103_0_8_line_15 |  | 12 | 14 | 0.023997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3901-103_0_8_line_16 |  | 13 | 15 | 0.013767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_3901-103_0_8_line_17 |  | 14 | 16 | 0.019237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3901-103_0_8_line_18 |  | 15 | 17 | 0.017778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_3901-103_0_8_line_19 |  | 16 | 66 | 0.0044862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3901-103_0_8_line_20 |  | 17 | 18 | 0.014506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_3901-103_0_8_line_21 |  | 17 | 19 | 0.016468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3901-103_0_8_line_22 |  | 18 | 20 | 0.024002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_3901-103_0_8_line_23 |  | 19 | 21 | 0.0010475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3901-103_0_8_line_24 |  | 20 | 31 | 0.0034969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_3901-103_0_8_line_25 |  | 21 | 30 | 0.00092385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3901-103_0_8_line_26 |  | 22 | 23 | 0.0021623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3901-103_0_8_line_27 |  | 22 | 24 | 0.0013598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3901-103_0_8_line_28 |  | 23 | 25 | 0.003129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3901-103_0_8_line_29 |  | 25 | 26 | 0.0029062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3901-103_0_8_line_30 |  | 26 | 27 | 0.0050761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3901-103_0_8_line_31 |  | 27 | 28 | 0.0045166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3901-103_0_8_line_32 |  | 28 | 29 | 0.013113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3901-103_0_8_line_33 |  | 29 | 30 | 0.00019623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3901-103_0_8_line_34 |  | 31 | 32 | 0.017962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_3901-103_0_8_line_35 |  | 32 | 46 | 0.0059901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_3901-103_0_8_line_36 |  | 33 | 34 | 0.0015259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3901-103_0_8_line_37 |  | 33 | 35 | 0.023489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3901-103_0_8_line_38 |  | 34 | 36 | 0.0016313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3901-103_0_8_line_39 |  | 35 | 37 | 0.020228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3901-103_0_8_line_40 |  | 37 | 38 | 0.011871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3901-103_0_8_line_41 |  | 38 | 39 | 0.0072315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3901-103_0_8_line_42 |  | 39 | 40 | 0.022002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3901-103_0_8_line_43 |  | 40 | 41 | 0.032334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3901-103_0_8_line_44 |  | 41 | 42 | 0.091371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3901-103_0_8_line_45 |  | 42 | 43 | 0.070901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_3901-103_0_8_line_46 |  | 43 | 44 | 0.09476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3901-103_0_8_line_47 |  | 43 | 45 | 0.093056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_3901-103_0_8_line_48 |  | 45 | 55 | 0.055267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_3901-103_0_8_line_49 |  | 46 | 47 | 0.014649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_3901-103_0_8_line_50 |  | 47 | 48 | 0.0081718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_3901-103_0_8_line_51 |  | 48 | 49 | 0.018804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_3901-103_0_8_line_52 |  | 49 | 50 | 0.0078876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_3901-103_0_8_line_53 |  | 50 | 51 | 0.0025932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_3901-103_0_8_line_54 |  | 51 | 52 | 0.013858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_3901-103_0_8_line_55 |  | 52 | 53 | 0.010307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3901-103_0_8_line_56 |  | 52 | 54 | 0.028362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_3901-103_0_8_line_57 |  | 53 | 56 | 0.010873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3901-103_0_8_line_58 |  | 54 | 55 | 0.010784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_3901-103_0_8_line_59 |  | 56 | 57 | 0.011046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3901-103_0_8_line_60 |  | 57 | 63 | 0.014786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3901-103_0_8_line_61 |  | 58 | 59 | 0.031177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3901-103_0_8_line_62 |  | 58 | 60 | 0.016682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3901-103_0_8_line_63 |  | 59 | 61 | 0.012191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3901-103_0_8_line_64 |  | 59 | 62 | 0.02999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3901-103_0_8_line_65 |  | 61 | 64 | 0.01376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3901-103_0_8_line_66 |  | 62 | 65 | 0.011531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3901-103_0_8_line_67 |  | 64 | 79 | 0.014732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3901-103_0_8_line_68 |  | 65 | 74 | 0.013687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3901-103_0_8_line_69 |  | 65 | 72 | 0.024735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3901-103_0_8_line_70 |  | 66 | 67 | 0.031151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3901-103_0_8_line_71 |  | 67 | 68 | 0.0011446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3901-103_0_8_line_72 |  | 70 | 71 | 0.040148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
73 | LV_3901-103_0_8_line_73 |  | 71 | 72 | 0.0015411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3901-103_0_8_line_74 |  | 72 | 73 | 0.027058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3901-103_0_8_line_75 |  | 74 | 75 | 0.0077628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3901-103_0_8_line_76 |  | 75 | 76 | 0.0052141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3901-103_0_8_line_77 |  | 76 | 78 | 0.0085248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3901-103_0_8_line_78 |  | 77 | 78 | 0.0055595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3901-103_0_8_trafo_38 | 0.63 MVA 20/0.4 kV | 80 | 32 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2759805.0795 | 1193526.3721 | 2759815.1597 | 1193560.1467
1 | 2759805.0795 | 1193526.3721 | 2759793.2219 | 1193486.6649
2 | 2759793.2219 | 1193486.6649 | 2759820.323 | 1193478.5038 | 2759827.2261 | 1193480.2428
3 | 2759793.2219 | 1193486.6649 | 2759784.8586 | 1193457.055
4 | 2759841.6656 | 1193483.8804 | 2759827.2261 | 1193480.2428
5 | 2759784.8586 | 1193457.055 | 2759782.5275 | 1193448.8016 | 2759778.5775 | 1193429.4577
6 | 2759870.6247 | 1193492.8268 | 2759852.1772 | 1193486.5284 | 2759841.6656 | 1193483.8804
7 | 2759776.9289 | 1193384.3398 | 2759776.8992 | 1193415.7 | 2759777.8878 | 1193426.0799 | 2759778.5775 | 1193429.4577
8 | 2759870.6247 | 1193492.8268 | 2759883.4739 | 1193495.2093
9 | 2759870.6247 | 1193492.8268 | 2759873.0809 | 1193463.1208
10 | 2759776.9289 | 1193384.3398 | 2759790.4776 | 1193383.0449
11 | 2759768.3078 | 1193340.2264 | 2759774.6897 | 1193355.9773 | 2759776.9289 | 1193384.3398
12 | 2759889.3694 | 1193496.3025 | 2759883.4739 | 1193495.2093
13 | 2759873.0809 | 1193463.1208 | 2759873.6291 | 1193456.4904
14 | 2759889.3694 | 1193496.3025 | 2759905.2925 | 1193499.2549
15 | 2759872.5806 | 1193432.5578 | 2759873.1945 | 1193436.6571 | 2759873.8147 | 1193454.2448 | 2759873.6291 | 1193456.4904
16 | 2759919.0099 | 1193499.6017 | 2759908.1205 | 1193499.7793 | 2759905.2925 | 1193499.2549
17 | 2759872.5806 | 1193432.5578 | 2759869.7314 | 1193413.5325
18 | 2759936.7852 | 1193499.3117 | 2759919.0099 | 1193499.6017
19 | 2759869.067 | 1193409.0958 | 2759869.7314 | 1193413.5325
20 | 2759936.7852 | 1193499.3117 | 2759937.0428 | 1193484.8079
21 | 2759936.7852 | 1193499.3117 | 2759936.5351 | 1193515.7782
22 | 2759937.0428 | 1193484.8079 | 2759937.4689 | 1193460.8095
23 | 2759936.5351 | 1193515.7782 | 2759936.5191 | 1193516.8256
24 | 2759937.531 | 1193457.3131 | 2759937.4689 | 1193460.8095
25 | 2759936.5051 | 1193517.7493 | 2759936.5191 | 1193516.8256
26 | 2759939.58 | 1193546.4499 | 2759939.8981 | 1193548.5887
27 | 2759940.0982 | 1193549.9337 | 2759939.8981 | 1193548.5887
28 | 2759939.1196 | 1193543.355 | 2759939.58 | 1193546.4499
29 | 2759938.692 | 1193540.4804 | 2759939.1196 | 1193543.355
30 | 2759938.692 | 1193540.4804 | 2759937.9451 | 1193535.4595
31 | 2759937.2806 | 1193530.9921 | 2759937.9451 | 1193535.4595
32 | 2759937.2806 | 1193530.9921 | 2759936.3944 | 1193525.035 | 2759936.5021 | 1193517.9456
33 | 2759936.5021 | 1193517.9456 | 2759936.5051 | 1193517.7493
34 | 2759937.531 | 1193457.3131 | 2759937.7941 | 1193442.4997 | 2759937.4422 | 1193439.3727
35 | 2759936.7723 | 1193433.4202 | 2759937.4422 | 1193439.3727
36 | 2760074.4694 | 1193549.4233 | 2760074.5033 | 1193550.9488
37 | 2760074.4694 | 1193549.4233 | 2760073.9479 | 1193525.9402
38 | 2760074.5033 | 1193550.9488 | 2760074.5395 | 1193552.5797
39 | 2760073.4989 | 1193505.7176 | 2760073.9479 | 1193525.9402
40 | 2760073.4989 | 1193505.7176 | 2760071.357 | 1193507.384 | 2760069.1909 | 1193508.249 | 2760065.7268 | 1193507.7448 | 2760062.9382 | 1193505.9353
41 | 2760062.9382 | 1193505.9353 | 2760061.6534 | 1193502.3644 | 2760061.6463 | 1193498.9279
42 | 2760074.8716 | 1193481.5108 | 2760063.6204 | 1193494.6992 | 2760061.6463 | 1193498.9279 | 2760061.6463 | 1193498.9279
43 | 2760074.8716 | 1193481.5108 | 2760074.5678 | 1193449.1778
44 | 2760073.5925 | 1193357.812 | 2760073.8751 | 1193375.4573 | 2760074.5678 | 1193449.1778
45 | 2760025.6362 | 1193310.5432 | 2760073.184 | 1193346.5801 | 2760073.5032 | 1193354.0285 | 2760073.5925 | 1193357.812
46 | 2759998.619 | 1193397.0303 | 2760010.9081 | 1193383.2467 | 2760010.2762 | 1193351.2906 | 2760012.7479 | 1193333.0295 | 2760019.5406 | 1193320.5891 | 2760025.6362 | 1193310.5432
47 | 2759940.6917 | 1193280.8794 | 2759961.9291 | 1193282.6931 | 2759976.4971 | 1193284.929 | 2760004.4951 | 1193292.0282 | 2760018.6472 | 1193303.8171 | 2760025.6362 | 1193310.5432
48 | 2759940.6917 | 1193280.8794 | 2759940.6408 | 1193332.1009 | 2759940.2547 | 1193336.1283
49 | 2759936.7723 | 1193433.4202 | 2759935.1342 | 1193418.8635
50 | 2759934.2203 | 1193410.7429 | 2759935.1342 | 1193418.8635
51 | 2759934.2203 | 1193410.7429 | 2759934.2203 | 1193410.7429 | 2759929.4985 | 1193392.5418
52 | 2759927.5178 | 1193384.9069 | 2759929.4985 | 1193392.5418
53 | 2759927.5178 | 1193384.9069 | 2759926.8666 | 1193382.3968
54 | 2759923.3868 | 1193368.9833 | 2759926.8666 | 1193382.3968
55 | 2759923.3868 | 1193368.9833 | 2759918.433 | 1193359.9445
56 | 2759923.3868 | 1193368.9833 | 2759933.0614 | 1193362.2693 | 2759939.1714 | 1193346.8496
57 | 2759913.2072 | 1193350.4093 | 2759918.433 | 1193359.9445
58 | 2759939.1714 | 1193346.8496 | 2759939.2445 | 1193346.6652 | 2759940.2547 | 1193336.1283
59 | 2759907.8982 | 1193340.7222 | 2759913.2072 | 1193350.4093
60 | 2759907.8982 | 1193340.7222 | 2759894.122 | 1193346.0916
61 | 2759868.7601 | 1193285.0608 | 2759876.0881 | 1193294.7985 | 2759879.5352 | 1193299.0833 | 2759866.1573 | 1193300.8274
62 | 2759868.7601 | 1193285.0608 | 2759852.3884 | 1193281.8562
63 | 2759866.1573 | 1193300.8274 | 2759867.6819 | 1193312.9222
64 | 2759866.1573 | 1193300.8274 | 2759837.6699 | 1193310.2026
65 | 2759869.4029 | 1193326.5743 | 2759867.6819 | 1193312.9222
66 | 2759826.7164 | 1193313.8074 | 2759837.6699 | 1193310.2026
67 | 2759871.2454 | 1193341.1907 | 2759869.4029 | 1193326.5743
68 | 2759826.7164 | 1193313.8074 | 2759827.8592 | 1193327.447
69 | 2759826.7164 | 1193313.8074 | 2759802.8971 | 1193320.7107
70 | 2759869.067 | 1193409.0958 | 2759868.9172 | 1193408.0955 | 2759862.2588 | 1193386.1539 | 2759861.1209 | 1193379.034
71 | 2759861.1209 | 1193379.034 | 2759860.9403 | 1193377.9038
72 | 2759768.3078 | 1193340.2264 | 2759778.5589 | 1193327.3443 | 2759801.4103 | 1193321.1159
73 | 2759802.8971 | 1193320.7107 | 2759801.4103 | 1193321.1159
74 | 2759802.8971 | 1193320.7107 | 2759806.2242 | 1193347.5638
75 | 2759827.8592 | 1193327.447 | 2759828.5073 | 1193335.1827
76 | 2759828.9427 | 1193340.3785 | 2759828.5073 | 1193335.1827
77 | 2759828.9427 | 1193340.3785 | 2759829.6545 | 1193348.8736
78 | 2759830.1186 | 1193354.4137 | 2759829.6545 | 1193348.8736

## bus_geodata
| x | y | coords
0 | 2759815.1597 | 1193560.1467
1 | 2759805.0796 | 1193526.3721
2 | 2759793.2219 | 1193486.6649
3 | 2759827.2261 | 1193480.2428
4 | 2759784.8586 | 1193457.055
5 | 2759841.6656 | 1193483.8804
6 | 2759778.5775 | 1193429.4577
7 | 2759870.6247 | 1193492.8268
8 | 2759776.9289 | 1193384.3398
9 | 2759883.4739 | 1193495.2093
10 | 2759873.0809 | 1193463.1208
11 | 2759889.3694 | 1193496.3025
12 | 2759873.6291 | 1193456.4904
13 | 2759905.2925 | 1193499.2549
14 | 2759872.5806 | 1193432.5578
15 | 2759919.0099 | 1193499.6017
16 | 2759869.7314 | 1193413.5325
17 | 2759936.7852 | 1193499.3117
18 | 2759937.0428 | 1193484.8079
19 | 2759936.5351 | 1193515.7783
20 | 2759937.4689 | 1193460.8095
21 | 2759936.5191 | 1193516.8256
22 | 2759939.8981 | 1193548.5887
23 | 2759939.58 | 1193546.4499
24 | 2759940.0982 | 1193549.9337
25 | 2759939.1196 | 1193543.355
26 | 2759938.692 | 1193540.4804
27 | 2759937.9451 | 1193535.4595
28 | 2759937.2806 | 1193530.9921
29 | 2759936.5021 | 1193517.9456
30 | 2759936.5051 | 1193517.7493
31 | 2759937.531 | 1193457.3131
32 | 2759937.4422 | 1193439.3727
33 | 2760074.4694 | 1193549.4233
34 | 2760074.5033 | 1193550.9488
35 | 2760073.9479 | 1193525.9402
36 | 2760074.5395 | 1193552.5797
37 | 2760073.4989 | 1193505.7176
38 | 2760062.9382 | 1193505.9353
39 | 2760061.6463 | 1193498.9279
40 | 2760074.8716 | 1193481.5108
41 | 2760074.5678 | 1193449.1778
42 | 2760073.5925 | 1193357.812
43 | 2760025.6362 | 1193310.5432
44 | 2759998.619 | 1193397.0302
45 | 2759940.6917 | 1193280.8794
46 | 2759936.7723 | 1193433.4202
47 | 2759935.1342 | 1193418.8635
48 | 2759934.2203 | 1193410.7429
49 | 2759929.4985 | 1193392.5418
50 | 2759927.5178 | 1193384.9069
51 | 2759926.8666 | 1193382.3968
52 | 2759923.3868 | 1193368.9833
53 | 2759918.433 | 1193359.9445
54 | 2759939.1714 | 1193346.8496
55 | 2759940.2547 | 1193336.1283
56 | 2759913.2072 | 1193350.4093
57 | 2759907.8982 | 1193340.7222
58 | 2759868.7601 | 1193285.0608
59 | 2759866.1573 | 1193300.8274
60 | 2759852.3884 | 1193281.8562
61 | 2759867.6819 | 1193312.9222
62 | 2759837.6699 | 1193310.2026
63 | 2759894.122 | 1193346.0916
64 | 2759869.4029 | 1193326.5743
65 | 2759826.7164 | 1193313.8074
66 | 2759869.067 | 1193409.0959
67 | 2759861.1209 | 1193379.034
68 | 2759860.9403 | 1193377.9038
69 | 2759790.4776 | 1193383.0449
70 | 2759768.3078 | 1193340.2264
71 | 2759801.4103 | 1193321.1159
72 | 2759802.8971 | 1193320.7107
73 | 2759806.2242 | 1193347.5638
74 | 2759827.8592 | 1193327.447
75 | 2759828.5073 | 1193335.1827
76 | 2759828.9427 | 1193340.3785
77 | 2759830.1186 | 1193354.4137
78 | 2759829.6545 | 1193348.8736
79 | 2759871.2454 | 1193341.1907
80 | 2759936.7852 | 1193499.3117

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1