## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3901-10_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3901-10_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3901-10_0_6_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_3901-10_0_6_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_3901-10_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3901-10_0_6_node_41 | 0.4 | n |  | TRUE
6 | bus_LV_3901-10_0_6_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_3901-10_0_6_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_3901-10_0_6_node_26 | 0.4 | n |  | TRUE
9 | bus_LV_3901-10_0_6_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_3901-10_0_6_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_3901-10_0_6_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_3901-10_0_6_node_20 | 0.4 | n |  | TRUE
13 | bus_LV_3901-10_0_6_node_18 | 0.4 | n |  | TRUE
14 | bus_LV_3901-10_0_6_node_17 | 0.4 | n |  | TRUE
15 | bus_LV_3901-10_0_6_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_3901-10_0_6_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_3901-10_0_6_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_3901-10_0_6_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_3901-10_0_6_node_25 | 0.4 | n |  | TRUE
20 | bus_LV_3901-10_0_6_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_3901-10_0_6_node_27 | 0.4 | n |  | TRUE
22 | bus_LV_3901-10_0_6_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_3901-10_0_6_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_3901-10_0_6_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_3901-10_0_6_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_3901-10_0_6_node_35 | 0.4 | n |  | TRUE
27 | bus_LV_3901-10_0_6_node_36 | 0.4 | n |  | TRUE
28 | bus_LV_3901-10_0_6_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_3901-10_0_6_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_3901-10_0_6_node_34 | 0.4 | n |  | TRUE
31 | bus_LV_3901-10_0_6_node_31 | 0.4 | n |  | TRUE
32 | bus_LV_3901-10_0_6_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_3901-10_0_6_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_3901-10_0_6_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_3901-10_0_6_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_3901-10_0_6_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_3901-10_0_6_node_49 | 0.4 | n |  | TRUE
38 | bus_LV_3901-10_0_6_node_40 | 0.4 | n |  | TRUE
39 | bus_LV_3901-10_0_6_node_46 | 0.4 | n |  | TRUE
40 | bus_LV_3901-10_0_6_node_50 | 0.4 | n |  | TRUE
41 | bus_LV_3901-10_0_6_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_3901-10_0_6_node_47 | 0.4 | n |  | TRUE
43 | bus_LV_3901-10_0_6_node_44 | 0.4 | n |  | TRUE
44 | bus_LV_3901-10_0_6_node_48 | 0.4 | n |  | TRUE
45 | bus_LV_3901-10_0_6_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_3901-10_0_6_node_45 | 0.4 | n |  | TRUE
47 | bus_MV_57_0_node_68 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3901-10_0_6_load_0 | 0 | 0.0078735 | 0.0019733 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3901-10_0_6_load_41 | 5 | 0.01597 | 0.0040023 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3901-10_0_6_load_6 | 6 | 0.013591 | 0.0034061 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3901-10_0_6_load_26 | 8 | 0.0018053 | 0.00045245 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3901-10_0_6_load_11 | 10 | 0.0053933 | 0.0013517 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3901-10_0_6_load_20 | 12 | 0.019169 | 0.0048043 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3901-10_0_6_load_18 | 13 | 0.031089 | 0.0077918 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3901-10_0_6_load_17 | 14 | 0.037796 | 0.0094725 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3901-10_0_6_load_13 | 15 | 0.0018408 | 0.00046136 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3901-10_0_6_load_8 | 17 | 0.094334 | 0.023642 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3901-10_0_6_load_25 | 19 | 0.0057805 | 0.0014487 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3901-10_0_6_load_21 | 20 | 0.0029855 | 0.00074824 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3901-10_0_6_load_27 | 21 | 0.015774 | 0.0039533 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3901-10_0_6_load_12 | 23 | 0.0019695 | 0.00049361 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3901-10_0_6_load_14 | 24 | 0.020403 | 0.0051135 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3901-10_0_6_load_16 | 25 | 0.0057307 | 0.0014362 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3901-10_0_6_load_23 | 28 | 0.00064763 | 0.00016231 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3901-10_0_6_load_31 | 31 | 0.0099986 | 0.0025059 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3901-10_0_6_load_28 | 32 | 0.0078204 | 0.00196 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3901-10_0_6_load_33 | 33 | 0.0033638 | 0.00084306 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3901-10_0_6_load_32 | 34 | 0.036332 | 0.0091057 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3901-10_0_6_load_29 | 35 | 0.0052811 | 0.0013236 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3901-10_0_6_load_49 | 37 | 0.0095307 | 0.0023886 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3901-10_0_6_load_50 | 40 | 0.0083705 | 0.0020978 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3901-10_0_6_load_37 | 41 | 0.065901 | 0.016516 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3901-10_0_6_load_47 | 42 | 0.014918 | 0.0037389 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3901-10_0_6_load_44 | 43 | 0.046423 | 0.011635 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3901-10_0_6_load_48 | 44 | 0.010816 | 0.0027107 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3901-10_0_6_load_43 | 45 | 0.012877 | 0.0032272 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3901-10_0_6_line_0 |  | 0 | 1 | 0.050701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3901-10_0_6_line_1 |  | 1 | 2 | 0.03221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3901-10_0_6_line_2 |  | 2 | 6 | 0.053326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3901-10_0_6_line_3 |  | 2 | 3 | 0.049484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3901-10_0_6_line_4 |  | 3 | 4 | 0.095004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3901-10_0_6_line_5 |  | 3 | 5 | 0.053642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3901-10_0_6_line_6 |  | 4 | 7 | 0.04036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_3901-10_0_6_line_7 |  | 4 | 8 | 0.0088945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_3901-10_0_6_line_8 |  | 7 | 14 | 0.018466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3901-10_0_6_line_9 |  | 7 | 15 | 0.01036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_3901-10_0_6_line_10 |  | 8 | 9 | 0.00715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_3901-10_0_6_line_11 |  | 9 | 10 | 0.04091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_3901-10_0_6_line_12 |  | 10 | 16 | 0.060021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_3901-10_0_6_line_13 |  | 11 | 12 | 0.014843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3901-10_0_6_line_14 |  | 11 | 13 | 0.019701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3901-10_0_6_line_15 |  | 12 | 14 | 0.024838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3901-10_0_6_line_16 |  | 15 | 23 | 0.018591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_3901-10_0_6_line_17 |  | 16 | 18 | 0.049069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_3901-10_0_6_line_18 |  | 16 | 17 | 0.085173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3901-10_0_6_line_19 |  | 18 | 19 | 0.11804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3901-10_0_6_line_20 |  | 18 | 20 | 0.03668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_3901-10_0_6_line_21 |  | 19 | 21 | 0.011269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3901-10_0_6_line_22 |  | 20 | 22 | 0.02502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_3901-10_0_6_line_23 |  | 22 | 28 | 0.028323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3901-10_0_6_line_24 |  | 22 | 29 | 0.10664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3901-10_0_6_line_25 |  | 23 | 24 | 0.0091702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_3901-10_0_6_line_26 |  | 24 | 25 | 0.019915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_3901-10_0_6_line_27 |  | 25 | 26 | 0.11566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_3901-10_0_6_line_28 |  | 26 | 27 | 0.005485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_3901-10_0_6_line_29 |  | 27 | 36 | 0.011153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3901-10_0_6_line_30 |  | 27 | 37 | 0.023708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3901-10_0_6_line_31 |  | 28 | 30 | 0.066238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3901-10_0_6_line_32 |  | 29 | 31 | 0.029858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3901-10_0_6_line_33 |  | 29 | 32 | 0.050869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3901-10_0_6_line_34 |  | 30 | 33 | 0.028002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3901-10_0_6_line_35 |  | 31 | 34 | 0.023489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3901-10_0_6_line_36 |  | 32 | 35 | 0.00202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3901-10_0_6_line_37 |  | 36 | 41 | 0.027893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3901-10_0_6_line_38 |  | 37 | 42 | 0.0024939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3901-10_0_6_line_39 |  | 38 | 39 | 0.041412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3901-10_0_6_line_40 |  | 38 | 40 | 0.020523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3901-10_0_6_line_41 |  | 39 | 43 | 0.037343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3901-10_0_6_line_42 |  | 40 | 44 | 0.028825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3901-10_0_6_line_43 |  | 42 | 46 | 0.0095811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3901-10_0_6_line_44 |  | 44 | 46 | 0.037699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3901-10_0_6_line_45 |  | 45 | 46 | 0.017873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3901-10_0_6_trafo_16 | 0.63 MVA 20/0.4 kV | 47 | 25 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2757727.1131 | 1190717.3175 | 2757726.3907 | 1190724.1711 | 2757726.574 | 1190726.1888 | 2757730.8485 | 1190767.7533
1 | 2757727.1131 | 1190717.3175 | 2757738.5055 | 1190721.3212 | 2757744.3274 | 1190723.3319 | 2757741.366 | 1190732.9177 | 2757741.0259 | 1190736.8455
2 | 2757741.0259 | 1190736.8455 | 2757741.1418 | 1190741.4192 | 2757746.2221 | 1190789.9045
3 | 2757741.0259 | 1190736.8455 | 2757741.366 | 1190732.9177 | 2757744.3274 | 1190723.3319 | 2757767.192 | 1190731.2079 | 2757766.2842 | 1190719.9187
4 | 2757766.2842 | 1190719.9187 | 2757767.192 | 1190731.2079 | 2757800.7154 | 1190743.9915 | 2757808.0955 | 1190746.7996 | 2757830.9716 | 1190755.677 | 2757830.223 | 1190757.7369 | 2757829.9974 | 1190759.9217 | 2757830.3142 | 1190762.0875 | 2757831.1534 | 1190764.1114 | 2757832.4648 | 1190765.8808 | 2757834.1677 | 1190767.2714 | 2757836.1573 | 1190768.2024
5 | 2757766.2842 | 1190719.9187 | 2757762.6603 | 1190666.399
6 | 2757847.9996 | 1190806.0364 | 2757845.3461 | 1190802.7969 | 2757843.0805 | 1190798.1554 | 2757839.4012 | 1190787.5269 | 2757837.4068 | 1190781.28 | 2757836.4368 | 1190776.9841 | 2757836.0611 | 1190773.8715 | 2757836.1573 | 1190768.2024
7 | 2757836.1573 | 1190768.2024 | 2757838.1227 | 1190768.6101 | 2757840.1302 | 1190768.5742 | 2757842.0812 | 1190768.0807 | 2757843.8676 | 1190767.1715 | 2757844.5312 | 1190766.6204
8 | 2757847.9996 | 1190806.0364 | 2757839.9486 | 1190821.1372 | 2757839.1652 | 1190822.2408
9 | 2757847.9996 | 1190806.0364 | 2757851.9323 | 1190808.5089 | 2757857.3053 | 1190810.4557
10 | 2757847.8581 | 1190760.5154 | 2757847.4555 | 1190762.4731 | 2757846.6291 | 1190764.2974 | 2757845.4122 | 1190765.8889 | 2757844.5312 | 1190766.6204
11 | 2757847.8581 | 1190760.5154 | 2757865.7376 | 1190760.9761 | 2757870.6494 | 1190761.0391 | 2757876.2428 | 1190760.4305 | 2757881.6981 | 1190759.2734 | 2757887.9847 | 1190756.4068
12 | 2757939.2751 | 1190725.3405 | 2757908.8886 | 1190745.1783 | 2757889.5597 | 1190755.6887 | 2757887.9847 | 1190756.4068
13 | 2757813.5999 | 1190852.503 | 2757821.4901 | 1190844.3595 | 2757823.8199 | 1190841.7418
14 | 2757813.5999 | 1190852.503 | 2757798.9923 | 1190865.7217
15 | 2757839.1652 | 1190822.2408 | 2757834.0054 | 1190829.51 | 2757828.3464 | 1190836.6558 | 2757823.8199 | 1190841.7418
16 | 2757874.7839 | 1190816.7888 | 2757857.3053 | 1190810.4557
17 | 2757939.2751 | 1190725.3405 | 2757982.5352 | 1190701.9617
18 | 2757939.2751 | 1190725.3405 | 2757949.0827 | 1190726.9451 | 2757965.8106 | 1190718.4347 | 2758009.4613 | 1190754.255
19 | 2757982.5352 | 1190701.9617 | 2757985.2515 | 1190706.871 | 2757990.2543 | 1190717.0674 | 2757994.8933 | 1190721.6828 | 2758045.316 | 1190762.1934 | 2758066.1492 | 1190783.5739
20 | 2757982.5352 | 1190701.9617 | 2757994.6847 | 1190695.2098 | 2758014.7673 | 1190684.4572
21 | 2758074.3819 | 1190791.186 | 2758072.3325 | 1190789.9197 | 2758066.1492 | 1190783.5739
22 | 2758036.825 | 1190672.647 | 2758014.7673 | 1190684.4572
23 | 2758036.825 | 1190672.647 | 2758033.2208 | 1190668.1369 | 2758019.1498 | 1190650.516
24 | 2758036.825 | 1190672.647 | 2758083.9663 | 1190647.3698 | 2758087.0423 | 1190651.9439 | 2758116.3864 | 1190689.4737
25 | 2757883.4056 | 1190819.9127 | 2757874.7839 | 1190816.7888
26 | 2757902.1296 | 1190826.6971 | 2757883.4056 | 1190819.9127
27 | 2758003.8799 | 1190879.1344 | 2757994.8426 | 1190875.5261 | 2757982.1187 | 1190871.9761 | 2757973.1395 | 1190869.0588 | 2757965.2262 | 1190865.3579 | 2757959.0322 | 1190861.8469 | 2757927.1914 | 1190837.6747 | 2757922.4169 | 1190834.724 | 2757915.2929 | 1190831.4666 | 2757902.1296 | 1190826.6971
28 | 2758003.8799 | 1190879.1344 | 2758008.805 | 1190881.5776
29 | 2758008.805 | 1190881.5776 | 2758015.6976 | 1190872.7964
30 | 2758008.805 | 1190881.5776 | 2758002.5596 | 1190892.1442 | 2757995.142 | 1190900.8457
31 | 2757959.2376 | 1190630.1735 | 2757967.3246 | 1190628.1741 | 2758000.4111 | 1190636.7102 | 2758013.7527 | 1190643.7574 | 2758019.1498 | 1190650.516
32 | 2758116.3864 | 1190689.4737 | 2758093.7598 | 1190708.9548
33 | 2758116.3864 | 1190689.4737 | 2758136.5958 | 1190715.8082 | 2758149.167 | 1190726.8721 | 2758149.9033 | 1190727.4358
34 | 2757959.2376 | 1190630.1735 | 2757950.5821 | 1190637.8073 | 2757939.864 | 1190650.3012
35 | 2758075.9594 | 1190724.2807 | 2758093.7598 | 1190708.9548
36 | 2758149.9033 | 1190727.4358 | 2758151.5071 | 1190728.6638
37 | 2758015.6976 | 1190872.7964 | 2758018.5162 | 1190873.249 | 2758021.5222 | 1190874.4071 | 2758039.052 | 1190887.3955
38 | 2757993.5241 | 1190902.7436 | 2757995.142 | 1190900.8457
39 | 2758025.6094 | 1190990.5714 | 2758055.8322 | 1190962.178
40 | 2758055.8322 | 1190962.178 | 2758040.6953 | 1190948.3195
41 | 2758025.6094 | 1190990.5714 | 2758017.7601 | 1190983.5915 | 2758010.8479 | 1190976.9477 | 2758000.0462 | 1190963.4963
42 | 2758019.3694 | 1190928.928 | 2758024.1505 | 1190933.172 | 2758040.6953 | 1190948.3195
43 | 2757987.3086 | 1190910.035 | 2757993.5241 | 1190902.7436
44 | 2757987.3086 | 1190910.035 | 2757994.9255 | 1190916.8642 | 2758000.4474 | 1190920.1127 | 2758009.1928 | 1190922.9238 | 2758017.4488 | 1190927.2232 | 2758019.3694 | 1190928.928
45 | 2757987.3086 | 1190910.035 | 2757979.5686 | 1190919.1275 | 2757977.037 | 1190922.8306 | 2757976.5622 | 1190924.197

## bus_geodata
| x | y | coords
0 | 2757730.8485 | 1190767.7533
1 | 2757727.1131 | 1190717.3175
2 | 2757741.0259 | 1190736.8455
3 | 2757766.2842 | 1190719.9187
4 | 2757836.1573 | 1190768.2024
5 | 2757762.6603 | 1190666.399
6 | 2757746.2221 | 1190789.9045
7 | 2757847.9996 | 1190806.0364
8 | 2757844.5312 | 1190766.6204
9 | 2757847.8581 | 1190760.5154
10 | 2757887.9847 | 1190756.4068
11 | 2757813.5999 | 1190852.503
12 | 2757823.8199 | 1190841.7418
13 | 2757798.9923 | 1190865.7217
14 | 2757839.1652 | 1190822.2408
15 | 2757857.3053 | 1190810.4557
16 | 2757939.2751 | 1190725.3405
17 | 2758009.4613 | 1190754.255
18 | 2757982.5352 | 1190701.9617
19 | 2758066.1492 | 1190783.5739
20 | 2758014.7673 | 1190684.4572
21 | 2758074.3819 | 1190791.186
22 | 2758036.825 | 1190672.647
23 | 2757874.7839 | 1190816.7888
24 | 2757883.4056 | 1190819.9127
25 | 2757902.1296 | 1190826.6971
26 | 2758003.8799 | 1190879.1344
27 | 2758008.805 | 1190881.5776
28 | 2758019.1498 | 1190650.516
29 | 2758116.3864 | 1190689.4737
30 | 2757959.2376 | 1190630.1735
31 | 2758093.7598 | 1190708.9548
32 | 2758149.9033 | 1190727.4358
33 | 2757939.864 | 1190650.3012
34 | 2758075.9594 | 1190724.2807
35 | 2758151.5071 | 1190728.6638
36 | 2758015.6976 | 1190872.7964
37 | 2757995.142 | 1190900.8457
38 | 2758055.8322 | 1190962.178
39 | 2758025.6094 | 1190990.5714
40 | 2758040.6953 | 1190948.3195
41 | 2758039.052 | 1190887.3955
42 | 2757993.5241 | 1190902.7436
43 | 2758000.0462 | 1190963.4963
44 | 2758019.3694 | 1190928.928
45 | 2757976.5622 | 1190924.197
46 | 2757987.3086 | 1190910.035
47 | 2757902.1296 | 1190826.6971

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1