## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3901-120_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3901-120_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3901-120_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3901-120_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3901-120_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3901-120_0_4_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_3901-120_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_3901-120_0_4_node_17 | 0.4 | n |  | TRUE
8 | bus_LV_3901-120_0_4_node_15 | 0.4 | n |  | TRUE
9 | bus_LV_3901-120_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_3901-120_0_4_node_84 | 0.4 | n |  | TRUE
11 | bus_LV_3901-120_0_4_node_87 | 0.4 | n |  | TRUE
12 | bus_LV_3901-120_0_4_node_14 | 0.4 | n |  | TRUE
13 | bus_LV_3901-120_0_4_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_3901-120_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_3901-120_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_3901-120_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_3901-120_0_4_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_3901-120_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_3901-120_0_4_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_3901-120_0_4_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_3901-120_0_4_node_69 | 0.4 | n |  | TRUE
22 | bus_LV_3901-120_0_4_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_3901-120_0_4_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_3901-120_0_4_node_70 | 0.4 | n |  | TRUE
25 | bus_LV_3901-120_0_4_node_85 | 0.4 | n |  | TRUE
26 | bus_LV_3901-120_0_4_node_88 | 0.4 | n |  | TRUE
27 | bus_LV_3901-120_0_4_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_3901-120_0_4_node_62 | 0.4 | n |  | TRUE
29 | bus_LV_3901-120_0_4_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_3901-120_0_4_node_63 | 0.4 | n |  | TRUE
31 | bus_LV_3901-120_0_4_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_3901-120_0_4_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_3901-120_0_4_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_3901-120_0_4_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_3901-120_0_4_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_3901-120_0_4_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_3901-120_0_4_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_3901-120_0_4_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_3901-120_0_4_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_3901-120_0_4_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_3901-120_0_4_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_3901-120_0_4_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_3901-120_0_4_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_3901-120_0_4_node_56 | 0.4 | n |  | TRUE
45 | bus_LV_3901-120_0_4_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_3901-120_0_4_node_57 | 0.4 | n |  | TRUE
47 | bus_LV_3901-120_0_4_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_3901-120_0_4_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_3901-120_0_4_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_3901-120_0_4_node_45 | 0.4 | n |  | TRUE
51 | bus_LV_3901-120_0_4_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_3901-120_0_4_node_40 | 0.4 | n |  | TRUE
53 | bus_LV_3901-120_0_4_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_3901-120_0_4_node_42 | 0.4 | n |  | TRUE
55 | bus_LV_3901-120_0_4_node_43 | 0.4 | n |  | TRUE
56 | bus_LV_3901-120_0_4_node_44 | 0.4 | n |  | TRUE
57 | bus_LV_3901-120_0_4_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_3901-120_0_4_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_3901-120_0_4_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_3901-120_0_4_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_3901-120_0_4_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_3901-120_0_4_node_53 | 0.4 | n |  | TRUE
63 | bus_LV_3901-120_0_4_node_50 | 0.4 | n |  | TRUE
64 | bus_LV_3901-120_0_4_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_3901-120_0_4_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_3901-120_0_4_node_72 | 0.4 | n |  | TRUE
67 | bus_LV_3901-120_0_4_node_61 | 0.4 | n |  | TRUE
68 | bus_LV_3901-120_0_4_node_92 | 0.4 | n |  | TRUE
69 | bus_LV_3901-120_0_4_node_73 | 0.4 | n |  | TRUE
70 | bus_LV_3901-120_0_4_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_3901-120_0_4_node_58 | 0.4 | n |  | TRUE
72 | bus_LV_3901-120_0_4_node_59 | 0.4 | n |  | TRUE
73 | bus_LV_3901-120_0_4_node_64 | 0.4 | n |  | TRUE
74 | bus_LV_3901-120_0_4_node_65 | 0.4 | n |  | TRUE
75 | bus_LV_3901-120_0_4_node_66 | 0.4 | n |  | TRUE
76 | bus_LV_3901-120_0_4_node_67 | 0.4 | n |  | TRUE
77 | bus_LV_3901-120_0_4_node_68 | 0.4 | n |  | TRUE
78 | bus_LV_3901-120_0_4_node_71 | 0.4 | n |  | TRUE
79 | bus_LV_3901-120_0_4_node_74 | 0.4 | n |  | TRUE
80 | bus_LV_3901-120_0_4_node_75 | 0.4 | n |  | TRUE
81 | bus_LV_3901-120_0_4_node_76 | 0.4 | n |  | TRUE
82 | bus_LV_3901-120_0_4_node_77 | 0.4 | n |  | TRUE
83 | bus_LV_3901-120_0_4_node_79 | 0.4 | n |  | TRUE
84 | bus_LV_3901-120_0_4_node_80 | 0.4 | n |  | TRUE
85 | bus_LV_3901-120_0_4_node_81 | 0.4 | n |  | TRUE
86 | bus_LV_3901-120_0_4_node_82 | 0.4 | n |  | TRUE
87 | bus_LV_3901-120_0_4_node_83 | 0.4 | n |  | TRUE
88 | bus_LV_3901-120_0_4_node_86 | 0.4 | n |  | TRUE
89 | bus_LV_3901-120_0_4_node_90 | 0.4 | n |  | TRUE
90 | bus_LV_3901-120_0_4_node_91 | 0.4 | n |  | TRUE
91 | bus_MV_151_1_node_54 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3901-120_0_4_load_0 | 0 | 0.0047501 | 0.0011905 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3901-120_0_4_load_1 | 1 | 0.0056621 | 0.0014191 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3901-120_0_4_load_5 | 6 | 0.0032031 | 0.00080278 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3901-120_0_4_load_17 | 7 | 0.0041104 | 0.0010302 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3901-120_0_4_load_15 | 8 | 0.0012395 | 0.00031064 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3901-120_0_4_load_6 | 9 | 0.003881 | 0.00097268 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3901-120_0_4_load_84 | 10 | 0.0023405 | 0.00058658 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3901-120_0_4_load_87 | 11 | 0.0042398 | 0.0010626 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3901-120_0_4_load_14 | 12 | 0.0016246 | 0.00040718 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3901-120_0_4_load_8 | 13 | 0.0097795 | 0.002451 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3901-120_0_4_load_9 | 14 | 0.009438 | 0.0023654 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3901-120_0_4_load_11 | 16 | 0.0029912 | 0.00074966 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3901-120_0_4_load_12 | 17 | 0.0079096 | 0.0019823 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3901-120_0_4_load_13 | 18 | 0.005085 | 0.0012744 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3901-120_0_4_load_16 | 20 | 0.0029074 | 0.00072865 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3901-120_0_4_load_69 | 21 | 0.0055104 | 0.001381 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3901-120_0_4_load_19 | 22 | 0.0056227 | 0.0014092 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3901-120_0_4_load_20 | 23 | 0.0050199 | 0.0012581 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3901-120_0_4_load_70 | 24 | 0.0084486 | 0.0021174 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3901-120_0_4_load_85 | 25 | 0.0042606 | 0.0010678 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3901-120_0_4_load_88 | 26 | 0.0058528 | 0.0014668 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3901-120_0_4_load_21 | 27 | 0.0059243 | 0.0014848 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3901-120_0_4_load_62 | 28 | 0.004484 | 0.0011238 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3901-120_0_4_load_22 | 29 | 0.0058268 | 0.0014603 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3901-120_0_4_load_63 | 30 | 0.011745 | 0.0029435 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3901-120_0_4_load_29 | 33 | 0.006869 | 0.0017215 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3901-120_0_4_load_24 | 34 | 0.0030466 | 0.00076354 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3901-120_0_4_load_25 | 35 | 0.0041999 | 0.0010526 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3901-120_0_4_load_26 | 36 | 0.0040431 | 0.0010133 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3901-120_0_4_load_27 | 37 | 0.0092141 | 0.0023093 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3901-120_0_4_load_33 | 39 | 0.0047409 | 0.0011882 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3901-120_0_4_load_34 | 40 | 0.0077387 | 0.0019395 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3901-120_0_4_load_30 | 41 | 0.0081451 | 0.0020413 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3901-120_0_4_load_31 | 42 | 0.0055709 | 0.0013962 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3901-120_0_4_load_35 | 43 | 0.0056991 | 0.0014283 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3901-120_0_4_load_56 | 44 | 0.0044317 | 0.0011107 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3901-120_0_4_load_36 | 45 | 0.0040303 | 0.0010101 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3901-120_0_4_load_37 | 47 | 0.0056383 | 0.0014131 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3901-120_0_4_load_38 | 48 | 0.0041162 | 0.0010316 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3901-120_0_4_load_39 | 49 | 0.0037144 | 0.00093091 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3901-120_0_4_load_45 | 50 | 0.0035084 | 0.00087928 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3901-120_0_4_load_46 | 51 | 0.0036383 | 0.00091185 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3901-120_0_4_load_40 | 52 | 0.0042067 | 0.0010543 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3901-120_0_4_load_42 | 54 | 0.0038503 | 0.00096497 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3901-120_0_4_load_43 | 55 | 0.0051936 | 0.0013016 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3901-120_0_4_load_44 | 56 | 0.0039832 | 0.00099829 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3901-120_0_4_load_47 | 57 | 0.0035541 | 0.00089073 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3901-120_0_4_load_48 | 58 | 0.004551 | 0.0011406 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3901-120_0_4_load_49 | 59 | 0.0037791 | 0.00094713 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3901-120_0_4_load_52 | 61 | 0.0068704 | 0.0017219 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3901-120_0_4_load_53 | 62 | 0.00483 | 0.0012105 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3901-120_0_4_load_54 | 65 | 0.0086454 | 0.0021667 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3901-120_0_4_load_72 | 66 | 0.0051991 | 0.001303 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3901-120_0_4_load_61 | 67 | 0.0048186 | 0.0012077 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3901-120_0_4_load_92 | 68 | 0.0047712 | 0.0011958 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3901-120_0_4_load_73 | 69 | 0.0061769 | 0.0015481 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3901-120_0_4_load_60 | 70 | 0.0055914 | 0.0014013 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3901-120_0_4_load_58 | 71 | 0.0081269 | 0.0020368 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3901-120_0_4_load_59 | 72 | 0.0032446 | 0.00081316 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3901-120_0_4_load_64 | 73 | 0.0032047 | 0.00080318 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3901-120_0_4_load_65 | 74 | 0.0026275 | 0.0006585 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3901-120_0_4_load_66 | 75 | 0.0030844 | 0.00077302 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3901-120_0_4_load_67 | 76 | 0.0041775 | 0.001047 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3901-120_0_4_load_68 | 77 | 0.010073 | 0.0025244 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3901-120_0_4_load_71 | 78 | 0.01042 | 0.0026115 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3901-120_0_4_load_74 | 79 | 0.00515 | 0.0012907 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3901-120_0_4_load_75 | 80 | 0.0074611 | 0.0018699 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3901-120_0_4_load_77 | 82 | 0.0078575 | 0.0019693 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3901-120_0_4_load_79 | 83 | 0.0065889 | 0.0016513 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3901-120_0_4_load_80 | 84 | 0.017687 | 0.0044327 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3901-120_0_4_load_82 | 86 | 0.0033385 | 0.00083671 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3901-120_0_4_load_83 | 87 | 0.0070835 | 0.0017753 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3901-120_0_4_load_86 | 88 | 0.001898 | 0.00047569 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3901-120_0_4_load_90 | 89 | 0.010137 | 0.0025405 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3901-120_0_4_load_91 | 90 | 0.0059775 | 0.0014981 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 76 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3901-120_0_4_line_0 |  | 0 | 1 | 0.020002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3901-120_0_4_line_1 |  | 0 | 2 | 0.012184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3901-120_0_4_line_2 |  | 1 | 3 | 0.044416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3901-120_0_4_line_3 |  | 2 | 4 | 0.026708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3901-120_0_4_line_4 |  | 3 | 5 | 0.020552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3901-120_0_4_line_5 |  | 4 | 6 | 0.013313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3901-120_0_4_line_6 |  | 5 | 7 | 0.014456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_3901-120_0_4_line_7 |  | 5 | 8 | 0.014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_3901-120_0_4_line_8 |  | 6 | 9 | 0.033489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3901-120_0_4_line_9 |  | 7 | 10 | 0.023196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_3901-120_0_4_line_10 |  | 7 | 11 | 0.040712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3901-120_0_4_line_11 |  | 8 | 12 | 0.0090337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_3901-120_0_4_line_12 |  | 10 | 25 | 0.011094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_3901-120_0_4_line_13 |  | 11 | 26 | 0.0064941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3901-120_0_4_line_14 |  | 12 | 20 | 0.013146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_3901-120_0_4_line_15 |  | 13 | 14 | 0.022686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_3901-120_0_4_line_16 |  | 13 | 15 | 0.00048346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_3901-120_0_4_line_17 |  | 14 | 16 | 0.023808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_3901-120_0_4_line_18 |  | 15 | 17 | 0.019783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_3901-120_0_4_line_19 |  | 15 | 18 | 0.013911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3901-120_0_4_line_20 |  | 16 | 19 | 0.0039923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_3901-120_0_4_line_21 |  | 17 | 20 | 0.021494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_3901-120_0_4_line_22 |  | 18 | 21 | 0.023478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3901-120_0_4_line_23 |  | 19 | 22 | 0.00017883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_3901-120_0_4_line_24 |  | 19 | 23 | 0.017005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3901-120_0_4_line_25 |  | 21 | 24 | 0.00147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3901-120_0_4_line_26 |  | 22 | 27 | 0.027079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_3901-120_0_4_line_27 |  | 23 | 28 | 0.00043492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3901-120_0_4_line_28 |  | 24 | 78 | 0.007505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3901-120_0_4_line_29 |  | 25 | 88 | 0.0065699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_3901-120_0_4_line_30 |  | 27 | 29 | 0.01149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_3901-120_0_4_line_31 |  | 28 | 30 | 0.012845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3901-120_0_4_line_32 |  | 29 | 31 | 0.031733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_3901-120_0_4_line_33 |  | 31 | 32 | 0.020408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_3901-120_0_4_line_34 |  | 32 | 33 | 0.011056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_3901-120_0_4_line_35 |  | 33 | 42 | 0.012153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_3901-120_0_4_line_36 |  | 34 | 35 | 0.022261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3901-120_0_4_line_37 |  | 34 | 36 | 0.017219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3901-120_0_4_line_38 |  | 36 | 37 | 0.014787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3901-120_0_4_line_39 |  | 37 | 38 | 0.017673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3901-120_0_4_line_40 |  | 38 | 39 | 0.021972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3901-120_0_4_line_41 |  | 38 | 40 | 0.027796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_3901-120_0_4_line_42 |  | 38 | 41 | 0.041667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_3901-120_0_4_line_43 |  | 39 | 43 | 0.0051001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3901-120_0_4_line_44 |  | 40 | 44 | 0.0082081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_3901-120_0_4_line_45 |  | 41 | 42 | 0.0081825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_3901-120_0_4_line_46 |  | 43 | 45 | 0.03227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3901-120_0_4_line_47 |  | 44 | 46 | 0.032806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_3901-120_0_4_line_48 |  | 45 | 47 | 0.020634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3901-120_0_4_line_49 |  | 46 | 71 | 0.020045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3901-120_0_4_line_50 |  | 46 | 72 | 0.0080723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_3901-120_0_4_line_51 |  | 47 | 48 | 0.0032215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3901-120_0_4_line_52 |  | 48 | 49 | 0.025893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3901-120_0_4_line_53 |  | 49 | 50 | 0.0087729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3901-120_0_4_line_54 |  | 50 | 51 | 0.019876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3901-120_0_4_line_55 |  | 51 | 59 | 0.003211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3901-120_0_4_line_56 |  | 52 | 53 | 0.039257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3901-120_0_4_line_57 |  | 53 | 54 | 0.022604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3901-120_0_4_line_58 |  | 54 | 55 | 0.023118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3901-120_0_4_line_59 |  | 55 | 56 | 0.00022617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3901-120_0_4_line_60 |  | 56 | 57 | 0.024565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3901-120_0_4_line_61 |  | 57 | 58 | 0.0026706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3901-120_0_4_line_62 |  | 58 | 60 | 0.024956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3901-120_0_4_line_63 |  | 60 | 61 | 0.013366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3901-120_0_4_line_64 |  | 60 | 62 | 0.011944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3901-120_0_4_line_65 |  | 61 | 65 | 0.0031128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3901-120_0_4_line_66 |  | 62 | 68 | 0.024108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3901-120_0_4_line_67 |  | 63 | 64 | 0.005092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3901-120_0_4_line_68 |  | 63 | 65 | 0.024347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3901-120_0_4_line_69 |  | 64 | 66 | 0.034459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3901-120_0_4_line_70 |  | 64 | 67 | 0.016618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3901-120_0_4_line_71 |  | 66 | 69 | 0.008575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3901-120_0_4_line_72 |  | 67 | 70 | 0.00059741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3901-120_0_4_line_73 |  | 69 | 79 | 0.015359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3901-120_0_4_line_74 |  | 70 | 71 | 0.035829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3901-120_0_4_line_75 |  | 72 | 73 | 0.021037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
76 | LV_3901-120_0_4_line_76 |  | 73 | 74 | 0.00033499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_3901-120_0_4_line_77 |  | 74 | 75 | 0.0071734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
78 | LV_3901-120_0_4_line_78 |  | 75 | 76 | 0.013075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
79 | LV_3901-120_0_4_line_79 |  | 76 | 77 | 0.0028407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3901-120_0_4_line_80 |  | 79 | 80 | 0.045696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3901-120_0_4_line_81 |  | 80 | 81 | 0.01697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3901-120_0_4_line_82 |  | 81 | 82 | 0.01189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3901-120_0_4_line_83 |  | 83 | 84 | 0.0095779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3901-120_0_4_line_84 |  | 83 | 85 | 0.018883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3901-120_0_4_line_85 |  | 85 | 86 | 0.016639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
86 | LV_3901-120_0_4_line_86 |  | 85 | 87 | 0.026979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3901-120_0_4_line_87 |  | 86 | 88 | 0.016549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
88 | LV_3901-120_0_4_line_88 |  | 87 | 89 | 0.013327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3901-120_0_4_line_89 |  | 89 | 90 | 0.017385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3901-120_0_4_trafo_67 | 0.63 MVA 20/0.4 kV | 91 | 76 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2760463.032 | 1191998.8002 | 2760476.76 | 1192005.7299 | 2760479.9452 | 1192009.082
1 | 2760451.0633 | 1191996.5217 | 2760463.032 | 1191998.8002
2 | 2760512.2997 | 1192039.2791 | 2760500.3145 | 1192030.5167 | 2760489.4905 | 1192019.1275 | 2760479.9452 | 1192009.082
3 | 2760451.0633 | 1191996.5217 | 2760452.4958 | 1191969.8589
4 | 2760512.2997 | 1192039.2791 | 2760532.9071 | 1192038.8648
5 | 2760452.4958 | 1191969.8589 | 2760465.6466 | 1191971.9293
6 | 2760532.9071 | 1192038.8648 | 2760547.1667 | 1192036.4894
7 | 2760532.9071 | 1192038.8648 | 2760534.2147 | 1192024.9263
8 | 2760489.5538 | 1191985.7887 | 2760483.1644 | 1191985.1057 | 2760481.7868 | 1191974.4705 | 2760465.6466 | 1191971.9293
9 | 2760570.0473 | 1192032.6779 | 2760570.0473 | 1192032.6779 | 2760547.1667 | 1192036.4894
10 | 2760547.1667 | 1192036.4894 | 2760556.5172 | 1192076.1131
11 | 2760535.0585 | 1192015.932 | 2760534.2147 | 1192024.9263
12 | 2760570.0473 | 1192032.6779 | 2760581.1003 | 1192033.6277
13 | 2760556.5172 | 1192076.1131 | 2760555.182 | 1192082.4684
14 | 2760536.2864 | 1192002.8434 | 2760535.0585 | 1192015.932
15 | 2760540.2365 | 1191961.2724 | 2760544.6804 | 1191939.026 | 2760544.6804 | 1191939.026
16 | 2760540.2365 | 1191961.2724 | 2760540.1418 | 1191961.7465
17 | 2760544.6804 | 1191939.026 | 2760551.7462 | 1191919.6318 | 2760552.7347 | 1191916.623
18 | 2760540.1418 | 1191961.7465 | 2760538.294 | 1191981.443
19 | 2760540.1418 | 1191961.7465 | 2760553.3075 | 1191966.2374
20 | 2760553.9809 | 1191912.8302 | 2760552.7347 | 1191916.623
21 | 2760536.2864 | 1192002.8434 | 2760538.294 | 1191981.443
22 | 2760553.3075 | 1191966.2374 | 2760575.5279 | 1191973.8171
23 | 2760554.0367 | 1191912.6603 | 2760553.9809 | 1191912.8302
24 | 2760553.9809 | 1191912.8302 | 2760569.9096 | 1191918.7843
25 | 2760575.5279 | 1191973.8171 | 2760576.9192 | 1191974.2917
26 | 2760554.0367 | 1191912.6603 | 2760562.4913 | 1191886.935
27 | 2760570.3169 | 1191918.9365 | 2760569.9096 | 1191918.7843
28 | 2760584.0223 | 1191976.7146 | 2760576.9192 | 1191974.2917
29 | 2760587.6461 | 1192034.1901 | 2760581.1003 | 1192033.6277
30 | 2760566.0788 | 1191876.0194 | 2760562.4913 | 1191886.935
31 | 2760582.3484 | 1191923.4339 | 2760570.3169 | 1191918.9365
32 | 2760575.9865 | 1191845.8726 | 2760566.0788 | 1191876.0194
33 | 2760575.9865 | 1191845.8726 | 2760587.6064 | 1191852.0565 | 2760594.8829 | 1191851.5291
34 | 2760594.8829 | 1191851.5291 | 2760600.73 | 1191851.1078 | 2760605.7489 | 1191849.7722
35 | 2760617.493 | 1191846.6469 | 2760605.7489 | 1191849.7722
36 | 2760652.3121 | 1191784.11 | 2760631.1675 | 1191777.1481
37 | 2760652.3121 | 1191784.11 | 2760656.6916 | 1191785.5519 | 2760664.8673 | 1191795.1496
38 | 2760664.3705 | 1191809.8417 | 2760665.0779 | 1191795.3968 | 2760664.8673 | 1191795.1496
39 | 2760663.5061 | 1191827.494 | 2760664.3705 | 1191809.8417
40 | 2760663.5061 | 1191827.494 | 2760683.6781 | 1191818.7833
41 | 2760663.5061 | 1191827.494 | 2760663.8972 | 1191843.3184 | 2760664.0759 | 1191855.284
42 | 2760663.5061 | 1191827.494 | 2760625.0855 | 1191843.6198
43 | 2760688.3603 | 1191816.7614 | 2760683.6781 | 1191818.7833
44 | 2760664.1984 | 1191863.4912 | 2760664.0759 | 1191855.284
45 | 2760625.0855 | 1191843.6198 | 2760618.5325 | 1191846.3702 | 2760617.493 | 1191846.6469
46 | 2760688.3603 | 1191816.7614 | 2760707.9468 | 1191808.3035 | 2760718.2871 | 1191804.7445
47 | 2760668.1011 | 1191895.822 | 2760664.4777 | 1191882.1905 | 2760664.1984 | 1191863.4912
48 | 2760718.2871 | 1191804.7445 | 2760718.5263 | 1191804.6622 | 2760726.3604 | 1191805.5288 | 2760732.7257 | 1191812.2279 | 2760733.858 | 1191815.2836
49 | 2760668.1011 | 1191895.822 | 2760678.5205 | 1191903.2416 | 2760685.3435 | 1191905.7039
50 | 2760668.1011 | 1191895.822 | 2760667.0001 | 1191903.8189
51 | 2760733.858 | 1191815.2836 | 2760734.9774 | 1191818.3043
52 | 2760736.5329 | 1191843.9434 | 2760736.3887 | 1191822.1128 | 2760734.9774 | 1191818.3043
53 | 2760736.5329 | 1191843.9434 | 2760736.5908 | 1191852.7161
54 | 2760736.7221 | 1191872.5917 | 2760736.5908 | 1191852.7161
55 | 2760736.7221 | 1191872.5917 | 2760736.7433 | 1191875.8026
56 | 2760817.8021 | 1191821.1989 | 2760784.5782 | 1191800.2871
57 | 2760817.8021 | 1191821.1989 | 2760807.1684 | 1191841.145
58 | 2760807.1684 | 1191841.145 | 2760806.5387 | 1191842.326 | 2760797.9598 | 1191862.3451
59 | 2760797.9598 | 1191862.3451 | 2760797.8707 | 1191862.553
60 | 2760797.8707 | 1191862.553 | 2760788.1946 | 1191885.1322
61 | 2760787.1427 | 1191887.5869 | 2760788.1946 | 1191885.1322
62 | 2760776.1385 | 1191909.88 | 2760780.0132 | 1191904.2236 | 2760787.1427 | 1191887.5869
63 | 2760776.1385 | 1191909.88 | 2760767.9553 | 1191914.3419 | 2760763.9632 | 1191914.9965
64 | 2760776.1385 | 1191909.88 | 2760782.9617 | 1191919.6831
65 | 2760760.8914 | 1191915.5002 | 2760763.9632 | 1191914.9965
66 | 2760782.9617 | 1191919.6831 | 2760782.2535 | 1191929.2836 | 2760778.7026 | 1191943.3228
67 | 2760736.7992 | 1191916.6738 | 2760735.9168 | 1191921.6879
68 | 2760736.7992 | 1191916.6738 | 2760746.7463 | 1191917.8198 | 2760760.8914 | 1191915.5002
69 | 2760735.9168 | 1191921.6879 | 2760726.2496 | 1191954.7635
70 | 2760735.9168 | 1191921.6879 | 2760720.0461 | 1191916.7592
71 | 2760726.2496 | 1191954.7635 | 2760723.844 | 1191962.9942
72 | 2760719.4756 | 1191916.582 | 2760720.0461 | 1191916.7592
73 | 2760719.5351 | 1191977.7367 | 2760723.844 | 1191962.9942
74 | 2760685.3435 | 1191905.7039 | 2760690.8732 | 1191907.6994 | 2760719.4756 | 1191916.582
75 | 2760667.0001 | 1191903.8189 | 2760664.1307 | 1191924.6594
76 | 2760664.085 | 1191924.9912 | 2760664.1307 | 1191924.6594
77 | 2760663.1066 | 1191932.0976 | 2760664.085 | 1191924.9912
78 | 2760663.1066 | 1191932.0976 | 2760661.3232 | 1191945.0503
79 | 2760660.9358 | 1191947.8644 | 2760661.3232 | 1191945.0503
80 | 2760719.5351 | 1191977.7367 | 2760706.7158 | 1192021.5973
81 | 2760703.7957 | 1192038.2726 | 2760705.3629 | 1192026.2263 | 2760706.7158 | 1192021.5973
82 | 2760703.7957 | 1192038.2726 | 2760702.2634 | 1192050.0636
83 | 2760637.1393 | 1192045.9628 | 2760641.0728 | 1192046.3514 | 2760646.6923 | 1192046.0975
84 | 2760618.3476 | 1192044.1062 | 2760637.1393 | 1192045.9628
85 | 2760618.3476 | 1192044.1062 | 2760604.8738 | 1192035.6705 | 2760604.1343 | 1192035.607
86 | 2760618.3476 | 1192044.1062 | 2760614.9774 | 1192070.8742
87 | 2760587.6461 | 1192034.1901 | 2760604.1343 | 1192035.607
88 | 2760613.3127 | 1192084.0966 | 2760614.9774 | 1192070.8742
89 | 2760613.3127 | 1192084.0966 | 2760611.141 | 1192101.3458

## bus_geodata
| x | y | coords
0 | 2760463.032 | 1191998.8002
1 | 2760479.9452 | 1192009.082
2 | 2760451.0633 | 1191996.5217
3 | 2760512.2997 | 1192039.2791
4 | 2760452.4958 | 1191969.8589
5 | 2760532.9071 | 1192038.8648
6 | 2760465.6466 | 1191971.9293
7 | 2760547.1667 | 1192036.4894
8 | 2760534.2147 | 1192024.9263
9 | 2760489.5538 | 1191985.7887
10 | 2760570.0473 | 1192032.6779
11 | 2760556.5172 | 1192076.1131
12 | 2760535.0585 | 1192015.932
13 | 2760540.2365 | 1191961.2724
14 | 2760544.6804 | 1191939.026
15 | 2760540.1418 | 1191961.7465
16 | 2760552.7348 | 1191916.623
17 | 2760538.294 | 1191981.443
18 | 2760553.3075 | 1191966.2374
19 | 2760553.9809 | 1191912.8302
20 | 2760536.2864 | 1192002.8434
21 | 2760575.5279 | 1191973.8171
22 | 2760554.0367 | 1191912.6603
23 | 2760569.9096 | 1191918.7843
24 | 2760576.9192 | 1191974.2917
25 | 2760581.1003 | 1192033.6277
26 | 2760555.182 | 1192082.4684
27 | 2760562.4913 | 1191886.935
28 | 2760570.3169 | 1191918.9365
29 | 2760566.0788 | 1191876.0194
30 | 2760582.3484 | 1191923.4339
31 | 2760575.9865 | 1191845.8726
32 | 2760594.8829 | 1191851.5291
33 | 2760605.7489 | 1191849.7722
34 | 2760652.3121 | 1191784.11
35 | 2760631.1675 | 1191777.1481
36 | 2760664.8673 | 1191795.1496
37 | 2760664.3705 | 1191809.8417
38 | 2760663.5061 | 1191827.494
39 | 2760683.6781 | 1191818.7833
40 | 2760664.0759 | 1191855.284
41 | 2760625.0855 | 1191843.6198
42 | 2760617.493 | 1191846.6469
43 | 2760688.3603 | 1191816.7614
44 | 2760664.1984 | 1191863.4912
45 | 2760718.2871 | 1191804.7445
46 | 2760668.1011 | 1191895.822
47 | 2760733.858 | 1191815.2836
48 | 2760734.9774 | 1191818.3043
49 | 2760736.5329 | 1191843.9434
50 | 2760736.5908 | 1191852.7161
51 | 2760736.7221 | 1191872.5917
52 | 2760784.5782 | 1191800.2871
53 | 2760817.8021 | 1191821.1989
54 | 2760807.1684 | 1191841.145
55 | 2760797.9598 | 1191862.3451
56 | 2760797.8707 | 1191862.553
57 | 2760788.1946 | 1191885.1322
58 | 2760787.1427 | 1191887.5869
59 | 2760736.7433 | 1191875.8026
60 | 2760776.1385 | 1191909.88
61 | 2760763.9632 | 1191914.9965
62 | 2760782.9617 | 1191919.6831
63 | 2760736.7992 | 1191916.6738
64 | 2760735.9168 | 1191921.6879
65 | 2760760.8914 | 1191915.5002
66 | 2760726.2496 | 1191954.7635
67 | 2760720.0461 | 1191916.7592
68 | 2760778.7026 | 1191943.3228
69 | 2760723.844 | 1191962.9942
70 | 2760719.4756 | 1191916.582
71 | 2760685.3435 | 1191905.7039
72 | 2760667.0001 | 1191903.8189
73 | 2760664.1307 | 1191924.6594
74 | 2760664.085 | 1191924.9912
75 | 2760663.1066 | 1191932.0976
76 | 2760661.3232 | 1191945.0503
77 | 2760660.9358 | 1191947.8644
78 | 2760584.0223 | 1191976.7146
79 | 2760719.5351 | 1191977.7367
80 | 2760706.7158 | 1192021.5973
81 | 2760703.7957 | 1192038.2726
82 | 2760702.2634 | 1192050.0636
83 | 2760637.1393 | 1192045.9628
84 | 2760646.6923 | 1192046.0975
85 | 2760618.3476 | 1192044.1062
86 | 2760604.1343 | 1192035.607
87 | 2760614.9774 | 1192070.8742
88 | 2760587.6461 | 1192034.1901
89 | 2760613.3127 | 1192084.0966
90 | 2760611.141 | 1192101.3458
91 | 2760660.9358 | 1191947.8644

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1