## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3901-122_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3901-122_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3901-122_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3901-122_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3901-122_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_3901-122_0_4_node_34 | 0.4 | n |  | TRUE
6 | bus_LV_3901-122_0_4_node_32 | 0.4 | n |  | TRUE
7 | bus_LV_3901-122_0_4_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_3901-122_0_4_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_3901-122_0_4_node_61 | 0.4 | n |  | TRUE
10 | bus_LV_3901-122_0_4_node_58 | 0.4 | n |  | TRUE
11 | bus_LV_3901-122_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_3901-122_0_4_node_25 | 0.4 | n |  | TRUE
13 | bus_LV_3901-122_0_4_node_59 | 0.4 | n |  | TRUE
14 | bus_LV_3901-122_0_4_node_57 | 0.4 | n |  | TRUE
15 | bus_LV_3901-122_0_4_node_51 | 0.4 | n |  | TRUE
16 | bus_LV_3901-122_0_4_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_3901-122_0_4_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_3901-122_0_4_node_64 | 0.4 | n |  | TRUE
19 | bus_LV_3901-122_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_3901-122_0_4_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_3901-122_0_4_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_3901-122_0_4_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_3901-122_0_4_node_37 | 0.4 | n |  | TRUE
24 | bus_LV_3901-122_0_4_node_38 | 0.4 | n |  | TRUE
25 | bus_LV_3901-122_0_4_node_36 | 0.4 | n |  | TRUE
26 | bus_LV_3901-122_0_4_node_50 | 0.4 | n |  | TRUE
27 | bus_LV_3901-122_0_4_node_49 | 0.4 | n |  | TRUE
28 | bus_LV_3901-122_0_4_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_3901-122_0_4_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_3901-122_0_4_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_3901-122_0_4_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_3901-122_0_4_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_3901-122_0_4_node_44 | 0.4 | n |  | TRUE
34 | bus_LV_3901-122_0_4_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_3901-122_0_4_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_3901-122_0_4_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_3901-122_0_4_node_19 | 0.4 | n |  | TRUE
38 | bus_LV_3901-122_0_4_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_3901-122_0_4_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_3901-122_0_4_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_3901-122_0_4_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_3901-122_0_4_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_3901-122_0_4_node_46 | 0.4 | n |  | TRUE
44 | bus_LV_3901-122_0_4_node_47 | 0.4 | n |  | TRUE
45 | bus_LV_3901-122_0_4_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_3901-122_0_4_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_3901-122_0_4_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_3901-122_0_4_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_3901-122_0_4_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_3901-122_0_4_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_3901-122_0_4_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_3901-122_0_4_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_3901-122_0_4_node_52 | 0.4 | n |  | TRUE
54 | bus_LV_3901-122_0_4_node_53 | 0.4 | n |  | TRUE
55 | bus_LV_3901-122_0_4_node_54 | 0.4 | n |  | TRUE
56 | bus_LV_3901-122_0_4_node_60 | 0.4 | n |  | TRUE
57 | bus_MV_240_0_node_3 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3901-122_0_4_load_0 | 0 | 0.01362 | 0.0034135 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3901-122_0_4_load_1 | 1 | 0.027558 | 0.0069067 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3901-122_0_4_load_34 | 5 | 0.054235 | 0.013592 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3901-122_0_4_load_61 | 9 | 0.0015783 | 0.00039556 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3901-122_0_4_load_58 | 10 | 0.00088012 | 0.00022058 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3901-122_0_4_load_6 | 11 | 0.0040429 | 0.0010132 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3901-122_0_4_load_25 | 12 | 0.025667 | 0.0064329 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3901-122_0_4_load_59 | 13 | 0.0011186 | 0.00028036 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3901-122_0_4_load_57 | 14 | 0.020622 | 0.0051684 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3901-122_0_4_load_51 | 15 | 0.011938 | 0.002992 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3901-122_0_4_load_64 | 18 | 0.01806 | 0.0045261 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3901-122_0_4_load_13 | 19 | 0.0026132 | 0.00065492 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3901-122_0_4_load_11 | 20 | 0.00696 | 0.0017443 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3901-122_0_4_load_10 | 21 | 0.0054028 | 0.0013541 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3901-122_0_4_load_12 | 22 | 0.00046191 | 0.00011576 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3901-122_0_4_load_37 | 23 | 0.0074091 | 0.0018569 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3901-122_0_4_load_38 | 24 | 0.0053614 | 0.0013437 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3901-122_0_4_load_36 | 25 | 0.0026778 | 0.00067112 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3901-122_0_4_load_50 | 26 | 0.014883 | 0.00373 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3901-122_0_4_load_49 | 27 | 0.0082608 | 0.0020704 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3901-122_0_4_load_14 | 28 | 0.0034904 | 0.00087477 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3901-122_0_4_load_18 | 31 | 0.0035208 | 0.00088241 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3901-122_0_4_load_22 | 32 | 0.079432 | 0.019908 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3901-122_0_4_load_44 | 33 | 0.010008 | 0.0025083 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3901-122_0_4_load_29 | 35 | 0.0050597 | 0.0012681 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3901-122_0_4_load_19 | 37 | 0.021013 | 0.0052663 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3901-122_0_4_load_27 | 38 | 0.0042318 | 0.0010606 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3901-122_0_4_load_31 | 39 | 0.0056251 | 0.0014098 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3901-122_0_4_load_26 | 40 | 0.0062893 | 0.0015762 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3901-122_0_4_load_28 | 41 | 0.0041771 | 0.0010469 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3901-122_0_4_load_30 | 42 | 0.0051812 | 0.0012985 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3901-122_0_4_load_46 | 43 | 0.0021497 | 0.00053876 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3901-122_0_4_load_47 | 44 | 0.0022193 | 0.0005562 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3901-122_0_4_load_33 | 45 | 0.0057456 | 0.00144 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3901-122_0_4_load_35 | 46 | 0.0056529 | 0.0014167 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3901-122_0_4_load_39 | 47 | 0.0031745 | 0.00079561 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3901-122_0_4_load_40 | 48 | 0.0033506 | 0.00083975 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3901-122_0_4_load_41 | 49 | 0.0025969 | 0.00065084 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3901-122_0_4_load_42 | 50 | 0.0065949 | 0.0016528 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3901-122_0_4_load_52 | 53 | 0.0061907 | 0.0015515 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3901-122_0_4_load_53 | 54 | 0.016019 | 0.0040147 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3901-122_0_4_load_54 | 55 | 0.0063948 | 0.0016027 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3901-122_0_4_load_60 | 56 | 0.00097977 | 0.00024555 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3901-122_0_4_line_0 |  | 0 | 1 | 0.047948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3901-122_0_4_line_1 |  | 0 | 2 | 0.032641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3901-122_0_4_line_2 |  | 1 | 3 | 0.0435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3901-122_0_4_line_3 |  | 2 | 4 | 0.047341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3901-122_0_4_line_4 |  | 3 | 7 | 0.006733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3901-122_0_4_line_5 |  | 3 | 5 | 0.04038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3901-122_0_4_line_6 |  | 4 | 11 | 0.014986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3901-122_0_4_line_7 |  | 5 | 6 | 0.030731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_3901-122_0_4_line_8 |  | 6 | 45 | 0.011244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_3901-122_0_4_line_9 |  | 6 | 39 | 0.00092194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3901-122_0_4_line_10 |  | 7 | 12 | 0.022199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3901-122_0_4_line_11 |  | 8 | 9 | 0.036582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3901-122_0_4_line_12 |  | 8 | 10 | 0.08647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3901-122_0_4_line_13 |  | 10 | 13 | 0.016723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3901-122_0_4_line_14 |  | 11 | 16 | 0.023877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3901-122_0_4_line_15 |  | 13 | 14 | 0.095274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3901-122_0_4_line_16 |  | 13 | 56 | 0.082439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3901-122_0_4_line_17 |  | 14 | 15 | 0.0084847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3901-122_0_4_line_18 |  | 15 | 26 | 0.0080608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3901-122_0_4_line_19 |  | 16 | 17 | 0.028162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3901-122_0_4_line_20 |  | 17 | 18 | 0.007768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3901-122_0_4_line_21 |  | 17 | 19 | 0.025379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3901-122_0_4_line_22 |  | 19 | 20 | 0.013742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3901-122_0_4_line_23 |  | 20 | 21 | 0.00073844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3901-122_0_4_line_24 |  | 21 | 22 | 0.0082485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3901-122_0_4_line_25 |  | 23 | 24 | 0.01974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_3901-122_0_4_line_26 |  | 23 | 25 | 0.0040507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_3901-122_0_4_line_27 |  | 24 | 47 | 0.0012291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_3901-122_0_4_line_28 |  | 25 | 46 | 0.015593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_3901-122_0_4_line_29 |  | 26 | 27 | 0.036099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3901-122_0_4_line_30 |  | 27 | 52 | 0.040176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3901-122_0_4_line_31 |  | 28 | 29 | 0.060602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3901-122_0_4_line_32 |  | 29 | 30 | 0.012044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3901-122_0_4_line_33 |  | 29 | 31 | 0.028423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3901-122_0_4_line_34 |  | 30 | 32 | 0.003151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3901-122_0_4_line_35 |  | 31 | 33 | 0.060244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3901-122_0_4_line_36 |  | 32 | 36 | 0.010133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3901-122_0_4_line_37 |  | 34 | 35 | 0.016564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3901-122_0_4_line_38 |  | 34 | 36 | 0.033049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3901-122_0_4_line_39 |  | 35 | 38 | 0.0084636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3901-122_0_4_line_40 |  | 36 | 37 | 0.02113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3901-122_0_4_line_41 |  | 38 | 40 | 0.00255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3901-122_0_4_line_42 |  | 40 | 41 | 0.0097536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3901-122_0_4_line_43 |  | 41 | 42 | 0.02248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3901-122_0_4_line_44 |  | 42 | 43 | 0.017671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_3901-122_0_4_line_45 |  | 43 | 44 | 0.0074293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_3901-122_0_4_line_46 |  | 44 | 51 | 0.033861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_3901-122_0_4_line_47 |  | 45 | 46 | 0.0090973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_3901-122_0_4_line_48 |  | 47 | 48 | 0.011104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_3901-122_0_4_line_49 |  | 48 | 49 | 0.0011814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_3901-122_0_4_line_50 |  | 49 | 50 | 0.019326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_3901-122_0_4_line_51 |  | 50 | 51 | 0.014965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_3901-122_0_4_line_52 |  | 51 | 52 | 0.0041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3901-122_0_4_line_53 |  | 52 | 53 | 0.010942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3901-122_0_4_line_54 |  | 53 | 54 | 0.02928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3901-122_0_4_line_55 |  | 54 | 55 | 0.0030558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3901-122_0_4_trafo_36 | 0.63 MVA 20/0.4 kV | 57 | 25 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24
0 | 2759784.8677 | 1190469.9154 | 2759781.7839 | 1190462.7169 | 2759780.8221 | 1190460.7339 | 2759779.9162 | 1190458.9415 | 2759778.6825 | 1190456.8512 | 2759776.898 | 1190454.2457 | 2759775.4132 | 1190452.4156 | 2759774.5261 | 1190451.3465 | 2759774.0106 | 1190450.3653 | 2759773.6622 | 1190449.4107 | 2759773.4933 | 1190448.3052 | 2759773.5894 | 1190446.9955 | 2759773.8416 | 1190446.1237 | 2759774.2839 | 1190444.9901 | 2759775.0936 | 1190442.9543 | 2759775.3538 | 1190442.0716 | 2759775.4584 | 1190441.296 | 2759775.475 | 1190440.6736 | 2759775.4184 | 1190439.9382 | 2759775.2767 | 1190439.2449 | 2759774.7336 | 1190437.2953 | 2759771.5868 | 1190425.8114
1 | 2759797.7214 | 1190499.9193 | 2759784.8677 | 1190469.9154
2 | 2759757.0206 | 1190385.4217 | 2759760.7526 | 1190399.3891 | 2759761.2431 | 1190400.7367 | 2759761.8961 | 1190401.9996 | 2759762.7064 | 1190403.0889 | 2759765.657 | 1190406.3149 | 2759766.2685 | 1190407.1319 | 2759766.7521 | 1190408.1679 | 2759771.5868 | 1190425.8114
3 | 2759797.7214 | 1190499.9193 | 2759798.4002 | 1190498.5028 | 2759799.1715 | 1190496.4772 | 2759800.0763 | 1190493.7434 | 2759801.3507 | 1190491.164 | 2759802.6458 | 1190489.2414 | 2759804.0123 | 1190487.7877 | 2759805.831 | 1190486.2571 | 2759808.4196 | 1190484.7582 | 2759811.9451 | 1190483.0286 | 2759822.1496 | 1190478.9197 | 2759823.6391 | 1190478.0031 | 2759833.4437 | 1190472.0151
4 | 2759757.0206 | 1190385.4217 | 2759754.3695 | 1190386.4073 | 2759750.772 | 1190387.9683
5 | 2759786.7458 | 1190358.0911 | 2759757.0206 | 1190385.4217
6 | 2759833.4437 | 1190472.0151 | 2759846.227 | 1190464.1933
7 | 2759786.7458 | 1190358.0911 | 2759786.7457 | 1190355.8113 | 2759787.0115 | 1190354.4283 | 2759787.4667 | 1190353.384 | 2759788.126 | 1190352.4118 | 2759789.0533 | 1190351.6915 | 2759790.4759 | 1190350.7064 | 2759791.2147 | 1190349.9032 | 2759791.6301 | 1190349.2025 | 2759791.9114 | 1190348.3871 | 2759792.0456 | 1190347.6456 | 2759792.0684 | 1190347.079 | 2759792.0592 | 1190346.5672 | 2759791.9749 | 1190346.0089 | 2759791.7967 | 1190345.5371 | 2759791.4799 | 1190345.1172 | 2759790.9433 | 1190344.6358 | 2759790.0393 | 1190344.2001 | 2759789.1083 | 1190343.9195 | 2759788.1347 | 1190343.8045 | 2759787.31 | 1190343.827 | 2759786.4363 | 1190343.9704 | 2759779.0232 | 1190346.4081 | 2759777.8264 | 1190346.365 | 2759777.4393 | 1190345.1425
8 | 2759777.4393 | 1190345.1425 | 2759788.0827 | 1190341.5153
9 | 2759776.567 | 1190345.4409 | 2759777.4393 | 1190345.1425
10 | 2759750.772 | 1190387.9683 | 2759746.503 | 1190389.8226 | 2759737.7654 | 1190394.4269 | 2759731.2627 | 1190398.49
11 | 2759905.8577 | 1190467.0335 | 2759917.1658 | 1190469.5933 | 2759929.5497 | 1190472.1597 | 2759941.707 | 1190474.2804
12 | 2759905.8577 | 1190467.0335 | 2759916.995 | 1190459.1463 | 2759920.3147 | 1190456.5549 | 2759939.414 | 1190441.6854 | 2759971.2816 | 1190415.8698 | 2759973.8975 | 1190413.7062
13 | 2759973.8975 | 1190413.7062 | 2759986.7835 | 1190403.0482
14 | 2759855.0352 | 1190445.5351 | 2759856.2247 | 1190448.9921 | 2759856.611 | 1190450.526 | 2759856.7993 | 1190452.0435 | 2759856.6999 | 1190453.7646 | 2759856.2471 | 1190455.5763 | 2759855.5592 | 1190457.0481 | 2759854.5267 | 1190458.5663 | 2759853.2351 | 1190459.7884 | 2759851.6417 | 1190460.8802 | 2759846.227 | 1190464.1933
15 | 2759947.4835 | 1190316.2578 | 2759986.7835 | 1190403.0482
16 | 2759986.7835 | 1190403.0482 | 2760016.32 | 1190378.6186 | 2760050.5597 | 1190350.8125
17 | 2759947.4835 | 1190316.2578 | 2759946.158 | 1190314.1761 | 2759945.2639 | 1190313.0846 | 2759943.8826 | 1190312.2359 | 2759942.5349 | 1190311.844 | 2759940.9809 | 1190311.7468 | 2759940.9568 | 1190311.7478
18 | 2759940.9568 | 1190311.7478 | 2759938.2922 | 1190311.8529 | 2759934.3806 | 1190311.7483 | 2759932.9139 | 1190311.5425
19 | 2759849.8046 | 1190418.2716 | 2759855.308 | 1190434.7552 | 2759855.0352 | 1190445.5351
20 | 2759849.8046 | 1190418.2716 | 2759847.2923 | 1190410.9203
21 | 2759849.8046 | 1190418.2716 | 2759858.5333 | 1190414.8572 | 2759873.1914 | 1190408.4282
22 | 2759885.5791 | 1190402.5041 | 2759884.3417 | 1190403.0472 | 2759879.3254 | 1190405.7378 | 2759873.1914 | 1190408.4282
23 | 2759885.5791 | 1190402.5041 | 2759886.2553 | 1190402.2073
24 | 2759886.2553 | 1190402.2073 | 2759892.5335 | 1190399.4517 | 2759893.7717 | 1190398.8152
25 | 2759814.8107 | 1190331.311 | 2759817.1344 | 1190329.9331 | 2759820.5283 | 1190327.4215 | 2759823.6428 | 1190324.8024 | 2759826.7438 | 1190321.549 | 2759829.4586 | 1190318.2764
26 | 2759811.2663 | 1190333.2676 | 2759812.9709 | 1190332.4019 | 2759814.8107 | 1190331.311
27 | 2759830.2434 | 1190317.3305 | 2759829.4586 | 1190318.2764
28 | 2759796.773 | 1190338.866 | 2759798.509 | 1190338.4879 | 2759802.9715 | 1190337.1058 | 2759807.8114 | 1190335.022 | 2759811.2663 | 1190333.2676
29 | 2759903.5218 | 1190291.8903 | 2759905.2378 | 1190292.7087 | 2759909.3553 | 1190295.3877 | 2759912.4388 | 1190297.9278 | 2759914.7619 | 1190300.0806 | 2759918.6947 | 1190304.2449 | 2759920.8128 | 1190306.3589 | 2759923.0906 | 1190308.2102 | 2759925.7072 | 1190309.6592 | 2759928.0639 | 1190310.5563 | 2759930.9521 | 1190311.2674 | 2759932.9139 | 1190311.5425
30 | 2759864.8405 | 1190281.9315 | 2759867.0972 | 1190282.0029 | 2759869.6782 | 1190282.2165 | 2759874.4433 | 1190282.9332 | 2759879.2793 | 1190283.8521 | 2759882.9854 | 1190284.7963 | 2759886.7647 | 1190285.8537 | 2759896.9421 | 1190289.0506 | 2759900.7172 | 1190290.5527 | 2759903.5218 | 1190291.8903
31 | 2759735.8785 | 1190274.5049 | 2759733.2494 | 1190273.2337 | 2759731.4639 | 1190272.6633 | 2759730.1352 | 1190272.4165 | 2759728.2181 | 1190272.1985 | 2759715.9848 | 1190271.4048 | 2759713.7267 | 1190271.0998 | 2759712.2763 | 1190270.8387 | 2759711.0655 | 1190270.4616 | 2759709.6844 | 1190269.8909 | 2759707.0113 | 1190268.5518 | 2759705.0546 | 1190267.532 | 2759701.7963 | 1190265.8214 | 2759697.5167 | 1190263.4941 | 2759692.0513 | 1190260.7125 | 2759690.6887 | 1190260.02 | 2759689.312 | 1190259.2827 | 2759688.067 | 1190258.471 | 2759685.875 | 1190256.8333 | 2759684.5075 | 1190255.7514 | 2759683.1881 | 1190254.5819 | 2759682.0336 | 1190253.2388 | 2759681.2801 | 1190252.2025
32 | 2759730.6367 | 1190285.3523 | 2759735.8785 | 1190274.5049
33 | 2759735.8785 | 1190274.5049 | 2759736.7197 | 1190273.293 | 2759737.762 | 1190272.2643 | 2759738.5591 | 1190271.5628 | 2759739.5855 | 1190270.8451 | 2759759.0471 | 1190260.4108 | 2759760.0434 | 1190259.9773
34 | 2759730.6367 | 1190285.3523 | 2759729.753 | 1190286.4408 | 2759729.0886 | 1190287.0347 | 2759728.3931 | 1190287.5369
35 | 2759760.0434 | 1190259.9773 | 2759761.2627 | 1190259.4469 | 2759763.8597 | 1190258.4931 | 2759767.6567 | 1190257.4602 | 2759773.6235 | 1190256.0404 | 2759777.5678 | 1190254.9225 | 2759781.1918 | 1190253.796 | 2759784.5485 | 1190252.3955 | 2759788.9121 | 1190250.4324 | 2759793.8519 | 1190248.04 | 2759796.1138 | 1190246.777 | 2759798.2008 | 1190245.4872 | 2759800.6329 | 1190243.8506 | 2759802.8368 | 1190242.1858 | 2759805.8038 | 1190239.6628 | 2759812.8227 | 1190233.0518
36 | 2759720.5593 | 1190284.4049 | 2759721.1967 | 1190285.1114 | 2759721.5686 | 1190285.7552 | 2759721.9071 | 1190286.5093 | 2759722.2031 | 1190287.14 | 2759722.6534 | 1190287.7081 | 2759723.3727 | 1190288.2055 | 2759724.0975 | 1190288.4917 | 2759724.8723 | 1190288.6236 | 2759725.6204 | 1190288.6102 | 2759726.4947 | 1190288.4445 | 2759727.3192 | 1190288.144 | 2759728.2716 | 1190287.6246 | 2759728.3931 | 1190287.5369
37 | 2759749.7144 | 1190279.2894 | 2759752.2275 | 1190280.046 | 2759754.8687 | 1190281.1508 | 2759757.5757 | 1190282.6466 | 2759761.0875 | 1190284.8644 | 2759764.3367 | 1190286.8925
38 | 2759720.5593 | 1190284.4049 | 2759724.297 | 1190277.8767 | 2759726.8534 | 1190278.1562 | 2759730.1433 | 1190278.3998 | 2759733.3381 | 1190278.4851 | 2759736.855 | 1190278.5123 | 2759741.3462 | 1190278.3431 | 2759744.2742 | 1190278.4213 | 2759747.1356 | 1190278.709 | 2759749.7144 | 1190279.2894
39 | 2759764.3367 | 1190286.8925 | 2759766.2436 | 1190288.0826 | 2759771.6592 | 1190291.1335
40 | 2759720.5593 | 1190284.4049 | 2759713.744 | 1190295.5995 | 2759712.3425 | 1190298.3645 | 2759711.3238 | 1190301.9405 | 2759711.1452 | 1190303.1331
41 | 2759773.9123 | 1190292.3266 | 2759772.4604 | 1190291.5849 | 2759771.6592 | 1190291.1335
42 | 2759773.9123 | 1190292.3266 | 2759781.3732 | 1190296.1379 | 2759782.66 | 1190296.6241
43 | 2759782.66 | 1190296.6241 | 2759787.4543 | 1190298.4355 | 2759792.3817 | 1190299.6459 | 2759797.0742 | 1190300.2272 | 2759802.0395 | 1190300.3043 | 2759804.6088 | 1190300.0029
44 | 2759804.6088 | 1190300.0029 | 2759806.4408 | 1190299.788 | 2759812.373 | 1190298.2338 | 2759821.5382 | 1190295.0756
45 | 2759821.5382 | 1190295.0756 | 2759828.5621 | 1190292.6553
46 | 2759860.7425 | 1190282.2334 | 2759857.2975 | 1190282.9421 | 2759854.5399 | 1190283.6246 | 2759836.1239 | 1190290.0496 | 2759828.5621 | 1190292.6553
47 | 2759788.0827 | 1190341.5153 | 2759794.234 | 1190339.419 | 2759796.773 | 1190338.866
48 | 2759830.2434 | 1190317.3305 | 2759837.3333 | 1190308.7841
49 | 2759838.0876 | 1190307.8748 | 2759837.3333 | 1190308.7841
50 | 2759838.0876 | 1190307.8748 | 2759843.0801 | 1190301.8568 | 2759845.9054 | 1190297.7842 | 2759847.94 | 1190295.3142 | 2759850.3422 | 1190292.9796
51 | 2759860.7425 | 1190282.2334 | 2759856.6043 | 1190286.8937 | 2759850.3422 | 1190292.9796
52 | 2759864.8405 | 1190281.9315 | 2759862.7705 | 1190282.0096 | 2759860.7425 | 1190282.2334
53 | 2759864.8405 | 1190281.9315 | 2759866.9975 | 1190279.1644 | 2759868.7364 | 1190277.198 | 2759870.9072 | 1190275.3433 | 2759872.4649 | 1190274.1647
54 | 2759872.4649 | 1190274.1647 | 2759891.7478 | 1190259.5749 | 2759893.5445 | 1190258.2996 | 2759895.5249 | 1190257.0069 | 2759895.985 | 1190256.7421
55 | 2759898.6821 | 1190255.3081 | 2759897.0205 | 1190256.1461 | 2759895.985 | 1190256.7421

## bus_geodata
| x | y | coords
0 | 2759784.8677 | 1190469.9154
1 | 2759771.5868 | 1190425.8114
2 | 2759797.7214 | 1190499.9193
3 | 2759757.0206 | 1190385.4217
4 | 2759833.4437 | 1190472.0151
5 | 2759786.7458 | 1190358.0911
6 | 2759777.4393 | 1190345.1425
7 | 2759750.772 | 1190387.9683
8 | 2759905.8577 | 1190467.0335
9 | 2759941.707 | 1190474.2804
10 | 2759973.8975 | 1190413.7062
11 | 2759846.227 | 1190464.1933
12 | 2759731.2627 | 1190398.49
13 | 2759986.7835 | 1190403.0482
14 | 2759947.4835 | 1190316.2578
15 | 2759940.9568 | 1190311.7478
16 | 2759855.0352 | 1190445.5351
17 | 2759849.8046 | 1190418.2716
18 | 2759847.2923 | 1190410.9203
19 | 2759873.1914 | 1190408.4282
20 | 2759885.5791 | 1190402.5041
21 | 2759886.2553 | 1190402.2073
22 | 2759893.7717 | 1190398.8152
23 | 2759814.8107 | 1190331.311
24 | 2759829.4586 | 1190318.2764
25 | 2759811.2663 | 1190333.2676
26 | 2759932.9139 | 1190311.5425
27 | 2759903.5218 | 1190291.8903
28 | 2759681.2801 | 1190252.2025
29 | 2759735.8785 | 1190274.5049
30 | 2759730.6367 | 1190285.3523
31 | 2759760.0434 | 1190259.9773
32 | 2759728.3931 | 1190287.5369
33 | 2759812.8227 | 1190233.0518
34 | 2759749.7144 | 1190279.2894
35 | 2759764.3367 | 1190286.8925
36 | 2759720.5593 | 1190284.4049
37 | 2759711.1452 | 1190303.1331
38 | 2759771.6592 | 1190291.1335
39 | 2759776.567 | 1190345.4409
40 | 2759773.9123 | 1190292.3266
41 | 2759782.66 | 1190296.6241
42 | 2759804.6089 | 1190300.0029
43 | 2759821.5382 | 1190295.0756
44 | 2759828.5621 | 1190292.6553
45 | 2759788.0827 | 1190341.5153
46 | 2759796.773 | 1190338.866
47 | 2759830.2434 | 1190317.3305
48 | 2759837.3333 | 1190308.7841
49 | 2759838.0876 | 1190307.8748
50 | 2759850.3422 | 1190292.9796
51 | 2759860.7425 | 1190282.2334
52 | 2759864.8405 | 1190281.9315
53 | 2759872.4649 | 1190274.1647
54 | 2759895.985 | 1190256.7421
55 | 2759898.6821 | 1190255.3081
56 | 2760050.5597 | 1190350.8125
57 | 2759777.4393 | 1190345.1425

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1