## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3901-1_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3901-1_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3901-1_0_6_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_3901-1_0_6_node_11 | 0.4 | n |  | TRUE
4 | bus_LV_3901-1_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3901-1_0_6_node_27 | 0.4 | n |  | TRUE
6 | bus_LV_3901-1_0_6_node_43 | 0.4 | n |  | TRUE
7 | bus_LV_3901-1_0_6_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_3901-1_0_6_node_22 | 0.4 | n |  | TRUE
9 | bus_LV_3901-1_0_6_node_40 | 0.4 | n |  | TRUE
10 | bus_LV_3901-1_0_6_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_3901-1_0_6_node_31 | 0.4 | n |  | TRUE
12 | bus_LV_3901-1_0_6_node_29 | 0.4 | n |  | TRUE
13 | bus_LV_3901-1_0_6_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_3901-1_0_6_node_49 | 0.4 | n |  | TRUE
15 | bus_LV_3901-1_0_6_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_3901-1_0_6_node_38 | 0.4 | n |  | TRUE
17 | bus_LV_3901-1_0_6_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_3901-1_0_6_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_3901-1_0_6_node_25 | 0.4 | n |  | TRUE
20 | bus_LV_3901-1_0_6_node_23 | 0.4 | n |  | TRUE
21 | bus_LV_3901-1_0_6_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_3901-1_0_6_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_3901-1_0_6_node_53 | 0.4 | n |  | TRUE
24 | bus_LV_3901-1_0_6_node_50 | 0.4 | n |  | TRUE
25 | bus_LV_3901-1_0_6_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_3901-1_0_6_node_39 | 0.4 | n |  | TRUE
27 | bus_LV_3901-1_0_6_node_52 | 0.4 | n |  | TRUE
28 | bus_LV_3901-1_0_6_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_3901-1_0_6_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_3901-1_0_6_node_41 | 0.4 | n |  | TRUE
31 | bus_LV_3901-1_0_6_node_42 | 0.4 | n |  | TRUE
32 | bus_LV_3901-1_0_6_node_36 | 0.4 | n |  | TRUE
33 | bus_LV_3901-1_0_6_node_15 | 0.4 | n |  | TRUE
34 | bus_LV_3901-1_0_6_node_16 | 0.4 | n |  | TRUE
35 | bus_LV_3901-1_0_6_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_3901-1_0_6_node_55 | 0.4 | n |  | TRUE
37 | bus_LV_3901-1_0_6_node_46 | 0.4 | n |  | TRUE
38 | bus_LV_3901-1_0_6_node_45 | 0.4 | n |  | TRUE
39 | bus_LV_3901-1_0_6_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_3901-1_0_6_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_3901-1_0_6_node_48 | 0.4 | n |  | TRUE
42 | bus_LV_3901-1_0_6_node_47 | 0.4 | n |  | TRUE
43 | bus_LV_3901-1_0_6_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_3901-1_0_6_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_3901-1_0_6_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_3901-1_0_6_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_3901-1_0_6_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_3901-1_0_6_node_51 | 0.4 | n |  | TRUE
49 | bus_LV_3901-1_0_6_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_3901-1_0_6_node_56 | 0.4 | n |  | TRUE
51 | bus_LV_3901-1_0_6_node_44 | 0.4 | n |  | TRUE
52 | bus_MV_240_0_node_11 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3901-1_0_6_load_0 | 0 | 0.0017524 | 0.00043919 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3901-1_0_6_load_1 | 1 | 0.00075892 | 0.0001902 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3901-1_0_6_load_3 | 2 | 0.0032286 | 0.00080917 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3901-1_0_6_load_43 | 6 | 0.0032357 | 0.00081094 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3901-1_0_6_load_40 | 9 | 0.010091 | 0.0025292 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3901-1_0_6_load_29 | 12 | 0.036622 | 0.0091782 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3901-1_0_6_load_49 | 14 | 0.011949 | 0.0029946 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3901-1_0_6_load_38 | 16 | 0.016284 | 0.0040812 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3901-1_0_6_load_25 | 19 | 0.018648 | 0.0046735 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3901-1_0_6_load_24 | 21 | 0.017051 | 0.0042734 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3901-1_0_6_load_53 | 23 | 0.018593 | 0.0046598 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3901-1_0_6_load_50 | 24 | 0.0076814 | 0.0019251 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3901-1_0_6_load_21 | 25 | 0.028936 | 0.0072519 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3901-1_0_6_load_39 | 26 | 0.021719 | 0.0054434 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3901-1_0_6_load_52 | 27 | 0.0076435 | 0.0019156 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3901-1_0_6_load_19 | 28 | 0.012941 | 0.0032433 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3901-1_0_6_load_42 | 31 | 0.024478 | 0.0061347 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3901-1_0_6_load_36 | 32 | 0.016938 | 0.004245 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3901-1_0_6_load_15 | 33 | 0.03928 | 0.0098445 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3901-1_0_6_load_16 | 34 | 0.020316 | 0.0050917 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3901-1_0_6_load_20 | 35 | 0.074616 | 0.0187 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3901-1_0_6_load_55 | 36 | 0.029924 | 0.0074998 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3901-1_0_6_load_46 | 37 | 0.0064784 | 0.0016236 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3901-1_0_6_load_45 | 38 | 0.014274 | 0.0035775 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3901-1_0_6_load_26 | 39 | 0.013943 | 0.0034943 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3901-1_0_6_load_48 | 41 | 0.01029 | 0.002579 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3901-1_0_6_load_47 | 42 | 0.026402 | 0.006617 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3901-1_0_6_load_33 | 45 | 0.0067366 | 0.0016883 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3901-1_0_6_load_37 | 46 | 0.010283 | 0.002577 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3901-1_0_6_load_34 | 47 | 0.01129 | 0.0028296 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3901-1_0_6_load_51 | 48 | 0.0090125 | 0.0022588 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3901-1_0_6_load_35 | 49 | 0.034411 | 0.0086241 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3901-1_0_6_load_56 | 50 | 0.03115 | 0.0078069 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3901-1_0_6_load_44 | 51 | 0.0052887 | 0.0013255 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3901-1_0_6_line_0 |  | 0 | 1 | 0.017648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3901-1_0_6_line_1 |  | 1 | 2 | 0.011185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3901-1_0_6_line_2 |  | 2 | 3 | 0.072334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3901-1_0_6_line_3 |  | 3 | 17 | 0.016101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_3901-1_0_6_line_4 |  | 3 | 15 | 0.061098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_3901-1_0_6_line_5 |  | 4 | 5 | 0.008093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3901-1_0_6_line_6 |  | 4 | 6 | 0.089286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3901-1_0_6_line_7 |  | 5 | 18 | 0.025132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_3901-1_0_6_line_8 |  | 5 | 19 | 0.010854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3901-1_0_6_line_9 |  | 7 | 8 | 0.00726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_3901-1_0_6_line_10 |  | 7 | 9 | 0.0091608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_3901-1_0_6_line_11 |  | 8 | 21 | 0.011585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_3901-1_0_6_line_12 |  | 8 | 25 | 0.010603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3901-1_0_6_line_13 |  | 9 | 26 | 0.0042462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_3901-1_0_6_line_14 |  | 10 | 11 | 0.004785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3901-1_0_6_line_15 |  | 10 | 12 | 0.017909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3901-1_0_6_line_16 |  | 11 | 27 | 0.023172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3901-1_0_6_line_17 |  | 11 | 13 | 0.00505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3901-1_0_6_line_18 |  | 13 | 14 | 0.02694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3901-1_0_6_line_19 |  | 14 | 24 | 0.00041898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3901-1_0_6_line_20 |  | 15 | 16 | 0.0305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_3901-1_0_6_line_21 |  | 16 | 20 | 0.0022661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_3901-1_0_6_line_22 |  | 17 | 28 | 0.055168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_3901-1_0_6_line_23 |  | 18 | 36 | 0.022084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3901-1_0_6_line_24 |  | 18 | 34 | 0.016939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_3901-1_0_6_line_25 |  | 19 | 39 | 0.019245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3901-1_0_6_line_26 |  | 20 | 21 | 0.019098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_3901-1_0_6_line_27 |  | 22 | 23 | 0.0049671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3901-1_0_6_line_28 |  | 22 | 24 | 0.26919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3901-1_0_6_line_29 |  | 26 | 46 | 0.0045535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_3901-1_0_6_line_30 |  | 27 | 48 | 0.015084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3901-1_0_6_line_31 |  | 28 | 29 | 0.0092886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_3901-1_0_6_line_32 |  | 29 | 35 | 0.020254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3901-1_0_6_line_33 |  | 29 | 33 | 0.01427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_3901-1_0_6_line_34 |  | 30 | 31 | 0.038367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_3901-1_0_6_line_35 |  | 30 | 32 | 0.025019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_3901-1_0_6_line_36 |  | 31 | 50 | 0.0068894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3901-1_0_6_line_37 |  | 32 | 49 | 0.016019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_3901-1_0_6_line_38 |  | 33 | 34 | 0.0097969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_3901-1_0_6_line_39 |  | 35 | 37 | 0.054591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3901-1_0_6_line_40 |  | 37 | 38 | 0.032244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3901-1_0_6_line_41 |  | 38 | 51 | 0.062079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3901-1_0_6_line_42 |  | 39 | 40 | 0.018838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3901-1_0_6_line_43 |  | 40 | 41 | 0.017725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3901-1_0_6_line_44 |  | 40 | 42 | 0.023245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3901-1_0_6_line_45 |  | 43 | 44 | 0.002305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3901-1_0_6_line_46 |  | 43 | 45 | 0.011793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3901-1_0_6_line_47 |  | 44 | 46 | 0.0098548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
48 | LV_3901-1_0_6_line_48 |  | 44 | 47 | 0.01761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_3901-1_0_6_line_49 |  | 45 | 48 | 0.023249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3901-1_0_6_line_50 |  | 47 | 49 | 0.00048224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3901-1_0_6_trafo_42 | 0.63 MVA 20/0.4 kV | 52 | 31 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25
0 | 2759165.8908 | 1190601.444 | 2759173.4318 | 1190602.5663 | 2759183.3747 | 1190603.8385
1 | 2759194.4695 | 1190605.2582 | 2759183.3747 | 1190603.8385
2 | 2759266.1128 | 1190615.1867 | 2759257.9542 | 1190613.8352 | 2759232.6903 | 1190610.1488 | 2759194.4695 | 1190605.2582
3 | 2759266.1128 | 1190615.1867 | 2759265.5035 | 1190599.1009
4 | 2759266.1128 | 1190615.1867 | 2759270.899 | 1190616.2483 | 2759276.2403 | 1190617.6695 | 2759281.7018 | 1190619.4497 | 2759291.1833 | 1190622.6937 | 2759300.3943 | 1190625.7859 | 2759305.5203 | 1190627.2681 | 2759310.7933 | 1190628.3871 | 2759317.9522 | 1190629.4564 | 2759325.135 | 1190630.2037
5 | 2759192.5684 | 1190532.5918 | 2759200.6639 | 1190532.0177
6 | 2759192.5684 | 1190532.5918 | 2759187.3837 | 1190484.0004 | 2759186.9068 | 1190481.5634 | 2759185.5138 | 1190476.2773 | 2759184.9898 | 1190473.6055 | 2759183.3815 | 1190454.3348 | 2759182.6342 | 1190452.024 | 2759181.3196 | 1190450.0985 | 2759179.2495 | 1190448.7534 | 2759176.5567 | 1190447.8699 | 2759176.2149 | 1190447.8206
7 | 2759225.8063 | 1190530.2515 | 2759200.6639 | 1190532.0177
8 | 2759200.6639 | 1190532.0177 | 2759199.3837 | 1190521.2391
9 | 2759395.7859 | 1190628.2939 | 2759388.518 | 1190628.7341
10 | 2759395.7859 | 1190628.2939 | 2759394.588 | 1190619.2118
11 | 2759388.518 | 1190628.7341 | 2759377.1173 | 1190629.3645 | 2759376.9508 | 1190629.3723
12 | 2759388.518 | 1190628.7341 | 2759390.3518 | 1190639.1776
13 | 2759394.588 | 1190619.2118 | 2759394.0328 | 1190615.002
14 | 2759436.1208 | 1190600.9886 | 2759436.9622 | 1190598.6201 | 2759437.91 | 1190596.5546
15 | 2759436.1208 | 1190600.9886 | 2759418.9051 | 1190600.7966 | 2759418.2125 | 1190600.7946
16 | 2759437.91 | 1190596.5546 | 2759425.1246 | 1190590.1641 | 2759422.589 | 1190588.2504 | 2759419.5957 | 1190585.1903 | 2759418.5997 | 1190584.1769
17 | 2759440.3851 | 1190592.15 | 2759437.91 | 1190596.5546
18 | 2759440.3851 | 1190592.15 | 2759443.6653 | 1190586.1655 | 2759445.0496 | 1190583.4667 | 2759446.1516 | 1190580.4823 | 2759446.8735 | 1190577.4433 | 2759447.2567 | 1190574.5176 | 2759447.3129 | 1190571.5499 | 2759447.0341 | 1190567.9838 | 2759446.8191 | 1190566.7209
19 | 2759446.7488 | 1190566.3079 | 2759446.8191 | 1190566.7209
20 | 2759325.135 | 1190630.2037 | 2759330.7088 | 1190630.6302 | 2759337.1661 | 1190630.8245 | 2759347.0823 | 1190630.6438 | 2759355.6088 | 1190630.3438
21 | 2759357.8735 | 1190630.2641 | 2759355.6088 | 1190630.3438
22 | 2759265.5035 | 1190599.1009 | 2759265.2155 | 1190590.4301 | 2759265.034 | 1190581.7733 | 2759265.2363 | 1190572.1703 | 2759266.6662 | 1190543.9783
23 | 2759225.8063 | 1190530.2515 | 2759224.3328 | 1190508.2169
24 | 2759225.8063 | 1190530.2515 | 2759240.453 | 1190529.218 | 2759242.7076 | 1190529.1577
25 | 2759197.1138 | 1190502.1285 | 2759199.3837 | 1190521.2391
26 | 2759357.8735 | 1190630.2641 | 2759376.9508 | 1190629.3723
27 | 2759248.5806 | 1190392.1701 | 2759245.1486 | 1190389.2429 | 2759244.8369 | 1190388.9097
28 | 2759248.5806 | 1190392.1701 | 2759262.8017 | 1190409.141 | 2759275.1522 | 1190424.1493 | 2759301.4944 | 1190456.1337 | 2759305.27 | 1190460.4824 | 2759308.8744 | 1190464.0926 | 2759313.2577 | 1190467.9682 | 2759318.278 | 1190471.705 | 2759323.3727 | 1190474.9435 | 2759328.986 | 1190478.1846 | 2759357.4486 | 1190492.9995 | 2759394.1314 | 1190512.0038 | 2759401.8312 | 1190516.5461 | 2759410.131 | 1190522.3389 | 2759415.9967 | 1190526.988 | 2759420.941 | 1190531.279 | 2759427.3219 | 1190537.4988 | 2759433.8931 | 1190544.5911 | 2759437.4469 | 1190548.6671 | 2759440.7188 | 1190552.7245 | 2759442.4935 | 1190555.4185 | 2759443.5648 | 1190557.3043 | 2759444.5875 | 1190559.2999 | 2759445.6255 | 1190561.8631 | 2759446.5129 | 1190564.9228 | 2759446.7488 | 1190566.3079
29 | 2759394.0328 | 1190615.002 | 2759393.4374 | 1190610.4877
30 | 2759406.0258 | 1190576.079 | 2759407.9606 | 1190576.8621 | 2759411.4473 | 1190578.5897 | 2759414.3054 | 1190580.423 | 2759417.5528 | 1190583.1118 | 2759418.5997 | 1190584.1769
31 | 2759265.1293 | 1190534.9238 | 2759265.8518 | 1190536.4444 | 2759266.2696 | 1190538.2348 | 2759266.5612 | 1190540.4668 | 2759266.698 | 1190543.3507 | 2759266.6662 | 1190543.9783
32 | 2759265.1293 | 1190534.9238 | 2759268.6771 | 1190530.3475 | 2759269.4862 | 1190528.9011 | 2759270.0294 | 1190527.4143 | 2759270.3482 | 1190526.0438 | 2759270.4858 | 1190524.6018 | 2759270.5551 | 1190516.2343
33 | 2759265.1293 | 1190534.9238 | 2759264.2085 | 1190533.6871 | 2759262.8727 | 1190532.5617 | 2759261.2348 | 1190531.6062 | 2759258.7062 | 1190530.5714 | 2759255.8504 | 1190529.7947 | 2759252.4989 | 1190529.2636
34 | 2759333.0451 | 1190602.5012 | 2759332.6344 | 1190595.0059 | 2759331.7779 | 1190579.325 | 2759346.9116 | 1190578.509
35 | 2759333.0451 | 1190602.5012 | 2759358.053 | 1190601.7464
36 | 2759346.9116 | 1190578.509 | 2759353.791 | 1190578.1381
37 | 2759374.0648 | 1190601.2632 | 2759358.053 | 1190601.7464
38 | 2759252.4989 | 1190529.2636 | 2759252.4769 | 1190529.2601 | 2759246.7065 | 1190529.0508 | 2759242.7076 | 1190529.1577
39 | 2759270.5551 | 1190516.2343 | 2759270.7268 | 1190495.4939 | 2759270.8245 | 1190494.1175 | 2759271.1319 | 1190492.6021 | 2759271.6293 | 1190491.4032 | 2759274.2171 | 1190487.3463 | 2759275.2804 | 1190485.2394 | 2759275.7919 | 1190483.7962 | 2759276.0993 | 1190482.2808 | 2759276.1651 | 1190480.3809 | 2759275.9541 | 1190478.5626 | 2759275.4619 | 1190476.7034 | 2759274.4585 | 1190474.8418 | 2759272.9575 | 1190472.7556 | 2759270.9899 | 1190470.7126 | 2759268.1212 | 1190468.412 | 2759266.0921 | 1190466.9131
40 | 2759240.157 | 1190447.7548 | 2759266.0921 | 1190466.9131
41 | 2759190.5443 | 1190410.8305 | 2759193.958 | 1190412.435 | 2759196.7484 | 1190413.955 | 2759199.4669 | 1190415.5954 | 2759202.3393 | 1190417.4734 | 2759217.4024 | 1190429.1842 | 2759219.6158 | 1190431.167 | 2759221.3691 | 1190432.9486 | 2759223.4983 | 1190435.2294 | 2759224.7048 | 1190436.3402 | 2759240.157 | 1190447.7548
42 | 2759194.8919 | 1190483.4218 | 2759197.1138 | 1190502.1285
43 | 2759212.6151 | 1190482.0475 | 2759194.8919 | 1190483.4218
44 | 2759194.8919 | 1190483.4218 | 2759192.1486 | 1190460.3388
45 | 2759392.1488 | 1190600.7174 | 2759394.4605 | 1190600.7234
46 | 2759394.4605 | 1190600.7234 | 2759394.3809 | 1190596.551 | 2759394.2313 | 1190588.9329
47 | 2759392.1488 | 1190600.7174 | 2759393.4374 | 1190610.4877
48 | 2759392.1488 | 1190600.7174 | 2759374.5468 | 1190601.2487
49 | 2759406.0258 | 1190576.079 | 2759405.4016 | 1190575.8263 | 2759403.568 | 1190575.3438 | 2759401.3485 | 1190575.0288 | 2759399.2461 | 1190575.1841 | 2759397.4697 | 1190575.7039 | 2759396.0946 | 1190576.6237 | 2759395.1102 | 1190577.7762 | 2759394.5391 | 1190579.1623 | 2759394.2076 | 1190580.7215 | 2759394.1057 | 1190582.5426 | 2759394.2313 | 1190588.9329
50 | 2759374.5468 | 1190601.2487 | 2759374.0648 | 1190601.2632

## bus_geodata
| x | y | coords
0 | 2759165.8908 | 1190601.444
1 | 2759183.3747 | 1190603.8385
2 | 2759194.4695 | 1190605.2582
3 | 2759266.1128 | 1190615.1867
4 | 2759192.5684 | 1190532.5918
5 | 2759200.6639 | 1190532.0177
6 | 2759176.2149 | 1190447.8206
7 | 2759395.7859 | 1190628.2939
8 | 2759388.518 | 1190628.7341
9 | 2759394.588 | 1190619.2118
10 | 2759436.1208 | 1190600.9886
11 | 2759437.91 | 1190596.5546
12 | 2759418.2125 | 1190600.7946
13 | 2759440.3851 | 1190592.15
14 | 2759446.8191 | 1190566.7209
15 | 2759325.135 | 1190630.2037
16 | 2759355.6088 | 1190630.3438
17 | 2759265.5035 | 1190599.1009
18 | 2759225.8063 | 1190530.2515
19 | 2759199.3837 | 1190521.2391
20 | 2759357.8735 | 1190630.2641
21 | 2759376.9508 | 1190629.3723
22 | 2759248.5806 | 1190392.1701
23 | 2759244.8369 | 1190388.9097
24 | 2759446.7488 | 1190566.3079
25 | 2759390.3518 | 1190639.1776
26 | 2759394.0328 | 1190615.002
27 | 2759418.5997 | 1190584.1769
28 | 2759266.6662 | 1190543.9783
29 | 2759265.1293 | 1190534.9238
30 | 2759333.0451 | 1190602.5012
31 | 2759346.9116 | 1190578.509
32 | 2759358.053 | 1190601.7464
33 | 2759252.4989 | 1190529.2636
34 | 2759242.7076 | 1190529.1577
35 | 2759270.5551 | 1190516.2343
36 | 2759224.3328 | 1190508.2169
37 | 2759266.0921 | 1190466.9131
38 | 2759240.157 | 1190447.7548
39 | 2759197.1138 | 1190502.1285
40 | 2759194.8919 | 1190483.4218
41 | 2759212.6151 | 1190482.0475
42 | 2759192.1486 | 1190460.3388
43 | 2759394.4605 | 1190600.7234
44 | 2759392.1488 | 1190600.7174
45 | 2759394.2313 | 1190588.9329
46 | 2759393.4374 | 1190610.4877
47 | 2759374.5468 | 1190601.2487
48 | 2759406.0258 | 1190576.079
49 | 2759374.0648 | 1190601.2632
50 | 2759353.791 | 1190578.1381
51 | 2759190.5443 | 1190410.8305
52 | 2759354.4182 | 1190578.1043

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1