## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3901-3_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3901-3_0_2_node_62 | 0.4 | n |  | TRUE
2 | bus_LV_3901-3_0_2_node_63 | 0.4 | n |  | TRUE
3 | bus_LV_3901-3_0_2_node_65 | 0.4 | n |  | TRUE
4 | bus_LV_3901-3_0_2_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_3901-3_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3901-3_0_2_node_73 | 0.4 | n |  | TRUE
7 | bus_LV_3901-3_0_2_node_74 | 0.4 | n |  | TRUE
8 | bus_LV_3901-3_0_2_node_54 | 0.4 | n |  | TRUE
9 | bus_LV_3901-3_0_2_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_3901-3_0_2_node_71 | 0.4 | n |  | TRUE
11 | bus_LV_3901-3_0_2_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_3901-3_0_2_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_3901-3_0_2_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_3901-3_0_2_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_3901-3_0_2_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_3901-3_0_2_node_22 | 0.4 | n |  | TRUE
17 | bus_LV_3901-3_0_2_node_75 | 0.4 | n |  | TRUE
18 | bus_LV_3901-3_0_2_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_3901-3_0_2_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_3901-3_0_2_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_3901-3_0_2_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_3901-3_0_2_node_70 | 0.4 | n |  | TRUE
23 | bus_LV_3901-3_0_2_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_3901-3_0_2_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_3901-3_0_2_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_3901-3_0_2_node_68 | 0.4 | n |  | TRUE
27 | bus_LV_3901-3_0_2_node_66 | 0.4 | n |  | TRUE
28 | bus_LV_3901-3_0_2_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_3901-3_0_2_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_3901-3_0_2_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_3901-3_0_2_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_3901-3_0_2_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_3901-3_0_2_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_3901-3_0_2_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_3901-3_0_2_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_3901-3_0_2_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_3901-3_0_2_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_3901-3_0_2_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_3901-3_0_2_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_3901-3_0_2_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_3901-3_0_2_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_3901-3_0_2_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_3901-3_0_2_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_3901-3_0_2_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_3901-3_0_2_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_3901-3_0_2_node_53 | 0.4 | n |  | TRUE
47 | bus_LV_3901-3_0_2_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_3901-3_0_2_node_48 | 0.4 | n |  | TRUE
49 | bus_LV_3901-3_0_2_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_3901-3_0_2_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_3901-3_0_2_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_3901-3_0_2_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_3901-3_0_2_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_3901-3_0_2_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_3901-3_0_2_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_3901-3_0_2_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_3901-3_0_2_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_3901-3_0_2_node_50 | 0.4 | n |  | TRUE
59 | bus_LV_3901-3_0_2_node_55 | 0.4 | n |  | TRUE
60 | bus_LV_3901-3_0_2_node_59 | 0.4 | n |  | TRUE
61 | bus_LV_3901-3_0_2_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_3901-3_0_2_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_3901-3_0_2_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_3901-3_0_2_node_60 | 0.4 | n |  | TRUE
65 | bus_LV_3901-3_0_2_node_58 | 0.4 | n |  | TRUE
66 | bus_LV_3901-3_0_2_node_61 | 0.4 | n |  | TRUE
67 | bus_LV_3901-3_0_2_node_64 | 0.4 | n |  | TRUE
68 | bus_MV_61_0_node_59 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3901-3_0_2_load_0 | 0 | 0.013416 | 0.0033623 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3901-3_0_2_load_62 | 1 | 0.00082877 | 0.00020771 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3901-3_0_2_load_63 | 2 | 0.0037169 | 0.00093154 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3901-3_0_2_load_65 | 3 | 0.0040451 | 0.0010138 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3901-3_0_2_load_3 | 4 | 0.01393 | 0.0034912 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3901-3_0_2_load_5 | 5 | 0.00060694 | 0.00015211 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3901-3_0_2_load_73 | 6 | 0.0012064 | 0.00030235 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3901-3_0_2_load_74 | 7 | 0.0046628 | 0.0011686 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3901-3_0_2_load_6 | 9 | 0.0019457 | 0.00048764 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3901-3_0_2_load_71 | 10 | 0.0022604 | 0.0005665 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3901-3_0_2_load_7 | 12 | 0.0023035 | 0.00057732 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3901-3_0_2_load_75 | 17 | 0.0049671 | 0.0012449 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3901-3_0_2_load_16 | 18 | 0.0036032 | 0.00090303 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3901-3_0_2_load_18 | 21 | 0.0022572 | 0.0005657 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3901-3_0_2_load_21 | 23 | 0.0023852 | 0.00059779 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3901-3_0_2_load_15 | 24 | 0.004741 | 0.0011882 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3901-3_0_2_load_66 | 27 | 0.0076225 | 0.0019104 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3901-3_0_2_load_19 | 28 | 0.0009612 | 0.0002409 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3901-3_0_2_load_24 | 30 | 0.0013958 | 0.00034981 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3901-3_0_2_load_25 | 31 | 0.017917 | 0.0044905 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3901-3_0_2_load_26 | 32 | 0.0024797 | 0.00062148 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3901-3_0_2_load_27 | 33 | 0.0064987 | 0.0016287 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3901-3_0_2_load_28 | 34 | 0.0032967 | 0.00082622 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3901-3_0_2_load_33 | 36 | 0.0041892 | 0.0010499 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3901-3_0_2_load_29 | 37 | 0.0050054 | 0.0012545 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3901-3_0_2_load_30 | 38 | 0.0050482 | 0.0012652 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3901-3_0_2_load_32 | 39 | 0.0030522 | 0.00076496 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3901-3_0_2_load_36 | 40 | 0.0067854 | 0.0017006 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3901-3_0_2_load_34 | 41 | 0.0038641 | 0.00096843 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3901-3_0_2_load_37 | 43 | 0.0029753 | 0.00074567 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3901-3_0_2_load_38 | 44 | 0.0018822 | 0.00047171 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3901-3_0_2_load_39 | 45 | 0.0040735 | 0.0010209 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3901-3_0_2_load_53 | 46 | 0.0062931 | 0.0015772 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3901-3_0_2_load_40 | 47 | 0.0016118 | 0.00040395 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3901-3_0_2_load_41 | 49 | 0.0037816 | 0.00094776 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3901-3_0_2_load_42 | 50 | 0.0016669 | 0.00041778 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3901-3_0_2_load_43 | 51 | 0.0085941 | 0.0021539 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3901-3_0_2_load_44 | 52 | 0.0033785 | 0.00084672 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3901-3_0_2_load_47 | 55 | 0.004676 | 0.0011719 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3901-3_0_2_load_49 | 56 | 0.0039761 | 0.00099651 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3901-3_0_2_load_52 | 57 | 0.0031034 | 0.00077777 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3901-3_0_2_load_50 | 58 | 0.0026331 | 0.00065993 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3901-3_0_2_load_59 | 60 | 0.003466 | 0.00086866 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3901-3_0_2_load_51 | 61 | 0.010458 | 0.0026211 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3901-3_0_2_load_57 | 63 | 0.0024752 | 0.00062033 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3901-3_0_2_load_60 | 64 | 0.0045334 | 0.0011362 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3901-3_0_2_load_58 | 65 | 0.0011528 | 0.00028893 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3901-3_0_2_load_61 | 66 | 0.0031682 | 0.00079401 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3901-3_0_2_load_64 | 67 | 0.0037662 | 0.00094391 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 44 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3901-3_0_2_line_0 |  | 0 | 1 | 0.11446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3901-3_0_2_line_1 |  | 1 | 2 | 0.0096958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3901-3_0_2_line_2 |  | 1 | 3 | 0.11397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3901-3_0_2_line_3 |  | 2 | 67 | 0.0080172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3901-3_0_2_line_4 |  | 4 | 5 | 0.035843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3901-3_0_2_line_5 |  | 5 | 6 | 0.1241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3901-3_0_2_line_6 |  | 6 | 7 | 0.067143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3901-3_0_2_line_7 |  | 6 | 8 | 0.094631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3901-3_0_2_line_8 |  | 8 | 22 | 0.023922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3901-3_0_2_line_9 |  | 8 | 48 | 0.0643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3901-3_0_2_line_10 |  | 9 | 10 | 0.21432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3901-3_0_2_line_11 |  | 10 | 11 | 0.025475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3901-3_0_2_line_12 |  | 11 | 22 | 0.15083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3901-3_0_2_line_13 |  | 12 | 13 | 0.017706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3901-3_0_2_line_14 |  | 13 | 14 | 0.005462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3901-3_0_2_line_15 |  | 14 | 18 | 0.0055358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3901-3_0_2_line_16 |  | 14 | 15 | 0.048145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3901-3_0_2_line_17 |  | 15 | 16 | 0.014144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3901-3_0_2_line_18 |  | 15 | 17 | 0.088149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3901-3_0_2_line_19 |  | 16 | 23 | 0.095603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3901-3_0_2_line_20 |  | 18 | 24 | 0.024481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3901-3_0_2_line_21 |  | 19 | 20 | 0.003771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3901-3_0_2_line_22 |  | 19 | 21 | 0.0093186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3901-3_0_2_line_23 |  | 20 | 24 | 0.019609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3901-3_0_2_line_24 |  | 21 | 25 | 0.29385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3901-3_0_2_line_25 |  | 22 | 26 | 0.16232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3901-3_0_2_line_26 |  | 23 | 29 | 0.0069656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3901-3_0_2_line_27 |  | 25 | 28 | 0.030115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3901-3_0_2_line_28 |  | 26 | 27 | 0.0097469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3901-3_0_2_line_29 |  | 29 | 30 | 0.0074888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3901-3_0_2_line_30 |  | 29 | 31 | 0.053692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3901-3_0_2_line_31 |  | 30 | 32 | 0.0065574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3901-3_0_2_line_32 |  | 32 | 33 | 0.0156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3901-3_0_2_line_33 |  | 33 | 34 | 0.015544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3901-3_0_2_line_34 |  | 34 | 35 | 0.0092349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3901-3_0_2_line_35 |  | 35 | 36 | 0.004227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3901-3_0_2_line_36 |  | 35 | 37 | 0.011386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3901-3_0_2_line_37 |  | 36 | 40 | 0.03325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3901-3_0_2_line_38 |  | 36 | 41 | 0.030347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3901-3_0_2_line_39 |  | 37 | 38 | 0.024486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3901-3_0_2_line_40 |  | 38 | 39 | 0.019888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3901-3_0_2_line_41 |  | 41 | 42 | 0.01231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3901-3_0_2_line_42 |  | 42 | 43 | 0.033828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3901-3_0_2_line_43 |  | 42 | 44 | 0.032703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3901-3_0_2_line_44 |  | 43 | 45 | 0.0077537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3901-3_0_2_line_45 |  | 44 | 46 | 0.0021452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3901-3_0_2_line_46 |  | 45 | 47 | 0.011621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3901-3_0_2_line_47 |  | 46 | 48 | 0.06718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3901-3_0_2_line_48 |  | 47 | 49 | 0.0023077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3901-3_0_2_line_49 |  | 48 | 53 | 0.018669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3901-3_0_2_line_50 |  | 49 | 50 | 0.0061377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3901-3_0_2_line_51 |  | 51 | 52 | 0.00089637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3901-3_0_2_line_52 |  | 51 | 53 | 0.019235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3901-3_0_2_line_53 |  | 52 | 54 | 0.012092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3901-3_0_2_line_54 |  | 53 | 55 | 0.021379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3901-3_0_2_line_55 |  | 53 | 56 | 0.010948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3901-3_0_2_line_56 |  | 54 | 57 | 0.012892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3901-3_0_2_line_57 |  | 54 | 58 | 0.019373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3901-3_0_2_line_58 |  | 56 | 59 | 0.026767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3901-3_0_2_line_59 |  | 57 | 60 | 0.015447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3901-3_0_2_line_60 |  | 58 | 61 | 0.03793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3901-3_0_2_line_61 |  | 59 | 62 | 0.003065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3901-3_0_2_line_62 |  | 59 | 63 | 0.026637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3901-3_0_2_line_63 |  | 60 | 64 | 0.0025094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3901-3_0_2_line_64 |  | 62 | 65 | 0.0040791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3901-3_0_2_line_65 |  | 64 | 66 | 0.015764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3901-3_0_2_line_66 |  | 66 | 67 | 0.0010106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3901-3_0_2_trafo_38 | 0.63 MVA 20/0.4 kV | 68 | 44 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33
0 | 2760300.2772 | 1190267.2167 | 2760284.9905 | 1190380.6521
1 | 2760300.2772 | 1190267.2167 | 2760306.0924 | 1190259.4584
2 | 2760300.2772 | 1190267.2167 | 2760356.0429 | 1190366.6095
3 | 2760306.0924 | 1190259.4584 | 2760310.9008 | 1190253.0431
4 | 2760117.3374 | 1190169.692 | 2760117.7091 | 1190167.2109 | 2760117.6578 | 1190165.419 | 2760117.3417 | 1190163.8314 | 2760116.618 | 1190162.0772 | 2760115.3322 | 1190160.5081 | 2760113.4766 | 1190159.135 | 2760111.3011 | 1190158.3095 | 2760109.3018 | 1190158.3115 | 2760090.2192 | 1190161.5898
5 | 2760177.2874 | 1190278.3502 | 2760117.3374 | 1190169.692
6 | 2760177.2874 | 1190278.3502 | 2760171.6159 | 1190281.3195 | 2760164.4621 | 1190284.6088 | 2760139.2016 | 1190296.4323 | 2760126.793 | 1190301.9052 | 2760117.3274 | 1190306.3226 | 2760116.4592 | 1190306.7541
7 | 2760251.5794 | 1190220.5061 | 2760241.4285 | 1190231.1326 | 2760227.673 | 1190243.8645 | 2760219.6167 | 1190250.6437 | 2760211.4536 | 1190256.8529 | 2760203.4336 | 1190262.5655 | 2760192.646 | 1190269.6164 | 2760181.8004 | 1190275.9873 | 2760177.2874 | 1190278.3502
8 | 2760251.5794 | 1190220.5061 | 2760256.0938 | 1190215.4892 | 2760260.8732 | 1190209.979 | 2760267.0477 | 1190202.2375
9 | 2760251.5794 | 1190220.5061 | 2760254.0609 | 1190222.4409 | 2760254.7661 | 1190222.8935 | 2760255.5953 | 1190223.2716 | 2760256.4659 | 1190223.5284 | 2760257.402 | 1190223.6202 | 2760258.5247 | 1190223.5836 | 2760259.6439 | 1190223.3912 | 2760260.5432 | 1190223.1483 | 2760261.4464 | 1190222.7611 | 2760262.3299 | 1190222.2509 | 2760263.178 | 1190221.6398 | 2760263.8288 | 1190220.99 | 2760264.3355 | 1190220.3029 | 2760272.1989 | 1190206.2011 | 2760274.7635 | 1190202.1884 | 2760277.8818 | 1190198.0127 | 2760281.3768 | 1190193.7358 | 2760284.9761 | 1190190.1179 | 2760291.1274 | 1190184.9558 | 2760294.6131 | 1190181.5907
10 | 2760234.2617 | 1190049.322 | 2760153.3505 | 1189850.8661
11 | 2760230.8703 | 1190074.3681 | 2760230.5313 | 1190069.0766 | 2760230.6012 | 1190066.4651 | 2760230.9909 | 1190063.5952 | 2760232.8611 | 1190054.1703 | 2760233.5491 | 1190051.2751 | 2760234.2617 | 1190049.322
12 | 2760230.8703 | 1190074.3681 | 2760230.7192 | 1190078.0117 | 2760230.2865 | 1190081.3475 | 2760229.6632 | 1190085.2453 | 2760228.3194 | 1190092.6825 | 2760227.7599 | 1190096.1929 | 2760227.3702 | 1190099.6299 | 2760227.124 | 1190103.6935 | 2760227.2805 | 1190106.9673 | 2760227.671 | 1190110.3362 | 2760228.3648 | 1190113.4909 | 2760229.1464 | 1190116.5033 | 2760233.0227 | 1190128.184 | 2760235.5293 | 1190135.7355 | 2760236.0754 | 1190139.5646 | 2760235.9643 | 1190143.1425 | 2760235.0851 | 1190146.622 | 2760233.5894 | 1190150.3297 | 2760232.2197 | 1190152.7507 | 2760229.3532 | 1190156.3549 | 2760227.9431 | 1190158.5747 | 2760227.0217 | 1190161.3525 | 2760226.7406 | 1190164.7257 | 2760227.08 | 1190167.4371 | 2760227.9724 | 1190170.586 | 2760229.5105 | 1190173.274 | 2760231.7096 | 1190175.7795 | 2760234.498 | 1190178.2229 | 2760238.2391 | 1190180.9921 | 2760246.1412 | 1190186.8087 | 2760248.0642 | 1190188.2281 | 2760262.6085 | 1190199.038 | 2760265.4457 | 1190201.0824 | 2760267.0477 | 1190202.2375
13 | 2760445.6195 | 1189857.9516 | 2760455.3874 | 1189843.1843
14 | 2760450.2655 | 1189860.8453 | 2760447.8937 | 1189859.3694 | 2760445.6195 | 1189857.9516
15 | 2760450.2655 | 1189860.8453 | 2760453.28 | 1189856.2023
16 | 2760450.2655 | 1189860.8453 | 2760424.4953 | 1189901.546
17 | 2760424.4953 | 1189901.546 | 2760429.0769 | 1189905.4167 | 2760430.6163 | 1189906.9148 | 2760432.1048 | 1189908.8897 | 2760432.9562 | 1189910.4361 | 2760433.6602 | 1189912.0675
18 | 2760424.4953 | 1189901.546 | 2760394.7654 | 1189946.5001 | 2760381.8775 | 1189967.2508 | 2760377.1266 | 1189975.852
19 | 2760433.6602 | 1189912.0675 | 2760421.178 | 1189936.4656 | 2760418.9821 | 1189941.2331 | 2760416.9896 | 1189945.8171 | 2760396.9415 | 1190000.189
20 | 2760466.6112 | 1189835.669 | 2760453.28 | 1189856.2023
21 | 2760479.4406 | 1189816.1214 | 2760477.2894 | 1189819.222
22 | 2760479.4406 | 1189816.1214 | 2760484.7543 | 1189808.4662
23 | 2760477.2894 | 1189819.222 | 2760466.6112 | 1189835.669
24 | 2760484.7543 | 1189808.4662 | 2760773.9143 | 1189860.7719
25 | 2760267.0477 | 1190202.2375 | 2760265.4457 | 1190201.0824 | 2760262.6085 | 1190199.038 | 2760248.0642 | 1190188.2281 | 2760246.1412 | 1190186.8087 | 2760238.2391 | 1190180.9921 | 2760239.986 | 1190177.0243 | 2760242.0329 | 1190172.3973 | 2760256.713 | 1190139.1166 | 2760257.4125 | 1190137.5005 | 2760264.8546 | 1190120.3291 | 2760250.0145 | 1190113.437 | 2760257.5829 | 1190095.8241 | 2760260.8716 | 1190088.1387 | 2760267.4621 | 1190073.1353
26 | 2760394.5318 | 1190006.7244 | 2760396.9415 | 1190000.189
27 | 2760773.9143 | 1189860.7719 | 2760788.9789 | 1189834.6952
28 | 2760267.4621 | 1190073.1353 | 2760271.3804 | 1190064.2107
29 | 2760394.5318 | 1190006.7244 | 2760392.5302 | 1190007.9496 | 2760390.4704 | 1190009.3513 | 2760388.577 | 1190011.2062
30 | 2760440.7265 | 1189984.3314 | 2760439.0161 | 1189986.9323 | 2760437.6657 | 1189988.6309 | 2760436.1373 | 1189990.1357 | 2760431.3578 | 1189993.9332 | 2760423.0077 | 1190000.5486 | 2760421.5239 | 1190001.5319 | 2760419.9365 | 1190002.3902 | 2760418.1921 | 1190003.133 | 2760416.8991 | 1190003.5431 | 2760415.4087 | 1190003.9146 | 2760413.8378 | 1190004.1616 | 2760411.5897 | 1190004.3349 | 2760407.6987 | 1190004.3084 | 2760403.1383 | 1190004.4864 | 2760399.5536 | 1190004.9908 | 2760396.8703 | 1190005.7418 | 2760394.5318 | 1190006.7244
31 | 2760388.577 | 1190011.2062 | 2760388.0175 | 1190011.7543 | 2760384.3359 | 1190016.2025
32 | 2760374.3893 | 1190028.2197 | 2760384.3359 | 1190016.2025
33 | 2760374.3893 | 1190028.2197 | 2760371.7009 | 1190031.4679 | 2760368.1106 | 1190036.1647 | 2760365.1206 | 1190040.6808
34 | 2760360.0226 | 1190048.381 | 2760365.1206 | 1190040.6808
35 | 2760357.6921 | 1190051.9106 | 2760360.0226 | 1190048.381
36 | 2760360.0226 | 1190048.381 | 2760370.9184 | 1190051.6874
37 | 2760357.6921 | 1190051.9106 | 2760373.3252 | 1190058.5462 | 2760374.9373 | 1190059.3234 | 2760375.9198 | 1190059.9614 | 2760376.6811 | 1190060.8826 | 2760377.0611 | 1190061.7936 | 2760377.1953 | 1190062.7647 | 2760377.0664 | 1190063.8733 | 2760376.7709 | 1190064.933 | 2760373.6816 | 1190072.2901
38 | 2760357.6921 | 1190051.9106 | 2760352.4139 | 1190060.3655 | 2760349.2528 | 1190066.4195 | 2760343.7313 | 1190078.7937
39 | 2760370.9184 | 1190051.6874 | 2760383.2978 | 1190055.444 | 2760389.8986 | 1190045.967
40 | 2760401.2656 | 1190029.6472 | 2760389.8986 | 1190045.967
41 | 2760338.715 | 1190090.0357 | 2760343.7313 | 1190078.7937
42 | 2760338.715 | 1190090.0357 | 2760366.0356 | 1190096.4843 | 2760368.144 | 1190097.2525 | 2760369.7205 | 1190098.2178 | 2760370.9967 | 1190099.2863
43 | 2760338.715 | 1190090.0357 | 2760334.2189 | 1190101.7701 | 2760330.2498 | 1190112.0617 | 2760326.6706 | 1190120.4351
44 | 2760370.9967 | 1190099.2863 | 2760372.0602 | 1190100.6048 | 2760372.8432 | 1190102.1382 | 2760373.2321 | 1190103.5721 | 2760373.4894 | 1190105.3584 | 2760373.5065 | 1190106.4059
45 | 2760325.8275 | 1190122.4077 | 2760326.6706 | 1190120.4351
46 | 2760373.5065 | 1190106.4059 | 2760373.5183 | 1190107.1274 | 2760373.3491 | 1190109.1691 | 2760373.0479 | 1190111.8634 | 2760372.4604 | 1190114.9948 | 2760371.8466 | 1190117.8837
47 | 2760294.6131 | 1190181.5907 | 2760297.4123 | 1190178.5074 | 2760299.9666 | 1190175.1617 | 2760302.0814 | 1190171.7042 | 2760310.826 | 1190154.6233 | 2760314.8369 | 1190147.3243 | 2760319.3325 | 1190137.6029 | 2760325.8275 | 1190122.4077
48 | 2760371.3966 | 1190120.1468 | 2760371.5347 | 1190119.3516 | 2760371.8466 | 1190117.8837
49 | 2760311.2963 | 1190190.0337 | 2760308.6161 | 1190188.3938 | 2760305.825 | 1190186.9066 | 2760300.4093 | 1190184.2704 | 2760294.6131 | 1190181.5907
50 | 2760371.3966 | 1190120.1468 | 2760370.5872 | 1190124.8088 | 2760370.3558 | 1190126.1956
51 | 2760325.8865 | 1190202.4966 | 2760326.5251 | 1190203.1256
52 | 2760311.2963 | 1190190.0337 | 2760313.4032 | 1190191.4246 | 2760315.4168 | 1190192.8798 | 2760317.3729 | 1190194.4892 | 2760319.693 | 1190196.4642 | 2760322.1779 | 1190198.8439 | 2760325.8865 | 1190202.4966
53 | 2760334.3668 | 1190212.1153 | 2760334.1686 | 1190211.2537 | 2760333.7847 | 1190210.4872 | 2760333.2624 | 1190209.7614 | 2760326.5251 | 1190203.1256
54 | 2760311.2963 | 1190190.0337 | 2760323.8849 | 1190172.7334
55 | 2760311.2963 | 1190190.0337 | 2760305.6643 | 1190199.4222
56 | 2760334.3668 | 1190212.1153 | 2760334.4222 | 1190212.8952 | 2760334.2792 | 1190213.959 | 2760333.9307 | 1190215.0061 | 2760329.6641 | 1190223.9759
57 | 2760334.3668 | 1190212.1153 | 2760337.1912 | 1190211.7906 | 2760338.9041 | 1190211.3695 | 2760340.4408 | 1190210.6878 | 2760341.8035 | 1190209.6679 | 2760343.0505 | 1190208.4113 | 2760348.7597 | 1190200.6784
58 | 2760291.8949 | 1190222.3759 | 2760305.6643 | 1190199.4222
59 | 2760322.4667 | 1190237.6122 | 2760322.8622 | 1190237.0847 | 2760324.5977 | 1190234.3954 | 2760325.9496 | 1190231.7849 | 2760329.6641 | 1190223.9759
60 | 2760354.7668 | 1190164.164 | 2760353.4543 | 1190192.6316 | 2760353.2159 | 1190193.8374 | 2760352.7409 | 1190195.048 | 2760352.1404 | 1190196.0995 | 2760348.7597 | 1190200.6784
61 | 2760288.822 | 1190222.2935 | 2760291.8949 | 1190222.3759
62 | 2760291.8949 | 1190222.3759 | 2760285.2456 | 1190236.4435 | 2760280.8044 | 1190246.5917
63 | 2760322.4667 | 1190237.6122 | 2760320.9617 | 1190239.6202
64 | 2760288.822 | 1190222.2935 | 2760284.7444 | 1190222.1843
65 | 2760320.9617 | 1190239.6202 | 2760311.5069 | 1190252.2345
66 | 2760310.9008 | 1190253.0431 | 2760311.5069 | 1190252.2345

## bus_geodata
| x | y | coords
0 | 2760284.9905 | 1190380.6521
1 | 2760300.2772 | 1190267.2167
2 | 2760306.0924 | 1190259.4584
3 | 2760356.0429 | 1190366.6095
4 | 2760090.2192 | 1190161.5898
5 | 2760117.3374 | 1190169.692
6 | 2760177.2874 | 1190278.3502
7 | 2760116.4592 | 1190306.7541
8 | 2760251.5794 | 1190220.5061
9 | 2760153.3505 | 1189850.8661
10 | 2760234.2617 | 1190049.322
11 | 2760230.8703 | 1190074.3681
12 | 2760455.3874 | 1189843.1843
13 | 2760445.6195 | 1189857.9516
14 | 2760450.2655 | 1189860.8453
15 | 2760424.4953 | 1189901.546
16 | 2760433.6602 | 1189912.0675
17 | 2760377.1266 | 1189975.852
18 | 2760453.28 | 1189856.2023
19 | 2760479.4406 | 1189816.1214
20 | 2760477.2894 | 1189819.222
21 | 2760484.7543 | 1189808.4662
22 | 2760267.0477 | 1190202.2375
23 | 2760396.9415 | 1190000.189
24 | 2760466.6112 | 1189835.669
25 | 2760773.9143 | 1189860.7719
26 | 2760267.4621 | 1190073.1353
27 | 2760271.3804 | 1190064.2107
28 | 2760788.9789 | 1189834.6952
29 | 2760394.5318 | 1190006.7244
30 | 2760388.577 | 1190011.2062
31 | 2760440.7265 | 1189984.3314
32 | 2760384.3359 | 1190016.2025
33 | 2760374.3893 | 1190028.2197
34 | 2760365.1206 | 1190040.6808
35 | 2760360.0226 | 1190048.381
36 | 2760357.6921 | 1190051.9106
37 | 2760370.9184 | 1190051.6874
38 | 2760389.8986 | 1190045.967
39 | 2760401.2656 | 1190029.6472
40 | 2760373.6816 | 1190072.2901
41 | 2760343.7313 | 1190078.7937
42 | 2760338.715 | 1190090.0357
43 | 2760370.9967 | 1190099.2863
44 | 2760326.6706 | 1190120.4351
45 | 2760373.5065 | 1190106.4059
46 | 2760325.8275 | 1190122.4077
47 | 2760371.8466 | 1190117.8837
48 | 2760294.6131 | 1190181.5907
49 | 2760371.3966 | 1190120.1468
50 | 2760370.3558 | 1190126.1956
51 | 2760325.8865 | 1190202.4966
52 | 2760326.5251 | 1190203.1256
53 | 2760311.2963 | 1190190.0337
54 | 2760334.3668 | 1190212.1153
55 | 2760323.8849 | 1190172.7334
56 | 2760305.6643 | 1190199.4222
57 | 2760329.6641 | 1190223.9759
58 | 2760348.7597 | 1190200.6784
59 | 2760291.8949 | 1190222.3759
60 | 2760322.4667 | 1190237.6122
61 | 2760354.7668 | 1190164.164
62 | 2760288.822 | 1190222.2935
63 | 2760280.8044 | 1190246.5917
64 | 2760320.9617 | 1190239.6202
65 | 2760284.7444 | 1190222.1843
66 | 2760311.5069 | 1190252.2345
67 | 2760310.9008 | 1190253.0431
68 | 2760338.715 | 1190090.0357

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1