## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3901-99_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3901-99_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3901-99_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3901-99_0_2_node_10 | 0.4 | n |  | TRUE
4 | bus_LV_3901-99_0_2_node_11 | 0.4 | n |  | TRUE
5 | bus_LV_3901-99_0_2_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_3901-99_0_2_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_3901-99_0_2_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_3901-99_0_2_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_3901-99_0_2_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_3901-99_0_2_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_3901-99_0_2_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_3901-99_0_2_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_3901-99_0_2_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_3901-99_0_2_node_30 | 0.4 | n |  | TRUE
15 | bus_LV_3901-99_0_2_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_3901-99_0_2_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_3901-99_0_2_node_31 | 0.4 | n |  | TRUE
18 | bus_LV_3901-99_0_2_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_3901-99_0_2_node_32 | 0.4 | n |  | TRUE
20 | bus_LV_3901-99_0_2_node_33 | 0.4 | n |  | TRUE
21 | bus_LV_3901-99_0_2_node_34 | 0.4 | n |  | TRUE
22 | bus_LV_3901-99_0_2_node_35 | 0.4 | n |  | TRUE
23 | bus_LV_3901-99_0_2_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_3901-99_0_2_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_3901-99_0_2_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_3901-99_0_2_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_3901-99_0_2_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_3901-99_0_2_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_3901-99_0_2_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_3901-99_0_2_node_56 | 0.4 | n |  | TRUE
31 | bus_LV_3901-99_0_2_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_3901-99_0_2_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_3901-99_0_2_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_3901-99_0_2_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_3901-99_0_2_node_41 | 0.4 | n |  | TRUE
36 | bus_LV_3901-99_0_2_node_39 | 0.4 | n |  | TRUE
37 | bus_LV_3901-99_0_2_node_52 | 0.4 | n |  | TRUE
38 | bus_LV_3901-99_0_2_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_3901-99_0_2_node_40 | 0.4 | n |  | TRUE
40 | bus_LV_3901-99_0_2_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_3901-99_0_2_node_53 | 0.4 | n |  | TRUE
42 | bus_LV_3901-99_0_2_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_3901-99_0_2_node_42 | 0.4 | n |  | TRUE
44 | bus_LV_3901-99_0_2_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_3901-99_0_2_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_3901-99_0_2_node_49 | 0.4 | n |  | TRUE
47 | bus_LV_3901-99_0_2_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_3901-99_0_2_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_3901-99_0_2_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_3901-99_0_2_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_3901-99_0_2_node_51 | 0.4 | n |  | TRUE
52 | bus_LV_3901-99_0_2_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_3901-99_0_2_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_3901-99_0_2_node_50 | 0.4 | n |  | TRUE
55 | bus_LV_3901-99_0_2_node_54 | 0.4 | n |  | TRUE
56 | bus_MV_0_node_34 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3901-99_0_2_load_0 | 0 | 0.00037675 | 9.4422e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3901-99_0_2_load_1 | 1 | 0.00020561 | 5.1531e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3901-99_0_2_load_10 | 3 | 0.00016265 | 4.0764e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3901-99_0_2_load_11 | 4 | 0.00066254 | 0.00016605 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3901-99_0_2_load_3 | 5 | 0.00022896 | 5.7383e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3901-99_0_2_load_4 | 6 | 0.00046551 | 0.00011667 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3901-99_0_2_load_12 | 7 | 0.00036999 | 9.2728e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3901-99_0_2_load_9 | 8 | 0.00095472 | 0.00023927 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3901-99_0_2_load_5 | 9 | 0.00037491 | 9.3961e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3901-99_0_2_load_8 | 10 | 0.00016764 | 4.2014e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3901-99_0_2_load_13 | 11 | 0.00042425 | 0.00010633 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3901-99_0_2_load_6 | 12 | 0.00024069 | 6.0323e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3901-99_0_2_load_7 | 13 | 0.00033059 | 8.2854e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3901-99_0_2_load_30 | 14 | 0.0006338 | 0.00015885 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3901-99_0_2_load_14 | 15 | 0.00034774 | 8.7152e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3901-99_0_2_load_15 | 16 | 0.00028364 | 7.1086e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3901-99_0_2_load_31 | 17 | 0.00031957 | 8.0092e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3901-99_0_2_load_16 | 18 | 0.00023071 | 5.782e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3901-99_0_2_load_32 | 19 | 0.00027899 | 6.9922e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3901-99_0_2_load_33 | 20 | 0.00039844 | 9.9859e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3901-99_0_2_load_34 | 21 | 0.000275 | 6.8922e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3901-99_0_2_load_35 | 22 | 0.00024866 | 6.232e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3901-99_0_2_load_17 | 23 | 0.0002558 | 6.4109e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3901-99_0_2_load_18 | 24 | 0.00015926 | 3.9913e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3901-99_0_2_load_19 | 25 | 0.00023268 | 5.8315e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3901-99_0_2_load_20 | 26 | 0.00028947 | 7.2549e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3901-99_0_2_load_21 | 27 | 0.00029472 | 7.3863e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3901-99_0_2_load_56 | 30 | 0.00051262 | 0.00012848 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3901-99_0_2_load_29 | 33 | 0.00024086 | 6.0365e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3901-99_0_2_load_27 | 34 | 0.00027256 | 6.8311e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3901-99_0_2_load_41 | 35 | 0.00077577 | 0.00019443 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3901-99_0_2_load_39 | 36 | 0.00027936 | 7.0013e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3901-99_0_2_load_52 | 37 | 0.00029749 | 7.4557e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3901-99_0_2_load_26 | 38 | 0.00039694 | 9.9482e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3901-99_0_2_load_40 | 39 | 0.00028496 | 7.1418e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3901-99_0_2_load_28 | 40 | 0.00023256 | 5.8284e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3901-99_0_2_load_53 | 41 | 0.00022769 | 5.7065e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3901-99_0_2_load_36 | 42 | 0.00068299 | 0.00017117 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3901-99_0_2_load_42 | 43 | 0.00032527 | 8.1521e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3901-99_0_2_load_38 | 45 | 0.00028643 | 7.1787e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3901-99_0_2_load_49 | 46 | 0.0012186 | 0.00030542 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3901-99_0_2_load_43 | 47 | 0.00022907 | 5.7411e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3901-99_0_2_load_44 | 48 | 0.0041622 | 0.0010431 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3901-99_0_2_load_45 | 49 | 0.0029853 | 0.00074819 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3901-99_0_2_load_51 | 51 | 0.0035562 | 0.00089128 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3901-99_0_2_load_47 | 52 | 0.0022462 | 0.00056295 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3901-99_0_2_load_48 | 53 | 0.0043274 | 0.0010846 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3901-99_0_2_load_50 | 54 | 0.0037076 | 0.0009292 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3901-99_0_2_load_54 | 55 | 0.00022453 | 5.6274e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3901-99_0_2_line_0 |  | 0 | 1 | 0.072918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3901-99_0_2_line_1 |  | 1 | 2 | 0.062417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3901-99_0_2_line_2 |  | 2 | 5 | 0.011307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3901-99_0_2_line_3 |  | 2 | 6 | 0.007476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3901-99_0_2_line_4 |  | 3 | 4 | 0.061296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3901-99_0_2_line_5 |  | 4 | 7 | 0.066937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3901-99_0_2_line_6 |  | 4 | 8 | 0.094415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3901-99_0_2_line_7 |  | 5 | 9 | 0.0099009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3901-99_0_2_line_8 |  | 6 | 10 | 0.050411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3901-99_0_2_line_9 |  | 7 | 11 | 0.038043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3901-99_0_2_line_10 |  | 8 | 10 | 0.037046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3901-99_0_2_line_11 |  | 9 | 12 | 0.071115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3901-99_0_2_line_12 |  | 11 | 15 | 0.01561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3901-99_0_2_line_13 |  | 12 | 13 | 0.0010632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3901-99_0_2_line_14 |  | 13 | 14 | 0.0025457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3901-99_0_2_line_15 |  | 14 | 17 | 0.030194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3901-99_0_2_line_16 |  | 15 | 16 | 0.028675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3901-99_0_2_line_17 |  | 16 | 18 | 0.078464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3901-99_0_2_line_18 |  | 17 | 19 | 0.090745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3901-99_0_2_line_19 |  | 19 | 20 | 0.031861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3901-99_0_2_line_20 |  | 20 | 21 | 0.013745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3901-99_0_2_line_21 |  | 21 | 22 | 0.14792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3901-99_0_2_line_22 |  | 22 | 42 | 0.015276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3901-99_0_2_line_23 |  | 23 | 24 | 0.0022174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3901-99_0_2_line_24 |  | 23 | 25 | 0.043366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3901-99_0_2_line_25 |  | 24 | 26 | 0.023754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3901-99_0_2_line_26 |  | 25 | 27 | 0.0048683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3901-99_0_2_line_27 |  | 26 | 28 | 0.078929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3901-99_0_2_line_28 |  | 27 | 29 | 0.10628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3901-99_0_2_line_29 |  | 28 | 30 | 0.10779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3901-99_0_2_line_30 |  | 29 | 31 | 0.11648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3901-99_0_2_line_31 |  | 29 | 32 | 0.009151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3901-99_0_2_line_32 |  | 31 | 33 | 0.086078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3901-99_0_2_line_33 |  | 31 | 34 | 0.011557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3901-99_0_2_line_34 |  | 32 | 35 | 0.1121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3901-99_0_2_line_35 |  | 32 | 36 | 0.092637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3901-99_0_2_line_36 |  | 33 | 37 | 0.020373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3901-99_0_2_line_37 |  | 34 | 38 | 0.10145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3901-99_0_2_line_38 |  | 36 | 39 | 0.011238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3901-99_0_2_line_39 |  | 37 | 41 | 0.039474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3901-99_0_2_line_40 |  | 38 | 40 | 0.0013699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3901-99_0_2_line_41 |  | 39 | 45 | 0.016829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3901-99_0_2_line_42 |  | 41 | 55 | 0.017411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3901-99_0_2_line_43 |  | 42 | 43 | 0.019702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3901-99_0_2_line_44 |  | 43 | 47 | 0.0093057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3901-99_0_2_line_45 |  | 44 | 45 | 0.18072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3901-99_0_2_line_46 |  | 44 | 46 | 0.17727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3901-99_0_2_line_47 |  | 46 | 52 | 0.034369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3901-99_0_2_line_48 |  | 47 | 48 | 0.019271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3901-99_0_2_line_49 |  | 48 | 49 | 0.034737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3901-99_0_2_line_50 |  | 49 | 50 | 0.078193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3901-99_0_2_line_51 |  | 50 | 51 | 0.080989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3901-99_0_2_line_52 |  | 51 | 54 | 0.0012353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3901-99_0_2_line_53 |  | 52 | 53 | 0.017568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3901-99_0_2_line_54 |  | 53 | 54 | 0.011622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3901-99_0_2_trafo_34 | 0.63 MVA 20/0.4 kV | 56 | 21 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23
0 | 2762360.6003 | 1189569.6029 | 2762365.8648 | 1189572.054 | 2762373.714 | 1189575.2808 | 2762382.1232 | 1189578.4005 | 2762392.146 | 1189581.6753 | 2762401.0458 | 1189584.1522 | 2762410.8533 | 1189586.6426 | 2762430.1308 | 1189590.9539
1 | 2762488.9539 | 1189611.3724 | 2762462.6893 | 1189600.3054 | 2762456.0932 | 1189597.8688 | 2762449.0725 | 1189595.6096 | 2762442.3378 | 1189593.7808 | 2762432.8131 | 1189591.5538 | 2762430.1308 | 1189590.9539
2 | 2762488.9539 | 1189611.3724 | 2762499.4021 | 1189615.6949
3 | 2762488.9539 | 1189611.3724 | 2762487.3302 | 1189613.5525 | 2762486.0646 | 1189614.3522 | 2762484.3288 | 1189614.761 | 2762482.8529 | 1189614.6974
4 | 2762389.6734 | 1189704.0493 | 2762380.7163 | 1189704.4518 | 2762352.576 | 1189708.2365 | 2762344.4458 | 1189704.1235 | 2762330.577 | 1189698.8849
5 | 2762389.6734 | 1189704.0493 | 2762408.7957 | 1189703.1901 | 2762432.0737 | 1189711.2509 | 2762451.4896 | 1189723.8782
6 | 2762389.6734 | 1189704.0493 | 2762396.0745 | 1189609.8512
7 | 2762499.4021 | 1189615.6949 | 2762508.551 | 1189619.4798
8 | 2762482.8529 | 1189614.6974 | 2762482.2326 | 1189614.6707 | 2762472.6734 | 1189612.0312 | 2762464.9197 | 1189610.9087 | 2762453.1498 | 1189610.9894 | 2762432.9639 | 1189612.8186
9 | 2762482.7715 | 1189745.5215 | 2762457.5025 | 1189727.7888 | 2762451.4896 | 1189723.8782
10 | 2762396.0745 | 1189609.8512 | 2762430.5815 | 1189613.0345 | 2762432.9639 | 1189612.8186
11 | 2762574.1272 | 1189646.9927 | 2762531.2755 | 1189628.881 | 2762508.551 | 1189619.4798
12 | 2762496.5463 | 1189752.8532 | 2762483.368 | 1189745.9401 | 2762482.7715 | 1189745.5215
13 | 2762574.1272 | 1189646.9927 | 2762574.7485 | 1189647.2554 | 2762575.1062 | 1189647.4075
14 | 2762575.1062 | 1189647.4075 | 2762577.4487 | 1189648.404
15 | 2762577.4487 | 1189648.404 | 2762605.2332 | 1189660.2239
16 | 2762496.5463 | 1189752.8532 | 2762509.9506 | 1189759.885 | 2762521.1163 | 1189767.5402
17 | 2762521.1163 | 1189767.5402 | 2762552.024 | 1189788.7305 | 2762576.9731 | 1189806.0455 | 2762582.5991 | 1189815.0535
18 | 2762605.2332 | 1189660.2239 | 2762622.1109 | 1189667.4039 | 2762668.5964 | 1189686.6726 | 2762673.2502 | 1189688.9678 | 2762676.8412 | 1189691.0561 | 2762680.3448 | 1189693.5535 | 2762683.387 | 1189696.4609 | 2762686.201 | 1189699.618
19 | 2762686.201 | 1189699.618 | 2762686.201 | 1189699.618 | 2762690.0707 | 1189704.9278 | 2762695.2795 | 1189712.9098 | 2762704.1521 | 1189725.9338
20 | 2762704.1521 | 1189725.9338 | 2762707.3291 | 1189730.5973 | 2762709.9748 | 1189734.0501 | 2762712.6506 | 1189736.6807
21 | 2762712.6506 | 1189736.6807 | 2762712.6506 | 1189736.6807 | 2762716.0162 | 1189739.1966 | 2762719.9599 | 1189741.5058 | 2762724.3459 | 1189743.2599 | 2762729.0052 | 1189744.5099 | 2762733.6325 | 1189744.9694 | 2762739.5008 | 1189744.6953 | 2762744.2044 | 1189743.7557 | 2762748.4903 | 1189742.4599 | 2762752.8396 | 1189740.7989 | 2762756.7215 | 1189738.925 | 2762761.8604 | 1189736.0065 | 2762767.8636 | 1189732.1774 | 2762801.2858 | 1189709.5772 | 2762807.0234 | 1189705.9744 | 2762813.1405 | 1189702.4487 | 2762818.8546 | 1189699.7128 | 2762823.6946 | 1189697.6871 | 2762829.3319 | 1189695.5273 | 2762835.4091 | 1189693.4686 | 2762839.8983 | 1189692.2785 | 2762844.2322 | 1189691.4623 | 2762844.7547 | 1189691.3819
22 | 2762844.7547 | 1189691.3819 | 2762848.4088 | 1189690.8198 | 2762853.0302 | 1189690.3784 | 2762857.8197 | 1189690.2085 | 2762859.9637 | 1189690.2167
23 | 2762402.4837 | 1190000.9103 | 2762401.8355 | 1190000.8762 | 2762400.4072 | 1190001.5239
24 | 2762402.4837 | 1190000.9103 | 2762434.1294 | 1190002.576 | 2762445.6643 | 1190000.7631
25 | 2762400.4072 | 1190001.5239 | 2762378.7734 | 1190011.3348
26 | 2762450.4736 | 1190000.0073 | 2762445.6643 | 1190000.7631
27 | 2762301.1208 | 1190020.329 | 2762366.7128 | 1190016.8043 | 2762378.7734 | 1190011.3348
28 | 2762548.9205 | 1190026.5015 | 2762522.9489 | 1190021.859 | 2762503.0835 | 1190010.9768 | 2762487.8534 | 1189999.1307 | 2762474.0112 | 1189996.3081 | 2762450.4736 | 1190000.0073
29 | 2762301.1208 | 1190020.329 | 2762308.541 | 1189912.7904
30 | 2762548.9205 | 1190026.5015 | 2762539.9903 | 1190032.4755 | 2762538.6614 | 1190035.8869 | 2762542.0422 | 1190038.6811 | 2762561.2543 | 1190050.2908 | 2762570.1786 | 1190049.3101 | 2762592.1583 | 1190040.7883 | 2762607.1081 | 1190036.268 | 2762615.1191 | 1190041.6571 | 2762618.3564 | 1190058.9937
31 | 2762548.9205 | 1190026.5015 | 2762557.825 | 1190024.2858
32 | 2762618.3564 | 1190058.9937 | 2762633.2145 | 1190065.7033 | 2762693.6175 | 1190058.8049 | 2762702.5792 | 1190059.3669
33 | 2762618.3564 | 1190058.9937 | 2762609.224 | 1190066.0769
34 | 2762511.6969 | 1189923.1327 | 2762533.6972 | 1189972.2846 | 2762539.1743 | 1189996.5103 | 2762557.825 | 1190024.2858
35 | 2762557.825 | 1190024.2858 | 2762574.059 | 1190020.2452 | 2762617.9562 | 1190001.8544 | 2762637.0182 | 1189980.9189
36 | 2762702.5792 | 1190059.3669 | 2762722.9124 | 1190060.6421
37 | 2762518.3187 | 1190089.0708 | 2762577.4166 | 1190092.1224 | 2762589.4067 | 1190087.277 | 2762598.4083 | 1190074.4657 | 2762609.224 | 1190066.0769
38 | 2762637.0182 | 1189980.9189 | 2762638.6277 | 1189979.1513 | 2762645.8652 | 1189974.0634
39 | 2762722.9124 | 1190060.6421 | 2762728.0658 | 1190060.9653 | 2762760.3359 | 1190072.6204
40 | 2762516.9506 | 1190089.0002 | 2762518.3187 | 1190089.0708
41 | 2762645.8652 | 1189974.0634 | 2762659.6325 | 1189964.3854
42 | 2762760.3359 | 1190072.6204 | 2762776.7112 | 1190078.5348
43 | 2762859.9637 | 1189690.2167 | 2762864.4736 | 1189690.234 | 2762872.703 | 1189690.4136 | 2762879.6302 | 1189691.1008
44 | 2762879.6302 | 1189691.1008 | 2762888.8904 | 1189692.0195
45 | 2762827.2986 | 1189899.7534 | 2762816.6751 | 1189904.8357 | 2762744.9 | 1189924.9132 | 2762677.542 | 1189951.7953 | 2762659.6325 | 1189964.3854
46 | 2762827.2986 | 1189899.7534 | 2762867.1505 | 1189727.0172
47 | 2762867.1505 | 1189727.0172 | 2762887.0479 | 1189725.5239 | 2762901.3584 | 1189727.2634
48 | 2762888.8904 | 1189692.0195 | 2762906.0765 | 1189693.7244 | 2762908.0668 | 1189693.9252
49 | 2762908.0668 | 1189693.9252 | 2762942.6284 | 1189697.4121
50 | 2763002.476 | 1189744.4264 | 2762998.5534 | 1189741.6283 | 2762993.9474 | 1189738.1442 | 2762990.285 | 1189735.0418 | 2762986.321 | 1189731.2416 | 2762979.6858 | 1189723.8099 | 2762967.6625 | 1189709.9481 | 2762964.3586 | 1189706.2883 | 2762961.5362 | 1189703.7203 | 2762958.5862 | 1189701.6382 | 2762955.7247 | 1189700.2257 | 2762952.9521 | 1189699.1938 | 2762949.3352 | 1189698.339 | 2762944.7301 | 1189697.6242 | 2762942.6284 | 1189697.4121
51 | 2763002.476 | 1189744.4264 | 2762993.6424 | 1189745.9762 | 2762988.6242 | 1189746.1398 | 2762984.3309 | 1189746.0228 | 2762979.9727 | 1189744.3694 | 2762960.4607 | 1189724.1536 | 2762957.2449 | 1189722.0198 | 2762953.0756 | 1189720.9943 | 2762946.7275 | 1189721.2328 | 2762931.5211 | 1189723.9199
52 | 2762930.3046 | 1189724.1348 | 2762931.5211 | 1189723.9199
53 | 2762901.3584 | 1189727.2634 | 2762902.1385 | 1189727.3583 | 2762911.1584 | 1189727.0923 | 2762918.7536 | 1189726.176 | 2762918.8598 | 1189726.1572
54 | 2762918.8598 | 1189726.1572 | 2762930.3046 | 1189724.1348

## bus_geodata
| x | y | coords
0 | 2762360.6003 | 1189569.6029
1 | 2762430.1308 | 1189590.9539
2 | 2762488.9539 | 1189611.3724
3 | 2762330.577 | 1189698.8849
4 | 2762389.6734 | 1189704.0493
5 | 2762499.4021 | 1189615.6949
6 | 2762482.8529 | 1189614.6974
7 | 2762451.4896 | 1189723.8782
8 | 2762396.0745 | 1189609.8512
9 | 2762508.551 | 1189619.4798
10 | 2762432.9639 | 1189612.8186
11 | 2762482.7715 | 1189745.5215
12 | 2762574.1272 | 1189646.9927
13 | 2762575.1062 | 1189647.4075
14 | 2762577.4487 | 1189648.404
15 | 2762496.5463 | 1189752.8532
16 | 2762521.1163 | 1189767.5402
17 | 2762605.2332 | 1189660.2239
18 | 2762582.5991 | 1189815.0535
19 | 2762686.201 | 1189699.618
20 | 2762704.1521 | 1189725.9338
21 | 2762712.6506 | 1189736.6807
22 | 2762844.7547 | 1189691.3819
23 | 2762402.4837 | 1190000.9103
24 | 2762400.4072 | 1190001.5239
25 | 2762445.6643 | 1190000.7631
26 | 2762378.7734 | 1190011.3348
27 | 2762450.4736 | 1190000.0073
28 | 2762301.1208 | 1190020.329
29 | 2762548.9205 | 1190026.5015
30 | 2762308.541 | 1189912.7904
31 | 2762618.3564 | 1190058.9937
32 | 2762557.825 | 1190024.2858
33 | 2762702.5792 | 1190059.3669
34 | 2762609.224 | 1190066.0769
35 | 2762511.6969 | 1189923.1327
36 | 2762637.0182 | 1189980.9189
37 | 2762722.9124 | 1190060.6421
38 | 2762518.3187 | 1190089.0708
39 | 2762645.8652 | 1189974.0634
40 | 2762516.9506 | 1190089.0002
41 | 2762760.3359 | 1190072.6204
42 | 2762859.9637 | 1189690.2167
43 | 2762879.6302 | 1189691.1008
44 | 2762827.2986 | 1189899.7534
45 | 2762659.6325 | 1189964.3854
46 | 2762867.1505 | 1189727.0172
47 | 2762888.8904 | 1189692.0195
48 | 2762908.0668 | 1189693.9252
49 | 2762942.6284 | 1189697.4121
50 | 2763002.476 | 1189744.4264
51 | 2762931.5211 | 1189723.9199
52 | 2762901.3584 | 1189727.2634
53 | 2762918.8598 | 1189726.1572
54 | 2762930.3046 | 1189724.1348
55 | 2762776.7112 | 1190078.5348
56 | 2762712.6506 | 1189736.6807

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1