## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3947-4_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3947-4_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3947-4_0_2_node_86 | 0.4 | n |  | TRUE
3 | bus_LV_3947-4_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3947-4_0_2_node_87 | 0.4 | n |  | TRUE
5 | bus_LV_3947-4_0_2_node_85 | 0.4 | n |  | TRUE
6 | bus_LV_3947-4_0_2_node_91 | 0.4 | n |  | TRUE
7 | bus_LV_3947-4_0_2_node_89 | 0.4 | n |  | TRUE
8 | bus_LV_3947-4_0_2_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_3947-4_0_2_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_3947-4_0_2_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_3947-4_0_2_node_18 | 0.4 | n |  | TRUE
12 | bus_LV_3947-4_0_2_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_3947-4_0_2_node_139 | 0.4 | n |  | TRUE
14 | bus_LV_3947-4_0_2_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_3947-4_0_2_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_3947-4_0_2_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_3947-4_0_2_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_3947-4_0_2_node_145 | 0.4 | n |  | TRUE
19 | bus_LV_3947-4_0_2_node_115 | 0.4 | n |  | TRUE
20 | bus_LV_3947-4_0_2_node_122 | 0.4 | n |  | TRUE
21 | bus_LV_3947-4_0_2_node_114 | 0.4 | n |  | TRUE
22 | bus_LV_3947-4_0_2_node_121 | 0.4 | n |  | TRUE
23 | bus_LV_3947-4_0_2_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_3947-4_0_2_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_3947-4_0_2_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_3947-4_0_2_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_3947-4_0_2_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_3947-4_0_2_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_3947-4_0_2_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_3947-4_0_2_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_3947-4_0_2_node_81 | 0.4 | n |  | TRUE
32 | bus_LV_3947-4_0_2_node_79 | 0.4 | n |  | TRUE
33 | bus_LV_3947-4_0_2_node_134 | 0.4 | n |  | TRUE
34 | bus_LV_3947-4_0_2_node_92 | 0.4 | n |  | TRUE
35 | bus_LV_3947-4_0_2_node_90 | 0.4 | n |  | TRUE
36 | bus_LV_3947-4_0_2_node_77 | 0.4 | n |  | TRUE
37 | bus_LV_3947-4_0_2_node_138 | 0.4 | n |  | TRUE
38 | bus_LV_3947-4_0_2_node_135 | 0.4 | n |  | TRUE
39 | bus_LV_3947-4_0_2_node_133 | 0.4 | n |  | TRUE
40 | bus_LV_3947-4_0_2_node_80 | 0.4 | n |  | TRUE
41 | bus_LV_3947-4_0_2_node_82 | 0.4 | n |  | TRUE
42 | bus_LV_3947-4_0_2_node_88 | 0.4 | n |  | TRUE
43 | bus_LV_3947-4_0_2_node_93 | 0.4 | n |  | TRUE
44 | bus_LV_3947-4_0_2_node_94 | 0.4 | n |  | TRUE
45 | bus_LV_3947-4_0_2_node_143 | 0.4 | n |  | TRUE
46 | bus_LV_3947-4_0_2_node_95 | 0.4 | n |  | TRUE
47 | bus_LV_3947-4_0_2_node_96 | 0.4 | n |  | TRUE
48 | bus_LV_3947-4_0_2_node_97 | 0.4 | n |  | TRUE
49 | bus_LV_3947-4_0_2_node_98 | 0.4 | n |  | TRUE
50 | bus_LV_3947-4_0_2_node_99 | 0.4 | n |  | TRUE
51 | bus_LV_3947-4_0_2_node_100 | 0.4 | n |  | TRUE
52 | bus_LV_3947-4_0_2_node_104 | 0.4 | n |  | TRUE
53 | bus_LV_3947-4_0_2_node_101 | 0.4 | n |  | TRUE
54 | bus_LV_3947-4_0_2_node_109 | 0.4 | n |  | TRUE
55 | bus_LV_3947-4_0_2_node_102 | 0.4 | n |  | TRUE
56 | bus_LV_3947-4_0_2_node_103 | 0.4 | n |  | TRUE
57 | bus_LV_3947-4_0_2_node_108 | 0.4 | n |  | TRUE
58 | bus_LV_3947-4_0_2_node_105 | 0.4 | n |  | TRUE
59 | bus_LV_3947-4_0_2_node_106 | 0.4 | n |  | TRUE
60 | bus_LV_3947-4_0_2_node_110 | 0.4 | n |  | TRUE
61 | bus_LV_3947-4_0_2_node_111 | 0.4 | n |  | TRUE
62 | bus_LV_3947-4_0_2_node_112 | 0.4 | n |  | TRUE
63 | bus_LV_3947-4_0_2_node_113 | 0.4 | n |  | TRUE
64 | bus_LV_3947-4_0_2_node_116 | 0.4 | n |  | TRUE
65 | bus_LV_3947-4_0_2_node_117 | 0.4 | n |  | TRUE
66 | bus_LV_3947-4_0_2_node_118 | 0.4 | n |  | TRUE
67 | bus_LV_3947-4_0_2_node_119 | 0.4 | n |  | TRUE
68 | bus_LV_3947-4_0_2_node_120 | 0.4 | n |  | TRUE
69 | bus_LV_3947-4_0_2_node_125 | 0.4 | n |  | TRUE
70 | bus_LV_3947-4_0_2_node_123 | 0.4 | n |  | TRUE
71 | bus_LV_3947-4_0_2_node_124 | 0.4 | n |  | TRUE
72 | bus_LV_3947-4_0_2_node_129 | 0.4 | n |  | TRUE
73 | bus_LV_3947-4_0_2_node_128 | 0.4 | n |  | TRUE
74 | bus_LV_3947-4_0_2_node_127 | 0.4 | n |  | TRUE
75 | bus_LV_3947-4_0_2_node_126 | 0.4 | n |  | TRUE
76 | bus_LV_3947-4_0_2_node_131 | 0.4 | n |  | TRUE
77 | bus_LV_3947-4_0_2_node_130 | 0.4 | n |  | TRUE
78 | bus_LV_3947-4_0_2_node_132 | 0.4 | n |  | TRUE
79 | bus_LV_3947-4_0_2_node_144 | 0.4 | n |  | TRUE
80 | bus_LV_3947-4_0_2_node_136 | 0.4 | n |  | TRUE
81 | bus_LV_3947-4_0_2_node_137 | 0.4 | n |  | TRUE
82 | bus_MV_61_0_node_86 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3947-4_0_2_load_0 | 0 | 0.0025156 | 0.00063047 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3947-4_0_2_load_1 | 1 | 0.0011763 | 0.00029482 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3947-4_0_2_load_86 | 2 | 0.0016474 | 0.00041288 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3947-4_0_2_load_3 | 3 | 0.00040229 | 0.00010082 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3947-4_0_2_load_87 | 4 | 0.0048396 | 0.0012129 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3947-4_0_2_load_85 | 5 | 0.0010598 | 0.0002656 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3947-4_0_2_load_91 | 6 | 0.0052539 | 0.0013168 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3947-4_0_2_load_89 | 7 | 0.0069717 | 0.0017473 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3947-4_0_2_load_5 | 8 | 0.0015242 | 0.00038199 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3947-4_0_2_load_6 | 9 | 0.0011821 | 0.00029627 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3947-4_0_2_load_12 | 12 | 0.0019372 | 0.0004855 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3947-4_0_2_load_139 | 13 | 0.0099585 | 0.0024958 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3947-4_0_2_load_7 | 14 | 0.0039549 | 0.0009912 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3947-4_0_2_load_145 | 18 | 0.0062282 | 0.0015609 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3947-4_0_2_load_115 | 19 | 0.0019312 | 0.00048401 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3947-4_0_2_load_122 | 20 | 0.0056476 | 0.0014154 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3947-4_0_2_load_114 | 21 | 0.0060363 | 0.0015128 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3947-4_0_2_load_121 | 22 | 0.0046271 | 0.0011597 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3947-4_0_2_load_11 | 23 | 0.0017049 | 0.00042729 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3947-4_0_2_load_13 | 24 | 0.0060796 | 0.0015237 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3947-4_0_2_load_15 | 25 | 0.00076905 | 0.00019274 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3947-4_0_2_load_16 | 26 | 0.0021185 | 0.00053094 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3947-4_0_2_load_17 | 27 | 0.0019001 | 0.00047621 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3947-4_0_2_load_21 | 30 | 0.0030092 | 0.00075418 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3947-4_0_2_load_79 | 32 | 0.0061189 | 0.0015335 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3947-4_0_2_load_92 | 34 | 0.0046639 | 0.0011689 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3947-4_0_2_load_90 | 35 | 0.0013802 | 0.00034591 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3947-4_0_2_load_135 | 38 | 0.0030134 | 0.00075522 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3947-4_0_2_load_80 | 40 | 0.0024943 | 0.00062512 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3947-4_0_2_load_82 | 41 | 0.0022459 | 0.00056288 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3947-4_0_2_load_93 | 43 | 0.0019733 | 0.00049456 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3947-4_0_2_load_94 | 44 | 0.0018369 | 0.00046036 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3947-4_0_2_load_143 | 45 | 0.0025861 | 0.00064815 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3947-4_0_2_load_95 | 46 | 0.0048773 | 0.0012224 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3947-4_0_2_load_96 | 47 | 0.0033293 | 0.00083439 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3947-4_0_2_load_97 | 48 | 0.0045 | 0.0011278 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3947-4_0_2_load_98 | 49 | 0.0052184 | 0.0013079 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3947-4_0_2_load_99 | 50 | 0.0050113 | 0.0012559 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3947-4_0_2_load_104 | 52 | 0.003695 | 0.00092605 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3947-4_0_2_load_101 | 53 | 0.0048591 | 0.0012178 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3947-4_0_2_load_109 | 54 | 0.0045999 | 0.0011528 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3947-4_0_2_load_102 | 55 | 0.0037909 | 0.00095009 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3947-4_0_2_load_103 | 56 | 0.0080677 | 0.0020219 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3947-4_0_2_load_105 | 58 | 0.0084765 | 0.0021244 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3947-4_0_2_load_106 | 59 | 0.0036028 | 0.00090295 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3947-4_0_2_load_111 | 61 | 0.003979 | 0.00099723 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3947-4_0_2_load_112 | 62 | 0.0026958 | 0.00067563 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3947-4_0_2_load_113 | 63 | 0.0053781 | 0.0013479 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3947-4_0_2_load_116 | 64 | 0.0060338 | 0.0015122 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3947-4_0_2_load_117 | 65 | 0.0042172 | 0.0010569 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3947-4_0_2_load_118 | 66 | 0.0048352 | 0.0012118 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3947-4_0_2_load_119 | 67 | 0.0071088 | 0.0017816 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3947-4_0_2_load_120 | 68 | 0.0054619 | 0.0013689 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3947-4_0_2_load_125 | 69 | 0.0056191 | 0.0014083 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3947-4_0_2_load_129 | 72 | 0.015794 | 0.0039583 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3947-4_0_2_load_128 | 73 | 0.0041373 | 0.0010369 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3947-4_0_2_load_127 | 74 | 0.0033893 | 0.00084945 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3947-4_0_2_load_126 | 75 | 0.0041225 | 0.0010332 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3947-4_0_2_load_131 | 76 | 0.0021368 | 0.00053554 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3947-4_0_2_load_130 | 77 | 0.0019938 | 0.00049968 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3947-4_0_2_load_132 | 78 | 0.0033032 | 0.00082787 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3947-4_0_2_load_144 | 79 | 0.013348 | 0.0033453 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3947-4_0_2_load_136 | 80 | 0.0031538 | 0.00079042 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3947-4_0_2_load_137 | 81 | 0.0082797 | 0.0020751 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 75 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3947-4_0_2_line_0 |  | 0 | 1 | 0.01404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3947-4_0_2_line_1 |  | 0 | 2 | 0.067162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3947-4_0_2_line_2 |  | 1 | 3 | 0.025908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3947-4_0_2_line_3 |  | 2 | 4 | 0.040859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3947-4_0_2_line_4 |  | 2 | 5 | 0.0065312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3947-4_0_2_line_5 |  | 4 | 42 | 0.017684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3947-4_0_2_line_6 |  | 6 | 7 | 0.012552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3947-4_0_2_line_7 |  | 7 | 42 | 0.018289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3947-4_0_2_line_8 |  | 8 | 9 | 0.043763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3947-4_0_2_line_9 |  | 8 | 10 | 0.094922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3947-4_0_2_line_10 |  | 10 | 11 | 0.054788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3947-4_0_2_line_11 |  | 10 | 12 | 0.017501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3947-4_0_2_line_12 |  | 11 | 13 | 0.099022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3947-4_0_2_line_13 |  | 12 | 23 | 0.0023976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3947-4_0_2_line_14 |  | 14 | 15 | 0.012918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3947-4_0_2_line_15 |  | 15 | 16 | 0.055456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3947-4_0_2_line_16 |  | 15 | 17 | 0.060862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3947-4_0_2_line_17 |  | 16 | 18 | 0.062403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3947-4_0_2_line_18 |  | 17 | 19 | 0.038503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3947-4_0_2_line_19 |  | 17 | 20 | 0.020996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3947-4_0_2_line_20 |  | 19 | 21 | 0.017289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3947-4_0_2_line_21 |  | 20 | 22 | 0.023392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_3947-4_0_2_line_22 |  | 21 | 63 | 0.021896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3947-4_0_2_line_23 |  | 22 | 70 | 0.041069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_3947-4_0_2_line_24 |  | 23 | 24 | 0.032007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3947-4_0_2_line_25 |  | 24 | 25 | 0.0021574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3947-4_0_2_line_26 |  | 25 | 26 | 0.042332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3947-4_0_2_line_27 |  | 26 | 27 | 0.0040572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3947-4_0_2_line_28 |  | 27 | 28 | 0.062722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3947-4_0_2_line_29 |  | 28 | 29 | 0.019713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3947-4_0_2_line_30 |  | 28 | 30 | 0.017968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3947-4_0_2_line_31 |  | 29 | 31 | 0.012483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3947-4_0_2_line_32 |  | 29 | 32 | 0.041147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3947-4_0_2_line_33 |  | 30 | 33 | 0.05593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3947-4_0_2_line_34 |  | 31 | 34 | 0.036314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3947-4_0_2_line_35 |  | 31 | 35 | 0.013941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3947-4_0_2_line_36 |  | 32 | 36 | 0.01983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3947-4_0_2_line_37 |  | 33 | 37 | 0.019451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3947-4_0_2_line_38 |  | 33 | 38 | 0.019076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3947-4_0_2_line_39 |  | 33 | 39 | 0.025981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3947-4_0_2_line_40 |  | 35 | 42 | 0.034279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3947-4_0_2_line_41 |  | 36 | 40 | 0.054702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3947-4_0_2_line_42 |  | 37 | 79 | 0.026449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3947-4_0_2_line_43 |  | 38 | 80 | 0.0069768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3947-4_0_2_line_44 |  | 39 | 76 | 0.015451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3947-4_0_2_line_45 |  | 39 | 72 | 0.027611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3947-4_0_2_line_46 |  | 40 | 41 | 0.019126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3947-4_0_2_line_47 |  | 43 | 44 | 0.010281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3947-4_0_2_line_48 |  | 43 | 45 | 0.063306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3947-4_0_2_line_49 |  | 44 | 46 | 0.01535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3947-4_0_2_line_50 |  | 46 | 47 | 0.0082013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3947-4_0_2_line_51 |  | 47 | 48 | 0.0078779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3947-4_0_2_line_52 |  | 48 | 49 | 0.010913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3947-4_0_2_line_53 |  | 49 | 50 | 0.01559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3947-4_0_2_line_54 |  | 50 | 51 | 0.022463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3947-4_0_2_line_55 |  | 51 | 52 | 0.0020118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3947-4_0_2_line_56 |  | 51 | 53 | 0.017805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3947-4_0_2_line_57 |  | 52 | 54 | 0.0098504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3947-4_0_2_line_58 |  | 53 | 55 | 0.00042693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3947-4_0_2_line_59 |  | 54 | 57 | 0.028481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3947-4_0_2_line_60 |  | 55 | 56 | 0.016543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3947-4_0_2_line_61 |  | 57 | 60 | 0.053253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3947-4_0_2_line_62 |  | 57 | 59 | 0.018842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3947-4_0_2_line_63 |  | 58 | 59 | 0.025516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3947-4_0_2_line_64 |  | 60 | 61 | 0.01216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3947-4_0_2_line_65 |  | 61 | 62 | 0.01697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3947-4_0_2_line_66 |  | 62 | 63 | 0.0058424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3947-4_0_2_line_67 |  | 64 | 65 | 0.018184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3947-4_0_2_line_68 |  | 64 | 66 | 0.0029813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3947-4_0_2_line_69 |  | 65 | 67 | 0.0067397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3947-4_0_2_line_70 |  | 66 | 68 | 0.021308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3947-4_0_2_line_71 |  | 68 | 69 | 0.0022019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3947-4_0_2_line_72 |  | 69 | 70 | 0.01608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3947-4_0_2_line_73 |  | 70 | 71 | 0.028017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
74 | LV_3947-4_0_2_line_74 |  | 71 | 72 | 0.033947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3947-4_0_2_line_75 |  | 71 | 73 | 0.016262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
76 | LV_3947-4_0_2_line_76 |  | 73 | 74 | 0.022387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
77 | LV_3947-4_0_2_line_77 |  | 74 | 75 | 0.020006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
78 | LV_3947-4_0_2_line_78 |  | 76 | 77 | 0.021476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3947-4_0_2_line_79 |  | 77 | 78 | 0.01948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3947-4_0_2_line_80 |  | 80 | 81 | 0.016904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3947-4_0_2_trafo_126 | 0.63 MVA 20/0.4 kV | 82 | 75 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2761591.5096 | 1199699.8282 | 2761594.6579 | 1199686.1455
1 | 2761628.811 | 1199755.6796 | 2761591.5096 | 1199699.8282
2 | 2761606.3273 | 1199663.0617 | 2761594.9631 | 1199684.8192 | 2761594.6579 | 1199686.1455
3 | 2761628.811 | 1199755.6796 | 2761631.9052 | 1199747.8857 | 2761634.6554 | 1199740.8538 | 2761640.4922 | 1199741.3788 | 2761659.5473 | 1199741.8946
4 | 2761626.401 | 1199761.7498 | 2761628.811 | 1199755.6796
5 | 2761677.2245 | 1199742.3731 | 2761659.5473 | 1199741.8946
6 | 2761674.9473 | 1199711.6728 | 2761675.4707 | 1199724.2135
7 | 2761677.2245 | 1199742.3731 | 2761675.9455 | 1199735.5879 | 2761675.4707 | 1199724.2135
8 | 2761637.0643 | 1199517.2714 | 2761647.983 | 1199474.8921
9 | 2761723.2131 | 1199557.1285 | 2761637.0643 | 1199517.2714
10 | 2761741.4116 | 1199513.0591 | 2761737.2812 | 1199544.887 | 2761736.598 | 1199550.1399 | 2761734.9964 | 1199554.4227 | 2761734.047 | 1199555.7204 | 2761732.2142 | 1199557.0053 | 2761723.2131 | 1199557.1285
11 | 2761723.2131 | 1199557.1285 | 2761724.5652 | 1199574.5771
12 | 2761741.4116 | 1199513.0591 | 2761840.2474 | 1199506.9843
13 | 2761724.5652 | 1199574.5771 | 2761724.7504 | 1199576.9675
14 | 2762037.8527 | 1199653.992 | 2762050.7361 | 1199653.047
15 | 2762039.0513 | 1199598.5858 | 2762037.7354 | 1199622.0935 | 2762037.8527 | 1199653.992
16 | 2762037.8527 | 1199653.992 | 2762023.0975 | 1199668.2382 | 2762003.2803 | 1199703.3883
17 | 2762077.2089 | 1199560.853 | 2762066.1638 | 1199593.0602 | 2762060.3017 | 1199597.1161 | 2762039.0513 | 1199598.5858
18 | 2762003.2803 | 1199703.3883 | 2761991.9144 | 1199740.1756
19 | 2762003.2803 | 1199703.3883 | 2761982.3023 | 1199704.2552
20 | 2761986.8107 | 1199756.6946 | 2761991.9144 | 1199740.1756
21 | 2761958.93 | 1199705.221 | 2761982.3023 | 1199704.2552
22 | 2761980.3473 | 1199777.6146 | 2761986.8107 | 1199756.6946
23 | 2761917.9343 | 1199703.209 | 2761953.887 | 1199705.4294 | 2761958.93 | 1199705.221
24 | 2761727.6296 | 1199608.8409 | 2761726.2167 | 1199595.889 | 2761724.7504 | 1199576.9675
25 | 2761727.6296 | 1199608.8409 | 2761727.8636 | 1199610.9856
26 | 2761732.1107 | 1199653.1014 | 2761730.8371 | 1199638.241 | 2761727.8636 | 1199610.9856
27 | 2761732.1107 | 1199653.1014 | 2761732.4572 | 1199657.1438
28 | 2761737.8132 | 1199719.6362 | 2761732.4572 | 1199657.1438
29 | 2761737.8132 | 1199719.6362 | 2761737.8889 | 1199739.3448
30 | 2761737.8132 | 1199719.6362 | 2761755.489 | 1199716.411
31 | 2761737.8889 | 1199739.3448 | 2761725.3851 | 1199739.9738
32 | 2761737.8889 | 1199739.3448 | 2761738.0366 | 1199745.9881 | 2761738.0959 | 1199748.581 | 2761738.2207 | 1199754.1004 | 2761738.8503 | 1199780.4811
33 | 2761804.4885 | 1199689.6248 | 2761779.5127 | 1199702.3602 | 2761756.4947 | 1199716.2275 | 2761755.489 | 1199716.411
34 | 2761725.3851 | 1199739.9738 | 2761725.1495 | 1199703.6606
35 | 2761725.3851 | 1199739.9738 | 2761717.5199 | 1199740.3613 | 2761711.4608 | 1199740.6638
36 | 2761739.3234 | 1199800.3051 | 2761738.8503 | 1199780.4811
37 | 2761802.9033 | 1199670.2423 | 2761804.4885 | 1199689.6248
38 | 2761804.4885 | 1199689.6248 | 2761804.0936 | 1199708.697
39 | 2761804.4885 | 1199689.6248 | 2761830.3169 | 1199686.1987
40 | 2761677.2245 | 1199742.3731 | 2761711.4608 | 1199740.6638
41 | 2761739.3234 | 1199800.3051 | 2761684.7147 | 1199797.1038
42 | 2761802.9033 | 1199670.2423 | 2761829.3663 | 1199668.4237
43 | 2761804.0936 | 1199708.697 | 2761803.9492 | 1199715.6723
44 | 2761830.3169 | 1199686.1987 | 2761830.1863 | 1199701.6491
45 | 2761830.3169 | 1199686.1987 | 2761833.8955 | 1199685.7174 | 2761857.7862 | 1199688.0108
46 | 2761684.7147 | 1199797.1038 | 2761665.6219 | 1199795.9846
47 | 2762044.8901 | 1199922.6328 | 2762044.1333 | 1199912.3797
48 | 2762044.8901 | 1199922.6328 | 2762107.4969 | 1199913.2471
49 | 2762044.1333 | 1199912.3797 | 2762043.0034 | 1199897.0712
50 | 2762043.0034 | 1199897.0712 | 2762042.765 | 1199893.841 | 2762041.2889 | 1199889.1034
51 | 2762041.2889 | 1199889.1034 | 2762038.9456 | 1199881.582
52 | 2762029.7809 | 1199875.6582 | 2762038.9456 | 1199881.582 | 2762038.9456 | 1199881.582
53 | 2762029.7809 | 1199875.6582 | 2762027.7749 | 1199874.3616 | 2762014.7684 | 1199872.1028
54 | 2761992.637 | 1199868.2593 | 2762014.7684 | 1199872.1028
55 | 2761992.637 | 1199868.2593 | 2761990.6548 | 1199867.9149
56 | 2761992.637 | 1199868.2593 | 2761988.8068 | 1199885.6478
57 | 2761980.9498 | 1199866.2288 | 2761990.6548 | 1199867.9149
58 | 2761988.715 | 1199886.0647 | 2761988.8068 | 1199885.6478
59 | 2761952.8888 | 1199861.3537 | 2761980.9498 | 1199866.2288
60 | 2761985.1564 | 1199902.2204 | 2761988.715 | 1199886.0647
61 | 2761970.0237 | 1199811.0283 | 2761968.5684 | 1199814.9702 | 2761966.596 | 1199820.2771 | 2761954.602 | 1199852.6812 | 2761952.8888 | 1199861.3537
62 | 2761952.8888 | 1199861.3537 | 2761949.3026 | 1199879.5396 | 2761949.1823 | 1199879.8206
63 | 2761939.1422 | 1199903.2778 | 2761949.1823 | 1199879.8206
64 | 2761970.0237 | 1199811.0283 | 2761973.6133 | 1199799.41
65 | 2761973.6133 | 1199799.41 | 2761978.6226 | 1199783.1967
66 | 2761980.3473 | 1199777.6146 | 2761978.6226 | 1199783.1967
67 | 2761913.3894 | 1199745.537 | 2761911.448 | 1199763.6174
68 | 2761913.3894 | 1199745.537 | 2761913.7076 | 1199742.5728
69 | 2761910.7285 | 1199770.3186 | 2761911.448 | 1199763.6174
70 | 2761913.7076 | 1199742.5728 | 2761915.9825 | 1199721.3864
71 | 2761916.2176 | 1199719.1972 | 2761915.9825 | 1199721.3864
72 | 2761917.9343 | 1199703.209 | 2761916.2176 | 1199719.1972
73 | 2761917.9343 | 1199703.209 | 2761905.77 | 1199700.021 | 2761890.7535 | 1199696.0997
74 | 2761890.7535 | 1199696.0997 | 2761881.4184 | 1199693.6558 | 2761857.7862 | 1199688.0108
75 | 2761890.7535 | 1199696.0997 | 2761888.8799 | 1199712.2539
76 | 2761886.3008 | 1199734.4922 | 2761888.8799 | 1199712.2539
77 | 2761883.996 | 1199754.3654 | 2761886.3008 | 1199734.4922
78 | 2761830.0046 | 1199723.1243 | 2761830.1863 | 1199701.6491
79 | 2761829.8399 | 1199742.6032 | 2761830.0046 | 1199723.1243
80 | 2761803.5992 | 1199732.5727 | 2761803.9492 | 1199715.6723

## bus_geodata
| x | y | coords
0 | 2761591.5096 | 1199699.8282
1 | 2761594.6579 | 1199686.1455
2 | 2761628.811 | 1199755.6796
3 | 2761606.3273 | 1199663.0617
4 | 2761659.5473 | 1199741.8946
5 | 2761626.401 | 1199761.7498
6 | 2761674.9473 | 1199711.6728
7 | 2761675.4707 | 1199724.2135
8 | 2761637.0643 | 1199517.2714
9 | 2761647.983 | 1199474.8921
10 | 2761723.2131 | 1199557.1285
11 | 2761741.4116 | 1199513.0591
12 | 2761724.5652 | 1199574.5771
13 | 2761840.2474 | 1199506.9843
14 | 2762050.7361 | 1199653.047
15 | 2762037.8527 | 1199653.992
16 | 2762039.0513 | 1199598.5858
17 | 2762003.2803 | 1199703.3883
18 | 2762077.2089 | 1199560.853
19 | 2761991.9144 | 1199740.1756
20 | 2761982.3023 | 1199704.2552
21 | 2761986.8107 | 1199756.6946
22 | 2761958.93 | 1199705.221
23 | 2761724.7504 | 1199576.9675
24 | 2761727.6296 | 1199608.8409
25 | 2761727.8636 | 1199610.9856
26 | 2761732.1107 | 1199653.1014
27 | 2761732.4572 | 1199657.1438
28 | 2761737.8132 | 1199719.6362
29 | 2761737.8889 | 1199739.3448
30 | 2761755.489 | 1199716.411
31 | 2761725.3851 | 1199739.9738
32 | 2761738.8503 | 1199780.4811
33 | 2761804.4885 | 1199689.6248
34 | 2761725.1495 | 1199703.6606
35 | 2761711.4608 | 1199740.6638
36 | 2761739.3234 | 1199800.3051
37 | 2761802.9033 | 1199670.2423
38 | 2761804.0936 | 1199708.697
39 | 2761830.3169 | 1199686.1987
40 | 2761684.7147 | 1199797.1038
41 | 2761665.6219 | 1199795.9846
42 | 2761677.2245 | 1199742.3731
43 | 2762044.8901 | 1199922.6328
44 | 2762044.1333 | 1199912.3797
45 | 2762107.4969 | 1199913.2471
46 | 2762043.0034 | 1199897.0712
47 | 2762041.2889 | 1199889.1034
48 | 2762038.9456 | 1199881.582
49 | 2762029.7809 | 1199875.6582
50 | 2762014.7684 | 1199872.1028
51 | 2761992.637 | 1199868.2593
52 | 2761990.6548 | 1199867.9149
53 | 2761988.8068 | 1199885.6478
54 | 2761980.9498 | 1199866.2288
55 | 2761988.715 | 1199886.0647
56 | 2761985.1564 | 1199902.2204
57 | 2761952.8888 | 1199861.3537
58 | 2761939.1422 | 1199903.2778
59 | 2761949.1823 | 1199879.8206
60 | 2761970.0237 | 1199811.0283
61 | 2761973.6133 | 1199799.41
62 | 2761978.6226 | 1199783.1967
63 | 2761980.3473 | 1199777.6146
64 | 2761913.3894 | 1199745.537
65 | 2761911.448 | 1199763.6174
66 | 2761913.7076 | 1199742.5728
67 | 2761910.7285 | 1199770.3186
68 | 2761915.9825 | 1199721.3864
69 | 2761916.2176 | 1199719.1972
70 | 2761917.9343 | 1199703.209
71 | 2761890.7535 | 1199696.0997
72 | 2761857.7862 | 1199688.0108
73 | 2761888.8799 | 1199712.2539
74 | 2761886.3008 | 1199734.4922
75 | 2761883.996 | 1199754.3654
76 | 2761830.1863 | 1199701.6491
77 | 2761830.0046 | 1199723.1243
78 | 2761829.8399 | 1199742.6032
79 | 2761829.3663 | 1199668.4237
80 | 2761803.9492 | 1199715.6723
81 | 2761803.5992 | 1199732.5727
82 | 2761883.2768 | 1199760.5663

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1