## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3947-8_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3947-8_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3947-8_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3947-8_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3947-8_0_4_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_3947-8_0_4_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_3947-8_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_3947-8_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_3947-8_0_4_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_3947-8_0_4_node_47 | 0.4 | n |  | TRUE
10 | bus_LV_3947-8_0_4_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_3947-8_0_4_node_45 | 0.4 | n |  | TRUE
12 | bus_LV_3947-8_0_4_node_86 | 0.4 | n |  | TRUE
13 | bus_LV_3947-8_0_4_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_3947-8_0_4_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_3947-8_0_4_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_3947-8_0_4_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_3947-8_0_4_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_3947-8_0_4_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_3947-8_0_4_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_3947-8_0_4_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_3947-8_0_4_node_39 | 0.4 | n |  | TRUE
22 | bus_LV_3947-8_0_4_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_3947-8_0_4_node_40 | 0.4 | n |  | TRUE
24 | bus_LV_3947-8_0_4_node_41 | 0.4 | n |  | TRUE
25 | bus_LV_3947-8_0_4_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_3947-8_0_4_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_3947-8_0_4_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_3947-8_0_4_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_3947-8_0_4_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_3947-8_0_4_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_3947-8_0_4_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_3947-8_0_4_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_3947-8_0_4_node_51 | 0.4 | n |  | TRUE
34 | bus_LV_3947-8_0_4_node_48 | 0.4 | n |  | TRUE
35 | bus_LV_3947-8_0_4_node_46 | 0.4 | n |  | TRUE
36 | bus_LV_3947-8_0_4_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_3947-8_0_4_node_52 | 0.4 | n |  | TRUE
38 | bus_LV_3947-8_0_4_node_69 | 0.4 | n |  | TRUE
39 | bus_LV_3947-8_0_4_node_44 | 0.4 | n |  | TRUE
40 | bus_LV_3947-8_0_4_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_3947-8_0_4_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_3947-8_0_4_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_3947-8_0_4_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_3947-8_0_4_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_3947-8_0_4_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_3947-8_0_4_node_60 | 0.4 | n |  | TRUE
47 | bus_LV_3947-8_0_4_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_3947-8_0_4_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_3947-8_0_4_node_61 | 0.4 | n |  | TRUE
50 | bus_LV_3947-8_0_4_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_3947-8_0_4_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_3947-8_0_4_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_3947-8_0_4_node_54 | 0.4 | n |  | TRUE
54 | bus_LV_3947-8_0_4_node_53 | 0.4 | n |  | TRUE
55 | bus_LV_3947-8_0_4_node_56 | 0.4 | n |  | TRUE
56 | bus_LV_3947-8_0_4_node_55 | 0.4 | n |  | TRUE
57 | bus_LV_3947-8_0_4_node_57 | 0.4 | n |  | TRUE
58 | bus_LV_3947-8_0_4_node_42 | 0.4 | n |  | TRUE
59 | bus_LV_3947-8_0_4_node_43 | 0.4 | n |  | TRUE
60 | bus_LV_3947-8_0_4_node_67 | 0.4 | n |  | TRUE
61 | bus_LV_3947-8_0_4_node_49 | 0.4 | n |  | TRUE
62 | bus_LV_3947-8_0_4_node_50 | 0.4 | n |  | TRUE
63 | bus_LV_3947-8_0_4_node_75 | 0.4 | n |  | TRUE
64 | bus_LV_3947-8_0_4_node_76 | 0.4 | n |  | TRUE
65 | bus_LV_3947-8_0_4_node_58 | 0.4 | n |  | TRUE
66 | bus_LV_3947-8_0_4_node_59 | 0.4 | n |  | TRUE
67 | bus_LV_3947-8_0_4_node_62 | 0.4 | n |  | TRUE
68 | bus_LV_3947-8_0_4_node_63 | 0.4 | n |  | TRUE
69 | bus_LV_3947-8_0_4_node_64 | 0.4 | n |  | TRUE
70 | bus_LV_3947-8_0_4_node_74 | 0.4 | n |  | TRUE
71 | bus_LV_3947-8_0_4_node_84 | 0.4 | n |  | TRUE
72 | bus_LV_3947-8_0_4_node_65 | 0.4 | n |  | TRUE
73 | bus_LV_3947-8_0_4_node_66 | 0.4 | n |  | TRUE
74 | bus_LV_3947-8_0_4_node_68 | 0.4 | n |  | TRUE
75 | bus_LV_3947-8_0_4_node_70 | 0.4 | n |  | TRUE
76 | bus_LV_3947-8_0_4_node_71 | 0.4 | n |  | TRUE
77 | bus_LV_3947-8_0_4_node_72 | 0.4 | n |  | TRUE
78 | bus_LV_3947-8_0_4_node_73 | 0.4 | n |  | TRUE
79 | bus_LV_3947-8_0_4_node_81 | 0.4 | n |  | TRUE
80 | bus_LV_3947-8_0_4_node_79 | 0.4 | n |  | TRUE
81 | bus_LV_3947-8_0_4_node_77 | 0.4 | n |  | TRUE
82 | bus_LV_3947-8_0_4_node_78 | 0.4 | n |  | TRUE
83 | bus_LV_3947-8_0_4_node_80 | 0.4 | n |  | TRUE
84 | bus_LV_3947-8_0_4_node_82 | 0.4 | n |  | TRUE
85 | bus_LV_3947-8_0_4_node_83 | 0.4 | n |  | TRUE
86 | bus_MV_178_0_node_45 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3947-8_0_4_load_0 | 0 | 0.022981 | 0.0057596 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3947-8_0_4_load_1 | 1 | 0.015779 | 0.0039545 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3947-8_0_4_load_3 | 3 | 0.012305 | 0.003084 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3947-8_0_4_load_7 | 4 | 0.0089498 | 0.002243 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3947-8_0_4_load_4 | 5 | 0.026332 | 0.0065994 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3947-8_0_4_load_5 | 6 | 0.010603 | 0.0026574 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3947-8_0_4_load_8 | 8 | 0.012051 | 0.0030201 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3947-8_0_4_load_9 | 10 | 0.0060353 | 0.0015126 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3947-8_0_4_load_45 | 11 | 0.015479 | 0.0038794 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3947-8_0_4_load_86 | 12 | 0.011239 | 0.0028166 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3947-8_0_4_load_10 | 13 | 0.009603 | 0.0024067 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3947-8_0_4_load_11 | 14 | 0.0072673 | 0.0018213 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3947-8_0_4_load_12 | 15 | 0.0067937 | 0.0017027 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3947-8_0_4_load_13 | 16 | 0.0039395 | 0.00098733 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3947-8_0_4_load_14 | 17 | 0.0029721 | 0.00074489 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3947-8_0_4_load_15 | 18 | 0.0030668 | 0.00076862 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3947-8_0_4_load_16 | 19 | 0.0052437 | 0.0013142 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3947-8_0_4_load_17 | 20 | 0.0020648 | 0.0005175 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3947-8_0_4_load_39 | 21 | 0.0038468 | 0.0009641 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3947-8_0_4_load_18 | 22 | 0.0048927 | 0.0012262 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3947-8_0_4_load_40 | 23 | 0.0042321 | 0.0010607 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3947-8_0_4_load_41 | 24 | 0.0043169 | 0.0010819 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3947-8_0_4_load_19 | 25 | 0.0031135 | 0.00078031 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3947-8_0_4_load_20 | 26 | 0.0044793 | 0.0011226 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3947-8_0_4_load_22 | 28 | 0.0041864 | 0.0010492 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3947-8_0_4_load_24 | 30 | 0.0073504 | 0.0018422 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3947-8_0_4_load_26 | 32 | 0.0036686 | 0.00091945 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3947-8_0_4_load_51 | 33 | 0.0038681 | 0.00096945 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3947-8_0_4_load_48 | 34 | 0.0042214 | 0.001058 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3947-8_0_4_load_46 | 35 | 0.0057129 | 0.0014318 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3947-8_0_4_load_27 | 36 | 0.0042391 | 0.0010624 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3947-8_0_4_load_52 | 37 | 0.006716 | 0.0016832 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3947-8_0_4_load_69 | 38 | 0.0046686 | 0.0011701 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3947-8_0_4_load_44 | 39 | 0.010258 | 0.0025708 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3947-8_0_4_load_28 | 40 | 0.0045902 | 0.0011504 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3947-8_0_4_load_31 | 43 | 0.0040573 | 0.0010169 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3947-8_0_4_load_35 | 44 | 0.0020981 | 0.00052584 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3947-8_0_4_load_32 | 45 | 0.0028094 | 0.00070411 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3947-8_0_4_load_60 | 46 | 0.0033542 | 0.00084064 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3947-8_0_4_load_38 | 47 | 0.0039195 | 0.00098231 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3947-8_0_4_load_33 | 48 | 0.001025 | 0.00025689 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3947-8_0_4_load_61 | 49 | 0.0069601 | 0.0017444 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3947-8_0_4_load_36 | 51 | 0.0026822 | 0.00067223 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3947-8_0_4_load_37 | 52 | 0.0080001 | 0.002005 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3947-8_0_4_load_54 | 53 | 0.002904 | 0.00072781 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3947-8_0_4_load_53 | 54 | 0.0066448 | 0.0016654 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3947-8_0_4_load_56 | 55 | 0.0023962 | 0.00060056 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3947-8_0_4_load_55 | 56 | 0.0085297 | 0.0021377 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3947-8_0_4_load_42 | 58 | 0.0033697 | 0.00084453 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3947-8_0_4_load_43 | 59 | 0.0043882 | 0.0010998 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3947-8_0_4_load_67 | 60 | 0.0064198 | 0.0016089 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3947-8_0_4_load_49 | 61 | 0.0068537 | 0.0017177 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3947-8_0_4_load_50 | 62 | 0.0070941 | 0.001778 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3947-8_0_4_load_75 | 63 | 0.028269 | 0.0070848 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3947-8_0_4_load_76 | 64 | 0.0042273 | 0.0010595 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3947-8_0_4_load_58 | 65 | 0.005692 | 0.0014265 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3947-8_0_4_load_59 | 66 | 0.0014899 | 0.0003734 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3947-8_0_4_load_62 | 67 | 0.0040679 | 0.0010195 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3947-8_0_4_load_63 | 68 | 0.004849 | 0.0012153 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3947-8_0_4_load_64 | 69 | 0.0040651 | 0.0010188 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3947-8_0_4_load_74 | 70 | 0.0033979 | 0.0008516 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3947-8_0_4_load_84 | 71 | 0.0057169 | 0.0014328 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3947-8_0_4_load_65 | 72 | 0.0037814 | 0.00094771 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3947-8_0_4_load_66 | 73 | 0.0048064 | 0.0012046 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3947-8_0_4_load_68 | 74 | 0.0077125 | 0.0019329 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3947-8_0_4_load_70 | 75 | 0.0041537 | 0.001041 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3947-8_0_4_load_71 | 76 | 0.0038765 | 0.00097154 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3947-8_0_4_load_72 | 77 | 0.0063867 | 0.0016007 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3947-8_0_4_load_73 | 78 | 0.0031052 | 0.00077824 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3947-8_0_4_load_81 | 79 | 0.0052842 | 0.0013243 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3947-8_0_4_load_77 | 81 | 0.0089223 | 0.0022361 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3947-8_0_4_load_78 | 82 | 0.0039538 | 0.00099092 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3947-8_0_4_load_80 | 83 | 0.0041177 | 0.001032 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3947-8_0_4_load_82 | 84 | 0.003912 | 0.00098045 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3947-8_0_4_load_83 | 85 | 0.0029154 | 0.00073067 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 60 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3947-8_0_4_line_0 |  | 0 | 1 | 0.039601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3947-8_0_4_line_1 |  | 0 | 2 | 0.032262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3947-8_0_4_line_2 |  | 1 | 3 | 0.025678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3947-8_0_4_line_3 |  | 1 | 4 | 0.077115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3947-8_0_4_line_4 |  | 2 | 5 | 0.0023032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3947-8_0_4_line_5 |  | 3 | 6 | 0.007315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3947-8_0_4_line_6 |  | 5 | 7 | 0.048642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3947-8_0_4_line_7 |  | 6 | 8 | 0.015795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3947-8_0_4_line_8 |  | 7 | 9 | 0.024104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3947-8_0_4_line_9 |  | 8 | 10 | 0.023695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3947-8_0_4_line_10 |  | 9 | 11 | 0.03354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3947-8_0_4_line_11 |  | 10 | 12 | 0.054955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3947-8_0_4_line_12 |  | 11 | 39 | 0.002848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_3947-8_0_4_line_13 |  | 13 | 14 | 0.023374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3947-8_0_4_line_14 |  | 14 | 15 | 0.018791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3947-8_0_4_line_15 |  | 15 | 16 | 0.0018632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3947-8_0_4_line_16 |  | 16 | 17 | 0.016787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3947-8_0_4_line_17 |  | 17 | 18 | 0.002074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3947-8_0_4_line_18 |  | 18 | 19 | 0.024635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3947-8_0_4_line_19 |  | 19 | 20 | 0.0047094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3947-8_0_4_line_20 |  | 19 | 21 | 0.029908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3947-8_0_4_line_21 |  | 20 | 22 | 3.5792e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3947-8_0_4_line_22 |  | 21 | 23 | 0.005548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3947-8_0_4_line_23 |  | 22 | 25 | 0.017524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3947-8_0_4_line_24 |  | 23 | 24 | 0.017527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3947-8_0_4_line_25 |  | 24 | 58 | 0.0015804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3947-8_0_4_line_26 |  | 25 | 26 | 0.012385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3947-8_0_4_line_27 |  | 26 | 27 | 0.0027615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3947-8_0_4_line_28 |  | 27 | 28 | 0.011083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3947-8_0_4_line_29 |  | 27 | 29 | 0.031582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3947-8_0_4_line_30 |  | 28 | 30 | 0.021245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3947-8_0_4_line_31 |  | 29 | 31 | 0.017309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_3947-8_0_4_line_32 |  | 29 | 32 | 0.010981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3947-8_0_4_line_33 |  | 30 | 33 | 0.00084705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3947-8_0_4_line_34 |  | 31 | 34 | 0.013201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_3947-8_0_4_line_35 |  | 31 | 35 | 0.022258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_3947-8_0_4_line_36 |  | 32 | 36 | 0.013314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3947-8_0_4_line_37 |  | 33 | 37 | 0.006772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3947-8_0_4_line_38 |  | 34 | 38 | 0.0058458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_3947-8_0_4_line_39 |  | 35 | 39 | 0.042862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_3947-8_0_4_line_40 |  | 36 | 40 | 0.012786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3947-8_0_4_line_41 |  | 38 | 60 | 0.018844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_3947-8_0_4_line_42 |  | 40 | 41 | 0.016422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3947-8_0_4_line_43 |  | 41 | 42 | 0.010324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3947-8_0_4_line_44 |  | 41 | 43 | 0.036604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3947-8_0_4_line_45 |  | 42 | 44 | 0.0085121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3947-8_0_4_line_46 |  | 42 | 45 | 0.026029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3947-8_0_4_line_47 |  | 43 | 46 | 0.012561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3947-8_0_4_line_48 |  | 44 | 47 | 0.0030189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3947-8_0_4_line_49 |  | 45 | 48 | 0.010254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3947-8_0_4_line_50 |  | 46 | 49 | 0.014264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3947-8_0_4_line_51 |  | 47 | 55 | 0.020362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3947-8_0_4_line_52 |  | 48 | 50 | 0.034923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3947-8_0_4_line_53 |  | 49 | 67 | 0.0098429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3947-8_0_4_line_54 |  | 50 | 51 | 0.024226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3947-8_0_4_line_55 |  | 50 | 52 | 0.020085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3947-8_0_4_line_56 |  | 51 | 53 | 0.012133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3947-8_0_4_line_57 |  | 52 | 54 | 0.020111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3947-8_0_4_line_58 |  | 53 | 56 | 0.016117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3947-8_0_4_line_59 |  | 55 | 57 | 0.062518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3947-8_0_4_line_60 |  | 57 | 65 | 0.016371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3947-8_0_4_line_61 |  | 57 | 66 | 0.024686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3947-8_0_4_line_62 |  | 58 | 59 | 0.022772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3947-8_0_4_line_63 |  | 60 | 72 | 0.0017681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3947-8_0_4_line_64 |  | 61 | 62 | 0.027513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3947-8_0_4_line_65 |  | 62 | 63 | 0.023927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3947-8_0_4_line_66 |  | 63 | 64 | 0.0020679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3947-8_0_4_line_67 |  | 64 | 81 | 0.03727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3947-8_0_4_line_68 |  | 67 | 68 | 0.023304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3947-8_0_4_line_69 |  | 68 | 69 | 0.0036648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3947-8_0_4_line_70 |  | 69 | 70 | 0.023238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3947-8_0_4_line_71 |  | 70 | 71 | 0.0033022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3947-8_0_4_line_72 |  | 72 | 73 | 0.022868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3947-8_0_4_line_73 |  | 73 | 74 | 0.0131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3947-8_0_4_line_74 |  | 74 | 75 | 0.012425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3947-8_0_4_line_75 |  | 75 | 76 | 0.02224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3947-8_0_4_line_76 |  | 76 | 77 | 0.0010233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3947-8_0_4_line_77 |  | 77 | 78 | 0.015356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3947-8_0_4_line_78 |  | 78 | 79 | 0.014535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3947-8_0_4_line_79 |  | 79 | 80 | 0.02281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3947-8_0_4_line_80 |  | 80 | 83 | 0.0080369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3947-8_0_4_line_81 |  | 80 | 82 | 0.019794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3947-8_0_4_line_82 |  | 81 | 82 | 0.01001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3947-8_0_4_line_83 |  | 83 | 84 | 0.0011199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3947-8_0_4_line_84 |  | 84 | 85 | 0.018869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3947-8_0_4_trafo_67 | 0.63 MVA 20/0.4 kV | 86 | 60 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2762075.993 | 1201016.9532 | 2762068.5164 | 1200978.0648
1 | 2762082.077 | 1201048.6368 | 2762080.6228 | 1201041.0349 | 2762075.993 | 1201016.9532
2 | 2762061.6751 | 1200953.3215 | 2762068.1481 | 1200976.1492 | 2762068.5164 | 1200978.0648
3 | 2762068.5164 | 1200978.0648 | 2761995.7436 | 1201003.5775
4 | 2762082.077 | 1201048.6368 | 2762082.5082 | 1201050.8992
5 | 2762061.6751 | 1200953.3215 | 2762059.6795 | 1200946.284
6 | 2762094.1794 | 1201098.0429 | 2762087.1508 | 1201075.254 | 2762082.5082 | 1201050.8992
7 | 2762055.5497 | 1200931.0396 | 2762057.2063 | 1200937.5621 | 2762059.6795 | 1200946.284
8 | 2762117.3741 | 1201091.2549 | 2762094.1794 | 1201098.0429
9 | 2762055.5497 | 1200931.0396 | 2762049.7167 | 1200908.074
10 | 2762117.3741 | 1201091.2549 | 2762145.7544 | 1201086.7652 | 2762150.3517 | 1201085.3624
11 | 2762049.7167 | 1200908.074 | 2762003.7766 | 1200877.9152
12 | 2762153.0756 | 1201084.5312 | 2762150.3517 | 1201085.3624
13 | 2762256.307 | 1201173.9402 | 2762265.9494 | 1201166.5886 | 2762271.1969 | 1201169.9675 | 2762274.9432 | 1201166.644 | 2762274.9432 | 1201166.644
14 | 2762265.9852 | 1201150.1258 | 2762274.9432 | 1201166.644
15 | 2762265.9852 | 1201150.1258 | 2762265.097 | 1201148.488
16 | 2762257.0943 | 1201133.7315 | 2762265.097 | 1201148.488
17 | 2762256.1056 | 1201131.9083 | 2762257.0943 | 1201133.7315
18 | 2762256.1056 | 1201131.9083 | 2762250.623 | 1201121.7987 | 2762245.8714 | 1201109.5535
19 | 2762244.1678 | 1201105.1631 | 2762245.8714 | 1201109.5535
20 | 2762245.8714 | 1201109.5535 | 2762221.2622 | 1201126.5501
21 | 2762244.1665 | 1201105.1597 | 2762244.1678 | 1201105.1631
22 | 2762221.2622 | 1201126.5501 | 2762215.9937 | 1201128.2886
23 | 2762244.1665 | 1201105.1597 | 2762243.7538 | 1201104.0962 | 2762234.5788 | 1201090.5237 | 2762234.5788 | 1201090.5237
24 | 2762199.3496 | 1201133.7807 | 2762215.9937 | 1201128.2886
25 | 2762199.3496 | 1201133.7807 | 2762197.8488 | 1201134.2759
26 | 2762231.9492 | 1201078.4216 | 2762234.5788 | 1201090.5237
27 | 2762231.3629 | 1201075.7231 | 2762231.9492 | 1201078.4216
28 | 2762231.3629 | 1201075.7231 | 2762220.9574 | 1201079.5378
29 | 2762223.5792 | 1201045.1397 | 2762227.6802 | 1201058.7633 | 2762231.3629 | 1201075.7231
30 | 2762201.0108 | 1201086.8504 | 2762220.9574 | 1201079.5378
31 | 2762223.5792 | 1201045.1397 | 2762207.0656 | 1201050.4741
32 | 2762223.5792 | 1201045.1397 | 2762234.0278 | 1201041.7623
33 | 2762200.2155 | 1201087.142 | 2762201.0108 | 1201086.8504
34 | 2762207.0656 | 1201050.4741 | 2762205.9445 | 1201037.3204
35 | 2762207.0656 | 1201050.4741 | 2762192.5417 | 1201058.8318 | 2762188.9074 | 1201062.9616
36 | 2762246.6968 | 1201037.6672 | 2762234.0278 | 1201041.7623
37 | 2762193.8573 | 1201089.473 | 2762200.2155 | 1201087.142
38 | 2762205.2809 | 1201031.5132 | 2762205.8296 | 1201035.9719 | 2762205.9445 | 1201037.3204
39 | 2762153.0756 | 1201084.5312 | 2762168.4118 | 1201079.8515 | 2762181.0905 | 1201071.8439 | 2762188.9074 | 1201062.9616
40 | 2762246.6968 | 1201037.6672 | 2762256.2686 | 1201034.5732 | 2762258.9175 | 1201033.9262
41 | 2762205.2809 | 1201031.5132 | 2762202.9795 | 1201012.81
42 | 2762274.8706 | 1201030.0297 | 2762258.9175 | 1201033.9262
43 | 2762274.8706 | 1201030.0297 | 2762284.9166 | 1201027.5336
44 | 2762274.8706 | 1201030.0297 | 2762262.6806 | 1200995.515
45 | 2762284.9166 | 1201027.5336 | 2762291.7787 | 1201022.497
46 | 2762284.9166 | 1201027.5336 | 2762292.4671 | 1201052.4433
47 | 2762262.6806 | 1200995.515 | 2762258.4974 | 1200983.6705
48 | 2762294.2059 | 1201020.7032 | 2762294.1653 | 1201020.7453 | 2762291.7787 | 1201022.497
49 | 2762292.4671 | 1201052.4433 | 2762295.4416 | 1201062.2565
50 | 2762253.747 | 1200970.2204 | 2762258.4974 | 1200983.6705
51 | 2762294.2059 | 1201020.7032 | 2762308.3535 | 1201006.0585
52 | 2762305.5722 | 1201095.6783 | 2762295.4416 | 1201062.2565
53 | 2762253.747 | 1200970.2204 | 2762250.4691 | 1200960.9393
54 | 2762305.5722 | 1201095.6783 | 2762328.9669 | 1201089.3858 | 2762328.9669 | 1201089.3858
55 | 2762305.5722 | 1201095.6783 | 2762311.997 | 1201114.708
56 | 2762332.261 | 1201101.0628 | 2762328.9669 | 1201089.3858
57 | 2762318.4299 | 1201133.7619 | 2762311.997 | 1201114.708
58 | 2762336.6367 | 1201116.5743 | 2762332.261 | 1201101.0628
59 | 2762308.3535 | 1201006.0585 | 2762354.277 | 1200963.6375
60 | 2762354.277 | 1200963.6375 | 2762349.6583 | 1200947.9319
61 | 2762354.277 | 1200963.6375 | 2762375.078 | 1200950.3441
62 | 2762176.2238 | 1201141.4116 | 2762197.8488 | 1201134.2759
63 | 2762202.7636 | 1201011.0551 | 2762202.9795 | 1201012.81
64 | 2762136.0592 | 1201033.4484 | 2762138.351 | 1201026.4544 | 2762141.4874 | 1201006.5473
65 | 2762141.4874 | 1201006.5473 | 2762143.8729 | 1200991.4059 | 2762144.1064 | 1200982.8102
66 | 2762144.1625 | 1200980.743 | 2762144.1064 | 1200982.8102
67 | 2762144.1625 | 1200980.743 | 2762144.775 | 1200958.1892 | 2762144.3999 | 1200943.4862
68 | 2762250.4691 | 1200960.9393 | 2762249.9888 | 1200959.5794 | 2762243.3412 | 1200938.7526
69 | 2762242.2268 | 1200935.2613 | 2762243.3412 | 1200938.7526
70 | 2762242.2268 | 1200935.2613 | 2762238.3154 | 1200923.0072 | 2762236.1219 | 1200912.8669
71 | 2762236.1219 | 1200912.8669 | 2762235.4237 | 1200909.6393
72 | 2762202.7636 | 1201011.0551 | 2762199.9707 | 1200988.3587 | 2762199.9707 | 1200988.3587
73 | 2762199.9707 | 1200988.3587 | 2762195.6271 | 1200975.9997
74 | 2762191.5071 | 1200964.2771 | 2762195.6271 | 1200975.9997
75 | 2762191.5071 | 1200964.2771 | 2762187.2085 | 1200952.0463 | 2762183.0968 | 1200943.7319
76 | 2762183.0968 | 1200943.7319 | 2762182.6432 | 1200942.8146
77 | 2762182.6432 | 1200942.8146 | 2762175.8363 | 1200929.0502
78 | 2762175.8363 | 1200929.0502 | 2762175.8363 | 1200929.0502 | 2762163.011 | 1200922.2104
79 | 2762141.932 | 1200913.9388 | 2762152.5456 | 1200916.6292 | 2762163.011 | 1200922.2104
80 | 2762141.932 | 1200913.9388 | 2762139.4897 | 1200906.282
81 | 2762141.932 | 1200913.9388 | 2762143.8268 | 1200921.0189 | 2762144.1447 | 1200933.4795
82 | 2762144.3999 | 1200943.4862 | 2762144.1447 | 1200933.4795
83 | 2762139.4897 | 1200906.282 | 2762139.1494 | 1200905.2151
84 | 2762139.1494 | 1200905.2151 | 2762133.4152 | 1200887.2381

## bus_geodata
| x | y | coords
0 | 2762075.993 | 1201016.9532
1 | 2762068.5164 | 1200978.0648
2 | 2762082.077 | 1201048.6368
3 | 2762061.6751 | 1200953.3215
4 | 2761995.7436 | 1201003.5775
5 | 2762082.5082 | 1201050.8992
6 | 2762059.6795 | 1200946.284
7 | 2762094.1794 | 1201098.0429
8 | 2762055.5497 | 1200931.0396
9 | 2762117.3741 | 1201091.2549
10 | 2762049.7167 | 1200908.074
11 | 2762150.3517 | 1201085.3624
12 | 2762003.7766 | 1200877.9152
13 | 2762256.307 | 1201173.9402
14 | 2762274.9432 | 1201166.644
15 | 2762265.9852 | 1201150.1258
16 | 2762265.097 | 1201148.488
17 | 2762257.0943 | 1201133.7315
18 | 2762256.1056 | 1201131.9083
19 | 2762245.8714 | 1201109.5535
20 | 2762244.1678 | 1201105.1631
21 | 2762221.2622 | 1201126.5501
22 | 2762244.1665 | 1201105.1597
23 | 2762215.9937 | 1201128.2886
24 | 2762199.3496 | 1201133.7807
25 | 2762234.5788 | 1201090.5237
26 | 2762231.9492 | 1201078.4216
27 | 2762231.3629 | 1201075.7231
28 | 2762220.9574 | 1201079.5378
29 | 2762223.5792 | 1201045.1397
30 | 2762201.0108 | 1201086.8504
31 | 2762207.0656 | 1201050.4741
32 | 2762234.0278 | 1201041.7623
33 | 2762200.2155 | 1201087.142
34 | 2762205.9445 | 1201037.3204
35 | 2762188.9074 | 1201062.9616
36 | 2762246.6968 | 1201037.6672
37 | 2762193.8573 | 1201089.473
38 | 2762205.2809 | 1201031.5132
39 | 2762153.0756 | 1201084.5312
40 | 2762258.9175 | 1201033.9262
41 | 2762274.8706 | 1201030.0297
42 | 2762284.9166 | 1201027.5336
43 | 2762262.6806 | 1200995.515
44 | 2762291.7787 | 1201022.497
45 | 2762292.4671 | 1201052.4433
46 | 2762258.4974 | 1200983.6705
47 | 2762294.2059 | 1201020.7032
48 | 2762295.4416 | 1201062.2565
49 | 2762253.747 | 1200970.2204
50 | 2762305.5722 | 1201095.6783
51 | 2762328.9669 | 1201089.3858
52 | 2762311.997 | 1201114.708
53 | 2762332.261 | 1201101.0628
54 | 2762318.4299 | 1201133.7619
55 | 2762308.3535 | 1201006.0585
56 | 2762336.6367 | 1201116.5743
57 | 2762354.277 | 1200963.6375
58 | 2762197.8488 | 1201134.2759
59 | 2762176.2238 | 1201141.4116
60 | 2762202.9795 | 1201012.81
61 | 2762136.0592 | 1201033.4484
62 | 2762141.4874 | 1201006.5472
63 | 2762144.1064 | 1200982.8102
64 | 2762144.1625 | 1200980.743
65 | 2762349.6583 | 1200947.9319
66 | 2762375.078 | 1200950.3441
67 | 2762250.4691 | 1200960.9393
68 | 2762243.3412 | 1200938.7526
69 | 2762242.2268 | 1200935.2613
70 | 2762236.1219 | 1200912.8669
71 | 2762235.4237 | 1200909.6393
72 | 2762202.7636 | 1201011.0551
73 | 2762199.9707 | 1200988.3587
74 | 2762195.6271 | 1200975.9997
75 | 2762191.5071 | 1200964.2771
76 | 2762183.0968 | 1200943.7319
77 | 2762182.6432 | 1200942.8146
78 | 2762175.8363 | 1200929.0502
79 | 2762163.011 | 1200922.2104
80 | 2762141.932 | 1200913.9388
81 | 2762144.3999 | 1200943.4862
82 | 2762144.1447 | 1200933.4795
83 | 2762139.4897 | 1200906.282
84 | 2762139.1494 | 1200905.2151
85 | 2762133.4152 | 1200887.2381
86 | 2762207.0656 | 1201050.4741

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1