## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3947-9_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3947-9_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3947-9_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3947-9_0_3_node_9 | 0.4 | n |  | TRUE
4 | bus_LV_3947-9_0_3_node_10 | 0.4 | n |  | TRUE
5 | bus_LV_3947-9_0_3_node_46 | 0.4 | n |  | TRUE
6 | bus_LV_3947-9_0_3_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_3947-9_0_3_node_3 | 0.4 | n |  | TRUE
8 | bus_LV_3947-9_0_3_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_3947-9_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_3947-9_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_3947-9_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_3947-9_0_3_node_33 | 0.4 | n |  | TRUE
13 | bus_LV_3947-9_0_3_node_34 | 0.4 | n |  | TRUE
14 | bus_LV_3947-9_0_3_node_35 | 0.4 | n |  | TRUE
15 | bus_LV_3947-9_0_3_node_36 | 0.4 | n |  | TRUE
16 | bus_LV_3947-9_0_3_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_3947-9_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_3947-9_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_3947-9_0_3_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_3947-9_0_3_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_3947-9_0_3_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_3947-9_0_3_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_3947-9_0_3_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_3947-9_0_3_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_3947-9_0_3_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_3947-9_0_3_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_3947-9_0_3_node_28 | 0.4 | n |  | TRUE
28 | bus_LV_3947-9_0_3_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_3947-9_0_3_node_52 | 0.4 | n |  | TRUE
30 | bus_LV_3947-9_0_3_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_3947-9_0_3_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_3947-9_0_3_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_3947-9_0_3_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_3947-9_0_3_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_3947-9_0_3_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_3947-9_0_3_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_3947-9_0_3_node_53 | 0.4 | n |  | TRUE
38 | bus_LV_3947-9_0_3_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_3947-9_0_3_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_3947-9_0_3_node_38 | 0.4 | n |  | TRUE
41 | bus_LV_3947-9_0_3_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_3947-9_0_3_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_3947-9_0_3_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_3947-9_0_3_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_3947-9_0_3_node_65 | 0.4 | n |  | TRUE
46 | bus_LV_3947-9_0_3_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_3947-9_0_3_node_63 | 0.4 | n |  | TRUE
48 | bus_LV_3947-9_0_3_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_3947-9_0_3_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_3947-9_0_3_node_50 | 0.4 | n |  | TRUE
51 | bus_LV_3947-9_0_3_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_3947-9_0_3_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_3947-9_0_3_node_49 | 0.4 | n |  | TRUE
54 | bus_LV_3947-9_0_3_node_51 | 0.4 | n |  | TRUE
55 | bus_LV_3947-9_0_3_node_59 | 0.4 | n |  | TRUE
56 | bus_LV_3947-9_0_3_node_56 | 0.4 | n |  | TRUE
57 | bus_LV_3947-9_0_3_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_3947-9_0_3_node_55 | 0.4 | n |  | TRUE
59 | bus_LV_3947-9_0_3_node_57 | 0.4 | n |  | TRUE
60 | bus_LV_3947-9_0_3_node_58 | 0.4 | n |  | TRUE
61 | bus_LV_3947-9_0_3_node_77 | 0.4 | n |  | TRUE
62 | bus_LV_3947-9_0_3_node_83 | 0.4 | n |  | TRUE
63 | bus_LV_3947-9_0_3_node_81 | 0.4 | n |  | TRUE
64 | bus_LV_3947-9_0_3_node_60 | 0.4 | n |  | TRUE
65 | bus_LV_3947-9_0_3_node_61 | 0.4 | n |  | TRUE
66 | bus_LV_3947-9_0_3_node_62 | 0.4 | n |  | TRUE
67 | bus_LV_3947-9_0_3_node_64 | 0.4 | n |  | TRUE
68 | bus_LV_3947-9_0_3_node_66 | 0.4 | n |  | TRUE
69 | bus_LV_3947-9_0_3_node_67 | 0.4 | n |  | TRUE
70 | bus_LV_3947-9_0_3_node_68 | 0.4 | n |  | TRUE
71 | bus_LV_3947-9_0_3_node_69 | 0.4 | n |  | TRUE
72 | bus_LV_3947-9_0_3_node_70 | 0.4 | n |  | TRUE
73 | bus_LV_3947-9_0_3_node_71 | 0.4 | n |  | TRUE
74 | bus_LV_3947-9_0_3_node_72 | 0.4 | n |  | TRUE
75 | bus_LV_3947-9_0_3_node_73 | 0.4 | n |  | TRUE
76 | bus_LV_3947-9_0_3_node_74 | 0.4 | n |  | TRUE
77 | bus_LV_3947-9_0_3_node_75 | 0.4 | n |  | TRUE
78 | bus_LV_3947-9_0_3_node_79 | 0.4 | n |  | TRUE
79 | bus_LV_3947-9_0_3_node_80 | 0.4 | n |  | TRUE
80 | bus_LV_3947-9_0_3_node_82 | 0.4 | n |  | TRUE
81 | bus_LV_3947-9_0_3_node_84 | 0.4 | n |  | TRUE
82 | bus_LV_3947-9_0_3_node_85 | 0.4 | n |  | TRUE
83 | bus_MV_61_0_node_91 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3947-9_0_3_load_0 | 0 | 0.0026219 | 0.00065711 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3947-9_0_3_load_1 | 1 | 0.0056513 | 0.0014163 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3947-9_0_3_load_9 | 3 | 0.014544 | 0.003645 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3947-9_0_3_load_46 | 5 | 0.0044264 | 0.0011094 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3947-9_0_3_load_8 | 6 | 0.0049868 | 0.0012498 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3947-9_0_3_load_3 | 7 | 0.003701 | 0.00092755 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3947-9_0_3_load_4 | 8 | 0.015413 | 0.0038629 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3947-9_0_3_load_5 | 9 | 0.0056913 | 0.0014264 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3947-9_0_3_load_6 | 10 | 0.0047582 | 0.0011925 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3947-9_0_3_load_7 | 11 | 0.0048899 | 0.0012255 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3947-9_0_3_load_33 | 12 | 0.0011247 | 0.00028186 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3947-9_0_3_load_34 | 13 | 0.0014356 | 0.0003598 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3947-9_0_3_load_36 | 15 | 0.0017701 | 0.00044363 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3947-9_0_3_load_14 | 16 | 0.0021321 | 0.00053436 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3947-9_0_3_load_11 | 17 | 0.0016266 | 0.00040766 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3947-9_0_3_load_12 | 18 | 0.0044847 | 0.001124 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3947-9_0_3_load_13 | 19 | 0.003189 | 0.00079923 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3947-9_0_3_load_15 | 20 | 0.0045368 | 0.001137 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3947-9_0_3_load_16 | 21 | 0.0048761 | 0.0012221 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3947-9_0_3_load_17 | 22 | 0.009177 | 0.0023 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3947-9_0_3_load_20 | 23 | 0.0060604 | 0.0015189 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3947-9_0_3_load_18 | 24 | 0.0041439 | 0.0010386 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3947-9_0_3_load_19 | 25 | 0.0037749 | 0.00094607 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3947-9_0_3_load_28 | 27 | 0.0029614 | 0.0007422 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3947-9_0_3_load_23 | 28 | 0.0089879 | 0.0022526 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3947-9_0_3_load_52 | 29 | 0.0026332 | 0.00065995 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3947-9_0_3_load_22 | 30 | 0.013361 | 0.0033485 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3947-9_0_3_load_24 | 31 | 0.0047204 | 0.001183 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3947-9_0_3_load_25 | 32 | 0.0038409 | 0.00096262 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3947-9_0_3_load_26 | 33 | 0.0042152 | 0.0010564 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3947-9_0_3_load_27 | 34 | 0.0037814 | 0.00094772 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3947-9_0_3_load_30 | 35 | 0.0068972 | 0.0017286 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3947-9_0_3_load_29 | 36 | 0.0085114 | 0.0021332 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3947-9_0_3_load_53 | 37 | 0.0040695 | 0.0010199 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3947-9_0_3_load_31 | 38 | 0.014825 | 0.0037154 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3947-9_0_3_load_37 | 39 | 0.002653 | 0.00066489 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3947-9_0_3_load_38 | 40 | 0.0036347 | 0.00091094 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3947-9_0_3_load_40 | 42 | 0.0033943 | 0.00085068 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3947-9_0_3_load_41 | 43 | 0.0053886 | 0.0013505 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3947-9_0_3_load_42 | 44 | 0.0041144 | 0.0010312 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3947-9_0_3_load_65 | 45 | 0.0034818 | 0.00087263 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3947-9_0_3_load_43 | 46 | 0.0056885 | 0.0014257 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3947-9_0_3_load_44 | 48 | 0.0038731 | 0.00097068 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3947-9_0_3_load_45 | 49 | 0.0057141 | 0.0014321 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3947-9_0_3_load_50 | 50 | 0.0016975 | 0.00042543 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3947-9_0_3_load_48 | 51 | 0.0053596 | 0.0013433 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3947-9_0_3_load_47 | 52 | 0.004348 | 0.0010897 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3947-9_0_3_load_49 | 53 | 0.0044073 | 0.0011046 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3947-9_0_3_load_51 | 54 | 0.0025163 | 0.00063065 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3947-9_0_3_load_59 | 55 | 0.005659 | 0.0014183 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3947-9_0_3_load_56 | 56 | 0.0029224 | 0.00073242 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3947-9_0_3_load_54 | 57 | 0.0026661 | 0.00066818 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3947-9_0_3_load_57 | 59 | 0.0025055 | 0.00062795 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3947-9_0_3_load_58 | 60 | 0.0028811 | 0.00072208 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3947-9_0_3_load_77 | 61 | 0.0053789 | 0.0013481 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3947-9_0_3_load_83 | 62 | 0.002791 | 0.0006995 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3947-9_0_3_load_60 | 64 | 0.0048837 | 0.001224 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3947-9_0_3_load_61 | 65 | 0.007093 | 0.0017777 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3947-9_0_3_load_64 | 67 | 0.0032832 | 0.00082285 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3947-9_0_3_load_66 | 68 | 0.0024869 | 0.00062327 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3947-9_0_3_load_67 | 69 | 0.0037559 | 0.00094131 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3947-9_0_3_load_68 | 70 | 0.0029596 | 0.00074176 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3947-9_0_3_load_69 | 71 | 0.005515 | 0.0013822 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3947-9_0_3_load_70 | 72 | 0.0051266 | 0.0012848 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3947-9_0_3_load_71 | 73 | 0.0034453 | 0.00086346 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3947-9_0_3_load_72 | 74 | 0.0055742 | 0.001397 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3947-9_0_3_load_73 | 75 | 0.00345 | 0.00086466 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3947-9_0_3_load_74 | 76 | 0.005363 | 0.0013441 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3947-9_0_3_load_75 | 77 | 0.0051267 | 0.0012849 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3947-9_0_3_load_79 | 78 | 0.0028191 | 0.00070653 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3947-9_0_3_load_80 | 79 | 0.0026033 | 0.00065244 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3947-9_0_3_load_82 | 80 | 0.002701 | 0.00067695 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3947-9_0_3_load_84 | 81 | 0.0039252 | 0.00098374 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3947-9_0_3_load_85 | 82 | 0.0067238 | 0.0016851 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 53 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3947-9_0_3_line_0 |  | 0 | 1 | 0.041419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3947-9_0_3_line_1 |  | 1 | 2 | 0.013266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3947-9_0_3_line_2 |  | 2 | 3 | 0.010587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3947-9_0_3_line_3 |  | 2 | 4 | 0.02479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3947-9_0_3_line_4 |  | 4 | 5 | 0.0036499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3947-9_0_3_line_5 |  | 4 | 6 | 0.0080291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3947-9_0_3_line_6 |  | 5 | 16 | 0.016894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3947-9_0_3_line_7 |  | 6 | 11 | 0.011425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3947-9_0_3_line_8 |  | 7 | 8 | 0.011207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3947-9_0_3_line_9 |  | 7 | 9 | 0.021371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3947-9_0_3_line_10 |  | 9 | 10 | 0.0012161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3947-9_0_3_line_11 |  | 10 | 11 | 0.01155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3947-9_0_3_line_12 |  | 12 | 13 | 0.014831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3947-9_0_3_line_13 |  | 12 | 14 | 0.036827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3947-9_0_3_line_14 |  | 13 | 15 | 0.0024163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3947-9_0_3_line_15 |  | 14 | 31 | 0.14906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3947-9_0_3_line_16 |  | 16 | 18 | 0.013665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3947-9_0_3_line_17 |  | 17 | 18 | 0.013604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3947-9_0_3_line_18 |  | 17 | 19 | 0.018212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3947-9_0_3_line_19 |  | 19 | 20 | 0.0018732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3947-9_0_3_line_20 |  | 20 | 21 | 0.0083188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3947-9_0_3_line_21 |  | 21 | 22 | 0.0047624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3947-9_0_3_line_22 |  | 22 | 23 | 0.00022219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3947-9_0_3_line_23 |  | 23 | 24 | 0.0057426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3947-9_0_3_line_24 |  | 24 | 25 | 0.0086653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3947-9_0_3_line_25 |  | 25 | 26 | 0.011518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3947-9_0_3_line_26 |  | 26 | 27 | 0.026535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_3947-9_0_3_line_27 |  | 26 | 28 | 0.0057986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3947-9_0_3_line_28 |  | 27 | 29 | 0.010653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_3947-9_0_3_line_29 |  | 28 | 30 | 0.0092961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3947-9_0_3_line_30 |  | 29 | 37 | 0.0031564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_3947-9_0_3_line_31 |  | 30 | 31 | 0.0077828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3947-9_0_3_line_32 |  | 31 | 32 | 0.0064977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3947-9_0_3_line_33 |  | 32 | 33 | 0.0021288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3947-9_0_3_line_34 |  | 33 | 34 | 0.0043383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3947-9_0_3_line_35 |  | 34 | 35 | 0.010666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3947-9_0_3_line_36 |  | 35 | 36 | 0.0033107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3947-9_0_3_line_37 |  | 36 | 38 | 0.0021182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3947-9_0_3_line_38 |  | 37 | 57 | 0.0077676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_3947-9_0_3_line_39 |  | 39 | 40 | 0.024765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3947-9_0_3_line_40 |  | 39 | 41 | 0.027335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3947-9_0_3_line_41 |  | 40 | 42 | 0.0026222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3947-9_0_3_line_42 |  | 41 | 43 | 0.030819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3947-9_0_3_line_43 |  | 42 | 44 | 0.033973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3947-9_0_3_line_44 |  | 43 | 45 | 0.017766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3947-9_0_3_line_45 |  | 44 | 46 | 0.00087193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3947-9_0_3_line_46 |  | 45 | 47 | 0.010215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3947-9_0_3_line_47 |  | 46 | 48 | 0.030578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3947-9_0_3_line_48 |  | 47 | 68 | 0.011666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3947-9_0_3_line_49 |  | 47 | 66 | 0.056418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3947-9_0_3_line_50 |  | 48 | 49 | 0.00033084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3947-9_0_3_line_51 |  | 49 | 50 | 0.020666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3947-9_0_3_line_52 |  | 50 | 51 | 0.00026601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3947-9_0_3_line_53 |  | 51 | 52 | 0.014321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3947-9_0_3_line_54 |  | 52 | 53 | 0.0094618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3947-9_0_3_line_55 |  | 53 | 54 | 0.0145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_3947-9_0_3_line_56 |  | 54 | 55 | 0.010383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_3947-9_0_3_line_57 |  | 55 | 56 | 0.020668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_3947-9_0_3_line_58 |  | 56 | 58 | 0.015205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_3947-9_0_3_line_59 |  | 57 | 58 | 0.040053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_3947-9_0_3_line_60 |  | 58 | 59 | 0.012967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3947-9_0_3_line_61 |  | 58 | 60 | 0.011781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3947-9_0_3_line_62 |  | 59 | 61 | 0.0054151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3947-9_0_3_line_63 |  | 60 | 62 | 0.027114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3947-9_0_3_line_64 |  | 62 | 63 | 0.013463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3947-9_0_3_line_65 |  | 63 | 80 | 0.014787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3947-9_0_3_line_66 |  | 63 | 78 | 0.021382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3947-9_0_3_line_67 |  | 64 | 65 | 0.0062549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3947-9_0_3_line_68 |  | 65 | 66 | 0.024368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3947-9_0_3_line_69 |  | 66 | 67 | 0.040429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3947-9_0_3_line_70 |  | 68 | 69 | 0.035744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3947-9_0_3_line_71 |  | 69 | 70 | 0.022368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3947-9_0_3_line_72 |  | 70 | 71 | 0.0018765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3947-9_0_3_line_73 |  | 71 | 72 | 0.022797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3947-9_0_3_line_74 |  | 72 | 73 | 0.0016115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3947-9_0_3_line_75 |  | 73 | 74 | 0.020765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3947-9_0_3_line_76 |  | 74 | 75 | 0.0043775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3947-9_0_3_line_77 |  | 75 | 76 | 0.021532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3947-9_0_3_line_78 |  | 76 | 77 | 0.027081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3947-9_0_3_line_79 |  | 78 | 79 | 0.0068291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3947-9_0_3_line_80 |  | 80 | 81 | 0.016805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3947-9_0_3_line_81 |  | 81 | 82 | 0.0012289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3947-9_0_3_trafo_49 | 0.63 MVA 20/0.4 kV | 83 | 53 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2762001.8144 | 1200871.091 | 2761999.1132 | 1200861.6964 | 2761994.8586 | 1200845.2885 | 2761994.3581 | 1200840.9933 | 2761995.7325 | 1200835.5367 | 2761998.652 | 1200831.8002
1 | 2762006.8196 | 1200821.3467 | 2761998.652 | 1200831.8002
2 | 2762006.8196 | 1200821.3467 | 2761996.3814 | 1200823.1166
3 | 2762031.33 | 1200817.1963 | 2762006.8196 | 1200821.3467
4 | 2762031.33 | 1200817.1963 | 2762030.6926 | 1200813.6025
5 | 2762031.33 | 1200817.1963 | 2762032.7339 | 1200825.1018
6 | 2762030.6926 | 1200813.6025 | 2762030.3985 | 1200811.9441 | 2762025.86 | 1200797.4269
7 | 2762034.7317 | 1200836.3507 | 2762032.7339 | 1200825.1018
8 | 2762040.701 | 1200869.9618 | 2762042.2455 | 1200878.6588 | 2762042.8299 | 1200880.9597
9 | 2762040.701 | 1200869.9618 | 2762036.964 | 1200848.9202
10 | 2762036.7514 | 1200847.7228 | 2762036.964 | 1200848.9202
11 | 2762036.7514 | 1200847.7228 | 2762034.7317 | 1200836.3507
12 | 2761835.3893 | 1200778.6513 | 2761834.7694 | 1200782.6282 | 2761834.9717 | 1200793.4323 | 2761834.9717 | 1200793.4323
13 | 2761849.5447 | 1200745.328 | 2761842.1985 | 1200755.5605 | 2761836.9823 | 1200768.4309 | 2761835.3893 | 1200778.6513
14 | 2761832.8853 | 1200794.6511 | 2761834.9717 | 1200793.4323
15 | 2761989.5473 | 1200694.1727 | 2761849.5447 | 1200745.328
16 | 2762025.86 | 1200797.4269 | 2762024.6793 | 1200793.6503 | 2762021.4931 | 1200784.4798
17 | 2762021.4931 | 1200784.4798 | 2762017.0283 | 1200771.6291
18 | 2762011.0514 | 1200754.4262 | 2762017.0283 | 1200771.6291
19 | 2762011.0514 | 1200754.4262 | 2762010.4367 | 1200752.6567
20 | 2762007.7065 | 1200744.7987 | 2762010.4367 | 1200752.6567
21 | 2762007.7065 | 1200744.7987 | 2762006.1435 | 1200740.3001
22 | 2762006.0706 | 1200740.0902 | 2762006.1435 | 1200740.3001
23 | 2762006.0706 | 1200740.0902 | 2762004.186 | 1200734.6657
24 | 2762001.3421 | 1200726.4804 | 2762004.186 | 1200734.6657
25 | 2761997.562 | 1200715.6004 | 2762001.3421 | 1200726.4804
26 | 2761997.562 | 1200715.6004 | 2762023.4291 | 1200709.6851
27 | 2761997.562 | 1200715.6004 | 2761995.5288 | 1200710.1699
28 | 2762023.4291 | 1200709.6851 | 2762033.8138 | 1200707.3104
29 | 2761995.5288 | 1200710.1699 | 2761994.4156 | 1200707.1965 | 2761992.2723 | 1200701.4629
30 | 2762036.8908 | 1200706.6068 | 2762033.8138 | 1200707.3104
31 | 2761989.5473 | 1200694.1727 | 2761992.2723 | 1200701.4629
32 | 2761987.2722 | 1200688.0863 | 2761989.5473 | 1200694.1727
33 | 2761987.2722 | 1200688.0863 | 2761986.5268 | 1200686.0923
34 | 2761985.0078 | 1200682.0287 | 2761986.5268 | 1200686.0923
35 | 2761985.0078 | 1200682.0287 | 2761981.4049 | 1200672.3902 | 2761981.2672 | 1200672.0399
36 | 2761980.056 | 1200668.9588 | 2761981.2672 | 1200672.0399
37 | 2761980.056 | 1200668.9588 | 2761979.2811 | 1200666.9874
38 | 2762036.8908 | 1200706.6068 | 2762044.4629 | 1200704.8752
39 | 2762133.6253 | 1200887.8969 | 2762126.0994 | 1200864.3026
40 | 2762141.932 | 1200913.9388 | 2762133.6253 | 1200887.8969
41 | 2762125.3025 | 1200861.8045 | 2762126.0994 | 1200864.3026
42 | 2762141.932 | 1200913.9388 | 2762150.5021 | 1200903.8067 | 2762157.8141 | 1200887.8538
43 | 2762125.3025 | 1200861.8045 | 2762114.9785 | 1200829.4381
44 | 2762165.2167 | 1200871.7034 | 2762157.8141 | 1200887.8538
45 | 2762114.7135 | 1200828.6074 | 2762114.9785 | 1200829.4381
46 | 2762169.473 | 1200862.4174 | 2762165.2167 | 1200871.7034
47 | 2762114.7135 | 1200828.6074 | 2762109.6911 | 1200812.8619 | 2762107.0332 | 1200799.0651
48 | 2762169.473 | 1200862.4174 | 2762172.1983 | 1200851.0745
49 | 2762225.8017 | 1200857.0858 | 2762169.473 | 1200862.4174
50 | 2762106.9706 | 1200798.7402 | 2762107.0332 | 1200799.0651
51 | 2762103.0611 | 1200778.447 | 2762106.9706 | 1200798.7402
52 | 2762103.0107 | 1200778.1858 | 2762103.0611 | 1200778.447
53 | 2762100.3016 | 1200764.1231 | 2762103.0107 | 1200778.1858
54 | 2762100.3016 | 1200764.1231 | 2762099.7968 | 1200761.5028 | 2762098.1587 | 1200754.9099
55 | 2762094.6622 | 1200740.8379 | 2762098.1587 | 1200754.9099
56 | 2762094.6622 | 1200740.8379 | 2762092.1585 | 1200730.7613
57 | 2762087.1747 | 1200710.7028 | 2762092.1585 | 1200730.7613
58 | 2762083.5082 | 1200695.9463 | 2762087.1747 | 1200710.7028
59 | 2762083.5082 | 1200695.9463 | 2762044.4629 | 1200704.8752
60 | 2762083.5082 | 1200695.9463 | 2762095.9668 | 1200692.3493
61 | 2762083.5082 | 1200695.9463 | 2762081.319 | 1200684.37
62 | 2762101.1694 | 1200690.8472 | 2762095.9668 | 1200692.3493
63 | 2762075.1654 | 1200658.0612 | 2762077.3332 | 1200663.2938 | 2762081.319 | 1200684.37
64 | 2762070.0127 | 1200645.6238 | 2762075.1654 | 1200658.0612
65 | 2762070.0127 | 1200645.6238 | 2762059.3225 | 1200635.4078
66 | 2762070.0127 | 1200645.6238 | 2762090.7993 | 1200640.6151
67 | 2762230.6663 | 1200887.3203 | 2762229.6727 | 1200881.1448
68 | 2762225.8017 | 1200857.0858 | 2762229.6727 | 1200881.1448
69 | 2762225.8017 | 1200857.0858 | 2762225.8927 | 1200829.063 | 2762225.6955 | 1200816.6585
70 | 2762172.1983 | 1200851.0745 | 2762172.4702 | 1200849.943 | 2762175.2794 | 1200829.245 | 2762171.8744 | 1200815.9829
71 | 2762171.8744 | 1200815.9829 | 2762166.3118 | 1200794.3174
72 | 2762165.8452 | 1200792.4998 | 2762166.3118 | 1200794.3174
73 | 2762165.8452 | 1200792.4998 | 2762164.7469 | 1200788.2222 | 2762160.4303 | 1200770.3554
74 | 2762160.4303 | 1200770.3554 | 2762160.0518 | 1200768.7889
75 | 2762155.1753 | 1200748.6044 | 2762160.0518 | 1200768.7889
76 | 2762155.1753 | 1200748.6044 | 2762154.1473 | 1200744.3493
77 | 2762149.0907 | 1200723.4198 | 2762154.1473 | 1200744.3493
78 | 2762149.0907 | 1200723.4198 | 2762142.731 | 1200697.0961
79 | 2762090.7993 | 1200640.6151 | 2762097.4384 | 1200639.0154
80 | 2762059.3225 | 1200635.4078 | 2762052.9207 | 1200629.2901 | 2762046.5379 | 1200624.5512
81 | 2762045.5511 | 1200623.8187 | 2762046.5379 | 1200624.5512

## bus_geodata
| x | y | coords
0 | 2762001.8144 | 1200871.091
1 | 2761998.652 | 1200831.8002
2 | 2762006.8196 | 1200821.3467
3 | 2761996.3814 | 1200823.1166
4 | 2762031.33 | 1200817.1963
5 | 2762030.6926 | 1200813.6025
6 | 2762032.7339 | 1200825.1018
7 | 2762040.701 | 1200869.9618
8 | 2762042.8299 | 1200880.9597
9 | 2762036.964 | 1200848.9202
10 | 2762036.7514 | 1200847.7228
11 | 2762034.7317 | 1200836.3507
12 | 2761835.3893 | 1200778.6513
13 | 2761834.9717 | 1200793.4323
14 | 2761849.5447 | 1200745.328
15 | 2761832.8853 | 1200794.6511
16 | 2762025.86 | 1200797.4269
17 | 2762017.0283 | 1200771.6291
18 | 2762021.4931 | 1200784.4798
19 | 2762011.0514 | 1200754.4262
20 | 2762010.4367 | 1200752.6567
21 | 2762007.7065 | 1200744.7987
22 | 2762006.1435 | 1200740.3001
23 | 2762006.0706 | 1200740.0902
24 | 2762004.186 | 1200734.6657
25 | 2762001.3421 | 1200726.4804
26 | 2761997.562 | 1200715.6004
27 | 2762023.4291 | 1200709.6851
28 | 2761995.5288 | 1200710.1699
29 | 2762033.8138 | 1200707.3104
30 | 2761992.2723 | 1200701.4629
31 | 2761989.5473 | 1200694.1727
32 | 2761987.2722 | 1200688.0863
33 | 2761986.5268 | 1200686.0923
34 | 2761985.0078 | 1200682.0287
35 | 2761981.2672 | 1200672.0399
36 | 2761980.056 | 1200668.9588
37 | 2762036.8908 | 1200706.6068
38 | 2761979.2811 | 1200666.9874
39 | 2762133.6253 | 1200887.8969
40 | 2762126.0994 | 1200864.3026
41 | 2762141.932 | 1200913.9388
42 | 2762125.3025 | 1200861.8045
43 | 2762157.8141 | 1200887.8538
44 | 2762114.9785 | 1200829.4381
45 | 2762165.2167 | 1200871.7034
46 | 2762114.7135 | 1200828.6074
47 | 2762169.473 | 1200862.4174
48 | 2762107.0332 | 1200799.0651
49 | 2762106.9706 | 1200798.7402
50 | 2762103.0611 | 1200778.447
51 | 2762103.0107 | 1200778.1858
52 | 2762100.3016 | 1200764.1231
53 | 2762098.1587 | 1200754.9099
54 | 2762094.6622 | 1200740.8379
55 | 2762092.1585 | 1200730.7613
56 | 2762087.1747 | 1200710.7028
57 | 2762044.4629 | 1200704.8752
58 | 2762083.5082 | 1200695.9463
59 | 2762095.9668 | 1200692.3493
60 | 2762081.319 | 1200684.37
61 | 2762101.1694 | 1200690.8472
62 | 2762075.1654 | 1200658.0612
63 | 2762070.0127 | 1200645.6238
64 | 2762230.6663 | 1200887.3203
65 | 2762229.6727 | 1200881.1448
66 | 2762225.8017 | 1200857.0858
67 | 2762225.6955 | 1200816.6585
68 | 2762172.1983 | 1200851.0745
69 | 2762171.8744 | 1200815.9829
70 | 2762166.3118 | 1200794.3174
71 | 2762165.8452 | 1200792.4998
72 | 2762160.4303 | 1200770.3554
73 | 2762160.0518 | 1200768.7889
74 | 2762155.1753 | 1200748.6044
75 | 2762154.1473 | 1200744.3493
76 | 2762149.0907 | 1200723.4198
77 | 2762142.731 | 1200697.0961
78 | 2762090.7993 | 1200640.6151
79 | 2762097.4384 | 1200639.0154
80 | 2762059.3225 | 1200635.4078
81 | 2762046.5379 | 1200624.5512
82 | 2762045.5511 | 1200623.8187
83 | 2762083.5082 | 1200695.9463

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1