## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3955-5_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3955-5_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3955-5_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3955-5_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3955-5_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3955-5_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3955-5_0_4_node_33 | 0.4 | n |  | TRUE
7 | bus_LV_3955-5_0_4_node_34 | 0.4 | n |  | TRUE
8 | bus_LV_3955-5_0_4_node_17 | 0.4 | n |  | TRUE
9 | bus_LV_3955-5_0_4_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_3955-5_0_4_node_87 | 0.4 | n |  | TRUE
11 | bus_LV_3955-5_0_4_node_93 | 0.4 | n |  | TRUE
12 | bus_LV_3955-5_0_4_node_18 | 0.4 | n |  | TRUE
13 | bus_LV_3955-5_0_4_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_3955-5_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_3955-5_0_4_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_3955-5_0_4_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_3955-5_0_4_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_3955-5_0_4_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_3955-5_0_4_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_3955-5_0_4_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_3955-5_0_4_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_3955-5_0_4_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_3955-5_0_4_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_3955-5_0_4_node_35 | 0.4 | n |  | TRUE
25 | bus_LV_3955-5_0_4_node_38 | 0.4 | n |  | TRUE
26 | bus_LV_3955-5_0_4_node_36 | 0.4 | n |  | TRUE
27 | bus_LV_3955-5_0_4_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_3955-5_0_4_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_3955-5_0_4_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_3955-5_0_4_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_3955-5_0_4_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_3955-5_0_4_node_32 | 0.4 | n |  | TRUE
33 | bus_LV_3955-5_0_4_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_3955-5_0_4_node_44 | 0.4 | n |  | TRUE
35 | bus_LV_3955-5_0_4_node_43 | 0.4 | n |  | TRUE
36 | bus_LV_3955-5_0_4_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_3955-5_0_4_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_3955-5_0_4_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_3955-5_0_4_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_3955-5_0_4_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_3955-5_0_4_node_58 | 0.4 | n |  | TRUE
42 | bus_LV_3955-5_0_4_node_42 | 0.4 | n |  | TRUE
43 | bus_LV_3955-5_0_4_node_86 | 0.4 | n |  | TRUE
44 | bus_LV_3955-5_0_4_node_91 | 0.4 | n |  | TRUE
45 | bus_LV_3955-5_0_4_node_77 | 0.4 | n |  | TRUE
46 | bus_LV_3955-5_0_4_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_3955-5_0_4_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_3955-5_0_4_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_3955-5_0_4_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_3955-5_0_4_node_59 | 0.4 | n |  | TRUE
51 | bus_LV_3955-5_0_4_node_76 | 0.4 | n |  | TRUE
52 | bus_LV_3955-5_0_4_node_60 | 0.4 | n |  | TRUE
53 | bus_LV_3955-5_0_4_node_57 | 0.4 | n |  | TRUE
54 | bus_LV_3955-5_0_4_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_3955-5_0_4_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_3955-5_0_4_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_3955-5_0_4_node_49 | 0.4 | n |  | TRUE
58 | bus_LV_3955-5_0_4_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_3955-5_0_4_node_52 | 0.4 | n |  | TRUE
60 | bus_LV_3955-5_0_4_node_65 | 0.4 | n |  | TRUE
61 | bus_LV_3955-5_0_4_node_66 | 0.4 | n |  | TRUE
62 | bus_LV_3955-5_0_4_node_53 | 0.4 | n |  | TRUE
63 | bus_LV_3955-5_0_4_node_54 | 0.4 | n |  | TRUE
64 | bus_LV_3955-5_0_4_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_3955-5_0_4_node_56 | 0.4 | n |  | TRUE
66 | bus_LV_3955-5_0_4_node_61 | 0.4 | n |  | TRUE
67 | bus_LV_3955-5_0_4_node_62 | 0.4 | n |  | TRUE
68 | bus_LV_3955-5_0_4_node_63 | 0.4 | n |  | TRUE
69 | bus_LV_3955-5_0_4_node_64 | 0.4 | n |  | TRUE
70 | bus_LV_3955-5_0_4_node_69 | 0.4 | n |  | TRUE
71 | bus_LV_3955-5_0_4_node_67 | 0.4 | n |  | TRUE
72 | bus_LV_3955-5_0_4_node_68 | 0.4 | n |  | TRUE
73 | bus_LV_3955-5_0_4_node_70 | 0.4 | n |  | TRUE
74 | bus_LV_3955-5_0_4_node_71 | 0.4 | n |  | TRUE
75 | bus_LV_3955-5_0_4_node_72 | 0.4 | n |  | TRUE
76 | bus_LV_3955-5_0_4_node_73 | 0.4 | n |  | TRUE
77 | bus_LV_3955-5_0_4_node_78 | 0.4 | n |  | TRUE
78 | bus_LV_3955-5_0_4_node_74 | 0.4 | n |  | TRUE
79 | bus_LV_3955-5_0_4_node_79 | 0.4 | n |  | TRUE
80 | bus_LV_3955-5_0_4_node_75 | 0.4 | n |  | TRUE
81 | bus_LV_3955-5_0_4_node_80 | 0.4 | n |  | TRUE
82 | bus_LV_3955-5_0_4_node_81 | 0.4 | n |  | TRUE
83 | bus_LV_3955-5_0_4_node_84 | 0.4 | n |  | TRUE
84 | bus_LV_3955-5_0_4_node_82 | 0.4 | n |  | TRUE
85 | bus_LV_3955-5_0_4_node_83 | 0.4 | n |  | TRUE
86 | bus_LV_3955-5_0_4_node_85 | 0.4 | n |  | TRUE
87 | bus_LV_3955-5_0_4_node_89 | 0.4 | n |  | TRUE
88 | bus_LV_3955-5_0_4_node_90 | 0.4 | n |  | TRUE
89 | bus_LV_3955-5_0_4_node_92 | 0.4 | n |  | TRUE
90 | bus_LV_3955-5_0_4_node_94 | 0.4 | n |  | TRUE
91 | bus_MV_178_0_node_150 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3955-5_0_4_load_0 | 0 | 0.0045317 | 0.0011358 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3955-5_0_4_load_1 | 1 | 0.0066155 | 0.001658 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3955-5_0_4_load_5 | 5 | 0.0032493 | 0.00081435 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3955-5_0_4_load_33 | 6 | 0.0041748 | 0.0010463 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3955-5_0_4_load_34 | 7 | 0.0046889 | 0.0011752 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3955-5_0_4_load_17 | 8 | 0.0043359 | 0.0010867 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3955-5_0_4_load_87 | 10 | 0.0034523 | 0.00086523 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3955-5_0_4_load_93 | 11 | 0.003209 | 0.00080426 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3955-5_0_4_load_18 | 12 | 0.003716 | 0.00093132 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3955-5_0_4_load_13 | 13 | 0.006976 | 0.0017484 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3955-5_0_4_load_10 | 14 | 0.002953 | 0.00074009 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3955-5_0_4_load_6 | 15 | 0.0073582 | 0.0018441 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3955-5_0_4_load_7 | 16 | 0.0081586 | 0.0020447 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3955-5_0_4_load_8 | 17 | 0.0073741 | 0.0018481 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3955-5_0_4_load_15 | 19 | 0.0062314 | 0.0015617 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3955-5_0_4_load_14 | 20 | 0.0068033 | 0.0017051 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3955-5_0_4_load_11 | 21 | 0.0070519 | 0.0017674 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3955-5_0_4_load_16 | 22 | 0.0053997 | 0.0013533 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3955-5_0_4_load_19 | 23 | 0.0027054 | 0.00067804 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3955-5_0_4_load_38 | 25 | 0.0031245 | 0.00078308 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3955-5_0_4_load_36 | 26 | 0.0021445 | 0.00053747 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3955-5_0_4_load_20 | 27 | 0.014546 | 0.0036455 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3955-5_0_4_load_21 | 28 | 0.011895 | 0.0029812 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3955-5_0_4_load_23 | 30 | 0.006168 | 0.0015458 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3955-5_0_4_load_30 | 33 | 0.011049 | 0.002769 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3955-5_0_4_load_44 | 34 | 0.0026623 | 0.00066723 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3955-5_0_4_load_43 | 35 | 0.0053311 | 0.0013361 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3955-5_0_4_load_31 | 36 | 0.0098565 | 0.0024703 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3955-5_0_4_load_25 | 37 | 0.0098747 | 0.0024748 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3955-5_0_4_load_28 | 39 | 0.0097238 | 0.002437 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3955-5_0_4_load_29 | 40 | 0.0066901 | 0.0016767 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3955-5_0_4_load_58 | 41 | 0.0031805 | 0.00079712 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3955-5_0_4_load_42 | 42 | 0.0021666 | 0.000543 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3955-5_0_4_load_86 | 43 | 0.0034556 | 0.00086607 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3955-5_0_4_load_77 | 45 | 0.0032992 | 0.00082687 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3955-5_0_4_load_39 | 47 | 0.0023373 | 0.00058578 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3955-5_0_4_load_40 | 48 | 0.0027344 | 0.0006853 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3955-5_0_4_load_41 | 49 | 0.0022864 | 0.00057304 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3955-5_0_4_load_59 | 50 | 0.0033132 | 0.00083037 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3955-5_0_4_load_76 | 51 | 0.0032225 | 0.00080763 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3955-5_0_4_load_60 | 52 | 0.0034029 | 0.00085285 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3955-5_0_4_load_57 | 53 | 0.010691 | 0.0026794 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3955-5_0_4_load_46 | 54 | 0.0039817 | 0.0009979 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3955-5_0_4_load_47 | 55 | 0.0043475 | 0.0010896 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3955-5_0_4_load_48 | 56 | 0.0035358 | 0.00088615 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3955-5_0_4_load_49 | 57 | 0.0027354 | 0.00068554 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3955-5_0_4_load_51 | 58 | 0.0032197 | 0.00080692 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3955-5_0_4_load_52 | 59 | 0.0097194 | 0.0024359 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3955-5_0_4_load_65 | 60 | 0.0033653 | 0.00084343 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3955-5_0_4_load_53 | 62 | 0.0029067 | 0.00072849 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3955-5_0_4_load_54 | 63 | 0.0093695 | 0.0023482 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3955-5_0_4_load_55 | 64 | 0.0077151 | 0.0019336 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3955-5_0_4_load_56 | 65 | 0.0026992 | 0.00067649 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3955-5_0_4_load_61 | 66 | 0.0025003 | 0.00062664 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3955-5_0_4_load_62 | 67 | 0.0025751 | 0.00064539 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3955-5_0_4_load_63 | 68 | 0.0020182 | 0.0005058 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3955-5_0_4_load_64 | 69 | 0.0021692 | 0.00054365 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3955-5_0_4_load_69 | 70 | 0.0031245 | 0.00078308 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3955-5_0_4_load_67 | 71 | 0.0034366 | 0.0008613 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3955-5_0_4_load_68 | 72 | 0.0033477 | 0.00083902 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3955-5_0_4_load_71 | 74 | 0.0038252 | 0.00095868 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3955-5_0_4_load_72 | 75 | 0.0024081 | 0.00060352 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3955-5_0_4_load_73 | 76 | 0.0024506 | 0.00061417 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3955-5_0_4_load_78 | 77 | 0.0023284 | 0.00058355 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3955-5_0_4_load_74 | 78 | 0.0036336 | 0.00091067 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3955-5_0_4_load_79 | 79 | 0.0043108 | 0.0010804 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3955-5_0_4_load_75 | 80 | 0.0025051 | 0.00062784 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3955-5_0_4_load_80 | 81 | 0.0070127 | 0.0017575 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3955-5_0_4_load_84 | 83 | 0.0040384 | 0.0010121 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3955-5_0_4_load_82 | 84 | 0.005955 | 0.0014925 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3955-5_0_4_load_83 | 85 | 0.0051762 | 0.0012973 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3955-5_0_4_load_85 | 86 | 0.0065466 | 0.0016407 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3955-5_0_4_load_89 | 87 | 0.0032196 | 0.0008069 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3955-5_0_4_load_90 | 88 | 0.0050638 | 0.0012691 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3955-5_0_4_load_94 | 90 | 0.0085118 | 0.0021333 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 47 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3955-5_0_4_line_0 |  | 0 | 1 | 0.016548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3955-5_0_4_line_1 |  | 0 | 2 | 0.026393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3955-5_0_4_line_2 |  | 1 | 3 | 0.02535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3955-5_0_4_line_3 |  | 2 | 4 | 0.028341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3955-5_0_4_line_4 |  | 2 | 5 | 0.01314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3955-5_0_4_line_5 |  | 3 | 6 | 0.011586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3955-5_0_4_line_6 |  | 3 | 7 | 0.0248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3955-5_0_4_line_7 |  | 4 | 8 | 0.013004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3955-5_0_4_line_8 |  | 5 | 9 | 0.01846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3955-5_0_4_line_9 |  | 6 | 10 | 0.022126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3955-5_0_4_line_10 |  | 7 | 11 | 0.024682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3955-5_0_4_line_11 |  | 8 | 12 | 0.019452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3955-5_0_4_line_12 |  | 9 | 13 | 0.015108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3955-5_0_4_line_13 |  | 9 | 14 | 0.034895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3955-5_0_4_line_14 |  | 10 | 43 | 0.023895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3955-5_0_4_line_15 |  | 11 | 44 | 0.01669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3955-5_0_4_line_16 |  | 12 | 23 | 0.0038758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3955-5_0_4_line_17 |  | 13 | 22 | 0.0073992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3955-5_0_4_line_18 |  | 14 | 21 | 0.0010807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3955-5_0_4_line_19 |  | 15 | 16 | 0.00020132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3955-5_0_4_line_20 |  | 15 | 17 | 0.028782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3955-5_0_4_line_21 |  | 17 | 18 | 0.013325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3955-5_0_4_line_22 |  | 18 | 19 | 0.0015052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3955-5_0_4_line_23 |  | 19 | 20 | 0.011489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3955-5_0_4_line_24 |  | 20 | 22 | 0.018603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3955-5_0_4_line_25 |  | 23 | 24 | 0.013342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3955-5_0_4_line_26 |  | 24 | 25 | 0.019527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3955-5_0_4_line_27 |  | 24 | 26 | 0.026934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_3955-5_0_4_line_28 |  | 25 | 45 | 2.9805e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3955-5_0_4_line_29 |  | 26 | 46 | 0.0074989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_3955-5_0_4_line_30 |  | 27 | 28 | 0.0041724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3955-5_0_4_line_31 |  | 27 | 29 | 0.016429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3955-5_0_4_line_32 |  | 28 | 30 | 0.018189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3955-5_0_4_line_33 |  | 29 | 31 | 0.031178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3955-5_0_4_line_34 |  | 30 | 32 | 0.016599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3955-5_0_4_line_35 |  | 31 | 33 | 0.016161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3955-5_0_4_line_36 |  | 32 | 34 | 0.012439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3955-5_0_4_line_37 |  | 32 | 35 | 0.0011493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_3955-5_0_4_line_38 |  | 33 | 36 | 0.021837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3955-5_0_4_line_39 |  | 34 | 41 | 0.011951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3955-5_0_4_line_40 |  | 35 | 42 | 0.018661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_3955-5_0_4_line_41 |  | 36 | 39 | 0.021215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3955-5_0_4_line_42 |  | 37 | 38 | 0.013166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3955-5_0_4_line_43 |  | 38 | 39 | 0.011433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3955-5_0_4_line_44 |  | 38 | 40 | 0.030569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3955-5_0_4_line_45 |  | 41 | 53 | 0.0077766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3955-5_0_4_line_46 |  | 42 | 49 | 0.015969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_3955-5_0_4_line_47 |  | 44 | 87 | 0.0033083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3955-5_0_4_line_48 |  | 45 | 51 | 0.01202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3955-5_0_4_line_49 |  | 46 | 47 | 0.008388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_3955-5_0_4_line_50 |  | 46 | 48 | 0.011959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3955-5_0_4_line_51 |  | 47 | 49 | 0.017788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_3955-5_0_4_line_52 |  | 48 | 50 | 0.0038986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3955-5_0_4_line_53 |  | 50 | 52 | 0.017885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3955-5_0_4_line_54 |  | 51 | 80 | 0.010199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3955-5_0_4_line_55 |  | 52 | 66 | 0.0016372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3955-5_0_4_line_56 |  | 53 | 65 | 0.018071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3955-5_0_4_line_57 |  | 54 | 55 | 0.023429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3955-5_0_4_line_58 |  | 54 | 56 | 0.00010717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3955-5_0_4_line_59 |  | 55 | 57 | 0.0010735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3955-5_0_4_line_60 |  | 57 | 58 | 0.0030302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3955-5_0_4_line_61 |  | 58 | 59 | 0.011084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3955-5_0_4_line_62 |  | 59 | 62 | 0.015424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3955-5_0_4_line_63 |  | 60 | 61 | 0.02991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3955-5_0_4_line_64 |  | 61 | 71 | 0.014775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3955-5_0_4_line_65 |  | 61 | 72 | 0.029781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3955-5_0_4_line_66 |  | 62 | 63 | 0.0018302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3955-5_0_4_line_67 |  | 63 | 64 | 0.02029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3955-5_0_4_line_68 |  | 64 | 65 | 0.0015404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3955-5_0_4_line_69 |  | 66 | 67 | 0.015007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3955-5_0_4_line_70 |  | 67 | 68 | 0.013938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3955-5_0_4_line_71 |  | 68 | 69 | 0.00054836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3955-5_0_4_line_72 |  | 69 | 70 | 0.024437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3955-5_0_4_line_73 |  | 70 | 71 | 0.00079629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3955-5_0_4_line_74 |  | 73 | 74 | 0.014221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3955-5_0_4_line_75 |  | 73 | 75 | 0.027761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3955-5_0_4_line_76 |  | 74 | 76 | 0.000783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3955-5_0_4_line_77 |  | 75 | 77 | 0.01924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3955-5_0_4_line_78 |  | 76 | 78 | 0.023459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3955-5_0_4_line_79 |  | 77 | 79 | 0.021106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3955-5_0_4_line_80 |  | 78 | 80 | 0.0016165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3955-5_0_4_line_81 |  | 79 | 81 | 0.035981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3955-5_0_4_line_82 |  | 81 | 82 | 0.031867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3955-5_0_4_line_83 |  | 82 | 83 | 0.039096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3955-5_0_4_line_84 |  | 83 | 84 | 0.020013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3955-5_0_4_line_85 |  | 84 | 85 | 0.0028558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3955-5_0_4_line_86 |  | 85 | 86 | 0.0027714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3955-5_0_4_line_87 |  | 87 | 88 | 0.0050845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3955-5_0_4_line_88 |  | 88 | 89 | 0.028702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3955-5_0_4_line_89 |  | 89 | 90 | 0.0089016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3955-5_0_4_trafo_39 | 0.63 MVA 20/0.4 kV | 91 | 47 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2762444.8952 | 1201867.9031 | 2762450.0481 | 1201852.1782
1 | 2762437.019 | 1201893.0934 | 2762443.98 | 1201870.6957 | 2762444.8952 | 1201867.9031
2 | 2762454.9267 | 1201827.7767 | 2762455.7158 | 1201834.8823 | 2762450.0481 | 1201852.1782
3 | 2762437.019 | 1201893.0934 | 2762434.1543 | 1201905.1709 | 2762433.7966 | 1201918.3176 | 2762433.8811 | 1201921.089
4 | 2762437.019 | 1201893.0934 | 2762426.9603 | 1201884.6394
5 | 2762454.9267 | 1201827.7767 | 2762451.0796 | 1201824.736 | 2762445.4006 | 1201821.2138
6 | 2762454.9267 | 1201827.7767 | 2762465.3985 | 1201816.3066 | 2762473.4618 | 1201820.8776
7 | 2762433.8811 | 1201921.089 | 2762424.9013 | 1201930.495
8 | 2762412.8283 | 1201872.7619 | 2762426.9603 | 1201884.6394
9 | 2762426.7536 | 1201809.3173 | 2762430.1314 | 1201811.7437 | 2762445.4006 | 1201821.2138
10 | 2762473.4618 | 1201820.8776 | 2762494.9333 | 1201833.0498
11 | 2762411.4709 | 1201944.5658 | 2762416.9407 | 1201938.8335 | 2762424.9013 | 1201930.495
12 | 2762412.8283 | 1201872.7619 | 2762401.2647 | 1201863.0386
13 | 2762412.8283 | 1201872.7619 | 2762390.1981 | 1201899.3243
14 | 2762407.346 | 1201795.3769 | 2762426.7536 | 1201809.3173
15 | 2762509.7928 | 1201840.6024 | 2762502.9444 | 1201837.5912 | 2762494.9333 | 1201833.0498
16 | 2762411.4709 | 1201944.5658 | 2762408.7952 | 1201947.3699
17 | 2762395.6015 | 1201858.2766 | 2762401.2647 | 1201863.0386
18 | 2762390.1981 | 1201899.3243 | 2762389.4972 | 1201900.1469
19 | 2762344.3201 | 1201867.6306 | 2762344.1844 | 1201867.7793
20 | 2762344.3201 | 1201867.6306 | 2762363.7213 | 1201846.3704
21 | 2762372.7036 | 1201836.5275 | 2762363.7213 | 1201846.3704
22 | 2762372.7036 | 1201836.5275 | 2762373.7774 | 1201837.5822
23 | 2762381.9736 | 1201845.6326 | 2762373.7774 | 1201837.5822
24 | 2762395.6015 | 1201858.2766 | 2762390.3577 | 1201853.8674 | 2762381.9736 | 1201845.6326
25 | 2762399.5846 | 1201957.0227 | 2762408.7952 | 1201947.3699
26 | 2762399.5846 | 1201957.0227 | 2762406.4902 | 1201962.9713 | 2762407.7776 | 1201971.9144 | 2762407.7999 | 1201973.2913
27 | 2762399.5846 | 1201957.0227 | 2762377.3923 | 1201941.7609
28 | 2762407.8004 | 1201973.3211 | 2762407.7999 | 1201973.2913
29 | 2762371.2136 | 1201937.5118 | 2762377.3923 | 1201941.7609
30 | 2762289.0846 | 1201878.8705 | 2762292.4781 | 1201881.2982
31 | 2762275.7229 | 1201869.3115 | 2762289.0846 | 1201878.8705
32 | 2762292.4781 | 1201881.2982 | 2762300.5923 | 1201887.1031 | 2762307.2552 | 1201891.9039
33 | 2762260.2651 | 1201896.4051 | 2762275.7229 | 1201869.3115
34 | 2762320.7225 | 1201901.6074 | 2762307.2552 | 1201891.9039
35 | 2762260.2651 | 1201896.4051 | 2762253.196 | 1201910.9378
36 | 2762320.7225 | 1201901.6074 | 2762315.6709 | 1201912.975
37 | 2762320.7225 | 1201901.6074 | 2762321.6592 | 1201902.2735
38 | 2762253.196 | 1201910.9378 | 2762243.6438 | 1201930.5752
39 | 2762315.6709 | 1201912.975 | 2762310.8176 | 1201923.8963
40 | 2762336.8673 | 1201913.088 | 2762321.6592 | 1201902.2735
41 | 2762234.3637 | 1201949.6533 | 2762243.6438 | 1201930.5752
42 | 2762229.3625 | 1201959.9346 | 2762223.6028 | 1201971.7743
43 | 2762229.3625 | 1201959.9346 | 2762234.3637 | 1201949.6533
44 | 2762229.3625 | 1201959.9346 | 2762198.9269 | 1201957.0783
45 | 2762307.6596 | 1201931.0028 | 2762310.8176 | 1201923.8963
46 | 2762349.8814 | 1201922.3424 | 2762336.8673 | 1201913.088
47 | 2762509.7928 | 1201840.6024 | 2762512.7428 | 1201842.1
48 | 2762407.8004 | 1201973.3211 | 2762407.9951 | 1201985.3399
49 | 2762371.2136 | 1201937.5118 | 2762364.3777 | 1201932.6507
50 | 2762371.2136 | 1201937.5118 | 2762365.7944 | 1201948.1724
51 | 2762364.3777 | 1201932.6507 | 2762349.8814 | 1201922.3424
52 | 2762365.7944 | 1201948.1724 | 2762364.0277 | 1201951.6477
53 | 2762355.923 | 1201967.5913 | 2762364.0277 | 1201951.6477
54 | 2762408.1602 | 1201995.5373 | 2762407.9951 | 1201985.3399
55 | 2762355.923 | 1201967.5913 | 2762355.181 | 1201969.0508
56 | 2762307.6596 | 1201931.0028 | 2762300.3212 | 1201947.5164
57 | 2762287.9724 | 1202022.4962 | 2762287.0784 | 1201999.0842
58 | 2762287.9765 | 1202022.6033 | 2762287.9724 | 1202022.4962
59 | 2762287.0784 | 1201999.0842 | 2762287.0375 | 1201998.0114
60 | 2762286.9218 | 1201994.9835 | 2762287.0375 | 1201998.0114
61 | 2762286.9218 | 1201994.9835 | 2762286.4989 | 1201983.9079 | 2762286.4989 | 1201983.9079
62 | 2762286.4989 | 1201983.9079 | 2762288.826 | 1201973.3838 | 2762290.7125 | 1201969.1385
63 | 2762348.6351 | 1202036.8437 | 2762318.7313 | 1202037.4591
64 | 2762348.6351 | 1202036.8437 | 2762348.0628 | 1202022.0795
65 | 2762348.6351 | 1202036.8437 | 2762378.4102 | 1202036.2339
66 | 2762291.4558 | 1201967.466 | 2762290.7125 | 1201969.1385
67 | 2762291.4558 | 1201967.466 | 2762299.6956 | 1201948.924
68 | 2762299.6956 | 1201948.924 | 2762300.3212 | 1201947.5164
69 | 2762349.2857 | 1201982.8225 | 2762352.1038 | 1201975.1043 | 2762355.181 | 1201969.0508
70 | 2762349.2857 | 1201982.8225 | 2762346.8046 | 1201989.6179 | 2762347.0642 | 1201996.3169
71 | 2762347.0855 | 1201996.8648 | 2762347.0642 | 1201996.3169
72 | 2762348.032 | 1202021.2838 | 2762347.0855 | 1201996.8648
73 | 2762348.0628 | 1202022.0795 | 2762348.032 | 1202021.2838
74 | 2762408.8092 | 1202035.6112 | 2762408.579 | 1202021.3923
75 | 2762408.8092 | 1202035.6112 | 2762436.5642 | 1202035.0291
76 | 2762408.579 | 1202021.3923 | 2762408.5663 | 1202020.6094
77 | 2762436.5642 | 1202035.0291 | 2762455.8003 | 1202034.6256
78 | 2762408.5663 | 1202020.6094 | 2762408.1864 | 1201997.1536
79 | 2762455.8003 | 1202034.6256 | 2762476.9019 | 1202034.183
80 | 2762408.1602 | 1201995.5373 | 2762408.1864 | 1201997.1536
81 | 2762476.9019 | 1202034.183 | 2762512.8748 | 1202033.4285
82 | 2762544.7346 | 1202032.7603 | 2762512.8748 | 1202033.4285
83 | 2762544.7346 | 1202032.7603 | 2762518.0401 | 1202004.1967
84 | 2762504.2423 | 1201989.7092 | 2762506.0321 | 1201991.3478 | 2762518.0401 | 1202004.1967
85 | 2762504.2423 | 1201989.7092 | 2762502.1359 | 1201987.7808
86 | 2762502.1359 | 1201987.7808 | 2762500.0918 | 1201985.9094
87 | 2762512.7428 | 1201842.1 | 2762517.2765 | 1201844.4016
88 | 2762542.5553 | 1201857.9871 | 2762525.9964 | 1201848.8284 | 2762517.2765 | 1201844.4016
89 | 2762542.5553 | 1201857.9871 | 2762550.2152 | 1201862.5218

## bus_geodata
| x | y | coords
0 | 2762444.8952 | 1201867.9031
1 | 2762450.0481 | 1201852.1782
2 | 2762437.019 | 1201893.0934
3 | 2762454.9267 | 1201827.7767
4 | 2762433.8811 | 1201921.089
5 | 2762426.9603 | 1201884.6394
6 | 2762445.4006 | 1201821.2138
7 | 2762473.4618 | 1201820.8776
8 | 2762424.9013 | 1201930.495
9 | 2762412.8283 | 1201872.7619
10 | 2762426.7536 | 1201809.3173
11 | 2762494.9333 | 1201833.0498
12 | 2762411.4709 | 1201944.5658
13 | 2762401.2647 | 1201863.0386
14 | 2762390.1981 | 1201899.3243
15 | 2762344.3201 | 1201867.6306
16 | 2762344.1844 | 1201867.7793
17 | 2762363.7213 | 1201846.3704
18 | 2762372.7036 | 1201836.5275
19 | 2762373.7774 | 1201837.5822
20 | 2762381.9736 | 1201845.6326
21 | 2762389.4972 | 1201900.1469
22 | 2762395.6015 | 1201858.2766
23 | 2762408.7952 | 1201947.3699
24 | 2762399.5846 | 1201957.0227
25 | 2762407.7999 | 1201973.2913
26 | 2762377.3923 | 1201941.7609
27 | 2762289.0846 | 1201878.8705
28 | 2762292.4781 | 1201881.2982
29 | 2762275.7229 | 1201869.3115
30 | 2762307.2552 | 1201891.9039
31 | 2762260.2651 | 1201896.4051
32 | 2762320.7225 | 1201901.6074
33 | 2762253.196 | 1201910.9378
34 | 2762315.6709 | 1201912.975
35 | 2762321.6592 | 1201902.2735
36 | 2762243.6438 | 1201930.5752
37 | 2762223.6028 | 1201971.7743
38 | 2762229.3625 | 1201959.9346
39 | 2762234.3637 | 1201949.6533
40 | 2762198.9269 | 1201957.0783
41 | 2762310.8176 | 1201923.8963
42 | 2762336.8673 | 1201913.088
43 | 2762407.346 | 1201795.3769
44 | 2762509.7929 | 1201840.6024
45 | 2762407.8004 | 1201973.3211
46 | 2762371.2136 | 1201937.5118
47 | 2762364.3777 | 1201932.6507
48 | 2762365.7944 | 1201948.1724
49 | 2762349.8814 | 1201922.3424
50 | 2762364.0277 | 1201951.6477
51 | 2762407.9951 | 1201985.3399
52 | 2762355.923 | 1201967.5913
53 | 2762307.6596 | 1201931.0028
54 | 2762287.9724 | 1202022.4962
55 | 2762287.0784 | 1201999.0842
56 | 2762287.9765 | 1202022.6033
57 | 2762287.0375 | 1201998.0114
58 | 2762286.9218 | 1201994.9835
59 | 2762286.4989 | 1201983.9079
60 | 2762318.7313 | 1202037.4591
61 | 2762348.6351 | 1202036.8437
62 | 2762290.7125 | 1201969.1385
63 | 2762291.4558 | 1201967.466
64 | 2762299.6956 | 1201948.924
65 | 2762300.3212 | 1201947.5164
66 | 2762355.181 | 1201969.0508
67 | 2762349.2857 | 1201982.8225
68 | 2762347.0642 | 1201996.3169
69 | 2762347.0855 | 1201996.8648
70 | 2762348.032 | 1202021.2838
71 | 2762348.0628 | 1202022.0795
72 | 2762378.4102 | 1202036.2339
73 | 2762408.8092 | 1202035.6112
74 | 2762408.579 | 1202021.3923
75 | 2762436.5642 | 1202035.0291
76 | 2762408.5663 | 1202020.6094
77 | 2762455.8003 | 1202034.6256
78 | 2762408.1864 | 1201997.1536
79 | 2762476.9019 | 1202034.183
80 | 2762408.1602 | 1201995.5373
81 | 2762512.8748 | 1202033.4285
82 | 2762544.7346 | 1202032.7603
83 | 2762518.0401 | 1202004.1967
84 | 2762504.2423 | 1201989.7092
85 | 2762502.1359 | 1201987.7808
86 | 2762500.0918 | 1201985.9094
87 | 2762512.7428 | 1201842.1
88 | 2762517.2765 | 1201844.4016
89 | 2762542.5553 | 1201857.9871
90 | 2762550.2152 | 1201862.5218
91 | 2762364.3777 | 1201932.6507

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1