## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5001-13_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5001-13_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5001-13_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5001-13_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5001-13_0_6_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_5001-13_0_6_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_5001-13_0_6_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_5001-13_0_6_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_5001-13_0_6_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_5001-13_0_6_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_5001-13_0_6_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_5001-13_0_6_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_5001-13_0_6_node_60 | 0.4 | n |  | TRUE
13 | bus_LV_5001-13_0_6_node_59 | 0.4 | n |  | TRUE
14 | bus_LV_5001-13_0_6_node_70 | 0.4 | n |  | TRUE
15 | bus_LV_5001-13_0_6_node_69 | 0.4 | n |  | TRUE
16 | bus_LV_5001-13_0_6_node_71 | 0.4 | n |  | TRUE
17 | bus_LV_5001-13_0_6_node_61 | 0.4 | n |  | TRUE
18 | bus_LV_5001-13_0_6_node_58 | 0.4 | n |  | TRUE
19 | bus_LV_5001-13_0_6_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_5001-13_0_6_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_5001-13_0_6_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_5001-13_0_6_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_5001-13_0_6_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_5001-13_0_6_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_5001-13_0_6_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_5001-13_0_6_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_5001-13_0_6_node_31 | 0.4 | n |  | TRUE
28 | bus_LV_5001-13_0_6_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_5001-13_0_6_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_5001-13_0_6_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_5001-13_0_6_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_5001-13_0_6_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_5001-13_0_6_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_5001-13_0_6_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_5001-13_0_6_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_5001-13_0_6_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_5001-13_0_6_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_5001-13_0_6_node_90 | 0.4 | n |  | TRUE
39 | bus_LV_5001-13_0_6_node_65 | 0.4 | n |  | TRUE
40 | bus_LV_5001-13_0_6_node_91 | 0.4 | n |  | TRUE
41 | bus_LV_5001-13_0_6_node_64 | 0.4 | n |  | TRUE
42 | bus_LV_5001-13_0_6_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_5001-13_0_6_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_5001-13_0_6_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_5001-13_0_6_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_5001-13_0_6_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_5001-13_0_6_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_5001-13_0_6_node_76 | 0.4 | n |  | TRUE
49 | bus_LV_5001-13_0_6_node_92 | 0.4 | n |  | TRUE
50 | bus_LV_5001-13_0_6_node_77 | 0.4 | n |  | TRUE
51 | bus_LV_5001-13_0_6_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_5001-13_0_6_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_5001-13_0_6_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_5001-13_0_6_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_5001-13_0_6_node_62 | 0.4 | n |  | TRUE
56 | bus_LV_5001-13_0_6_node_42 | 0.4 | n |  | TRUE
57 | bus_LV_5001-13_0_6_node_63 | 0.4 | n |  | TRUE
58 | bus_LV_5001-13_0_6_node_43 | 0.4 | n |  | TRUE
59 | bus_LV_5001-13_0_6_node_44 | 0.4 | n |  | TRUE
60 | bus_LV_5001-13_0_6_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_5001-13_0_6_node_56 | 0.4 | n |  | TRUE
62 | bus_LV_5001-13_0_6_node_55 | 0.4 | n |  | TRUE
63 | bus_LV_5001-13_0_6_node_47 | 0.4 | n |  | TRUE
64 | bus_LV_5001-13_0_6_node_48 | 0.4 | n |  | TRUE
65 | bus_LV_5001-13_0_6_node_89 | 0.4 | n |  | TRUE
66 | bus_LV_5001-13_0_6_node_49 | 0.4 | n |  | TRUE
67 | bus_LV_5001-13_0_6_node_54 | 0.4 | n |  | TRUE
68 | bus_LV_5001-13_0_6_node_72 | 0.4 | n |  | TRUE
69 | bus_LV_5001-13_0_6_node_73 | 0.4 | n |  | TRUE
70 | bus_LV_5001-13_0_6_node_74 | 0.4 | n |  | TRUE
71 | bus_LV_5001-13_0_6_node_50 | 0.4 | n |  | TRUE
72 | bus_LV_5001-13_0_6_node_51 | 0.4 | n |  | TRUE
73 | bus_LV_5001-13_0_6_node_52 | 0.4 | n |  | TRUE
74 | bus_LV_5001-13_0_6_node_53 | 0.4 | n |  | TRUE
75 | bus_LV_5001-13_0_6_node_57 | 0.4 | n |  | TRUE
76 | bus_LV_5001-13_0_6_node_75 | 0.4 | n |  | TRUE
77 | bus_LV_5001-13_0_6_node_66 | 0.4 | n |  | TRUE
78 | bus_LV_5001-13_0_6_node_67 | 0.4 | n |  | TRUE
79 | bus_LV_5001-13_0_6_node_68 | 0.4 | n |  | TRUE
80 | bus_LV_5001-13_0_6_node_78 | 0.4 | n |  | TRUE
81 | bus_LV_5001-13_0_6_node_81 | 0.4 | n |  | TRUE
82 | bus_LV_5001-13_0_6_node_79 | 0.4 | n |  | TRUE
83 | bus_LV_5001-13_0_6_node_80 | 0.4 | n |  | TRUE
84 | bus_LV_5001-13_0_6_node_82 | 0.4 | n |  | TRUE
85 | bus_LV_5001-13_0_6_node_84 | 0.4 | n |  | TRUE
86 | bus_LV_5001-13_0_6_node_83 | 0.4 | n |  | TRUE
87 | bus_LV_5001-13_0_6_node_85 | 0.4 | n |  | TRUE
88 | bus_MV_59_0_node_130 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5001-13_0_6_load_0 | 0 | 0.0036156 | 0.00090616 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5001-13_0_6_load_1 | 1 | 0.0037934 | 0.00095072 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5001-13_0_6_load_2 | 2 | 0.0054919 | 0.0013764 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5001-13_0_6_load_8 | 5 | 0.0023778 | 0.00059593 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5001-13_0_6_load_13 | 6 | 0.0029973 | 0.0007512 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5001-13_0_6_load_10 | 7 | 0.0023649 | 0.00059271 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5001-13_0_6_load_6 | 8 | 0.0045669 | 0.0011446 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5001-13_0_6_load_4 | 9 | 0.0040989 | 0.0010273 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5001-13_0_6_load_5 | 10 | 0.010809 | 0.0027089 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5001-13_0_6_load_60 | 12 | 0.010308 | 0.0025834 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5001-13_0_6_load_59 | 13 | 0.0084555 | 0.0021191 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5001-13_0_6_load_70 | 14 | 0.011569 | 0.0028996 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5001-13_0_6_load_69 | 15 | 0.0099528 | 0.0024944 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5001-13_0_6_load_71 | 16 | 0.01112 | 0.0027869 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5001-13_0_6_load_61 | 17 | 0.0042538 | 0.0010661 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5001-13_0_6_load_58 | 18 | 0.0030316 | 0.00075978 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5001-13_0_6_load_11 | 20 | 0.0022906 | 0.00057408 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5001-13_0_6_load_12 | 21 | 0.0027788 | 0.00069642 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5001-13_0_6_load_18 | 22 | 0.010154 | 0.0025448 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5001-13_0_6_load_14 | 23 | 0.0023334 | 0.0005848 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5001-13_0_6_load_15 | 24 | 0.0039365 | 0.00098658 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5001-13_0_6_load_17 | 25 | 0.0028026 | 0.00070239 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5001-13_0_6_load_19 | 26 | 0.0027682 | 0.00069377 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5001-13_0_6_load_31 | 27 | 0.0025018 | 0.00062702 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5001-13_0_6_load_20 | 28 | 0.0028376 | 0.00071117 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5001-13_0_6_load_24 | 29 | 0.005095 | 0.0012769 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5001-13_0_6_load_21 | 30 | 0.0059338 | 0.0014872 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5001-13_0_6_load_25 | 31 | 0.0040248 | 0.0010087 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5001-13_0_6_load_22 | 33 | 0.0057279 | 0.0014355 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5001-13_0_6_load_23 | 34 | 0.0030071 | 0.00075364 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5001-13_0_6_load_27 | 35 | 0.0074549 | 0.0018684 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5001-13_0_6_load_29 | 37 | 0.0028658 | 0.00071823 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5001-13_0_6_load_90 | 38 | 0.0021303 | 0.0005339 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5001-13_0_6_load_65 | 39 | 0.0012798 | 0.00032075 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5001-13_0_6_load_91 | 40 | 0.0013854 | 0.00034722 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5001-13_0_6_load_64 | 41 | 0.0064511 | 0.0016168 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5001-13_0_6_load_32 | 42 | 0.012829 | 0.0032153 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5001-13_0_6_load_33 | 43 | 0.012236 | 0.0030667 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5001-13_0_6_load_35 | 45 | 0.011685 | 0.0029286 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5001-13_0_6_load_76 | 48 | 0.010591 | 0.0026544 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5001-13_0_6_load_92 | 49 | 0.021205 | 0.0053146 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5001-13_0_6_load_38 | 51 | 0.0059342 | 0.0014872 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5001-13_0_6_load_39 | 52 | 0.0071751 | 0.0017982 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5001-13_0_6_load_40 | 53 | 0.033093 | 0.0082938 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5001-13_0_6_load_41 | 54 | 0.0026163 | 0.00065571 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5001-13_0_6_load_62 | 55 | 0.0094084 | 0.002358 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5001-13_0_6_load_42 | 56 | 0.0024907 | 0.00062422 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5001-13_0_6_load_63 | 57 | 0.0043925 | 0.0011009 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5001-13_0_6_load_43 | 58 | 0.0023095 | 0.00057882 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5001-13_0_6_load_56 | 61 | 0.0061406 | 0.001539 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5001-13_0_6_load_55 | 62 | 0.0031013 | 0.00077727 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5001-13_0_6_load_47 | 63 | 0.0039696 | 0.00099487 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5001-13_0_6_load_48 | 64 | 0.007337 | 0.0018388 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5001-13_0_6_load_89 | 65 | 0.017395 | 0.0043597 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5001-13_0_6_load_49 | 66 | 0.0054161 | 0.0013574 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5001-13_0_6_load_54 | 67 | 0.0043494 | 0.0010901 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5001-13_0_6_load_74 | 70 | 0.0057903 | 0.0014512 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5001-13_0_6_load_50 | 71 | 0.0021322 | 0.00053438 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5001-13_0_6_load_51 | 72 | 0.0029964 | 0.00075096 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5001-13_0_6_load_52 | 73 | 0.0066136 | 0.0016575 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5001-13_0_6_load_53 | 74 | 0.0042168 | 0.0010568 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5001-13_0_6_load_57 | 75 | 0.0035004 | 0.00087728 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5001-13_0_6_load_75 | 76 | 0.0029078 | 0.00072876 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5001-13_0_6_load_67 | 78 | 0.013957 | 0.0034979 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5001-13_0_6_load_68 | 79 | 0.011708 | 0.0029342 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5001-13_0_6_load_81 | 81 | 0.0049891 | 0.0012504 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5001-13_0_6_load_79 | 82 | 0.021913 | 0.005492 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5001-13_0_6_load_80 | 83 | 0.010407 | 0.0026082 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5001-13_0_6_load_82 | 84 | 0.0096776 | 0.0024254 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5001-13_0_6_load_84 | 85 | 0.0041496 | 0.00104 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5001-13_0_6_load_83 | 86 | 0.027104 | 0.0067928 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5001-13_0_6_load_85 | 87 | 0.043108 | 0.010804 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 57 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5001-13_0_6_line_0 |  | 0 | 1 | 0.013671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5001-13_0_6_line_1 |  | 0 | 2 | 0.00042605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5001-13_0_6_line_2 |  | 1 | 3 | 0.015634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5001-13_0_6_line_3 |  | 3 | 4 | 0.019791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5001-13_0_6_line_4 |  | 3 | 5 | 0.011211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5001-13_0_6_line_5 |  | 4 | 6 | 0.034077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5001-13_0_6_line_6 |  | 4 | 7 | 0.022913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5001-13_0_6_line_7 |  | 5 | 8 | 0.0017333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5001-13_0_6_line_8 |  | 6 | 19 | 0.0079389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5001-13_0_6_line_9 |  | 7 | 20 | 0.01412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5001-13_0_6_line_10 |  | 8 | 9 | 0.011643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5001-13_0_6_line_11 |  | 9 | 10 | 0.020811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5001-13_0_6_line_12 |  | 10 | 11 | 0.018549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_5001-13_0_6_line_13 |  | 11 | 12 | 0.026379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_5001-13_0_6_line_14 |  | 11 | 13 | 0.015281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5001-13_0_6_line_15 |  | 11 | 14 | 0.047109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5001-13_0_6_line_16 |  | 12 | 17 | 0.022596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_5001-13_0_6_line_17 |  | 13 | 18 | 0.0025317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5001-13_0_6_line_18 |  | 14 | 15 | 0.018947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5001-13_0_6_line_19 |  | 15 | 16 | 0.011549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5001-13_0_6_line_20 |  | 17 | 55 | 0.0031578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_5001-13_0_6_line_21 |  | 18 | 75 | 0.023714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5001-13_0_6_line_22 |  | 19 | 22 | 0.03546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5001-13_0_6_line_23 |  | 19 | 23 | 0.012581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5001-13_0_6_line_24 |  | 20 | 21 | 0.029089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5001-13_0_6_line_25 |  | 22 | 27 | 0.016669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5001-13_0_6_line_26 |  | 23 | 24 | 0.0032256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5001-13_0_6_line_27 |  | 24 | 25 | 0.012933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5001-13_0_6_line_28 |  | 25 | 26 | 0.036534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5001-13_0_6_line_29 |  | 26 | 28 | 0.0093613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5001-13_0_6_line_30 |  | 27 | 29 | 0.03934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5001-13_0_6_line_31 |  | 28 | 30 | 0.0093497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5001-13_0_6_line_32 |  | 29 | 34 | 0.0025193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5001-13_0_6_line_33 |  | 30 | 31 | 0.0017233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5001-13_0_6_line_34 |  | 31 | 32 | 0.015569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5001-13_0_6_line_35 |  | 32 | 35 | 0.039862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5001-13_0_6_line_36 |  | 32 | 36 | 0.022484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5001-13_0_6_line_37 |  | 33 | 34 | 0.03005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5001-13_0_6_line_38 |  | 35 | 37 | 0.030013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5001-13_0_6_line_39 |  | 36 | 38 | 0.017025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5001-13_0_6_line_40 |  | 36 | 39 | 0.0022962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5001-13_0_6_line_41 |  | 38 | 40 | 0.012258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5001-13_0_6_line_42 |  | 39 | 41 | 0.019938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5001-13_0_6_line_43 |  | 41 | 77 | 0.096545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5001-13_0_6_line_44 |  | 42 | 43 | 0.015988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5001-13_0_6_line_45 |  | 42 | 44 | 0.011703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5001-13_0_6_line_46 |  | 43 | 45 | 0.033337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5001-13_0_6_line_47 |  | 44 | 46 | 0.005446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5001-13_0_6_line_48 |  | 44 | 47 | 0.092524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5001-13_0_6_line_49 |  | 46 | 48 | 0.021825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5001-13_0_6_line_50 |  | 47 | 49 | 0.082111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5001-13_0_6_line_51 |  | 48 | 50 | 0.0090954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5001-13_0_6_line_52 |  | 50 | 80 | 0.021777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5001-13_0_6_line_53 |  | 51 | 52 | 0.012617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5001-13_0_6_line_54 |  | 51 | 53 | 0.020255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5001-13_0_6_line_55 |  | 52 | 54 | 0.026507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5001-13_0_6_line_56 |  | 53 | 55 | 0.06915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5001-13_0_6_line_57 |  | 54 | 56 | 0.00174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5001-13_0_6_line_58 |  | 55 | 57 | 0.021749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_5001-13_0_6_line_59 |  | 56 | 58 | 0.0019613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5001-13_0_6_line_60 |  | 57 | 76 | 0.01209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_5001-13_0_6_line_61 |  | 58 | 59 | 0.046078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5001-13_0_6_line_62 |  | 59 | 60 | 0.014233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5001-13_0_6_line_63 |  | 60 | 61 | 0.022649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5001-13_0_6_line_64 |  | 61 | 62 | 0.024433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5001-13_0_6_line_65 |  | 62 | 67 | 0.023584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5001-13_0_6_line_66 |  | 63 | 64 | 0.026934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5001-13_0_6_line_67 |  | 63 | 65 | 0.050231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5001-13_0_6_line_68 |  | 64 | 66 | 0.026659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5001-13_0_6_line_69 |  | 66 | 68 | 0.040392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5001-13_0_6_line_70 |  | 68 | 69 | 0.036142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_5001-13_0_6_line_71 |  | 68 | 70 | 0.014009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_5001-13_0_6_line_72 |  | 69 | 80 | 0.022099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
73 | LV_5001-13_0_6_line_73 |  | 70 | 76 | 0.0039867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_5001-13_0_6_line_74 |  | 71 | 72 | 0.0041243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5001-13_0_6_line_75 |  | 71 | 73 | 0.010075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5001-13_0_6_line_76 |  | 72 | 74 | 0.016174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5001-13_0_6_line_77 |  | 74 | 75 | 0.024035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5001-13_0_6_line_78 |  | 77 | 78 | 0.02716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5001-13_0_6_line_79 |  | 77 | 79 | 0.0022456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5001-13_0_6_line_80 |  | 80 | 81 | 0.015602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5001-13_0_6_line_81 |  | 81 | 82 | 0.00098294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5001-13_0_6_line_82 |  | 82 | 83 | 0.01892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5001-13_0_6_line_83 |  | 83 | 84 | 0.00094226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5001-13_0_6_line_84 |  | 84 | 85 | 0.0056071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5001-13_0_6_line_85 |  | 85 | 86 | 0.015558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5001-13_0_6_line_86 |  | 86 | 87 | 0.0022379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5001-13_0_6_trafo_63 | 0.63 MVA 20/0.4 kV | 88 | 57 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2724117.8012 | 1119624.8358 | 2724124.0837 | 1119612.694
1 | 2724117.6054 | 1119625.2142 | 2724117.8012 | 1119624.8358
2 | 2724131.2682 | 1119598.8091 | 2724124.0837 | 1119612.694
3 | 2724131.2682 | 1119598.8091 | 2724147.3865 | 1119610.3587
4 | 2724131.2682 | 1119598.8091 | 2724124.4056 | 1119593.587 | 2724122.9123 | 1119591.4734
5 | 2724147.3865 | 1119610.3587 | 2724170.769 | 1119585.57
6 | 2724147.3865 | 1119610.3587 | 2724151.021 | 1119613.035 | 2724161.775 | 1119627.9649
7 | 2724122.9123 | 1119591.4734 | 2724121.9122 | 1119590.0577
8 | 2724176.2165 | 1119579.795 | 2724170.769 | 1119585.57
9 | 2724161.775 | 1119627.9649 | 2724170.0276 | 1119639.422
10 | 2724115.1942 | 1119580.5487 | 2724121.9122 | 1119590.0577
11 | 2724115.1942 | 1119580.5487 | 2724103.1857 | 1119563.5512
12 | 2724092.4826 | 1119548.4014 | 2724103.1857 | 1119563.5512
13 | 2724092.4826 | 1119548.4014 | 2724077.2613 | 1119526.857
14 | 2724092.4826 | 1119548.4014 | 2724104.6649 | 1119539.1768
15 | 2724092.4826 | 1119548.4014 | 2724059.8225 | 1119582.351
16 | 2724064.201 | 1119508.4183 | 2724066.6723 | 1119511.8694 | 2724077.2613 | 1119526.857
17 | 2724104.6649 | 1119539.1768 | 2724106.6833 | 1119537.6485
18 | 2724048.6093 | 1119597.6238 | 2724059.8225 | 1119582.351
19 | 2724048.6093 | 1119597.6238 | 2724041.7746 | 1119606.9331
20 | 2724064.201 | 1119508.4183 | 2724062.3624 | 1119505.8508
21 | 2724121.9911 | 1119519.914 | 2724113.3845 | 1119532.5742 | 2724106.6833 | 1119537.6485
22 | 2724176.2165 | 1119579.795 | 2724209.4475 | 1119592.1675
23 | 2724176.2165 | 1119579.795 | 2724185.0495 | 1119570.8361
24 | 2724170.0276 | 1119639.422 | 2724173.5873 | 1119644.3639 | 2724187.9812 | 1119654.9331 | 2724192.6643 | 1119657.0549
25 | 2724209.4475 | 1119592.1675 | 2724225.0692 | 1119597.9836
26 | 2724187.3141 | 1119568.5392 | 2724185.0495 | 1119570.8361
27 | 2724197.0469 | 1119560.0375 | 2724189.2934 | 1119566.5317 | 2724187.3141 | 1119568.5392
28 | 2724225.0548 | 1119536.5785 | 2724197.0469 | 1119560.0375
29 | 2724225.0548 | 1119536.5785 | 2724232.2313 | 1119530.5676
30 | 2724225.0692 | 1119597.9836 | 2724261.937 | 1119611.71
31 | 2724232.2313 | 1119530.5676 | 2724239.399 | 1119524.5641
32 | 2724264.2979 | 1119612.5891 | 2724261.937 | 1119611.71
33 | 2724240.7201 | 1119523.4575 | 2724239.399 | 1119524.5641
34 | 2724252.6552 | 1119513.4609 | 2724240.7201 | 1119523.4575
35 | 2724252.6552 | 1119513.4609 | 2724290.9431 | 1119524.5513
36 | 2724245.3734 | 1119492.1856 | 2724252.6552 | 1119513.4609
37 | 2724292.4594 | 1119623.074 | 2724264.2979 | 1119612.5891
38 | 2724319.0608 | 1119534.8173 | 2724306.3651 | 1119529.0183 | 2724290.9431 | 1119524.5513
39 | 2724245.3734 | 1119492.1856 | 2724251.0903 | 1119485.5427 | 2724256.7559 | 1119491.1739 | 2724256.9522 | 1119491.3638
40 | 2724245.3734 | 1119492.1856 | 2724244.7011 | 1119489.99
41 | 2724265.7641 | 1119499.8853 | 2724256.9522 | 1119491.3638
42 | 2724238.8632 | 1119470.9261 | 2724244.7011 | 1119489.99
43 | 2724237.6793 | 1119394.3595 | 2724247.2666 | 1119396.5799 | 2724253.6184 | 1119407.1398 | 2724262.8762 | 1119429.1674 | 2724262.8077 | 1119432.5016 | 2724260.379 | 1119438.0112 | 2724239.8629 | 1119459.8277 | 2724239.0001 | 1119464.2576 | 2724238.8632 | 1119470.9261
44 | 2724048.0245 | 1119338.6333 | 2724048.0245 | 1119338.6333 | 2724059.0287 | 1119337.6358 | 2724063.9661 | 1119337.5303
45 | 2724037.0428 | 1119342.6779 | 2724048.0245 | 1119338.6333
46 | 2724063.9661 | 1119337.5303 | 2724097.2958 | 1119336.8178
47 | 2724038.9606 | 1119347.7763 | 2724037.0428 | 1119342.6779
48 | 2724037.0428 | 1119342.6779 | 2724034.0276 | 1119334.6328 | 2724031.0244 | 1119328.6338 | 2724029.0272 | 1119320.6317 | 2724027.0242 | 1119307.6372 | 2724026.0301 | 1119296.6314 | 2724027.0247 | 1119284.6323 | 2724027.0306 | 1119263.6289 | 2724026.0288 | 1119255.6362 | 2724024.8729 | 1119252.1545
49 | 2724038.9606 | 1119347.7763 | 2724044.0691 | 1119362.9026 | 2724045.3218 | 1119368.6264
50 | 2724024.8729 | 1119252.1545 | 2724077.3334 | 1119230.525 | 2724099.1118 | 1119243.9027
51 | 2724047.2663 | 1119377.5116 | 2724045.3218 | 1119368.6264
52 | 2724047.2663 | 1119377.5116 | 2724049.4698 | 1119399.1718
53 | 2724013.0302 | 1119556.6353 | 2724003.1475 | 1119564.4791
54 | 2724002.0247 | 1119539.6314 | 2724013.0302 | 1119556.6353
55 | 2723982.385 | 1119580.9583 | 2724003.1475 | 1119564.4791
56 | 2724062.3624 | 1119505.8508 | 2724002.0247 | 1119539.6314
57 | 2723982.385 | 1119580.9583 | 2723981.0221 | 1119582.04
58 | 2724052.9142 | 1119486.5779 | 2724056.1672 | 1119497.1995 | 2724062.3624 | 1119505.8508
59 | 2723979.4858 | 1119583.2593 | 2723981.0221 | 1119582.04
60 | 2724052.9142 | 1119486.5779 | 2724049.6562 | 1119475.9402 | 2724049.7545 | 1119474.9802
61 | 2723941.0254 | 1119608.6309 | 2723979.0256 | 1119583.6246 | 2723979.4858 | 1119583.2593
62 | 2723931.934 | 1119597.6594 | 2723941.0254 | 1119608.6309
63 | 2723931.934 | 1119597.6594 | 2723917.8042 | 1119579.9589
64 | 2723917.8042 | 1119579.9589 | 2723902.5611 | 1119560.8637
65 | 2723887.8477 | 1119542.4321 | 2723902.5611 | 1119560.8637
66 | 2723957.8444 | 1119450.3258 | 2723984.7087 | 1119452.2608
67 | 2723957.8444 | 1119450.3258 | 2723925.6657 | 1119411.7557
68 | 2723984.7087 | 1119452.2608 | 2724011.299 | 1119454.176
69 | 2724051.5866 | 1119457.0777 | 2724011.299 | 1119454.176
70 | 2724051.5866 | 1119457.0777 | 2724051.9666 | 1119452.0932 | 2724053.4761 | 1119434.1783 | 2724052.4869 | 1119421.06
71 | 2724051.5866 | 1119457.0777 | 2724050.1604 | 1119471.0142
72 | 2724049.4698 | 1119399.1718 | 2724052.4869 | 1119421.06
73 | 2724050.1604 | 1119471.0142 | 2724049.7545 | 1119474.9802
74 | 2724152.2035 | 1119491.3713 | 2724148.1047 | 1119490.9127
75 | 2724162.2156 | 1119492.4916 | 2724152.2035 | 1119491.3713
76 | 2724136.3372 | 1119500.7012 | 2724145.6665 | 1119490.6399 | 2724148.1047 | 1119490.9127
77 | 2724136.3372 | 1119500.7012 | 2724131.5221 | 1119505.894 | 2724121.9911 | 1119519.914
78 | 2724237.6793 | 1119394.3595 | 2724226.5004 | 1119406.5053 | 2724221.5183 | 1119409.3162 | 2724216.6991 | 1119410.3692
79 | 2724237.6793 | 1119394.3595 | 2724239.2007 | 1119392.7078
80 | 2724049.4698 | 1119399.1718 | 2724064.9253 | 1119397.0352
81 | 2724065.8989 | 1119396.9006 | 2724064.9253 | 1119397.0352
82 | 2724065.8989 | 1119396.9006 | 2724073.8449 | 1119395.8021 | 2724084.7429 | 1119395.8476
83 | 2724085.6851 | 1119395.8516 | 2724084.7429 | 1119395.8476
84 | 2724085.6851 | 1119395.8516 | 2724091.2922 | 1119395.875
85 | 2724106.5637 | 1119393.5401 | 2724097.0065 | 1119395.8989 | 2724091.2922 | 1119395.875
86 | 2724108.7364 | 1119393.0039 | 2724106.5637 | 1119393.5401

## bus_geodata
| x | y | coords
0 | 2724117.8012 | 1119624.8358
1 | 2724124.0837 | 1119612.694
2 | 2724117.6054 | 1119625.2142
3 | 2724131.2682 | 1119598.8091
4 | 2724147.3865 | 1119610.3586
5 | 2724122.9123 | 1119591.4734
6 | 2724170.769 | 1119585.5701
7 | 2724161.775 | 1119627.9649
8 | 2724121.9122 | 1119590.0577
9 | 2724115.1942 | 1119580.5486
10 | 2724103.1857 | 1119563.5512
11 | 2724092.4826 | 1119548.4014
12 | 2724077.2613 | 1119526.857
13 | 2724104.6649 | 1119539.1768
14 | 2724059.8225 | 1119582.351
15 | 2724048.6093 | 1119597.6238
16 | 2724041.7746 | 1119606.9331
17 | 2724064.201 | 1119508.4183
18 | 2724106.6833 | 1119537.6485
19 | 2724176.2165 | 1119579.795
20 | 2724170.0276 | 1119639.422
21 | 2724192.6643 | 1119657.0549
22 | 2724209.4475 | 1119592.1675
23 | 2724185.0495 | 1119570.8361
24 | 2724187.3141 | 1119568.5392
25 | 2724197.0469 | 1119560.0375
26 | 2724225.0548 | 1119536.5785
27 | 2724225.0692 | 1119597.9836
28 | 2724232.2313 | 1119530.5676
29 | 2724261.937 | 1119611.71
30 | 2724239.399 | 1119524.5641
31 | 2724240.7201 | 1119523.4575
32 | 2724252.6552 | 1119513.4609
33 | 2724292.4594 | 1119623.074
34 | 2724264.2979 | 1119612.5891
35 | 2724290.9431 | 1119524.5513
36 | 2724245.3734 | 1119492.1856
37 | 2724319.0608 | 1119534.8173
38 | 2724256.9522 | 1119491.3638
39 | 2724244.7011 | 1119489.99
40 | 2724265.7641 | 1119499.8853
41 | 2724238.8632 | 1119470.9261
42 | 2724048.0245 | 1119338.6333
43 | 2724063.9661 | 1119337.5303
44 | 2724037.0428 | 1119342.6779
45 | 2724097.2958 | 1119336.8178
46 | 2724038.9606 | 1119347.7763
47 | 2724024.8729 | 1119252.1545
48 | 2724045.3218 | 1119368.6264
49 | 2724099.1118 | 1119243.9027
50 | 2724047.2663 | 1119377.5116
51 | 2724013.0301 | 1119556.6353
52 | 2724003.1475 | 1119564.4791
53 | 2724002.0247 | 1119539.6314
54 | 2723982.385 | 1119580.9583
55 | 2724062.3624 | 1119505.8508
56 | 2723981.0221 | 1119582.04
57 | 2724052.9142 | 1119486.5779
58 | 2723979.4858 | 1119583.2593
59 | 2723941.0254 | 1119608.6309
60 | 2723931.934 | 1119597.6594
61 | 2723917.8042 | 1119579.9589
62 | 2723902.5611 | 1119560.8637
63 | 2723957.8444 | 1119450.3258
64 | 2723984.7087 | 1119452.2608
65 | 2723925.6657 | 1119411.7557
66 | 2724011.299 | 1119454.176
67 | 2723887.8477 | 1119542.4321
68 | 2724051.5866 | 1119457.0777
69 | 2724052.4869 | 1119421.06
70 | 2724050.1604 | 1119471.0142
71 | 2724152.2035 | 1119491.3713
72 | 2724148.1047 | 1119490.9127
73 | 2724162.2156 | 1119492.4916
74 | 2724136.3372 | 1119500.7012
75 | 2724121.9911 | 1119519.914
76 | 2724049.7545 | 1119474.9802
77 | 2724237.6793 | 1119394.3595
78 | 2724216.6991 | 1119410.3692
79 | 2724239.2007 | 1119392.7078
80 | 2724049.4698 | 1119399.1718
81 | 2724064.9253 | 1119397.0352
82 | 2724065.8989 | 1119396.9006
83 | 2724084.7429 | 1119395.8476
84 | 2724085.6851 | 1119395.8516
85 | 2724091.2922 | 1119395.875
86 | 2724106.5637 | 1119393.5401
87 | 2724108.7364 | 1119393.0039
88 | 2724051.5866 | 1119457.0777

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1