## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5001-3_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5001-3_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5001-3_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_5001-3_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_5001-3_0_4_node_2 | 0.4 | n |  | TRUE
5 | bus_LV_5001-3_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5001-3_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5001-3_0_4_node_21 | 0.4 | n |  | TRUE
8 | bus_LV_5001-3_0_4_node_19 | 0.4 | n |  | TRUE
9 | bus_LV_5001-3_0_4_node_24 | 0.4 | n |  | TRUE
10 | bus_LV_5001-3_0_4_node_44 | 0.4 | n |  | TRUE
11 | bus_LV_5001-3_0_4_node_22 | 0.4 | n |  | TRUE
12 | bus_LV_5001-3_0_4_node_18 | 0.4 | n |  | TRUE
13 | bus_LV_5001-3_0_4_node_25 | 0.4 | n |  | TRUE
14 | bus_LV_5001-3_0_4_node_43 | 0.4 | n |  | TRUE
15 | bus_LV_5001-3_0_4_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_5001-3_0_4_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_5001-3_0_4_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_5001-3_0_4_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_5001-3_0_4_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_5001-3_0_4_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_5001-3_0_4_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_5001-3_0_4_node_55 | 0.4 | n |  | TRUE
23 | bus_LV_5001-3_0_4_node_53 | 0.4 | n |  | TRUE
24 | bus_LV_5001-3_0_4_node_29 | 0.4 | n |  | TRUE
25 | bus_LV_5001-3_0_4_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_5001-3_0_4_node_56 | 0.4 | n |  | TRUE
27 | bus_LV_5001-3_0_4_node_54 | 0.4 | n |  | TRUE
28 | bus_LV_5001-3_0_4_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_5001-3_0_4_node_13 | 0.4 | n |  | TRUE
30 | bus_LV_5001-3_0_4_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_5001-3_0_4_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_5001-3_0_4_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_5001-3_0_4_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_5001-3_0_4_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_5001-3_0_4_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_5001-3_0_4_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_5001-3_0_4_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_5001-3_0_4_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_5001-3_0_4_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_5001-3_0_4_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_5001-3_0_4_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_5001-3_0_4_node_64 | 0.4 | n |  | TRUE
43 | bus_LV_5001-3_0_4_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_5001-3_0_4_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_5001-3_0_4_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_5001-3_0_4_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_5001-3_0_4_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_5001-3_0_4_node_65 | 0.4 | n |  | TRUE
49 | bus_LV_5001-3_0_4_node_69 | 0.4 | n |  | TRUE
50 | bus_LV_5001-3_0_4_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_5001-3_0_4_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_5001-3_0_4_node_66 | 0.4 | n |  | TRUE
53 | bus_LV_5001-3_0_4_node_67 | 0.4 | n |  | TRUE
54 | bus_LV_5001-3_0_4_node_68 | 0.4 | n |  | TRUE
55 | bus_LV_5001-3_0_4_node_74 | 0.4 | n |  | TRUE
56 | bus_LV_5001-3_0_4_node_75 | 0.4 | n |  | TRUE
57 | bus_LV_5001-3_0_4_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_5001-3_0_4_node_46 | 0.4 | n |  | TRUE
59 | bus_LV_5001-3_0_4_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_5001-3_0_4_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_5001-3_0_4_node_49 | 0.4 | n |  | TRUE
62 | bus_LV_5001-3_0_4_node_57 | 0.4 | n |  | TRUE
63 | bus_LV_5001-3_0_4_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_5001-3_0_4_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_5001-3_0_4_node_51 | 0.4 | n |  | TRUE
66 | bus_LV_5001-3_0_4_node_61 | 0.4 | n |  | TRUE
67 | bus_LV_5001-3_0_4_node_52 | 0.4 | n |  | TRUE
68 | bus_LV_5001-3_0_4_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_5001-3_0_4_node_60 | 0.4 | n |  | TRUE
70 | bus_LV_5001-3_0_4_node_62 | 0.4 | n |  | TRUE
71 | bus_LV_5001-3_0_4_node_63 | 0.4 | n |  | TRUE
72 | bus_LV_5001-3_0_4_node_71 | 0.4 | n |  | TRUE
73 | bus_LV_5001-3_0_4_node_70 | 0.4 | n |  | TRUE
74 | bus_LV_5001-3_0_4_node_72 | 0.4 | n |  | TRUE
75 | bus_LV_5001-3_0_4_node_73 | 0.4 | n |  | TRUE
76 | bus_MV_59_0_node_231 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5001-3_0_4_load_0 | 0 | 0.0020677 | 0.00051822 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5001-3_0_4_load_3 | 2 | 0.0052755 | 0.0013222 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5001-3_0_4_load_4 | 3 | 0.0079902 | 0.0020025 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5001-3_0_4_load_5 | 5 | 0.0075365 | 0.0018888 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5001-3_0_4_load_6 | 6 | 0.014176 | 0.0035529 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5001-3_0_4_load_21 | 7 | 0.0045733 | 0.0011462 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5001-3_0_4_load_19 | 8 | 0.0030391 | 0.00076166 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5001-3_0_4_load_24 | 9 | 0.012454 | 0.0031212 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5001-3_0_4_load_22 | 11 | 0.0013818 | 0.00034632 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5001-3_0_4_load_18 | 12 | 0.0033771 | 0.00084639 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5001-3_0_4_load_25 | 13 | 0.014898 | 0.0037339 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5001-3_0_4_load_7 | 15 | 0.017674 | 0.0044296 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5001-3_0_4_load_8 | 16 | 0.0051188 | 0.0012829 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5001-3_0_4_load_10 | 18 | 0.0052824 | 0.0013239 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5001-3_0_4_load_12 | 20 | 0.0024206 | 0.00060667 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5001-3_0_4_load_16 | 21 | 0.0055926 | 0.0014016 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5001-3_0_4_load_55 | 22 | 0.0027629 | 0.00069244 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5001-3_0_4_load_53 | 23 | 0.0056544 | 0.0014171 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5001-3_0_4_load_29 | 24 | 0.0023275 | 0.00058333 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5001-3_0_4_load_14 | 25 | 0.0029876 | 0.00074876 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5001-3_0_4_load_56 | 26 | 0.0037143 | 0.00093089 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5001-3_0_4_load_54 | 27 | 0.0035157 | 0.00088113 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5001-3_0_4_load_27 | 28 | 0.0061577 | 0.0015433 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5001-3_0_4_load_13 | 29 | 0.006074 | 0.0015223 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5001-3_0_4_load_15 | 30 | 0.0054868 | 0.0013751 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5001-3_0_4_load_17 | 31 | 0.0024027 | 0.00060217 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5001-3_0_4_load_20 | 32 | 0.0057464 | 0.0014402 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5001-3_0_4_load_30 | 34 | 0.0042789 | 0.0010724 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5001-3_0_4_load_31 | 35 | 0.012728 | 0.00319 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5001-3_0_4_load_33 | 36 | 0.013611 | 0.0034112 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5001-3_0_4_load_26 | 37 | 0.0037734 | 0.00094571 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5001-3_0_4_load_34 | 38 | 0.014178 | 0.0035532 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5001-3_0_4_load_35 | 39 | 0.0055321 | 0.0013865 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5001-3_0_4_load_28 | 40 | 0.0076845 | 0.0019259 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5001-3_0_4_load_32 | 41 | 0.0066393 | 0.001664 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5001-3_0_4_load_64 | 42 | 0.011514 | 0.0028856 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5001-3_0_4_load_36 | 43 | 0.0068778 | 0.0017237 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5001-3_0_4_load_37 | 44 | 0.0051529 | 0.0012914 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5001-3_0_4_load_38 | 45 | 0.0049775 | 0.0012475 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5001-3_0_4_load_39 | 46 | 0.0055796 | 0.0013984 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5001-3_0_4_load_40 | 47 | 0.0035938 | 0.0009007 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5001-3_0_4_load_65 | 48 | 0.003925 | 0.00098369 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5001-3_0_4_load_69 | 49 | 0.0080411 | 0.0020153 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5001-3_0_4_load_41 | 50 | 0.018836 | 0.0047207 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5001-3_0_4_load_42 | 51 | 0.012009 | 0.0030097 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5001-3_0_4_load_66 | 52 | 0.019709 | 0.0049396 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5001-3_0_4_load_75 | 56 | 0.0048988 | 0.0012277 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5001-3_0_4_load_45 | 57 | 0.0026497 | 0.00066407 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5001-3_0_4_load_46 | 58 | 0.0020974 | 0.00052566 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5001-3_0_4_load_48 | 60 | 0.0021158 | 0.00053028 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5001-3_0_4_load_57 | 62 | 0.002862 | 0.0007173 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5001-3_0_4_load_58 | 63 | 0.0028128 | 0.00070496 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5001-3_0_4_load_50 | 64 | 0.0030447 | 0.00076307 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5001-3_0_4_load_51 | 65 | 0.0063604 | 0.0015941 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5001-3_0_4_load_61 | 66 | 0.0053526 | 0.0013415 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5001-3_0_4_load_52 | 67 | 0.00348 | 0.00087217 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5001-3_0_4_load_59 | 68 | 0.0057118 | 0.0014315 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5001-3_0_4_load_60 | 69 | 0.005711 | 0.0014313 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5001-3_0_4_load_62 | 70 | 0.0026406 | 0.00066181 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5001-3_0_4_load_63 | 71 | 0.0021699 | 0.00054383 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5001-3_0_4_load_71 | 72 | 0.0023495 | 0.00058883 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5001-3_0_4_load_70 | 73 | 0.0045684 | 0.0011449 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5001-3_0_4_load_72 | 74 | 0.0049743 | 0.0012467 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5001-3_0_4_load_73 | 75 | 0.0063448 | 0.0015902 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5001-3_0_4_line_0 |  | 0 | 1 | 0.023671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5001-3_0_4_line_1 |  | 1 | 2 | 0.039277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_5001-3_0_4_line_2 |  | 1 | 3 | 0.013659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_5001-3_0_4_line_3 |  | 2 | 7 | 0.024287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_5001-3_0_4_line_4 |  | 3 | 8 | 0.003788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_5001-3_0_4_line_5 |  | 4 | 5 | 0.020043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5001-3_0_4_line_6 |  | 4 | 6 | 0.020183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5001-3_0_4_line_7 |  | 5 | 9 | 0.0062167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5001-3_0_4_line_8 |  | 6 | 10 | 0.018536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5001-3_0_4_line_9 |  | 7 | 11 | 0.024823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5001-3_0_4_line_10 |  | 8 | 12 | 0.0083334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_5001-3_0_4_line_11 |  | 9 | 13 | 0.001673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5001-3_0_4_line_12 |  | 10 | 14 | 0.018804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5001-3_0_4_line_13 |  | 11 | 33 | 0.040677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5001-3_0_4_line_14 |  | 12 | 32 | 0.01901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_5001-3_0_4_line_15 |  | 13 | 37 | 0.029984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5001-3_0_4_line_16 |  | 14 | 50 | 0.013497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5001-3_0_4_line_17 |  | 15 | 16 | 0.0047243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_5001-3_0_4_line_18 |  | 15 | 17 | 0.021421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_5001-3_0_4_line_19 |  | 16 | 18 | 0.018612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_5001-3_0_4_line_20 |  | 17 | 19 | 0.005621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_5001-3_0_4_line_21 |  | 17 | 20 | 0.021675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5001-3_0_4_line_22 |  | 18 | 21 | 0.00061177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_5001-3_0_4_line_23 |  | 19 | 22 | 0.0044983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5001-3_0_4_line_24 |  | 19 | 23 | 0.019791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_5001-3_0_4_line_25 |  | 20 | 24 | 0.012388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5001-3_0_4_line_26 |  | 21 | 25 | 0.014717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_5001-3_0_4_line_27 |  | 22 | 26 | 0.0060606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5001-3_0_4_line_28 |  | 23 | 27 | 0.005412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_5001-3_0_4_line_29 |  | 24 | 28 | 0.012321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5001-3_0_4_line_30 |  | 25 | 29 | 0.0016099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_5001-3_0_4_line_31 |  | 26 | 61 | 0.0064772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5001-3_0_4_line_32 |  | 27 | 67 | 0.0071953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_5001-3_0_4_line_33 |  | 28 | 40 | 0.0010303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5001-3_0_4_line_34 |  | 29 | 30 | 0.0059688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_5001-3_0_4_line_35 |  | 30 | 31 | 0.00035393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_5001-3_0_4_line_36 |  | 31 | 32 | 0.0010257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_5001-3_0_4_line_37 |  | 33 | 34 | 0.015285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5001-3_0_4_line_38 |  | 33 | 35 | 0.030569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5001-3_0_4_line_39 |  | 34 | 36 | 0.010851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5001-3_0_4_line_40 |  | 36 | 41 | 0.035047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5001-3_0_4_line_41 |  | 37 | 38 | 0.00051925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5001-3_0_4_line_42 |  | 38 | 39 | 0.0036054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5001-3_0_4_line_43 |  | 39 | 42 | 0.029695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_5001-3_0_4_line_44 |  | 42 | 46 | 0.001452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_5001-3_0_4_line_45 |  | 43 | 44 | 0.0095193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_5001-3_0_4_line_46 |  | 43 | 45 | 0.0086187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_5001-3_0_4_line_47 |  | 44 | 46 | 0.019132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_5001-3_0_4_line_48 |  | 45 | 47 | 0.015327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_5001-3_0_4_line_49 |  | 47 | 48 | 0.0022446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_5001-3_0_4_line_50 |  | 48 | 49 | 0.025141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_5001-3_0_4_line_51 |  | 49 | 53 | 0.016457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_5001-3_0_4_line_52 |  | 50 | 51 | 0.023236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5001-3_0_4_line_53 |  | 52 | 53 | 0.022922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5001-3_0_4_line_54 |  | 53 | 54 | 0.027291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_5001-3_0_4_line_55 |  | 53 | 55 | 0.057862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5001-3_0_4_line_56 |  | 54 | 72 | 0.033755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5001-3_0_4_line_57 |  | 54 | 71 | 0.021029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_5001-3_0_4_line_58 |  | 55 | 56 | 0.034605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5001-3_0_4_line_59 |  | 57 | 58 | 0.0074045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5001-3_0_4_line_60 |  | 57 | 59 | 0.025189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5001-3_0_4_line_61 |  | 58 | 60 | 0.031231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5001-3_0_4_line_62 |  | 59 | 61 | 0.015133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5001-3_0_4_line_63 |  | 60 | 62 | 0.030383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5001-3_0_4_line_64 |  | 62 | 63 | 0.022621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5001-3_0_4_line_65 |  | 64 | 65 | 0.0025933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_5001-3_0_4_line_66 |  | 64 | 66 | 0.030444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_5001-3_0_4_line_67 |  | 65 | 67 | 0.011779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_5001-3_0_4_line_68 |  | 66 | 68 | 0.010082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_5001-3_0_4_line_69 |  | 68 | 69 | 0.019618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_5001-3_0_4_line_70 |  | 69 | 70 | 0.034773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_5001-3_0_4_line_71 |  | 70 | 71 | 0.00054302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_5001-3_0_4_line_72 |  | 72 | 73 | 0.023904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5001-3_0_4_line_73 |  | 73 | 74 | 0.013418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5001-3_0_4_line_74 |  | 74 | 75 | 0.03332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5001-3_0_4_trafo_35 | 0.63 MVA 20/0.4 kV | 76 | 39 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2724325.5453 | 1120023.0901 | 2724331.8123 | 1120026.8436 | 2724345.8542 | 1120035.2492
1 | 2724325.5453 | 1120023.0901 | 2724292.073 | 1120002.5401
2 | 2724325.5453 | 1120023.0901 | 2724329.4922 | 1120010.0142
3 | 2724292.073 | 1120002.5401 | 2724271.3756 | 1119989.8331
4 | 2724330.5868 | 1120006.3878 | 2724329.4922 | 1120010.0142
5 | 2724380.2662 | 1120052.6899 | 2724385.9274 | 1120033.4628
6 | 2724380.2662 | 1120052.6899 | 2724394.9254 | 1120059.6737 | 2724398.4725 | 1120061.4013
7 | 2724385.9274 | 1120033.4628 | 2724387.6832 | 1120027.4993
8 | 2724415.1366 | 1120069.5179 | 2724398.4725 | 1120061.4013
9 | 2724250.2216 | 1119976.8458 | 2724271.3756 | 1119989.8331
10 | 2724332.9949 | 1119998.41 | 2724330.5868 | 1120006.3878
11 | 2724388.1558 | 1120025.8945 | 2724387.6832 | 1120027.4993
12 | 2724432.311 | 1120077.2873 | 2724415.1366 | 1120069.5179
13 | 2724212.5784 | 1119961.8404 | 2724243.1006 | 1119972.4739 | 2724250.2216 | 1119976.8458
14 | 2724338.4881 | 1119980.2112 | 2724332.9949 | 1119998.41
15 | 2724396.6246 | 1119997.1316 | 2724388.1558 | 1120025.8945
16 | 2724432.311 | 1120077.2873 | 2724437.778 | 1120071.8959 | 2724443.591 | 1120071.644
17 | 2724352.2499 | 1119934.619 | 2724350.8847 | 1119939.1418
18 | 2724358.44 | 1119914.1117 | 2724352.2499 | 1119934.619
19 | 2724345.5064 | 1119956.9598 | 2724350.8847 | 1119939.1418
20 | 2724360.0633 | 1119908.7301 | 2724358.44 | 1119914.1117
21 | 2724358.44 | 1119914.1117 | 2724337.7552 | 1119907.636
22 | 2724345.3296 | 1119957.5455 | 2724345.5064 | 1119956.9598
23 | 2724360.0633 | 1119908.7301 | 2724361.3623 | 1119904.4235
24 | 2724360.0633 | 1119908.7301 | 2724378.8578 | 1119914.9311
25 | 2724337.7552 | 1119907.636 | 2724325.9327 | 1119903.9348
26 | 2724345.3296 | 1119957.5455 | 2724341.0768 | 1119971.635
27 | 2724363.1124 | 1119898.6211 | 2724361.3623 | 1119904.4235
28 | 2724378.8578 | 1119914.9311 | 2724383.9973 | 1119916.6268
29 | 2724325.9327 | 1119903.9348 | 2724314.1745 | 1119900.2538
30 | 2724340.6116 | 1119973.1763 | 2724341.0768 | 1119971.635
31 | 2724364.9829 | 1119892.4198 | 2724363.1124 | 1119898.6211
32 | 2724383.9973 | 1119916.6268 | 2724390.8303 | 1119918.8813
33 | 2724313.1913 | 1119899.946 | 2724314.1745 | 1119900.2538
34 | 2724338.8868 | 1119978.8904 | 2724340.6116 | 1119973.1763
35 | 2724338.7845 | 1119979.2293 | 2724338.8868 | 1119978.8904
36 | 2724338.4881 | 1119980.2112 | 2724338.7845 | 1119979.2293
37 | 2724212.5784 | 1119961.8404 | 2724218.269 | 1119947.6545
38 | 2724212.5784 | 1119961.8404 | 2724190.4874 | 1119959.697 | 2724182.1709 | 1119958.7168
39 | 2724222.309 | 1119937.5834 | 2724218.269 | 1119947.6545
40 | 2724235.3571 | 1119905.0564 | 2724222.309 | 1119937.5834
41 | 2724396.7712 | 1119996.6335 | 2724396.6246 | 1119997.1316
42 | 2724397.7896 | 1119993.175 | 2724396.7712 | 1119996.6335
43 | 2724397.7896 | 1119993.175 | 2724408.0867 | 1119965.3226
44 | 2724408.0867 | 1119965.3226 | 2724409.4414 | 1119965.8451
45 | 2724436.1732 | 1119976.1544 | 2724427.2915 | 1119972.7291
46 | 2724436.1732 | 1119976.1544 | 2724444.2146 | 1119979.2556
47 | 2724427.2915 | 1119972.7291 | 2724409.4414 | 1119965.8451
48 | 2724444.2146 | 1119979.2556 | 2724458.5153 | 1119984.7707
49 | 2724460.6096 | 1119985.5784 | 2724458.5153 | 1119984.7707
50 | 2724484.0667 | 1119994.6247 | 2724460.6096 | 1119985.5784
51 | 2724499.4214 | 1120000.5464 | 2724484.0667 | 1119994.6247
52 | 2724443.591 | 1120071.644 | 2724453.9612 | 1120071.1946 | 2724463.9468 | 1120069.7544 | 2724466.5615 | 1120068.8472
53 | 2724499.4214 | 1120000.5464 | 2724491.9808 | 1120022.2274
54 | 2724508.2801 | 1119974.7327 | 2724499.4214 | 1120000.5464
55 | 2724499.4214 | 1120000.5464 | 2724556.6247 | 1120009.2509
56 | 2724508.2801 | 1119974.7327 | 2724518.4947 | 1119942.5602
57 | 2724508.2801 | 1119974.7327 | 2724488.8715 | 1119966.6379
58 | 2724556.6247 | 1120009.2509 | 2724572.5007 | 1119978.4893
59 | 2724393.2192 | 1119885.9973 | 2724400.234 | 1119888.3679
60 | 2724369.3557 | 1119877.9328 | 2724393.2192 | 1119885.9973
61 | 2724423.6377 | 1119885.8942 | 2724420.5028 | 1119895.2176 | 2724400.234 | 1119888.3679
62 | 2724369.3557 | 1119877.9328 | 2724364.9829 | 1119892.4198
63 | 2724423.6377 | 1119885.8942 | 2724428.222 | 1119872.2602 | 2724443.0923 | 1119878.1621
64 | 2724443.0923 | 1119878.1621 | 2724464.1179 | 1119886.5069
65 | 2724404.4788 | 1119923.3844 | 2724402.0161 | 1119922.5719
66 | 2724404.4788 | 1119923.3844 | 2724428.8646 | 1119941.6107
67 | 2724402.0161 | 1119922.5719 | 2724390.8303 | 1119918.8813
68 | 2724428.8646 | 1119941.6107 | 2724438.1701 | 1119945.4918
69 | 2724438.1701 | 1119945.4918 | 2724456.2764 | 1119953.0434
70 | 2724456.2764 | 1119953.0434 | 2724488.3703 | 1119966.4289
71 | 2724488.3703 | 1119966.4289 | 2724488.8715 | 1119966.6379
72 | 2724524.7042 | 1119919.5098 | 2724522.6564 | 1119929.4522 | 2724518.4947 | 1119942.5602
73 | 2724524.7042 | 1119919.5098 | 2724527.411 | 1119906.3674
74 | 2724534.1328 | 1119873.732 | 2724527.411 | 1119906.3674

## bus_geodata
| x | y | coords
0 | 2724345.8542 | 1120035.2492
1 | 2724325.5453 | 1120023.0901
2 | 2724292.073 | 1120002.5401
3 | 2724329.4922 | 1120010.0142
4 | 2724380.2662 | 1120052.6899
5 | 2724385.9274 | 1120033.4628
6 | 2724398.4725 | 1120061.4013
7 | 2724271.3756 | 1119989.8331
8 | 2724330.5868 | 1120006.3878
9 | 2724387.6832 | 1120027.4993
10 | 2724415.1366 | 1120069.5179
11 | 2724250.2216 | 1119976.8458
12 | 2724332.9949 | 1119998.41
13 | 2724388.1558 | 1120025.8945
14 | 2724432.311 | 1120077.2873
15 | 2724352.2499 | 1119934.619
16 | 2724350.8847 | 1119939.1418
17 | 2724358.44 | 1119914.1117
18 | 2724345.5064 | 1119956.9598
19 | 2724360.0633 | 1119908.7301
20 | 2724337.7552 | 1119907.636
21 | 2724345.3296 | 1119957.5455
22 | 2724361.3623 | 1119904.4235
23 | 2724378.8578 | 1119914.9311
24 | 2724325.9327 | 1119903.9348
25 | 2724341.0768 | 1119971.635
26 | 2724363.1124 | 1119898.6211
27 | 2724383.9973 | 1119916.6268
28 | 2724314.1745 | 1119900.2538
29 | 2724340.6116 | 1119973.1763
30 | 2724338.8868 | 1119978.8904
31 | 2724338.7845 | 1119979.2293
32 | 2724338.4881 | 1119980.2112
33 | 2724212.5784 | 1119961.8404
34 | 2724218.269 | 1119947.6545
35 | 2724182.1709 | 1119958.7168
36 | 2724222.309 | 1119937.5834
37 | 2724396.6246 | 1119997.1316
38 | 2724396.7712 | 1119996.6335
39 | 2724397.7896 | 1119993.175
40 | 2724313.1913 | 1119899.946
41 | 2724235.3571 | 1119905.0564
42 | 2724408.0867 | 1119965.3226
43 | 2724436.1732 | 1119976.1544
44 | 2724427.2915 | 1119972.7291
45 | 2724444.2146 | 1119979.2556
46 | 2724409.4414 | 1119965.8451
47 | 2724458.5153 | 1119984.7707
48 | 2724460.6096 | 1119985.5784
49 | 2724484.0667 | 1119994.6247
50 | 2724443.591 | 1120071.644
51 | 2724466.5615 | 1120068.8472
52 | 2724491.9808 | 1120022.2274
53 | 2724499.4214 | 1120000.5464
54 | 2724508.2801 | 1119974.7327
55 | 2724556.6247 | 1120009.2509
56 | 2724572.5007 | 1119978.4893
57 | 2724393.2192 | 1119885.9973
58 | 2724400.234 | 1119888.3679
59 | 2724369.3557 | 1119877.9328
60 | 2724423.6377 | 1119885.8942
61 | 2724364.9829 | 1119892.4198
62 | 2724443.0923 | 1119878.1621
63 | 2724464.1179 | 1119886.5069
64 | 2724404.4788 | 1119923.3844
65 | 2724402.0161 | 1119922.5719
66 | 2724428.8646 | 1119941.6107
67 | 2724390.8303 | 1119918.8813
68 | 2724438.1701 | 1119945.4918
69 | 2724456.2764 | 1119953.0434
70 | 2724488.3703 | 1119966.4289
71 | 2724488.8715 | 1119966.6379
72 | 2724518.4947 | 1119942.5602
73 | 2724524.7042 | 1119919.5098
74 | 2724527.411 | 1119906.3674
75 | 2724534.1328 | 1119873.732
76 | 2724380.2662 | 1120052.6899

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1