## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5001-4_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5001-4_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5001-4_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5001-4_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5001-4_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5001-4_0_6_node_76 | 0.4 | n |  | TRUE
6 | bus_LV_5001-4_0_6_node_73 | 0.4 | n |  | TRUE
7 | bus_LV_5001-4_0_6_node_99 | 0.4 | n |  | TRUE
8 | bus_LV_5001-4_0_6_node_42 | 0.4 | n |  | TRUE
9 | bus_LV_5001-4_0_6_node_98 | 0.4 | n |  | TRUE
10 | bus_LV_5001-4_0_6_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_5001-4_0_6_node_74 | 0.4 | n |  | TRUE
12 | bus_LV_5001-4_0_6_node_48 | 0.4 | n |  | TRUE
13 | bus_LV_5001-4_0_6_node_5 | 0.4 | n |  | TRUE
14 | bus_LV_5001-4_0_6_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_5001-4_0_6_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_5001-4_0_6_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_5001-4_0_6_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_5001-4_0_6_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_5001-4_0_6_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_5001-4_0_6_node_104 | 0.4 | n |  | TRUE
21 | bus_LV_5001-4_0_6_node_59 | 0.4 | n |  | TRUE
22 | bus_LV_5001-4_0_6_node_40 | 0.4 | n |  | TRUE
23 | bus_LV_5001-4_0_6_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_5001-4_0_6_node_43 | 0.4 | n |  | TRUE
25 | bus_LV_5001-4_0_6_node_57 | 0.4 | n |  | TRUE
26 | bus_LV_5001-4_0_6_node_11 | 0.4 | n |  | TRUE
27 | bus_LV_5001-4_0_6_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_5001-4_0_6_node_41 | 0.4 | n |  | TRUE
29 | bus_LV_5001-4_0_6_node_45 | 0.4 | n |  | TRUE
30 | bus_LV_5001-4_0_6_node_44 | 0.4 | n |  | TRUE
31 | bus_LV_5001-4_0_6_node_49 | 0.4 | n |  | TRUE
32 | bus_LV_5001-4_0_6_node_101 | 0.4 | n |  | TRUE
33 | bus_LV_5001-4_0_6_node_16 | 0.4 | n |  | TRUE
34 | bus_LV_5001-4_0_6_node_17 | 0.4 | n |  | TRUE
35 | bus_LV_5001-4_0_6_node_18 | 0.4 | n |  | TRUE
36 | bus_LV_5001-4_0_6_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_5001-4_0_6_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_5001-4_0_6_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_5001-4_0_6_node_20 | 0.4 | n |  | TRUE
40 | bus_LV_5001-4_0_6_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_5001-4_0_6_node_47 | 0.4 | n |  | TRUE
42 | bus_LV_5001-4_0_6_node_22 | 0.4 | n |  | TRUE
43 | bus_LV_5001-4_0_6_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_5001-4_0_6_node_46 | 0.4 | n |  | TRUE
45 | bus_LV_5001-4_0_6_node_23 | 0.4 | n |  | TRUE
46 | bus_LV_5001-4_0_6_node_24 | 0.4 | n |  | TRUE
47 | bus_LV_5001-4_0_6_node_25 | 0.4 | n |  | TRUE
48 | bus_LV_5001-4_0_6_node_30 | 0.4 | n |  | TRUE
49 | bus_LV_5001-4_0_6_node_31 | 0.4 | n |  | TRUE
50 | bus_LV_5001-4_0_6_node_26 | 0.4 | n |  | TRUE
51 | bus_LV_5001-4_0_6_node_27 | 0.4 | n |  | TRUE
52 | bus_LV_5001-4_0_6_node_28 | 0.4 | n |  | TRUE
53 | bus_LV_5001-4_0_6_node_106 | 0.4 | n |  | TRUE
54 | bus_LV_5001-4_0_6_node_35 | 0.4 | n |  | TRUE
55 | bus_LV_5001-4_0_6_node_36 | 0.4 | n |  | TRUE
56 | bus_LV_5001-4_0_6_node_38 | 0.4 | n |  | TRUE
57 | bus_LV_5001-4_0_6_node_55 | 0.4 | n |  | TRUE
58 | bus_LV_5001-4_0_6_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_5001-4_0_6_node_70 | 0.4 | n |  | TRUE
60 | bus_LV_5001-4_0_6_node_62 | 0.4 | n |  | TRUE
61 | bus_LV_5001-4_0_6_node_67 | 0.4 | n |  | TRUE
62 | bus_LV_5001-4_0_6_node_75 | 0.4 | n |  | TRUE
63 | bus_LV_5001-4_0_6_node_82 | 0.4 | n |  | TRUE
64 | bus_LV_5001-4_0_6_node_102 | 0.4 | n |  | TRUE
65 | bus_LV_5001-4_0_6_node_78 | 0.4 | n |  | TRUE
66 | bus_LV_5001-4_0_6_node_50 | 0.4 | n |  | TRUE
67 | bus_LV_5001-4_0_6_node_51 | 0.4 | n |  | TRUE
68 | bus_LV_5001-4_0_6_node_52 | 0.4 | n |  | TRUE
69 | bus_LV_5001-4_0_6_node_53 | 0.4 | n |  | TRUE
70 | bus_LV_5001-4_0_6_node_54 | 0.4 | n |  | TRUE
71 | bus_LV_5001-4_0_6_node_60 | 0.4 | n |  | TRUE
72 | bus_LV_5001-4_0_6_node_61 | 0.4 | n |  | TRUE
73 | bus_LV_5001-4_0_6_node_63 | 0.4 | n |  | TRUE
74 | bus_LV_5001-4_0_6_node_58 | 0.4 | n |  | TRUE
75 | bus_LV_5001-4_0_6_node_66 | 0.4 | n |  | TRUE
76 | bus_LV_5001-4_0_6_node_64 | 0.4 | n |  | TRUE
77 | bus_LV_5001-4_0_6_node_65 | 0.4 | n |  | TRUE
78 | bus_LV_5001-4_0_6_node_71 | 0.4 | n |  | TRUE
79 | bus_LV_5001-4_0_6_node_72 | 0.4 | n |  | TRUE
80 | bus_LV_5001-4_0_6_node_68 | 0.4 | n |  | TRUE
81 | bus_LV_5001-4_0_6_node_69 | 0.4 | n |  | TRUE
82 | bus_LV_5001-4_0_6_node_105 | 0.4 | n |  | TRUE
83 | bus_LV_5001-4_0_6_node_95 | 0.4 | n |  | TRUE
84 | bus_LV_5001-4_0_6_node_96 | 0.4 | n |  | TRUE
85 | bus_LV_5001-4_0_6_node_97 | 0.4 | n |  | TRUE
86 | bus_LV_5001-4_0_6_node_77 | 0.4 | n |  | TRUE
87 | bus_LV_5001-4_0_6_node_83 | 0.4 | n |  | TRUE
88 | bus_LV_5001-4_0_6_node_100 | 0.4 | n |  | TRUE
89 | bus_LV_5001-4_0_6_node_79 | 0.4 | n |  | TRUE
90 | bus_LV_5001-4_0_6_node_80 | 0.4 | n |  | TRUE
91 | bus_LV_5001-4_0_6_node_81 | 0.4 | n |  | TRUE
92 | bus_LV_5001-4_0_6_node_87 | 0.4 | n |  | TRUE
93 | bus_LV_5001-4_0_6_node_84 | 0.4 | n |  | TRUE
94 | bus_LV_5001-4_0_6_node_88 | 0.4 | n |  | TRUE
95 | bus_LV_5001-4_0_6_node_85 | 0.4 | n |  | TRUE
96 | bus_LV_5001-4_0_6_node_94 | 0.4 | n |  | TRUE
97 | bus_LV_5001-4_0_6_node_86 | 0.4 | n |  | TRUE
98 | bus_LV_5001-4_0_6_node_90 | 0.4 | n |  | TRUE
99 | bus_LV_5001-4_0_6_node_91 | 0.4 | n |  | TRUE
100 | bus_LV_5001-4_0_6_node_89 | 0.4 | n |  | TRUE
101 | bus_LV_5001-4_0_6_node_93 | 0.4 | n |  | TRUE
102 | bus_LV_5001-4_0_6_node_92 | 0.4 | n |  | TRUE
103 | bus_MV_59_0_node_222 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5001-4_0_6_load_0 | 0 | 0.00017816 | 4.4652e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5001-4_0_6_load_1 | 1 | 0.0011876 | 0.00029764 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5001-4_0_6_load_2 | 2 | 0.00027127 | 6.7987e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5001-4_0_6_load_4 | 4 | 0.0017675 | 0.00044297 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5001-4_0_6_load_76 | 5 | 0.0032189 | 0.00080672 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5001-4_0_6_load_73 | 6 | 0.0041092 | 0.0010299 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5001-4_0_6_load_99 | 7 | 0.00061538 | 0.00015423 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5001-4_0_6_load_98 | 9 | 0.013848 | 0.0034708 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5001-4_0_6_load_74 | 11 | 0.0038067 | 0.00095406 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5001-4_0_6_load_5 | 13 | 0.018607 | 0.0046634 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5001-4_0_6_load_6 | 15 | 0.019679 | 0.0049321 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5001-4_0_6_load_104 | 20 | 0.024117 | 0.0060443 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5001-4_0_6_load_59 | 21 | 0.01811 | 0.0045388 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5001-4_0_6_load_40 | 22 | 0.0064841 | 0.0016251 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5001-4_0_6_load_57 | 25 | 0.004561 | 0.0011431 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5001-4_0_6_load_11 | 26 | 0.057687 | 0.014458 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5001-4_0_6_load_41 | 28 | 0.0037331 | 0.00093559 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5001-4_0_6_load_49 | 31 | 0.00037442 | 9.3838e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5001-4_0_6_load_101 | 32 | 0.0021846 | 0.00054751 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5001-4_0_6_load_16 | 33 | 0.012401 | 0.003108 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5001-4_0_6_load_32 | 38 | 0.0034006 | 0.00085227 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5001-4_0_6_load_34 | 40 | 0.0028163 | 0.00070584 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5001-4_0_6_load_22 | 42 | 0.0075197 | 0.0018846 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5001-4_0_6_load_29 | 43 | 0.0004806 | 0.00012045 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5001-4_0_6_load_46 | 44 | 0.002997 | 0.00075113 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5001-4_0_6_load_24 | 46 | 0.00015329 | 3.8419e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5001-4_0_6_load_30 | 48 | 0.00048396 | 0.00012129 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5001-4_0_6_load_31 | 49 | 0.0011389 | 0.00028545 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5001-4_0_6_load_26 | 50 | 0.0016938 | 0.00042451 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5001-4_0_6_load_27 | 51 | 0.0064472 | 0.0016158 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5001-4_0_6_load_28 | 52 | 0.003488 | 0.00087417 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5001-4_0_6_load_106 | 53 | 0.0076232 | 0.0019105 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5001-4_0_6_load_35 | 54 | 0.0018993 | 0.00047602 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5001-4_0_6_load_36 | 55 | 0.029519 | 0.0073982 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5001-4_0_6_load_70 | 59 | 0.0090222 | 0.0022612 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5001-4_0_6_load_67 | 61 | 0.012202 | 0.0030582 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5001-4_0_6_load_82 | 63 | 0.0001071 | 2.6841e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5001-4_0_6_load_102 | 64 | 0.0021846 | 0.00054751 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5001-4_0_6_load_50 | 66 | 0.015739 | 0.0039447 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5001-4_0_6_load_51 | 67 | 0.014606 | 0.0036605 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5001-4_0_6_load_52 | 68 | 0.017286 | 0.0043322 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5001-4_0_6_load_53 | 69 | 0.011985 | 0.0030037 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5001-4_0_6_load_54 | 70 | 0.012439 | 0.0031176 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5001-4_0_6_load_61 | 72 | 0.0048197 | 0.0012079 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5001-4_0_6_load_63 | 73 | 0.012883 | 0.0032289 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5001-4_0_6_load_58 | 74 | 0.004058 | 0.001017 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5001-4_0_6_load_66 | 75 | 0.010442 | 0.0026171 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5001-4_0_6_load_64 | 76 | 0.013572 | 0.0034015 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5001-4_0_6_load_65 | 77 | 0.036729 | 0.0092052 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5001-4_0_6_load_72 | 79 | 0.021989 | 0.005511 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5001-4_0_6_load_68 | 80 | 0.0067947 | 0.0017029 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5001-4_0_6_load_105 | 82 | 0.033429 | 0.008378 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5001-4_0_6_load_95 | 83 | 0.027941 | 0.0070026 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5001-4_0_6_load_96 | 84 | 0.012105 | 0.0030337 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5001-4_0_6_load_97 | 85 | 0.01264 | 0.0031678 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5001-4_0_6_load_77 | 86 | 0.00094074 | 0.00023577 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5001-4_0_6_load_83 | 87 | 0.00030806 | 7.7206e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5001-4_0_6_load_100 | 88 | 7.0706e-05 | 1.7721e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5001-4_0_6_load_87 | 92 | 0.0054017 | 0.0013538 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5001-4_0_6_load_84 | 93 | 0.0061366 | 0.001538 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5001-4_0_6_load_88 | 94 | 0.00175 | 0.00043859 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5001-4_0_6_load_94 | 96 | 0.00032738 | 8.2049e-05 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5001-4_0_6_load_86 | 97 | 0.006928 | 0.0017363 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5001-4_0_6_load_90 | 98 | 0.0050798 | 0.0012731 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5001-4_0_6_load_91 | 99 | 0.0010684 | 0.00026777 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5001-4_0_6_load_89 | 100 | 0.0006906 | 0.00017308 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5001-4_0_6_load_93 | 101 | 0.00032737 | 8.2046e-05 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5001-4_0_6_load_92 | 102 | 0.00099033 | 0.0002482 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5001-4_0_6_line_0 |  | 0 | 1 | 0.0048637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
1 | LV_5001-4_0_6_line_1 |  | 0 | 2 | 0.021022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
2 | LV_5001-4_0_6_line_2 |  | 1 | 3 | 0.023784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_5001-4_0_6_line_3 |  | 2 | 4 | 0.0020433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_5001-4_0_6_line_4 |  | 3 | 5 | 0.054104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5001-4_0_6_line_5 |  | 3 | 6 | 0.041774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
6 | LV_5001-4_0_6_line_6 |  | 4 | 7 | 0.02732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_5001-4_0_6_line_7 |  | 6 | 11 | 0.038756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_5001-4_0_6_line_8 |  | 7 | 12 | 0.022367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_5001-4_0_6_line_9 |  | 8 | 9 | 0.061136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_5001-4_0_6_line_10 |  | 8 | 10 | 0.073683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_5001-4_0_6_line_11 |  | 9 | 62 | 0.027709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_5001-4_0_6_line_12 |  | 10 | 28 | 0.018055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_5001-4_0_6_line_13 |  | 11 | 62 | 0.015901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_5001-4_0_6_line_14 |  | 12 | 30 | 0.035996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_5001-4_0_6_line_15 |  | 12 | 41 | 0.01486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5001-4_0_6_line_16 |  | 13 | 14 | 0.036841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5001-4_0_6_line_17 |  | 14 | 17 | 0.026457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_5001-4_0_6_line_18 |  | 15 | 16 | 0.055024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5001-4_0_6_line_19 |  | 16 | 18 | 0.032804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5001-4_0_6_line_20 |  | 17 | 18 | 0.050762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_5001-4_0_6_line_21 |  | 17 | 19 | 0.014406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_5001-4_0_6_line_22 |  | 17 | 20 | 0.029659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5001-4_0_6_line_23 |  | 18 | 21 | 0.012838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_5001-4_0_6_line_24 |  | 19 | 22 | 0.021885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_5001-4_0_6_line_25 |  | 19 | 23 | 0.086964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5001-4_0_6_line_26 |  | 20 | 24 | 0.038106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5001-4_0_6_line_27 |  | 21 | 25 | 0.016195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_5001-4_0_6_line_28 |  | 22 | 27 | 0.018928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_5001-4_0_6_line_29 |  | 23 | 26 | 0.040525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5001-4_0_6_line_30 |  | 24 | 29 | 0.017463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5001-4_0_6_line_31 |  | 25 | 74 | 0.00044377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_5001-4_0_6_line_32 |  | 27 | 28 | 0.033277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_5001-4_0_6_line_33 |  | 29 | 32 | 0.07911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5001-4_0_6_line_34 |  | 30 | 31 | 0.02745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_5001-4_0_6_line_35 |  | 31 | 63 | 0.002656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_5001-4_0_6_line_36 |  | 32 | 64 | 0.013082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5001-4_0_6_line_37 |  | 33 | 34 | 0.081694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5001-4_0_6_line_38 |  | 33 | 35 | 0.039381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5001-4_0_6_line_39 |  | 34 | 36 | 0.10585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5001-4_0_6_line_40 |  | 35 | 37 | 0.057672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5001-4_0_6_line_41 |  | 36 | 38 | 0.077959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5001-4_0_6_line_42 |  | 37 | 42 | 0.11137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5001-4_0_6_line_43 |  | 37 | 39 | 0.034126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5001-4_0_6_line_44 |  | 39 | 40 | 0.082671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5001-4_0_6_line_45 |  | 39 | 41 | 0.067658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5001-4_0_6_line_46 |  | 40 | 43 | 0.0084052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5001-4_0_6_line_47 |  | 41 | 44 | 0.015205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5001-4_0_6_line_48 |  | 42 | 45 | 0.06486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5001-4_0_6_line_49 |  | 43 | 52 | 0.02556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5001-4_0_6_line_50 |  | 45 | 46 | 0.023564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5001-4_0_6_line_51 |  | 46 | 47 | 0.016773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5001-4_0_6_line_52 |  | 47 | 48 | 0.2153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5001-4_0_6_line_53 |  | 48 | 49 | 0.042313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5001-4_0_6_line_54 |  | 49 | 53 | 0.11135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5001-4_0_6_line_55 |  | 50 | 51 | 0.033166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5001-4_0_6_line_56 |  | 50 | 52 | 0.067583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5001-4_0_6_line_57 |  | 54 | 55 | 0.036183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5001-4_0_6_line_58 |  | 55 | 56 | 0.063634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5001-4_0_6_line_59 |  | 56 | 57 | 0.005037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5001-4_0_6_line_60 |  | 56 | 58 | 0.007251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5001-4_0_6_line_61 |  | 57 | 59 | 0.012264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5001-4_0_6_line_62 |  | 58 | 60 | 0.009882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5001-4_0_6_line_63 |  | 58 | 61 | 0.013804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5001-4_0_6_line_64 |  | 60 | 72 | 0.040529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5001-4_0_6_line_65 |  | 61 | 75 | 0.041664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5001-4_0_6_line_66 |  | 62 | 85 | 0.086649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_5001-4_0_6_line_67 |  | 63 | 65 | 0.0068705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
68 | LV_5001-4_0_6_line_68 |  | 65 | 87 | 0.028593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
69 | LV_5001-4_0_6_line_69 |  | 65 | 86 | 0.020415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5001-4_0_6_line_70 |  | 66 | 67 | 0.024222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
71 | LV_5001-4_0_6_line_71 |  | 66 | 68 | 0.0033047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
72 | LV_5001-4_0_6_line_72 |  | 67 | 69 | 0.0084422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
73 | LV_5001-4_0_6_line_73 |  | 68 | 70 | 0.024987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
74 | LV_5001-4_0_6_line_74 |  | 69 | 71 | 0.018857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
75 | LV_5001-4_0_6_line_75 |  | 70 | 72 | 0.0077949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5001-4_0_6_line_76 |  | 71 | 73 | 0.020822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5001-4_0_6_line_77 |  | 71 | 74 | 0.0472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
78 | LV_5001-4_0_6_line_78 |  | 73 | 76 | 0.0041801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5001-4_0_6_line_79 |  | 75 | 80 | 0.043344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5001-4_0_6_line_80 |  | 77 | 78 | 0.013897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5001-4_0_6_line_81 |  | 78 | 79 | 0.074539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5001-4_0_6_line_82 |  | 79 | 83 | 0.02343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5001-4_0_6_line_83 |  | 80 | 81 | 0.041245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5001-4_0_6_line_84 |  | 81 | 82 | 0.062646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5001-4_0_6_line_85 |  | 83 | 84 | 0.0065235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5001-4_0_6_line_86 |  | 84 | 85 | 0.020533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5001-4_0_6_line_87 |  | 87 | 88 | 0.018531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
88 | LV_5001-4_0_6_line_88 |  | 88 | 96 | 0.0037029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
89 | LV_5001-4_0_6_line_89 |  | 89 | 90 | 0.077358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
90 | LV_5001-4_0_6_line_90 |  | 89 | 91 | 0.037237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5001-4_0_6_line_91 |  | 90 | 92 | 0.010837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
92 | LV_5001-4_0_6_line_92 |  | 91 | 93 | 0.023142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5001-4_0_6_line_93 |  | 92 | 94 | 0.031362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
94 | LV_5001-4_0_6_line_94 |  | 93 | 95 | 0.15703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5001-4_0_6_line_95 |  | 94 | 100 | 0.068292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
96 | LV_5001-4_0_6_line_96 |  | 95 | 97 | 0.0018052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_5001-4_0_6_line_97 |  | 96 | 101 | 0.0060872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
98 | LV_5001-4_0_6_line_98 |  | 97 | 98 | 0.019171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_5001-4_0_6_line_99 |  | 98 | 99 | 0.06614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_5001-4_0_6_line_100 |  | 99 | 102 | 0.033301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_5001-4_0_6_line_101 |  | 100 | 101 | 0.022122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5001-4_0_6_trafo_7 | 0.63 MVA 20/0.4 kV | 103 | 14 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2723676.5679 | 1120548.6732 | 2723676.2974 | 1120553.5294
1 | 2723676.5679 | 1120548.6732 | 2723676.8762 | 1120543.1365 | 2723677.4843 | 1120533.7758 | 2723677.7281 | 1120527.6848
2 | 2723674.9746 | 1120577.277 | 2723676.2974 | 1120553.5294
3 | 2723677.8099 | 1120525.6431 | 2723677.7281 | 1120527.6848
4 | 2723674.9746 | 1120577.277 | 2723663.1412 | 1120630.0709
5 | 2723674.9746 | 1120577.277 | 2723675.0537 | 1120608.5225 | 2723677.3813 | 1120618.7906
6 | 2723677.8099 | 1120525.6431 | 2723677.9415 | 1120522.3549 | 2723679.9526 | 1120498.4099
7 | 2723677.3813 | 1120618.7906 | 2723678.2392 | 1120622.5752 | 2723686.9292 | 1120643.6896 | 2723693.4593 | 1120653.8077
8 | 2723681.9421 | 1120476.1379 | 2723681.7354 | 1120477.1899 | 2723681.1551 | 1120484.0606 | 2723680.4913 | 1120491.997 | 2723679.9526 | 1120498.4099
9 | 2723736.7121 | 1120582.1527 | 2723723.0646 | 1120618.5658 | 2723714.8947 | 1120639.2615
10 | 2723773.5962 | 1120537.809 | 2723766.3672 | 1120534.6924 | 2723756.2685 | 1120530.7722 | 2723750.0738 | 1120546.5121 | 2723736.7121 | 1120582.1527
11 | 2723704.7204 | 1120665.0345 | 2723714.8947 | 1120639.2615
12 | 2723773.5962 | 1120537.809 | 2723780.4832 | 1120521.1188
13 | 2723704.7204 | 1120665.0345 | 2723693.4593 | 1120653.8077 | 2723693.4593 | 1120653.8077
14 | 2723681.9421 | 1120476.1379 | 2723682.9324 | 1120471.1101 | 2723684.8254 | 1120466.0898 | 2723688.3923 | 1120461.1036 | 2723700.7295 | 1120446.1341
15 | 2723681.9421 | 1120476.1379 | 2723667.0777 | 1120475.0557
16 | 2723849.949 | 1120537.0918 | 2723835.1579 | 1120570.8337
17 | 2723846.3489 | 1120518.4274 | 2723856.1949 | 1120522.6317 | 2723849.949 | 1120537.0918
18 | 2723880.0747 | 1120568.4854 | 2723859.1384 | 1120619.3704
19 | 2723880.0747 | 1120568.4854 | 2723886.9264 | 1120553.0815 | 2723893.0313 | 1120538.3517
20 | 2723846.3489 | 1120518.4274 | 2723856.1949 | 1120522.6317 | 2723872.9949 | 1120529.4356 | 2723893.0313 | 1120538.3517
21 | 2723846.3489 | 1120518.4274 | 2723840.8825 | 1120531.7582
22 | 2723846.3489 | 1120518.4274 | 2723819.1707 | 1120506.5519
23 | 2723893.0313 | 1120538.3517 | 2723904.0542 | 1120543.1139 | 2723904.8282 | 1120543.4154
24 | 2723840.8825 | 1120531.7582 | 2723820.9386 | 1120522.7465
25 | 2723785.943 | 1120559.721 | 2723823.0498 | 1120575.0459 | 2723828.9013 | 1120561.0002 | 2723840.8825 | 1120531.7582
26 | 2723784.6988 | 1120490.3918 | 2723794.077 | 1120495.5871 | 2723819.1707 | 1120506.5519
27 | 2723919.9193 | 1120549.2925 | 2723904.8282 | 1120543.4154
28 | 2723803.69 | 1120514.9527 | 2723820.9386 | 1120522.7465
29 | 2723785.943 | 1120559.721 | 2723770.6568 | 1120597.2523
30 | 2723784.6988 | 1120490.3918 | 2723785.9232 | 1120487.1257 | 2723786.2028 | 1120483.6401 | 2723785.5244 | 1120480.2127 | 2723783.9365 | 1120477.1003 | 2723781.558 | 1120474.5388
31 | 2723919.9193 | 1120549.2925 | 2723920.3328 | 1120549.4536
32 | 2723803.69 | 1120514.9527 | 2723785.8894 | 1120508.0173 | 2723780.4832 | 1120521.1188
33 | 2723781.558 | 1120474.5388 | 2723786.2345 | 1120459.0792 | 2723802.4228 | 1120419.9718 | 2723810.2397 | 1120400.8763
34 | 2723700.7295 | 1120446.1341 | 2723698.0859 | 1120438.0411 | 2723697.7261 | 1120434.498 | 2723697.1357 | 1120428.6485 | 2723697.4684 | 1120419.1584
35 | 2723697.4684 | 1120419.1584 | 2723697.5614 | 1120416.5041
36 | 2723810.2397 | 1120400.8763 | 2723815.1957 | 1120388.7696
37 | 2723495.2975 | 1120356.8124 | 2723495.4234 | 1120364.2535 | 2723497.647 | 1120370.2585 | 2723502.7376 | 1120375.3103 | 2723510.9289 | 1120377.8013 | 2723562.7709 | 1120383.1283
38 | 2723601.5697 | 1120388.7361 | 2723595.7344 | 1120386.5154 | 2723562.7709 | 1120383.1283
39 | 2723508.2411 | 1120251.9924 | 2723503.8259 | 1120267.9134 | 2723495.2975 | 1120356.8124
40 | 2723601.0619 | 1120432.1114 | 2723604.0812 | 1120432.7735 | 2723609.9278 | 1120434.0604 | 2723608.6256 | 1120427.5404 | 2723608.8158 | 1120418.2267 | 2723609.7034 | 1120403.1121 | 2723609.1467 | 1120397.1188 | 2723606.3081 | 1120392.5132 | 2723601.5697 | 1120388.7361
41 | 2723508.2411 | 1120251.9924 | 2723512.3907 | 1120220.344 | 2723513.2216 | 1120213.6674 | 2723518.0428 | 1120208.8624 | 2723525.0783 | 1120207.1158 | 2723534.4104 | 1120207.0394 | 2723549.7831 | 1120211.19
42 | 2723601.0619 | 1120432.1114 | 2723541.8961 | 1120419.1284 | 2723491.9787 | 1120409.7201
43 | 2723601.0619 | 1120432.1114 | 2723604.0812 | 1120432.7735 | 2723609.9278 | 1120434.0604 | 2723623.9642 | 1120437.1491 | 2723628.8268 | 1120438.2491 | 2723634.3473 | 1120439.6295
44 | 2723634.3473 | 1120439.6295 | 2723630.2376 | 1120489.6915 | 2723627.8829 | 1120522.046
45 | 2723634.3473 | 1120439.6295 | 2723644.5382 | 1120441.3165 | 2723641.4041 | 1120472.7076 | 2723656.0626 | 1120474.0523 | 2723667.0777 | 1120475.0557
46 | 2723627.8829 | 1120522.046 | 2723627.2728 | 1120530.429
47 | 2723667.0777 | 1120475.0557 | 2723668.396 | 1120459.908
48 | 2723428.2406 | 1120397.707 | 2723491.9787 | 1120409.7201
49 | 2723625.4176 | 1120555.9213 | 2723627.2728 | 1120530.429
50 | 2723428.2406 | 1120397.707 | 2723405.0852 | 1120393.3377
51 | 2723388.5413 | 1120390.5819 | 2723401.7486 | 1120392.7081 | 2723405.0852 | 1120393.3377
52 | 2723388.5413 | 1120390.5819 | 2723341.6535 | 1120600.7128
53 | 2723331.3137 | 1120641.7423 | 2723341.3365 | 1120602.1338 | 2723341.6535 | 1120600.7128
54 | 2723331.3137 | 1120641.7423 | 2723441.1916 | 1120659.8086
55 | 2723620.512 | 1120623.3265 | 2723618.1047 | 1120656.405
56 | 2723625.4176 | 1120555.9213 | 2723620.512 | 1120623.3265
57 | 2724066.3123 | 1120351.0495 | 2724050.6454 | 1120383.6647
58 | 2724023.0924 | 1120441.0241 | 2724050.6454 | 1120383.6647
59 | 2724023.0924 | 1120441.0241 | 2724025.5087 | 1120441.7408 | 2724027.4511 | 1120443.3595
60 | 2724023.0924 | 1120441.0241 | 2724021.8343 | 1120441.0317 | 2724020.3534 | 1120441.3683 | 2724018.9966 | 1120442.0521 | 2724017.858 | 1120443.0072 | 2724016.9769 | 1120444.2011
61 | 2724027.4511 | 1120443.3595 | 2724028.7938 | 1120438.4724 | 2724031.9695 | 1120432.0156
62 | 2724016.9769 | 1120444.2011 | 2724016.2035 | 1120446.5424 | 2724016.3844 | 1120449.0145 | 2724017.4968 | 1120451.2166 | 2724019.3699 | 1120452.8339
63 | 2724016.9769 | 1120444.2011 | 2724011.4375 | 1120439.6067 | 2724006.2133 | 1120435.5611
64 | 2724019.3699 | 1120452.8339 | 2724008.5464 | 1120475.2389 | 2724001.7415 | 1120489.3288
65 | 2723973.2716 | 1120410.0511 | 2724006.2133 | 1120435.5611
66 | 2723704.7204 | 1120665.0345 | 2723713.086 | 1120671.8101 | 2723719.6231 | 1120675.5463 | 2723729.5664 | 1120681.0199 | 2723737.9672 | 1120684.5607 | 2723748.4417 | 1120687.8326 | 2723758.7258 | 1120690.2222 | 2723769.4186 | 1120691.4972 | 2723785.006 | 1120691.5305
67 | 2723697.8021 | 1120409.6378 | 2723697.5614 | 1120416.5041
68 | 2723697.8021 | 1120409.6378 | 2723699.7437 | 1120381.1106
69 | 2723697.8021 | 1120409.6378 | 2723683.811 | 1120408.4845 | 2723681.9275 | 1120407.7567 | 2723680.9238 | 1120406.2685 | 2723680.3729 | 1120403.7666
70 | 2723986.0477 | 1120521.8237 | 2723975.5136 | 1120543.6351
71 | 2723986.0477 | 1120521.8237 | 2723987.4849 | 1120518.8479
72 | 2723975.5136 | 1120543.6351 | 2723971.8421 | 1120551.2371
73 | 2723987.4849 | 1120518.8479 | 2723998.3515 | 1120496.348
74 | 2723963.6412 | 1120568.2176 | 2723971.8421 | 1120551.2371
75 | 2724001.7415 | 1120489.3288 | 2723998.3515 | 1120496.348
76 | 2723963.6412 | 1120568.2176 | 2723954.7457 | 1120587.0433
77 | 2723963.6412 | 1120568.2176 | 2723922.4365 | 1120550.2728 | 2723920.3328 | 1120549.4536
78 | 2723954.7457 | 1120587.0433 | 2723952.9598 | 1120590.8227
79 | 2723973.2716 | 1120410.0511 | 2723946.029 | 1120388.9545 | 2723939.0091 | 1120383.5034
80 | 2723909.6911 | 1120682.3929 | 2723915.6282 | 1120669.8281
81 | 2723909.6911 | 1120682.3929 | 2723904.0723 | 1120682.8115 | 2723835.3584 | 1120687.9324
82 | 2723811.9929 | 1120689.6737 | 2723835.3584 | 1120687.9324
83 | 2723906.6181 | 1120357.9708 | 2723922.3657 | 1120370.5796 | 2723939.0091 | 1120383.5034
84 | 2723906.6181 | 1120357.9708 | 2723907.9609 | 1120349.3034 | 2723909.583 | 1120339.4297 | 2723915.201 | 1120328.5148 | 2723920.7612 | 1120320.423 | 2723931.9296 | 1120315.8372 | 2723941.5598 | 1120317.0148
85 | 2723811.9929 | 1120689.6737 | 2723805.4875 | 1120690.1585
86 | 2723785.006 | 1120691.5305 | 2723787.0202 | 1120691.5348 | 2723805.4875 | 1120690.1585
87 | 2723699.7437 | 1120381.1106 | 2723701.0021 | 1120362.622
88 | 2723701.2535 | 1120358.9277 | 2723701.0021 | 1120362.622
89 | 2723706.6325 | 1120220.4088 | 2723706.8936 | 1120197.8206 | 2723710.2955 | 1120155.2383 | 2723712.0944 | 1120151.806 | 2723714.7282 | 1120149.4359 | 2723719.148 | 1120148.0475
90 | 2723719.148 | 1120148.0475 | 2723722.5394 | 1120148.2613 | 2723725.7286 | 1120149.683 | 2723746.1088 | 1120141.1046 | 2723754.2115 | 1120139.6358
91 | 2723706.6325 | 1120220.4088 | 2723706.2226 | 1120231.2375
92 | 2723754.2115 | 1120139.6358 | 2723752.6742 | 1120147.6322 | 2723759.3359 | 1120159.6433 | 2723760.4909 | 1120160.1587
93 | 2723706.2226 | 1120231.2375 | 2723705.0362 | 1120262.5776
94 | 2723822.7907 | 1120276.5551 | 2723822.5326 | 1120273.7034 | 2723823.1949 | 1120263.2097 | 2723825.3565 | 1120234.1336 | 2723825.8957 | 1120207.7819 | 2723826.0821 | 1120195.277 | 2723825.6745 | 1120193.3228 | 2723824.8008 | 1120191.8929 | 2723823.0461 | 1120190.1447 | 2723811.9835 | 1120183.1358 | 2723760.4909 | 1120160.1587
95 | 2723703.169 | 1120330.7838 | 2723704.9497 | 1120304.6219 | 2723704.2671 | 1120282.8928 | 2723705.0362 | 1120262.5776
96 | 2723822.7907 | 1120276.5551 | 2723821.0377 | 1120276.9863
97 | 2723701.6669 | 1120352.8545 | 2723701.2535 | 1120358.9277
98 | 2723821.0377 | 1120276.9863 | 2723821.0377 | 1120276.9863 | 2723818.8111 | 1120296.0271
99 | 2723809.0175 | 1120361.2977 | 2723813.3485 | 1120345.0097 | 2723817.6795 | 1120305.7042 | 2723818.8111 | 1120296.0271
100 | 2723809.0175 | 1120361.2977 | 2723808.1732 | 1120364.473 | 2723799.3679 | 1120393.1676
101 | 2723703.169 | 1120330.7838 | 2723701.6669 | 1120352.8545

## bus_geodata
| x | y | coords
0 | 2723676.5679 | 1120548.6732
1 | 2723676.2974 | 1120553.5294
2 | 2723677.7281 | 1120527.6848
3 | 2723674.9746 | 1120577.277
4 | 2723677.8099 | 1120525.6431
5 | 2723663.1412 | 1120630.0709
6 | 2723677.3813 | 1120618.7906
7 | 2723679.9526 | 1120498.4099
8 | 2723736.7121 | 1120582.1527
9 | 2723714.8947 | 1120639.2615
10 | 2723773.5962 | 1120537.809
11 | 2723693.4593 | 1120653.8078
12 | 2723681.9421 | 1120476.1379
13 | 2723835.1579 | 1120570.8337
14 | 2723849.949 | 1120537.0918
15 | 2723859.1384 | 1120619.3704
16 | 2723880.0747 | 1120568.4854
17 | 2723846.3489 | 1120518.4274
18 | 2723893.0313 | 1120538.3518
19 | 2723840.8825 | 1120531.7582
20 | 2723819.1707 | 1120506.5519
21 | 2723904.8282 | 1120543.4154
22 | 2723820.9386 | 1120522.7465
23 | 2723785.943 | 1120559.721
24 | 2723784.6988 | 1120490.3918
25 | 2723919.9193 | 1120549.2925
26 | 2723770.6568 | 1120597.2523
27 | 2723803.69 | 1120514.9527
28 | 2723780.4832 | 1120521.1188
29 | 2723781.558 | 1120474.5388
30 | 2723700.7295 | 1120446.1341
31 | 2723697.4684 | 1120419.1584
32 | 2723810.2397 | 1120400.8763
33 | 2723562.7709 | 1120383.1283
34 | 2723495.2975 | 1120356.8124
35 | 2723601.5697 | 1120388.7361
36 | 2723508.2411 | 1120251.9924
37 | 2723601.0619 | 1120432.1114
38 | 2723549.7831 | 1120211.19
39 | 2723634.3473 | 1120439.6295
40 | 2723627.8829 | 1120522.046
41 | 2723667.0777 | 1120475.0557
42 | 2723491.9787 | 1120409.7201
43 | 2723627.2728 | 1120530.429
44 | 2723668.396 | 1120459.908
45 | 2723428.2406 | 1120397.707
46 | 2723405.0852 | 1120393.3377
47 | 2723388.5413 | 1120390.5819
48 | 2723341.6535 | 1120600.7128
49 | 2723331.3137 | 1120641.7423
50 | 2723620.512 | 1120623.3265
51 | 2723618.1047 | 1120656.405
52 | 2723625.4176 | 1120555.9213
53 | 2723441.1916 | 1120659.8086
54 | 2724066.3123 | 1120351.0495
55 | 2724050.6454 | 1120383.6647
56 | 2724023.0924 | 1120441.0241
57 | 2724027.4511 | 1120443.3595
58 | 2724016.9769 | 1120444.2011
59 | 2724031.9695 | 1120432.0156
60 | 2724019.3699 | 1120452.8339
61 | 2724006.2133 | 1120435.5611
62 | 2723704.7204 | 1120665.0345
63 | 2723697.5614 | 1120416.5041
64 | 2723815.1957 | 1120388.7696
65 | 2723697.8021 | 1120409.6378
66 | 2723986.0477 | 1120521.8237
67 | 2723975.5136 | 1120543.6351
68 | 2723987.4849 | 1120518.8479
69 | 2723971.8421 | 1120551.2371
70 | 2723998.3515 | 1120496.348
71 | 2723963.6412 | 1120568.2176
72 | 2724001.7415 | 1120489.3288
73 | 2723954.7457 | 1120587.0433
74 | 2723920.3328 | 1120549.4536
75 | 2723973.2716 | 1120410.0511
76 | 2723952.9598 | 1120590.8227
77 | 2723915.6282 | 1120669.8281
78 | 2723909.6911 | 1120682.3929
79 | 2723835.3584 | 1120687.9324
80 | 2723939.0091 | 1120383.5034
81 | 2723906.6181 | 1120357.9708
82 | 2723941.5598 | 1120317.0148
83 | 2723811.9929 | 1120689.6737
84 | 2723805.4875 | 1120690.1585
85 | 2723785.006 | 1120691.5305
86 | 2723680.3729 | 1120403.7666
87 | 2723699.7437 | 1120381.1106
88 | 2723701.0021 | 1120362.622
89 | 2723719.148 | 1120148.0475
90 | 2723706.6325 | 1120220.4088
91 | 2723754.2115 | 1120139.6358
92 | 2723706.2226 | 1120231.2375
93 | 2723760.4909 | 1120160.1587
94 | 2723705.0362 | 1120262.5776
95 | 2723822.7907 | 1120276.5551
96 | 2723701.2535 | 1120358.9277
97 | 2723821.0377 | 1120276.9863
98 | 2723818.8111 | 1120296.0271
99 | 2723809.0175 | 1120361.2977
100 | 2723703.169 | 1120330.7838
101 | 2723701.6669 | 1120352.8545
102 | 2723799.3679 | 1120393.1676
103 | 2723856.1949 | 1120522.6317

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1