## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5002-126_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5002-126_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5002-126_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5002-126_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5002-126_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5002-126_0_6_node_11 | 0.4 | n |  | TRUE
6 | bus_LV_5002-126_0_6_node_50 | 0.4 | n |  | TRUE
7 | bus_LV_5002-126_0_6_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_5002-126_0_6_node_51 | 0.4 | n |  | TRUE
9 | bus_LV_5002-126_0_6_node_52 | 0.4 | n |  | TRUE
10 | bus_LV_5002-126_0_6_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_5002-126_0_6_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_5002-126_0_6_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_5002-126_0_6_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_5002-126_0_6_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_5002-126_0_6_node_27 | 0.4 | n |  | TRUE
16 | bus_LV_5002-126_0_6_node_26 | 0.4 | n |  | TRUE
17 | bus_LV_5002-126_0_6_node_22 | 0.4 | n |  | TRUE
18 | bus_LV_5002-126_0_6_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_5002-126_0_6_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_5002-126_0_6_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_5002-126_0_6_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_5002-126_0_6_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_5002-126_0_6_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_5002-126_0_6_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_5002-126_0_6_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_5002-126_0_6_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_5002-126_0_6_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_5002-126_0_6_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_5002-126_0_6_node_32 | 0.4 | n |  | TRUE
30 | bus_LV_5002-126_0_6_node_41 | 0.4 | n |  | TRUE
31 | bus_LV_5002-126_0_6_node_33 | 0.4 | n |  | TRUE
32 | bus_LV_5002-126_0_6_node_40 | 0.4 | n |  | TRUE
33 | bus_LV_5002-126_0_6_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_5002-126_0_6_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_5002-126_0_6_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_5002-126_0_6_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_5002-126_0_6_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_5002-126_0_6_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_5002-126_0_6_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_5002-126_0_6_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_5002-126_0_6_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_5002-126_0_6_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_5002-126_0_6_node_45 | 0.4 | n |  | TRUE
44 | bus_LV_5002-126_0_6_node_43 | 0.4 | n |  | TRUE
45 | bus_LV_5002-126_0_6_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_5002-126_0_6_node_44 | 0.4 | n |  | TRUE
47 | bus_LV_5002-126_0_6_node_46 | 0.4 | n |  | TRUE
48 | bus_LV_5002-126_0_6_node_63 | 0.4 | n |  | TRUE
49 | bus_LV_5002-126_0_6_node_64 | 0.4 | n |  | TRUE
50 | bus_LV_5002-126_0_6_node_47 | 0.4 | n |  | TRUE
51 | bus_LV_5002-126_0_6_node_58 | 0.4 | n |  | TRUE
52 | bus_LV_5002-126_0_6_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_5002-126_0_6_node_57 | 0.4 | n |  | TRUE
54 | bus_LV_5002-126_0_6_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_5002-126_0_6_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_5002-126_0_6_node_55 | 0.4 | n |  | TRUE
57 | bus_LV_5002-126_0_6_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_5002-126_0_6_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_5002-126_0_6_node_59 | 0.4 | n |  | TRUE
60 | bus_LV_5002-126_0_6_node_67 | 0.4 | n |  | TRUE
61 | bus_LV_5002-126_0_6_node_68 | 0.4 | n |  | TRUE
62 | bus_LV_5002-126_0_6_node_60 | 0.4 | n |  | TRUE
63 | bus_LV_5002-126_0_6_node_61 | 0.4 | n |  | TRUE
64 | bus_LV_5002-126_0_6_node_62 | 0.4 | n |  | TRUE
65 | bus_LV_5002-126_0_6_node_76 | 0.4 | n |  | TRUE
66 | bus_LV_5002-126_0_6_node_66 | 0.4 | n |  | TRUE
67 | bus_LV_5002-126_0_6_node_78 | 0.4 | n |  | TRUE
68 | bus_LV_5002-126_0_6_node_69 | 0.4 | n |  | TRUE
69 | bus_LV_5002-126_0_6_node_70 | 0.4 | n |  | TRUE
70 | bus_LV_5002-126_0_6_node_71 | 0.4 | n |  | TRUE
71 | bus_LV_5002-126_0_6_node_72 | 0.4 | n |  | TRUE
72 | bus_LV_5002-126_0_6_node_73 | 0.4 | n |  | TRUE
73 | bus_LV_5002-126_0_6_node_74 | 0.4 | n |  | TRUE
74 | bus_LV_5002-126_0_6_node_75 | 0.4 | n |  | TRUE
75 | bus_LV_5002-126_0_6_node_77 | 0.4 | n |  | TRUE
76 | bus_LV_5002-126_0_6_node_79 | 0.4 | n |  | TRUE
77 | bus_MV_242_0_node_23 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5002-126_0_6_load_0 | 0 | 0.0046975 | 0.0011773 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5002-126_0_6_load_1 | 1 | 0.0073611 | 0.0018449 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5002-126_0_6_load_3 | 3 | 0.007361 | 0.0018449 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5002-126_0_6_load_4 | 4 | 0.014264 | 0.0035748 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5002-126_0_6_load_11 | 5 | 0.0073669 | 0.0018463 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5002-126_0_6_load_51 | 8 | 0.0034973 | 0.00087651 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5002-126_0_6_load_52 | 9 | 0.0010193 | 0.00025546 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5002-126_0_6_load_5 | 10 | 0.0073609 | 0.0018448 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5002-126_0_6_load_6 | 11 | 0.01284 | 0.003218 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5002-126_0_6_load_7 | 12 | 0.0073245 | 0.0018357 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5002-126_0_6_load_8 | 13 | 0.0073611 | 0.0018449 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5002-126_0_6_load_12 | 14 | 0.017806 | 0.0044625 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5002-126_0_6_load_27 | 15 | 0.020513 | 0.0051411 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5002-126_0_6_load_26 | 16 | 0.0062157 | 0.0015578 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5002-126_0_6_load_22 | 17 | 0.0048534 | 0.0012164 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5002-126_0_6_load_18 | 18 | 0.0099772 | 0.0025005 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5002-126_0_6_load_14 | 19 | 0.0027806 | 0.0006969 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5002-126_0_6_load_15 | 20 | 0.0027786 | 0.00069638 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5002-126_0_6_load_16 | 21 | 0.0027807 | 0.0006969 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5002-126_0_6_load_17 | 22 | 0.0089623 | 0.0022462 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5002-126_0_6_load_19 | 23 | 0.0027786 | 0.00069638 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5002-126_0_6_load_20 | 24 | 0.02897 | 0.0072607 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5002-126_0_6_load_23 | 26 | 0.0035529 | 0.00089044 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5002-126_0_6_load_24 | 27 | 0.0070786 | 0.0017741 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5002-126_0_6_load_25 | 28 | 0.0074602 | 0.0018697 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5002-126_0_6_load_32 | 29 | 0.0027055 | 0.00067807 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5002-126_0_6_load_41 | 30 | 0.014717 | 0.0036883 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5002-126_0_6_load_33 | 31 | 0.0044352 | 0.0011116 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5002-126_0_6_load_40 | 32 | 0.01236 | 0.0030978 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5002-126_0_6_load_28 | 33 | 0.0085807 | 0.0021505 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5002-126_0_6_load_29 | 34 | 0.0070893 | 0.0017768 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5002-126_0_6_load_30 | 35 | 0.033186 | 0.0083173 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5002-126_0_6_load_36 | 37 | 0.0079337 | 0.0019884 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5002-126_0_6_load_35 | 38 | 0.0091033 | 0.0022815 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5002-126_0_6_load_34 | 39 | 0.0045022 | 0.0011284 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5002-126_0_6_load_37 | 40 | 0.0045299 | 0.0011353 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5002-126_0_6_load_45 | 43 | 0.0097704 | 0.0024487 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5002-126_0_6_load_43 | 44 | 0.016507 | 0.0041372 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5002-126_0_6_load_42 | 45 | 0.022036 | 0.0055227 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5002-126_0_6_load_44 | 46 | 0.0057454 | 0.0014399 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5002-126_0_6_load_46 | 47 | 0.0051347 | 0.0012869 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5002-126_0_6_load_63 | 48 | 0.018032 | 0.0045193 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5002-126_0_6_load_64 | 49 | 0.03828 | 0.0095939 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5002-126_0_6_load_47 | 50 | 0.010199 | 0.0025562 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5002-126_0_6_load_58 | 51 | 0.0052016 | 0.0013036 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5002-126_0_6_load_49 | 52 | 0.0030883 | 0.00077401 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5002-126_0_6_load_48 | 54 | 0.00421 | 0.0010551 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5002-126_0_6_load_53 | 55 | 0.0082831 | 0.0020759 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5002-126_0_6_load_55 | 56 | 0.0036397 | 0.0009122 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5002-126_0_6_load_54 | 57 | 0.0033616 | 0.00084249 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5002-126_0_6_load_59 | 59 | 0.0035779 | 0.0008967 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5002-126_0_6_load_67 | 60 | 0.0028603 | 0.00071686 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5002-126_0_6_load_68 | 61 | 0.0028444 | 0.00071288 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5002-126_0_6_load_60 | 62 | 0.0043112 | 0.0010805 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5002-126_0_6_load_61 | 63 | 0.0082034 | 0.002056 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5002-126_0_6_load_76 | 65 | 0.010182 | 0.0025519 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5002-126_0_6_load_78 | 67 | 0.01469 | 0.0036816 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5002-126_0_6_load_69 | 68 | 0.0041498 | 0.00104 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5002-126_0_6_load_70 | 69 | 0.0018752 | 0.00046997 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5002-126_0_6_load_71 | 70 | 0.0036119 | 0.00090524 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5002-126_0_6_load_72 | 71 | 0.0070666 | 0.0017711 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5002-126_0_6_load_73 | 72 | 0.012413 | 0.0031111 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5002-126_0_6_load_74 | 73 | 0.0036273 | 0.00090908 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5002-126_0_6_load_75 | 74 | 0.0037151 | 0.00093109 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5002-126_0_6_load_77 | 75 | 0.0016267 | 0.00040769 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5002-126_0_6_load_79 | 76 | 0.0037634 | 0.0009432 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5002-126_0_6_line_0 |  | 0 | 1 | 0.026216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5002-126_0_6_line_1 |  | 0 | 2 | 0.0039253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5002-126_0_6_line_2 |  | 2 | 3 | 0.012584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_5002-126_0_6_line_3 |  | 2 | 4 | 0.020434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_5002-126_0_6_line_4 |  | 3 | 5 | 0.025659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_5002-126_0_6_line_5 |  | 4 | 6 | 0.00575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_5002-126_0_6_line_6 |  | 5 | 7 | 0.018694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_5002-126_0_6_line_7 |  | 6 | 8 | 0.023006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_5002-126_0_6_line_8 |  | 6 | 9 | 0.013561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5002-126_0_6_line_9 |  | 7 | 14 | 0.0009034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_5002-126_0_6_line_10 |  | 7 | 13 | 0.035914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5002-126_0_6_line_11 |  | 8 | 55 | 0.03613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_5002-126_0_6_line_12 |  | 9 | 56 | 0.02227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5002-126_0_6_line_13 |  | 10 | 11 | 0.0069804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5002-126_0_6_line_14 |  | 10 | 12 | 0.010056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5002-126_0_6_line_15 |  | 11 | 13 | 0.010856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5002-126_0_6_line_16 |  | 14 | 15 | 0.0029366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_5002-126_0_6_line_17 |  | 15 | 16 | 0.015002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_5002-126_0_6_line_18 |  | 16 | 26 | 0.013884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_5002-126_0_6_line_19 |  | 17 | 18 | 0.015783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5002-126_0_6_line_20 |  | 18 | 21 | 0.0037429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5002-126_0_6_line_21 |  | 19 | 20 | 0.002889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5002-126_0_6_line_22 |  | 19 | 21 | 0.018592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5002-126_0_6_line_23 |  | 20 | 22 | 0.01607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5002-126_0_6_line_24 |  | 22 | 23 | 0.0027845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5002-126_0_6_line_25 |  | 23 | 24 | 0.023889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5002-126_0_6_line_26 |  | 24 | 25 | 0.019496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5002-126_0_6_line_27 |  | 25 | 26 | 0.019276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_5002-126_0_6_line_28 |  | 25 | 27 | 0.015738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5002-126_0_6_line_29 |  | 25 | 28 | 0.017053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5002-126_0_6_line_30 |  | 27 | 29 | 0.0059437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5002-126_0_6_line_31 |  | 28 | 30 | 0.0057212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5002-126_0_6_line_32 |  | 29 | 31 | 0.011721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5002-126_0_6_line_33 |  | 30 | 32 | 0.005635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5002-126_0_6_line_34 |  | 31 | 39 | 0.0092425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5002-126_0_6_line_35 |  | 32 | 45 | 0.010492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5002-126_0_6_line_36 |  | 33 | 34 | 0.024967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5002-126_0_6_line_37 |  | 33 | 35 | 0.031415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5002-126_0_6_line_38 |  | 34 | 36 | 0.0072938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5002-126_0_6_line_39 |  | 36 | 37 | 0.013632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5002-126_0_6_line_40 |  | 36 | 38 | 0.0093076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5002-126_0_6_line_41 |  | 38 | 39 | 0.012449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5002-126_0_6_line_42 |  | 40 | 41 | 0.071237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5002-126_0_6_line_43 |  | 41 | 42 | 0.017389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5002-126_0_6_line_44 |  | 42 | 43 | 0.063968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5002-126_0_6_line_45 |  | 43 | 44 | 0.0044607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5002-126_0_6_line_46 |  | 44 | 46 | 0.019359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5002-126_0_6_line_47 |  | 46 | 47 | 0.0068216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5002-126_0_6_line_48 |  | 47 | 50 | 0.023833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5002-126_0_6_line_49 |  | 48 | 49 | 0.053195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5002-126_0_6_line_50 |  | 49 | 66 | 0.038202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5002-126_0_6_line_51 |  | 50 | 54 | 0.0019532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5002-126_0_6_line_52 |  | 51 | 52 | 0.033322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5002-126_0_6_line_53 |  | 51 | 53 | 0.013441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5002-126_0_6_line_54 |  | 52 | 54 | 0.0089493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5002-126_0_6_line_55 |  | 53 | 59 | 0.0086262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5002-126_0_6_line_56 |  | 53 | 57 | 0.011316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_5002-126_0_6_line_57 |  | 55 | 57 | 0.003495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_5002-126_0_6_line_58 |  | 56 | 58 | 0.031837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5002-126_0_6_line_59 |  | 58 | 60 | 0.018056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5002-126_0_6_line_60 |  | 59 | 62 | 0.018394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5002-126_0_6_line_61 |  | 60 | 61 | 0.022526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5002-126_0_6_line_62 |  | 61 | 68 | 0.01185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5002-126_0_6_line_63 |  | 62 | 63 | 0.011354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5002-126_0_6_line_64 |  | 63 | 64 | 0.052573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5002-126_0_6_line_65 |  | 64 | 65 | 0.018467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5002-126_0_6_line_66 |  | 64 | 66 | 0.002413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5002-126_0_6_line_67 |  | 65 | 67 | 0.022545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5002-126_0_6_line_68 |  | 67 | 75 | 0.0053524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5002-126_0_6_line_69 |  | 68 | 69 | 0.018098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5002-126_0_6_line_70 |  | 69 | 70 | 0.030877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5002-126_0_6_line_71 |  | 70 | 71 | 0.0092318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5002-126_0_6_line_72 |  | 71 | 72 | 0.018334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5002-126_0_6_line_73 |  | 72 | 73 | 0.0012004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5002-126_0_6_line_74 |  | 73 | 74 | 0.028163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5002-126_0_6_line_75 |  | 75 | 76 | 0.00028328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5002-126_0_6_trafo_12 | 0.63 MVA 20/0.4 kV | 77 | 14 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2722336.843 | 1118094.9598 | 2722316.5375 | 1118078.3775
1 | 2722339.8833 | 1118097.4427 | 2722336.843 | 1118094.9598
2 | 2722339.8833 | 1118097.4427 | 2722349.5336 | 1118089.3659
3 | 2722339.8833 | 1118097.4427 | 2722343.7057 | 1118101.6005 | 2722353.7078 | 1118112.4901
4 | 2722349.5336 | 1118089.3659 | 2722369.2104 | 1118072.8976
5 | 2722357.5974 | 1118116.7249 | 2722353.7078 | 1118112.4901
6 | 2722383.5463 | 1118060.8993 | 2722369.2104 | 1118072.8976
7 | 2722357.5974 | 1118116.7249 | 2722372.878 | 1118133.9235
8 | 2722357.5974 | 1118116.7249 | 2722352.9094 | 1118119.1096 | 2722345.5108 | 1118122.8733
9 | 2722384.2103 | 1118060.2867 | 2722383.5463 | 1118060.8993
10 | 2722383.5463 | 1118060.8993 | 2722358.5126 | 1118035.1478
11 | 2722372.878 | 1118133.9235 | 2722387.2023 | 1118150.0459 | 2722395.6044 | 1118161.9411
12 | 2722345.5108 | 1118122.8733 | 2722325.6613 | 1118132.9709
13 | 2722346.0795 | 1118022.3583 | 2722350.9452 | 1118027.3634
14 | 2722346.0795 | 1118022.3583 | 2722339.0699 | 1118015.1477
15 | 2722350.9452 | 1118027.3634 | 2722358.5126 | 1118035.1478
16 | 2722384.2103 | 1118060.2867 | 2722386.3685 | 1118058.2953
17 | 2722397.3938 | 1118048.1224 | 2722386.3685 | 1118058.2953
18 | 2722397.3938 | 1118048.1224 | 2722407.5979 | 1118038.7072
19 | 2722359.8026 | 1117963.9056 | 2722348.6218 | 1117952.7666
20 | 2722362.4542 | 1117966.5473 | 2722359.8026 | 1117963.9056
21 | 2722375.6252 | 1117979.6691 | 2722377.6718 | 1117981.7081
22 | 2722362.4542 | 1117966.5473 | 2722375.6252 | 1117979.6691
23 | 2722389.0564 | 1117993.0501 | 2722377.6718 | 1117981.7081
24 | 2722389.0564 | 1117993.0501 | 2722391.029 | 1117995.0154
25 | 2722407.9526 | 1118011.8758 | 2722391.029 | 1117995.0154
26 | 2722421.7644 | 1118025.636 | 2722407.9526 | 1118011.8758
27 | 2722421.7644 | 1118025.636 | 2722407.5979 | 1118038.7072
28 | 2722421.7644 | 1118025.636 | 2722432.7565 | 1118014.3733
29 | 2722421.7644 | 1118025.636 | 2722433.1256 | 1118038.3533
30 | 2722432.7565 | 1118014.3733 | 2722436.9079 | 1118010.1198
31 | 2722433.1256 | 1118038.3533 | 2722436.9372 | 1118042.6199
32 | 2722445.0943 | 1118001.7319 | 2722436.9079 | 1118010.1198
33 | 2722440.6914 | 1118046.8222 | 2722436.9372 | 1118042.6199
34 | 2722451.5498 | 1117995.1176 | 2722445.0943 | 1118001.7319
35 | 2722447.6814 | 1118054.6465 | 2722440.6914 | 1118046.8222
36 | 2722443.3881 | 1117955.5653 | 2722449.7299 | 1117963.2914 | 2722448.7231 | 1117966.8846 | 2722457.8852 | 1117973.3949
37 | 2722423.4562 | 1117931.2827 | 2722443.3881 | 1117955.5653
38 | 2722463.8308 | 1117977.6196 | 2722457.8852 | 1117973.3949
39 | 2722463.8308 | 1117977.6196 | 2722467.8801 | 1117964.6032
40 | 2722463.8308 | 1117977.6196 | 2722460.2447 | 1117986.2087
41 | 2722451.5498 | 1117995.1176 | 2722460.2447 | 1117986.2087
42 | 2722558.461 | 1118091.9347 | 2722539.7567 | 1118023.1976
43 | 2722563.9178 | 1118108.4009 | 2722561.3716 | 1118102.6121 | 2722558.461 | 1118091.9347
44 | 2722563.9178 | 1118108.4009 | 2722523.3158 | 1118131.3622 | 2722506.0115 | 1118132.1615
45 | 2722501.5555 | 1118132.3673 | 2722506.0115 | 1118132.1615
46 | 2722501.5555 | 1118132.3673 | 2722501.5555 | 1118132.3673 | 2722484.6491 | 1118141.7991
47 | 2722484.6491 | 1118141.7991 | 2722478.6918 | 1118145.1226
48 | 2722457.8789 | 1118156.7339 | 2722478.6918 | 1118145.1226
49 | 2722530.8833 | 1118209.1134 | 2722484.7017 | 1118235.5129
50 | 2722451.5371 | 1118254.4739 | 2722465.0022 | 1118246.7741 | 2722484.7017 | 1118235.5129
51 | 2722457.8789 | 1118156.7339 | 2722456.1732 | 1118157.6855
52 | 2722415.3493 | 1118166.6068 | 2722448.3578 | 1118162.0456
53 | 2722404.1492 | 1118174.0383 | 2722415.3493 | 1118166.6068
54 | 2722448.3578 | 1118162.0456 | 2722456.1732 | 1118157.6855
55 | 2722404.1492 | 1118174.0383 | 2722408.6257 | 1118181.4121
56 | 2722404.1492 | 1118174.0383 | 2722397.6208 | 1118164.7958
57 | 2722395.6044 | 1118161.9411 | 2722397.6208 | 1118164.7958
58 | 2722297.2853 | 1118147.406 | 2722325.6613 | 1118132.9709
59 | 2722297.2853 | 1118147.406 | 2722305.1702 | 1118163.6499
60 | 2722418.1712 | 1118197.136 | 2722408.6257 | 1118181.4121
61 | 2722305.1702 | 1118163.6499 | 2722315.007 | 1118183.9149
62 | 2722315.007 | 1118183.9149 | 2722320.1818 | 1118194.5756
63 | 2722418.1712 | 1118197.136 | 2722419.9285 | 1118200.0307 | 2722423.9378 | 1118206.9165
64 | 2722450.3912 | 1118252.3492 | 2722423.9378 | 1118206.9165
65 | 2722450.3912 | 1118252.3492 | 2722434.6991 | 1118262.0856
66 | 2722450.3912 | 1118252.3492 | 2722451.5371 | 1118254.4739
67 | 2722434.6991 | 1118262.0856 | 2722415.5423 | 1118273.9716
68 | 2722410.9942 | 1118276.7936 | 2722415.5423 | 1118273.9716
69 | 2722320.1818 | 1118194.5756 | 2722321.0172 | 1118196.2967 | 2722327.6872 | 1118211.0434
70 | 2722327.6872 | 1118211.0434 | 2722339.4106 | 1118236.9629 | 2722340.0823 | 1118239.2976
71 | 2722340.0823 | 1118239.2976 | 2722342.6347 | 1118248.1696
72 | 2722347.7039 | 1118265.7893 | 2722342.6347 | 1118248.1696
73 | 2722347.7039 | 1118265.7893 | 2722348.0358 | 1118266.9429
74 | 2722348.0358 | 1118266.9429 | 2722354.8903 | 1118290.7683 | 2722355.4024 | 1118294.1002
75 | 2722410.7535 | 1118276.9429 | 2722410.9942 | 1118276.7936

## bus_geodata
| x | y | coords
0 | 2722336.843 | 1118094.9598
1 | 2722316.5375 | 1118078.3775
2 | 2722339.8833 | 1118097.4427
3 | 2722349.5336 | 1118089.3659
4 | 2722353.7078 | 1118112.4901
5 | 2722369.2104 | 1118072.8976
6 | 2722357.5974 | 1118116.7249
7 | 2722383.5463 | 1118060.8993
8 | 2722372.878 | 1118133.9235
9 | 2722345.5108 | 1118122.8733
10 | 2722346.0795 | 1118022.3583
11 | 2722350.9452 | 1118027.3634
12 | 2722339.0699 | 1118015.1477
13 | 2722358.5126 | 1118035.1478
14 | 2722384.2103 | 1118060.2867
15 | 2722386.3685 | 1118058.2953
16 | 2722397.3938 | 1118048.1224
17 | 2722348.6218 | 1117952.7666
18 | 2722359.8026 | 1117963.9056
19 | 2722375.6252 | 1117979.6691
20 | 2722377.6718 | 1117981.7081
21 | 2722362.4542 | 1117966.5473
22 | 2722389.0564 | 1117993.0501
23 | 2722391.029 | 1117995.0154
24 | 2722407.9526 | 1118011.8758
25 | 2722421.7644 | 1118025.636
26 | 2722407.5979 | 1118038.7072
27 | 2722432.7565 | 1118014.3733
28 | 2722433.1256 | 1118038.3533
29 | 2722436.9079 | 1118010.1198
30 | 2722436.9372 | 1118042.6199
31 | 2722445.0943 | 1118001.7319
32 | 2722440.6914 | 1118046.8222
33 | 2722443.3881 | 1117955.5653
34 | 2722457.8852 | 1117973.3949
35 | 2722423.4563 | 1117931.2827
36 | 2722463.8308 | 1117977.6196
37 | 2722467.8801 | 1117964.6032
38 | 2722460.2447 | 1117986.2087
39 | 2722451.5498 | 1117995.1176
40 | 2722539.7567 | 1118023.1976
41 | 2722558.461 | 1118091.9347
42 | 2722563.9178 | 1118108.4009
43 | 2722506.0115 | 1118132.1615
44 | 2722501.5555 | 1118132.3673
45 | 2722447.6814 | 1118054.6465
46 | 2722484.6491 | 1118141.7991
47 | 2722478.6918 | 1118145.1226
48 | 2722530.8833 | 1118209.1134
49 | 2722484.7017 | 1118235.5129
50 | 2722457.8789 | 1118156.7339
51 | 2722415.3493 | 1118166.6068
52 | 2722448.3578 | 1118162.0456
53 | 2722404.1492 | 1118174.0383
54 | 2722456.1732 | 1118157.6855
55 | 2722395.6044 | 1118161.9411
56 | 2722325.6613 | 1118132.9709
57 | 2722397.6208 | 1118164.7958
58 | 2722297.2853 | 1118147.406
59 | 2722408.6257 | 1118181.4121
60 | 2722305.1702 | 1118163.6499
61 | 2722315.007 | 1118183.9149
62 | 2722418.1712 | 1118197.136
63 | 2722423.9378 | 1118206.9165
64 | 2722450.3912 | 1118252.3492
65 | 2722434.6991 | 1118262.0856
66 | 2722451.5371 | 1118254.4739
67 | 2722415.5423 | 1118273.9716
68 | 2722320.1818 | 1118194.5756
69 | 2722327.6872 | 1118211.0434
70 | 2722340.0823 | 1118239.2976
71 | 2722342.6347 | 1118248.1696
72 | 2722347.7039 | 1118265.7893
73 | 2722348.0358 | 1118266.9429
74 | 2722355.4024 | 1118294.1002
75 | 2722410.9942 | 1118276.7936
76 | 2722410.7535 | 1118276.9429
77 | 2722383.5463 | 1118060.8993

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1