## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5002-141_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5002-141_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5002-141_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_5002-141_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_5002-141_0_4_node_75 | 0.4 | n |  | TRUE
5 | bus_LV_5002-141_0_4_node_76 | 0.4 | n |  | TRUE
6 | bus_LV_5002-141_0_4_node_89 | 0.4 | n |  | TRUE
7 | bus_LV_5002-141_0_4_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_5002-141_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_5002-141_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_5002-141_0_4_node_47 | 0.4 | n |  | TRUE
11 | bus_LV_5002-141_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_5002-141_0_4_node_71 | 0.4 | n |  | TRUE
13 | bus_LV_5002-141_0_4_node_72 | 0.4 | n |  | TRUE
14 | bus_LV_5002-141_0_4_node_45 | 0.4 | n |  | TRUE
15 | bus_LV_5002-141_0_4_node_61 | 0.4 | n |  | TRUE
16 | bus_LV_5002-141_0_4_node_62 | 0.4 | n |  | TRUE
17 | bus_LV_5002-141_0_4_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_5002-141_0_4_node_43 | 0.4 | n |  | TRUE
19 | bus_LV_5002-141_0_4_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_5002-141_0_4_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_5002-141_0_4_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_5002-141_0_4_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_5002-141_0_4_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_5002-141_0_4_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_5002-141_0_4_node_65 | 0.4 | n |  | TRUE
26 | bus_LV_5002-141_0_4_node_63 | 0.4 | n |  | TRUE
27 | bus_LV_5002-141_0_4_node_57 | 0.4 | n |  | TRUE
28 | bus_LV_5002-141_0_4_node_56 | 0.4 | n |  | TRUE
29 | bus_LV_5002-141_0_4_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_5002-141_0_4_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_5002-141_0_4_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_5002-141_0_4_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_5002-141_0_4_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_5002-141_0_4_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_5002-141_0_4_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_5002-141_0_4_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_5002-141_0_4_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_5002-141_0_4_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_5002-141_0_4_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_5002-141_0_4_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_5002-141_0_4_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_5002-141_0_4_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_5002-141_0_4_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_5002-141_0_4_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_5002-141_0_4_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_5002-141_0_4_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_5002-141_0_4_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_5002-141_0_4_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_5002-141_0_4_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_5002-141_0_4_node_51 | 0.4 | n |  | TRUE
51 | bus_LV_5002-141_0_4_node_49 | 0.4 | n |  | TRUE
52 | bus_LV_5002-141_0_4_node_38 | 0.4 | n |  | TRUE
53 | bus_LV_5002-141_0_4_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_5002-141_0_4_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_5002-141_0_4_node_59 | 0.4 | n |  | TRUE
56 | bus_LV_5002-141_0_4_node_60 | 0.4 | n |  | TRUE
57 | bus_LV_5002-141_0_4_node_58 | 0.4 | n |  | TRUE
58 | bus_LV_5002-141_0_4_node_41 | 0.4 | n |  | TRUE
59 | bus_LV_5002-141_0_4_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_5002-141_0_4_node_44 | 0.4 | n |  | TRUE
61 | bus_LV_5002-141_0_4_node_64 | 0.4 | n |  | TRUE
62 | bus_LV_5002-141_0_4_node_66 | 0.4 | n |  | TRUE
63 | bus_LV_5002-141_0_4_node_46 | 0.4 | n |  | TRUE
64 | bus_LV_5002-141_0_4_node_70 | 0.4 | n |  | TRUE
65 | bus_LV_5002-141_0_4_node_73 | 0.4 | n |  | TRUE
66 | bus_LV_5002-141_0_4_node_74 | 0.4 | n |  | TRUE
67 | bus_LV_5002-141_0_4_node_48 | 0.4 | n |  | TRUE
68 | bus_LV_5002-141_0_4_node_50 | 0.4 | n |  | TRUE
69 | bus_LV_5002-141_0_4_node_52 | 0.4 | n |  | TRUE
70 | bus_LV_5002-141_0_4_node_53 | 0.4 | n |  | TRUE
71 | bus_LV_5002-141_0_4_node_54 | 0.4 | n |  | TRUE
72 | bus_LV_5002-141_0_4_node_55 | 0.4 | n |  | TRUE
73 | bus_LV_5002-141_0_4_node_69 | 0.4 | n |  | TRUE
74 | bus_LV_5002-141_0_4_node_67 | 0.4 | n |  | TRUE
75 | bus_LV_5002-141_0_4_node_68 | 0.4 | n |  | TRUE
76 | bus_LV_5002-141_0_4_node_88 | 0.4 | n |  | TRUE
77 | bus_LV_5002-141_0_4_node_87 | 0.4 | n |  | TRUE
78 | bus_LV_5002-141_0_4_node_81 | 0.4 | n |  | TRUE
79 | bus_LV_5002-141_0_4_node_83 | 0.4 | n |  | TRUE
80 | bus_LV_5002-141_0_4_node_80 | 0.4 | n |  | TRUE
81 | bus_LV_5002-141_0_4_node_82 | 0.4 | n |  | TRUE
82 | bus_LV_5002-141_0_4_node_84 | 0.4 | n |  | TRUE
83 | bus_LV_5002-141_0_4_node_85 | 0.4 | n |  | TRUE
84 | bus_LV_5002-141_0_4_node_86 | 0.4 | n |  | TRUE
85 | bus_LV_5002-141_0_4_node_77 | 0.4 | n |  | TRUE
86 | bus_LV_5002-141_0_4_node_78 | 0.4 | n |  | TRUE
87 | bus_LV_5002-141_0_4_node_79 | 0.4 | n |  | TRUE
88 | bus_MV_63_0_node_47 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5002-141_0_4_load_0 | 0 | 0.0062033 | 0.0015547 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5002-141_0_4_load_1 | 1 | 0.0025013 | 0.00062688 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5002-141_0_4_load_3 | 2 | 0.0095845 | 0.0024021 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5002-141_0_4_load_75 | 4 | 0.0034921 | 0.00087521 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5002-141_0_4_load_76 | 5 | 0.0090045 | 0.0022568 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5002-141_0_4_load_89 | 6 | 0.0036245 | 0.00090838 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5002-141_0_4_load_14 | 7 | 0.013502 | 0.003384 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5002-141_0_4_load_5 | 8 | 0.0072242 | 0.0018106 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5002-141_0_4_load_6 | 9 | 0.0011613 | 0.00029106 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5002-141_0_4_load_7 | 11 | 0.0038141 | 0.0009559 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5002-141_0_4_load_71 | 12 | 0.0032278 | 0.00080896 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5002-141_0_4_load_72 | 13 | 0.0054733 | 0.0013717 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5002-141_0_4_load_45 | 14 | 0.0031015 | 0.00077731 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5002-141_0_4_load_61 | 15 | 0.0044005 | 0.0011029 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5002-141_0_4_load_62 | 16 | 0.0058774 | 0.001473 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5002-141_0_4_load_8 | 17 | 0.0018669 | 0.0004679 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5002-141_0_4_load_43 | 18 | 0.0065346 | 0.0016377 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5002-141_0_4_load_9 | 19 | 0.0034717 | 0.00087009 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5002-141_0_4_load_10 | 20 | 0.0082045 | 0.0020562 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5002-141_0_4_load_11 | 21 | 0.0064672 | 0.0016208 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5002-141_0_4_load_12 | 22 | 0.012084 | 0.0030285 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5002-141_0_4_load_13 | 23 | 0.0055569 | 0.0013927 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5002-141_0_4_load_15 | 24 | 0.003035 | 0.00076065 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5002-141_0_4_load_65 | 25 | 0.0041903 | 0.0010502 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5002-141_0_4_load_63 | 26 | 0.0094332 | 0.0023642 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5002-141_0_4_load_57 | 27 | 0.0024049 | 0.00060272 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5002-141_0_4_load_56 | 28 | 0.0042906 | 0.0010753 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5002-141_0_4_load_16 | 29 | 0.0035989 | 0.00090198 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5002-141_0_4_load_17 | 30 | 0.004091 | 0.0010253 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5002-141_0_4_load_18 | 31 | 0.0051926 | 0.0013014 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5002-141_0_4_load_19 | 32 | 0.0025393 | 0.0006364 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5002-141_0_4_load_21 | 33 | 0.0065089 | 0.0016313 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5002-141_0_4_load_22 | 34 | 0.0036717 | 0.0009202 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5002-141_0_4_load_30 | 35 | 0.0055101 | 0.001381 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5002-141_0_4_load_23 | 36 | 0.0029634 | 0.00074271 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5002-141_0_4_load_28 | 37 | 0.0046248 | 0.0011591 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5002-141_0_4_load_31 | 38 | 0.0070745 | 0.001773 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5002-141_0_4_load_26 | 39 | 0.0021212 | 0.00053161 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5002-141_0_4_load_24 | 40 | 0.0021206 | 0.00053146 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5002-141_0_4_load_25 | 41 | 0.0029472 | 0.00073864 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5002-141_0_4_load_27 | 42 | 0.0041207 | 0.0010327 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5002-141_0_4_load_32 | 44 | 0.0034223 | 0.00085772 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5002-141_0_4_load_33 | 45 | 0.0045503 | 0.0011404 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5002-141_0_4_load_34 | 46 | 0.0039092 | 0.00097973 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5002-141_0_4_load_35 | 47 | 0.0046051 | 0.0011541 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5002-141_0_4_load_37 | 48 | 0.0052386 | 0.0013129 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5002-141_0_4_load_36 | 49 | 0.0036018 | 0.0009027 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5002-141_0_4_load_51 | 50 | 0.0060284 | 0.0015109 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5002-141_0_4_load_49 | 51 | 0.0034057 | 0.00085354 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5002-141_0_4_load_38 | 52 | 0.0027446 | 0.00068786 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5002-141_0_4_load_39 | 53 | 0.0038933 | 0.00097576 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5002-141_0_4_load_40 | 54 | 0.0033269 | 0.00083379 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5002-141_0_4_load_60 | 56 | 0.0041444 | 0.0010387 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5002-141_0_4_load_58 | 57 | 0.0026262 | 0.00065819 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5002-141_0_4_load_41 | 58 | 0.0010179 | 0.00025512 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5002-141_0_4_load_42 | 59 | 0.0011212 | 0.000281 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5002-141_0_4_load_44 | 60 | 0.0048855 | 0.0012244 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5002-141_0_4_load_64 | 61 | 0.0050593 | 0.001268 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5002-141_0_4_load_46 | 63 | 0.0047959 | 0.001202 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5002-141_0_4_load_70 | 64 | 0.0041913 | 0.0010504 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5002-141_0_4_load_73 | 65 | 0.0018772 | 0.00047046 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5002-141_0_4_load_74 | 66 | 0.0027056 | 0.00067809 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5002-141_0_4_load_48 | 67 | 0.0058481 | 0.0014657 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5002-141_0_4_load_52 | 69 | 0.0026898 | 0.00067412 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5002-141_0_4_load_53 | 70 | 0.0044676 | 0.0011197 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5002-141_0_4_load_55 | 72 | 0.0044779 | 0.0011223 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5002-141_0_4_load_67 | 74 | 0.002762 | 0.00069221 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5002-141_0_4_load_68 | 75 | 0.0034456 | 0.00086355 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5002-141_0_4_load_88 | 76 | 0.007618 | 0.0019093 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5002-141_0_4_load_87 | 77 | 0.0025426 | 0.00063725 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5002-141_0_4_load_81 | 78 | 0.0023029 | 0.00057716 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5002-141_0_4_load_83 | 79 | 0.0045644 | 0.0011439 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5002-141_0_4_load_80 | 80 | 0.0026393 | 0.00066147 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5002-141_0_4_load_82 | 81 | 0.003539 | 0.00088697 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5002-141_0_4_load_84 | 82 | 0.0019418 | 0.00048667 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5002-141_0_4_load_85 | 83 | 0.0043861 | 0.0010993 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5002-141_0_4_load_86 | 84 | 0.0033413 | 0.00083741 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5002-141_0_4_load_77 | 85 | 0.0024668 | 0.00061823 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5002-141_0_4_load_78 | 86 | 0.010259 | 0.0025712 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5002-141_0_4_load_79 | 87 | 0.002369 | 0.00059373 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 57 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5002-141_0_4_line_0 |  | 0 | 1 | 0.020946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5002-141_0_4_line_1 |  | 1 | 2 | 0.01866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5002-141_0_4_line_2 |  | 2 | 3 | 0.014847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5002-141_0_4_line_3 |  | 3 | 4 | 0.02624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5002-141_0_4_line_4 |  | 3 | 5 | 0.016114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5002-141_0_4_line_5 |  | 4 | 6 | 0.0013309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5002-141_0_4_line_6 |  | 5 | 7 | 0.03305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5002-141_0_4_line_7 |  | 7 | 25 | 0.043908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5002-141_0_4_line_8 |  | 7 | 22 | 0.00043653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5002-141_0_4_line_9 |  | 8 | 9 | 0.013658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5002-141_0_4_line_10 |  | 8 | 10 | 0.12505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5002-141_0_4_line_11 |  | 9 | 11 | 0.011759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5002-141_0_4_line_12 |  | 10 | 12 | 0.043006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5002-141_0_4_line_13 |  | 10 | 13 | 0.056216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5002-141_0_4_line_14 |  | 10 | 14 | 0.032479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5002-141_0_4_line_15 |  | 11 | 17 | 0.0049769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5002-141_0_4_line_16 |  | 12 | 65 | 0.008643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5002-141_0_4_line_17 |  | 13 | 66 | 0.026187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5002-141_0_4_line_18 |  | 14 | 18 | 0.020786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5002-141_0_4_line_19 |  | 15 | 16 | 0.0023127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5002-141_0_4_line_20 |  | 16 | 64 | 0.046461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_5002-141_0_4_line_21 |  | 16 | 61 | 0.032534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_5002-141_0_4_line_22 |  | 18 | 58 | 0.016975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5002-141_0_4_line_23 |  | 19 | 20 | 0.022136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5002-141_0_4_line_24 |  | 19 | 21 | 0.0071473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5002-141_0_4_line_25 |  | 20 | 22 | 0.0093023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5002-141_0_4_line_26 |  | 21 | 23 | 0.0035904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5002-141_0_4_line_27 |  | 23 | 24 | 0.0087664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5002-141_0_4_line_28 |  | 24 | 27 | 0.0084621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5002-141_0_4_line_29 |  | 25 | 26 | 0.0059756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5002-141_0_4_line_30 |  | 27 | 28 | 0.0030428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5002-141_0_4_line_31 |  | 28 | 57 | 0.0050588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5002-141_0_4_line_32 |  | 29 | 30 | 0.0042327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5002-141_0_4_line_33 |  | 29 | 31 | 0.01259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5002-141_0_4_line_34 |  | 30 | 32 | 0.019233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5002-141_0_4_line_35 |  | 31 | 33 | 0.031988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5002-141_0_4_line_36 |  | 32 | 34 | 0.011928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5002-141_0_4_line_37 |  | 34 | 35 | 0.00308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5002-141_0_4_line_38 |  | 35 | 38 | 0.020744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5002-141_0_4_line_39 |  | 36 | 37 | 0.013991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5002-141_0_4_line_40 |  | 37 | 39 | 0.015608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5002-141_0_4_line_41 |  | 38 | 48 | 0.004336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5002-141_0_4_line_42 |  | 39 | 40 | 0.0088229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5002-141_0_4_line_43 |  | 40 | 41 | 0.0047676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5002-141_0_4_line_44 |  | 41 | 42 | 0.016228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5002-141_0_4_line_45 |  | 42 | 43 | 0.015829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5002-141_0_4_line_46 |  | 43 | 44 | 0.008175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5002-141_0_4_line_47 |  | 43 | 45 | 0.013782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5002-141_0_4_line_48 |  | 44 | 46 | 0.017376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5002-141_0_4_line_49 |  | 45 | 47 | 0.0097031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5002-141_0_4_line_50 |  | 46 | 50 | 0.025272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5002-141_0_4_line_51 |  | 48 | 49 | 0.00036479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5002-141_0_4_line_52 |  | 49 | 52 | 0.0061963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5002-141_0_4_line_53 |  | 50 | 51 | 0.0035991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5002-141_0_4_line_54 |  | 51 | 67 | 0.017869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5002-141_0_4_line_55 |  | 52 | 53 | 0.015535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5002-141_0_4_line_56 |  | 53 | 54 | 0.0030616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5002-141_0_4_line_57 |  | 54 | 55 | 0.028985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5002-141_0_4_line_58 |  | 55 | 56 | 0.014321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_5002-141_0_4_line_59 |  | 55 | 57 | 0.029521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_5002-141_0_4_line_60 |  | 56 | 72 | 0.016277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_5002-141_0_4_line_61 |  | 58 | 59 | 0.030065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_5002-141_0_4_line_62 |  | 59 | 60 | 0.0032338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_5002-141_0_4_line_63 |  | 60 | 63 | 0.0043776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_5002-141_0_4_line_64 |  | 61 | 62 | 0.049106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_5002-141_0_4_line_65 |  | 62 | 63 | 0.070689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_5002-141_0_4_line_66 |  | 64 | 75 | 0.035032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_5002-141_0_4_line_67 |  | 65 | 77 | 0.0039723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5002-141_0_4_line_68 |  | 66 | 76 | 0.004023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5002-141_0_4_line_69 |  | 67 | 68 | 0.013453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5002-141_0_4_line_70 |  | 68 | 69 | 0.015645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_5002-141_0_4_line_71 |  | 68 | 70 | 0.007269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_5002-141_0_4_line_72 |  | 69 | 71 | 0.025268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_5002-141_0_4_line_73 |  | 70 | 72 | 0.0061495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_5002-141_0_4_line_74 |  | 71 | 73 | 0.040949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_5002-141_0_4_line_75 |  | 73 | 74 | 0.081569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
76 | LV_5002-141_0_4_line_76 |  | 74 | 75 | 0.0014585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_5002-141_0_4_line_77 |  | 77 | 84 | 0.0028839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5002-141_0_4_line_78 |  | 78 | 79 | 0.0019179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5002-141_0_4_line_79 |  | 78 | 80 | 0.0085461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5002-141_0_4_line_80 |  | 79 | 81 | 0.0070804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5002-141_0_4_line_81 |  | 80 | 87 | 0.0050795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5002-141_0_4_line_82 |  | 81 | 82 | 0.0090982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5002-141_0_4_line_83 |  | 82 | 83 | 0.0047568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5002-141_0_4_line_84 |  | 83 | 84 | 0.0055022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5002-141_0_4_line_85 |  | 85 | 86 | 0.0047961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5002-141_0_4_line_86 |  | 85 | 87 | 0.0068698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5002-141_0_4_trafo_58 | 0.63 MVA 20/0.4 kV | 88 | 57 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2721698.4595 | 1114674.2191 | 2721706.9914 | 1114668.6054 | 2721714.8845 | 1114661.3324
1 | 2721714.8845 | 1114661.3324 | 2721719.2848 | 1114657.2778 | 2721724.8608 | 1114645.8932
2 | 2721731.3915 | 1114632.5594 | 2721724.8608 | 1114645.8932
3 | 2721731.3915 | 1114632.5594 | 2721748.8896 | 1114642.8401 | 2721754.7956 | 1114642.1599
4 | 2721731.3915 | 1114632.5594 | 2721742.1023 | 1114620.5207
5 | 2721756.1178 | 1114642.0076 | 2721754.7956 | 1114642.1599
6 | 2721742.1023 | 1114620.5207 | 2721748.3991 | 1114613.4433 | 2721736.1622 | 1114593.2911
7 | 2721736.1622 | 1114593.2911 | 2721774.4345 | 1114571.7708
8 | 2721735.9356 | 1114592.918 | 2721736.1622 | 1114593.2911
9 | 2721965.0247 | 1114415.2515 | 2721969.8936 | 1114402.4908
10 | 2721856.8506 | 1114477.9956 | 2721965.0247 | 1114415.2515
11 | 2721969.8936 | 1114402.4908 | 2721974.0855 | 1114391.5048
12 | 2721856.8506 | 1114477.9956 | 2721860.5461 | 1114495.8934 | 2721868.6742 | 1114511.9345 | 2721869.8008 | 1114513.1469 | 2721873.428 | 1114516.7216
13 | 2721856.8506 | 1114477.9956 | 2721851.8343 | 1114491.5819 | 2721850.9084 | 1114496.5223 | 2721853.3869 | 1114506.1788 | 2721854.4145 | 1114511.9256 | 2721851.3102 | 1114508.4164 | 2721849.3873 | 1114506.0872 | 2721840.42 | 1114497.968 | 2721839.5664 | 1114497.2798
14 | 2721856.8506 | 1114477.9956 | 2721841.7945 | 1114449.2175
15 | 2721977.1235 | 1114387.5627 | 2721974.0855 | 1114391.5048 | 2721974.0855 | 1114391.5048
16 | 2721879.5839 | 1114522.7885 | 2721873.428 | 1114516.7216
17 | 2721839.5664 | 1114497.2798 | 2721832.4156 | 1114491.5138 | 2721826.4099 | 1114484.7773 | 2721824.914 | 1114476.9422
18 | 2721841.7945 | 1114449.2175 | 2721827.624 | 1114434.011 | 2721827.624 | 1114434.011
19 | 2721749.7596 | 1114480.0006 | 2721748.8433 | 1114477.8772
20 | 2721702.5212 | 1114481.4648 | 2721748.8433 | 1114477.8772
21 | 2721748.8433 | 1114477.8772 | 2721746.3133 | 1114472.0148 | 2721739.3989 | 1114455.142 | 2721737.7806 | 1114447.3945
22 | 2721819.68 | 1114419.0094 | 2721827.624 | 1114434.011
23 | 2721718.3046 | 1114567.0547 | 2721723.5674 | 1114572.5497 | 2721731.1074 | 1114584.9668
24 | 2721718.3046 | 1114567.0547 | 2721713.361 | 1114561.8929
25 | 2721735.9356 | 1114592.918 | 2721731.1074 | 1114584.9668
26 | 2721711.984 | 1114558.5771 | 2721713.361 | 1114561.8929 | 2721713.361 | 1114561.8929
27 | 2721711.984 | 1114558.5771 | 2721708.6218 | 1114550.481
28 | 2721708.6218 | 1114550.481 | 2721706.8328 | 1114546.1732 | 2721706.5287 | 1114542.3878
29 | 2721773.5521 | 1114565.8607 | 2721774.4345 | 1114571.7708
30 | 2721706.2851 | 1114539.3548 | 2721706.5287 | 1114542.3878
31 | 2721706.2851 | 1114539.3548 | 2721705.88 | 1114534.3123
32 | 2721594.8968 | 1114574.446 | 2721598.3956 | 1114572.0639
33 | 2721584.4901 | 1114581.5312 | 2721594.8968 | 1114574.446
34 | 2721598.3956 | 1114572.0639 | 2721614.2939 | 1114561.2396
35 | 2721584.4901 | 1114581.5312 | 2721605.7029 | 1114605.4736
36 | 2721624.1533 | 1114554.5269 | 2721614.2939 | 1114561.2396
37 | 2721624.1533 | 1114554.5269 | 2721626.6993 | 1114552.7936
38 | 2721626.6993 | 1114552.7936 | 2721643.8461 | 1114541.1193
39 | 2721554.0284 | 1114561.7678 | 2721543.3098 | 1114570.7599
40 | 2721565.9857 | 1114551.7365 | 2721554.0284 | 1114561.7678
41 | 2721647.4303 | 1114538.679 | 2721643.8461 | 1114541.1193
42 | 2721565.9857 | 1114551.7365 | 2721572.745 | 1114546.066
43 | 2721572.745 | 1114546.066 | 2721576.3975 | 1114543.0018
44 | 2721588.8296 | 1114532.5721 | 2721576.3975 | 1114543.0018
45 | 2721600.9566 | 1114522.3985 | 2721588.8296 | 1114532.5721
46 | 2721600.9566 | 1114522.3985 | 2721607.4721 | 1114517.461
47 | 2721600.9566 | 1114522.3985 | 2721591.9131 | 1114511.998
48 | 2721621.3207 | 1114506.9665 | 2721607.4721 | 1114517.461
49 | 2721591.9131 | 1114511.998 | 2721585.9312 | 1114505.1185 | 2721585.6042 | 1114504.6315
50 | 2721621.3207 | 1114506.9665 | 2721641.4625 | 1114491.703
51 | 2721647.4303 | 1114538.679 | 2721647.7318 | 1114538.4737
52 | 2721652.8537 | 1114534.9865 | 2721647.7318 | 1114538.4737
53 | 2721641.4625 | 1114491.703 | 2721644.331 | 1114489.5292
54 | 2721658.5725 | 1114478.737 | 2721644.331 | 1114489.5292
55 | 2721665.6952 | 1114526.2436 | 2721652.8537 | 1114534.9865
56 | 2721665.6952 | 1114526.2436 | 2721668.2259 | 1114524.5205
57 | 2721692.1848 | 1114508.2084 | 2721668.2259 | 1114524.5205
58 | 2721692.1848 | 1114508.2084 | 2721684.7372 | 1114495.976
59 | 2721692.1848 | 1114508.2084 | 2721705.8379 | 1114533.7891 | 2721705.88 | 1114534.3123
60 | 2721684.7372 | 1114495.976 | 2721676.2726 | 1114482.0731
61 | 2721819.68 | 1114419.0094 | 2721817.0487 | 1114414.0402 | 2721812.4421 | 1114405.3305 | 2721805.6099 | 1114392.4399 | 2721805.6099 | 1114392.4399
62 | 2721805.6099 | 1114392.4399 | 2721803.7768 | 1114389.7757
63 | 2721803.7768 | 1114389.7757 | 2721801.2954 | 1114386.1694
64 | 2721731.7267 | 1114398.7045 | 2721735.805 | 1114437.9357 | 2721737.7806 | 1114447.3945
65 | 2721731.7267 | 1114398.7045 | 2721801.2954 | 1114386.1694
66 | 2721702.5212 | 1114481.4648 | 2721700.6316 | 1114476.8785 | 2721690.0251 | 1114448.7389
67 | 2721882.4131 | 1114525.5768 | 2721879.5839 | 1114522.7885
68 | 2721824.1596 | 1114472.9906 | 2721824.914 | 1114476.9422
69 | 2721669.2945 | 1114470.6118 | 2721658.5725 | 1114478.737
70 | 2721669.2945 | 1114470.6118 | 2721662.6775 | 1114458.1481 | 2721662.1662 | 1114456.7022
71 | 2721669.2945 | 1114470.6118 | 2721673.0747 | 1114476.8206
72 | 2721654.639 | 1114432.6136 | 2721656.7932 | 1114441.5074 | 2721662.1662 | 1114456.7022
73 | 2721676.2726 | 1114482.0731 | 2721673.0747 | 1114476.8206
74 | 2721654.639 | 1114432.6136 | 2721652.6127 | 1114424.2672 | 2721649.4827 | 1114418.9562 | 2721644.7752 | 1114417.1828 | 2721632.9596 | 1114416.245 | 2721628.98 | 1114414.3861 | 2721626.3302 | 1114410.1634
75 | 2721626.3302 | 1114410.1634 | 2721640.4014 | 1114407.644 | 2721650.4019 | 1114408.9567 | 2721663.3439 | 1114414.587 | 2721671.1295 | 1114418.8684 | 2721678.0266 | 1114426.2342 | 2721688.2374 | 1114443.9959 | 2721689.5107 | 1114447.3741
76 | 2721689.5107 | 1114447.3741 | 2721690.0251 | 1114448.7389
77 | 2721882.4131 | 1114525.5768 | 2721884.4671 | 1114527.6011
78 | 2721904.6631 | 1114547.5049 | 2721903.2971 | 1114546.1587
79 | 2721904.6631 | 1114547.5049 | 2721909.0973 | 1114551.875 | 2721910.6323 | 1114553.615
80 | 2721898.2541 | 1114541.1887 | 2721903.2971 | 1114546.1587
81 | 2721913.9926 | 1114557.4242 | 2721910.6323 | 1114553.615
82 | 2721898.2541 | 1114541.1887 | 2721891.7741 | 1114534.8023
83 | 2721888.386 | 1114531.4633 | 2721891.7741 | 1114534.8023
84 | 2721888.386 | 1114531.4633 | 2721884.4671 | 1114527.6011
85 | 2721918.5372 | 1114562.5759 | 2721921.7101 | 1114566.1726
86 | 2721918.5372 | 1114562.5759 | 2721913.9926 | 1114557.4242

## bus_geodata
| x | y | coords
0 | 2721698.4595 | 1114674.2191
1 | 2721714.8845 | 1114661.3324
2 | 2721724.8608 | 1114645.8932
3 | 2721731.3915 | 1114632.5594
4 | 2721754.7956 | 1114642.1599
5 | 2721742.1023 | 1114620.5207
6 | 2721756.1178 | 1114642.0076
7 | 2721736.1622 | 1114593.2911
8 | 2721965.0247 | 1114415.2515
9 | 2721969.8936 | 1114402.4908
10 | 2721856.8506 | 1114477.9956
11 | 2721974.0855 | 1114391.5048
12 | 2721873.428 | 1114516.7216
13 | 2721839.5664 | 1114497.2798
14 | 2721841.7945 | 1114449.2175
15 | 2721749.7596 | 1114480.0006
16 | 2721748.8433 | 1114477.8772
17 | 2721977.1235 | 1114387.5627
18 | 2721827.624 | 1114434.011
19 | 2721718.3046 | 1114567.0547
20 | 2721731.1074 | 1114584.9668
21 | 2721713.361 | 1114561.8929
22 | 2721735.9356 | 1114592.918
23 | 2721711.984 | 1114558.5771
24 | 2721708.6218 | 1114550.481
25 | 2721774.4345 | 1114571.7708
26 | 2721773.5521 | 1114565.8607
27 | 2721706.5287 | 1114542.3878
28 | 2721706.2851 | 1114539.3548
29 | 2721594.8968 | 1114574.446
30 | 2721598.3956 | 1114572.0639
31 | 2721584.4901 | 1114581.5312
32 | 2721614.2939 | 1114561.2396
33 | 2721605.7029 | 1114605.4736
34 | 2721624.1533 | 1114554.5269
35 | 2721626.6993 | 1114552.7936
36 | 2721543.3098 | 1114570.7599
37 | 2721554.0284 | 1114561.7678
38 | 2721643.8461 | 1114541.1193
39 | 2721565.9857 | 1114551.7365
40 | 2721572.745 | 1114546.066
41 | 2721576.3975 | 1114543.0018
42 | 2721588.8296 | 1114532.5721
43 | 2721600.9566 | 1114522.3985
44 | 2721607.4721 | 1114517.461
45 | 2721591.9131 | 1114511.998
46 | 2721621.3207 | 1114506.9665
47 | 2721585.6042 | 1114504.6315
48 | 2721647.4303 | 1114538.679
49 | 2721647.7318 | 1114538.4737
50 | 2721641.4625 | 1114491.703
51 | 2721644.331 | 1114489.5292
52 | 2721652.8537 | 1114534.9865
53 | 2721665.6952 | 1114526.2436
54 | 2721668.2259 | 1114524.5205
55 | 2721692.1848 | 1114508.2084
56 | 2721684.7372 | 1114495.976
57 | 2721705.88 | 1114534.3123
58 | 2721819.68 | 1114419.0094
59 | 2721805.6099 | 1114392.4399
60 | 2721803.7768 | 1114389.7757
61 | 2721737.7806 | 1114447.3945
62 | 2721731.7268 | 1114398.7045
63 | 2721801.2954 | 1114386.1694
64 | 2721702.5212 | 1114481.4648
65 | 2721879.5839 | 1114522.7885
66 | 2721824.914 | 1114476.9422
67 | 2721658.5725 | 1114478.737
68 | 2721669.2945 | 1114470.6118
69 | 2721662.1662 | 1114456.7022
70 | 2721673.0747 | 1114476.8206
71 | 2721654.639 | 1114432.6136
72 | 2721676.2726 | 1114482.0731
73 | 2721626.3302 | 1114410.1634
74 | 2721689.5107 | 1114447.3741
75 | 2721690.0251 | 1114448.7389
76 | 2721824.1596 | 1114472.9906
77 | 2721882.4131 | 1114525.5768
78 | 2721904.6631 | 1114547.5049
79 | 2721903.2971 | 1114546.1587
80 | 2721910.6323 | 1114553.615
81 | 2721898.2541 | 1114541.1887
82 | 2721891.7741 | 1114534.8023
83 | 2721888.386 | 1114531.4633
84 | 2721884.4671 | 1114527.6011
85 | 2721918.5372 | 1114562.5759
86 | 2721921.7101 | 1114566.1726
87 | 2721913.9926 | 1114557.4242
88 | 2721692.1848 | 1114508.2084

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1