## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5002-144_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5002-144_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5002-144_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5002-144_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5002-144_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5002-144_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5002-144_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5002-144_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_5002-144_0_4_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_5002-144_0_4_node_38 | 0.4 | n |  | TRUE
10 | bus_LV_5002-144_0_4_node_73 | 0.4 | n |  | TRUE
11 | bus_LV_5002-144_0_4_node_42 | 0.4 | n |  | TRUE
12 | bus_LV_5002-144_0_4_node_72 | 0.4 | n |  | TRUE
13 | bus_LV_5002-144_0_4_node_37 | 0.4 | n |  | TRUE
14 | bus_LV_5002-144_0_4_node_39 | 0.4 | n |  | TRUE
15 | bus_LV_5002-144_0_4_node_40 | 0.4 | n |  | TRUE
16 | bus_LV_5002-144_0_4_node_41 | 0.4 | n |  | TRUE
17 | bus_LV_5002-144_0_4_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_5002-144_0_4_node_74 | 0.4 | n |  | TRUE
19 | bus_LV_5002-144_0_4_node_43 | 0.4 | n |  | TRUE
20 | bus_LV_5002-144_0_4_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_5002-144_0_4_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_5002-144_0_4_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_5002-144_0_4_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_5002-144_0_4_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_5002-144_0_4_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_5002-144_0_4_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_5002-144_0_4_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_5002-144_0_4_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_5002-144_0_4_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_5002-144_0_4_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_5002-144_0_4_node_32 | 0.4 | n |  | TRUE
32 | bus_LV_5002-144_0_4_node_60 | 0.4 | n |  | TRUE
33 | bus_LV_5002-144_0_4_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_5002-144_0_4_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_5002-144_0_4_node_34 | 0.4 | n |  | TRUE
36 | bus_LV_5002-144_0_4_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_5002-144_0_4_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_5002-144_0_4_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_5002-144_0_4_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_5002-144_0_4_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_5002-144_0_4_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_5002-144_0_4_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_5002-144_0_4_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_5002-144_0_4_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_5002-144_0_4_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_5002-144_0_4_node_53 | 0.4 | n |  | TRUE
47 | bus_LV_5002-144_0_4_node_76 | 0.4 | n |  | TRUE
48 | bus_LV_5002-144_0_4_node_45 | 0.4 | n |  | TRUE
49 | bus_LV_5002-144_0_4_node_77 | 0.4 | n |  | TRUE
50 | bus_LV_5002-144_0_4_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_5002-144_0_4_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_5002-144_0_4_node_66 | 0.4 | n |  | TRUE
53 | bus_LV_5002-144_0_4_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_5002-144_0_4_node_67 | 0.4 | n |  | TRUE
55 | bus_LV_5002-144_0_4_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_5002-144_0_4_node_55 | 0.4 | n |  | TRUE
57 | bus_LV_5002-144_0_4_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_5002-144_0_4_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_5002-144_0_4_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_5002-144_0_4_node_47 | 0.4 | n |  | TRUE
61 | bus_LV_5002-144_0_4_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_5002-144_0_4_node_50 | 0.4 | n |  | TRUE
63 | bus_LV_5002-144_0_4_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_5002-144_0_4_node_70 | 0.4 | n |  | TRUE
65 | bus_LV_5002-144_0_4_node_56 | 0.4 | n |  | TRUE
66 | bus_LV_5002-144_0_4_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_5002-144_0_4_node_58 | 0.4 | n |  | TRUE
68 | bus_LV_5002-144_0_4_node_68 | 0.4 | n |  | TRUE
69 | bus_LV_5002-144_0_4_node_69 | 0.4 | n |  | TRUE
70 | bus_LV_5002-144_0_4_node_61 | 0.4 | n |  | TRUE
71 | bus_LV_5002-144_0_4_node_62 | 0.4 | n |  | TRUE
72 | bus_LV_5002-144_0_4_node_64 | 0.4 | n |  | TRUE
73 | bus_LV_5002-144_0_4_node_65 | 0.4 | n |  | TRUE
74 | bus_LV_5002-144_0_4_node_78 | 0.4 | n |  | TRUE
75 | bus_LV_5002-144_0_4_node_79 | 0.4 | n |  | TRUE
76 | bus_LV_5002-144_0_4_node_89 | 0.4 | n |  | TRUE
77 | bus_LV_5002-144_0_4_node_88 | 0.4 | n |  | TRUE
78 | bus_LV_5002-144_0_4_node_80 | 0.4 | n |  | TRUE
79 | bus_LV_5002-144_0_4_node_81 | 0.4 | n |  | TRUE
80 | bus_LV_5002-144_0_4_node_82 | 0.4 | n |  | TRUE
81 | bus_LV_5002-144_0_4_node_83 | 0.4 | n |  | TRUE
82 | bus_LV_5002-144_0_4_node_84 | 0.4 | n |  | TRUE
83 | bus_LV_5002-144_0_4_node_85 | 0.4 | n |  | TRUE
84 | bus_LV_5002-144_0_4_node_86 | 0.4 | n |  | TRUE
85 | bus_LV_5002-144_0_4_node_87 | 0.4 | n |  | TRUE
86 | bus_LV_5002-144_0_4_node_90 | 0.4 | n |  | TRUE
87 | bus_MV_63_0_node_144 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5002-144_0_4_load_0 | 0 | 0.0039981 | 0.001002 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5002-144_0_4_load_1 | 1 | 0.013676 | 0.0034276 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5002-144_0_4_load_2 | 2 | 0.021849 | 0.005476 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5002-144_0_4_load_3 | 3 | 0.01041 | 0.002609 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5002-144_0_4_load_6 | 6 | 0.0030713 | 0.00076974 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5002-144_0_4_load_7 | 7 | 0.0071991 | 0.0018043 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5002-144_0_4_load_8 | 8 | 0.0053159 | 0.0013323 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5002-144_0_4_load_73 | 10 | 0.011068 | 0.0027738 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5002-144_0_4_load_42 | 11 | 0.0054347 | 0.0013621 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5002-144_0_4_load_72 | 12 | 0.0074882 | 0.0018767 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5002-144_0_4_load_39 | 14 | 0.015854 | 0.0039734 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5002-144_0_4_load_40 | 15 | 0.0062587 | 0.0015686 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5002-144_0_4_load_41 | 16 | 0.017791 | 0.0044588 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5002-144_0_4_load_16 | 17 | 0.044903 | 0.011254 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5002-144_0_4_load_74 | 18 | 0.017186 | 0.0043072 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5002-144_0_4_load_43 | 19 | 0.0049557 | 0.001242 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5002-144_0_4_load_9 | 20 | 0.0034473 | 0.00086399 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5002-144_0_4_load_12 | 23 | 0.0032416 | 0.00081242 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5002-144_0_4_load_13 | 24 | 0.014189 | 0.0035561 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5002-144_0_4_load_14 | 25 | 0.0059671 | 0.0014955 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5002-144_0_4_load_15 | 26 | 0.0062172 | 0.0015582 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5002-144_0_4_load_17 | 27 | 0.0060839 | 0.0015248 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5002-144_0_4_load_18 | 28 | 0.0011683 | 0.00029282 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5002-144_0_4_load_19 | 29 | 0.010058 | 0.0025208 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5002-144_0_4_load_24 | 30 | 0.0036438 | 0.00091322 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5002-144_0_4_load_60 | 32 | 0.013321 | 0.0033385 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5002-144_0_4_load_23 | 33 | 0.0041398 | 0.0010375 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5002-144_0_4_load_33 | 34 | 0.0019976 | 0.00050065 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5002-144_0_4_load_34 | 35 | 0.0044027 | 0.0011034 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5002-144_0_4_load_20 | 36 | 0.0037435 | 0.00093821 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5002-144_0_4_load_21 | 37 | 0.0047419 | 0.0011884 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5002-144_0_4_load_22 | 38 | 0.0040626 | 0.0010182 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5002-144_0_4_load_25 | 39 | 0.0075238 | 0.0018857 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5002-144_0_4_load_26 | 40 | 0.0016901 | 0.00042358 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5002-144_0_4_load_27 | 41 | 0.0020743 | 0.00051987 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5002-144_0_4_load_28 | 42 | 0.0078614 | 0.0019703 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5002-144_0_4_load_30 | 44 | 0.0035068 | 0.00087888 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5002-144_0_4_load_31 | 45 | 0.0047979 | 0.0012025 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5002-144_0_4_load_53 | 46 | 0.016169 | 0.0040524 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5002-144_0_4_load_76 | 47 | 0.0035205 | 0.00088231 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5002-144_0_4_load_45 | 48 | 0.0099015 | 0.0024816 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5002-144_0_4_load_77 | 49 | 0.0013472 | 0.00033763 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5002-144_0_4_load_36 | 51 | 0.0067337 | 0.0016876 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5002-144_0_4_load_66 | 52 | 0.0038649 | 0.00096864 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5002-144_0_4_load_51 | 53 | 0.012256 | 0.0030717 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5002-144_0_4_load_67 | 54 | 0.0095188 | 0.0023856 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5002-144_0_4_load_49 | 55 | 0.0069747 | 0.001748 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5002-144_0_4_load_55 | 56 | 0.0049283 | 0.0012351 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5002-144_0_4_load_54 | 57 | 0.0029626 | 0.0007425 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5002-144_0_4_load_44 | 58 | 0.0066348 | 0.0016628 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5002-144_0_4_load_46 | 59 | 0.0080058 | 0.0020064 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5002-144_0_4_load_47 | 60 | 0.0080101 | 0.0020075 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5002-144_0_4_load_48 | 61 | 0.0079942 | 0.0020035 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5002-144_0_4_load_70 | 64 | 0.0054753 | 0.0013722 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5002-144_0_4_load_56 | 65 | 0.0092385 | 0.0023154 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5002-144_0_4_load_57 | 66 | 0.0029626 | 0.00074249 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5002-144_0_4_load_58 | 67 | 0.0096471 | 0.0024178 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5002-144_0_4_load_68 | 68 | 0.0020294 | 0.00050862 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5002-144_0_4_load_69 | 69 | 0.0022531 | 0.00056469 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5002-144_0_4_load_61 | 70 | 0.0014156 | 0.00035477 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5002-144_0_4_load_64 | 72 | 0.0028254 | 0.00070812 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5002-144_0_4_load_65 | 73 | 0.0038763 | 0.00097149 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5002-144_0_4_load_79 | 75 | 0.0010995 | 0.00027556 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5002-144_0_4_load_89 | 76 | 0.0018985 | 0.00047581 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5002-144_0_4_load_88 | 77 | 0.0022182 | 0.00055593 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5002-144_0_4_load_80 | 78 | 0.0024995 | 0.00062642 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5002-144_0_4_load_81 | 79 | 0.0090902 | 0.0022782 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5002-144_0_4_load_82 | 80 | 0.0042812 | 0.001073 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5002-144_0_4_load_83 | 81 | 0.0049155 | 0.0012319 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5002-144_0_4_load_85 | 83 | 0.005058 | 0.0012677 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5002-144_0_4_load_87 | 85 | 0.0028619 | 0.00071726 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5002-144_0_4_load_90 | 86 | 0.0030534 | 0.00076524 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 38 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5002-144_0_4_line_0 |  | 0 | 1 | 0.012286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_5002-144_0_4_line_1 |  | 0 | 2 | 0.0063701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_5002-144_0_4_line_2 |  | 1 | 3 | 0.023768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_5002-144_0_4_line_3 |  | 2 | 4 | 0.014064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_5002-144_0_4_line_4 |  | 3 | 5 | 0.017132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_5002-144_0_4_line_5 |  | 4 | 6 | 0.026673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5002-144_0_4_line_6 |  | 4 | 7 | 0.018536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_5002-144_0_4_line_7 |  | 4 | 8 | 0.0073156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_5002-144_0_4_line_8 |  | 5 | 9 | 0.03387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_5002-144_0_4_line_9 |  | 6 | 10 | 0.011093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5002-144_0_4_line_10 |  | 7 | 11 | 0.0025302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_5002-144_0_4_line_11 |  | 8 | 12 | 0.008975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_5002-144_0_4_line_12 |  | 9 | 17 | 0.028615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_5002-144_0_4_line_13 |  | 10 | 18 | 0.026944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5002-144_0_4_line_14 |  | 11 | 19 | 0.011421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_5002-144_0_4_line_15 |  | 12 | 16 | 0.025421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_5002-144_0_4_line_16 |  | 13 | 14 | 0.019484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5002-144_0_4_line_17 |  | 13 | 15 | 0.013774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5002-144_0_4_line_18 |  | 13 | 16 | 0.019264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5002-144_0_4_line_19 |  | 15 | 56 | 0.027845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5002-144_0_4_line_20 |  | 17 | 23 | 0.012452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_5002-144_0_4_line_21 |  | 19 | 58 | 0.01284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_5002-144_0_4_line_22 |  | 20 | 21 | 0.0066416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5002-144_0_4_line_23 |  | 20 | 22 | 0.0116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5002-144_0_4_line_24 |  | 21 | 23 | 0.0090386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_5002-144_0_4_line_25 |  | 21 | 24 | 0.034853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_5002-144_0_4_line_26 |  | 22 | 25 | 0.022742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5002-144_0_4_line_27 |  | 22 | 26 | 0.016518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5002-144_0_4_line_28 |  | 24 | 27 | 0.033644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_5002-144_0_4_line_29 |  | 25 | 28 | 0.010243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5002-144_0_4_line_30 |  | 26 | 29 | 0.027953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5002-144_0_4_line_31 |  | 27 | 30 | 0.019728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_5002-144_0_4_line_32 |  | 28 | 31 | 0.018396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5002-144_0_4_line_33 |  | 29 | 32 | 0.027916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5002-144_0_4_line_34 |  | 30 | 33 | 0.01449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_5002-144_0_4_line_35 |  | 31 | 34 | 0.036516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5002-144_0_4_line_36 |  | 31 | 35 | 0.01052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5002-144_0_4_line_37 |  | 33 | 37 | 0.011826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_5002-144_0_4_line_38 |  | 34 | 50 | 0.039495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5002-144_0_4_line_39 |  | 35 | 51 | 0.0073057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5002-144_0_4_line_40 |  | 36 | 37 | 0.0021478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_5002-144_0_4_line_41 |  | 36 | 38 | 0.0071841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_5002-144_0_4_line_42 |  | 39 | 40 | 0.0040749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_5002-144_0_4_line_43 |  | 39 | 41 | 0.057493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_5002-144_0_4_line_44 |  | 40 | 42 | 0.021512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_5002-144_0_4_line_45 |  | 41 | 43 | 0.0074437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_5002-144_0_4_line_46 |  | 42 | 44 | 0.015625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_5002-144_0_4_line_47 |  | 43 | 45 | 0.009848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_5002-144_0_4_line_48 |  | 44 | 46 | 0.0058897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_5002-144_0_4_line_49 |  | 45 | 47 | 0.0062054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_5002-144_0_4_line_50 |  | 46 | 48 | 0.0039199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_5002-144_0_4_line_51 |  | 47 | 49 | 0.01053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_5002-144_0_4_line_52 |  | 48 | 58 | 0.011887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_5002-144_0_4_line_53 |  | 49 | 74 | 0.085522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_5002-144_0_4_line_54 |  | 50 | 52 | 0.042387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5002-144_0_4_line_55 |  | 51 | 53 | 0.027114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5002-144_0_4_line_56 |  | 52 | 54 | 0.023361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5002-144_0_4_line_57 |  | 53 | 55 | 0.0088666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5002-144_0_4_line_58 |  | 55 | 60 | 0.014017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5002-144_0_4_line_59 |  | 56 | 57 | 0.001345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5002-144_0_4_line_60 |  | 57 | 65 | 0.0065149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5002-144_0_4_line_61 |  | 59 | 60 | 2.6603e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5002-144_0_4_line_62 |  | 59 | 61 | 0.028543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5002-144_0_4_line_63 |  | 61 | 62 | 0.0041277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5002-144_0_4_line_64 |  | 62 | 63 | 0.006725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5002-144_0_4_line_65 |  | 63 | 64 | 0.0069898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5002-144_0_4_line_66 |  | 65 | 66 | 0.00042496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5002-144_0_4_line_67 |  | 66 | 67 | 0.011886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5002-144_0_4_line_68 |  | 67 | 68 | 0.0024438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5002-144_0_4_line_69 |  | 68 | 69 | 0.012621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5002-144_0_4_line_70 |  | 69 | 73 | 0.0087579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5002-144_0_4_line_71 |  | 70 | 71 | 0.038108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5002-144_0_4_line_72 |  | 71 | 72 | 0.013957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5002-144_0_4_line_73 |  | 72 | 73 | 0.0053374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5002-144_0_4_line_74 |  | 74 | 75 | 0.080953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_5002-144_0_4_line_75 |  | 75 | 76 | 0.010573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
76 | LV_5002-144_0_4_line_76 |  | 76 | 77 | 0.0076409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
77 | LV_5002-144_0_4_line_77 |  | 77 | 85 | 0.036635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
78 | LV_5002-144_0_4_line_78 |  | 78 | 79 | 0.011018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
79 | LV_5002-144_0_4_line_79 |  | 79 | 80 | 0.0090096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_5002-144_0_4_line_80 |  | 80 | 81 | 0.016988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_5002-144_0_4_line_81 |  | 81 | 82 | 0.018931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
82 | LV_5002-144_0_4_line_82 |  | 82 | 83 | 0.042713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
83 | LV_5002-144_0_4_line_83 |  | 82 | 84 | 0.025826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
84 | LV_5002-144_0_4_line_84 |  | 83 | 85 | 0.015508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
85 | LV_5002-144_0_4_line_85 |  | 84 | 86 | 0.052037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5002-144_0_4_trafo_22 | 0.63 MVA 20/0.4 kV | 87 | 38 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2721447.0322 | 1114399.9598 | 2721439.1319 | 1114409.3685
1 | 2721447.0322 | 1114399.9598 | 2721447.9582 | 1114398.8569 | 2721451.8898 | 1114395.8825
2 | 2721424.366 | 1114427.9826 | 2721431.6242 | 1114418.3098 | 2721439.1319 | 1114409.3685
3 | 2721464.4664 | 1114389.9927 | 2721455.9903 | 1114392.7803 | 2721451.8898 | 1114395.8825
4 | 2721414.0837 | 1114441.6857 | 2721424.366 | 1114427.9826
5 | 2721464.4664 | 1114389.9927 | 2721472.3933 | 1114388.0057 | 2721478.1935 | 1114385.7537 | 2721485.0016 | 1114381.0091 | 2721488.1378 | 1114378.5571
6 | 2721464.4664 | 1114389.9927 | 2721464.1632 | 1114380.4578 | 2721465.751 | 1114372.5397 | 2721465.6716 | 1114371.6221
7 | 2721464.4664 | 1114389.9927 | 2721463.8682 | 1114394.784 | 2721462.8663 | 1114397.0603
8 | 2721394.4772 | 1114469.1008 | 2721397.798 | 1114462.207 | 2721400.7834 | 1114457.7859 | 2721407.9876 | 1114449.0687 | 2721414.0837 | 1114441.6857
9 | 2721488.1378 | 1114378.5571 | 2721496.8765 | 1114371.7246
10 | 2721465.6716 | 1114371.6221 | 2721465.4532 | 1114369.1013
11 | 2721456.7525 | 1114403.5293 | 2721457.2222 | 1114403.001 | 2721462.4275 | 1114398.0574 | 2721462.8663 | 1114397.0603
12 | 2721394.4772 | 1114469.1008 | 2721372.366 | 1114453.8252 | 2721370.9391 | 1114452.8287
13 | 2721496.8765 | 1114371.7246 | 2721497.8408 | 1114370.9706 | 2721519.2123 | 1114356.6608
14 | 2721464.4676 | 1114357.7226 | 2721465.4532 | 1114369.1013
15 | 2721456.7525 | 1114403.5293 | 2721452.0062 | 1114408.8672 | 2721449.2103 | 1114414.2371 | 2721446.3665 | 1114421.9966 | 2721444.7615 | 1114425.6164
16 | 2721440.9747 | 1114444.3373 | 2721439.0997 | 1114453.0947 | 2721436.6288 | 1114463.3289
17 | 2721440.9747 | 1114444.3373 | 2721454.6494 | 1114445.9851
18 | 2721440.9747 | 1114444.3373 | 2721441.4578 | 1114436.8084 | 2721443.1707 | 1114429.2042 | 2721444.7615 | 1114425.6164
19 | 2721482.2047 | 1114449.9785 | 2721460.1246 | 1114446.6448 | 2721454.6494 | 1114445.9851
20 | 2721360.7307 | 1114445.699 | 2721370.9391 | 1114452.8287
21 | 2721464.4676 | 1114357.7226 | 2721464.026 | 1114352.6247 | 2721464.4645 | 1114344.9145
22 | 2721353.3205 | 1114440.5236 | 2721347.0418 | 1114442.6891
23 | 2721336.0755 | 1114446.4714 | 2721347.0418 | 1114442.6891
24 | 2721353.3205 | 1114440.5236 | 2721360.7307 | 1114445.699
25 | 2721353.3205 | 1114440.5236 | 2721355.5952 | 1114428.005 | 2721346.4084 | 1114407.8723
26 | 2721336.0755 | 1114446.4714 | 2721321.7189 | 1114449.753 | 2721316.5326 | 1114449.1265 | 2721314.2508 | 1114447.519
27 | 2721336.0755 | 1114446.4714 | 2721329.2161 | 1114431.4446
28 | 2721346.4084 | 1114407.8723 | 2721332.4415 | 1114377.264
29 | 2721314.2508 | 1114447.519 | 2721310.8958 | 1114445.1554 | 2721306.9211 | 1114440.4773
30 | 2721329.2161 | 1114431.4446 | 2721317.6082 | 1114406.0153
31 | 2721329.4195 | 1114361.5635 | 2721325.825 | 1114362.764 | 2721332.4415 | 1114377.264
32 | 2721295.0095 | 1114426.4579 | 2721306.9211 | 1114440.4773
33 | 2721308.3753 | 1114379.6931 | 2721315.8065 | 1114402.0684 | 2721317.6082 | 1114406.0153
34 | 2721329.4195 | 1114361.5635 | 2721343.1637 | 1114356.9733
35 | 2721295.0095 | 1114426.4579 | 2721260.9567 | 1114439.6428
36 | 2721295.0095 | 1114426.4579 | 2721290.5898 | 1114416.9114
37 | 2721354.3808 | 1114353.227 | 2721343.1637 | 1114356.9733
38 | 2721224.1258 | 1114453.9033 | 2721260.9567 | 1114439.6428
39 | 2721290.5898 | 1114416.9114 | 2721287.5205 | 1114410.2817
40 | 2721356.418 | 1114352.5467 | 2721354.3808 | 1114353.227
41 | 2721363.2321 | 1114350.2709 | 2721356.418 | 1114352.5467
42 | 2721500.5815 | 1114298.4229 | 2721496.9568 | 1114300.2848
43 | 2721500.5815 | 1114298.4229 | 2721509.0862 | 1114294.054 | 2721516.482 | 1114286.9752 | 2721518.6467 | 1114282.2709 | 2721517.7678 | 1114276.4048 | 2721514.4548 | 1114262.8735 | 2721508.8311 | 1114251.5389
44 | 2721479.7025 | 1114313.0516 | 2721484.8655 | 1114308.4452 | 2721496.3165 | 1114300.6137 | 2721496.9568 | 1114300.2848
45 | 2721505.5227 | 1114244.8709 | 2721508.8311 | 1114251.5389
46 | 2721468.5794 | 1114323.8486 | 2721469.2521 | 1114322.3752 | 2721479.7025 | 1114313.0516
47 | 2721505.5227 | 1114244.8709 | 2721497.8388 | 1114238.9683 | 2721497.7128 | 1114238.8718
48 | 2721468.5794 | 1114323.8486 | 2721466.1333 | 1114329.2063
49 | 2721492.787 | 1114235.0977 | 2721497.7128 | 1114238.8718
50 | 2721465.6108 | 1114333.0913 | 2721466.1333 | 1114329.2063 | 2721466.1333 | 1114329.2063
51 | 2721492.787 | 1114235.0977 | 2721492.787 | 1114235.0977 | 2721486.7625 | 1114227.3383 | 2721486.438 | 1114226.7111
52 | 2721464.4645 | 1114344.9145 | 2721464.7897 | 1114339.1974 | 2721465.6108 | 1114333.0913
53 | 2721445.6931 | 1114151.5742 | 2721456.896 | 1114169.6111 | 2721486.438 | 1114226.7111
54 | 2721224.1258 | 1114453.9033 | 2721206.0089 | 1114415.5826
55 | 2721276.129 | 1114385.6765 | 2721287.5205 | 1114410.2817
56 | 2721196.0243 | 1114394.4633 | 2721206.0089 | 1114415.5826
57 | 2721272.404 | 1114377.6304 | 2721276.129 | 1114385.6765
58 | 2721272.404 | 1114377.6304 | 2721266.515 | 1114364.9102
59 | 2721483.4152 | 1114450.5649 | 2721482.2047 | 1114449.9785 | 2721482.2047 | 1114449.9785
60 | 2721483.4152 | 1114450.5649 | 2721489.2782 | 1114453.4056
61 | 2721266.515 | 1114364.9102 | 2721266.5038 | 1114364.8861
62 | 2721253.854 | 1114339.3813 | 2721255.9943 | 1114342.1859 | 2721266.5038 | 1114364.8861
63 | 2721251.3499 | 1114336.0999 | 2721253.854 | 1114339.3813
64 | 2721244.9744 | 1114333.9042 | 2721251.3499 | 1114336.0999
65 | 2721244.9744 | 1114333.9042 | 2721237.9852 | 1114333.8126
66 | 2721489.6606 | 1114453.5909 | 2721489.2782 | 1114453.4056
67 | 2721489.6606 | 1114453.5909 | 2721500.3576 | 1114458.7736
68 | 2721502.5569 | 1114459.8392 | 2721500.3576 | 1114458.7736
69 | 2721513.6968 | 1114465.7553 | 2721507.7725 | 1114462.3661 | 2721502.5569 | 1114459.8392
70 | 2721513.6968 | 1114465.7553 | 2721521.2986 | 1114470.1041
71 | 2721538.0461 | 1114479.685 | 2721563.7745 | 1114451.5727
72 | 2721538.0461 | 1114479.685 | 2721525.9315 | 1114472.7545
73 | 2721525.9315 | 1114472.7545 | 2721521.2986 | 1114470.1041
74 | 2721445.6931 | 1114151.5742 | 2721394.4092 | 1114214.2111
75 | 2721394.4092 | 1114214.2111 | 2721387.711 | 1114222.3921
76 | 2721387.711 | 1114222.3921 | 2721382.8704 | 1114228.3042
77 | 2721359.6623 | 1114256.6501 | 2721382.8704 | 1114228.3042
78 | 2721276.3695 | 1114292.5175 | 2721282.8511 | 1114283.6075
79 | 2721288.1512 | 1114276.3218 | 2721282.8511 | 1114283.6075
80 | 2721288.1512 | 1114276.3218 | 2721298.1448 | 1114262.5842
81 | 2721309.2812 | 1114247.2755 | 2721298.1448 | 1114262.5842
82 | 2721309.2812 | 1114247.2755 | 2721339.8719 | 1114263.4989 | 2721345.4214 | 1114265.6671 | 2721347.5487 | 1114265.5957
83 | 2721286.4642 | 1114235.1772 | 2721296.5923 | 1114240.5502 | 2721309.2812 | 1114247.2755
84 | 2721347.5487 | 1114265.5957 | 2721349.1551 | 1114265.5417 | 2721353.3437 | 1114263.1461 | 2721357.9907 | 1114258.6917 | 2721359.6623 | 1114256.6501
85 | 2721255.2699 | 1114276.8819 | 2721286.4642 | 1114235.1772

## bus_geodata
| x | y | coords
0 | 2721447.0322 | 1114399.9598
1 | 2721439.1319 | 1114409.3685
2 | 2721451.8898 | 1114395.8825
3 | 2721424.366 | 1114427.9826
4 | 2721464.4664 | 1114389.9927
5 | 2721414.0837 | 1114441.6857
6 | 2721488.1378 | 1114378.5571
7 | 2721465.6716 | 1114371.6221
8 | 2721462.8663 | 1114397.0603
9 | 2721394.4772 | 1114469.1008
10 | 2721496.8765 | 1114371.7246
11 | 2721465.4532 | 1114369.1013
12 | 2721456.7525 | 1114403.5293
13 | 2721440.9747 | 1114444.3373
14 | 2721436.6288 | 1114463.3289
15 | 2721454.6494 | 1114445.9851
16 | 2721444.7615 | 1114425.6164
17 | 2721370.9391 | 1114452.8287
18 | 2721519.2123 | 1114356.6608
19 | 2721464.4676 | 1114357.7226
20 | 2721347.0418 | 1114442.6891
21 | 2721353.3205 | 1114440.5236
22 | 2721336.0755 | 1114446.4714
23 | 2721360.7307 | 1114445.699
24 | 2721346.4084 | 1114407.8723
25 | 2721314.2508 | 1114447.519
26 | 2721329.2161 | 1114431.4446
27 | 2721332.4415 | 1114377.264
28 | 2721306.9211 | 1114440.4773
29 | 2721317.6082 | 1114406.0153
30 | 2721329.4195 | 1114361.5635
31 | 2721295.0095 | 1114426.4579
32 | 2721308.3753 | 1114379.6931
33 | 2721343.1637 | 1114356.9733
34 | 2721260.9567 | 1114439.6428
35 | 2721290.5898 | 1114416.9114
36 | 2721356.418 | 1114352.5467
37 | 2721354.3808 | 1114353.227
38 | 2721363.2321 | 1114350.2709
39 | 2721500.5815 | 1114298.4229
40 | 2721496.9568 | 1114300.2848
41 | 2721508.8311 | 1114251.5389
42 | 2721479.7025 | 1114313.0516
43 | 2721505.5227 | 1114244.8709
44 | 2721468.5794 | 1114323.8486
45 | 2721497.7128 | 1114238.8718
46 | 2721466.1333 | 1114329.2063
47 | 2721492.787 | 1114235.0977
48 | 2721465.6108 | 1114333.0913
49 | 2721486.438 | 1114226.7111
50 | 2721224.1258 | 1114453.9033
51 | 2721287.5205 | 1114410.2817
52 | 2721206.0089 | 1114415.5826
53 | 2721276.129 | 1114385.6765
54 | 2721196.0243 | 1114394.4633
55 | 2721272.404 | 1114377.6304
56 | 2721482.2047 | 1114449.9785
57 | 2721483.4152 | 1114450.5649
58 | 2721464.4645 | 1114344.9145
59 | 2721266.5038 | 1114364.8861
60 | 2721266.515 | 1114364.9102
61 | 2721253.854 | 1114339.3813
62 | 2721251.3499 | 1114336.0999
63 | 2721244.9744 | 1114333.9042
64 | 2721237.9852 | 1114333.8126
65 | 2721489.2782 | 1114453.4056
66 | 2721489.6606 | 1114453.5909
67 | 2721500.3576 | 1114458.7736
68 | 2721502.5569 | 1114459.8392
69 | 2721513.6968 | 1114465.7553
70 | 2721563.7745 | 1114451.5727
71 | 2721538.0461 | 1114479.685
72 | 2721525.9315 | 1114472.7545
73 | 2721521.2986 | 1114470.1041
74 | 2721445.6931 | 1114151.5742
75 | 2721394.4092 | 1114214.2111
76 | 2721387.711 | 1114222.3921
77 | 2721382.8704 | 1114228.3042
78 | 2721276.3695 | 1114292.5175
79 | 2721282.8511 | 1114283.6075
80 | 2721288.1512 | 1114276.3218
81 | 2721298.1448 | 1114262.5842
82 | 2721309.2812 | 1114247.2755
83 | 2721347.5487 | 1114265.5957
84 | 2721286.4642 | 1114235.1772
85 | 2721359.6623 | 1114256.6501
86 | 2721255.2699 | 1114276.8819
87 | 2721353.3205 | 1114440.5236

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1