## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5002-149_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5002-149_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5002-149_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5002-149_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5002-149_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5002-149_0_6_node_27 | 0.4 | n |  | TRUE
6 | bus_LV_5002-149_0_6_node_43 | 0.4 | n |  | TRUE
7 | bus_LV_5002-149_0_6_node_44 | 0.4 | n |  | TRUE
8 | bus_LV_5002-149_0_6_node_34 | 0.4 | n |  | TRUE
9 | bus_LV_5002-149_0_6_node_25 | 0.4 | n |  | TRUE
10 | bus_LV_5002-149_0_6_node_24 | 0.4 | n |  | TRUE
11 | bus_LV_5002-149_0_6_node_45 | 0.4 | n |  | TRUE
12 | bus_LV_5002-149_0_6_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_5002-149_0_6_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_5002-149_0_6_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_5002-149_0_6_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_5002-149_0_6_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_5002-149_0_6_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_5002-149_0_6_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_5002-149_0_6_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_5002-149_0_6_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_5002-149_0_6_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_5002-149_0_6_node_26 | 0.4 | n |  | TRUE
23 | bus_LV_5002-149_0_6_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_5002-149_0_6_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_5002-149_0_6_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_5002-149_0_6_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_5002-149_0_6_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_5002-149_0_6_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_5002-149_0_6_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_5002-149_0_6_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_5002-149_0_6_node_42 | 0.4 | n |  | TRUE
32 | bus_LV_5002-149_0_6_node_36 | 0.4 | n |  | TRUE
33 | bus_LV_5002-149_0_6_node_37 | 0.4 | n |  | TRUE
34 | bus_LV_5002-149_0_6_node_38 | 0.4 | n |  | TRUE
35 | bus_LV_5002-149_0_6_node_39 | 0.4 | n |  | TRUE
36 | bus_LV_5002-149_0_6_node_40 | 0.4 | n |  | TRUE
37 | bus_LV_5002-149_0_6_node_41 | 0.4 | n |  | TRUE
38 | bus_LV_5002-149_0_6_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_5002-149_0_6_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_5002-149_0_6_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_5002-149_0_6_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_5002-149_0_6_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_5002-149_0_6_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_5002-149_0_6_node_46 | 0.4 | n |  | TRUE
45 | bus_MV_63_0_node_68 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5002-149_0_6_load_0 | 0 | 0.00063802 | 0.0001599 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5002-149_0_6_load_1 | 1 | 0.00063977 | 0.00016034 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5002-149_0_6_load_2 | 2 | 0.00035309 | 8.8494e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5002-149_0_6_load_4 | 4 | 0.00080635 | 0.00020209 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5002-149_0_6_load_43 | 6 | 0.00012678 | 3.1775e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5002-149_0_6_load_44 | 7 | 0.00098597 | 0.00024711 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5002-149_0_6_load_34 | 8 | 0.0010943 | 0.00027425 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5002-149_0_6_load_25 | 9 | 0.022978 | 0.0057589 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5002-149_0_6_load_24 | 10 | 0.0002334 | 5.8496e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5002-149_0_6_load_45 | 11 | 0.0012695 | 0.00031816 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5002-149_0_6_load_5 | 12 | 0.079077 | 0.019818 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5002-149_0_6_load_6 | 13 | 0.011584 | 0.0029032 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5002-149_0_6_load_8 | 15 | 0.025492 | 0.0063888 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5002-149_0_6_load_13 | 17 | 0.015654 | 0.0039234 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5002-149_0_6_load_10 | 18 | 0.014675 | 0.0036778 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5002-149_0_6_load_11 | 19 | 0.026383 | 0.0066122 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5002-149_0_6_load_12 | 20 | 0.0074368 | 0.0018638 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5002-149_0_6_load_15 | 21 | 0.048054 | 0.012043 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5002-149_0_6_load_26 | 22 | 0.097546 | 0.024447 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5002-149_0_6_load_16 | 23 | 0.011823 | 0.0029632 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5002-149_0_6_load_17 | 24 | 0.0020144 | 0.00050487 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5002-149_0_6_load_18 | 25 | 0.0032886 | 0.0008242 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5002-149_0_6_load_19 | 26 | 0.0079151 | 0.0019837 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5002-149_0_6_load_20 | 27 | 0.043154 | 0.010815 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5002-149_0_6_load_21 | 28 | 0.0024586 | 0.00061618 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5002-149_0_6_load_23 | 30 | 0.011545 | 0.0028934 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5002-149_0_6_load_42 | 31 | 0.010941 | 0.0027422 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5002-149_0_6_load_36 | 32 | 0.0021643 | 0.00054243 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5002-149_0_6_load_40 | 36 | 0.0016008 | 0.00040121 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5002-149_0_6_load_41 | 37 | 0.0048341 | 0.0012115 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5002-149_0_6_load_28 | 38 | 0.0082641 | 0.0020712 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5002-149_0_6_load_29 | 39 | 0.0019176 | 0.0004806 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5002-149_0_6_load_30 | 40 | 0.0017288 | 0.00043328 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5002-149_0_6_load_31 | 41 | 0.0019334 | 0.00048457 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5002-149_0_6_load_33 | 43 | 0.001226 | 0.00030727 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5002-149_0_6_load_46 | 44 | 0.0067396 | 0.0016891 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5002-149_0_6_line_0 |  | 0 | 1 | 0.016024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5002-149_0_6_line_1 |  | 0 | 2 | 0.0068262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5002-149_0_6_line_2 |  | 1 | 3 | 0.046045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5002-149_0_6_line_3 |  | 2 | 4 | 0.011194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5002-149_0_6_line_4 |  | 3 | 5 | 0.34399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_5002-149_0_6_line_5 |  | 3 | 6 | 0.012305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_5002-149_0_6_line_6 |  | 4 | 7 | 0.016532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5002-149_0_6_line_7 |  | 5 | 8 | 0.14736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5002-149_0_6_line_8 |  | 5 | 9 | 0.19976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_5002-149_0_6_line_9 |  | 6 | 10 | 0.015966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_5002-149_0_6_line_10 |  | 7 | 11 | 0.0008804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5002-149_0_6_line_11 |  | 8 | 43 | 0.035449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5002-149_0_6_line_12 |  | 9 | 31 | 0.14737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5002-149_0_6_line_13 |  | 9 | 22 | 0.075315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_5002-149_0_6_line_14 |  | 10 | 29 | 0.11232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_5002-149_0_6_line_15 |  | 11 | 44 | 0.0022094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5002-149_0_6_line_16 |  | 12 | 13 | 0.036371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5002-149_0_6_line_17 |  | 12 | 14 | 0.046575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5002-149_0_6_line_18 |  | 13 | 15 | 0.10496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5002-149_0_6_line_19 |  | 14 | 16 | 0.043674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5002-149_0_6_line_20 |  | 16 | 17 | 0.094563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5002-149_0_6_line_21 |  | 16 | 18 | 0.032919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5002-149_0_6_line_22 |  | 18 | 19 | 0.0050821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_5002-149_0_6_line_23 |  | 19 | 20 | 0.03215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_5002-149_0_6_line_24 |  | 20 | 21 | 0.0009847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_5002-149_0_6_line_25 |  | 21 | 22 | 0.043893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_5002-149_0_6_line_26 |  | 23 | 24 | 0.027776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5002-149_0_6_line_27 |  | 23 | 25 | 0.0059137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5002-149_0_6_line_28 |  | 24 | 26 | 0.019264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5002-149_0_6_line_29 |  | 25 | 27 | 0.013876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5002-149_0_6_line_30 |  | 26 | 28 | 0.0065146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5002-149_0_6_line_31 |  | 28 | 29 | 0.030197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5002-149_0_6_line_32 |  | 29 | 30 | 0.068919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5002-149_0_6_line_33 |  | 31 | 34 | 0.088179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5002-149_0_6_line_34 |  | 32 | 33 | 0.053884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5002-149_0_6_line_35 |  | 33 | 34 | 0.072481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5002-149_0_6_line_36 |  | 33 | 35 | 0.026359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5002-149_0_6_line_37 |  | 35 | 36 | 0.085667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5002-149_0_6_line_38 |  | 36 | 37 | 0.013836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5002-149_0_6_line_39 |  | 38 | 39 | 0.057042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5002-149_0_6_line_40 |  | 38 | 40 | 0.083769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5002-149_0_6_line_41 |  | 39 | 41 | 0.017423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5002-149_0_6_line_42 |  | 40 | 42 | 0.026816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5002-149_0_6_line_43 |  | 42 | 43 | 0.098466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5002-149_0_6_trafo_26 | 0.63 MVA 20/0.4 kV | 45 | 22 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32
0 | 2720200.0198 | 1114522.5091 | 2720191.6644 | 1114536.1827
1 | 2720200.0198 | 1114522.5091 | 2720203.5791 | 1114516.6843
2 | 2720167.6556 | 1114575.4729 | 2720191.6644 | 1114536.1827
3 | 2720203.5791 | 1114516.6843 | 2720209.4157 | 1114507.1328
4 | 2719994.8363 | 1114549.6093 | 2720001.5621 | 1114557.5257 | 2720009.5615 | 1114566.2678 | 2720018.8462 | 1114575.2467 | 2720025.9811 | 1114581.2254 | 2720035.0479 | 1114588.332 | 2720044.7675 | 1114594.8512 | 2720056.3303 | 1114601.5181 | 2720064.4848 | 1114605.5491 | 2720072.6103 | 1114609.0902 | 2720076.9146 | 1114610.5654 | 2720079.8115 | 1114611.3344 | 2720083.0946 | 1114611.7109 | 2720086.1821 | 1114611.4385 | 2720089.1134 | 1114610.8628 | 2720092.3681 | 1114609.5598 | 2720095.4099 | 1114608.0857 | 2720098.6612 | 1114605.7819 | 2720101.3871 | 1114603.1007 | 2720108.6449 | 1114594.6943 | 2720111.3789 | 1114592.3802 | 2720113.5453 | 1114591.0333 | 2720116.4168 | 1114589.9673 | 2720119.8926 | 1114588.8132 | 2720124.0472 | 1114588.095 | 2720128.3192 | 1114587.6905 | 2720132.2978 | 1114588.0585 | 2720136.7169 | 1114589.1913 | 2720141.2499 | 1114591.2047 | 2720216.8977 | 1114629.6754 | 2720222.4216 | 1114617.1764 | 2720202.0662 | 1114601.6732 | 2720167.6556 | 1114575.4729
5 | 2720167.6556 | 1114575.4729 | 2720156.7955 | 1114569.6873
6 | 2720218.0355 | 1114493.0264 | 2720209.4157 | 1114507.1328
7 | 2719994.8363 | 1114549.6093 | 2719949.8579 | 1114689.9424
8 | 2719994.8363 | 1114549.6093 | 2719983.8891 | 1114534.082 | 2719977.583 | 1114524.0836 | 2719972.1448 | 1114513.9468 | 2719963.3176 | 1114493.9473 | 2719958.065 | 1114476.776 | 2719955.58 | 1114467.6873 | 2719953.4206 | 1114457.76 | 2719951.8755 | 1114446.8441 | 2719950.7226 | 1114435.2356 | 2719950.1755 | 1114421.1262 | 2719951.2258 | 1114405.1471 | 2719953.3705 | 1114389.2898 | 2719955.6376 | 1114378.5718 | 2719959.0441 | 1114365.7082 | 2719960.6934 | 1114361.0367
9 | 2720142.7041 | 1114562.1803 | 2720156.7955 | 1114569.6873
10 | 2720218.4946 | 1114492.2752 | 2720218.0355 | 1114493.0264
11 | 2719963.781 | 1114722.5432 | 2719949.8579 | 1114689.9424
12 | 2719960.6934 | 1114361.0367 | 2719814.2574 | 1114344.4433
13 | 2719960.6934 | 1114361.0367 | 2719962.5058 | 1114355.9033 | 2719968.4865 | 1114341.0003 | 2719973.5561 | 1114329.9709 | 2719979.8641 | 1114318.4323 | 2719994.0943 | 1114293.7112
14 | 2720043.5726 | 1114509.3689 | 2720142.7041 | 1114562.1803
15 | 2720219.6466 | 1114490.3899 | 2720218.4946 | 1114492.2752
16 | 2720116.0899 | 1114185.6404 | 2720137.9744 | 1114200.9499 | 2720145.6914 | 1114206.7659
17 | 2720077.9259 | 1114158.9424 | 2720116.0899 | 1114185.6404
18 | 2720229.4182 | 1114270.0514 | 2720226.2339 | 1114267.4676 | 2720145.6914 | 1114206.7659
19 | 2720054.5061 | 1114195.8371 | 2720077.9259 | 1114158.9424
20 | 2720054.5061 | 1114195.8371 | 2719966.9114 | 1114159.5781
21 | 2720054.5061 | 1114195.8371 | 2720036.7704 | 1114223.5701
22 | 2720036.7704 | 1114223.5701 | 2720034.0323 | 1114227.8516
23 | 2720017.172 | 1114255.2228 | 2720027.1779 | 1114238.5697 | 2720034.0323 | 1114227.8516
24 | 2720016.6649 | 1114256.0669 | 2720017.172 | 1114255.2228
25 | 2720016.6649 | 1114256.0669 | 2719995.1845 | 1114291.8173 | 2719994.0943 | 1114293.7112
26 | 2720072.6013 | 1114461.5082 | 2720087.0057 | 1114437.7591
27 | 2720090.0725 | 1114432.7027 | 2720087.0057 | 1114437.7591
28 | 2720072.6013 | 1114461.5082 | 2720062.6109 | 1114477.9797
29 | 2720097.2684 | 1114420.8385 | 2720090.0725 | 1114432.7027
30 | 2720062.6109 | 1114477.9797 | 2720059.2325 | 1114483.5498
31 | 2720043.5726 | 1114509.3689 | 2720059.2325 | 1114483.5498
32 | 2720043.5726 | 1114509.3689 | 2719981.9713 | 1114478.4643
33 | 2719761.0621 | 1114382.6272 | 2719787.3028 | 1114393.1974 | 2719790.3382 | 1114393.6132 | 2719793.4703 | 1114393.0414 | 2719795.623 | 1114391.6052 | 2719797.1599 | 1114388.8892 | 2719812.6543 | 1114353.8159 | 2719813.8213 | 1114349.8807 | 2719814.3916 | 1114346.0449 | 2719814.2574 | 1114344.4433
34 | 2719697.9741 | 1114366.9704 | 2719649.9304 | 1114342.5728
35 | 2719697.9741 | 1114366.9704 | 2719701.1287 | 1114361.351 | 2719702.9302 | 1114359.7077 | 2719705.5535 | 1114358.6921 | 2719708.7764 | 1114358.6113 | 2719711.6617 | 1114359.1909 | 2719714.2517 | 1114360.2539 | 2719717.6319 | 1114362.7668 | 2719720.1983 | 1114364.2407 | 2719761.0621 | 1114382.6272
36 | 2719697.9741 | 1114366.9704 | 2719721.4578 | 1114379.0758
37 | 2719721.4578 | 1114379.0758 | 2719716.1504 | 1114390.8234 | 2719765.9003 | 1114418.0582 | 2719770.3908 | 1114421.4492 | 2719765.6412 | 1114430.7379
38 | 2719759.3421 | 1114443.0568 | 2719765.6412 | 1114430.7379
39 | 2719922.0576 | 1114781.8221 | 2719920.9361 | 1114756.7332 | 2719896.2451 | 1114736.4914
40 | 2719922.0576 | 1114781.8221 | 2719923.4682 | 1114813.3777 | 2719975.6489 | 1114813.7
41 | 2719896.2451 | 1114736.4914 | 2719882.7715 | 1114725.4457
42 | 2720002.4544 | 1114813.0963 | 2719982.2195 | 1114813.7406 | 2719975.6489 | 1114813.7
43 | 2720002.4544 | 1114813.0963 | 2719963.781 | 1114722.5432

## bus_geodata
| x | y | coords
0 | 2720200.0198 | 1114522.5091
1 | 2720191.6644 | 1114536.1827
2 | 2720203.5791 | 1114516.6843
3 | 2720167.6556 | 1114575.4729
4 | 2720209.4157 | 1114507.1328
5 | 2719994.8363 | 1114549.6093
6 | 2720156.7955 | 1114569.6873
7 | 2720218.0355 | 1114493.0264
8 | 2719949.8579 | 1114689.9424
9 | 2719960.6934 | 1114361.0367
10 | 2720142.7041 | 1114562.1803
11 | 2720218.4946 | 1114492.2752
12 | 2720116.0899 | 1114185.6404
13 | 2720145.6914 | 1114206.7659
14 | 2720077.9259 | 1114158.9424
15 | 2720229.4182 | 1114270.0514
16 | 2720054.5061 | 1114195.8371
17 | 2719966.9114 | 1114159.5781
18 | 2720036.7704 | 1114223.5701
19 | 2720034.0323 | 1114227.8516
20 | 2720017.172 | 1114255.2228
21 | 2720016.6649 | 1114256.0669
22 | 2719994.0943 | 1114293.7112
23 | 2720087.0057 | 1114437.7591
24 | 2720072.6013 | 1114461.5082
25 | 2720090.0725 | 1114432.7027
26 | 2720062.6109 | 1114477.9797
27 | 2720097.2684 | 1114420.8385
28 | 2720059.2325 | 1114483.5498
29 | 2720043.5726 | 1114509.3689
30 | 2719981.9713 | 1114478.4643
31 | 2719814.2574 | 1114344.4433
32 | 2719649.9304 | 1114342.5728
33 | 2719697.9741 | 1114366.9704
34 | 2719761.0621 | 1114382.6272
35 | 2719721.4578 | 1114379.0758
36 | 2719765.6412 | 1114430.7379
37 | 2719759.3421 | 1114443.0568
38 | 2719922.0576 | 1114781.8221
39 | 2719896.2451 | 1114736.4914
40 | 2719975.6489 | 1114813.7
41 | 2719882.7715 | 1114725.4457
42 | 2720002.4544 | 1114813.0963
43 | 2719963.781 | 1114722.5432
44 | 2720219.6466 | 1114490.3899
45 | 2720054.5061 | 1114195.8371

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1